## Summary
[8 empty] | Current UTR | Proceeding | Network | Line | Transf
[10 empty] | $/kW | $/kW | $/kW
[8 empty] | 2021 UTR (Jul 1 2021) | EB-2020-0251 | 4.9 | 0.81 | 2.65
|  | 2018 Frcst Charge Determinants |  |  | Allocators: Sum of Individual Peaks, coincident with Tx DP Peak |  |  | Transmission Charges (2018 Forecast Charge Determinants at Current UTR) |  |  |  |  | 2022 Proposed RTSR Rates*
|  | Network | Line | Transf | Network | Line | Transf | Network | Line | Transf | Total |  | Netwk | Conn | Netwrk | Conn
a. | IESO Bill (Current UTR applied to forecast 2018 HONI-Tx Charge Determinants) |  |  |  | 63112464.0003 | 55578669.4199 | 63916165.6591 | 309251073.6014 | 45018722.2302 | 169377838.9965 | 523647634.8281 |  | Netwk | Line | Transf
[13 empty] | $/kW | $/kW | $/kW
b. | ST Rate Class | 29767536.0683 | 23749954.373 | 28667136.6769 | 26409684.5362 | 19902036.8779 | 25169964.8166 | 129407454.2273 | 16120649.8711 | 66700406.7641 | 212228510.8624 | 40.53% | 4.3473 | 0.6788 | 2.3267
c. | Retail Rate Classes | [6 empty] | 179843619.3741 | 28898072.3591 | 102677432.2324 | 311419123.9657 | 59.47%
|  | kwh w loss | kW w loss |  | CP Tx | CPdX | [6 empty] | Netwk | Conn | Netwk | Conn
[5 empty] | % | % |  | Network | Connection |  |  |  | c/kwh | c/kwh | $/kW | $/kW
| Dgen | 28683143.3102 | 209058.8086 |  | 0.136% | 0.1307% |  | 244501.738 | 171976.5729 | [5 empty] | 1.1695 | 0.8226
| GSd | 2607512241.682 | 8339610.9663 |  | 11.16% | 10.7% |  | 20063821.6426 | 14082511.4291 | [5 empty] | 2.4058 | 1.6886
| GSe | 2418939987.1203 |  |  | 10.91% | 10.76% |  | 19622355.637 | 14158865.2131 |  |  |  | 0.8112 | 0.5853
| R1 | 4940740405.3541 |  |  | 28.22% | 28.7% |  | 50743434.9815 | 37758702.737 |  |  |  | 1.027 | 0.7642
| R2 | 4785245771.8455 |  |  | 25.56% | 26.05% |  | 45961604.3778 | 34274647.2784 |  |  |  | 0.9605 | 0.7163
| Seasonal | 646239903.5561 |  |  | 2.896% | 3.137% |  | 5208411.7311 | 4127599.0866 |  |  |  | 0.806 | 0.6387
| UGd | 1088728238.9759 | 2833564.5234 |  | 4.909% | 4.669% |  | 8828671.2663 | 6143709.1673 | [5 empty] | 3.1157 | 2.1682
| UGe | 644525439.256 |  |  | 3.118% | 2.951% |  | 5607614.1719 | 3882236.4405 |  |  |  | 0.87 | 0.6023
| UR | 2018672031.3381 |  |  | 12.52% | 12.42% |  | 22517537.0066 | 16348228.7161 |  |  |  | 1.1155 | 0.8099
| USL | 32202925.8823 |  |  | 0.1217% | 0.1187% |  | 218867.4906 | 156170.7679 |  |  |  | 0.6797 | 0.485
| Street Light | 108545497.2039 |  |  | 0.4041% | 0.3139% |  | 726673.0892 | 413043.7421 |  |  |  | 0.6695 | 0.3805
| Sentinel Light | 14822616.9871 |  |  | 0.05567% | 0.04394% |  | 100126.2416 | 57813.4405 |  |  |  | 0.6755 | 0.39
* RTSR Rates shown for demand billed customers are to be adjusted by the total loss factor, as approved by the Ontario Energy Board, and applied to non-loss adjusted charge determinants

## RTSR_Table1
Table 1
IESO charges (2018 Charge Determinant Forecast at Current UTR*)
| Tx Network | Tx Line | Tx Transformation | Total IESO Bill | Share
IESO Bill | 309251073.6014 | 45018722.2302 | 169377838.9965 | 523647634.8281
ST | 129407454.2273 | 16120649.8711 | 66700406.7641 | 212228510.8624 | 40.53%
Retail | 179843619.3741 | 28898072.3591 | 102677432.2324 | 311419123.9657 | 59.47%
UR | 22517537.0066 | 3590579.4004 | 12757649.3157 | 38865765.7227
R1 | 50743434.9815 | 8292985.2883 | 29465717.4487 | 88502137.7185
R2 | 45961604.3778 | 7527778.3673 | 26746868.9111 | 80236251.6562
Seasonal | 5208411.7311 | 906549.1137 | 3221049.9729 | 9336010.8177
UGe | 5607614.1719 | 852659.8467 | 3029576.5938 | 9489850.6124
UGd | 8828671.2663 | 1349349.5816 | 4794359.5857 | 14972380.4336
GSe | 19622355.637 | 3109727.0934 | 11049138.1197 | 33781220.8501
GSd | 20063821.6426 | 3092957.4281 | 10989554.0011 | 34146333.0717
DGen | 244501.738 | 37771.4033 | 134205.1696 | 416478.311
USL | 218867.4906 | 34299.957 | 121870.8109 | 375038.2584
Street Light | 726673.0892 | 90717.25 | 322326.4921 | 1139716.8312
Sentinel Light | 100126.2416 | 12697.6293 | 45115.8111 | 157939.6821
* Decision and Rate Order on 2021 UTRs in EB-2021-0176 dated June 24, 2021

## RTSR_Table2
Table 2
Proposed 2022 RTSR
RATE CLASS |  | Approved 2021 Rates |  | Proposed 2022 Rates
|  | Network | Line Connection | Network | Line Connection
Urban ($/kWh) | UR | 0.008924 | 0.007687 | 0.011155 | 0.008099
R1 ($/kWh) | R1 | 0.008216 | 0.007254 | 0.01027 | 0.007642
R2 ($/kWh) | R2 | 0.007684 | 0.006798 | 0.009605 | 0.007163
Seasonal ($/kWh) | Seasonal | 0.006448 | 0.006062 | 0.00806 | 0.006387
Urban General Service energy ($/kWh) | UGe | 0.00696 | 0.005717 | 0.0087 | 0.006023
Urban General Service demand ($/kW) | UGd | 2.4926 | 2.0579 | 3.1157 | 2.1682
General Service energy ($/kWh) | GSe | 0.00649 | 0.005556 | 0.008112 | 0.005853
General Service demand ($/kW) | GSd | 1.9247 | 1.6028 | 2.4058 | 1.6886
Distributed Generator ($/kW) | Dgen | 0.9356 | 0.7808 | 1.1695 | 0.8226
Unmetered Scattered Load ($/kWh) | USL | 0.005437 | 0.004603 | 0.006797 | 0.00485
Street Lights ($/kWh) | Street Light | 0.005356 | 0.003612 | 0.006695 | 0.003805
Sentinel Lights ($/kWh) | Sentinel Light | 0.005404 | 0.003702 | 0.006755 | 0.0039
ST ($/kW) |  | 3.4778 | 0.8128 Line | 4.3473 | 0.6788 Line
|  |  | 2.0458 Transf. |  | 2.3267 Transf.
* For customer classes that do not have separate proposed Line and Transformation charges, the Line Connection charges shown include
Transformation charges