| # 0BMinistry of Transportation Corridor Management Section 1355 John Counter Boulevard Postal Bag 4000 Kingston, Ontario K7L 5A3 Tel.: 613 323-1253 Fax: 613-540-5106 23TUAlexandre.gitkow@ontario.caU23T | # 1BMinistère des Transports Section de gestion des couloirs routiers 1355, boulevard John Counter CP/Service de sacs 4000 Kingston (Ontario) K7L 5A3 Tél. : 6 Tél.: 613 323-1253 Téléc. 613 540-5106 Kings Kings |  |
| --- | --- | --- |

October 13th, 2021

Ms. Christine Long

OEB Registrar

Ontario Energy Board

P.O. Box 2319, 27th Floor

2300 Yonge Street

Toronto, ON M4P 1E4

Email: Christine.Long@oeb.ca

Via email:  Christine.Long@oeb.ca

Re: EB-2020-0293

Ontario Energy Board Hearing for the Enbridge Gas Inc. St. Laurent Ottawa North

Replacement Pipeline Project in the City of Ottawa, Ontario (Updated Application)

Dear Ms. Long,

Thank you for circulating the Ontario Energy Board (OEB) Updated Application of Notice for EB-2020-0293 Enbridge Gas Inc. St. Laurent Ottawa North, Ontario to the Ministry of Transportation (MTO), for review and comments. The Ministry has reviewed the proposal in accordance with the Public Transportation and Highway Improvement Act (PTHIA) and offers the following comments.

Under the authority of the Public Transportation and Highway Improvement Act, the Ministry, through the issuance of permits, authorizes all encroachments within the limits of a highway and other permits within a control area of 395 meters radius around each interchange/intersection and 45 m from the highway property limit. An Encroachment Permit or other Permit or approval required by the Ministry must be obtained for each encroachment or other activities before work commences. The construction or operation of works within the limits of the Ministry of Transportation’s jurisdiction by third parties or their agents, including any pre-engineering work in advance of construction also requires permits and approvals from the Ministry.

As previously stated, Enbridge has worked with MTO to find a compromise to the Phase 4 preferred route proposed initially from Enbridge Gas Inc. at Vanier Parkway. After discussions Enbridge, the RCMP and the MTO agreed upon an alternative route that may not be ideal for anyone but is the best compromise solution to a full redesign for Enbridge. The plans have not yet been finalized, but the new Phase 4 preferred route (as shown in the updated application Notice) shows that Enbridge will place the new line on RCMP property along the Vanier Parkway and place it as far as possible from MTO’s property when possible. The Ministry of Transportation will support this new alternative at Vanier Parkway and will continue to work with Enbridge to finalize the plan, so we can subsequently issue Encroachment and Building permits in accordance to the Public Transportation and Highway Improvement Act (PTHIA).

Similarly, the crossing at  Michael Street is acceptable in principle, however Enbridge will need to provide a detailed plan that is in accordance with Ministry policy, before we grant final approval for an encroachment permit. All buried plant must satisfy minimum depth standards for highway crossings. The depth shall be not less than 5 meters below the traveled portion of the highway All buried plant should be as level as possible across the entire length of the right-of-way and the buried plant should also be as straight as possible (perpendicular) to the traveled portion when crossing the highway.

MTO will want all decommissioned/abandoned pipes removed from our ROW, we may consider cap and grout for the crossing under the main 417 Highway, but those pipes will need to be geolocated and the information will need to be sent to the MTO for our records.

MTO is supportive in principle of the routing as proposed by Enbridge but will require more detail before we give final approval and issue permits. Please do not hesitate to contact me should you require more information at: Alexandre.Gitkow@ontario.ca.  We are all invested in obtaining the best solution possible.

Sincerely Yours,

Alexandre Gitkow

Corridor Management Officer

cc.  Alain Nadeau, Ministry of Transportation, Corridor Management Officer

Cheryl Tolles, Ministry of Transportation, Sr. Project Manager

Stephen Kapusta, Ministry of Transportation, (A) Head Corridor Management

Peter Freure, Ministry of Transportation, Senior Project Engineer