## Sheet1
B2-AMPCO-17-Attachment #1
Major Asset Condition Summary
Ref: EB-2019-0082 I-12-AMPCO-20-01
Major Asset Condition Summary
2016
Asset Type | Very Low Risk* | Low Risk | Fair Risk | High Risk | Very High Risk* | To be Assessed | Total Population | % High Risk & Very High Risk
Transformers | 336 | 163 | 95 | 99 | 23 |  | 716 | 17.04%
Circuit Breakers | 2035 | 1475 | 804 | 293 | 167 |  | 4774 | 9.636%
Protection Systems | 4800 | 3846 | 497 | 2387 | 976 |  | 12506 | 26.89%
Conductors (km) | 16050 |  | 3316 | 3680 |  | 6061 | 29107 | 12.64%
Wood Poles | - | 17640 | 0 | 5460 |  | 18900 | 42000 | 13%
Underground Cables (km) | - | 179 | 77 | 8 |  | 0 | 264 | 3.03%
Insulators
* These categories are not used for all assets.
Major Asset Condition Summary
2018
Asset Type | Very Low Risk* | Low Risk | Fair Risk | High Risk | Very High Risk* | To be Assessed | Total Population | % High Risk & Very High Risk
Transformers | 336 | 163 | 95 | 99 | 23 |  | 716 | 17.04%
Circuit Breakers | 2035 | 1475 | 804 | 293 | 167 |  | 4774 | 9.636%
Protection Systems | 4800 | 3846 | 497 | 2387 | 976 |  | 12506 | 26.89%
Conductors (km) | 16050 |  | 3316 | 3680 |  | 6061 | 29107 | 12.64%
Wood Poles | - | 17640 | 0 | 5460 |  | 18900 | 42000 | 13%
Underground Cables (km) | - | 179 | 77 | 8 |  | 0 | 264 | 3.03%
Insulators
* These categories are not used for all assets.
Major Asset Condition Summary
2020
Asset Type | Very Low Risk* | Low Risk | Fair Risk | High Risk | Very High Risk* | To be Assessed | Total Population | % High Risk & Very High Risk
Transformers
Circuit Breakers
Protection Systems
Conductors (km)
Wood Poles
Underground Cables (km)
Insulators
* These categories are not used for all assets.