EB-2021-0110

Hydro One Networks Inc.

Application for electricity transmission and distribution
rates and other charges for the period 
from January 1, 2023, to December 31, 2027

OFA Interrogatories November 1, 2021

We respectfully submit that this may be an extension to and procedurally grouped with AMPCO Interrogatory B1-AMPCO-4 and B1-AMPCO-5.

Ref: Exhibit B‐1‐1 Section 1.7 Page 10

The asset  needs  assessment  processes  are  structured  to  determine  individual  asset  needs.  The process  relies  on  asset  data,  including  condition,  utilization,  performance,  obsolescence  and  other factors,  and   focusses   on   major  equipment   groups in … distribution   (ex:   station  transformers,  poles)  that  directly  affect  system  reliability.  This  process  drives  effective  planning  decisions  by  ensuring  a  consistent  view  of  asset  information.  As  part  of  the  preliminary  needs  assessment,   asset  condition   and   other  factors   are  assessed  against   current   and   future  requirements  to  identify  investment  candidates.

B1-OFA-1

- Does mitigation of distribution system related uncontrolled ground current enter the investment planning process repair versus replace for distribution and transmission assets evaluations.

- Considering record retention requirements in Section 4.7.7 of the Ontario Energy Board Distribution System Code, can Hydro One provide data on the condition of distribution system transformer assets in close proximity to either existing or concluded testing and mitigation of uncontrolled ground currents, as described in Sections 4.7.2, 4.7.3, and 4.7.4 of the Ontario Energy Board Distribution System Code performed by Hydro One Inc.’s Farm Rapid Response Team, including testing and or mitigation conducted in those instances where the ACC/ACV Threshold for testing and mitigation were not met but testing and or mitigation was conducted.

Distribution assets include Station Transformers, Connection Transformers, Conductors

Circuit Breakers, Protection and Control Systems, Insulators, Steel Structures, and U/G Cables.

Farm Rapid Response Team data includes, initial tested ACC/ACV, was mitigation taken, if mitigation undertaken, what was ACC/ACV after mitigation.