## EGD-2018
Filed: 2021-11-15, EB-2021-0002, Exhibit I.5.EGI.GEC.9, Attachment 1
Program | Program Offering | Measure | Units | Adjustment Factor2 | Annual Gas Savings Realization Rate | Cumulative Gas Savings Realization Rate | Average EUL1 | Average Gross Annual Natural Gas Savings (m3/Unit)1 | Average Gross Annual Electricity Savings (kWh/Unit)1 | Average Gross Annual Water Savings (L/Unit)1 | Average Equipment Cost/Unit1 | Average NTG1 | Total Incentive ($)3 | Total Gross Annual Natural Gas Savings (m3) | Total Gross Cumulative Natural Gas Savings (m3) | Total Net Annual Natural Gas Savings (m3) | Total Net Cumulative Natural Gas Savings (m3) | Total Gross Annual Electricity Savings (kWh) | Total Net Annual Electricity Savings (kWh)2 | Total Gross Annual Water Savings (L) | Total Net Annual Water Savings (L)2 | Total Gross Equipment Costs | Total Net Equipment Costs2 | Average Incentive per Unit
Residential | Residential Adaptive (Smart) Thermostats | Residential Adaptive (Smart) Thermostats | 16262 | 100% | 100% | 100% | 15 | 185 | 176 | 0 | 300 | 96% | 1219650 | 3008470 | 45127050 | 2888131.2 | 43321968 | 2862112 | 2747627.52 | 0 | 0 | 4878600 | 4683456 | 75
Residential | Home Efficiency Rebate Offering (Whole Home) | Whole Home Savings | 14428 | 100% | 101.7% | 101.7% | 25 | 506.3609 | 391.2577 | 0 | 2413.1735 | 85% | 21748956.435 | 7433371.0597 | 185834276.4913 | 6318365.4007 | 157959135.0176 | 5645066.4 | 4798306.44 | 0 | 0 | 34817266.759 | 29594676.7451 | 1507.4131
Low-Income | Home Weatherization | Whole Home Savings | 692 | 100% | 100% | 100% | 25 | 798.8251 | 118.8076 | 0 | 2545.5057 | 100% | 1761489.9784 | 552786.9793 | 13819674.4833 | 552786.9793 | 13819674.4833 | 82214.844 | 82214.844 | 0 | 0 | 1761489.9784 | 1761489.9784 | 2545.5057
Low-Income | Home Weatherization | Bathroom Aerator | 170 | 22.5% | 100% | 100% | 10 | 6.4 | 0 | 2501 | 0.61 | 100% | 66.49 | 1088 | 10880 | 244.8 | 2448 | 0 | 0 | 425170 | 95663.25 | 103.7 | 23.3325 | 0.39112
Low-Income | Home Weatherization | Kitchen Aerator | 57 | 33.5% | 100% | 100% | 10 | 11.56 | 0 | 4516 | 1.16 | 100% | 63.8 | 658.92 | 6589.2 | 220.7382 | 2207.382 | 0 | 0 | 257412 | 86233.02 | 66.12 | 22.1502 | 1.1193
Low-Income | Home Weatherization | Programmable Thermostats | 101 | 100% | 100% | 100% | 15 | 46 | 0 | 0 | 97 | 100% | 9797 | 4646 | 69690 | 4646 | 69690 | 0 | 0 | 0 | 0 | 9797 | 9797 | 97
Low-Income | Home Weatherization | Showerhead | 39 | 87.7% | 100% | 100% | 10 | 25.35 | 0 | 12120 | 18.65 | 100% | 596.8 | 988.65 | 9886.5 | 867.0461 | 8670.4605 | 0 | 0 | 472680 | 414540.36 | 727.35 | 637.8859 | 15.3026
Low-Income | Home Weatherization | Smart Thermostats | 748 | 100% | 100% | 100% | 15 | 185 | 96.2353 | 0 | 280 | 100% | 209440 | 138380 | 2075700 | 138380 | 2075700 | 71984 | 71984 | 0 | 0 | 209440 | 209440 | 280
Low-Income | Affordable Housing Multi-Residential | Boiler | 15 | 100% | 100% | 100% | 25 | 7432.3187 | 0 | 0 | 4945.2667 | 100% | 36600 | 111484.78 | 2787119.5 | 111484.78 | 2787119.5 | 0 | 0 | 0 | 0 | 74179 | 74179 | 2440
Low-Income | Affordable Housing Multi-Residential | Condensing Make-Up Air Unit | 6 | 100% | 100% | 100% | 20 | 15508.9083 | 10191.5683 | 0 | 7263.4683 | 100% | 45720 | 93053.45 | 1861069 | 93053.45 | 1861069 | 61149.41 | 61149.41 | 0 | 0 | 43580.81 | 43580.81 | 7620
Low-Income | Affordable Housing Multi-Residential | Condensing Tank Water Heater | 14 | 100% | 100% | 100% | 15 | 446.9464 | 0 | 0 | 2724.7857 | 100% | 12600 | 6257.25 | 93858.75 | 6257.25 | 93858.75 | 0 | 0 | 0 | 0 | 38147 | 38147 | 900
Low-Income | Affordable Housing Multi-Residential | Showerhead | 847 | 87.7% | 100% | 100% | 10 | 30.6 | 0 | 8322 | 18.65 | 100% | 3518795.05 | 25918.2 | 259182 | 22730.2614 | 227302.614 | 0 | 0 | 7048734 | 6181739.718 | 15796.55 | 13853.5744 | 4154.4215
Low-Income | Affordable Housing Multi-Residential | Custom Project Savings | 125 | 100% | 121.9% | 121.1% | 21.3823 | 33740.176 | 519.184 | 0 | 39912.1941 | 100% | 10600 | 5139050.557 | 109199546 | 5139050.557 | 109199546 | 64898 | 64898 | 0 | 0 | 4989024.26 | 4989024.26 | 84.8
Commercial/Industrial | Run it Right | Custom Project Savings | 22 | 100% | 100% | 100% | 5 | 2359.9545 | 0 | 0 | 1215.0614 | 50.06% | 26506 | 51919 | 259595 | 25990.6514 | 129953.257 | 0 | 0 | 0 | 0 | 26731.35 | 13381.7138 | 1204.8182
Commercial/Industrial | Energy Leaders | Custom Project Savings | 3 | 100% | 100% | 100% | 24.6244 | 402155.3333 | -217744.3333 | 0 | 344014.3333 | 100% | 315000 | 1206466 | 29708545 | 1206466 | 29708545 | -653233 | -653233 | 0 | 0 | 1032043 | 1032043 | 105000
Commercial/Industrial | Commercial Custom | Multi-Residential | 357 | 98.94% | 121.8% | 121.1% | 20.08 | 24824.4986 | 4767.3529 | 0 | 30665.451 | 70.97% | 3054164.24 | 10798768.601 | 215487259 | 7663417.4379 | 151301787.5351 | 1701945 | 1195000.2148 | 0 | 0 | 10947566.02 | 7686701.8295 | 8555.0819
Commercial/Industrial | Commercial Custom | MUSH (Municipalities, Universities, Schools, Hospitals) | 92 | 110.3% | 100.4% | 94.99% | 16.6404 | 40761.6196 | 32921.4022 | 0 | 53470.3099 | 29.79% | 823972.19 | 3765819.2898 | 59276345 | 1121836.0989 | 19474423.0833 | 3028769 | 995060.153 | 0 | 0 | 4919268.51 | 1616157.6127 | 8956.2195
Commercial/Industrial | Commercial Custom | Other Commercial | 125 | 109.8% | 100.4% | 94.99% | 17.0191 | 29350.568 | 22088.168 | 0 | 34666.7224 | 29.22% | 867927.74 | 3684230.0482 | 59311916 | 1076441.9616 | 19032191.2319 | 2761021 | 885964.9664 | 0 | 0 | 4333340.3 | 1390495.6512 | 6943.4219
Commercial/Industrial | Industrial Custom | Agriculture / Greenhouse | 24 | 100% | 106.9% | 110.8% | 14.2765 | 103436 | 0 | 0 | 155055.6033 | 52.07% | 2508042.66 | 2654002.2624 | 39264961 | 1381938.978 | 20445265.1927 | 0 | 0 | 0 | 0 | 3721334.48 | 1937698.8637 | 104501.7775
Commercial/Industrial | Industrial Custom | Industrial | 98 | 100% | 106.9% | 110.8% | 16.0933 | 156839.7449 | 8463.6939 | 1179306.1224 | 106658.9647 | 52.07% | 9340826.75 | 16432382.3845 | 274048317.6493 | 8556341.5076 | 142696959 | 829442 | 431890.4494 | 115572000 | 60178340.4 | 10452578.54 | 5442657.6458 | 95314.5587
Commercial/Industrial | Direct Install | Air Curtain - Pedestrian & Shipping Door | 261 | 100% | 100% | 100% | 15 | 14076.0498 | -2438.636 | 0 | 4825.5057 | 95% | 958751.58 | 3673849 | 55107735 | 3490156.55 | 52352348.25 | -636484 | -604659.8 | 0 | 0 | 1259457 | 1196484.15 | 3673.3777
Commercial/Industrial | Direct Install | Demand Control Kitchen Ventilation Unit | 14 | 100% | 100% | 100% | 15 | 13021.2857 | 20806.5 | 0 | 14752.1429 | 95% | 201000 | 182298 | 2734470 | 173183.1 | 2597746.5 | 291291 | 276726.45 | 0 | 0 | 206530 | 196203.5 | 14357.1429
Commercial/Industrial | Direct Install | Demand Controlled Ventilation with CO2 Sensors | 78 | 100% | 100% | 100% | 15 | 1649.3903 | 0 | 0 | 1650 | 95% | 121860 | 128652.44 | 1929786.6 | 122219.818 | 1833297.27 | 0 | 0 | 0 | 0 | 128700 | 122265 | 1562.3077
Commercial/Industrial | Prescriptive Downstream | Air Curtain - Pedestrian & Shipping Door | 47 | 100% | 100% | 100% | 15 | 9015.8085 | -2030.5532 | 0 | 4524.766 | 95% | 42020 | 423743 | 6356145 | 402555.85 | 6038337.75 | -95436 | -90664.2 | 0 | 0 | 212664 | 202030.8 | 894.0426
Commercial/Industrial | Prescriptive Downstream | Boiler | 71 | 100% | 100% | 100% | 25 | 6874.2001 | 0 | 0 | 4838.169 | 88.14% | 136700 | 488068.209 | 12201705.225 | 430181.4385 | 10754535.9637 | 0 | 0 | 0 | 0 | 343510 | 302768.3902 | 1925.3521
Commercial/Industrial | Prescriptive Downstream | Condensing High Efficiency Furnace | 12 | 100% | 100% | 100% | 18 | 333.2883 | 0 | 0 | 494 | 82.5% | 1850 | 3999.46 | 71990.28 | 3299.5545 | 59391.981 | 0 | 0 | 0 | 0 | 5928 | 4890.6 | 154.1667
Commercial/Industrial | Prescriptive Downstream | Condensing Tank Water Heater | 29 | 100% | 100% | 100% | 15 | 438.7855 | 0 | 0 | 2978.5172 | 95% | 6700 | 12724.78 | 190871.7 | 12088.541 | 181328.115 | 0 | 0 | 0 | 0 | 86377 | 82058.15 | 231.0345
Commercial/Industrial | Prescriptive Downstream | Condensing Tankless Water Heater | 17 | 100% | 100% | 100% | 20 | 498.3538 | 0 | 0 | 2227 | 98% | 7650 | 8472.014 | 169440.28 | 8302.5737 | 166051.4744 | 0 | 0 | 0 | 0 | 37859 | 37101.82 | 450
Commercial/Industrial | Prescriptive Downstream | Condensing Unit Heater | 4 | 100% | 100% | 100% | 18 | 2445.9 | -546 | 0 | 3999 | 100% | 3000 | 9783.6 | 176104.8 | 9783.6 | 176104.8 | -2184 | -2184 | 0 | 0 | 15996 | 15996 | 750
Commercial/Industrial | Prescriptive Downstream | Demand Control Kitchen Ventilation Unit | 27 | 100% | 102.7% | 102.7% | 15 | 9140.7778 | 13818.3333 | 0 | 10355.7778 | 95% | 99800 | 253563.366 | 3803450.4906 | 240885.1977 | 3613277.9661 | 373095 | 354440.25 | 0 | 0 | 279606 | 265625.7 | 3696.2963
Commercial/Industrial | Prescriptive Downstream | Demand Controlled Ventilation with CO2 Sensors | 78 | 100.7% | 104% | 104% | 13.521 | 1761.2962 | 0 | 0 | 1476.9231 | 88.42% | 14020 | 142876.3482 | 1931836 | 127261.33 | 1708178 | 0 | 0 | 0 | 0 | 115200 | 102609.742 | 179.7436
Commercial/Industrial | Prescriptive Downstream | Destratification Fans | 77 | 100% | 100% | 100% | 15 | 1539.6753 | 0 | 0 | 8714 | 90% | 77000 | 118555 | 1778325 | 106699.5 | 1600492.5 | 0 | 0 | 0 | 0 | 670978 | 603880.2 | 1000
Commercial/Industrial | Prescriptive Downstream | Dishwasher | 6 | 100% | 100% | 100% | 10 | 137 | 1791 | 20371 | 171 | 60% | 300 | 822 | 8220 | 493.2 | 4932 | 10746 | 6447.6 | 122226 | 73335.6 | 1026 | 615.6 | 50
Commercial/Industrial | Prescriptive Downstream | Energy Recovery Ventilator | 14 | 100% | 100% | 100% | 14 | 4922.4643 | -3475.4 | 0 | 12934.5 | 95% | 24810 | 68914.5 | 964803 | 65468.775 | 916562.85 | -48655.6 | -46222.82 | 0 | 0 | 181083 | 172028.85 | 1772.1429
Commercial/Industrial | Prescriptive Downstream | Energy Star Fryer | 79 | 100% | 100% | 100% | 12 | 1408 | 0 | 0 | 2476 | 80% | 30600 | 111232 | 1334784 | 88985.6 | 1067827.2 | 0 | 0 | 0 | 0 | 195604 | 156483.2 | 387.3418
Commercial/Industrial | Prescriptive Downstream | Heat Recovery Ventilator | 3 | 100% | 100% | 100% | 14 | 8945.7333 | -131.2 | 0 | 20850.7333 | 95% | 5844 | 26837.2 | 375720.8 | 25495.34 | 356934.76 | -393.6 | -373.92 | 0 | 0 | 62552.2 | 59424.59 | 1948
Commercial/Industrial | Prescriptive Downstream | Infrared heaters | 359 | 100% | 102.7% | 102.7% | 17 | 1653.2994 | 427.493 | 0 | 3120.3953 | 67% | 102200 | 609438.3609 | 10360452.1346 | 408323.7018 | 6941502.9302 | 153470 | 102824.9 | 0 | 0 | 1120221.9 | 750548.673 | 284.6797
Commercial/Industrial | Prescriptive Downstream | Ozone Laundry | 14 | 100% | 100% | 100% | 15 | 13389.5085 | 969.7287 | 727158.6846 | 31428.2857 | 92% | 146582 | 187453.1186 | 2811796.7788 | 172456.8691 | 2586853.0365 | 13576.2017 | 12490.1055 | 10180221.584 | 9365803.8573 | 439996 | 404796.32 | 10470.1429
Commercial/Industrial | Prescriptive Downstream | Showerhead | 1294 | 84.5% | 100% | 100% | 10 | 30.6 | 0 | 8322 | 16.5 | 90% | 7764 | 39596.4 | 395964 | 30113.0622 | 301130.622 | 0 | 0 | 10768668 | 8189572.014 | 21351 | 16237.4355 | 6
Totals |  |  | 36709 | [9 empty] | 47499266.7134 | 61600620.2285 | 1141215061.663 | 42226604.6997 | 807474347.4763 | 16514393.6557 | 10689687.5632 | 144847111.584 | 84585228.2193 | 87655719.8274 | 65229512.7739 | 1293.9406

## EGD-2019
Filed: 2021-11-15, EB-2021-0002, Exhibit I.5.EGI.GEC.9, Attachment 1
Program | Program Offering | Measure | Units | Adjustment Factor2 | Annual Gas Savings Realization Rate | Cumulative Gas Savings Realization Rate | Average EUL1 | Average Gross Annual Natural Gas Savings (m3/Unit)1 | Average Gross Annual Electricity Savings (kWh/Unit)1 | Average Gross Annual Water Savings (L/Unit)1 | Average Equipment Cost/Unit1 | Average NTG1 | Total Incentive ($)3 | Total Gross Annual Natural Gas Savings (m3) | Total Gross Cumulative Natural Gas Savings (m3) | Total Net Annual Natural Gas Savings (m3) | Total Net Cumulative Natural Gas Savings (m3) | Total Gross Annual Electricity Savings (kWh) | Total Net Annual Electricity Savings (kWh)2 | Total Gross Annual Water Savings (L) | Total Net Annual Water Savings (L)2 | Total Gross Equipment Costs | Total Net Equipment Costs2 | Average Incentive per Unit
Residential | Residential Adaptive (Smart) Thermostats | Residential Adaptive (Smart) Thermostats | 15077 | 87.65% | 100% | 100% | 15 | 185 | 176 | 0 | 300 | 96% | 1130775 | 2444709.88 | 36670648.2 | 2346921.4848 | 35203822.272 | 2325778.048 | 2232746.9261 | 0 | 0 | 4523100 | 4342176 | 75
Residential | Home Efficiency Rebate Offering (Whole Home) | Whole Home Savings | 16486 | 101.2% | 100% | 100% | 25 | 555.887 | 368.794 | 0 | 2666.7797 | 95% | 27237310.95 | 9278906.8426 | 231972671.0658 | 8814961.5005 | 220374037.5125 | 6155936.9213 | 5848140.0752 | 0 | 0 | 43964529.3718 | 41766302.9 | 1652.1479
Low-Income | Home Weatherization | Whole Home Savings | 1432 | 98.01% | 100% | 100% | 25 | 646.6622 | 167.1408 | 0 | 2121.5669 | 100% | 3038083.872 | 907592.4599 | 22689811.4968 | 907592.4599 | 22689811.4968 | 234582.5783 | 234582.5783 | 0 | 0 | 3038083.872 | 3038083.87 | 2121.5669
Low-Income | Home Weatherization | Bathroom Aerator | 538 | 22.5% | 100% | 100% | 10 | 6.4 | 0 | 2501 | 0.6 | 100% | 259.8 | 774.72 | 7747.2 | 774.72 | 7747.2 | 0 | 0 | 302746.05 | 302746.05 | 322.8 | 322.8 | 0.4829
Low-Income | Home Weatherization | Kitchen Aerator | 402 | 33.5% | 100% | 100% | 10 | 11.56 | 0 | 4516 | 1.14 | 100% | 457.14 | 1556.7852 | 15567.852 | 1556.7852 | 15567.852 | 0 | 0 | 608169.72 | 608169.72 | 458.28 | 458.28 | 1.1372
Low-Income | Home Weatherization | Showerhead | 461 | 87.7% | 100% | 100% | 10 | 28.2 | 0 | 13885 | 13.5 | 100% | 5467.5 | 11401.1754 | 114011.754 | 11401.1754 | 114011.754 | 0 | 0 | 5613663.845 | 5613663.845 | 6223.5 | 6223.5 | 11.8601
Low-Income | Home Weatherization | Smart Thermostats | 1687 | 100% | 100% | 100% | 15 | 189.3533 | 170.086 | 0 | 300 | 100% | 506100 | 319439 | 4791585 | 319439 | 4791585 | 286935 | 286935 | 0 | 0 | 506100 | 506100 | 300
Low-Income | Affordable Housing Multi-Residential | Boiler | 4 | 100% | 100% | 100% | 25 | 11342.5 | 0 | 0 | 5950 | 100% | 16200 | 45370 | 1134250 | 45370 | 1134250 | 0 | 0 | 0 | 0 | 23800 | 23800 | 4050
Low-Income | Affordable Housing Multi-Residential | Condensing Make-Up Air Unit | 7 | 100% | 100% | 100% | 20 | 18333.35 | 12047.63 | 0 | 8427.83 | 100% | 63557.2 | 128333.45 | 2566669 | 128333.45 | 2566669 | 84333.41 | 84333.41 | 0 | 0 | 58994.81 | 58994.81 | 9079.6
Low-Income | Affordable Housing Multi-Residential | Condensing Tank Water Heater | 3 | 100% | 100% | 100% | 15 | 618 | 0 | 0 | 3215.3333 | 100% | 3000 | 1854 | 27810 | 1854 | 27810 | 0 | 0 | 0 | 0 | 9646 | 9646 | 1000
Low-Income | Affordable Housing Multi-Residential | Custom Project Savings | 129 | 100% | 121.9% | 121.1% | 19.549 | 27910.031 | 2625.3721 | 0 | 41791.8576 | 100% | 2893219.42 | 4387080.089 | 85228270.7694 | 4387080.089 | 85228270.7694 | 412673.0505 | 412673.0505 | 0 | 0 | 5391149.63 | 5391149.63 | 22428.0575
Commercial/Industrial | Run it Right | Custom Project Savings | 49 | 100% | 100% | 100% | 5 | 13136.3878 | 0 | 0 | 5320.1839 | 50.06% | 246185.74 | 643683 | 3218415 | 322227.7098 | 1611138.549 | 0 | 0 | 0 | 0 | 260689.01 | 130500.92 | 5024.1988
Commercial/Industrial | Commercial Custom | Multi-Residential | 229 | 98.68% | 121.9% | 121.1% | 20.6351 | 27796.1747 | 8652.3712 | 0 | 34502.9601 | 70.88% | 1842236.63 | 7756147.294 | 159050528 | 5497564.832 | 111243473 | 2414327.3705 | 1711277.6153 | 0 | 0 | 7901177.87 | 5600362.65 | 8044.7014
Commercial/Industrial | Commercial Custom | MUSH (Municipalities, Universities, Schools, Hospitals) | 104 | 108.2% | 100.4% | 94.99% | 16.7945 | 49569.6923 | 877.4327 | 0 | 80036.8217 | 30.85% | 1045316.47 | 5176900.0416 | 82242078 | 1597276.2202 | 27451495 | 91636.2626 | 28273.3725 | 0 | 0 | 8323829.46 | 2568227.08 | 10051.1199
Commercial/Industrial | Commercial Custom | Other Commercial | 244 | 110.2% | 100.4% | 94.99% | 18.1647 | 11802.1926 | 1089.0369 | 0 | 16169.9761 | 31.28% | 836457.55 | 2891829.887 | 49688851 | 904445.1892 | 17125248 | 266841.045 | 83456.8799 | 0 | 0 | 3945474.16 | 1233981.69 | 3428.1047
Commercial/Industrial | Industrial Custom | Agriculture / Greenhouse | 9 | 100% | 106.9% | 110.8% | 12.7079 | 211962.8889 | 0 | 0 | 215989.5344 | 52.07% | 163200.45 | 2039485.7206 | 26858139.4494 | 1061960.2147 | 13985033.2113 | 0 | 0 | 0 | 0 | 1943905.81 | 1012191.76 | 18133.3833
Commercial/Industrial | Industrial Custom | Industrial | 117 | 100% | 106.9% | 110.8% | 17.8263 | 233362.3145 | 5363.8291 | 563.8462 | 100763.738 | 52.07% | 2567540.29 | 29190055.1043 | 539235853.7994 | 15199261.6928 | 280780109.0733 | 670932.9488 | 349354.7864 | 70528.527 | 36724.204 | 11789357.35 | 6138718.37 | 21944.7888
Commercial/Industrial | Direct Install | Air Curtain - Pedestrian & Shipping Door | 492 | 100% | 100% | 100% | 15 | 13885.4248 | -2414.7175 | 0 | 4920.2337 | 95% | 2408152.34 | 6831629 | 102474435 | 6490047.55 | 97350713.25 | -1188041 | -1128638.95 | 0 | 0 | 2420755 | 2299717.25 | 4894.6186
Commercial/Industrial | Direct Install | Demand Control Kitchen Ventilation Unit | 107 | 100% | 100% | 100% | 15 | 11860.4579 | 18715.5421 | 0 | 13437.0093 | 95% | 1396500 | 1269069 | 19036035 | 1205615.55 | 18084233.25 | 2002563 | 1902434.85 | 0 | 0 | 1437760 | 1365872 | 13051.4019
Commercial/Industrial | Prescriptive Downstream | Air Curtain - Pedestrian & Shipping Door | 29 | 100% | 100% | 100% | 15 | 13406.7586 | -2893.2414 | 0 | 4996.7241 | 95% | 68000 | 388796 | 5831940 | 369356.2 | 5540343 | -83904 | -79708.8 | 0 | 0 | 144905 | 137659.75 | 2344.8276
Commercial/Industrial | Prescriptive Downstream | Boiler | 48 | 100% | 100% | 100% | 25 | 9719.9415 | 0 | 0 | 7356.2708 | 86.39% | 81600 | 466557.19 | 11663929.75 | 403061.7805 | 10076544.5125 | 0 | 0 | 0 | 0 | 353101 | 305046.24 | 1700
Commercial/Industrial | Prescriptive Downstream | Condensing High Efficiency Furnace | 11 | 100% | 100% | 100% | 18 | 294.6018 | 0.0001875 | 0 | 494 | 82.5% | 3200 | 3240.62 | 58331.16 | 2673.5115 | 48123.207 | 0.0020625 | 0.0017016 | 0 | 0 | 5434 | 4483.05 | 290.9091
Commercial/Industrial | Prescriptive Downstream | Condensing Make-Up Air Unit | 2 | 100% | 100% | 100% | 20 | 10980 | 11160 | 0 | 9960 | 95% | 10900 | 21960 | 439200 | 20862 | 417240 | 22320 | 21204 | 0 | 0 | 19920 | 18924 | 5450
Commercial/Industrial | Prescriptive Downstream | Condensing Tank Water Heater | 4 | 100% | 100% | 100% | 15 | 579.2977 | 0 | 0 | 2591 | 95% | 2200 | 2317.191 | 34757.865 | 2201.3314 | 33019.9717 | 0 | 0 | 0 | 0 | 10364 | 9845.8 | 550
Commercial/Industrial | Prescriptive Downstream | Condensing Tankless Water Heater | 5 | 100% | 100% | 100% | 20 | 552.284 | 0 | 0 | 2227 | 98% | 2450 | 2761.42 | 55228.4 | 2706.1916 | 54123.832 | 0 | 0 | 0 | 0 | 11135 | 10912.3 | 490
Commercial/Industrial | Prescriptive Downstream | Demand Control Kitchen Ventilation Unit | 61 | 102.7% | 100% | 100% | 15 | 8126.4426 | 11994.8525 | 0 | 7982.5082 | 95% | 161400 | 509295.5362 | 7639433.043 | 483830.7594 | 7257461.3909 | 751734.1964 | 714147.4866 | 0 | 0 | 486933 | 462586.35 | 2645.9016
Commercial/Industrial | Prescriptive Downstream | Demand Controlled Ventilation with CO2 Sensors | 411 | 104.1% | 100% | 100% | 15 | 2396.44 | 0 | 0 | 1036.1314 | 94.61% | 242648.04 | 1025713.2335 | 15385698.5026 | 970447.341 | 14556710.1155 | 0 | 0 | 0 | 0 | 425850 | 402905.01 | 590.3845
Commercial/Industrial | Prescriptive Downstream | Destratification Fans | 31 | 100% | 100% | 100% | 15 | 2691.5484 | 0 | 0 | 7961 | 90% | 32800 | 83438 | 1251570 | 75094.2 | 1126413 | 0 | 0 | 0 | 0 | 246791 | 222111.9 | 1058.0645
Commercial/Industrial | Prescriptive Downstream | Dishwasher | 3 | 102.5% | 100% | 100% | 16.6339 | 271.3333 | 2611 | 40348.3333 | 1090.3333 | 68.62% | 650 | 814 | 13540 | 558.6 | 9528 | 7833 | 5375.3241 | 121045 | 83066.016 | 3271 | 2244.69 | 216.6667
Commercial/Industrial | Prescriptive Downstream | Energy Recovery Ventilator | 9 | 100% | 100% | 100% | 14 | 25375.0378 | -4234.8489 | 0 | 53082.0889 | 95% | 84458.35 | 228375.34 | 3197254.76 | 216956.573 | 3037392.022 | -38113.64 | -36207.958 | 0 | 0 | 477738.8 | 453851.86 | 9384.2611
Commercial/Industrial | Prescriptive Downstream | Energy Recovery Ventilator Improved Effectiveness | 1 | 100% | 100% | 100% | 14 | 540 | 0 | 0 | 600 | 95% | 380 | 540 | 7560 | 513 | 7182 | 0 | 0 | 0 | 0 | 600 | 570 | 380
Commercial/Industrial | Prescriptive Downstream | Energy Star Fryer | 70 | 100% | 100% | 100% | 12 | 1408 | 0 | 0 | 2476 | 80% | 45500 | 98560 | 1182720 | 78848 | 946176 | 0 | 0 | 0 | 0 | 173320 | 138656 | 650
Commercial/Industrial | Prescriptive Downstream | Energy Star Steam Cooker | 1 | 100% | 100% | 100% | 12 | 8889 | 0 | 340142 | 3880 | 80% | 1000 | 8889 | 106668 | 7111.2 | 85334.4 | 0 | 0 | 340142 | 272113.6 | 3880 | 3104 | 1000
Commercial/Industrial | Prescriptive Downstream | Heat Recovery Ventilator | 4 | 100% | 100% | 100% | 14 | 8673 | -854 | 0 | 13440.5 | 95% | 6650 | 34692 | 485688 | 32957.4 | 461403.6 | -3416 | -3245.2 | 0 | 0 | 53762 | 51073.9 | 1662.5
Commercial/Industrial | Prescriptive Downstream | Infrared heaters | 46 | 102.7% | 100% | 100% | 17 | 1525.4457 | 460.8696 | 0 | 3867.2826 | 67% | 20950 | 72051.0694 | 1224868.1798 | 48274.2165 | 820661.6805 | 21768.16 | 14584.6672 | 0 | 0 | 177895 | 119189.65 | 455.4348
Commercial/Industrial | Prescriptive Downstream | Ozone Laundry | 11 | 100% | 100% | 100% | 15 | 22418.0345 | 1246.7471 | 1217480.7273 | 33895.8182 | 92% | 137636 | 246598.38 | 3698975.7 | 226870.5096 | 3403057.644 | 13714.218 | 12617.0806 | 13392288 | 12320904.96 | 372854 | 343025.68 | 12512.3636
Commercial/Industrial | Prescriptive Downstream | Showerhead | 370 | 84.5% | 100% | 100% | 10 | 30.6 | 0 | 8322 | 16.5 | 90% | 2220 | 9567.09 | 95670.9 | 8610.381 | 86103.81 | 0 | 0 | 2601873.3 | 2341685.97 | 6105 | 5494.5 | 6
Commercial/Industrial | Prescriptive Midstream | Broiler | 1 | 100% | 100% | 100% | 12 | 3347 | 0 | 0 | 1900 | 80% | 1480.33 | 3347 | 40164 | 2677.6 | 32131.2 | 0 | 0 | 0 | 0 | 1900 | 1520 | 1480.33
Commercial/Industrial | Prescriptive Midstream | Energy Star Fryer | 50 | 100% | 100% | 100% | 12 | 1408 | 0 | 0 | 2476 | 80% | 53802.7 | 70400 | 844800 | 56320 | 675840 | 0 | 0 | 0 | 0 | 123800 | 99040 | 1076.054
Commercial/Industrial | Prescriptive Midstream | Energy Star Steam Cooker | 1 | 100% | 100% | 100% | 12 | 8889 | 0 | 340142 | 3880 | 80% | 3866.04 | 8889 | 106668 | 7111.2 | 85334.4 | 0 | 0 | 340142 | 272113.6 | 3880 | 3104 | 3866.04
Totals |  |  | 38746 | [9 empty] | 46363811.812 | 76612619.5197 | 1420388043.8472 | 52260725.6191 | 988545149.9764 | 14450434.5714 | 12694336.1962 | 23390598.442 | 21851187.965 | 98648795.7238 | 78288178.19 | 1196.609

## EGD-2020
Filed: 2021-11-15, EB-2021-0002, Exhibit I.5.EGI.GEC.9, Attachment 1
Program | Program Offering | Measure | Units | Adjustment Factor2 | Annual Gas Savings Realization Rate | Cumulative Gas Savings Realization Rate | Average EUL1 | Average Gross Annual Natural Gas Savings (m3/Unit)1 | Average Gross Annual Electricity Savings (kWh/Unit)1 | Average Gross Annual Water Savings (L/Unit)1 | Average Equipment Cost/Unit1 | Average NTG1 | Total Incentive ($)3 | Total Gross Annual Natural Gas Savings (m3) | Total Gross Cumulative Natural Gas Savings (m3) | Total Net Annual Natural Gas Savings (m3) | Total Net Cumulative Natural Gas Savings (m3) | Total Gross Annual Electricity Savings (kWh) | Total Net Annual Electricity Savings (kWh)2 | Total Gross Annual Water Savings (L) | Total Net Annual Water Savings (L)2 | Total Gross Equipment Costs | Total Net Equipment Costs2 | Average Incentive per Unit
Residential | Residential Adaptive (Smart) Thermostats | Residential Adaptive (Smart) Thermostats | 21553 | 81.83% | 100% | 100% | 15 | 184.7167 | 178.3445 | 0 | 300 | 96% | 1685549.64 | 3257993.6145 | 48869904.2175 | 3127673.8699 | 46915108.0488 | 3145600.5792 | 3019776.556 | 0 | 0 | 6465900 | 6207264 | 78.2049
Residential | Home Efficiency Rebate Offering (Whole Home) | Whole Home Savings | 14021 | 100% | 100% | 100% | 25 | 522.2823 | 264.2621 | 0 | 2152.2175 | 95% | 25420249.35 | 7322919.774 | 183072994.3504 | 6956773.7853 | 173919344.6329 | 3705219.2 | 3519958.24 | 0 | 0 | 30176240.9624 | 28667428.91 | 1813.0126
Low-Income | Home Winterproofing | Whole Home Savings | 912 | 99.69% | 100% | 100% | 25 | 782.8792 | 111.1712 | 0 | 2422.7737 | 100% | 2209569.5734 | 711737.7318 | 17793443.2957 | 711737.7318 | 17793443.2957 | 101068.8623 | 101068.8623 | 0 | 0 | 2209569.5734 | 2209569.57 | 2422.7737
Low-Income | Home Winterproofing | Bathroom Aerator | 334 | 22.5% | 100% | 100% | 10 | 6.4 | 0 | 2501 | 0.6 | 100% | 200.4 | 480.96 | 4809.6 | 480.96 | 4809.6 | 0 | 0 | 187950.15 | 187950.15 | 200.4 | 200.4 | 0.6
Low-Income | Home Winterproofing | Kitchen Aerator | 212 | 33.5% | 100% | 100% | 10 | 11.56 | 0 | 4516 | 1.14 | 100% | 241.68 | 820.9912 | 8209.912 | 820.9912 | 8209.912 | 0 | 0 | 320726.32 | 320726.32 | 241.68 | 241.68 | 1.14
Low-Income | Home Winterproofing | Showerhead | 302 | 87.7% | 100% | 100% | 10 | 28.2 | 0 | 13885 | 13.5 | 100% | 4077 | 7468.8828 | 74688.828 | 7468.8828 | 74688.828 | 0 | 0 | 3677497.79 | 3677497.79 | 4077 | 4077 | 13.5
Low-Income | Home Winterproofing | Smart Thermostats | 3043 | 100% | 100% | 100% | 15 | 191.9563 | 131.4394 | 0 | 300 | 100% | 912900 | 584123 | 8761845 | 584123 | 8761845 | 399970 | 399970 | 0 | 0 | 912900 | 912900 | 300
Low-Income | Affordable Housing Multi-Residential | Condensing Make-Up Air Unit | 4 | 100% | 100% | 100% | 20 | 27000 | 20700 | 0 | 10050 | 100% | 68850 | 108000 | 2160000 | 108000 | 2160000 | 82800 | 82800 | 0 | 0 | 40200 | 40200 | 17212.5
Low-Income | Affordable Housing Multi-Residential | Condensing Tank Water Heater | 3 | 100% | 100% | 100% | 15 | 556.2 | 0 | 0 | 3215.3333 | 100% | 3450 | 1668.6 | 25029 | 1668.6 | 25029 | 0 | 0 | 0 | 0 | 9646 | 9646 | 1150
Low-Income | Affordable Housing Multi-Residential | Condensing Tankless Water Heater | 4 | 100% | 100% | 100% | 20 | 569.821 | 0 | 0 | 2227 | 100% | 2223.43 | 2279.284 | 45585.68 | 2279.284 | 45585.68 | 0 | 0 | 0 | 0 | 8908 | 8908 | 555.8575
Low-Income | Affordable Housing Multi-Residential | Heat Recovery Ventilator | 2 | 100% | 100% | 100% | 14 | 65265.26 | -8226.86 | 0 | 97337.22 | 100% | 48519.2 | 130530.52 | 1827427.28 | 130530.52 | 1827427.28 | -16453.72 | -16453.72 | 0 | 0 | 194674.44 | 194674.44 | 24259.6
Low-Income | Affordable Housing Multi-Residential | Showerhead | 100 | 84.5% | 100% | 100% | 10 | 30.6 | 0 | 8322 | 16.5 | 100% | 1250 | 2585.7 | 25857 | 2585.7 | 25857 | 0 | 0 | 703209 | 703209 | 1650 | 1650 | 12.5
Low-Income | Affordable Housing Multi-Residential | Custom Project Savings | 108 | 100% | 121.9% | 121.1% | 21.3564 | 22755.0556 | 3781.1667 | 0 | 53879.8204 | 100% | 2343246.21 | 2994519.801 | 63553404.1918 | 2994519.801 | 63553404.1918 | 497593.971 | 497593.971 | 0 | 0 | 5819020.6 | 5819020.6 | 21696.7242
Commercial/Industrial | Comprehensive Energy Management | Custom Project Savings | 1 | 100% | 106.9% | 110.8% | 20 | 6328 | 0 | 0 | 2768.78 | 52.07% | 1265.6 | 6765.2648 | 140215.824 | 3522.6734 | 73010.3796 | 0 | 0 | 0 | 0 | 2768.78 | 1441.7 | 1265.6
Commercial/Industrial | Run it Right | Custom Project Savings | 33 | 100% | 100% | 100% | 5 | 9187.0909 | 0 | 0 | 5610.3242 | 50.06% | 176537.92 | 303174 | 1515870 | 151768.9044 | 758844.522 | 0 | 0 | 0 | 0 | 185140.7 | 92681.43 | 5349.6339
Commercial/Industrial | Commercial Custom | Multi-Residential | 282 | 98.79% | 121.9% | 121.1% | 20.2746 | 26636.5638 | 4570.5142 | 0 | 37791.7417 | 70.39% | 2597302.73 | 9152776.1535 | 184411902 | 6442210.0796 | 128231152 | 1570506.3725 | 1105405.815 | 0 | 0 | 10657271.17 | 7501153.6 | 9210.2934
Commercial/Industrial | Commercial Custom | MUSH (Municipalities, Universities, Schools, Hospitals) | 94 | 112.3% | 100.4% | 94.99% | 18.0735 | 55901.8936 | 422.7234 | 0 | 70706.4638 | 24.75% | 977432.3 | 5276848.0676 | 90214220 | 1305989.3969 | 25077774 | 39902.8912 | 9875.7349 | 0 | 0 | 6646407.6 | 1644947.47 | 10398.216
Commercial/Industrial | Commercial Custom | Other Commercial | 196 | 108% | 100.4% | 94.99% | 20.5958 | 19149.1837 | 820.6327 | -15.7449 | 36067.9609 | 34.48% | 1071870.11 | 3769003.608 | 73428178 | 1299477.3159 | 27336922 | 161519.5448 | 55688.7195 | -3098.9612 | -1068.46 | 7069320.33 | 2437360.74 | 5468.7251
Commercial/Industrial | Industrial Custom | Agriculture / Greenhouse | 11 | 100% | 106.9% | 110.8% | 10.7006 | 171035 | 0 | 0 | 154049.5473 | 52.07% | 172001.85 | 2011388.7035 | 22304109.852 | 1047330.0979 | 11613749.9999 | 0 | 0 | 0 | 0 | 1694545.02 | 882349.59 | 15636.5318
Commercial/Industrial | Industrial Custom | Industrial | 121 | 100% | 106.9% | 110.8% | 18.3013 | 172285.5902 | 1100.0331 | 541.5702 | 105998.6763 | 52.07% | 1728712.16 | 22287053.4579 | 422684875.7484 | 11604868.7355 | 220092014.8022 | 142301.4864 | 74096.384 | 70058.123 | 36479.2646 | 12825839.83 | 6678414.8 | 14286.8774
Commercial/Industrial | Direct Install | Air Curtain - Pedestrian & Shipping Door | 145 | 100% | 100% | 100% | 15 | 5616.4276 | -210.3931 | 0 | 10095.4414 | 95% | 1115264.83 | 814382 | 12215730 | 773662.9 | 11604943.5 | -30507 | -28981.65 | 0 | 0 | 1463839 | 1390647.05 | 7691.4816
Commercial/Industrial | Direct Install | Demand Control Kitchen Ventilation Unit | 18 | 100% | 100% | 100% | 15 | 8920.2222 | 13424.7778 | 0 | 10105.8333 | 95% | 201000 | 160564 | 2408460 | 152535.8 | 2288037 | 241646 | 229563.7 | 0 | 0 | 181905 | 172809.75 | 11166.6667
Commercial/Industrial | Direct Install | Dock Door Seals - Compression & Shelter | 334 | 100% | 100% | 100% | 10 | 2461.7695 | 609.8892 | 0 | 1656.2515 | 95% | 475131.37 | 822231 | 8222310 | 781119.45 | 7811194.5 | 203703 | 193517.85 | 0 | 0 | 553188 | 525528.6 | 1422.549
Commercial/Industrial | Prescriptive Downstream | Air Curtain - Pedestrian & Shipping Door | 23 | 100% | 100% | 100% | 15 | 2382.2609 | 287.3043 | 0 | 4461.5217 | 95% | 38490 | 54792 | 821880 | 52052.4 | 780786 | 6608 | 6277.6 | 0 | 0 | 102615 | 97484.25 | 1673.4783
Commercial/Industrial | Prescriptive Downstream | Condensing High Efficiency Furnace | 2 | 100% | 100% | 100% | 18 | 115.444 | 0 | 0 | 188 | 82.5% | 400 | 230.888 | 4155.984 | 190.4826 | 3428.6868 | 0 | 0 | 0 | 0 | 376 | 310.2 | 200
Commercial/Industrial | Prescriptive Downstream | Condensing Make-Up Air Unit | 3 | 100% | 100% | 100% | 20 | 3240.6333 | 2232 | 0 | 4382 | 95% | 7190 | 9721.9 | 194438 | 9235.805 | 184716.1 | 6696 | 6361.2 | 0 | 0 | 13146 | 12488.7 | 2396.6667
Commercial/Industrial | Prescriptive Downstream | Condensing Tank Water Heater | 4 | 100% | 100% | 100% | 15 | 614.91 | 0 | 0 | 2591 | 95% | 2800 | 2459.64 | 36894.6 | 2336.658 | 35049.87 | 0 | 0 | 0 | 0 | 10364 | 9845.8 | 700
Commercial/Industrial | Prescriptive Downstream | Demand Control Kitchen Ventilation Unit | 61 | 102.7% | 100% | 100% | 15 | 7781.5902 | 11373.459 | 0 | 8054.1148 | 62% | 266950 | 487683.1498 | 7315247.247 | 302363.5529 | 4535453.2931 | 712790.5994 | 441930.1716 | 0 | 0 | 491301 | 304606.62 | 4376.2295
Commercial/Industrial | Prescriptive Downstream | Demand Controlled Ventilation with CO2 Sensors | 280 | 104.1% | 100% | 100% | 15 | 3425.3506 | 0 | 0 | 1043.5714 | 8% | 165850 | 998804.8467 | 14982072.701 | 79904.3877 | 1198565.8161 | 0 | 0 | 0 | 0 | 292200 | 23376 | 592.3214
Commercial/Industrial | Prescriptive Downstream | Destratification Fans | 16 | 100% | 100% | 100% | 15 | 2475.5 | 0 | 0 | 7961 | 90% | 17000 | 39608 | 594120 | 35647.2 | 534708 | 0 | 0 | 0 | 0 | 127376 | 114638.4 | 1062.5
Commercial/Industrial | Prescriptive Downstream | Dock Door Seals - Compression & Shelter | 148 | 100% | 100% | 100% | 10 | 2164.3243 | 538.3919 | 0 | 1836 | 95% | 138892.89 | 320320 | 3203200 | 304304 | 3043040 | 79682 | 75697.9 | 0 | 0 | 271728 | 258141.6 | 938.4655
Commercial/Industrial | Prescriptive Downstream | Energy Recovery Ventilator | 68 | 100% | 100% | 100% | 14 | 3015.8956 | -152.1412 | 0 | 4198.9735 | 95% | 24975 | 205080.9 | 2871132.6 | 194826.855 | 2727575.97 | -10345.6 | -9828.32 | 0 | 0 | 285530.2 | 271253.69 | 367.2794
Commercial/Industrial | Prescriptive Downstream | Energy Recovery Ventilator Improved Effectiveness | 5 | 100% | 100% | 100% | 14 | 2618.6 | 0 | 0 | 3459 | 95% | 18006.25 | 13093 | 183302 | 12438.35 | 174136.9 | 0 | 0 | 0 | 0 | 17295 | 16430.25 | 3601.25
Commercial/Industrial | Prescriptive Downstream | Energy Star Fryer | 10 | 100% | 100% | 100% | 12 | 1408 | 0 | 0 | 2476 | 80% | 6500 | 14080 | 168960 | 11264 | 135168 | 0 | 0 | 0 | 0 | 24760 | 19808 | 650
Commercial/Industrial | Prescriptive Downstream | Ozone Laundry | 7 | 100% | 100% | 100% | 15 | 10543.2336 | 567.7262 | 535913.8571 | 47551.1429 | 92% | 55382 | 73802.635 | 1107039.525 | 67898.4242 | 1018476.363 | 3974.0835 | 3656.1568 | 3751397 | 3451285.24 | 332858 | 306229.36 | 7911.7143
Commercial/Industrial | Prescriptive Midstream | Condensing Tank Water Heater | 347 | 100% | 100% | 100% | 15 | 446.4366 | 0 | 0 | 2855.487 | 95% | 236805.46 | 154913.516 | 2323702.74 | 147167.8402 | 2207517.603 | 0 | 0 | 0 | 0 | 990854 | 941311.3 | 682.4365
Commercial/Industrial | Prescriptive Midstream | Condensing Tankless Water Heater | 58 | 100% | 100% | 100% | 20 | 432.8623 | 0 | 0 | 2227 | 98% | 43643.5 | 25106.012 | 502120.24 | 24603.8918 | 492077.8352 | 0 | 0 | 0 | 0 | 129166 | 126582.68 | 752.4741
Commercial/Industrial | Prescriptive Midstream | Condensing Unit Heater | 16 | 100% | 100% | 100% | 18 | 2016.8813 | -511.75 | 0 | 3297.5625 | 100% | 31768.45 | 32270.1 | 580861.8 | 32270.1 | 580861.8 | -8188 | -8188 | 0 | 0 | 52761 | 52761 | 1985.5281
Commercial/Industrial | Prescriptive Midstream | Energy Star Fryer | 215 | 100% | 100% | 100% | 12 | 1408 | 0 | 0 | 2476 | 80% | 254220.3 | 302720 | 3632640 | 242176 | 2906112 | 0 | 0 | 0 | 0 | 532340 | 425872 | 1182.42
Commercial/Industrial | Prescriptive Midstream | Energy Star Convection Oven | 11 | 100% | 100% | 100% | 12 | 865 | 40.1 | 0 | 0 | 80% | 11676.84 | 9515 | 114180 | 7612 | 91344 | 441.1 | 352.88 | 0 | 0 | 0 | 0 | 1061.5309
Commercial/Industrial | Prescriptive Midstream | Energy Star Rack Oven | 6 | 100% | 100% | 100% | 12 | 1002 | 1588 | 0 | 6472 | 80% | 7574.58 | 6012 | 72144 | 4809.6 | 57715.2 | 9528 | 7622.4 | 0 | 0 | 38832 | 31065.6 | 1262.43
Commercial/Industrial | Prescriptive Midstream | Energy Star Steam Cooker | 4 | 100% | 100% | 100% | 12 | 8889 | 0 | 340142 | 3880 | 80% | 15464.15 | 35556 | 426672 | 28444.8 | 341337.6 | 0 | 0 | 1360568 | 1088454.4 | 15520 | 12416 | 3866.0375
Totals |  |  | 43117 | [9 empty] | 42560434.7734 | 62515084.7022 | 1182903833.2168 | 39750694.8271 | 771050466.21 | 11046057.3703 | 9767762.4511 | 10068307.4218 | 9464533.7046 | 90852476.2858 | 68427736.78 | 987.0917

## Notes
Filed: 2021-11-15, EB-2021-0002, Exhibit I.5.EGI.GEC.9, Attachment 1
Notes
1. Custom and quasi prescriptive measures may use quasi factors (i.e. capacity/sizing), have differences in EUL, NTG, or incremental costs within the measure category so the overall total by measure is an average of the unique tracked projects.
2. Related to the above, certain measure lines had to be further adjusted to balance to totals. This was done by using an adjustment factor and making a corresponding correction to formulas on those lines to use the adjustment factor for this purpose. Cells have been highlighted to indicate this treatment. All natural gas savings are accurately reflected (gross/net annual and cumulative) as well as gross annual electricity and water savings and gross equipment costs. Total net annual electricity and water savings and net equipment costs will have variances to reported results due to this issue. Where the adjustment factor column was used, the value would otherwise be 100%. All other adjustment factors outside of the highlighted cells reflect audit adjustment factors.
3. The incentive information provided is the total incentive recorded in the tracking system. Some offerings follow a different payment process due to the nature of the offering (e.g. Direct Install, Low Income Weatherization, etc.). For this and other reasons in how projects are processed, the assembled measure by measure totals presented here will not align to overall reported financial incentives for the offering. For Low Income Single Family, where no incentive was paid to the customer, the equipment cost has been used as a proxy.
Not all values may compute exactly to reported values due to rounding