## Sheet1
CCC-40-01
| Asset Type | 2016 DSP: Asset Condition (# assets in very poor & poor condition) | 2020 DSP: Asset Condition (# assets in very poor & poor condition) | # assets replaced 2017-2021 (forecast) | # assets replaced 2017-2021 (actual) | # assets replaced 2022-2026 (forecast) | # assets replaced 2027-2030 (forecast)
n/a
1a | Pole Mounted Transformer - Single Phase | 560 | 437 | 560 | 609 | 437 | n/a
1b | Pole Mounted Transformer -Three Phase | n/a | 58 | n/a | 126 | 58 | n/a
2a | Pad Mounted Transformer - Single Phase | 550 | 318 | 550 | 552 | 318 | n/a
2b | Pad Mounted Transformer - Three Phase | 125 | 90 | 125 | 128 | 90 | n/a
3 | Vault Transformer | 15 | 36 | 15 | 17 | 36 | n/a
4 | Network Transformer | 10 | 0 | 10 | 17 | 0 | n/a
5 | Network Protector | 10 | 1 | 10 | 15 | 1 | n/a
6a | Live-Front Switchgear | 20 | 10 | 20 | 14 | 10 | n/a
6b | Dead-Front Switchgear | 0 | 0 | 0 | 9 | 0 | n/a
7 | Overhead Switch & Recloser | n/a | n/a | n/a | 20 | 0 | n/a
8a | Woodpoles | 1120 | 2057 | 1120 | 1219 | 2057 | n/a
8b | Pole Line Attachments | n/a | n/a | n/a | n/a | n/a | n/a
9a | PILC Cable (km) | 15 | 1.1 | 15 | 205.8 | 1.1 | n/a
9b | EPR Cable | 0 | 0 | 0 | 0 | 0 | n/a
9c | Large Polymeric Cable | n/a | 0.4 | n/a | 5.5 | 0.4 | n/a
9d | Low Voltage Cable | n/a | n/a | n/a | n/a | n/a | n/a
10a | Maintenance Hole | 110 | 123 | 110 | 52 | 123 | n/a
10b | Vaults | 5 | 10 | 5 | 2 | 10 | n/a
11 | Substation | 0 | 0 | 0 | 0 | 0 | n/a