## 2021
LH Response to 2-SEC-23
2021
Project | Project Name | Reliability | Safety | Environment | Capacity | Efficiency | BHI | Final Score
21A6 | Municipal Transformer Relocation | 7 | 9 | 9 | 6 | 8 | 66.8% | 119.012
21F1 | Network Vaults/Maintenance Holes/Transformers | 9 | 10 | 6 | 5 | 5 | 79.5% | 99.3711
21B9 | 4 kV Underground Conversion | 7 | 7 | 5 | 5 | 9 | 73.5% | 89.7959
21F3 | Maintenance Hole Cable Rebuilds | 9 | 9 | 1 | 7 | 5 | 79.5% | 89.3082
21B3 | Replacement/Removals of SEs | 7 | 8 | 3 | 4 | 8 | 73.5% | 87.0748
21G5 | 4 kV Overhead Conversion | 7 | 8 | 5 | 5 | 9 | 90.3% | 76.9657
21A2 | Battery Bank Replacements | 6 | 6 | 2 | 4 | 5 | 66.8% | 74.8503
21C3 | Civil Structure Installation | 7 | 8 | 3 | 6 | 5 | 86.3% | 74.1599
21B4 | Transformer Replacement | 4 | 8 | 7 | 1 | 3 | 73.5% | 72.1088
21G3 | Rebuild Depreciated Areas (Overhead) | 7 | 9 | 8 | 1 | 1 | 90.3% | 70.3212
21H4 | SCADA Cyber Security and Communication Infrastructure | 10 | 9 | 1 | 1 | 10 | 100% | 69.5
21G6 | Automatic Splice Replacement Program | 8 | 9 | 1 | 1 | 7 | 90.3% | 68.1063
21G7 | Porcelain Insulator Replacement Program | 8 | 9 | 1 | 1 | 7 | 90.3% | 68.1063
21B6 | Vault Rebuilds (Transformer Replacements) | 4 | 9 | 3 | 1 | 1 | 73.5% | 65.9864
21G1 | Pole Replacement | 7 | 9 | 5 | 1 | 1 | 90.3% | 65.3378
21C1 | Main Feeder Supply | 8 | 2 | 1 | 10 | 9 | 90.6% | 57.947
21C4 | New Main Feeder Ties | 8 | 1 | 1 | 10 | 9 | 90.6% | 54.0839
21G14 | Porcelain Fused Cut Out Replacement | 7 | 7 | 1 | 1 | 3 | 90.3% | 53.1561
21F4 | Explosion-Limiting Manhole Covers | 1 | 10 | 1 | 1 | 1 | 79.5% | 52.2013
21G9 | Clamshell Connector Replacement | 8 | 6 | 1 | 1 | 3 | 90.3% | 52.0487
21G15 | Radial Fusing | 6 | 7 | 1 | 1 | 3 | 90.3% | 50.3876
21H5 | Line Status Sensors | 7 | 4 | 3 | 1 | 10 | 100% | 47.5
21F5 | 13.8 kV Network Conversion | 5 | 4 | 3 | 1 | 4 | 79.5% | 45.9119
21B2 | Subdivision Rebuilds | 6 | 2 | 1 | 4 | 4 | 73.5% | 45.5782
21G13 | Load Break/Sectionalizing Switches | 7 | 4 | 1 | 1 | 5 | 90.3% | 43.7431
21B8 | Fault Indicator Installations (Padmount Transformers) | 5 | 1 | 1 | 2 | 9 | 73.5% | 40.1361
21H1 | Recloser Installations | 8 | 1 | 1 | 3 | 10 | 100% | 39.5
21B7 | Backup Supply Installation (Residential) | 4 | 1 | 1 | 4 | 8 | 73.5% | 39.4558
21B11 | Switchable Transformers Outage Restoration Improvements | 4 | 1 | 1 | 4 | 8 | 73.5% | 39.4558
21B12 | Commerical Supply Rehabilitation | 4 | 1 | 1 | 1 | 4 | 73.5% | 27.8912
21H2 | Serial Conversion Program | 3 | 2 | 1 | 2 | 8 | 100% | 27
21B5 | Secondary Pedestal Replacements | [5 empty] | 73.5% | 0
21B10 | 13.8 kV Underground Conversions | [5 empty] | 73.5% | 0
21C2 | 13.8 kV Conversion Main Feeders | [5 empty] | 90.6% | 0
21G8 | Copper-Clad Steel (CCS) Grounds | [5 empty] | 90.3% | 0
21G10 | Overhead System Safety Enhancements | [5 empty] | 90.3% | 0
21F2 | Replacement of Primary & Secondary Cables | [5 empty] | 79.5%
** Projects without ranking have different drivers

## 2022
LH Response to 2-SEC-23
2022
Project | Project Name | Reliability | Safety | Environment | Capacity | Efficiency | BHI | Final Score
22F1 | Network Vaults/Maintenance Holes/Transformers | 9 | 10 | 6 | 5 | 5 | 79.5% | 99.3711
22B9 | 4 kV Underground Conversion | 7 | 7 | 5 | 5 | 9 | 73.5% | 89.7959
22F3 | Maintenance Hole Cable Rebuilds | 9 | 9 | 1 | 7 | 5 | 79.5% | 89.3082
22B3 | Replacement/Removals of SEs | 7 | 8 | 3 | 4 | 8 | 73.5% | 87.0748
22G5 | 4 kV Overhead Conversion | 7 | 8 | 5 | 5 | 9 | 90.3% | 76.9657
22A2 | Battery Bank Replacements | 6 | 6 | 2 | 4 | 5 | 66.8% | 74.8503
22C3 | Civil Structure Installation | 7 | 8 | 3 | 6 | 5 | 86.3% | 74.1599
22B4 | Transformer Replacement | 4 | 8 | 7 | 1 | 3 | 73.5% | 72.1088
22G3 | Rebuild Depreciated Areas (Overhead) | 7 | 9 | 8 | 1 | 1 | 90.3% | 70.3212
22H4 | SCADA Cyber Security and Communication Infrastructure | 10 | 9 | 1 | 1 | 10 | 100% | 69.5
22G6 | Automatic Splice Replacement Program | 8 | 9 | 1 | 1 | 7 | 90.3% | 68.1063
22B6 | Vault Rebuilds (Transformer Replacements) | 4 | 9 | 3 | 1 | 1 | 73.5% | 65.9864
22G1 | Pole Replacement | 7 | 9 | 5 | 1 | 1 | 90.3% | 65.3378
22C1 | Main Feeder Supply | 8 | 2 | 1 | 10 | 9 | 90.6% | 57.947
22C4 | New Main Feeder Ties | 8 | 1 | 1 | 10 | 9 | 90.6% | 54.0839
22G14 | Porcelain Fused Cut Out Replacement | 7 | 7 | 1 | 1 | 3 | 90.3% | 53.1561
22F4 | Explosion-Limiting Manhole Covers | 1 | 10 | 1 | 1 | 1 | 79.5% | 52.2013
22G9 | Clamshell Connector Replacement | 8 | 6 | 1 | 1 | 3 | 90.3% | 52.0487
22G15 | Radial Fusing | 6 | 7 | 1 | 1 | 3 | 90.3% | 50.3876
22B2 | Subdivision Rebuilds | 6 | 2 | 1 | 4 | 4 | 67% | 50
22H5 | Line Status Sensors | 7 | 4 | 3 | 1 | 10 | 100% | 47.5
22F5 | 13.8 kV Network Conversion | 5 | 4 | 3 | 1 | 4 | 79.5% | 45.9119
22G13 | Load Break/Sectionalizing Switches | 7 | 4 | 1 | 1 | 5 | 90.3% | 43.7431
22B8 | Fault Indicator Installations (Padmount Transformers) | 5 | 1 | 1 | 2 | 9 | 73.5% | 40.1361
22H1 | Recloser Installations | 8 | 1 | 1 | 3 | 10 | 100% | 39.5
22B11 | Switchable Transformers Outage Restoration Improvements | 4 | 1 | 1 | 4 | 8 | 73.5% | 39.4558
22B7 | Backup Supply Installation (Residential) | 4 | 1 | 1 | 4 | 8 | 73.5% | 39.4558
22B12 | Commerical Supply Rehabilitation | 4 | 1 | 1 | 1 | 4 | 73.5% | 27.8912
22H2 | Serial Conversion Program | 3 | 2 | 1 | 2 | 8 | 100% | 27
22B5 | Secondary Pedestal Replacements | [5 empty] | 73.5% | 0
22G10 | Overhead System Safety Enhancements | [5 empty] | 90.3% | 0
22G8 | Copper-Clad Steel (CCS) Grounds | [5 empty] | 90.3% | 0
22F2 | Replacement of Primary & Secondary Cables | [5 empty] | 79.5%
** Projects without ranking have different drivers