## B-2-1_2.8_Table_3
ISD | Investment Title | 2023 | 2024 | 2025 | 2026 | 2027
T-SA-01 | New Customer Connection Station | 13.5 | 13.5 | - | - | -
T-SA-02 | IAMGOLD – 115 kV Mine Connection | 10 | - | - | - | -
T-SA-03 | Halton TS: Build a Second 230/27.6kV Station1 | - | 1.5 | 4.5 | 1.9 | -
T-SA-04 | Connect Metrolinx Traction Substations | 3.5 | 3.6 | 0.8 | - | -
T-SA-05 | Future Transmission Load Connection Plans | 3.1 | 5.2 | 9.4 | 10.4 | 10.4
T-SA-06 | Protection and Control Modifications for Distributed Generation | - | - | - | - | -
T-SA-07 | Secondary Land Use Projects | 37.8 | 2.8 | 2.8 | 0.8 | 0.8
T-SA-08 | H29/H30: Reconductor 230kV Circuits 1,2 | 0.2 | 0.4 | 0.3 | 2.1 | 2.3
T-SA-09 | New Transformer Station in Northern York Region 1 | - | - | 5.6 | 3.7 | 2.4
T-SA-10 | Build Leamington Area Transformer Stations 1,2 | 7.6 | 40.9 | 33.5 | 14.5 | 32.6
| Other Transmission System Access | 3.7 | 2.9 | 2.9 | 3 | 1.5
Total System Access |  | 79.4 | 70.9 | 59.8 | 36.5 | 50.1
1 Investments identified in the Regional Planning Process
2 Investments that require Leave to Construct Approval

## B-2-1_2.8_Table_5
ISD | Investment Title | 2023 | 2024 | 2025 | 2026 | 2027
T-SR-01 | Transmission Station Renewal - Network Stations | 209.4 | 199.6 | 213.6 | 158.4 | 213.1
T-SR-02 | Transmission Station Renewal - Air Blast Circuit Breakers | 172.3 | 153.8 | 115.8 | 99.3 | 34.4
T-SR-03 | Transmission Station Renewal - Connection Stations | 334.5 | 357.7 | 350.1 | 406.5 | 428.6
T-SR-04 | Wood Pole Structure Replacements | 56.5 | 57.6 | 58.8 | 60 | 61.2
T-SR-05 | Steel Structure Coating Program | 23.6 | 24.1 | 24.5 | 25 | 25.4
T-SR-06 | Tower Foundation Assess/Clean/Coat Program | 17.3 | 17.6 | 17.9 | 18.3 | 18.6
T-SR-07 | Transmission Line Shieldwire Replacement | 12.1 | 12.3 | 12.5 | 12.8 | 13
T-SR-08 | Transmission Line Insulator Replacement | 78.4 | 78.1 | 79.5 | 81 | 82.5
T-SR-09 | Transmission Station Demand and Spares and Targeted Assets | 43.9 | 44.7 | 45.2 | 46.2 | 47
T-SR-10 | Protection Relay Replacement Program | 8.8 | 8.9 | 9 | 9.1 | 9.2
T-SR-11 | Legacy SONET System Replacement | 19.5 | 29.4 | 29.2 | 27.6 | 8.3
T-SR-12 | Telecom Performance Improvements | 4.2 | 5.8 | 3.8 | 0 | 0
T-SR-13 | Transmission Complete Line Refurbishment | 60.1 | 125.8 | 190.8 | 235.9 | 220.5
T-SR-14 | Mobile Radio System Replacement | 5.2 | 6.7 | 5.6 | 2.4 | 0
T-SR-15 | Transmission Line Emergency Restoration | 10.2 | 10.4 | 10.6 | 10.8 | 11
T-SR-16 | HV UG Cable – Replace/Refurbish Pumping Plants | 0 | 0 | 0.1 | 0.2 | 5.5
T-SR-17 | OPGW Infrastructure Projects | 28.5 | 27.8 | 30.4 | 20.1 | 10.5
T-SR-18 | C5E/C7E Underground Cable Replacement | 38.3 | 23.7 | 4.6 | 0.1 | 0
| Other Transmission System Renewal Work | 55.4 | 44.7 | 49.6 | 63.9 | 75.3
Total System Renewal |  | 1178 | 1228.3 | 1251.6 | 1277.3 | 1264

## B-2-1_2.8_Table_7
ISD | Investment Title | 2023 | 2024 | 2025 | 2026 | 2027
T-SS-01 | Nanticoke TS: Connect HVDC Lake Erie Circuits3 | - | - | - | - | -
T-SS-02 | St. Lawrence TS: Phase Shifter Upgrade | 6 | - | - | - | -
T-SS-03 | Merivale TS to Hawthorne TS: 230kV Conductor Upgrade2,3 | 9 | - | - | - | -
T-SS-04 | Richview x Trafalgar 230kV Conductor Upgrade2 | 12.6 | 16.4 | 12.1 | 2.4 | -
T-SS-05 | Merivale TS: Add 230/115kV Autotransformers1 | 25 | 30 | 22 | - | -
T-SS-06 | Southwest GTA Transmission Reinforcement 1,2 | 6.5 | 7.5 | 3 | - | 1
T-SS-07 | West of Chatham Reinforcement2 | 8.3 | 20.4 | 5.2 | - | -
T-SS-08 | Future Transmission Regional Plans | 10.7 | 20 | 20.4 | 20.4 | 20.4
T-SS-09 | West of London Reinforcement2 | 4.2 | 4.2 | 18.7 | 60.9 | 54.8
Other System Service Investments |  | 8.5 | 3.1 | 4.4 | 9.4 | 13.8
Total System Service |  | 90.9 | 101.6 | 85.8 | 93.1 | 90.1
1 Investment identified in the Regional Planning Process
2 Investment that requires Leave to Construct Approval
3 Investment identified in the 2017 Long-Term Energy Plan