## 2018 EE variance
2018 EE variance calculation
STEP 1: 2018 EE verified savings
http://www.ieso.ca/Sector-Participants/Energy-Efficiency/Evaluation-Measurement-and-Verification
Res
| (1) | 83.715
business
54.8
7
7.8
8.1
0.9
0.9
0.9
1.2
0.04
0.01
| (2) | 81.65
ind
| (3) | 7.9
Net estimated Summer peak demand savings (MW)
| (1) | Res | 83.715
| (2) | Com | 81.65
| (3) | Ind | 7.9
| (4)=(1)+(2)+(3) | Total | 173.265
STEP 2: Total "verfiied" Savings (EE+C&S)
|  |  | 2016 | 2017 | 2018 | Data Source
| (5) | EE and C&S | 2512.3625 | 2597.6671 | 2562.2857 | 2006-2017 Tally Persistence table
| (4) | 2018 EE program |  |  | 173.265 | IESO program evaluation report
| (6)=(4)+(5) | TOTAL |  |  | 2735.5507
STEP 3: Forecasted EE &CS Savings in the LF
[6 empty] | MW at Genreation level | MW at End use leve | Incremental MW (vs 2016)
[5 empty] | 2016 | 2167 | 2038.958
[5 empty] | 2017 | 2099 | 1976.2894 | -62.6685
[5 empty] | 2018 | 2391 | 2251.2187 | 212.2607
[5 empty] | 2019 | 2799 | 2635.3664 | 596.4084
STEP 4: Methodology
STEP 5: RESULT
Table 1
|  | (A) | (B) | ( C )=(B)-(A) | (D) | (E ) | (F)=(E )-(D)
| Month | LF assumption at the end use level (KW) |  |  | IESO estimated saving resutls (KW) |  |  | variance in KW (Dif of dif)= (F-C) | HONI Uniform Transmission Rates ($/kW) | vairance $
|  | 2016 | 2018 | dif (2018 vs 2016)-A | 2016 | 2018 | dif (2018 vs 2016) | 2018 | 2018 | 2018
| 1 | 1433587.736 | 1648545.7861 | 214958.0501 | 1766437.6544 | 2003217.4602 | 236779.8058 | 21821.7557 | 6.5122 | 142107.6764
| 2 | 1419005.041 | 1630332.1068 | 211327.0658 | 1748469.1542 | 1981085.2509 | 232616.0967 | 21289.0309 | 6.5122 | 138638.4651
| 3 | 1312901.3567 | 1509619.8367 | 196718.4799 | 1617730.3522 | 1834402.6842 | 216672.332 | 19953.852 | 6.5122 | 129943.5112
| 4 | 1342374.1799 | 1530175.1568 | 187800.9769 | 1654046.1656 | 1859380.32 | 205334.1544 | 17533.1775 | 6.5122 | 114179.5901
| 5 | 1417978.9132 | 1616295.8398 | 198316.9265 | 1747204.7804 | 1964029.1913 | 216824.4108 | 18507.4843 | 6.5122 | 120524.4725
| 6 | 1874071.1552 | 2137253.4329 | 263182.2777 | 2309192.3658 | 2597066.7177 | 287874.3519 | 24692.0742 | 6.5122 | 160799.7699
| 7 | 2038957.9552 | 2251218.6685 | 212260.7132 | 2512362.5276 | 2735550.6783 | 223188.1507 | 10927.4375 | 6.5122 | 71161.6779
| 8 | 1855320.6723 | 2119127.0647 | 263806.3924 | 2286088.4021 | 2575040.6038 | 288952.2017 | 25145.8093 | 6.5122 | 163754.5845
| 9 | 1681441.4418 | 1918503.8098 | 237062.368 | 2071837.9503 | 2331254.8317 | 259416.8815 | 22354.5135 | 6.5122 | 145577.1028
| 10 | 1326776.5195 | 1517268.2078 | 190491.6884 | 1634827.0456 | 1843696.5423 | 208869.4967 | 18377.8084 | 6.5122 | 119679.9969
| 11 | 1353136.7505 | 1551232.3851 | 198095.6345 | 1667307.5862 | 1884967.8454 | 217660.2592 | 19564.6247 | 6.5122 | 127408.7842
| 12 | 1439403.1587 | 1653676.761 | 214273.6023 | 1773603.3001 | 2009452.324 | 235849.024 | 21575.4217 | 6.5122 | 140503.5
[8 empty] | 241742.9895 |  | 1574279.1316
Table 2
|  | (G)=(D)-(A) | (H)=( E )-(B) | (I)=(H)-(G)
|  | 2016 | 2018 | EE Variance
| 1 | 332849.9184 | 354671.6741 | 21821.7557
| 2 | 329464.1132 | 350753.1441 | 21289.0309
| 3 | 304828.9955 | 324782.8475 | 19953.852
| 4 | 311671.9857 | 329205.1632 | 17533.1775
| 5 | 329225.8672 | 347733.3515 | 18507.4843
| 6 | 435121.2106 | 459813.2848 | 24692.0742
| 7 | 473404.5724 | 484332.0098 | 10927.4375
| 8 | 430767.7298 | 455913.5391 | 25145.8093
| 9 | 390396.5085 | 412751.022 | 22354.5135
| 10 | 308050.5261 | 326428.3345 | 18377.8084
| 11 | 314170.8357 | 333735.4604 | 19564.6247
| 12 | 334200.1413 | 355775.563 | 21575.4217
241742.9895
The table of "IESO 2006-2017 Savings & Pesistence Table" has been provided in the
response to VECC-24 part (d) in EB-2019-0082
- The difference between the incremental change in actual EE peak savings and the incremental change in peak amounts assumed in the approved forecast was used to calculate the variance (Difference of Difference)
- this methodology was used for the 2017 EE variance analysis and approved by the OEB in EB-2019-0082
- the information of " 2006-2017 Tally Persistence " was ONLY used for the variance account calculations
For the purpose of load forecasting, HONI uses total forecast EE and C&S CDM peak savings per the 2013 LTEP in order to have a consistent data set across historical and forecast years, consistent with the t load forecasting mythology previously approved by the OEB.
CDM assumptin in the approved LF
A- 2016 EE+ C&S
B- 2018 EE+ C&S
Updated Estimated Saving from the IESO
C- 2016 EE+ C&S
D- 2018 EE+ C&S
B-A: incremental CDM in the approved LF
D-C: incremental CDM from the udpated "verified ' savings
Variance
(D-C) -(B-A) Table 1
OR
(D-B)-(C-A) table 2

## 2019 EE Variance
2019 EE variance calculation
STEP 1: 2019 EE verified savings
MW
[11 empty] | IF | retrofit program | 2.2876
[11 empty] | IF | Home assistance program | 0.9
[11 empty] | IF | Small business lighting | 6.9
[11 empty] | IF | refrigeration efficiency | 0.13
[11 empty] | CFF | Res | 12.359
[11 empty] | CFF | business | 36.632
[11 empty] | CFF | ind | 11.23
70.4386
2018
Net estimated Summer peak demand savings (MW)
[13 empty] | Res | 83.715
[13 empty] | Com | 81.65
[13 empty] | Ind | 7.9
[13 empty] | Total | 173.265 | (1)
2019
Net estimated Summer peak demand savings (MW)
[13 empty] | Res | 12.359
[13 empty] | business | 36.632
[13 empty] | ind | 11.23
[13 empty] | Total | 60.221 | (2)
STEP 2: Total "verfiied" Savings (EE+C&S)
|  |  | 2016 | 2017 | 2018 | 2019 | Data Source
(3) |  | EE and C&S | 2512.3625 | 2597.6671 | 2562.2857 | 2532.3653 | 2006-2017 Tally Persistence table
(1) |  | 2018 EE program |  |  | 173.265 | 173.265 | 2018 IESO program evaluation report
(2) |  | 2019 EE program |  |  |  | 60.221 | 2019 IESO program evaluation report
(4)=(1)+(2)+(3) |  | TOTAL |  |  | 2735.5507 | 2765.8513
STEP 3: Forecasted EE &CS Savings in the LF
[6 empty] | MW at Genreation level | MW at End use leve | Incremental MW (vs 2016)
[5 empty] | 2016 | 2167 | 2038.958
[5 empty] | 2017 | 2099 | 1976.2894 | -62.6685
[5 empty] | 2018 | 2391 | 2251.2187 | 212.2607
[5 empty] | 2019 | 2391 | 2251.2187 | 212.2607
STEP 4: Methodology
STEP 5: RESULT
Table 1
|  | (A) | (B) | ( C )=(B)-(A) | (D) | (E ) | (F)=(E )-(D)
| Month | LF assumption at the end use level (KW) |  |  | IESO EE saving EMV resutls (KW) |  |  | variance in KW (Dif of dif)= (F-C) | HONI Uniform Transmission Rates ($/kW) | vairance $
|  | 2016 | 2019 | dif (2019 vs 2016) | 2016 | 2019 | dif (2019 vs 2016) | 2019 | 2019 | 2019
| 1 | 1433587.736 | 1648545.7861 | 214958.0501 | 1766437.6544 | 2025406.3011 | 258968.6467 | 44010.5966 | 6.7407 | 296663.038
| 2 | 1419005.041 | 1630332.1068 | 211327.0658 | 1748469.1542 | 2003028.9421 | 254559.788 | 43232.7221 | 6.7407 | 291419.6054
| 3 | 1312901.3567 | 1509619.8367 | 196718.4799 | 1617730.3522 | 1854721.6312 | 236991.279 | 40272.799 | 6.7407 | 271467.5973
| 4 | 1342374.1799 | 1530175.1568 | 187800.9769 | 1654046.1656 | 1879975.9343 | 225929.7687 | 38128.7918 | 6.7407 | 257015.4482
| 5 | 1417978.9132 | 1616295.8398 | 198316.9265 | 1747204.7804 | 1985783.9593 | 238579.1789 | 40262.2524 | 6.7407 | 271396.5053
| 6 | 1874071.1552 | 2137253.4329 | 263182.2777 | 2309192.3658 | 2625833.39 | 316641.0242 | 53458.7465 | 6.7407 | 360350.356
| 7 | 2038957.9552 | 2251218.6685 | 212260.7132 | 2512362.5276 | 2765851.2822 | 253488.7546 | 41228.0414 | 6.7407 | 277906.617
| 8 | 1855320.6723 | 2119127.0647 | 263806.3924 | 2286088.4021 | 2603563.3016 | 317474.8995 | 53668.5071 | 6.7407 | 361764.2933
| 9 | 1681441.4418 | 1918503.8098 | 237062.368 | 2071837.9503 | 2357077.2118 | 285239.2615 | 48176.8935 | 6.7407 | 324746.8725
| 10 | 1326776.5195 | 1517268.2078 | 190491.6884 | 1634827.0456 | 1864118.4336 | 229291.3881 | 38799.6997 | 6.7407 | 261537.8497
| 11 | 1353136.7505 | 1551232.3851 | 198095.6345 | 1667307.5862 | 1905846.8825 | 238539.2963 | 40443.6618 | 6.7407 | 272619.3351
| 12 | 1439403.1587 | 1653676.761 | 214273.6023 | 1773603.3001 | 2031710.226 | 258106.926 | 43833.3237 | 6.7407 | 295468.0916
[8 empty] | 525516.0354 |  | 3542355.6094
Table 3
|  | (G)=(D)-(A) | (H)=( E )-(B) | (I)=(H)-(G)
|  | 2016 | 2019 | EE Variance
| 1 | 332849.9184 | 376860.515 | 44010.5966
| 2 | 329464.1132 | 372696.8353 | 43232.7221
| 3 | 304828.9955 | 345101.7945 | 40272.799
| 4 | 311671.9857 | 349800.7774 | 38128.7918
| 5 | 329225.8672 | 369488.1196 | 40262.2524
| 6 | 435121.2106 | 488579.9571 | 53458.7465
| 7 | 473404.5724 | 514632.6137 | 41228.0414
| 8 | 430767.7298 | 484436.2369 | 53668.5071
| 9 | 390396.5085 | 438573.402 | 48176.8935
| 10 | 308050.5261 | 346850.2258 | 38799.6997
| 11 | 314170.8357 | 354614.4975 | 40443.6618
| 12 | 334200.1413 | 378033.465 | 43833.3237
525516.0354
PY2019 Interim Framework Retrofit Evaluation Report.pdf
Page 25
Interim Framework Programs
Retrofit Program
Small Business Lighting Program
Refrigeration Efficiency Program
Energy Performance Program
Energy Manager Program
Process and Systems Upgrades Program
Home Assistance Program
Key Findings and Recommendations Summaries (Interim Framework)
Retrofit Program
Small Business Lighting Program
Refrigeration Efficiency Program
Energy Performance Program
Energy Manager Program & Process and Systems Upgrades Program
Home Assistance Program
Conservation First Framework Programs
Business Programs
Residential Programs
Industrial Programs and Energy Performance Programs
PY2019 Interim Framework Evaluation Report
Home Assistance Program
October 29, 2020
2019 Interim Framework Small Business Lighting Evaluation Report
Submitted to IESO
November 26th, 2020
2019 Interim Framework Refrigeration Efficiency Program Evaluation Report
Submitted to IESO
November 25th, 2020
Evaluation of PY2019 Residential Programs
ADDENDUM TO EVALUATION OF 2018 RESIDENTIAL PROGRAMS REPORT
June 18, 2020, V2 2020
Evaluation of 2019 Conservation First Framework Business Programs
An Addendum to the Evaluation of the 2018 CFF Business Programs Report
Submitted to IESO
November 3rd, 2020
PROGRAM YEAR 2019 REVIEW REPORT: AN ADDENDUM TO PY2018 REVIEW REPORT
CONSERVATION FIRST FRAMEWORK INDUSTRIAL PORTFOLIO AND ENERGY PERFORMANCE PROGRAM PY2019
The table of "IESO 2006-2017 Savings & Pesistence Table" has been provided in the
response to VECC-24 part (d) in EB-2019-0082,
Hydro One’s application is based on a Revenue Cap Incentive Rate-Setting (“IR”). The revenue for the 2019 test year is equal to the revenue in year 2018.
- The difference between the incremental change in actual EE peak savings and the incremental change in peak amounts assumed in the approved forecast was used to calculate the variance (Difference of Difference)
- this methodology was used for the 2017 EE variance analysis and approved by the OEB in EB-2019-0082
- the information of " 2006-2017 Tally Persistence " was ONLY used for the variance account calculations
For the purpose of load forecasting, HONI uses total forecast EE and C&S CDM peak savings per the 2013 LTEP in order to have a consistent data set across historical and forecast years, consistent with the t load forecasting mythology previously approved by the OEB.
CDM assumptin in the approved LF
A- 2016 EE+ C&S
B- 2018 EE+ C&S
Updated Estimated Saving from the IESO
C- 2016 EE+ C&S
D- 2018 EE+ C&S
B-A: incremental CDM in the approved LF
D-C: incremental CDM from the udpated "verified ' savings
Variance
(D-C) -(B-A) Table 1
OR
(D-B)-(C-A) table 2