## 2021 I-24-AMPCO-65-1
I-03-B3-AMPCO-065-01
Ref: EB-2017-0049, Exhibit I-24-AMPCO-23, Attachment 1
Asset Condition
|  | # asset units |  |  |  | # asset units |  |  |  | # asset units |  |  |  | # asset units
Asset Category |  | Population | 2018 Condition |  |  | Population | 2019 Condition |  |  | Population | 2020 Condition |  |  | Population | 2021 Q3 Condition
|  |  | Poor | Fair | Good |  | Poor | Fair | Good |  | Poor | Fair | Good |  | Poor | Fair | Good
Station Transformers | All | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
| In Service | 1184 | 24% | 21% | 55% | 1186 | 28% | 32% | 40% | 1197 | 20% | 19% | 61% | 1192 | 24.75% | 16.11% | 59.14%
| Spares | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Mobile Unit Substations |  | 29 | 44.83% | 6.897% | 48.28% | 32 | 43.75% | 9.375% | 46.88% | 35 | 51% | 9% | 40% | 35 | 42.86% | 17.14% | 40%
Reclosers | All | 2256 | 29.7% | 14.63% | 55.67% | 2270 | 27.18% | 15.29% | 57.53% | 2288 | 19% | 14% | 67% | 2283 | 17.08% | 14.76% | 68.16%
| Oil | Note 1
| Vaccum | Note 1
Circuit Breakers | All | 148 | 0.6757% | 0% | 99% | 149 | 1% | 0% | 99% | 152 | 3% | 0% | 97% | 150 | 2.667% | 0% | 97%
| Metalclad | 146 | 0.6849% | 0% | 99.32% | 147 | 0.6803% | 0% | 99% | 149 | 3% | 0% | 97% | 147 | 2.721% | 0% | 97%
| SF6 | 1 | 0% | 0% | 100% | 1 | 0% | 0% | 100% | 2 | 0% | 0% | 100% | 3 | 0% | 0% | 100%
| Oil | 1 | 0% | 0% | 100% | 1 | 0% | 0% | 100% | 1 | 0% | 0% | 100% | 0 | 0% | 0% | 0%
Switches |  | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
Fuses |  | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
Station Structures |  | 2143 | 2.333% | 3.873% | 93.79% | 2143 | 2.147% | 3.593% | 94.26% | 2143 | 3.406% | 5.273% | 91.32% | 2139 | 1.59% | 3.46% | 94.95%
Fences |  | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
Station Grounding Systems |  | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
Station Service Transformers |  | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
Insulators |  | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
Bus Work |  | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
Protection Relays |  | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
IEDs |  | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
Spill Containment Systems |  | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
MUS Structures |  | 785 | 8.153% | 24.2% | 67.64% | 781 | 4.866% | 34.83% | 60.31% | 787 | 9% | 26.3% | 65% | 781 | 6.658% | 30.99% | 62.36%
Poles | All | 1608042 | 5% | 95% |  | 1609945 | 5% | 95% |  | 1612341 | 5% | 95% |  | 1612511 | 5% | 95%
| Wood | 1576250.6887 | 4% | 96% |  | 1578745 | 4% | 96% |  | 1582395 | 4% | 96% |  | 1583680 | 4% | 96%
| Steel | 6218 | 0% | 100% |  | 6243 | 0% | 100% |  | 6202 | 0% | 100% |  | 6251 | 0% | 100%
| Concrete | 2462 | 0% | 100% |  | 2496 | 0% | 100% |  | 2497 | 1% | 99% |  | 2334 | 1% | 99%
| Composite | 3073 | 0% | 100% |  | 3403 | 0% | 100% |  | 3876 | 0% | 100% |  | 4146 | 0% | 100%
| Red Pine Wood | 20038 | 100% | 0% |  | 19059 | 100% | 0% |  | 17371 | 100% | 0% |  | 16100 | 100% | 0%
Rights of Way |  | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
Line Transformers | All | 520875 | NA | NA | NA | 523120 | NA | NA | NA | 527050 | NA | NA | NA | 532762 | NA | NA | NA
| Pole Mounted Transformers | 459818 | NA | NA | NA | 460422 | NA | NA | NA | 461940 | NA | NA | NA | 464851 | NA | NA | NA
| Pad Mounted Transformers | 61057 | NA | NA | NA | 62698 | NA | NA | NA | 65110 | NA | NA | NA | 67911 | NA | NA | NA
| Submersible transformers |  | NA | NA | NA |  | NA | NA | NA |  | NA | NA | NA |  | NA | NA | NA
| Transclosures and Pole-Trans Transformer |  | NA | NA | NA |  | NA | NA | NA |  | NA | NA | NA |  | NA | NA | NA
Submarine Cables (circuit km) |  | 3849 | NA | NA | NA | 3896 | NA | NA | NA | 3953 | NA | NA | NA | 3964 | NA | NA | NA
Conductor (circuit km) | All | 123176 | NA | NA | NA | 123139 | NA | NA | NA | 123489 | NA | NA | NA | 123976 | NA | NA | NA
| Overhead | 113618 | NA | NA | NA | 113390 | NA | NA | NA | 113478 | NA | NA | NA | 113834 | NA | NA | NA
| Underground | 5709 | NA | NA | NA | 5853 | NA | NA | NA | 6058 | NA | NA | NA | 6178 | NA | NA | NA
AMI | All | 1412126 | NA | NA | NA | 1425521 | NA | NA | NA | 1440623 | NA | NA | NA | 1506940 | NA | NA | NA
| Retails Meters | 1362318 | NA | NA | NA | 1375647 | NA | NA | NA | 1390746 | NA | NA | NA | 1457037 | NA | NA | NA
| Collectors | 11031 | NA | NA | NA | 11113 | NA | NA | NA | 11125 | NA | NA | NA | 11190 | NA | NA | NA
| Repeaters | 38777 | NA | NA | NA | 38761 | NA | NA | NA | 38752 | NA | NA | NA | 38713 | NA | NA | NA
Switches | Air Break & Load Break - 3 Phase | 3539 | NA | NA | NA | 3539 | NA | NA | NA | 3545 | NA | NA | NA | 3666 | NA | NA | NA
Reclosers (Note 3) | All | 12387 | NA | NA | NA | 12414 | NA | NA | NA | 12616 | NA | NA | NA | 12737 | NA | NA | NA
| Hydraulic | 12039 | NA | NA | NA | 12011 | NA | NA | NA | 12029 | NA | NA | NA | 12019 | NA | NA | NA
| Electronic | 348 | NA | NA | NA | 403 | NA | NA | NA | 587 | NA | NA | NA | 718 | NA | NA | NA
Regulators |  | 2288 | NA | NA | NA | 2326 | NA | NA | NA | 2374 | NA | NA | NA | 2379 | NA | NA | NA
Capacitor Banks |  | 2832 | NA | NA | NA | 2824 | NA | NA | NA | 2794 | NA | NA | NA | 2784 | NA | NA | NA
NA | This implies that there is no condition algorithm for this asset class, however defect and/or testing data exists
Note 1 | Condition algorithms have not been developed to this level of granularity for this asset sub-type.
Note 2 | Feeder lengths are provided are from Q3-2021 (row 46-49). All other population counts provided in column O (excluding pole counts) are as of Nov. 12, 2021.
Note 3 | Assumed this refers to line reclosers
The data provided in I-24-AMPCO-23, Attachment 1 for AMI was incorrect. Below is the corrected data for AMI for the 2014-2017 period.
|  | # asset units |  |  |  | # asset units |  |  |  | # asset units |  |  |  | # asset units
|  | Population | 2014 Condition |  |  | Population | 2015 Condition |  |  | Population | 2016 Condition |  |  | Population | 2017 Condition
|  |  | Poor | Fair | Good |  | Poor | Fair | Good |  | Poor | Fair | Good |  | Poor | Fair | Good
AMI | All | 1305012 | NA | NA | NA | 1334486 | NA | NA | NA | 1382085 | NA | NA | NA | 1397106 | NA | NA | NA
| Retails Meters | 1256020 | NA | NA | NA | 1284898 | NA | NA | NA | 1332305 | NA | NA | NA | 1347295 | NA | NA | NA
| Collectors | 10545 | NA | NA | NA | 10871 | NA | NA | NA | 10982 | NA | NA | NA | 10999 | NA | NA | NA
| Repeaters | 38447 | NA | NA | NA | 38717 | NA | NA | NA | 38798 | NA | NA | NA | 38812 | NA | NA | NA
Note on A62: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 [Tasks] There is a task anchored to this comment that cannot be viewed in your client. Comment: @BELL Michael @DESROSIERS Darren These notes don't seem to be updated? Reply: @BEAUSOLEIL Trevor Trevor - can you confirm that the notes that are applicable to reclosers are still valid? I believe they are likely carry over notes from the previous table in 2017 Reply: @DESROSIERS Darren Note 1 for reclosers is still valid. It would be difficult to separate oil from vacuum recloser condition scores. Could be done with a lot of unnecessary manual effort. I removed the old note 2. Reply: Notes are valid.