## AMI Quest
Related Figure | Question Number | Question | Subtext | Detail | 2019 YE
| ST0000.1H | Distribution Customer / Meter Demographics
Fig 4 | ST0050.1Q | Please provide us with the average number of customers per month - ultimate consumers, metered customer locations - as reported to FERC.
| ST0050.1 |  | Distribution End-Use Customers | Residential | 1222662
| ST0050.2 |  | Distribution End-Use Customers | Commercial | 111878
| ST0050.3 |  | Distribution End-Use Customers | Industrial | 8074
| ST0050.4 |  | Distribution End-Use Customers | Other | 34169
| ST0050.5 |  | Distribution End-Use Customers | Total | 1376783
Fig 4 | ST0250.1Q | What was the number of square miles/kilometers in your service territory? The service territory demographics apply to distribution utilities with defined end-use delivery customers.
| ST0250.1 |  | Square Miles/Kilometers in Service Territory |  | 961083
Fig 6 | ST0275.1Q | How many of your currently installed meters are of each of the following technologies?
| ST0275.1 |  | Manual |  | 134
| ST0275.2 |  | Demand [e.g. MV-90] |  | 791
| ST0275.3 |  | Mobile (drive-by technology)
| ST0275.4 |  | Fixed Network (1-way communications with no meter reader or drive-by required)
| ST0275.5 |  | Fixed Network (2-way communications with no meter reader or drive-by required) |  | 1386943
| ST0275.6 |  | Other
| ST0275.100 |  | Total |  | 1387868
Fig 7 | ST0280.1Q | Of your 1-way or 2-way AMI meters currently installed in the field, what percent of them are being manually read?
| ST0280.1 |  | Percent of AMI Meters Manually Read | Percent | 1
Fig 5 | ST0300.1Q | What is the current status of smart metering/AMI technology at your company?
| ST0300.1 |  | Complete, fully-installed advanced metering (2-way communications) |  | 1
| ST0300.2 |  | Partial completion of full implementation for smart meters
| ST0300.3 |  | Currently in pilot/test implementation
| ST0300.4 |  | Planning pilot/test implementation
| ST0300.5 |  | No current plans for advanced metering initiative
| ST0300.6 |  | Plans filed with commission
| ST0300.7 |  | Other
| ST0300.100 |  | Please explain "other" above.
| ST0000.1H | Age of System
Fig 10 | ST1625.1Q | How many of your current in-service AMI meters were installed in each time period?
| ST1625.1 |  | AMI Meters | Pre 2000 | 0
| ST1625.2 |  | AMI Meters | 2001-2005 | 0
| ST1625.3 |  | AMI Meters | 2006-2010 | 840939
| ST1625.4 |  | AMI Meters | 2011-2015 | 301489
| ST1625.5 |  | AMI Meters | 2016-present | 242918
| ST1625.6 |  | AMI Meters | Unknown | 2522
| ST1625.100 |  | AMI Meters | Total | 1387868
Related Figure | Question Number | Question | Subtext | Detail | 2019 YE
| AI0000.1H | Demographics
| AI0020.1Q | For your AMI 2-way meters, do those meters measure and record interval data?
| AI0020.1 |  | Yes |  | 1
| AI0020.2 |  | No
Fig 8 | AI0300.1Q | What percent of your meters use each communication technology?
| AI0300.1 |  | Power-Line Carrier (PLC) / Point-to-Point
| AI0300.2 |  | Broadband Power Line Communication (BPL)
| AI0300.3 |  | RF Mesh |  | 96.3
| AI0300.4 |  | Other |  | 3.7
| AI0300.100 |  | Please describe other above |  | Mix of Point-to-Multipoint (Sensus), Point-to-Point (Cellular) and Phone Line
Fig 9 | AI0030.1Q | For your network backhaul, please describe the architecture: provide the percent of your overall network takeout points using each technology
| AI0030.1 |  | Cellular (Public or Private) | % | 99.96
| AI0030.2 |  | WiMax | %
| AI0030.3 |  | Fibre | %
| AI0030.4 |  | LandLine | % | 0.02
| AI0030.5 |  | Satellite | % | 0.02
| AI0030.6 |  | Other | %
| AI0030.100 |  | Please describe other above
| AI0000.1H | Staffing for Meter and Communications Equipment Replacement
Fig 15 | AI0120.1Q | For the residential meter replacement work, what type of resource conducts the majority of the work? |  |  | Choose one only
| AI0120.1 |  | Meter reader or equivalent |  | 1
| AI0120.2 |  | Field Service worker
| AI0120.3 |  | Trained technician/electrician
| AI0120.4 |  | Journey-level lineworker
| AI0120.5 |  | Other
| AI0120.100 |  | Please describe other above
Fig 16 | AI0130.1Q | For network communications equipment replacement work what is the primary workforce who conducts the work? |  |  | Choose one only
| AI0130.1 |  | Communications technician
| AI0130.2 |  | Meter technician or similar
| AI0130.3 |  | Power line journey-level lineworker (with bucket) |  | 1
| AI0130.4 |  | Power line journey-level lineworker (with smaller vehicle and ladder)
| AI0130.5 |  | Other
| AI0130.100 |  | Please describe other above
Related Figure | Question Number | Question | Subtext | Detail | 2019 YE
| AM0150.1H | Smart Meters / AMI Technology
Fig 11 | AM0100.1Q | What is the expected service life for your AMI meters (in years)?
| AM0100.1 |  | AMI Meters | Age (Years) | 15
Fig 12 | AM0200.1Q | What percent of your existing AMI meters were replaced in the last 5 years? (include all actual meter replacements for all reasons, regardless of whether they were paid for as O&M or as capital). Do not include new AMI meters installed to replace older non-AMI meters.
| AM0200.1 |  | AMI Meters | % Replaced - Planned Program | 9
| AM0200.2 |  | AMI Meters | % Replaced - Other Reasons
Fig 13 | AM0225.1Q | What percent of your existing AMI meters are you planning or expecting to replace in the next 5 years? (include all actual meter replacements for all reasons). Do not include new AMI meters installed to replace older non-AMI meters.
| AM0225.1 |  | AMI Meters | % Replaced - Planned Program | 18
| AM0225.2 |  | AMI Meters | % Replaced - Other Reasons | 14
| Question Number | Question | Subtext | Detail | 2019 YE
Fig 14 | SG0420.1Q | Other than remote meter reading and utilization of the data for billing purposes, what do you use your AMI system data for?
| SG0420.1 |  | Generating outage reports and sending them to OMS |  | 1
| SG0420.2 |  | Verifying / correcting outage data that feeds into reliability statistics
| SG0420.3 |  | Remote connect / disconnect (move in, move out, non pay) |  | 1
| SG0420.4 |  | Data analytics (identify customer issues, equipment issues, power quality) |  | 1
| SG0420.5 |  | Identify theft / non-technical losses |  | 1
| SG0420.6 |  | Correction of GIS system data based on analytics |  | 1
| SG0420.7 |  | System planning (voltage, loading data) |  | 1
| SG0420.8 |  | Outage detection |  | 1
| SG0420.9 |  | Other
| SG0420.100 |  | Please explain "other" above.
Fig 17 | Gathered from outside sources, no questions/questionnaire
Fig 18 | Gathered from outside sources, no questions/questionnaire