## Intro
Underlying data of the charts and graphs presented at the September 13, 2018 IESO Technical Planning Conference
slide 13 | Demand Sector - Reference Forecast
slide 18 | Conservation Achievements
slide 19 | Long Term Conservation Forecast
slide 20 | Long Term Conservation Forecast
slide 21 | Codes and Standards
slide 23 | Historical Energy Demand
slide 24 | Historical Embedded Generation By Fuel Type
slide 26 | Reference Demand Outlook
slide 27 | Demand Outlooks: Energy Demand
slide 28 | Demand Outlooks: Summer and Winter Peak
slide 37 | Ontario Installed Capacity by Fuel Type
slide 39 | Ontario Installed Capacity by Commitment Type

## Slide 13
Demand Sector - Reference Forecast
TWh | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035
Residential | 51.9761 | 51.6073 | 51.5799 | 51.2672 | 50.7517 | 50.3388 | 50.1081 | 49.6945 | 49.5179 | 49.3721 | 49.3391 | 49.3268 | 49.4468 | 49.5271 | 49.6929 | 49.7015 | 50.0945 | 50.4435 | 50.7616
Commercial | 52.0857 | 51.845 | 51.6666 | 51.3494 | 51.2135 | 51.2563 | 51.5283 | 51.6473 | 51.8626 | 51.9241 | 51.9287 | 52.0178 | 52.1428 | 52.0953 | 52.1371 | 52.1947 | 52.6776 | 53.1606 | 53.7142
Industrial | 34.3655 | 34.5784 | 34.3745 | 34.5607 | 34.7914 | 34.7798 | 34.3282 | 34.1363 | 34.096 | 33.6453 | 33.6587 | 33.4712 | 33.6273 | 33.8252 | 33.8109 | 33.8856 | 34.1209 | 34.4661 | 34.9242
Transportation (Electric Vehicles and Transit) | 0.079078 | 0.14215 | 0.19838 | 0.33399 | 0.55709 | 0.81798 | 1.1214 | 1.3852 | 1.6192 | 1.8694 | 2.1353 | 2.4069 | 2.6793 | 2.9375 | 3.1697 | 3.3841 | 3.5845 | 3.7634 | 3.9237
Other * | 5.0585 | 5.2295 | 5.2497 | 5.2732 | 5.2934 | 5.3113 | 5.3211 | 5.3359 | 5.3482 | 5.3564 | 5.3733 | 5.3853 | 5.3997 | 5.4142 | 5.4286 | 5.4431 | 5.4631 | 5.4769 | 5.4965
* Others = Agriculture, Remote Communities, Generator Demand, Industrial Electricity Incentive and Street Lighting
slide 13

## Slide 18
Conservation Achievements
TWh | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017
Codes and Standards | 0 | 0.075318 | 0.16906 | 0.28149 | 0.45001 | 1.0119 | 1.6 | 1.778 | 3.1358 | 4.2218 | 5.1719 | 6.2761
Conservation Programs | 1.6208 | 3.4257 | 3.8683 | 4.5774 | 4.989 | 5.6892 | 6.2719 | 7.1382 | 8.1352 | 9.6895 | 9.4014 | 9.9756

## Slide 19
Long Term Conservation Forecast
TWh | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035
Codes and Standards | 0 | 0.075318 | 0.16906 | 0.28149 | 0.45001 | 1.0119 | 1.6 | 1.778 | 3.1358 | 4.2218 | 5.1719 | 6.2761 | 7.0494 | 7.5892 | 7.8251 | 7.9868 | 8.3551 | 8.883 | 9.282 | 9.7271 | 10.0564 | 10.5597 | 11.0355 | 11.8276 | 12.5236 | 13.194 | 13.8103 | 14.2739 | 14.6277 | 14.8702
Existing program savings and persistence (2006-2018) | 1.6208 | 3.4257 | 3.8683 | 4.5774 | 4.989 | 5.6892 | 6.2719 | 7.1382 | 8.1352 | 9.6895 | 9.4014 | 9.9756 | 11.3143 | 10.9464 | 10.6491 | 10.2329 | 9.9583 | 9.5877 | 8.7052 | 8.0165 | 7.5765 | 6.2852 | 4.9839 | 3.5602 | 2.8571 | 2.2791 | 1.873 | 1.2458 | 0.76408 | 0.35256
Savings from future energy efficiency initiatives (2019 onward) | [13 empty] | 1.379 | 2.5069 | 2.9058 | 3.3058 | 3.7058 | 4.2058 | 4.6032 | 5.8414 | 7.7572 | 9.7102 | 11.4693 | 12.6042 | 13.6393 | 14.5566 | 14.9622 | 15.3218 | 15.4941
| 1.6208 | 3.501 | 4.0374 | 4.8589 | 5.4391 | 6.7011 | 7.8719 | 8.9162 | 11.271 | 13.9113 | 14.5733 | 16.2517 | 18.3637 | 19.9145 | 20.9811 | 21.1255 | 21.6192 | 22.1765 | 22.193 | 22.3467 | 23.4744 | 24.602 | 25.7296 | 26.8572 | 27.9848 | 29.1124 | 30.24 | 30.4818 | 30.7135 | 30.7169

## Slide 20
Long Term Conservation Forecast
| 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035
New Conservation Program Savings (TWh) | 1.9942 | 3.3732 | 4.5012 | 4.9 | 5.3 | 5.7 | 6.2 | 6.5975 | 7.8357 | 9.0866 | 10.375 | 11.4693 | 12.6042 | 13.6393 | 14.5566 | 14.9622 | 15.3218 | 15.5192
New Conservation Program Savings (MW) | 317.3103 | 536.7267 | 710.4035 | 773.484 | 831.2615 | 890.6623 | 960.1025 | 1018.8831 | 1207.7146 | 1402.1824 | 1599.6043 | 1777.1439 | 1946.2458 | 2101.2806 | 2225.6225 | 2290.7115 | 2341.9854 | 2377.4417

## Slide 21
Codes and Standards
TWh | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035
Equipment Standards | 0 | 0.0035796 | 0.0080542 | 0.013424 | 0.021478 | 0.22016 | 0.3481 | 0.34871 | 1.0411 | 1.8543 | 2.5964 | 3.3436 | 3.9199 | 4.2266 | 4.4041 | 4.5537 | 4.7875 | 5.1585 | 5.4651 | 5.7864 | 6.0551 | 6.3603 | 6.6871 | 7.2755 | 7.832 | 8.3669 | 8.8311 | 9.1808 | 9.4017 | 9.5556
Building Codes | 0 | 0.071738 | 0.161 | 0.26807 | 0.42853 | 0.79179 | 1.2519 | 1.4293 | 2.0947 | 2.3675 | 2.5756 | 2.9324 | 3.1295 | 3.3626 | 3.421 | 3.4331 | 3.5676 | 3.7246 | 3.8169 | 3.9406 | 4.0013 | 4.1994 | 4.3483 | 4.5521 | 4.6915 | 4.8271 | 4.9792 | 5.093 | 5.226 | 5.3146

## Slide 23
Historical Energy Demand
TWh | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017
Gross | 158.8095 | 154.5973 | 157.3459 | 154.6611 | 146.0718 | 149.9077 | 151.0664 | 152.4425 | 153.8418 | 156.3244 | 155.9808 | 157.2341 | 154.3686
Net | 158.8095 | 152.9973 | 153.8459 | 150.6611 | 141.1718 | 144.5077 | 144.3664 | 144.5425 | 144.9418 | 145.0244 | 143.1808 | 143.2981 | 138.4705
Grid | 156.969 | 151.0547 | 152.2051 | 148.6757 | 139.1635 | 142.2048 | 141.4738 | 141.287 | 140.7368 | 139.8038 | 137.0118 | 137 | 132.1
Conservation | 0 | 1.6 | 3.5 | 4 | 4.9 | 5.4 | 6.7 | 7.9 | 8.9 | 11.3 | 12.8 | 13.936 | 15.8981
Embedded Generation | 1.8404 | 1.9426 | 1.6408 | 1.9853 | 2.0083 | 2.3029 | 2.8926 | 3.2555 | 4.205 | 5.2206 | 6.169 | 6.2981 | 6.3705

## Slide 24
Historical Embedded Generation By Fuel Type
TWh | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017
Solar | 0 | 0 | 2.7065e-05 | 0.0002583 | 0.004573 | 0.1229 | 0.39795 | 0.84241 | 1.1727 | 1.7979 | 2.751 | 3.0317 | 2.8761
Demand Response | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind | 0 | 0 | 0.0034017 | 0.068042 | 0.16267 | 0.31488 | 0.56118 | 0.68726 | 0.89852 | 1.0086 | 1.171 | 1.3636 | 1.6998
Gas/Oil | 0.5 | 0.52419 | 0.46736 | 0.52511 | 0.45974 | 0.44596 | 0.44258 | 0.38063 | 0.50265 | 0.5193 | 0.45145 | 0.36422 | 0.27414
Hydro | 1 | 0.87365 | 0.79308 | 0.91926 | 0.8989 | 0.92437 | 0.9002 | 0.77478 | 1.0731 | 1.1469 | 1.0276 | 0.91295 | 0.82243
Biomass | 0.3 | 0.34946 | 0.36985 | 0.44892 | 0.43568 | 0.47259 | 0.52925 | 0.50214 | 0.62922 | 0.65159 | 0.62202 | 0.6256 | 0.58876

## Slide 26
Reference Demand Outlook
MW | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035
Ontario Summer Net Peak Demand | 24082.5815 | 24040.8592 | 23992.9277 | 23916.2377 | 23888.6701 | 23881.3739 | 23890.1656 | 23867.7373 | 23917.6334 | 23882.1818 | 23917.5214 | 23939.7423 | 24030.0067 | 24082.0191 | 24133.0901 | 24170.6827 | 24368.5379 | 24568.02 | 24791.6286
Ontario Winter Net Peak Demand | 22143.2008 | 22071.7735 | 21985.4548 | 21898.1005 | 21841.1694 | 21799.2245 | 21777.6231 | 21718.4219 | 21717.5996 | 21658.9525 | 21668.4575 | 21671.7351 | 21745.9932 | 21793.7821 | 21843.8319 | 21874.8226 | 22051.6752 | 22228.7563 | 22422.1547

## Slide 27
Demand Outlooks: Energy Demand
TWh | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035
Lower Demand | 138.9483 | 137.6842 | 136.0861 | 134.9673 | 134.1336 | 133.4503 | 132.5237 | 131.7391 | 131.1509 | 131.0386 | 130.7636 | 130.7047 | 130.6572 | 130.9627 | 131.4605 | 132.3307 | 133.3865
Reference Case Demand | 142.2 | 142.2 | 141.7 | 141.6 | 141.5 | 141.7 | 141.5 | 141.2 | 141.5 | 142.1 | 142.4 | 142.8 | 143.3 | 144 | 145 | 146.3 | 147.8
Higher Demand | 143.6225 | 144.7305 | 144.6411 | 144.9265 | 145.2192 | 145.9461 | 146.133 | 147.0877 | 149.2237 | 151.7622 | 153.8229 | 155.4541 | 156.922 | 158.5913 | 159.9319 | 161.6542 | 163.3289

## Slide 28
Demand Outlooks: Summer and Winter Peak
Ontario Summer Net Peak Demand (MW) | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035
Lower Demand | 23900 | 23705 | 23465 | 23216 | 23029 | 22879 | 22777 | 22628 | 22568 | 22453 | 22372 | 22295 | 22292 | 22258 | 22231 | 22198 | 22317 | 22436 | 22586
Reference Case Demand | 24082.5815 | 24040.8592 | 23992.9277 | 23916.2377 | 23888.6701 | 23881.3739 | 23890.1656 | 23867.7373 | 23917.6334 | 23882.1818 | 23917.5214 | 23939.7423 | 24030.0067 | 24082.0191 | 24133.0901 | 24170.6827 | 24368.5379 | 24568.02 | 24791.6286
Higher Demand | 24082.5815 | 24040.8592 | 24212.3442 | 24311.8971 | 24347.3553 | 24399.855 | 24469.2146 | 24519.021 | 24628.5341 | 24782.5235 | 25114.5463 | 25436.8562 | 25807.1505 | 26028.2649 | 26234.3707 | 26396.3053 | 26659.2494 | 26910.0054 | 27165.2338
Ontario Winter Net Peak Demand (MW) | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035
Lower Demand | 22020 | 21825 | 21574 | 21338 | 21143 | 20976 | 20864 | 20694 | 20602 | 20483 | 20394 | 20315 | 20316 | 20295 | 20282 | 20260 | 20375 | 20488 | 20622
Reference Case Demand | 22143.2008 | 22071.7735 | 21985.4548 | 21898.1005 | 21841.1694 | 21799.2245 | 21777.6231 | 21718.4219 | 21717.5996 | 21658.9525 | 21668.4575 | 21671.7351 | 21745.9932 | 21793.7821 | 21843.8319 | 21874.8226 | 22051.6752 | 22228.7563 | 22422.1547
Higher Demand | 22143.2008 | 22071.7735 | 22167.1064 | 22228.8369 | 22228.0132 | 22241.8198 | 22274.7276 | 22287.5232 | 22345.7072 | 22457.7495 | 22732.6037 | 22995.7737 | 23308.925 | 23513.5612 | 23701.2479 | 23861.0683 | 24098.6031 | 24324.4743 | 24535.0088

## Slide 37
Ontario Installed Capacity by Fuel Type
MW | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035
Nuclear | 12128 | 11306 | 10425 | 10425 | 8614 | 10317 | 7493 | 8333 | 8333 | 8284 | 9106 | 8284 | 9106 | 9106 | 9928 | 9928 | 9928
Water | 8989.077 | 8990.012 | 8990.012 | 8995.912 | 8995.912 | 8995.912 | 8995.912 | 8995.912 | 8995.912 | 8995.912 | 8986.512 | 8986.512 | 8986.512 | 8986.512 | 8986.512 | 8986.512 | 8986.512
Gas | 10688.795 | 10757.182 | 10757.182 | 10757.182 | 10757.182 | 10757.182 | 10757.182 | 10757.182 | 10757.182 | 10757.182 | 10757.182 | 10757.182 | 10757.182 | 10757.182 | 10757.182 | 10757.182 | 10757.182
Non-Hydro renewables | 8542.2533 | 8746.6408 | 8746.6408 | 8746.6408 | 8746.6408 | 8746.6408 | 8746.6408 | 8746.6408 | 8746.6408 | 8746.6408 | 8746.6408 | 8746.6408 | 8746.6408 | 8746.6408 | 8746.6408 | 8746.6408 | 8743.7054
Demand Response | 712.3 | 712.3 | 712.3 | 712.3 | 712.3 | 712.3 | 712.3 | 712.3 | 712.3 | 712.3 | 712.3 | 712.3 | 712.3 | 712.3 | 712.3 | 712.3 | 712.3

## Slide 39
Ontario Installed Capacity by Commitment Type
MW | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035
Existing and Committed Resources | 39390.7253 | 38775.8448 | 37763.8448 | 37721.9448 | 32888.9698 | 32095.9698 | 29249.7698 | 27397.4198 | 27283.3028 | 24938.7763 | 21037.7343 | 18667.9187 | 17541.2424 | 16753.8269 | 15919.7859 | 14255.3695 | 12551.1446
Refurbished Nuclear | 881 | 881 | 881 | 881 | 1762 | 3465 | 3465 | 5127 | 5127 | 5900 | 6722 | 6722 | 7544 | 7544 | 8366 | 8366 | 8366
Existing Resources with Expired Contracts | 788.7 | 855.29 | 986.29 | 1034.09 | 3175.065 | 3968.065 | 3990.265 | 5020.615 | 5134.732 | 6657.2585 | 10548.9005 | 12096.7161 | 13223.3924 | 14010.8079 | 14844.8489 | 16509.2653 | 18210.5548

## Slide 42
Resources with Expired Contracts - Summer Effective
MW | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035
Demand Response | 513.63 | 513.63 | 513.63 | 513.63 | 513.63 | 513.63 | 513.63 | 513.63 | 513.63 | 513.63 | 513.63 | 513.63 | 513.63 | 513.63 | 513.63 | 513.63
Lennox | 0 | 0 | 0 | 1686.93 | 1686.93 | 1686.93 | 1686.93 | 1686.93 | 1686.93 | 1686.93 | 1686.93 | 1686.93 | 1686.93 | 1686.93 | 1686.93 | 1686.93
Gas | 48.214 | 128.6449 | 128.6449 | 163.1404 | 668.247 | 679.4895 | 1155.4102 | 1155.4102 | 1162.6227 | 3859.5975 | 4154.4271 | 4849.9113 | 5329.9895 | 5329.9895 | 5426.8323 | 5566.1194
Water | 0 | 0 | 0 | 0 | 0 | 0 | 5.5714 | 7.1998 | 7.7481 | 32.7301 | 660.6135 | 664.475 | 673.8135 | 676.4855 | 677.636 | 679.5345
Solar | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0525 | 5.3151 | 24.9113 | 112.3498 | 220.2865 | 316.5801 | 430.8027 | 619.5952
Wind | 0 | 0 | 0 | 0 | 0 | 0 | 25.5987 | 50.1346 | 63.9136 | 130.1926 | 141.571 | 195.3609 | 241.1229 | 271.7739 | 345.4554 | 472.7254
Bioenergy | 30.4008 | 30.4008 | 30.4008 | 73.4208 | 81.0688 | 265.5688 | 269.4884 | 288.6428 | 293.3674 | 357.0589 | 364.1572 | 391.5819 | 398.5311 | 408.1255 | 411.5671 | 429.7904
Storage | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 2 | 16.75 | 16.75 | 16.75 | 16.75 | 16.75 | 16.75

## Slide 47
Planning Reserve Requirement
MW | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035
Summer Peak Demand | 23992.9277 | 23916.2377 | 23888.6701 | 23881.3739 | 23890.1656 | 23867.7373 | 23917.6334 | 23882.1818 | 23917.5214 | 23939.7423 | 24030.0067 | 24082.0191 | 24133.0901 | 24170.6827 | 24368.5379 | 24568.02 | 24791.6286
Reserves for Load Forecast Uncertainty, Generator Outages and Wind Variability | 3082.1852 | 3166.2675 | 2405.5466 | 2604.3946 | 2693.1274 | 2756.6049 | 2996.1832 | 2760.1304 | 2648.0095 | 2765.9002 | 2896.8508 | 2834.3777 | 3085.5321 | 2776.6481 | 3053.038 | 2886.3227 | 2907.9102
Incremental Planning Reserves for Nuclear Refurbishment Risks | 32.4141 | 588.9671 | 0 | 0 | 60.4629 | 1106.1803 | 1076.3854 | 1518.3285 | 1032.1098 | 634.9195 | 1000.3199 | 154.8412 | 776.2689 | 584.5603 | 1074.9306 | 772.1638 | 467.9677
Total Resource Requirement | 27107.527 | 27671.4723 | 26294.2167 | 26485.7686 | 26643.7559 | 27730.5225 | 27990.2019 | 28160.6407 | 27597.6407 | 27340.5619 | 27927.1773 | 27071.2379 | 27994.8911 | 27531.8911 | 28496.5065 | 28226.5065 | 28167.5065

## Slide 48
Incremental Planning Reserve to Cover Refurbishment Performance Risk
MW | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035
Additional Planning Reserve for Refurbishment Risk - Summer | 32.4141 | 588.9671 | -79.2146 | -65.046 | 60.4629 | 1106.1803 | 1076.3854 | 1518.3285 | 1032.1098 | 634.9195 | 1000.3199 | 154.8412 | 776.2689 | 584.5603 | 1074.9306 | 772.1638 | 467.9677
Additional Planning Reserve for Refurbishment Risk - Winter | 28.1239 | 623.9458 | 500.4855 | -166.4792 | -408.4538 | 968.1361 | 1331.5317 | 982.8085 | 1361.3751 | 1478.1427 | 569.9539 | 1102.7201 | 166.2054 | 715.0754 | 486.5312 | 881.0824 | 588.0473
Note: The incremental planning reserve is negative in a few years because in some scenarios, the delay of return to service in one unit causes the refurbishment start of subsequent units to be deferred, resulting in fewer units on outage overall than under scenarios with no delays. As a result, more units could potentially be available, reducing the overall reserve requirement in those years.

## Slide 49
Available Capacity at Time of Peak
Summer Available Capacity at Time of Peak (MW) | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035
Existing & Committed Resources | 27999.5504 | 26320.1611 | 25403.2072 | 25405.2958 | 21148.9671 | 20636.2125 | 17821.8156 | 16512.1898 | 16466.8711 | 15641.901 | 12784.7112 | 11006.2358 | 10138.2369 | 9488.1725 | 9348.9614 | 9059.6224 | 8584.151
Refurbished Nuclear | 0 | 840.3338 | 840.3338 | 840.3338 | 1680.6676 | 2471.4342 | 3311.768 | 4892.8222 | 4892.8222 | 5638.3966 | 6437.012 | 6437.012 | 7233.6652 | 7233.6652 | 8032.2806 | 8032.2806 | 8032.2806
Existing Resources with Expired Contracts | 561.844 | 592.2448 | 672.6757 | 672.6757 | 2437.1212 | 2949.8758 | 3145.6183 | 3656.6287 | 3701.9474 | 3730.2643 | 6587.4541 | 7562.9901 | 8430.989 | 9081.0535 | 9220.2645 | 9509.6035 | 9985.0749
Winter Available Capacity at Time of Peak (MW) | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035
Existing & Committed Resources | 29572.4906 | 27216.6254 | 27286.054 | 26328.0634 | 22090.0125 | 21995.1632 | 19163.4103 | 18704.2957 | 17700.7498 | 17643.7222 | 15754.696 | 12842.6744 | 10961.5841 | 10535.4973 | 10066.8664 | 9858.0789 | 9330.0332
Refurbished Nuclear | 0 | 840.3338 | 840.3338 | 840.3338 | 840.3338 | 2474.3775 | 3314.7113 | 3314.7113 | 4910.3275 | 5665.6099 | 5665.6099 | 6470.1119 | 6470.1119 | 7273.6328 | 7273.6328 | 8078.1348 | 8078.1348
Existing Resources with Expired Contracts | 0 | 695.3956 | 725.7964 | 843.4532 | 2578.18 | 3173.0293 | 3376.4198 | 3835.5345 | 4034.5783 | 4091.6059 | 5177.1112 | 8083.333 | 9159.9214 | 9586.0081 | 10054.639 | 10263.4265 | 10791.4722

## Slide 50
Available Capacity Compared to Total Resource Requirement
Summer Available Capacity at Time of Peak (MW) | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035
Existing & Committed Resources | 27999.5504 | 26320.1611 | 25403.2072 | 25405.2958 | 21148.9671 | 20636.2125 | 17821.8156 | 16512.1898 | 16466.8711 | 15641.901 | 12784.7112 | 11006.2358 | 10138.2369 | 9488.1725 | 9348.9614 | 9059.6224 | 8584.151
Refurbished Nuclear | 0 | 840.3338 | 840.3338 | 840.3338 | 1680.6676 | 2471.4342 | 3311.768 | 4892.8222 | 4892.8222 | 5638.3966 | 6437.012 | 6437.012 | 7233.6652 | 7233.6652 | 8032.2806 | 8032.2806 | 8032.2806
Existing Resources with Expired Contracts | 561.844 | 592.2448 | 672.6757 | 672.6757 | 2437.1212 | 2949.8758 | 3145.6183 | 3656.6287 | 3701.9474 | 3730.2643 | 6587.4541 | 7562.9901 | 8430.989 | 9081.0535 | 9220.2645 | 9509.6035 | 9985.0749
Total Resource Requirement | 27107.527 | 27671.4723 | 26294.2167 | 26485.7686 | 26643.5549 | 27730.4268 | 27990.6965 | 28160.73 | 27597.3811 | 27341.0249 | 27927.2986 | 27071.4016 | 27994.6144 | 27531.9842 | 28496.7394 | 28226.4685 | 28167.9527
Winter Available Capacity at Time of Peak (MW) | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035
Existing & Committed Resources | 29572.4906 | 27216.6254 | 27286.054 | 26328.0634 | 22090.0125 | 21995.1632 | 19163.4103 | 18704.2957 | 17700.7498 | 17643.7222 | 15754.696 | 12842.6744 | 10961.5841 | 10535.4973 | 10066.8664 | 9858.0789 | 9330.0332
Refurbished Nuclear | 0 | 840.3338 | 840.3338 | 840.3338 | 840.3338 | 2474.3775 | 3314.7113 | 3314.7113 | 4910.3275 | 5665.6099 | 5665.6099 | 6470.1119 | 6470.1119 | 7273.6328 | 7273.6328 | 8078.1348 | 8078.1348
Existing Resources with Expired Contracts | 0 | 695.3956 | 725.7964 | 843.4532 | 2578.18 | 3173.0293 | 3376.4198 | 3835.5345 | 4034.5783 | 4091.6059 | 5177.1112 | 8083.333 | 9159.9214 | 9586.0081 | 10054.639 | 10263.4265 | 10791.4722
Total Resource Requirement | 27481.2246 | 27388.6376 | 27443.8426 | 26313.7853 | 25073.3939 | 27834.2989 | 27083.8372 | 27624.8288 | 27988.8799 | 27767.1052 | 26550.5323 | 26571.4766 | 26407.1905 | 27396.893 | 26411.8229 | 28375.6805 | 27676.6086

## Slide 51
Capacity Adequacy Outlook (Surplus and Deficit): Reference Demand Outlook
MW | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035
Summer Reference Demand Outlook | 1453.8673 | 81.2673 | 622 | 432.5368 | -1376.799 | -1672.9043 | -3711.4946 | -3099.0893 | -2535.7404 | -2330.463 | -2118.1213 | -2065.1637 | -2191.7233 | -1729.0931 | -1895.2329 | -1624.962 | -1566.4462
Summer Reference Demand Outlook Without Existing Resources | 847.0488 | -811.3515 | -335.377 | -582.7542 | -3844.1037 | -4686.0582 | -6878.153 | -6735.652 | -6292.1711 | -6017.7858 | -8688.7358 | -9095.9201 | -10077.0356 | -10417.8612 | -10475.431 | -10724.3164 | -11273.1426
Winter Reference Demand Outlook | 2091.266 | 1363.7171 | 1408.3416 | 1698.0651 | 435.1324 | -191.7289 | -1229.2958 | -1770.2874 | -1343.2243 | -366.1672 | 46.8848 | 824.6427 | 184.4268 | -1.7548 | 983.3153 | -176.0403 | 523.0316
Winter Reference Demand Outlook Without Existing Resources | 2059.7849 | 709.8647 | 1143.1588 | 1410.2131 | -1084.5805 | -2262.5427 | -4063.1492 | -5123.8232 | -4838.1611 | -3675.1386 | -4833.3512 | -5450.9432 | -7343.7011 | -7921.2774 | -7305.8615 | -8833.9147 | -8419.3885

## Slide 52
Capacity Adequacy Outlook (Surplus and Deficit): Lower, Reference and Higher Demand Outlook
Summer Surplus / Deficit (MW) | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035
Lower Demand Outlook | 1717.6563 | 497.6046 | 1408.9906 | 1370.2129 | -289.5405 | -424.3027 | -2292.1765 | -1449.4787 | -1044.3494 | -706.3966 | -376.6539 | 118.832 | 18.0507 | 520.2222 | 361.0036 | 715.7627 | 844.884
Reference Demand Outlook | 1453.8673 | 81.2673 | 622 | 432.5368 | -1376.799 | -1672.9043 | -3711.4946 | -3099.0893 | -2535.7404 | -2330.463 | -2118.1213 | -2065.1637 | -2191.7233 | -1729.0931 | -1895.2329 | -1624.962 | -1566.4462
Higher Demand Outlook | 1240.328 | -540.5519 | 247.2989 | -373.4049 | -2050.725 | -2375.9212 | -4490.0659 | -4119.7423 | -3971.1107 | -4018.7125 | -4155.7673 | -4301.761 | -4602.5624 | -4328.0611 | -4483.9917 | -4301.9743 | -4342.2123
Winter Surplus / Deficit (MW)
Lower Demand Outlook | 2366.4798 | 1638.7171 | 1683.3416 | 2288.3224 | 1392.201 | 687.7072 | -280.6906 | -588.1109 | -170.7946 | 887.5123 | 1500.9562 | 2473.166 | 1030.9056 | 873.38 | 2122.3793 | 1046.3203 | 1572.391
Reference Demand Outlook | 2091.266 | 1363.7171 | 1408.3416 | 1698.0651 | 435.1324 | -191.7289 | -1229.2958 | -1770.2874 | -1343.2243 | -366.1672 | 46.8848 | 824.6427 | 184.4268 | -1.7548 | 983.3153 | -176.0403 | 523.0316
Higher Demand Outlook | 2030.6808 | 1142.0871 | 1554.527 | 1191.6628 | 473.5342 | -873.599 | -2061.7294 | -2617.4688 | -2473.07 | -1596.6813 | -1379.9166 | -1388.5682 | -1872.2579 | -1849.9958 | -969.5897 | -2324.655 | -1609.9157

## Slide 57
Energy Production
TWh | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035
Nuclear | 88.4822 | 80.6049 | 79.3387 | 76.4402 | 65.2667 | 74.7613 | 57.5004 | 60.1191 | 63.7113 | 66.4349 | 67.8773 | 69.7621 | 65.0604 | 72.3571 | 73.8908 | 74.8832 | 75.3336
Natural Gas | 11.1552 | 12.5018 | 12.7359 | 14.0442 | 18.9389 | 16.7186 | 24.1755 | 22.0952 | 21.487 | 20.3996 | 22.5633 | 22.4655 | 26.464 | 24.6117 | 25.8026 | 27.7499 | 29.2489
Hydroelectric | 37.7256 | 38.349 | 38.3787 | 38.4906 | 38.6299 | 38.7015 | 38.748 | 38.7109 | 38.7026 | 38.7935 | 38.5116 | 38.7182 | 38.7495 | 38.8565 | 38.7461 | 38.7296 | 38.7529
Non-Hydro Renewables | 18.5875 | 19.4858 | 19.4876 | 19.501 | 19.4997 | 19.568 | 19.5069 | 19.478 | 19.3786 | 19.3932 | 19.3005 | 19.2261 | 19.1832 | 19.2927 | 19.1856 | 19.1831 | 19.1455
Total Storage (Generating) | 0.037404 | 0.10847 | 0.10702 | 0.1072 | 0.10713 | 0.1076 | 0.1065 | 0.10596 | 0.10532 | 0.10628 | 0.10653 | 0.10649 | 0.10581 | 0.10552 | 0.10562 | 0.1059 | 0.10615
Imports | 6.4084 | 8.422 | 8.8497 | 8.7252 | 11.2438 | 6.5566 | 11.4985 | 10.9968 | 9.5173 | 9.5828 | 7.8772 | 7.8177 | 8.8415 | 7.0284 | 6.8964 | 6.5602 | 6.6184
Ontario Demand plus Exports | 162.3987 | 159.4724 | 158.8982 | 157.3086 | 153.6862 | 156.4136 | 151.5358 | 151.5061 | 152.9021 | 154.7105 | 156.2366 | 158.0965 | 158.4044 | 162.2526 | 164.6272 | 167.2121 | 169.2054

## Slide 59
Surplus Baseload Generation
TWh | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035
Under Reference Demand Outlook | 10.129 | 7.0212 | 5.847 | 3.8679 | 1.6054 | 3.3464 | 0.4792 | 0.97936 | 1.1407 | 1.265 | 1.6788 | 1.3101 | 0.64485 | 1.4035 | 1.6235 | 2.1442 | 1.4761
Under Lower Demand Outlook | 11.8856 | 9.3806 | 8.6857 | 6.9708 | 3.0954 | 6.7386 | 1.4362 | 2.6517 | 3.5062 | 4.0238 | 5.0609 | 4.9143 | 2.9084 | 5.6638 | 6.1141 | 7.1662 | 5.881
Under Higher Demand Outlook | 9.4525 | 5.8998 | 4.9218 | 2.7607 | 1.1197 | 2.2113 | 0.27636 | 0.49965 | 0.44806 | 0.36299 | 0.52099 | 0.24953 | 0.10778 | 0.19282 | 0.23987 | 0.36815 | 0.22159

## Slide 63
Expiring Gas Contract Capacity Summer Available at Peak
MW | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035
Lennox | 0 | 0 | 0 | 0 | 1686.93 | 1686.93 | 1686.93 | 1686.93 | 1686.93 | 1686.93 | 1686.93 | 1686.93 | 1686.93 | 1686.93 | 1686.93 | 1686.93 | 1686.93
Brighton Beach | 0 | 0 | 0 | 0 | 0 | 505.1066 | 505.1066 | 505.1066 | 505.1066 | 505.1066 | 505.1066 | 505.1066 | 505.1066 | 505.1066 | 505.1066 | 505.1066 | 505.1066
Sarnia (TransAlta) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 394.0822 | 394.0822 | 394.0822 | 394.0822 | 394.0822 | 394.0822 | 394.0822 | 394.0822 | 394.0822 | 394.0822
Greenfield | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 884.9554 | 884.9554 | 884.9554 | 884.9554 | 884.9554 | 884.9554 | 884.9554
Portlands | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 495.4396 | 495.4396 | 495.4396 | 495.4396 | 495.4396 | 495.4396 | 495.4396
Goreway | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 775.9809 | 775.9809 | 775.9809 | 775.9809 | 775.9809 | 775.9809 | 775.9809
St. Clair | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 518.21 | 518.21 | 518.21 | 518.21 | 518.21 | 518.21 | 518.21
Halton Hills | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 580.7032 | 580.7032 | 580.7032 | 580.7032 | 580.7032
York | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 360.6488 | 360.6488 | 360.6488 | 360.6488
Other CHP | 0 | 0 | 0 | 0 | 0.93688 | 0.93688 | 0.93688 | 0.93688 | 0.93688 | 8.1494 | 30.5384 | 325.368 | 325.368 | 386.318 | 386.318 | 391.9392 | 391.9392
Other Gas | 48.214 | 48.214 | 128.6449 | 128.6449 | 162.2035 | 162.2035 | 173.4461 | 255.2846 | 255.2846 | 255.2846 | 255.2846 | 255.2846 | 370.0656 | 428.5449 | 428.5449 | 490.2665 | 629.5536

## Slide 74
Estimate of Electricity Component Costs
Total Revenue (2018 $B CAD)
| 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035
Global Adjustment | 10.9 | 10.6 | 10.5 | 10.6 | 10.3 | 10.8 | 10.1 | 10.4 | 10.6 | 10.3 | 10 | 9.6 | 8.9 | 9.1 | 8.7 | 8.3 | 7.6
Market Revenue | 3.5 | 3.8 | 3.7 | 3.7 | 4 | 3.9 | 4.1 | 3.8 | 3.8 | 3.8 | 4 | 4.2 | 4.5 | 4.5 | 4.7 | 4.9 | 5.1
Delivery | 5.6 | 5.6 | 5.8 | 5.8 | 5.9 | 5.9 | 6 | 6.1 | 6.1 | 6.1 | 6.2 | 6.2 | 6.3 | 6.3 | 6.3 | 6.4 | 6.4
Other | 1.5 | 1.2 | 1.2 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1
Note:
A range of Global Adjustment is provided on Slide 74 including data from the three demand scenarios as well as the increase in inherent uncertainty over time, similar to the market clearing price forecast. This category of costs includes the costs incurred through existing contracts and programs as well as costs associated with future capacity needs. The median of this range for the reference scenario is provided.

## Slide 78
Greenhouse Gas Emissions: Reference Demand Outlook
Megatonnes CO2e
| 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035
Historical | 35.4 | 30.8 | 33.9 | 28.3 | 15.3 | 20.3 | 14.4 | 14.3 | 10.3 | 6 | 6.3 | 5.5 | 2.5 | 3.3488
Reference Outlook | [13 empty] | 3.3488 | 4.1471 | 4.637 | 4.7484 | 5.2423 | 7.0693 | 6.2323 | 9.0088 | 8.233 | 8.0073 | 7.6069 | 8.3778 | 8.3688 | 9.8355 | 9.1319 | 9.5909 | 10.3325 | 10.9047

## Slide 79
Greenhouse Gas Emissions: Lower, Reference and Higher Demand Outlook
Megatonnes CO2e
| 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035
Historical | 35.4 | 30.8 | 33.9 | 28.3 | 15.3 | 20.3 | 14.4 | 14.3 | 10.3 | 6 | 6.3 | 5.5 | 2.5 | 3.3488
Reference Outlook | [13 empty] | 3.3488 | 4.1471 | 4.637 | 4.7484 | 5.2423 | 7.0693 | 6.2323 | 9.0088 | 8.233 | 8.0073 | 7.6069 | 8.3778 | 8.3688 | 9.8355 | 9.1319 | 9.5909 | 10.3325 | 10.9047
Lower Demand Outlook | [13 empty] | 3.1954 | 3.8945 | 4.1962 | 4.173 | 4.5345 | 6.0493 | 5.1876 | 7.6155 | 6.8822 | 6.5819 | 6.0363 | 6.7457 | 6.6252 | 7.845 | 7.1387 | 7.4653 | 8.1492 | 8.5297
Higher Demand Outlook | [13 empty] | 3.3504 | 4.2582 | 4.912 | 5.0888 | 5.6815 | 7.6899 | 6.8622 | 9.8442 | 9.1597 | 9.1895 | 9.1981 | 10.1095 | 10.4155 | 11.9985 | 11.4963 | 11.9614 | 12.6901 | 13.4171