## 2-Staff-10
Ottawa River Power Corporation
OEB Staff Interrogatory Response - 2-Staff-10
| 2019 | 2020 | 2021 | 2021
Account | Actual to November 30 2019 | Actual to November 30 2020 | Actual to November 30 2021 | Actual to November 30 2021 + Projection to December 31 2021
System Access
New Services and Service Upgrades | 405109.56 | 42800.15 | 70394.31 | 80394.31
UG Primary - Town Homes on Blakely Crescent |  | 100
Bennett Street - Cell Tower |  | 19962.84
Food Basics - 1500 kVa Padmounted Transformer |  | 39795.4
Victoria Street Reconstruction - Pole Removals, Cable U/G |  | 14853.95
Patricia Street - Robert Morre 10 Unit Building |  | 1171.34
Guy Bourgon - Offer to Connect |  | -23050
Orchardview | 2605.79
Riverfront Phase 5 | 45499.73
Petro Canada | 12156.88
Install and Connect Pad Mount Transformer | 38230.21
Blakely Crescent | 4513.62
Contributions | -166335.48 |  | -65173.76 | -75173.76
4 Semi-detached Single Storey Homes |  |  | 10561.38 | 10561.38
Roger Telecom Tower |  |  | 6628.26 | 6628.26
Pembroke Street West Upgrade (Phase 2) |  |  | 14660.58 | 24660.58
4-Plex at 759 Mary Street |  |  | 12426.03 | 12426.03
Golfview Subdivision |  |  | 0 | 0
143 Marshall Street |  |  | 0 | 0
Mississippi Mills Industrial Park Phase 3 |  |  | 0 | 0
27 Elm Street - Killaloe |  |  | 9274.02 | 9274.02
Hannah Street - Beachburg |  |  | 11623.49 | 11623.49
Town of Mississippi Mills - Construct OH Line and Transf. |  |  | 25579.16 | 25579.16
Sub-Total | 341780.31 | 95633.68 | 95973.47 | 105973.47
System Renewal
Minor Capital Betterments | 82360.55 | 73111.88 | 165515.54 | 168515.54
Voltage Conversion - Feeder 1 - 1 | 2597.45
Voltage Conversion - Feeder 1 - 2 | 55662.68
Voltage Conversion - Feeder 1 - 3 | 35885.63
Voltage Conversion - Feeder 1 - 4 | 26653.65
Voltage Conversion - Feeder 3 - 1 | 23154.34
Voltage Conversion - Feeder 3 - 2 | 254.47
Almonte MS#3 Station Upgrades | 9320.32
Beachburg Road Pole Replacement | 53375.89
Victoria Street Underground Conversion | 16023
Voltage Conversion - Feeder 1 - 1 |  | 254.47
Voltage Conversion - Feeder 1 - 2 |  | 776.79
PCB Transformer - T550 1283 Pembroke Street West |  | 2911.74
PCB Transformer - 183 Cecil Street |  | 966.47
PCB Transformer - 201 Cecil Street |  | 1451.54
PCB Transformer - T438 Boundary and McGee |  | 3704.82
Upgrade Riser Disconnects at L557 and T1011 |  | 1687.77
672 & 708 Gordon Street Pole Replacements |  | 8948.08
174 Albert Street - Replace pole and transformers |  | 16353.11
Garden Street - Replace Leaking Padmount Transformer |  | 3032.37
O'Brien Street North - Install Underground Road Crossings |  | 12232.07
John Street Killaloe - Re-insulate 2 poles |  | 2481.12
277 Cecelia Street - Replace wood pole |  | 5432.21
5 Smith Street - Replace wood pole and install new anchor |  | 7301.34
Beachburg Road - Replace 3 wood poles |  | 7386.96
119 Arnolds Lane - Replace wood pole |  | 3452.83
473 Christink Lane - Replace wood pole |  | 3692.11
Re-Insulate and Adjust Sag on Feeder 6-2 |  |  | 6144.88 | 6144.88
Install New Tie Switches 4-4 TS 4-5 Coolidge Street |  |  | 4863.79 | 4863.79
Pole Replacement due to Fire on Pembroke SW at Blakely |  |  | 11683.13 | 11683.13
Pole Replacement due to Fire on Sussex at John |  |  | 10937.31 | 10937.31
Replace 45' Pole at481 Isabella Street |  |  | 6009.71 | 6009.71
Replace 2 40' Wood Poles with New 45'/3 Wood Poles |  |  | 8721.88 | 8721.88
Set Poles for Bell Canada |  |  | 15405.41 | 15405.41
Install 44kV Pole on Front Street at Alongquin Trail |  |  | 10151.72 | 10151.72
Pole and Transformer Upgrade at Beachburg Arena |  |  | 19305 | 19305
Stub Pole Relocation |  |  | 4711.22 | 4711.22
Replace 6 45' and 1 50' Pole on Mill Street Killaloe |  |  | 74709.5 | 74709.5
Pembroke Voltage Conversion |  | 1031.26
Replace Pole at 299 Boundary Road E due to Fire |  |  | 14073.04 | 14073.04
Nelson Street Pole |  |  | 8538.46 | 8538.46
Greenside Street - Pole Replacement |  |  | 9036.39 | 9036.39
Prince Street - Pole Replacement |  |  | 9351.04 | 9351.04
Boundary Road West - Pole Replacement |  |  | 9459.82 | 9459.82
Douglas and Lea Street - Pole Replacement |  |  | 6419.85 | 6419.85
518 McGee Street - Pole Replacement |  |  | 6437.05 | 6437.05
Alfred Street - Pole Replacement |  |  | 9018.07 | 9018.07
Everett Street - Pole Replacement |  |  | 6786.07 | 6786.07
Boundary and Elgin Street - Pole Replacement |  |  | 5349.95 | 5349.95
556 Almira Street - Pole Replacement |  |  | 5336.42 | 5336.42
468 Almira Street - Pole Replacement |  |  | 10000.91 | 10000.91
Crandall Avenue - Underground Conductor Upgrade |  |  | 7101.28 | 7101.28
Pole 382 - Pole Replacement |  |  | 6051.96 | 6051.96
182 Morris Street - Pole Replacement |  |  | 10206.01 | 10206.01
608 McGee Street - Pole Replacement |  |  | 6884.81 | 6884.81
Bridge Street - Overhead Conductor Upgrade |  |  | 12301.76 | 12301.76
Scada System Upgrade |  |  | 0 | 51472
Sub-Total | 305287.98 | 156208.94 | 480511.98 | 534983.98
System Service
Battery |  |  | 1134 | 1134
Road Construction to Access Pembroke Substation |  |  | 46250 | 46250
Almonte Feeder Relocation | 64350 | -16438.09
Almonte MS#4 Line Extension | 21016.89
Almonte MS#4 Construction | -58854
1F3 Switch Upgrade |  | 4840.14
Pembroke MS#6 Insulation Upgrades |  | 12161.77
Almonte MS#3 Upgrades |  | 9727.12
Almonte MS#4 Line Extension |  | 16226.12
Sub-Total | 26512.89 | 26517.06 | 47384 | 47384
General Plant
Server |  |  | 106585.32 | 106585.32
Computer Equipment - Harware | 10731.85 | 22977.07 | 53747.57 | 55747.57
Garage Fixtures, Paint and Blinds |  |  | 17719.25 | 17719.25
Patch Management Platform |  |  | 3000 | 3000
Elster Connexo Upgrade |  |  | 0 | 76153
Engine Control Unit |  |  | 3602.08 | 3602.08
Tools, Shop and Garage Equipment |  |  | 0 | 0
Truck 8 and 31 Painting |  |  | 0 | 0
Credit Control Automation Platform |  |  | 12700 | 12700
Customer Information System Version Upgrade |  |  | 60613.8 | 60613.8
Postage Machine |  |  | 16833.96 | 16833.96
Folding Machine |  |  | 19726.74 | 19726.74
Office Furniture and Equipment |  | 119.99 | 1492 | 1492
Measurement and Testing Equipment |  | 4971.36 | 2680 | 2680
Pembroke Office Window Replacements |  |  | 16465 | 16465
Computer Software | 11138.24 | 5473.34
Computer Software - Cyber Security | 5394.66
Small Tools | 1834
Transportation Equipment | 390985 | 9682.7
Stores Equipment
Miscellaneous Equipment |  | 2499
System Supervisory Equipment |  | 3247
Leasehold Improvements - Pembroke Office Glass Barrier |  | 10265
Leasehold Improvements - Air Conditioner Repair |  | 8776
Leasehold Improvements - Paving |  | 16500
Leasehold Improvements - Wall
Leasehold Improvements - Almonte Pole Barn |  | 2942
Leasehold Improvements - Almonte New Office |  | 10542
Sub-Total | 420083.75 | 97995.46 | 315165.72 | 393318.72
Total | 1093664.93 | 376355.14 | 939035.17 | 1081660.17

## 2-Staff-12
Ottawa River Power Corporation
OEB Staff Interrogatory Response - 2-Staff-12
Account | Submitted in ICM for rates effective May 1st, 2019 | Final Actuals
Sale Price | 84000 | 85266.71
Legal | 3000 | 3454.35
Power Transformer 5 MVA | 260000 | 248393.29
44 kV PM Switches/Fuses | 60000 | 57260
Switchgear | 125000 | 120005.45
Scada RTU | 45000 | 41000
Fence and Stone | 100000 | 40000
Mobilization, bonding, insurance | 50000 | 53000
Electrical Engineering | 95000
Grounding | 25000
Protection Study | 10000
Environmental Screening | 5000
Geotechnical Investigation | 15000
Project Management | 30000
Subtotal | 180000 | 198606.79
Station Reclosures (3) | 105000
Prefab Control Shack w/ pad | 35000
Station Service | 8000
44 kV Cables/Terminators | 20000
15 kV 500 MCM Cables/Terminators | 125000
Solid Blade Riser Switches | 15000
Construction Power | 8000
Clearing, Grubbing, Grading | 60000
Road Entrance | 10000
Oil Containment | 15000
Duct Banks | 120000
Concrete Foundations | 75000
Grounding | 40000
44 kV Dip Pole | 2500
44 kV Riser Poles | 8500
Installation of Transformers | 10000
Installation of Reclosures | 12000
Power and Control Cabling | 7500
Station Service Panel | 5000
Commissioning | 30000
Fees and Permits | 5000
Subtotal | 716500 | 1134579.94
Ottawa River Power Corporation - Labour | 0 | 22020.77
Ottawa River Power Corporation - Material - Pole Line Extension | 0 | 9227.81
Ottawa River Power Corporation - Equipment Usage | 0 | 7952.5
Infrastructure Ontario - Legal Fees | 0 | 19936.9
Infrastructure Ontario - Capitalized Interest | 0 | 19049.04
Total | 2695000 | 2059753.55

## 2-Staff-15
Ottawa River Power Corporation
OEB Staff Interrogatory Response - 2-Staff-15
| 2023 | 2024 | 2025 | 2026
System Access
Customer Connections | 40750 | 67910 | 81490 | 81490
Metering | 86060 | 68800 | 88840 | 56550
Externally Initiated Plant Relocation | 85730 | 98650 | 35470 | 41380
Sub-Total | 212540 | 235360 | 205800 | 179420
System Renewal
UG Renewal | 48110 | 60140 | 64950 | 67360
OH Renewal | 463490 | 483640 | 523940 | 544090
Stations | 227010 | 227010 | 272410 | 181610
Sub-Total | 738610 | 770790 | 861300 | 793060
System Service
System Enhancement | 51910 | 62300 | 70080 | 75270
Station Expansion | 110000 | 0 | 0 | 0
Sub-Total | 161910 | 62300 | 70080 | 75270
General Plant
Information Technology | 1400 | 12400 | 1400 | 11400
Fleet | 5000 | 5000 | 5000 | 412000
Operational Technology | 0 | 0 | 0 | 0
Facilities | 13000 | 12500 | 1000 | 5000
Sub-Total | 19400 | 29900 | 7400 | 428400
Total | 1132460 | 1098350 | 1144580 | 1476150

## 2-Staff-20
Ottawa River Power Corporation
OEB Staff Interrogatory Response - 2-Staff-20
Assumptions and Calculations
Project | Project Description | Calculated Total Net Cost | Calculated Customer Contribution Included in Net Cost | Labour Hours | Equipment Hours
4-Semi-Detached Single Storey Homes | Supplying 8-single storey houses with 1 number of 100kVA 1-ph pole mount transformer, 4 secondary risers (2 for each pole), 250 meters of (250MCM Triplex) Secondary Underground Cable, Redistributing existing secondary services between the new 100kVA PMT and existing 50kVA PMT. New 100kVA PMT will service 12 customers while existing 50kVA will service 7 customers. | 2196 | -5450 | 30.5 | 17
Orchard View Suites (Phase 2) | Supplying 12 rows (each has 4 units) with 3 numbers of 100kVA 1-Ph transformer, Supplying 28-unit Retirement Apt Building with 1 number of 500kVA 3-Ph transformer 2 Switch Cubicles, 900 meters of (1/0 copper) Primary Underground Cable, 650 meters of (250MCM Triplex) Secondary Underground Cable, 1 Riser Pole | 64502 | -51900 | 296 | 296
42 Unit Apartment Building | Providing electric service connection to a 42-apartment building at Johanna Street in Almonte by supplying and installing: - New 500kVA PAD mounted transformer (3 phase - HV: 4.16kV/2.4kV, LV: 600V/347V) - New 2850 meters of three phase primary U/G cable (1/0 copper) - New Electricity 44Meter | 33263 | -50600 | 188 | 188
Burcom Development - 48 Houses | Providing electric service connection to 48 Houses in Pembroke by supplying and installing: - New 13 100kVA/75kVa Pad Mounted Transformer - New 1/0 U/G primary cables - New 1 rise pole | 42500 | -25000 | 225 | 225
9 Townhomes at 627 Nelson Street Pembroke | Providing electric service connection to 9 townhouses project at 627 Nelson Street Pembroke in Pembroke by supplying and installing: - New 100VA Pad Mounted Transformer - New 15 meters of 1/0 U/G primary cables - New 4 runs of total 100 meters of secondary 250 MCM Al U/G - New 1 Primary riser | 12000 | -8000 | 65 | 65

## 3-Staff-26
Ottawa River Power Corporation
OEB Staff Interrogatory Response - 4-Staff-30
Consumption |  | Retail Consumption
|  | Residential |  | General Service < 50 kW |  | General Service > 50 to 4999 kW |  |  | Sentinel |  |  | Street Lighting |  |  | USL
|  | kWh | Number of Customer/ Connection | kWh | Number of Customer/ Connection | kWh | kW | Number of Customer/ Connection | kWh | kW | Number of Connections | kWh | kW | Number of Connections | kWh | Number of Customers | Number of Connections
2020 | January | 8252808 | 9912 | 2851727 | 1282 | 6440679 | 15098 | 149 | 19661 | 43 | 171 | 106653 | 236 | 2875 | 51241 | 19 | 88
2020 | February | 7653590 | 9916 | 2655070 | 1280 | 5907939 | 14713 | 149 | 16528 | 43 | 171 | 91818 | 236 | 2875 | 48847 | 19 | 88
2020 | March | 7390200 | 9928 | 2392130 | 1280 | 5610578 | 14021 | 149 | 16258 | 44 | 171 | 87913 | 236 | 2875 | 49981 | 19 | 88
2020 | April | 6556759 | 9943 | 1855781 | 1281 | 4999240 | 36779 | 149 | 16645 | 43 | 171 | 74549 | 236 | 2875 | 46957 | 19 | 88
2020 | May | 6323124 | 9945 | 1785317 | 1281 | 4744682 | 13599 | 150 | 16468 | 43 | 171 | 67740 | 236 | 2920 | 50359 | 19 | 88
2020 | June | 6629679 | 9949 | 1892488 | 1276 | 5036829 | 15696 | 150 | 16451 | 43 | 171 | 61049 | 236 | 2920 | 48889 | 19 | 88
2020 | July | 8725974 | 9955 | 2323074 | 1275 | 5743151 | 18614 | 150 | 16451 | 43 | 171 | 65464 | 236 | 2920 | 50149 | 19 | 88
2020 | August | 6819648 | 9965 | 2013319 | 1274 | 5542475 | 18179 | 150 | 16457 | 43 | 171 | 73705 | 236 | 2920 | 49855 | 19 | 88
2020 | September | 5431156 | 9980 | 1782342 | 1274 | 4718668 | 15554 | 150 | 16312 | 43 | 171 | 81378 | 236 | 2920 | 49681 | 19 | 88
2020 | October | 6120244 | 9996 | 1924819 | 1272 | 5012347 | 16239 | 150 | 16089 | 42 | 171 | 94879 | 236 | 2920 | 49975 | 19 | 88
2020 | November | 6617422 | 10001 | 2153940 | 1275 | 5211201 | 19093 | 150 | 16052 | 43 | 171 | 101060 | 236 | 2920 | 52957 | 19 | 88
2020 | December | 8621253 | 10019 | 2603393 | 1273 | 6193301 | 19008 | 150 | 15752 | 43 | 171 | 109459 | 236 | 2920 | 53209 | 19 | 88
2021 | January | 8784376 | 10021 | 2608498 | 1276 | 5749753 | 14527 | 150 | 15789 | 43 | 171 | 106503 | 235 | 2920 | 53335 | 19 | 88
2021 | February | 8120445 | 10032 | 2521210 | 1274 | 5518701 | 16002 | 151 | 16215 | 45 | 171 | 88675 | 235 | 2920 | 50185 | 19 | 88
2021 | March | 7679053 | 10053 | 2523119 | 1273 | 5685859 | 14040 | 151 | 15388 | 43 | 171 | 88166 | 236 | 2920 | 52327 | 19 | 88
2021 | April | 6013718 | 10059 | 1865695 | 1272 | 4525427 | 12393 | 151 | 14996 | 42 | 171 | 74448 | 235 | 2920 | 49933 | 19 | 88
2021 | May | 6083974 | 10066 | 1895909 | 1272 | 4820904 | 15080 | 151 | 14994 | 42 | 171 | 67648 | 235 | 2920 | 50521 | 19 | 88
2021 | June | 6848419 | 10066 | 2035952 | 1285 | 5238854 | 14817 | 139 | 14995 | 40 | 171 | 60965 | 235 | 2920 | 50269 | 19 | 88
2021 | July | 6984979 | 10086 | 2136408 | 1284 | 5356668 | 17791 | 139 | 15787 | 42 | 171 | 65375 | 235 | 2920 | 52453 | 19 | 88
2021 | August | 8202587 | 10096 | 2418277 | 1283 | 7370478 | 17684 | 140 | 15500 | 42 | 171 | 73605 | 235 | 2920 | 51739 | 19 | 88
2021 | September | 5475601 | 10107 | 1914965 | 1282 | 6987415 | 11665 | 139 | 17588 | 42 | 171 | 81268 | 235 | 2920 | 49597 | 19 | 88
2021 | October | 5828517 | 10113 | 1980105 | 1280 | 5384512 | 12860 | 138 | 16879 | 44 | 171 | 94750 | 235 | 2920 | 50605 | 19 | 88

## 4-Staff-30
Ottawa River Power Corporation
OEB Staff Interrogatory Response - 4-Staff-30
OM&A | 2019 - Actuals to November 30 2019 | 2020 - Actuals to November 30 2020 | 2021 - Actuals to November 30 2021 | 2021 - Actuals to November 30 2021 + Projection to December 31 2021
5005-Operation Supervision and Engineering | 88098.94 | 75624.38 | 95111.81 | 104209.8382
5010-Load Dispatching | 5399.46 | 5098.44 | 4620 | 5040
5012-Station Buildings and Fixtures Expense | 52585.98 | 46982.69 | 80325.88 | 87711.3727
5016-Distribution Station Equipment - Operation Labour | 20.26 | 12774.69 | 616.7 | 672.7636
5017-Distribution Station Equipment - Expenses | 7538.7 | 7528.06 | 0 | 0
5020-Overhead Distribution Lines and Feeders - Operation Labour | 1314.92 | 29097.17 | 14995.96 | 16453.2891
5025-Overhead Distribution Lines and Feeders - Operation Supplies and Expenses | 993.31 | 22.97 | 5808.6 | 6336.6545
5030-Overhead Subtransmission Feeders - Operation | 0 | 0 | 184.72 | 201.5127
5035-Overhead Distribution Transformers- Operation | 0 | 6120.7 | 637.98 | 695.9782
5040-Underground Distribution Lines and Feeders - Operation Labour | 0 | 4675.93 | 9207.48 | 10044.5236
5055-Underground Distribution Transformers - Operation | 0 | 868.15 | 1187.99 | 1295.9891
5065-Meter Expense | 100904.12 | 44819.58 | 79597.59 | 122367.2845
5070-Customer Premises - Operation Labour | 87941.78 | 107308.05 | 90742.02 | 99239.0945
5075-Customer Premises - Materials and Expenses | 0 | 2542.75 | 5589.5 | 6097.6364
5085-Miscellaneous Distribution Expense | 51672.46 | 177107.41 | 51306.33 | 83046.78
5095-Overhead Distribution Lines and Feeders - Rental Paid | 0 | 37264.31 | 39077.3 | 39077.3
5096-Other Rent | 0 | 6050 | 5100 | 5675
Total - Operations | 396469.93 | 563885.28 | 484109.86 | 588165.0173
5105-Maintenance Supervision and Engineering | 2200 | 45141.25 | 56368.85 | 61818.5909
5110-Maintenance of Buildings and Fixtures - Distribution Stations | 6252.05 | 14578.46 | 14394.91 | 15763.5182
5114-Maintenance of Distribution Station Equipment | 96623.82 | 31784.56 | 19259.81 | 21070.6818
5120-Maintenance of Poles, Towers and Fixtures | 4514.61 | 6068.4 | 67062.18 | 73158.7418
5125-Maintenance of Overhead Conductors and Devices | 118325.31 | 68577.15 | 48076.28 | 52965.9409
5130-Maintenance of Overhead Services | 68656.79 | 47634.68 | 47503.83 | 52114.12
5135-Overhead Distribution Lines and Feeders - Right of Way | 216729.31 | 94204.96 | 238840.1 | 266627.9664
5145-Maintenance of Underground Conduit | 0 | 1367.94 | 1955.25 | 2133
5150-Maintenance of Underground Conductors and Devices | 9383.74 | 11112.66 | 10424.53 | 11372.2145
5155-Maintenance of Underground Services | 20633.9 | 10840.45 | 12397.96 | 13525.0473
5160-Maintenance of Line Transformers | 57189 | 141141.86 | 63044.71 | 68776.0473
5175-Maintenance of Meters | 325.77 | 6081.16 | 709.07 | 773.5309
Total - Maintenance | 600834.3 | 478533.53 | 580037.48 | 640099.4
5305-Supervision | 0 | 0 | 26676.55 | 29101.6909
5310-Meter Reading Expense | 46102.22 | 50117.65 | 28925.64 | 31555.2436
5315-Customer Billing | 396139.07 | 564344.77 | 464076.37 | 523504.3709
5320-Collecting | 141753.04 | 135145.66 | 138905.81 | 152679.0909
5325-Collecting- Cash Over and Short | 0 | -308.84 | 99.4 | 99.4
5330-Collection Charges | -10635 | -6120 | -5281.66 | -5761.8109
5335-Bad Debt Expense | 38099.56 | 45144.5 | -3944.27 | 101500
5340-Miscellaneous Customer Accounts Expenses | -374.2 | -42.91 | -189.17 | -206.3673
Total - Billing and Collecting | 611084.69 | 788280.83 | 649268.67 | 832471.6182
5405-Supervision | 0 | 391.67 | 515.73 | 562.6145
5410-Community Relations | 19050.37 | 26510.76 | 19252.21 | 26997.69
5420-Community Safety Program | 35005.11 | 1411.45 | 0 | 0
Total - Community Relations | 54055.48 | 28313.88 | 19767.94 | 27560.3045
5605-Executive Salaries and Expenses | 38996.74 | 39732.66 | 39337.96 | 47934.8582
5610-Management Salaries and Expenses | 237466.08 | 300190.52 | 386605.42 | 421795.9473
5615-General Administrative Salaries and Expenses | 235112.4 | 62414.88 | 113719.67 | 136946.2518
5620-Office Supplies and Expenses | 77175.34 | 71693.85 | 65460.85 | 71411.8364
5630-Outside Services Employed | 18850.48 | 10243.21 | 27565.5 | 30071.4545
5635-Property Insurance | 7429.95 | 5488.49 | 27773.02 | 30297.84
5645-Employee Pensions and Benefits | 128329.78 | 205805.3 | 182049.82 | 238757.9
5655-Regulatory Expenses | 185360.54 | 173916.78 | 109299.57 | 119235.8945
5665-Miscellaneous General Expenses | 66799 | 75150 | 73023.51 | 79662.0109
5670-Rent | 12500 | 13303.84 | 9242.28 | 10082.4873
5675-Maintenance of General Plant | 93100.39 | 139250.85 | 135339.25 | 158208.1182
5680-Electrical Safety Authority Fees | 7404.52 | 8612 | 8184 | 8184
6205-Sub-account LEAP Funding | 5199.96 | 4720 | 10498.42 | 10498.42
Total - Administrative and General Expenses | 1113725.18 | 1110522.38 | 1188099.27 | 1363087.0191
Total - O&M | 2776169.58 | 2969535.9 | 2921283.22 | 3451383.3591

## 8-Staff-56
Ottawa River Power Corporation
Interrogatory Response to 8-Staff-56
Low Voltage (kW)
|  | Cobden TS | Pembroke TS | Almonte TS | Total
2016 | 1 | 2432.48 | 20712.57 | 6330.24 | 29475.29
| 2 | 2693.67 | 24270.67 | 6821.14 | 33785.48
| 3 | 2260.99 | 19267.13 | 6292.94 | 27821.06
| 4 | 1926.47 | 15083.71 | 2884.4 | 19894.58
| 5 | 1582.27 | 16598.22 | 5100.9 | 23281.39
| 6 | 1747.7 | 20480.67 | 7249.26 | 29477.63
| 7 | 1830.73 | 23774.15 | 7466.22 | 33071.1
| 8 | 1862.24 | 25256.62 | 8080.99 | 35199.85
| 9 | 1747.7 | 21751.64 | 6558.86 | 30058.2
| 10 | 1742.86 | 21571.44 | 5715.96 | 29030.26
| 11 | 2174.93 | 24959.01 | 6526.6 | 33660.54
| 12 | 2517.32 | 27764.72 | 6765.61 | 37047.65
2017 | 1 | 2525.2 | 24404.11 | 5450.45 | 32379.76
| 2 | 2276.74 | 20807.52 | 4559.02 | 27643.28
| 3 | 2279.77 | 18725.35 | 5955.46 | 26960.58
| 4 | 1774.37 | 15182.46 | 3501.94 | 20458.77
| 5 | 1694.98 | 14343 | 3416.02 | 19454
| 6 | 1646.5 | 15213.29 | 5102.17 | 21961.96
| 7 | 1551.97 | 21555.09 | 4348.25 | 27455.31
| 8 | 1660.44 | 24939.61 | 4824.19 | 31424.24
| 9 | 1829.51 | 23842.42 | 6162.42 | 31834.35
| 10 | 1681.65 | 16873.72 | 3795.96 | 22351.33
| 11 | 2065.85 | 19498.83 | 4920.83 | 26485.51
| 12 | 2633.07 | 25637.24 | 5929.74 | 34200.05
2018 | 1 | 2838.87 | 28596.85 | 6242.43 | 37678.15
| 2 | 2281.23 | 20110.55 | 6351.84 | 28743.62
| 3 | 2005.25 | 18340.71 | 3035.66 | 23381.62
| 4 | 2035.43 | 15543.47 | 2859.54 | 20438.44
| 5 | 1468.1 | 17344.23 | 2601.51 | 21413.84
| 6 | 1653.9 | 19191.24 | 7292.7 | 28137.84
| 7 | 1973.86 | 28673.17 | 7954.11 | 38601.14
| 8 | 1802 | 22607.1 | 8342.59 | 32751.69
| 9 | 1921.38 | 20977.98 | 7706.87 | 30606.23
| 10 | 1813.39 | 16300.88 | 5657.34 | 23771.61
| 11 | 2338.07 | 24440.29 | 5289.6 | 32067.96
| 12 | 2417.09 | 22809.6 | 4455.01 | 29681.7
2019 | 1 | 2903.95 | 27225.05 | 6723.53 | 36852.53
| 2 | 2552.84 | 24144.3 | 5069.99 | 31767.13
| 3 | 2278.08 | 17218.8 | 3437.83 | 22934.71
| 4 | 1843.45 | 19212.5 | 3767.05 | 24823
| 5 | 1763.34 | 18886.51 | 4226.33 | 24876.18
| 6 | 1526.76 | 18156.47 | 3573.51 | 23256.74
| 7 | 1906.96 | 24896.21 | 7408.13 | 34211.3
| 8 | 1870.6 | 20610.49 | 6570.68 | 29051.77
| 9 | 1597.54 | 16303.92 | 5973.66 | 23875.12
| 10 | 1694.98 | 16833.1 | 5190.47 | 23718.55
| 11 | 2260.86 | 23451.18 | 4502.7 | 30214.74
| 12 | 2648.46 | 25099.41 | 5570.71 | 33318.58
2020 | 1 | 2630.4 | 23470.53 | 5095.54 | 31196.47
| 2 | 2508.72 | 25344.66 | 5491.95 | 33345.33
| 3 | 2154.09 | 19726.7 | 3316.06 | 25196.85
| 4 | 1748.31 | 16840.93 | 2118.23 | 20707.47
| 5 | 1924.78 | 20541.09 | 5197.36 | 27663.23
| 6 | 1906.96 | 18572.14 | 6979.18 | 27458.28
| 7 | 2168.39 | 24502.94 | 9202.96 | 35874.29
| 8 | 1884.54 | 18915.58 | 7190.6 | 27990.72
| 9 | 1486.88 | 16496.51 | 4092.91 | 22076.3
| 10 | 1785.64 | 14860.51 | 4558.54 | 21204.69
| 11 | 2038.22 | 20141.77 | 4989 | 27168.99
| 12 | 2508.96 | 23856.06 | 5349.62 | 31714.64
|  | 122281.69 | 1252756.62 | 327145.31 | 1702183.62
Annual Demand (kW)
|  | Cobden TS | Pembroke TS | Almonte TS | Total
2016 |  | 24519.36 | 261490.55 | 75793.12 | 361803.03
2017 |  | 23620.05 | 241022.64 | 57966.45 | 322609.14
2018 |  | 24548.57 | 254936.07 | 67789.2 | 347273.84
2019 |  | 24847.82 | 252037.94 | 62014.59 | 338900.35
2020 |  | 24745.89 | 243269.42 | 63581.95 | 331597.26
Average |  | 24456.338 | 250551.324 | 65429.062 | 340436.724
Hydro One Low Voltage Rates ($/kW)
|  | Cobden TS | Pembroke TS | Almonte TS
Common ST Lines |  | 1.5335 | 1.5335 | 1.5335
Volumteric Rate Rider 29B |  | -1.1389 | -1.1389 | -1.1389
Volumteric Rate Rider 29A |  | 0.9444 | 0.9444 | 0.9444
LVDS-Low |  | 1.6671 | 0 | 0
Total ($/kW) |  | 3.0061 | 1.339 | 1.339
Forecast (kW) |  | 24456.338 | 250551.324 | 65429.062
Forecast ($) |  | 73518.1977 | 335488.2228 | 87609.514
Total ($) |  | 496615.9345

## 8-Staff-57-1
Ottawa River Power Corporation
OEB Staff Interrogatory Response - 8-Staff-57
| Cobden TS |  | Pembroke TS |  | ALM Hope St (DEL) |  | ALM Hope St (Rec) |  | ALM MS3 |  | Brookfield |  | MRPC |  | Enerdu |  | microFit
Year | Higher Value (kWh) | Lower Value (kWh) | Higher Value (kWh) | Lower Value (kWh) | Higher Value (kWh) | Lower Value (kWh) | Higher Value (kWh) | Lower Value (kWh) | Higher Value (kWh) | Lower Value (kWh) | Higher Value (kWh) | Lower Value (kWh) | Higher Value (kWh) | Lower Value (kWh) | Higher Value (kWh) | Lower Value (kWh) | Higher Value (kWh) | Lower Value (kWh) | Total Lower Value (kWh) | Total Higher Value (kWh)
2016 | 12417806.86 | 11890578.6 | 101545621.76 | 103444251.55 | 16928044.14 | 16209322.77 | 4260874.11 | 4161975.68 | 10611874.6 | 10161321.6 | 36015616.93 | 34486486.14 | 15636625.84 | 15558442.71 | 923613.54 | 918995.47 | 380124.75 | 378224.13 | 188885647.29 | 190198454.31
2017 | 11538469.04 | 11048575.22 | 83793593.04 | 88774269.4 | 3775258.08 | 3614970.3 | 7091444.98 | 6926846.64 | 10479255.12 | 10034332.8 | 49480405.26 | 47379594.06 | 31830283.98 | 31671132.56 | 0 | 0 | 376031.68 | 374151.52 | 185970179.22 | 184181851.22
2018 | 12687990.22 | 12149290.67 | 95359936.13 | 97499012.59 | 14109115.29 | 13510078.42 | 5848052.53 | 5712314.37 | 9718833.32 | 9306196.56 | 42496101.3 | 40691825.74 | 20044361.7 | 19944139.89 | 3852243.8 | 3832982.58 | 373961.39 | 372091.58 | 191593303.66 | 192794490.62
2019 | 13055043.34 | 12500759.65 | 104621632.07 | 106606402.72 | 8840004.32 | 8464680.4 | 7457770.5 | 7284669.44 | 10621922.32 | 10170942.72 | 31676486.6 | 30331584.16 | 24404955.3 | 24282930.52 | 4792717.63 | 4768754.04 | 361372.28 | 359565.42 | 190200950.19 | 190916363.36
2020 | 12673962.19 | 12135858.24 | 91509283.56 | 93720747.78 | 8219799.54 | 7870807.92 | 7214604.3 | 7047147.34 | 10627245.7 | 10176040.08 | 41521914.06 | 39759000 | 24632188.02 | 24509027.08 | 5252795.31 | 5226531.34 | 364633.66 | 362810.5 | 186713675.6 | 187587217.74

## 8-Staff-57-2
|  |  |  | Customer Name |  | Ottawa River Power Corp |  |  |  | Formerly | Pembroke Hydro and Beachburg Hydro
|  |  |  | HONI ID |  | 541044 |  |  |  | Business Partner ID: | 100819865
[10 empty] | Delivery Pt (Station Name) | Pembroke TS, Cobden TS, Almonte TS
|  |  |  | Last Revised By |  | Chen Wei |  |  |  | Effective Date | 2018-06-14
Meter Point
| Contract | Deregulation | Delivery | Summary 1 | Summary 2 | Meter Point | Channel | Operator | Delivered | Description | Ratio | MEC | Assume | Assume | Svc | CT | PT | aV2 | bI2 | eV2 | fI2 | K1 | K2 | K3 | K1 | K2 | K3 | TLF | H1 LF | TLA
| ACCT# | POD | PT . | CSS SPID | (Sub-Account) | ID | # | + or - | or Rec'd | (Location) | (3 dec.) |  | Voltage | P.F. | Type | Ratio | Ratio | Transformation |  | Radial Line |  | Transformation |  |  | Radial Line
A. RTSR Table
Pembroke TS
| 200092189575 | 10516527 | 39628242DP |  | 39628242C1RTSR
[6 empty] | 1000025560 | 1 | + | kwhdel | Pembroke TS - T1 | [17 empty] | IMOH1 | 0.006
[6 empty] | 1000025560 | 2 | + | kvarhdel | Pembroke TS - T1 | [17 empty] | IMOH1 | 0.006
[6 empty] | 1000025560 | 3 | - | kwhrec | Pembroke TS - T1 | [17 empty] | IMOH1 | 0.006
[6 empty] | 1000025560 | 4 | - | kvarhrec | Pembroke TS - T1 | [17 empty] | IMOH1 | 0.006
[6 empty] | 1000025570 | 1 | + | kwhdel | Pembroke TS - T2 | [17 empty] | IMOH1 | 0.006
[6 empty] | 1000025570 | 2 | + | kvarhdel | Pembroke TS - T2 | [17 empty] | IMOH1 | 0.006
[6 empty] | 1000025570 | 3 | - | kwhrec | Pembroke TS - T2 | [17 empty] | IMOH1 | 0.006
[6 empty] | 1000025570 | 4 | - | kvarhrec | Pembroke TS - T2 | [17 empty] | IMOH1 | 0.006
[6 empty] | 501651824SP | 1 | - | kwhdel | Walmart Canada Corp (J3741650) | [17 empty] | 0.034 |  | 0.01
[6 empty] | 501651824SP | 2 | - | kvarhdel | Walmart Canada Corp (J3741650) | [17 empty] | 0.034 |  | 0.01
[6 empty] | 501646682SP | 1 | - | kwhdel | Pembroke DS - T1 (J3690203) | [17 empty] | 0.034 |  | 0.01
[6 empty] | 501646682SP | 2 | - | kvarhdel | Pembroke DS - T1 (J3690203) | [17 empty] | 0.034 |  | 0.01
[6 empty] | 501640641SP | 1 | - | kwhdel | T1 Bank - Greenwood DS (J3690316) | [17 empty] | 0.034 |  | 0.01
[6 empty] | 501640641SP | 2 | - | kvarhdel | T1 Bank - Greenwood DS (J3690316) | [17 empty] | 0.034 |  | 0.01
[6 empty] | 501626534SP | 1 | - | kwhdel | 1600 Greenwood Inc. (J3694324) | [17 empty] | 0.034 |  | 0.01
[6 empty] | 501626534SP | 2 | - | kvarhdel | 1600 Greenwood Inc. (J3694324) | [17 empty] | 0.034 |  | 0.01
[6 empty] | 501626309SP | 1 | - | kwhdel | Roseburg Forest Products Canada Ltd. (J073472) | [17 empty] | 0.034
[6 empty] | 501626309SP | 2 | - | kvarhdel | Roseburg Forest Products Canada Ltd. (J073472) | [17 empty] | 0.034
Cobden TS
| 200092189575 | 10777291 | 43624621DP |  | 43624621C1RTSR
|  |  |  | 48924515DP |  | 501640643SP | 1 | + | kwhdel | Beachburg PME (J3690219) | [17 empty] | 0.034 |  | 0.01
[6 empty] | 501640643SP | 2 | + | kvarhdel | Beachburg PME (J3690219) | [17 empty] | 0.034 |  | 0.01
|  |  |  | 48556260DP |  | 501646683SP | 1 | + | kwhdel | Killaloe DS F2 (J3690204) | [17 empty] | 0.034 |  | 0.01
[6 empty] | 501646683SP | 2 | + | kvarhdel | Killaloe DS F2 (J3690204) | [17 empty] | 0.034 |  | 0.01
Almonte TS - NETWORK
**All negatives at 12638015C1RTSR are to be zeroed out**
| 200092189575 | 10982662 | 12638015DP |  | 12638015C1RTSR
|  |  |  | 09193211N |  | 500283749SP | 1 | + | kwhdel | Almonte PME - Hope St. (J3694537) | [17 empty] | 0.034
[6 empty] | 500283749SP | 2 | + | kvarhdel | Almonte PME - Hope St. (J3694537) | [17 empty] | 0.034
[6 empty] | 500283749SP | 3 | - | kwhrec | Almonte PME - Hope St. (J3694537)
[6 empty] | 500283749SP | 4 | - | kvarhrec | Almonte PME - Hope St. (J3694537)
|  |  |  | 13942342DP |  | 501648984SP | 1 | + | kwhdel | Almonte MS 3 (J3694157) | [17 empty] | 0.034 |  | 0.01
[6 empty] | 501648984SP | 2 | + | kvarhdel | Almonte MS 3 (J3694157) | [17 empty] | 0.034 |  | 0.01
[6 empty] | 501648984SP | 1 | + | kwhdel | Almonte MS 3 (J3694131) | [17 empty] | 0.034 |  | 0.01
[6 empty] | 501648984SP | 2 | + | kvarhdel | Almonte MS 3 (J3694131) | [17 empty] | 0.034 |  | 0.01
Almonte TS - CONNECTION
**All negatives at SPID 09193211GLB & 12638015C5RTSR are to be zeroed out**
| 200092189575 | 10982662 | 12638015DP |  | 12638015C5RTSR
|  |  |  | 09193211C |  | 500283749SP | 1 | + | kwhdel | Almonte PME - Hope St. (J3694537) | [17 empty] | 0.034
[6 empty] | 500283749SP | 2 | + | kvarhdel | Almonte PME - Hope St. (J3694537) | [17 empty] | 0.034
[6 empty] | 500283749SP | 3 | - | kwhrec | Almonte PME - Hope St. (J3694537)
[6 empty] | 500283749SP | 4 | - | kvarhrec | Almonte PME - Hope St. (J3694537)
TLA of -1% is applied to the aggregation of 0200700504ORP and 20 meter.
[5 empty] | 09193211GLBDP | 0200700504ORP | 1 | + | kwhrec | Mississippi River Co-Gen | [19 empty] | -0.01
[6 empty] | 0200700504ORP | 2 | + | kvarhrec | Mississippi River Co-Gen
[6 empty] | 20 | 1 | - | kwhdel | 2.4MW Legacy capacity
|  |  |  | 13942342DP |  | 501648984SP | 1 | + | kwhdel | Almonte MS 3 (J3694157) | [17 empty] | 0.034 |  | 0.01
[6 empty] | 501648984SP | 2 | + | kvarhdel | Almonte MS 3 (J3694157) | [17 empty] | 0.034 |  | 0.01
[6 empty] | 501648984SP | 1 | + | kwhdel | Almonte MS 3 (J3694131) | [17 empty] | 0.034 |  | 0.01
[6 empty] | 501648984SP | 2 | + | kvarhdel | Almonte MS 3 (J3694131) | [17 empty] | 0.034 |  | 0.01
B. Energy Table (with Losses) & Riders 3B & 6B(W/O Losses)
Pembroke TS
| 200092189575 | 10516527 | 39628242DP |  | 39628242C3Energy
[6 empty] | 1000025560 | 1 | + | kwhdel | Pembroke TS - T1 | [17 empty] | IMOH1 | 0.006
[6 empty] | 1000025560 | 2 | + | kvarhdel | Pembroke TS - T1 | [17 empty] | IMOH1 | 0.006
[6 empty] | 1000025560 | 3 | - | kwhrec | Pembroke TS - T1 | [17 empty] | IMOH1 | 0.006
[6 empty] | 1000025560 | 4 | - | kvarhrec | Pembroke TS - T1 | [17 empty] | IMOH1 | 0.006
[6 empty] | 1000025570 | 1 | + | kwhdel | Pembroke TS - T2 | [17 empty] | IMOH1 | 0.006
[6 empty] | 1000025570 | 2 | + | kvarhdel | Pembroke TS - T2 | [17 empty] | IMOH1 | 0.006
[6 empty] | 1000025570 | 3 | - | kwhrec | Pembroke TS - T2 | [17 empty] | IMOH1 | 0.006
[6 empty] | 1000025570 | 4 | - | kvarhrec | Pembroke TS - T2 | [17 empty] | IMOH1 | 0.006
[6 empty] | 501651824SP | 1 | - | kwhdel | Walmart Canada Corp (J3741650) | [17 empty] | 0.034 |  | 0.01
[6 empty] | 501651824SP | 2 | - | kvarhdel | Walmart Canada Corp (J3741650) | [17 empty] | 0.034 |  | 0.01
[6 empty] | 501646682SP | 1 | - | kwhdel | Pembroke DS - T1 (J3690203) | [17 empty] | 0.034 |  | 0.01
[6 empty] | 501646682SP | 2 | - | kvarhdel | Pembroke DS - T1 (J3690203) | [17 empty] | 0.034 |  | 0.01
[6 empty] | 501640641SP | 1 | - | kwhdel | T1 Bank - Greenwood DS (J3690316) | [17 empty] | 0.034 |  | 0.01
[6 empty] | 501640641SP | 2 | - | kvarhdel | T1 Bank - Greenwood DS (J3690316) | [17 empty] | 0.034 |  | 0.01
[6 empty] | 501626534SP | 1 | - | kwhdel | 1600 Greenwood Inc. (J3694324) | [17 empty] | 0.034 |  | 0.01
[6 empty] | 501626534SP | 2 | - | kvarhdel | 1600 Greenwood Inc. (J3694324) | [17 empty] | 0.034 |  | 0.01
[6 empty] | 501626309SP | 1 | - | kwhdel | Roseburg Forest Products Canada Ltd. (J073472) | [17 empty] | 0.034
[6 empty] | 501626309SP | 2 | - | kvarhdel | Roseburg Forest Products Canada Ltd. (J073472) | [17 empty] | 0.034
Cobden TS
| 200092189575 | 10777291 | 43624621DP |  | 43624621C3Energy
|  |  |  | 48924515DP |  | 501640643SP | 1 | + | kwhdel | Beachburg PME (J3690219) | [17 empty] | 0.034 |  | 0.01
[6 empty] | 501640643SP | 2 | + | kvarhdel | Beachburg PME (J3690219) | [17 empty] | 0.034 |  | 0.01
|  |  |  | 48556260DP |  | 501646683SP | 1 | + | kwhdel | Killaloe DS F2 (J3690204) | [17 empty] | 0.034 |  | 0.01
[6 empty] | 501646683SP | 2 | + | kvarhdel | Killaloe DS F2 (J3690204) | [17 empty] | 0.034 |  | 0.01
Almonte TS
**All negatives at 12638015C3Energy are to be zeroed out**
| 200092189575 | 10982662 | 12638015DP |  | 12638015C3Energy
|  |  |  | 09193211N |  | 500283749SP | 1 | + | kwhdel | Almonte PME - Hope St. (J3694537) | [17 empty] | 0.034
[6 empty] | 500283749SP | 2 | + | kvarhdel | Almonte PME - Hope St. (J3694537) | [17 empty] | 0.034
[6 empty] | 500283749SP | 3 | - | kwhrec | Almonte PME - Hope St. (J3694537)
[6 empty] | 500283749SP | 4 | - | kvarhrec | Almonte PME - Hope St. (J3694537)
|  |  |  | 13942342DP |  | 501648984SP | 1 | + | kwhdel | Almonte MS 3 (J3694157) | [17 empty] | 0.034 |  | 0.01
[6 empty] | 501648984SP | 2 | + | kvarhdel | Almonte MS 3 (J3694157) | [17 empty] | 0.034 |  | 0.01
[6 empty] | 501648984SP | 1 | + | kwhdel | Almonte MS 3 (J3694131) | [17 empty] | 0.034 |  | 0.01
[6 empty] | 501648984SP | 2 | + | kvarhdel | Almonte MS 3 (J3694131) | [17 empty] | 0.034 |  | 0.01
C. Common ST Line charges & Riders 3A, 6A & 8 (W/O losses):
Pembroke TS
| 200092189575 | 10516527 | 39628242DP |  | 39628242C7ST | 1000025560 | 1 | + | kwhdel | Pembroke TS - T1
[6 empty] | 1000025560 | 2 | + | kvarhdel | Pembroke TS - T1
[6 empty] | 1000025560 | 3 | - | kwhrec | Pembroke TS - T1
[6 empty] | 1000025560 | 4 | - | kvarhrec | Pembroke TS - T1
[6 empty] | 1000025570 | 1 | + | kwhdel | Pembroke TS - T2
[6 empty] | 1000025570 | 2 | + | kvarhdel | Pembroke TS - T2
[6 empty] | 1000025570 | 3 | - | kwhrec | Pembroke TS - T2
[6 empty] | 1000025570 | 4 | - | kvarhrec | Pembroke TS - T2
[6 empty] | 501651824SP | 1 | - | kwhdel | Walmart Canada Corp (J3741650) | [19 empty] | 0.01
[6 empty] | 501651824SP | 2 | - | kvarhdel | Walmart Canada Corp (J3741650) | [19 empty] | 0.01
[6 empty] | 501646682SP | 1 | - | kwhdel | Pembroke DS - T1 (J3690203) | [19 empty] | 0.01
[6 empty] | 501646682SP | 2 | - | kvarhdel | Pembroke DS - T1 (J3690203) | [19 empty] | 0.01
[6 empty] | 501640641SP | 1 | - | kwhdel | T1 Bank - Greenwood DS (J3690316) | [19 empty] | 0.01
[6 empty] | 501640641SP | 2 | - | kvarhdel | T1 Bank - Greenwood DS (J3690316) | [19 empty] | 0.01
[6 empty] | 501626534SP | 1 | - | kwhdel | 1600 Greenwood Inc. (J3694324) | [19 empty] | 0.01
[6 empty] | 501626534SP | 2 | - | kvarhdel | 1600 Greenwood Inc. (J3694324) | [19 empty] | 0.01
[6 empty] | 501626309SP | 1 | - | kwhdel | Roseburg Forest Products Canada Ltd. (J073472)
[6 empty] | 501626309SP | 2 | - | kvarhdel | Roseburg Forest Products Canada Ltd. (J073472)
Cobden TS
| 200092189575 | 10777291 | 43624621DP |  | 43624621C7ST
|  |  |  | 48924515DP |  | 501640643SP | 1 | + | kwhdel | Beachburg PME (J3690219) | [19 empty] | 0.01
[6 empty] | 501640643SP | 2 | + | kvarhdel | Beachburg PME (J3690219) | [19 empty] | 0.01
|  |  |  | 48556260DP |  | 501646683SP | 1 | + | kwhdel | Killaloe DS F2 (J3690204) | [19 empty] | 0.01
[6 empty] | 501646683SP | 2 | + | kvarhdel | Killaloe DS F2 (J3690204) | [19 empty] | 0.01
Almonte TS - CONNECTION
**All negatives at SPID 09193211GLB & 12638015C7ST are to be zeroed out**
| 200092189575 | 10982662 | 12638015DP |  | 12638015C7ST
|  |  |  | 09193211C |  | 500283749SP | 1 | + | kwhdel | Almonte PME - Hope St. (J3694537)
[6 empty] | 500283749SP | 2 | + | kvarhdel | Almonte PME - Hope St. (J3694537)
[6 empty] | 500283749SP | 3 | - | kwhrec | Almonte PME - Hope St. (J3694537)
[6 empty] | 500283749SP | 4 | - | kvarhrec | Almonte PME - Hope St. (J3694537)
TLA of -1% is applied to the aggregation of 0200700504ORP and 20 meter.
[5 empty] | 09193211GLBDP | 0200700504ORP | 1 | + | kwhrec | Mississippi River Co-Gen | [19 empty] | -0.01
[6 empty] | 0200700504ORP | 2 | + | kvarhrec | Mississippi River Co-Gen
[6 empty] | 20 | 1 | - | kwhdel | 2.4MW Legacy capacity
|  |  |  | 13942342DP |  | 501648984SP | 1 | + | kwhdel | Almonte MS 3 (J3694157) | [19 empty] | 0.01
[6 empty] | 501648984SP | 2 | + | kvarhdel | Almonte MS 3 (J3694157) | [19 empty] | 0.01
[6 empty] | 501648984SP | 1 | + | kwhdel | Almonte MS 3 (J3694131) | [19 empty] | 0.01
[6 empty] | 501648984SP | 2 | + | kvarhdel | Almonte MS 3 (J3694131) | [19 empty] | 0.01
NEW
REVISED
DELETED/INACTIVE POINT
BLUE TEXT INDICATES HONI LDC - RTSR AND ENERGY

## 1-SEC-5-1
Ottawa River Power Corporation
SEC Interrogatory Responses - 1-SEC-5
Table 20 - Rate Base
| Last Board Approved | 2016 | 2017 | 2018 | 2019 to Nov 30 * | 2019 | 2020 to Nov 30 ** | 2020 | 2021 to Nov 30 *** | 2021 | 2022
Net Capital Assets in Service:
Average Gross Assets | 30265128 | 12684917 | 13833139 | 15197310 | 16350824 | 16364217 | 16960380 | 16989599 | 17679880.5 | 17724210 | 19205663
Average Accumulated Depreciation | -20539657 | -2746384 | -3600161 | -4448158 | -5163218.5 | -5190285 | -5917555.125 | -5882601 | -6650072.125 | -6686437 | -7678773
Average Balance | 9725471 | 9938533 | 10232978 | 10749152 | 11187605.5 | 11173932 | 11042824.875 | 11106998 | 11029808.375 | 11037773 | 11526890
Working Capital Allowance | 2076814 | 2073726 | 1932615 | 1828968 | 1702857 | 1825450 | 1976922 | 2183328 | 1812318 | 1779541 | 1755507
Total Rate Base | 11802285 | 12012259 | 12165593 | 12578120 | 12890462.5 | 12999382 | 13019746.875 | 13290326 | 12842126.375 | 12817314 | 13282397
Eligible Distribution Expenses:
3500-Distribution Expenses - Operation | 572467 | 630729 | 565513 | 484252 | 396469.93 | 513327 | 563885.28 | 785741 | 484109.86 | 815322 | 901091
3550-Distribution Expenses - Maintenance | 728123 | 613081 | 692292 | 500384 | 600834.3 | 645567 | 478533.53 | 501236 | 580037.48 | 562975 | 576747
3650-Billing and Collecting | 733000 | 747071 | 804067 | 668041 | 611084.69 | 748224 | 788280.83 | 837380 | 649268.67 | 951322 | 962860
3700-Community Relations | 67000 | 55936 | 79674 | 71838 | 54055.48 | 64147 | 28313.88 | 30338 | 19767.94 | 41362 | 42318
3800-Administrative and General Expenses | 964375 | 886993 | 1121542 | 1076915 | 1113725.18 | 1235810 | 1110522.38 | 1203797 | 1188099.27 | 1158155 | 1225378
Total Eligible Distribution Expenses | 3064965 | 2933810 | 3263088 | 2801430 | 2776169.58 | 3207075 | 2969535.9 | 3358492 | 2921283.22 | 3529136 | 3708394
3350-Power Supply Expenses | 24625882 | 24715874 | 22505110 | 21584813 | 19928593 | 21132260 | 23389424 | 25752551 | 21242953 | 20198073 | 19698362
Total Expenses for Working Capital | 27690847 | 27649684 | 25768198 | 24386243 | 22704762.58 | 24339335 | 26358959.9 | 29111043 | 24164236.22 | 23727209 | 23406756
Working Capital Factor | 7.5% | 7.5% | 7.5% | 7.5% | 7.5% | 7.5% | 7.5% | 7.5% | 7.5% | 7.5% | 7.5%
Total Working Capital | 2076814 | 2073726 | 1932615 | 1828968 | 1702857 | 1825450 | 1976922 | 2183328 | 1812318 | 1779541 | 1755507
* | Gross asset balance at December 31 2018 of $15,942,839 compared to gross asset balance of $16,758,809 at November 30 2019.
** | Gross asset balance at November 30 2019 of $16,758,809 compared to gross asset balance of $17,161,951 at November 30 2020.
*** | Gross asset balance at November 30 2020 of $17,161,951 compared to gross asset balance of $18,197,810 at November 30 2021.
**** | Depreciation is not calculated monthly and therefore is estimated based on 11 months of depreciation.

## 1-SEC-5-2
Ottawa River Power Corporation
SEC Interrogatory Responses - 1-SEC-5
Table 23 - OM&A
| Last Board Approved | 2016 | 2017 | 2018 | 2019 to Nov 30 | 2019 | 2020 to Nov 30 | 2020 | 2021 to Nov 30 | 2021 | 2022
Operations | 529246 | 630729 | 565513 | 484252 | 396469.93 | 513327 | 563885.28 | 785741 | 484109.86 | 815322 | 901091
Maintenance | 673343 | 613081 | 692292 | 500384 | 600834.3 | 645567 | 478533.53 | 501236 | 580037.48 | 562975 | 576747
Subtotal | 1202589 | 1243810 | 1257805 | 984636 | 997304.23 | 1158894 | 1042418.81 | 1286977 | 1064147.34 | 1378297 | 1477838
% Change (year over year) |  | 3.428% | 1.125% | -21.72% |  | 17.7% | 4.524% | 11.05% | 2.084% | 7.096% | 7.222%
% Change (test Year vs Last Rebasing Year- Actual) | [9 empty] | 14.61% | 22.89%
Billing and Collecting | 733000 | 747071 | 804067 | 668041 | 611084.69 | 748224 | 788280.83 | 837380 | 649268.67 | 951322 | 962860
Community Relations | 67000 | 55936 | 79674 | 71838 | 54055.48 | 64147 | 28313.88 | 30338 | 19767.94 | 41362 | 42318
Administrative and General + LEAP | 1062375 | 886993 | 1121542 | 1076915 | 1113725.18 | 1235810 | 1110522.38 | 1203797 | 1188099.27 | 1158155 | 1225378
Subtotal | 1862375 | 1690000 | 2005283 | 1816794 | 1778865.35 | 2048181 | 1927117.09 | 2071515 | 1857135.88 | 2150839 | 2230556
% Change (year over year) |  | -9.256% | 18.66% | -9.4% |  | 12.74% | 8.334% | 1.139% | -3.631% | 3.829% | 3.706%
% Change (test Year vs Last Rebasing Year- Actual) | [9 empty] | 15.49% | 19.77%
Total | 3064964 | 2933810 | 3263088 | 2801430 | 2776169.58 | 3207075 | 2969535.9 | 3358492 | 2921283.22 | 3529136 | 3708394
% Change (year over year) |  | -4.279% | 11.22% | -14.15% |  | 14.48% | 6.965% | 4.721% | -1.625% | 5.081% | 5.079%

## 2-SEC-16
Ottawa River Power Corporation
SEC Interrogatory Responses - 2-SEC-16
Metering ($K)
Year | 2015 | 2016 | 2017 | 2018 | 2019 to Nov 30 | 2019 | 2020 to Nov 30 | 2020 | 2021 to Nov 30 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026
CAPEX ($K) | 56.3 | 7 | 35.4 | 91.4 | 98.1 | 101 | 23.9 | 39.2 | 84.2 | 60 | 95.4 | 86.1 | 68.8 | 88.8 | 56.5

## 2-SEC-17
Ottawa River Power Corporation
SEC Interrogatory Responses - 2-SEC-17
Overhead Renewal ($K)
Year | 2015 | 2016 | 2017 | 2018 | 2019 to Nov 30 | 2019 | 2020 to Nov 30 | 2020 | 2021 to Nov 30 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026
CAPEX ($K) | 304 | 358 | 519 | 745 | 251 | 272 | 156 | 173 | 326 | 381 | 441 | 463 | 484 | 524 | 544

## 3-SEC-20
Ottawa River Power Corporation
SEC Interrogatory Responses - 3-SEC-20
USoA # | USoA Description | 2019 up to Nov 30th 2019 | 2020 up to Nov 30 2020 | 2021 up to Nov 30 2021
Reporting Basis
4082 | Retail Services Revenues | -10556.9 | -11150.05 | -12330.03
4084 | Service Transaction Requests (STR) Revenues | -29.75 | -20.81 | -11.36
4086 | SSS Administration Revenue | 0 | 0 | 0
4090 | Electric Services Incidental to Energy Sales | 0 | 0 | 0
4205 | Interdepartmental Rents | 0 | 0 | 0
4210 | Rent from Electric Property | -74887.68 | -62434.53 | -63679.53
4215 | Other Utility Operating Income | 0 | 0 | 0
4220 | Other Electric Revenues | 0 | 0 | 0
4225 | Late Payment Charges | -44148.54 | -63832.42 | -55048.69
4230 | Sales of Water and Water Power | 0 | 0 | 0
4235 | Miscellaneous Service Revenues | -47246.96 | -44823.41 | -47095.55
4240 | Provision for Rate Refunds | 0 | 0 | 0
4245 | Government and Other assistance Directly Credited to Income | 0 | 0 | 0
4305 | Regulatory Debits | 0 | 0 | 0
4310 | Regulatory Credits | 0 | 0 | 0
4315 | Revenues from Electric Plant Leased to Others | 0 | 0 | 0
4320 | Expenses of Electic Plant Leased to Others | 0 | 0 | 0
4325 | Revenues from Merchandise | 0 | 0 | 0
4330 | Costs and Expenses of Merchandising | 0 | 0 | 0
4335 | Profits and Losses from Financial Instrument Hedges | 0 | 0 | 0
4340 | Profits and Losses from Financial Instrument Investments | 0 | 0 | 0
4345 | Gains from Disposition of Future Use Utility Plant | 0 | 0 | 0
4350 | Losses from Disposition of Future Use Utility Plant | 0 | 0 | 0
4355 | Gain on Disposition of Utility and Other Property | -43872 | 0 | 0
4357 | Gain from Retirement of Utility and Other Property | 0 | 0 | 0
4360 | Loss on Disposition of Utility and Other Property | 0 | 0 | 0
4362 | Loss from Retirement of Utility and Other Property | 0 | 0 | 0
4365 | Gains from Disposition of Allowances for Emission | 0 | 0 | 0
4370 | Losses fromDisposition of Allowances for Emission | 0 | 0 | 0
4375 | Revenues from Non Rate-Regulated Utility Operations | -392159.03 | -395695.34 | -272270.56
4380 | Expenses of Non Rate-Regulated Utility Operations | 293475.56 | 304825.3 | 231086.36
4385 | Non Rate-Regulated Utility Rental Income | 0 | 0 | 0
4390 | Miscellaneous Non-Operating Income | -1284.47 | -20728.68 | -18096.8
4395 | Rate-Payer Benefit Including Interest | 0 | 0 | 0
4398 | Foreign Exchange Gains and Losses, Including Amortization | 0 | 0 | 0
4405 | Interest and Dividend Income | -12482.64 | -5457.15 | 0
4410 | Lessor's New Investment in Finance Lease | 0 | 0 | 0
4415 | Equity in Earning of Subsidiary Companies | 0 | 0 | 0
4420 | Share of Profit or Loss of Joing Venture | 0 | 0 | 0

## 9-SEC-30
Ottawa River Power Corporation
SEC Interrogatory Responses - 9-SEC-30
Schedule 8 CCA - 2019
(1) Class | Class Description | (2) - 1 Non-Accelerated Undepreciated capital cost (UCC) at the beginning of the year | (2) - 2 Accelerated Undepreciated capital cost (UCC) at the beginning of the year | (3) Cost of acquisitions during the year | (4) Cost of acquisitions from column 3 that are accelerated investment incentive property (AIIP) | (5) Adjustments and transfers (enter amounts that will reduce the UCC as negatives) | (8) Proceeds of dispositions | (9) UCC (column 2 plus column 3 plus or minus column 5 minus column 8) | (10) Proceeds of disposition available to reduce the UCC of AIIP (column 8 plus column 6 minus column 3 plus column 4 minus column 7) (if negative, enter "0") | (11) Net capital cost additions of AIIP acquired during the year (column 4 minus column 10) | Relevant factor | (12) UCC adjustment for AIIP acquired during the year (column 11 multiplied by the relevant factor) | (14) CCA Rate % | (17) CCA (for declining balance method, the result of column 9 plus column 12 minus column 13, multiplied by column 14) | (18) CCA (for declining balance method with accelerated CCA, the result of column 2 plus the result of column 3 multiplied by 1.5 multiplied by column 14) | (19) - 1 Non-Accelerated UCC at the end of the year (column 9 minus column 17) | (19) - 2 Accelerated UCC at the end of the year (column 9 minus column 17) | Accumulated Accelerated CCA Difference
1 | Buildings, Distribution System (acq'd post 1987) | 378647 | 378647 | 4189 | 4189 |  |  | 382836 | 0 | 4189 | 0.5 | 2094.5 | 4% | 15229.66 | 15397.22 | 367606.34 | 367438.78 | -167.56
13 2 | Distribution System (acq'd pre 1988) | 3268404 | 3268404 |  |  |  |  | 3268404 | 0 | 0 | 0.5 | 0 | 6% | 196104.24 | 196104.24 | 3072299.76 | 3072299.76 | 0
8 | General Office Equipment, Furniture, Fixtures | 278291 | 278291 | 392819 | 392819 |  | 194979 | 476131 | 194979 | 197840 | 0.5 | 98920 | 20% | 75442.2 | 115010.2 | 400688.8 | 361120.8 | -39568
14.1 | Eligible Capital Property (acq'd pre Jan 1, 2017) | 1331310 | 1331310 |  |  |  |  | 1331310 | 0 | 0 | 0.5 | 0 | 7% | 93191.7 | 93191.7 | 1238118.3 | 1238118.3 | 0
12 | Computer Application Software (Non-Systems) | 5737 | 5737 | 16660 |  |  |  | 22397 | 0 | 0 | 0 | 0 | 100% | 22397 | 22397 | 0 | 0 | 0
45 | Computers & System Software (acq'd post Mar 22/04 and pre Mar 19/07) | 4237 | 4237 | 13429 | 13429 |  |  | 17666 | 0 | 13429 | 0 | 0 | 45% | 4928.175 | 10971.23 | 12737.825 | 6694.77 | -6043.055
47 | Distribution System (acq'd post Feb 22/05) | 6992549 | 6992549 | 747976 | 747976 |  |  | 7740525 | 0 | 747976 | 0.5 | 373988 | 8% | 589322.96 | 649161.04 | 7151202.04 | 7091363.96 | -59838.08
50 | General Purpose Computer Hardware & Software (acq'd post Mar 18/07) | 6829 | 6829 |  |  |  |  | 6829 | 0 | 0 | 0.5 | 0 | 55% | 3755.95 | 3755.95 | 3073.05 | 3073.05 | 0
95 | CWIP | 58854 | 58854 |  |  | -58854 |  | 0 | 0 | 0 | 0 | 0 | 0% | 0 | 0 | 0 | 0 | 0
10 | Computer Hardware & Vehicles | 369817 | 369817 |  |  |  |  | 369817 | 0 | 0 | 0.5 | 0 | 30% | 110945.1 | 110945.1 | 258871.9 | 258871.9 | 0
|  | 0 | 0 |  |  |  |  | 0 | 0 | 0 |  | 0 |  |  |  | 0 | 0 | 0
| TOTALS | 12694675 | 12694675 | 1175073 | 1158413 | -58854 | 194979 | 13615915 | 194979 | 963434 |  | 475002.5 |  | 1111316.985 | 1216933.68 | 12504598.015 | 12398981.32 | -105616.695
[14 empty] | CCA Impact | 105616.695
[14 empty] | Tax Rate | 26.5%
[14 empty] | Tax Impact | 27988
[14 empty] | 1592 Entry (Grossed-Up) | 38079
Schedule 8 CCA - 2020
(1) Class | Class Description | (2) - 1 Non-Accelerated Undepreciated capital cost (UCC) at the beginning of the year | (2) - 2 Accelerated Undepreciated capital cost (UCC) at the beginning of the year | (3) Cost of acquisitions during the year | (4) Cost of acquisitions from column 3 that are accelerated investment incentive property (AIIP) | (5) Adjustments and transfers (enter amounts that will reduce the UCC as negatives) | (8) Proceeds of dispositions | (9) UCC (column 2 plus column 3 plus or minus column 5 minus column 8) | (10) Proceeds of disposition available to reduce the UCC of AIIP (column 8 plus column 6 minus column 3 plus column 4 minus column 7) (if negative, enter "0") | (11) Net capital cost additions of AIIP acquired during the year (column 4 minus column 10) | Relevant factor | (12) UCC adjustment for AIIP acquired during the year (column 11 multiplied by the relevant factor) | (14) CCA Rate % | (17) CCA (for declining balance method, the result of column 9 plus column 12 minus column 13, multiplied by column 14) | (18) CCA (for declining balance method with accelerated CCA, the result of column 2 plus the result of column 3 multiplied by 1.5 multiplied by column 14) | (19) - 1 Non-Accelerated UCC at the end of the year (column 9 minus column 17) | (19) - 2 Accelerated UCC at the end of the year (column 9 minus column 17) | Accumulated Accelerated CCA Difference
1 | Buildings, Distribution System (acq'd post 1987) | 367606.34 | 367438.78 | 50192 | 50192 |  |  | 417630.78 | 0 | 50192 | 0.5 | 25096 | 4% | 15708.0936 | 17709.07 | 402090.2464 | 399921.71 | -2168.5364
13 2 | Distribution System (acq'd pre 1988) | 3072299.76 | 3072299.76 |  |  |  |  | 3072299.76 | 0 | 0 | 0.5 | 0 | 6% | 184337.9856 | 184337.99 | 2887961.7744 | 2887961.77 | -0.0044
8 | General Office Equipment, Furniture, Fixtures | 400688.8 | 361120.8 | 84526 | 84526 |  |  | 445646.8 | 0 | 84526 | 0.5 | 42263 | 20% | 88590.36 | 97581.96 | 396624.44 | 348064.84 | -48559.6
14.1 | Eligible Capital Property (acq'd pre Jan 1, 2017) | 1238118.3 | 1238118.3 |  |  |  |  | 1238118.3 | 0 | 0 | 0.5 | 0 | 7% | 86668.281 | 86668.28 | 1151450.019 | 1151450.02 | 0.001
12 | Computer Application Software (Non-Systems) | 0 | 0 | 5473 |  |  |  | 5473 | 0 | 0 | 0 | 0 | 100% | 5473 | 5473 | 0 | 0 | 0
45 | Computers & System Software (acq'd post Mar 22/04 and pre Mar 19/07) | 12737.825 | 6694.77 | 32757 | 32757 |  |  | 39451.77 | 0 | 32757 | 0 | 0 | 45% | 13102.3463 | 25123.62 | 32392.4787 | 14328.15 | -18064.3287
47 | Distribution System (acq'd post Feb 22/05) | 7151202.04 | 7091363.96 | 2555375 | 2555375 |  |  | 9646738.96 | 0 | 2555375 | 0.5 | 1277687.5 | 8% | 674311.1632 | 873954.12 | 9032265.8768 | 8772784.84 | -259481.0368
50 | General Purpose Computer Hardware & Software (acq'd post Mar 18/07) | 3073.05 | 3073.05 |  |  |  |  | 3073.05 | 0 | 0 | 0.5 | 0 | 55% | 1690.1775 | 1690.18 | 1382.8725 | 1382.87 | -0.0025
95 | CWIP | 0 | 0 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0% | 0 | 0 | 0 | 0 | 0
10 | Computer Hardware & Vehicles | 258871.9 | 258871.9 |  |  |  |  | 258871.9 | 0 | 0 | 0.5 | 0 | 30% | 77661.57 | 77661.57 | 181210.33 | 181210.33 | 0
|  | 0 | 0 |  |  |  |  | 0 | 0 | 0 |  | 0 |  |  |  | 0 | 0 | 0
| TOTALS | 12504598.015 | 12398981.32 | 2728323 | 2722850 | 0 | 0 | 15127304.32 | 0 | 2722850 |  | 1345046.5 |  | 1147542.9772 | 1370199.79 | 14085378.0378 | 13757104.53 | -328273.5078
[14 empty] | CCA Impact | 222656.8128
[14 empty] | Tax Rate | 26.5%
[14 empty] | Tax Impact | 59004
[14 empty] | 1592 Entry (Grossed-Up) | 80278
Schedule 8 CCA - 2021
(1) Class | Class Description | (2) - 1 Non-Accelerated Undepreciated capital cost (UCC) at the beginning of the year | (2) - 2 Accelerated Undepreciated capital cost (UCC) at the beginning of the year | (3) Cost of acquisitions during the year | (4) Cost of acquisitions from column 3 that are accelerated investment incentive property (AIIP) | (5) Adjustments and transfers (enter amounts that will reduce the UCC as negatives) | (8) Proceeds of dispositions | (9) UCC (column 2 plus column 3 plus or minus column 5 minus column 8) | (10) Proceeds of disposition available to reduce the UCC of AIIP (column 8 plus column 6 minus column 3 plus column 4 minus column 7) (if negative, enter "0") | (11) Net capital cost additions of AIIP acquired during the year (column 4 minus column 10) | Relevant factor | (12) UCC adjustment for AIIP acquired during the year (column 11 multiplied by the relevant factor) | (14) CCA Rate % | (17) CCA (for declining balance method, the result of column 9 plus column 12 minus column 13, multiplied by column 14) | (18) CCA (for declining balance method with accelerated CCA, the result of column 2 plus the result of column 3 multiplied by 1.5 multiplied by column 14) | (19) - 1 Non-Accelerated UCC at the end of the year (column 9 minus column 17) | (19) - 2 Accelerated UCC at the end of the year (column 9 minus column 17) | Accumulated Accelerated CCA Difference
1 | Buildings, Distribution System (acq'd post 1987) | 402090.2464 | 399921.71 | 10343 | 10343 |  |  | 410264.71 | 0 | 10343 | 0.5 | 5171.5 | 4% | 16290.4699 | 16617.45 | 396142.7765 | 393647.26 | -2495.5165
13 2 | Distribution System (acq'd pre 1988) | 2887961.7744 | 2887961.77 |  |  |  |  | 2887961.77 | 0 | 0 | 0.5 | 0 | 6% | 173277.7065 | 173277.71 | 2714684.0679 | 2714684.06 | -0.007936
8 | General Office Equipment, Furniture, Fixtures | 396624.44 | 348064.84 | 36561 | 36561 |  |  | 384625.84 | 0 | 36561 | 0.5 | 18280.5 | 20% | 82980.988 | 80581.27 | 350204.452 | 304044.57 | -46159.882
14.1 | Eligible Capital Property (acq'd pre Jan 1, 2017) | 1151450.019 | 1151450.02 |  |  |  |  | 1151450.02 | 0 | 0 | 0.5 | 0 | 7% | 80601.5013 | 80601.5 | 1070848.5177 | 1070848.52 | 0.00233
12 | Computer Application Software (Non-Systems) | 0 | 0 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 100% | 0 | 0 | 0 | 0 | 0
45 | Computers & System Software (acq'd post Mar 22/04 and pre Mar 19/07) | 32392.4787 | 14328.15 |  |  |  |  | 14328.15 | 0 | 0 | 0 | 0 | 45% | 14576.6154 | 6447.67 | 17815.8633 | 7880.48 | -9935.3833
47 | Distribution System (acq'd post Feb 22/05) | 9032265.8768 | 8772784.84 | 859188 | 859188 |  |  | 9631972.84 | 0 | 859188 | 0.5 | 429594 | 8% | 756948.7901 | 804925.35 | 9134505.0867 | 8827047.49 | -307457.5967
50 | General Purpose Computer Hardware & Software (acq'd post Mar 18/07) | 1382.8725 | 1382.87 | 336273 | 336273 |  |  | 337655.87 | 0 | 336273 | 0.5 | 168136.5 | 55% | 93235.6549 | 278185.8 | 244420.2176 | 59470.07 | -184950.1476
95 | CWIP | 0 | 0 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0% | 0 | 0 | 0 | 0 | 0
10 | Computer Hardware & Vehicles | 181210.33 | 181210.33 | 13602 | 13602 |  |  | 194812.33 | 0 | 13602 | 0.5 | 6801 | 30% | 56403.399 | 60484 | 138408.931 | 134328.33 | -4080.601
|  | 0 | 0 |  |  |  |  | 0 | 0 | 0 |  | 0 |  |  |  | 0 | 0 | 0
| TOTALS | 14085378.0378 | 13757104.53 | 1255967 | 1255967 | 0 | 0 | 15013071.53 | 0 | 1255967 |  | 627983.5 |  | 1274315.1251 | 1501120.75 | 14067029.9127 | 13511950.78 | -555079.1327
[14 empty] | CCA Impact | 226805.6249
[14 empty] | Tax Rate | 26.5%
[14 empty] | Tax Impact | 60103
[14 empty] | 1592 Entry (Grossed-Up) | 81773

## 2-VECC-6
Ottawa River Power Corporation
VECC Interrogatory Responses - 2-VECC-6
DSP Category | Proposed DSP Program | 2016 | 2017 | 2018 | 2019 | 2020 | 2021
System Access | Customer Connections | 72.794 | 49.801 | 265.687 | 366.675 | 69.67 | 121.147
| Metering | 6.665 | 35.4 | 91.4 | 101.416 | 39.2 | 60
| Externally Initiated Plant Relocation | 0 | 14.909 | 0 | 0 | 14.854 | 0
System Renewal | UG Renewal | 36.548 | 62.178 | 90.096 | 26.74 | 48.57 | 96.367
| OH Renewal | 461.184 | 518.84 | 745.251 | 302.008 | 172.826 | 381
| Stations | 79.486 | 24.949 | 25.309 | 0 | 0 | 57.617
System Service | System Enhancement | 167.879 | 117.344 | 74.309 | 64.35 | 16.248 | 1.134
| Station Expansion | 0 | 39.13 | 147.575 | 42.126 | 27.983 | 46.25
General Plant | Information Technology | 22.739 | 40.277 | 16.92 | 30.089 | 38.23 | 235.647
| Fleet | 116.565 | 322.428 | 30.998 | 390.985 | 53.554 | 3.602
| Operational Technology | 0 | 0.999 | 3.18 | 0 | 5.746 | 81.833
| Facilities | 95.301 | 11.03 | 0.373 | 6.023 | 64.21 | 72.237
Total |  | 1059.161 | 1237.285 | 1491.098 | 1330.412 | 551.091 | 1156.834

## 3-VECC-12-1
Ottawa River Power Corporation
VECC Interrogatory Responses - 3-VECC-12
| Actual | Predicted Incl HDD&CDD | Predicted W/O HDD | Predicted W/O CDD | Load attributed to HDD | Load attributed to CDD | Actual HDD | Actual CDD | Weather normalized HDD | Weather normalized CDD | Impact of HDD on load | Impact of CDD on load | Yearly total (HDD) | Yearly total (CDD)
2014-01-01 | 20000992 | 20148222.3226 | 13383822.1444 | 20148222.3226 | 33.57% | 0% | 918.3 | 0 | 609.9974 | 0 | -4492456.9235 | 0
2014-02-01 | 19226108 | 18122589.0443 | 12279702.8685 | 18122589.0443 | 32.24% | 0% | 793.2 | 0 | 537.4652 | 0 | -3958293.5104 | 0
2014-03-01 | 17456700 | 18005439.3152 | 12233269.1257 | 18005439.3152 | 32.06% | 0% | 783.6 | 0 | 532.3941 | 0 | -3920948.3564 | 0
2014-04-01 | 15348468 | 14695331.366 | 11865229.3671 | 14695331.366 | 19.26% | 0% | 384.2 | 0 | 310.2088 | 0 | -2284682.1464 | 0
2014-05-01 | 14153569 | 13333505.5565 | 12395785.6667 | 13170989.0155 | 7.033% | 1.219% | 127.3 | 8.8 | 118.3472 | 8.6927 | -871644.4902 | -160526.8916
2014-06-01 | 15797161 | 14179198.2642 | 14029663.9941 | 13165316.6559 | 1.055% | 7.15% | 20.3 | 54.9 | 20.0859 | 50.9744 | -147936.9674 | -941329.2267
2014-07-01 | 14657239 | 14600319.1347 | 14543599.2384 | 13440542.0407 | 0.3885% | 7.944% | 7.7 | 62.8 | 7.6701 | 57.8115 | -56491.8449 | -1067587.3215
2014-08-01 | 14519949 | 14571961.8354 | 14414324.7199 | 13541459.2599 | 1.082% | 7.072% | 21.4 | 55.8 | 21.1685 | 51.8539 | -155910.4126 | -957571.4942
2014-09-01 | 11739127 | 13076627.744 | 12264133.6024 | 12677723.5087 | 6.213% | 3.051% | 110.3 | 21.6 | 103.4467 | 20.9411 | -761900.8429 | -386714.0023
2014-10-01 | 14153187 | 14190267.485 | 12290519.2678 | 14133017.3429 | 13.39% | 0.4034% | 257.9 | 3.1 | 223.3732 | 3.0875 | -1645157.9152 | -57016.0673
2014-11-01 | 16001154 | 15626421.5899 | 11865229.3671 | 15626421.5899 | 24.07% | 0% | 510.6 | 0 | 387.7014 | 0 | -2855383.5178 | 0
2014-12-01 | 18583492 | 18513658.2675 | 13383822.1444 | 18513658.2675 | 27.71% | 0% | 696.4 | 0 | 503.4388 | 0 | -3707744.6235 | 0 | -24858551.5512 | -3570745.0037
2015-01-01 | 21169014 | 19971433.031 | 13383822.1444 | 19971433.031 | 32.99% | 0% | 894.3 | 0 | 599.3136 | 0 | -4413781.7307 | 0
2015-02-01 | 19674788 | 19700162.2959 | 12647742.6271 | 19700162.2959 | 35.8% | 0% | 957.4 | 0 | 614.6624 | 0 | -4526781.0876 | 0
2015-03-01 | 17918948 | 17584091.8633 | 12233269.1257 | 17584091.8633 | 30.43% | 0% | 726.4 | 0 | 505.3572 | 0 | -3721845.7307 | 0
2015-04-01 | 14694600 | 14408048.7672 | 11865229.3671 | 14408048.7672 | 17.65% | 0% | 345.2 | 0 | 284.277 | 0 | -2093701.9494 | 0
2015-05-01 | 13446687 | 13336851.6048 | 12667262.1518 | 12902858.5787 | 5.021% | 3.254% | 90.9 | 23.5 | 86.3363 | 22.7353 | -635881.1294 | -419846.9988
2015-06-01 | 13517818 | 13728166.3033 | 13431307.6235 | 13312641.0655 | 2.162% | 3.027% | 40.3 | 22.5 | 39.4285 | 21.819 | -290399.0712 | -402925.579
2015-07-01 | 15502230 | 15357498.5273 | 15300778.631 | 13440542.0407 | 0.3693% | 12.48% | 7.7 | 103.8 | 7.6716 | 90.8435 | -56502.7088 | -1677573.9625
2015-08-01 | 14963674 | 14751765.4043 | 14698728.6182 | 13436858.9304 | 0.3595% | 8.914% | 7.2 | 71.2 | 7.1741 | 64.8535 | -52838.9003 | -1197630.3619
2015-09-01 | 14378950 | 13161070.0413 | 12820014.0386 | 12206285.3698 | 2.591% | 7.255% | 46.3 | 51.7 | 45.1002 | 47.9494 | -332171.5548 | -885467.024
2015-10-01 | 14521149 | 14527110.1387 | 12233269.1257 | 14527110.1387 | 15.79% | 0% | 311.4 | 0 | 262.2297 | 0 | -1931330.3609 | 0
2015-11-01 | 14184881 | 14940626.4181 | 11865229.3671 | 14940626.4181 | 20.58% | 0% | 417.5 | 0 | 331.5613 | 0 | -2441935.8525 | 0
2015-12-01 | 16492590 | 16994006.8473 | 13383822.1444 | 16994006.8473 | 21.24% | 0% | 490.1 | 0 | 385.9838 | 0 | -2842751.4762 | 0 | -23339921.5524 | -4583443.9262
2016-01-01 | 18777272 | 18621204.9067 | 13383822.1444 | 18621204.9067 | 28.13% | 0% | 711 | 0 | 511.0248 | 0 | -3763610.1147 | 0
2016-02-01 | 18020234 | 17237169.2525 | 12279702.8685 | 17237169.2525 | 28.76% | 0% | 673 | 0 | 479.443 | 0 | -3531009.5695 | 0
2016-03-01 | 16547274 | 15945844.2484 | 12233269.1257 | 15945844.2484 | 23.28% | 0% | 504 | 0 | 386.6567 | 0 | -2847694.3738 | 0
2016-04-01 | 14489292 | 14524643.9095 | 11939100.5205 | 14450772.7561 | 17.8% | 0.5086% | 351 | 4 | 288.5182 | 3.9797 | -2124937.6195 | -73491.4494
2016-05-01 | 13609041 | 14572748.9383 | 13784563.3467 | 13021454.7172 | 5.409% | 10.65% | 107 | 84 | 101.2128 | 75.0581 | -745448.5264 | -1386072.2537
2016-06-01 | 14339192 | 15737286.6473 | 15508933.8124 | 13244135.2207 | 1.451% | 15.84% | 31 | 135 | 30.5502 | 113.6129 | -225008.3509 | -2098043.3418
2016-07-01 | 15631801 | 17084641.5597 | 17040444.2368 | 13428019.4672 | 0.2587% | 21.4% | 6 | 198 | 5.9845 | 155.6221 | -44076.9832 | -2873798.0128
2016-08-01 | 16274410 | 17346925.9439 | 17317461.062 | 13413287.0263 | 0.1699% | 22.68% | 4 | 213 | 3.9932 | 164.6995 | -29410.832 | -3041422.5637
2016-09-01 | 13512285 | 13843973.3246 | 13490394.7415 | 12218807.9502 | 2.554% | 11.74% | 48 | 88 | 46.7741 | 77.6695 | -344500.0741 | -1434296.6784
2016-10-01 | 14356792 | 14090288.007 | 12491818.1626 | 13831738.9702 | 11.34% | 1.835% | 217 | 14 | 192.3825 | 13.7431 | -1416914.6669 | -253790.7994
2016-11-01 | 16182465 | 14598097.1657 | 11865229.3671 | 14598097.1657 | 18.72% | 0% | 371 | 0 | 301.5462 | 0 | -2220884.3303 | 0
2016-12-01 | 18458396 | 18083470.8116 | 13383822.1444 | 18083470.8116 | 25.99% | 0% | 638 | 0 | 472.1925 | 0 | -3477635.5265 | 0 | -20771130.9677 | -11160915.0993
2017-01-01 | 18022586 | 18779578.6471 | 13383822.1444 | 18779578.6471 | 28.73% | 0% | 732.5 | 0 | 522.0378 | 0 | -3844712.7042 | 0
2017-02-01 | 16020293 | 17156877.2695 | 12279702.8685 | 17156877.2695 | 28.43% | 0% | 662.1 | 0 | 473.8852 | 0 | -3490080.8614 | 0
2017-03-01 | 17528308 | 17623132.7419 | 12233269.1257 | 17623132.7419 | 30.58% | 0% | 731.7 | 0 | 507.9167 | 0 | -3740694.3463 | 0
2017-04-01 | 13857420 | 14240161.4908 | 11887390.714 | 14218000.1439 | 16.52% | 0.1556% | 319.4 | 1.2 | 266.6285 | 1.1981 | -1963724.5945 | -22125.6577
2017-05-01 | 13454130 | 13803854.3414 | 12401326.0067 | 13635797.4604 | 10.16% | 1.217% | 190.4 | 9.1 | 171.0546 | 8.9892 | -1259835.2092 | -166001.7468
2017-06-01 | 13679982 | 14230612.9371 | 13846832.8613 | 13399562.4616 | 2.697% | 5.84% | 52.1 | 45 | 50.6949 | 42.3721 | -373377.9302 | -782473.1246
2017-07-01 | 14921619 | 14597424.8864 | 14562067.0267 | 13419180.0041 | 0.2422% | 8.072% | 4.8 | 63.8 | 4.7884 | 58.6503 | -35267.4137 | -1083077.918
2017-08-01 | 13912077 | 14523830.6781 | 14325679.35 | 13581973.4725 | 1.364% | 6.485% | 26.9 | 51 | 26.533 | 47.6927 | -195420.9999 | -880727.6063
2017-09-01 | 14159111 | 13339716.5731 | 12825554.3611 | 12379391.5792 | 3.854% | 7.199% | 69.8 | 52 | 67.1097 | 48.2565 | -494274.6588 | -891139.2675
2017-10-01 | 13514543 | 13660863.5725 | 12240656.2412 | 13653476.457 | 10.4% | 0.05408% | 192.8 | 0.4 | 172.7562 | 0.39978 | -1272367.2036 | -7382.7207
2017-11-01 | 15746453 | 15728812.0096 | 11865229.3671 | 15728812.0096 | 24.56% | 0% | 524.5 | 0 | 395.6632 | 0 | -2914018.0101 | 0
2017-12-01 | 19365328 | 19802009.96 | 13383822.1444 | 19802009.96 | 32.41% | 0% | 871.3 | 0 | 588.896 | 0 | -4337066.0494 | 0 | -23920839.9813 | -3832928.0416
2018-01-01 | 20404496 | 19877145.4988 | 13383822.1444 | 19877145.4988 | 32.67% | 0% | 881.5 | 0 | 593.5379 | 0 | -4371249.2582 | 0
2018-02-01 | 16526093 | 17027968.411 | 12279702.8685 | 17027968.411 | 27.89% | 0% | 644.6 | 0 | 464.8526 | 0 | -3423562.2569 | 0
2018-03-01 | 16711790 | 16586705.4303 | 12233269.1257 | 16586705.4303 | 26.25% | 0% | 591 | 0 | 435.8829 | 0 | -3210218.686 | 0
2018-04-01 | 14958390 | 15212439.9089 | 11865229.3671 | 15212439.9089 | 22% | 0% | 454.4 | 0 | 354.4178 | 0 | -2610265.4096 | 0
2018-05-01 | 13429315 | 13336444.1516 | 12523213.3992 | 13046499.8781 | 6.098% | 2.174% | 110.4 | 15.7 | 103.668 | 15.3587 | -763531.053 | -283624.9628
2018-06-01 | 13794713 | 13971598.9367 | 13684316.3379 | 13303064.9845 | 2.056% | 4.785% | 39 | 36.2 | 38.1981 | 34.4678 | -281336.5048 | -636508.7283
2018-07-01 | 17209928 | 16281418.0231 | 16281418.0231 | 13383822.1444 | 0% | 17.8% | 0 | 156.9 | 0 | 128.9766 | 0 | -2381755.2348
2018-08-01 | 16486570 | 15541523.3406 | 15515004.9476 | 13410340.5374 | 0.1706% | 13.71% | 3.6 | 115.4 | 3.5939 | 99.5754 | -26469.5432 | -1838821.8765
2018-09-01 | 14085299 | 13492435.0553 | 12779384.8902 | 12578279.5322 | 5.285% | 6.775% | 96.8 | 49.5 | 91.6843 | 46.1462 | -675269.9424 | -852169.0538
2018-10-01 | 13706313 | 14891406.3972 | 12246196.5773 | 14878478.9456 | 17.76% | 0.08681% | 359.1 | 0.7 | 295.3119 | 0.69939 | -2174973.1998 | -12915.5289
2018-11-01 | 16998622 | 16281278.5458 | 11865229.3671 | 16281278.5458 | 27.12% | 0% | 599.5 | 0 | 436.8947 | 0 | -3217663.2936 | 0
2018-12-01 | 18482962 | 19030766.5856 | 13383822.1444 | 19030766.5856 | 29.67% | 0% | 766.6 | 0 | 539.129 | 0 | -3970576.0562 | 0 | -24725115.2036 | -6005795.3851
2019-01-01 | 20436388 | 20270501.8524 | 13383822.1444 | 20270501.8524 | 33.97% | 0% | 934.9 | 0 | 617.278 | 0 | -4546070.9424 | 0
2019-02-01 | 17556826 | 18262275.968 | 12647742.6271 | 18262275.968 | 30.74% | 0% | 762.2 | 0 | 527.8701 | 0 | -3887645.1458 | 0
2019-03-01 | 17503896 | 17139908.4086 | 12233269.1257 | 17139908.4086 | 28.63% | 0% | 666.1 | 0 | 475.4156 | 0 | -3501349.9841 | 0
2019-04-01 | 14640514 | 14802878.0052 | 11865229.3671 | 14802878.0052 | 19.85% | 0% | 398.8 | 0 | 319.6577 | 0 | -2354269.8395 | 0
2019-05-01 | 13311114 | 13803747.3099 | 12233269.1257 | 13803747.3099 | 11.38% | 0% | 213.2 | 0 | 188.9438 | 0 | -1391588.6489 | 0
2019-06-01 | 13318967 | 13994951.4378 | 13606751.6128 | 13403982.2107 | 2.774% | 4.223% | 52.7 | 32 | 51.2382 | 30.6487 | -377378.9955 | -565982.1726
2019-07-01 | 17153264 | 15841884.8859 | 15841884.8859 | 13383822.1444 | 0% | 15.52% | 0 | 133.1 | 0 | 112.4479 | 0 | -2076531.02
2019-08-01 | 14842729 | 14442264.122 | 14395856.9316 | 13430229.3348 | 0.3213% | 7.007% | 6.3 | 54.8 | 6.2798 | 50.9599 | -46251.7676 | -941062.1134
2019-09-01 | 12965879 | 12799373.1782 | 12033286.2481 | 12631316.2972 | 5.985% | 1.313% | 104 | 9.1 | 97.7752 | 8.9805 | -720129.92 | -165841.1764
2019-10-01 | 13942630 | 14345901.0699 | 12233269.1257 | 14345901.0699 | 14.73% | 0% | 286.8 | 0 | 244.5647 | 0 | -1801230.8127 | 0
2019-11-01 | 16667058 | 16215719.0036 | 11865229.3671 | 16215719.0036 | 26.83% | 0% | 590.6 | 0 | 432.1488 | 0 | -3182712.8361 | 0
2019-12-01 | 18577098 | 18666875.5636 | 13383822.1444 | 18666875.5636 | 28.3% | 0% | 717.2 | 0 | 514.2198 | 0 | -3787139.1276 | 0 | -25595768.0203 | -3749416.4825
2020-01-01 | 18899306 | 18949738.1603 | 13383822.1444 | 18949738.1603 | 29.37% | 0% | 755.6 | 0 | 533.6652 | 0 | -3930339.623 | 0
2020-02-01 | 17549676 | 17626842.4959 | 12279702.8685 | 17626842.4959 | 30.34% | 0% | 725.9 | 0 | 505.6967 | 0 | -3724347.4671 | 0
2020-03-01 | 16419428 | 16370875.2601 | 12233269.1257 | 16370875.2601 | 25.27% | 0% | 561.7 | 0 | 419.7349 | 0 | -3091297.7922 | 0
2020-04-01 | 13894510 | 14746158.2424 | 11865229.3671 | 14746158.2424 | 19.54% | 0% | 391.1 | 0 | 314.6915 | 0 | -2317696.0315 | 0
2020-05-01 | 13635457 | 14131781.7418 | 12707891.3003 | 13657159.5673 | 10.08% | 3.359% | 193.3 | 25.7 | 173.8235 | 24.8369 | -1280228.6668 | -458656.0692
2020-06-01 | 14359977 | 14645184.7746 | 14315914.7134 | 13345052.4469 | 2.248% | 8.878% | 44.7 | 70.4 | 43.695 | 64.1502 | -321822.308 | -1184642.1211
2020-07-01 | 17990168 | 16815137.2753 | 16815137.2753 | 13383822.1444 | 0% | 20.41% | 0 | 185.8 | 0 | 147.8855 | 0 | -2730931.3965
2020-08-01 | 15013728 | 14871793.0943 | 14683954.4721 | 13571660.7666 | 1.263% | 8.742% | 25.5 | 70.4 | 25.1779 | 64.2454 | -185440.6089 | -1186400.8252
2020-09-01 | 12869208 | 12981681.9043 | 12031439.4622 | 12815471.8092 | 7.32% | 1.28% | 129 | 9 | 119.5574 | 8.8848 | -880556.8582 | -164073.0322
2020-10-01 | 13977501 | 14644969.6664 | 12233269.1257 | 14644969.6664 | 16.47% | 0% | 327.4 | 0 | 273.4845 | 0 | -2014219.6089 | 0
2020-11-01 | 15001741 | 15031967.5071 | 11865229.3671 | 15031967.5071 | 21.07% | 0% | 429.9 | 0 | 339.3343 | 0 | -2499181.1392 | 0
2020-12-01 | 17976518 | 18149766.7959 | 13383822.1444 | 18149766.7959 | 26.26% | 0% | 647 | 0 | 477.1044 | 0 | -3513808.7015 | 0 | -23758938.8053 | -5724703.4442
2021-01-01 |  | 20074162.5887 | 13941152.6732 | 19516832.0598 | 30.55% | 2.776% | 832.5857 | 30.1785 | 578.2161 | 29.3407 | -4258434.5997 | -541826.852
2021-02-01 |  | 18329145.3048 | 12837733.1419 | 17771115.0314 | 29.96% | 3.044% | 745.4857 | 30.2164 | 522.1382 | 29.2965 | -3845439.273 | -541010.8321
2021-03-01 |  | 17595301.0561 | 12791999.1436 | 17036571.0383 | 27.3% | 3.175% | 652.0714 | 30.2543 | 474.0639 | 29.2936 | -3491406.9584 | -540957.5601
2021-04-01 |  | 15207091.0752 | 12424659.1295 | 14647661.3128 | 18.3% | 3.679% | 377.7286 | 30.2922 | 308.6158 | 29.1778 | -2272954.2352 | -538819.4782
2021-05-01 |  | 13879916.1536 | 12793398.6326 | 13319786.6467 | 7.828% | 4.036% | 147.5 | 30.3301 | 135.9537 | 29.1061 | -1001317.5453 | -537494.9189
2021-06-01 |  | 13871365.6865 | 13576611.6371 | 13310536.4351 | 2.125% | 4.043% | 40.0143 | 30.368 | 39.164 | 29.1402 | -288450.7577 | -538124.145
2021-07-01 |  | 13972921.851 | 13945351.1402 | 13411392.8551 | 0.1973% | 4.019% | 3.7429 | 30.4059 | 3.7355 | 29.1839 | -27512.5649 | -538932.4469
2021-08-01 |  | 14045915.7872 | 13946050.8847 | 13483687.0468 | 0.711% | 4.003% | 13.5571 | 30.4438 | 13.4608 | 29.2252 | -99141.3105 | -539693.4416
2021-09-01 |  | 13063967.9201 | 12428157.852 | 12501039.4352 | 4.867% | 4.309% | 86.3143 | 30.4816 | 82.1135 | 29.1682 | -604779.4832 | -538641.3139
2021-10-01 |  | 14851441.4566 | 12796897.3551 | 14287813.2272 | 13.83% | 3.795% | 278.9143 | 30.5195 | 240.3294 | 29.3613 | -1770040.0367 | -542207.4002
2021-11-01 |  | 16053316.8653 | 12429557.341 | 15488988.8914 | 22.57% | 3.515% | 491.9429 | 30.5574 | 380.8952 | 29.4832 | -2805266.1588 | -544459.3837
2021-12-01 |  | 19027964.1229 | 13948849.8627 | 18462936.4045 | 26.69% | 2.969% | 689.5143 | 30.5953 | 505.463 | 29.6868 | -3722661.9258 | -548218.8427 | -24187404.8491 | -6490386.6152
2022-01-01 |  | 19586498.376 | 13453488.4605 | 19516832.0598 | 31.31% | 0.3557% | 832.5857 | 3.7723 | 571.8828 | 3.7589 | -4211782.2038 | -69414.7496
2022-02-01 |  | 17840868.8156 | 12349456.6527 | 17771115.0314 | 30.78% | 0.391% | 745.4857 | 3.7771 | 516.0255 | 3.7623 | -3800411.9992 | -69477.2842
2022-03-01 |  | 17106412.2905 | 12303110.3779 | 17036571.0383 | 28.08% | 0.4083% | 652.0714 | 3.7818 | 468.9766 | 3.7663 | -3453932.6037 | -69552.3246
2022-04-01 |  | 14729594.0957 | 11947162.1499 | 14647661.3128 | 18.89% | 0.5562% | 377.7286 | 4.4365 | 306.3753 | 4.4118 | -2256450.4799 | -81472.5969
2022-05-01 |  | 13774856.2247 | 12688338.7037 | 13319786.6467 | 7.888% | 3.304% | 147.5 | 24.6413 | 135.8657 | 23.8272 | -1000668.8561 | -440011.1367
2022-06-01 |  | 14294795.6234 | 14000041.5741 | 13310536.4351 | 2.062% | 6.885% | 40.0143 | 53.296 | 39.1892 | 49.6263 | -288636.2833 | -916435.326
2022-07-01 |  | 15568905.7679 | 15541335.0572 | 13411392.8551 | 0.1771% | 13.86% | 3.7429 | 116.8257 | 3.7362 | 100.6362 | -27518.1416 | -1858411.5226
2022-08-01 |  | 15011997.5257 | 14912132.6233 | 13483687.0468 | 0.6652% | 10.18% | 13.5571 | 82.7555 | 13.467 | 74.3305 | -99187.0036 | -1372636.617
2022-09-01 |  | 13219855.7176 | 12584045.6495 | 12501039.4352 | 4.81% | 5.437% | 86.3143 | 38.9227 | 82.163 | 36.8063 | -605144.3758 | -679692.4387
2022-10-01 |  | 14400280.9742 | 12345736.8726 | 14287813.2272 | 14.27% | 0.781% | 278.9143 | 6.0899 | 239.1205 | 6.0424 | -1761135.2733 | -111583.2697
2022-11-01 |  | 15559529.8882 | 11935770.3638 | 15488988.8914 | 23.29% | 0.4534% | 491.9429 | 3.8197 | 377.3711 | 3.8024 | -2779306.6127 | -70217.3697
2022-12-01 |  | 18533564.8693 | 13454450.6092 | 18462936.4045 | 27.4% | 0.3811% | 689.5143 | 3.8244 | 500.5532 | 3.8098 | -3686495.761 | -70355.4852 | -23970669.594 | -5809260.1209

## 3-VECC-12-2
Ottawa River Power Corporation
VECC Interrogatory Responses - 3-VECC-12
Year | Actual | Predicted Incl HDD&CDD | Predicted W/O HDD | Predicted W/O CDD | Impact of HDD on load | Impact of CDD on load
2014-12-01 | 191637146 | 189063541.9254 | 154949101.5064 | 185240709.7291 | -24858551.5512 | -3570745.0037
2015-12-01 | 190465329 | 188460831.2427 | 156530474.9646 | 183424665.3468 | -23339921.5524 | -4583443.9262
2016-12-01 | 190198454 | 191686294.7152 | 164718561.5324 | 178094002.4929 | -20771130.9677 | -11160915.0993
2017-12-01 | 184181850 | 187486875.1076 | 155235352.2109 | 183377792.2068 | -23920839.9813 | -3832928.0416
2018-12-01 | 192794491 | 191531130.2849 | 158040609.1925 | 184616790.4026 | -24725115.2036 | -6005795.3851
2019-12-01 | 190916363 | 190586280.8051 | 155723432.7055 | 186357157.1683 | -25595768.0203 | -3749416.4825
2020-12-01 | 187587218 | 188965896.9185 | 157798681.3661 | 182293484.8624 | -23758938.8053 | -5724703.4442
2021-12-01 |  | 189972509.868 | 157860418.7935 | 183238360.3845 | -24187404.8491 | -6490386.6152
2022-12-01 |  | 189627160.1688 | 157515069.0944 | 183238360.3845 | -23970669.594 | -5809260.1209

## 4-VECC-23
Ottawa River Power Corporation
VECC Interrogatory Responses - 4-VECC-23
| Last Rebasing Year (2016 OEB Approved) | Last Rebasing Year (2016 Actuals) | 2017 Actuals | 2018 Actuals | 2019 Actuals | 2020 Actuals | 2021 Bridge Year | 2022 Test Year
Number of Employees (FTEs including Part-Time)1
Management (including executive) | 6 | 5 | 6 | 6 | 5 | 6 | 6 | 6
Non-Management (union and non-union) | 22 | 21 | 20 | 20 | 21 | 20 | 20 | 20
Total | 28 | 26 | 26 | 26 | 26 | 26 | 26 | 26
Total Salary and Wages including ovetime and incentive pay
Management (including executive) | 564693.98 | 568279.65 | 511046.98 | 599303.62 | 537136.32 | 529564.82 | 619197.57 | 623958.95
Non-Management (union and non-union) | 1489690.86 | 1222518.97 | 1343179.25 | 1409748.03 | 1507261.53 | 1497540.08 | 1455182.2 | 1572299
Total | 2054384.84 | 1790798.62 | 1854226.23 | 2009051.65 | 2044397.85 | 2027104.9 | 2074379.77 | 2196257.95
Total Benefits (Current + Accrued)
Management (including executive) | 106381.7363 | 136348.7199 | 134518.4153 | 166733.1741 | 147629.0178 | 144999.6289 | 170279.3318 | 171588.7112
Non-Management (union and non-union) | 276546.7637 | 312882.379 | 341588.7349 | 374292.6757 | 390716.3514 | 412751.4484 | 400175.105 | 432382
Total | 382928.5 | 449231.099 | 476107.1502 | 541025.8498 | 538345.3692 | 557751.0773 | 570454.4368 | 603970.7112
Total Compensation (Salary, Wages, & Benefits)
Management (including executive) | 671075.7163 | 704628.3699 | 645565.3953 | 766036.7941 | 684765.3378 | 674564.4489 | 789476.9017 | 795547.6612
Non-Management (union and non-union) | 1766237.6237 | 1535401.349 | 1684767.9849 | 1784040.7057 | 1897977.8814 | 1910291.5284 | 1855357.305 | 2004681
Total | 2437313.34 | 2240029.719 | 2330333.3802 | 2550077.4998 | 2582743.2192 | 2584855.9773 | 2644834.2067 | 2800228.6612
Capitalized |  | 321668.66 | 407948.79 | 492968.78 | 345259 | 243767.23 | 286774 | 317519
Allocated to Affiliate |  | 168303.58 | 194701.25 | 187556.03 | 266430.15 | 222367.01 | 288059.06 | 292800.16
Included in OM&A |  | 1750057.479 | 1727683.3402 | 1869552.6898 | 1971054.0692 | 2118721.7373 | 2070001.1467 | 2189909.5012

## 7-VECC-28
Ottawa River Power Corporation
VECC Interrogatory Responses - 7-VECC-28
Account | Description | 2016 Break Out (%) | 2022 Break Out (%) | Change (%)
1830-4 | Poles, Towers and Fixtures - Primary | 95% | 53.53% | -41.47%
1830-5 | Poles, Towers and Fixtures - Secondary | 5% | 46.47% | 41.47%
1835-4 | Overhead Conductors and Devices - Primary | 65% | 53.53% | -11.47%
1835-5 | Overhead Conductors and Devices - Secondary | 35% | 46.47% | 11.47%
1840-4 | Underground Conduit - Primary | 0% | 41.27% | 41.27%
1840-5 | Underground Conduit - Secondary | 100% | 58.73% | -41.27%
1845-4 | Underground Conductors and Devices - Primary | 0% | 41.27% | 41.27%
1845-5 | Underground Conductors and Devices - Secondary | 100% | 58.73% | -41.27%

## 7-VECC-29
Ottawa River Power Corporation
VECC Interrogatory Responses - 7-VECC-29
Current
| Residential | GS < 50 * | GS > 50 | Unmetered | Street Lighting | Sentinel Lighting
5315 - Customer Billing expenses (Postage and Folding Machine Leases) | 17745.6456 | 2227.8387 | 264.4683 | 33.2775 | 8.7572 | 136.6127
5315 - Customer Billing expenses (Canada Post) | 98212.7432 | 12329.9062 | 1463.6917 | 184.1731 | 48.4666 | 756.0792
5315 - Customer Billing expenses (Letterhead) | 11514.4265 | 1445.5537 | 171.6027 | 21.5924 | 5.6822 | 88.6424
5315 - Customer Billing expenses (Supplies) | 3003.1902 | 377.029 | 44.7574 | 5.6317 | 1.482 | 23.1197
Weighting (Residential set as standard) | 1 | 0.97893 | 0.87457 | 0.99229 | 0.91194 | 0.89065
Adjusted for E-Billing Impact
| Residential | GS < 50 * | GS > 50 | Unmetered | Street Lighting | Sentinel Lighting
5315 - Customer Billing expenses (Postage and Folding Machine Leases) | 17649.3878 | 2218.1105 | 327.7247 | 41.2369 | 10.8518 | 169.2883
5315 - Customer Billing expenses (Canada Post) | 97680.0072 | 12276.0658 | 1813.7827 | 228.2243 | 60.059 | 936.9209
5315 - Customer Billing expenses (Letterhead) | 11451.9687 | 1439.2415 | 212.6472 | 26.7569 | 7.0413 | 109.8443
5315 - Customer Billing expenses (Supplies) | 2986.8999 | 375.3827 | 55.4626 | 6.9787 | 1.8365 | 28.6496
Weighting (Residential set as standard) | 1 | 0.97913 | 0.92493 | 1.0428 | 0.96234 | 0.94103

## 8-VECC-31
Ottawa River Power Corporation
VECC Interrogatory Responses - 8-VECC-31
Table 6 - Current vs Proposed RTSR Rates - Network
Customer Class | Units | Loss Adjusted Forecasted Usage (kWh or kW) | Current Rate ($/kWh/kW) | Charges at Current Rate ($) | Proposed Rate ($/kWh/kW) | Charges at Proposed Rate ($)
Residential | kWh | 83654165 | 0.006 | 501924.99 | 0.0058211 | 486957.6084
GS<50 kW | kWh | 30861804 | 0.0053 | 163567.5612 | 0.005142 | 158689.9846
GS 50 to 4999 kW | kW | 219807 | 2.2135 | 486542.7945 | 2.1475 | 472034.1062
Sentinel Lighting | kW | 495 | 1.6776 | 830.412 | 1.6276 | 805.6484
Street Lighting | kW | 3027 | 1.6693 | 5052.9711 | 1.6195 | 4902.2939
Unmetered Scattered Load | kWh | 631786 | 0.0053 | 3348.4658 | 0.0051419 | 3248.6082
Total |  |  |  | 1161267.1946 |  | 1126638.2497
Table 7 - Current vs Proposed RTSR Rates - Line and Transformation
Customer Class | Units | Loss Adjusted Forecasted Usage (kWh or kW) | Current Rate ($/kWh/kW) | Charges at Current Rate ($) | Proposed Rate ($/kWh/kW) | Charges at Proposed Rate ($)
Residential | kWh | 83654165 | 0.005 | 418270.825 | 0.0050795 | 424925.2517
GS<50 kW | kWh | 30861804 | 0.0044 | 135791.9376 | 0.00447 | 137952.2977
GS 50 to 4999 kW | kW | 219807 | 1.7725 | 389607.9075 | 1.8007 | 395806.3301
Sentinel Lighting | kW | 495 | 1.3993 | 692.6535 | 1.4216 | 703.6725
Street Lighting | kW | 3027 | 1.3704 | 4148.2008 | 1.3922 | 4214.1924
Unmetered Scattered Load | kWh | 631786 | 0.0044 | 2779.8584 | 0.00447 | 2824.08
Total |  |  |  | 951291.3828 |  | 966425.8245