## C-1-1-A1
Filed: March 4, 2022, EB-2022-002, Exhibit C-1-1, Attachment 1, Page 1 of 1
Load and Forecast Volumes
2021 Q4 Reliability Outlook
Col | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8
Month | Ontario Demand (TWh) | Less Transmission Line Losses (TWh) | Rural Remote Settlement Demand (TWh) | Exports (TWh) | IESO Fee Submission Market Demand (TWh) | Embedded Generation (TWh) | IESO Fee Submission Market Demand Plus Embedded Generation (TWh) | Source
2017 | 132.2 | 2.3 | 129.8 | 19.1 | 148.9 | 6.4 | 155.3 | Actual
2018 | 137.5 | 2.3 | 135.2 | 18.6 | 153.7 | 6.3 | 160.1 | Actual
2019 | 135.1 | 2.2 | 132.9 | 19.8 | 152.6 | 6.4 | 159 | Actual
2020 | 132.2 | 2.2 | 130 | 20.4 | 150.4 | 6.9 | 157.3 | Actual
2021 | 133.8 | 1.9 | 131.9 | 17.2 | 149.1 | 7 | 156.1 | Actual
2022 | 135 | 3 | 132 | 15.9 | 147.9 | 7.1 | 155 | Forecast
Col 1 | Ontario demand which is coicident loads plus the losses on the IESO-Controlled Grid. Measured in TWh
Col 2 | Transmission losses are forecasted as 2.2% of Ontario demand. Actuals are the difference between Column 1 and Column 3. Measured in TWh
Col 3 | Ontario demand less transmission losses (Column 1 minus Column 2). Actuals are Allocated Quantity of Energy Withdrawn (AQEW). Measured in TWh.
Col 4 | Exports of electricity. Forecasts are a three year average by month adjusted as required. Measured in TWh.
Col 5 | The sum of Column 3 and Column 4. Measured in TWh.
Col 6 | Distribution connected non-Market Participant generation (embedded generation). Measured in TWh.
Col 7 | The sum of Column 5 and Column 6. Measured in TWh.
Col 8 | Explanation of the source of data used in the columns between Actuals and Forecast.
2021:Q4 Reiliability Outlook released December 2021 and covers the period January 2022 to June 2023