## B-2-1_2.8_Table_3
ISD | Investment Title | 2023* | 2024* | 2025* | 2026* | 2027*
T-SA-01 | New Customer Connection Station | 14.2 | 14.2 | - | - | -
T-SA-02 | IAMGOLD – 115 kV Mine Connection | 10.5 | - | - | - | -
T-SA-03 | Halton TS: Build a Second 230/27.6kV Station1 | - | 1.6 | 4.8 | 2 | 0.1
T-SA-04 | Connect Metrolinx Traction Substations | 3.7 | 3.8 | 0.9 | - | -
T-SA-05 | Future Transmission Load Connection Plans | 3.3 | 5.5 | 9.9 | 11 | 11
T-SA-06 | Protection and Control Modifications for Distributed Generation | - | - | - | - | -
T-SA-07 | Secondary Land Use Projects | 39.8 | 3 | 3 | 0.9 | 0.9
T-SA-08 | H29/H30: Reconductor 230kV Circuits 1,2 | 0.2 | 0.4 | 0.3 | 2.2 | 2.4
T-SA-09 | New Transformer Station in Northern York Region 1 | - | - | 5.9 | 3.9 | 2.5
T-SA-10 | Build Leamington Area Transformer Stations 1,2 | 8 | 43 | 35.3 | 15.3 | 34.3
| Other Transmission System Access | 3.9 | 3.1 | 3 | 3.2 | 1.6
Total System Access |  | 83.6 | 74.6 | 63 | 38.4 | 52.8
1 Investments identified in the Regional Planning Process
2 Investments that require Leave to Construct Approval
*The 2023-2027 forecast reflects updated inflation assumptions calculated using the methodology described in Section 2.3 of Exhibit O-01-02.

## B-2-1_2.8_Table_5
ISD | Investment Title | 2023* | 2024* | 2025* | 2026* | 2027*
T-SR-01 | Transmission Station Renewal - Network Stations | 220.4 | 210.1 | 224.8 | 166.7 | 224.3
T-SR-02 | Transmission Station Renewal - Air Blast Circuit Breakers | 181.3 | 161.8 | 121.9 | 104.5 | 36.2
T-SR-03 | Transmission Station Renewal - Connection Stations | 352 | 376.5 | 368.5 | 427.8 | 451.1
T-SR-04 | Wood Pole Structure Replacements | 59.5 | 60.7 | 61.9 | 63.1 | 64.4
T-SR-05 | Steel Structure Coating Program | 24.9 | 25.3 | 25.8 | 26.3 | 26.8
T-SR-06 | Tower Foundation Assess/Clean/Coat Program | 18.2 | 18.5 | 18.9 | 19.2 | 19.6
T-SR-07 | Transmission Line Shieldwire Replacement | 12.7 | 12.9 | 13.2 | 13.5 | 13.7
T-SR-08 | Transmission Line Insulator Replacement | 82.6 | 82.1 | 83.7 | 85.2 | 86.8
T-SR-09 | Transmission Station Demand and Spares and Targeted Assets | 46.2 | 47 | 47.5 | 48.6 | 49.4
T-SR-10 | Protection Relay Replacement Program | 9.2 | 9.3 | 9.4 | 9.5 | 9.6
T-SR-11 | Legacy SONET System Replacement | 20.5 | 30.9 | 30.8 | 29 | 8.7
T-SR-12 | Telecom Performance Improvements | 4.4 | 6.1 | 4 | - | -
T-SR-13 | Transmission Complete Line Refurbishment | 63.3 | 132.4 | 200.8 | 248.3 | 232.1
T-SR-14 | Mobile Radio System Replacement | 5.5 | 7 | 5.9 | 2.5 | 0
T-SR-15 | Transmission Line Emergency Restoration | 10.7 | 10.9 | 11.2 | 11.4 | 11.6
T-SR-16 | HV UG Cable – Replace/Refurbish Pumping Plants | - | - | 0.1 | 0.2 | 5.8
T-SR-17 | OPGW Infrastructure Projects | 30 | 29.2 | 32 | 21.2 | 11
T-SR-18 | C5E/C7E Underground Cable Replacement | 40.3 | 24.9 | 4.9 | 0.1 | -
| Other Transmission System Renewal Work | 58.3 | 47 | 52.2 | 67.3 | 79.3
Total System Renewal |  | 1239.8 | 1292.8 | 1317.3 | 1344.4 | 1330.4
*The 2023-2027 forecast reflects updated inflation assumptions calculated using the methodology described in Section 2.3 of Exhibit O-01-02.

## B-2-1_2.8_Table_7
ISD | Investment Title | 2023* | 2024* | 2025* | 2026* | 2027*
T-SS-01 | Nanticoke TS: Connect HVDC Lake Erie Circuits3 | - | - | - | - | -
T-SS-02 | St. Lawrence TS: Phase Shifter Upgrade | 6.3 | - | - | - | -
T-SS-03 | Merivale TS to Hawthorne TS: 230kV Conductor Upgrade2,3 | 9.5 | - | - | - | -
T-SS-04 | Richview x Trafalgar 230kV Conductor Upgrade2 | 13.3 | 17.2 | 12.7 | 2.5 | -
T-SS-05 | Merivale TS: Add 230/115kV Autotransformers1 | 26.3 | 31.6 | 23.2 | - | -
T-SS-06 | Southwest GTA Transmission Reinforcement 1,2 | 6.8 | 7.9 | 3.2 | - | 1.1
T-SS-07 | West of Chatham Reinforcement2 | 8.8 | 21.4 | 5.5 | - | -
T-SS-08 | Future Transmission Regional Plans | 11.3 | 21.1 | 21.5 | 21.5 | 21.5
T-SS-09 | West of London Reinforcement2 | 4.4 | 4.5 | 19.6 | 64.1 | 57.7
Other System Service Investments |  | 9 | 3.3 | 4.7 | 9.9 | 14.5
Total System Service |  | 95.6 | 107 | 90.3 | 98 | 94.8
1 Investment identified in the Regional Planning Process
2 Investment that requires Leave to Construct Approval
3 Investment identified in the 2017 Long-Term Energy Plan
*The 2023-2027 forecast reflects updated inflation assumptions calculated using the methodology described in Section 2.3 of Exhibit O-01-02.