## B-03-01_3.9-2AA
[7 empty] | File Number: | 0
[7 empty] | Exhibit: | B
[7 empty] | Tab: | 1
[7 empty] | Schedule: | 2
Page:
[7 empty] | Date: | 2019-06-21
Appendix 2-AA
Distribution Capital Projects Table ($M)
[6 empty] | As-Filed | [5 empty] | Updated Inflation*
Projects | 2018 | 2019 | 2020 | 2021 Forecast | 2021 | 2022 Bridge | 2023 Test | 2024 Test | 2025 Test | 2026 Test | 2027 Test | 2023 Test | 2024 Test | 2025 Test | 2026 Test | 2027 Test
Reporting Basis | USGAAP | USGAAP | USGAAP | USGAAP | USGAAP | USGAAP | USGAAP | USGAAP | USGAAP | USGAAP | USGAAP | USGAAP | USGAAP | USGAAP | USGAAP | USGAAP
System Access
D-SA-01 Joint Use and Relocations | 20.4138 | 28.8386 | 26.2092 | 21.3847 | 31.5097 | 19.1351 | 24.8384 | 29.0109 | 26.9599 | 26.4976 | 27.2493 | 26.1421 | 30.5335 | 28.3749 | 27.8884 | 28.6795
D-SA-02 New Load Connections, Upgrades, Cancellations | 121.2148 | 141.7441 | 146.3868 | 130.6391 | 175.9871 | 141.7482 | 150.7174 | 154.5683 | 158.5047 | 162.5246 | 166.6511 | 158.628 | 162.681 | 166.8241 | 171.0549 | 175.3981
D-SA-03 Customer Demand Distributed Energy Resources | 6.6659 | 6.6352 | 2.17 | 1.9191 | -1.6336 | 1.4003 | 1.4151 | 1.4151 | 1.4154 | 1.4157 | 1.416 | 1.4894 | 1.4894 | 1.4897 | 1.49 | 1.4903
D-SA-04 Metering Sustainment | 26.7897 | 20.1262 | 18.838 | 17.5825 | 23.0342 | 18.5245 | 62.6092 | 55.6472 | 40.1246 | 22.1633 | 8.9452 | 65.8954 | 58.568 | 42.2306 | 23.3266 | 9.4147
D-SA-Other | 0.0096028 | 0.0024219 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Sub-Total | 175.0938 | 197.3464 | 193.6041 | 171.5254 | 228.8974 | 180.8081 | 239.58 | 240.6414 | 227.0046 | 212.6012 | 204.2616 | 252.1548 | 253.2719 | 238.9193 | 223.7599 | 214.9826
System Renewal
D-SR-01 Distribution Stations Demand Capital Program | 6.6381 | 5.6139 | 9.8084 | 4.929 | 9.3427 | 5.022 | 6.1629 | 6.2862 | 6.4119 | 6.5401 | 6.6709 | 6.4864 | 6.6161 | 6.7484 | 6.8834 | 7.0211
D-SR-02 Mobile Unit Substation Program | 1.3066 | 6.9323 | 3.9918 | 4.1569 | 1.4596 | 4.302 | 3.5092 | 4.239 | 2.8678 | 3.2514 | 4.5902 | 3.6933 | 4.4615 | 3.0183 | 3.4221 | 4.8312
D-SR-03 Distribution Station Planned Component Replacement Program | 4.9918 | 7.6744 | 8.768 | 6.9265 | 8.0785 | 7.0937 | 4.5627 | 3.3218 | 1.141 | 1.1638 | 1.1871 | 4.8021 | 3.4962 | 1.2009 | 1.2249 | 1.2494
D-SR-04 Distribution Station Refurbishment | 11.7461 | 16.5025 | 7.3977 | 6.8682 | 11.7069 | 3.1823 | 44.8214 | 41.4864 | 28.4704 | 32.2753 | 32.0669 | 47.1739 | 43.6638 | 29.9647 | 33.9693 | 33.75
D-SR-05 Distribution Lines Trouble Call and Storm Damage Response | 112.6981 | 74.5837 | 118.3908 | 92.2891 | 120.9081 | 93.806 | 106.0051 | 108.1256 | 110.288 | 112.4937 | 114.7436 | 111.569 | 113.8008 | 116.0766 | 118.3981 | 120.7661
D-SR-06 Distribution Lines PCB Equipment Replacement Program | 6.3228 | 8.1298 | 4.7656 | 9.548 | 5.9506 | 9.4776 | 9.416 | 9.4512 | 9.46 | 0 | 0 | 9.9102 | 9.9473 | 9.9565 | 0 | 0
D-SR-07 Pole Sustainment Program | 51.9665 | 44.3485 | 43.5998 | 73.4008 | 60.6113 | 60.1383 | 107.885 | 110.6286 | 112.383 | 114.9181 | 116.7929 | 113.5475 | 116.4351 | 118.2816 | 120.9498 | 122.923
D-SR-08 Distribution Lines Minor Component Replacement Program | 1.3556 | 4.8966 | 6.3386 | 12.3509 | 9.0387 | 12.272 | 12.3985 | 14.5362 | 13.5187 | 8.5639 | 7.1429 | 13.0492 | 15.2992 | 14.2282 | 9.0134 | 7.5178
D-SR-09 Submarine Cable Replacement Program | 3.1843 | 6.2675 | 6.6768 | 10.8674 | 6.6152 | 11.0883 | 12.2071 | 12.4512 | 12.7002 | 12.9542 | 13.2133 | 12.8478 | 13.1047 | 13.3668 | 13.6342 | 13.9068
D-SR-10 Distribution Lines Sustainment Initiatives | 7.7512 | 8.0914 | 11.723 | 10.6912 | 11.7333 | 13.6901 | 31.5221 | 30.3239 | 35.2797 | 43.1575 | 42.7461 | 33.1766 | 31.9155 | 37.1315 | 45.4227 | 44.9897
D-SR-11 Life Cycle Optimization & Operational Efficiency Projects | 9.1434 | 3.9326 | 6.2391 | 2.4974 | 5.2157 | 0.16763 | 2.8236 | 6.5378 | 7.0719 | 0.82257 | 0.44269 | 2.9718 | 6.8809 | 7.4431 | 0.86574 | 0.46593
D-SR-12 Advanced Meter Infrastructure 2.0 (AMI 2.0) | 0 | 0 | 0 | 0.71737 | 0.13073 | 3.8529 | 30.9201 | 62.0179 | 153.6686 | 154.4469 | 157.293 | 32.543 | 65.273 | 161.7342 | 162.5533 | 165.5488
D-SR-Other | 2.5878 | 1.9968 | 0.93224 | 0.83965 | 1.2059 | 0.85561 | 0.87272 | 0.89017 | 0.90798 | 0.92613 | 0.94466 | 0.91852 | 0.93689 | 0.95563 | 0.97474 | 0.99424
Sub-Total | 219.6923 | 188.9698 | 228.6318 | 236.0824 | 251.9973 | 224.9484 | 373.1063 | 410.2959 | 494.1693 | 491.5139 | 497.8344 | 392.6894 | 431.831 | 520.1065 | 517.3117 | 523.9641
System Service
D-SS-01 System Upgrades Driven by Load Growth | 26.4661 | 45.1855 | 50.6552 | 97.1091 | 61.2481 | 108.4691 | 98.1657 | 76.2871 | 127.4844 | 76.1296 | 100.1729 | 103.318 | 80.2911 | 134.1756 | 80.1254 | 105.4306
D-SS-02 Reliability Improvements | 1.6853 | 4.1342 | 4.5579 | 3.8023 | 5.1927 | 3.746 | 7.2628 | 0.11295 | 6.4918 | 18.612 | 7.5059 | 7.644 | 0.11888 | 6.8325 | 19.5888 | 7.8998
D-SS-03 Demand System Modifications | 7.8986 | 11.8196 | 14.0034 | 7.48 | 14.7204 | 10.912 | 13.1617 | 13.4081 | 13.672 | 13.8567 | 14.2273 | 13.8525 | 14.1118 | 14.3896 | 14.584 | 14.9741
D-SS-04 Energy Storage Solutions | 0.1286 | 1.5775 | 4.9758 | 3.72 | 5.8543 | 4.25 | 34.33 | 34.98 | 35.64 | 36.31 | 36 | 36.1319 | 36.816 | 37.5106 | 38.2158 | 37.8895
D-SS-05 Worst Performing Feeders | 8.3114 | 21.8768 | 20.7061 | 17 | 18.4395 | 22 | 39.644 | 40.9 | 42.1838 | 42.95 | 43.76 | 41.7248 | 43.0467 | 44.3979 | 45.2043 | 46.0568
D-SS-06 Power Quality and Stray Voltage | 0.9623 | 1.337 | 1.22 | 3.3287 | 3.2531 | 3.4164 | 3.8007 | 3.8769 | 3.954 | 4.0338 | 4.1144 | 4.0001 | 4.0804 | 4.1615 | 4.2455 | 4.3303
D-SS-Other | 33.6232 | 26.9017 | 2.0251 | 0.14659 | 2.0343 | 0.37471 | 0.12976 | 0.13236 | 0.13501 | 0.13771 | 0.14046 | 0.13658 | 0.13931 | 0.14209 | 0.14493 | 0.14783
Sub-Total | 79.0755 | 112.8322 | 98.1435 | 132.5867 | 110.7425 | 153.1683 | 196.4945 | 169.6973 | 229.561 | 192.0298 | 205.921 | 206.8078 | 178.6042 | 241.6099 | 202.1087 | 216.729
General Plant Allocated to Distribution
Fleet | 18.0755 | 29.0061 | 25.745 | 28.3029 | 16.9416 | 28.4595 | 50.5924 | 51.6707 | 52.2387 | 52.972 | 54.6889 | 53.2478 | 54.3827 | 54.9805 | 55.7523 | 57.5593
Facilities & Real Estate | 13.7402 | 15.624 | 45.0497 | 23.7472 | 27.072 | 26.5087 | 65.3952 | 67.1747 | 44.199 | 39.886 | 35.7062 | 68.8275 | 70.7005 | 46.5188 | 41.9795 | 37.5803
Information Solutions | 52.3396 | 67.4329 | 76.2298 | 66.057 | 74.6572 | 43.96 | 62.5004 | 71.6183 | 68.5133 | 78.4574 | 70.2293 | 65.7808 | 75.3773 | 72.1094 | 82.5753 | 73.9154
System Operations | 5.3176 | 4.6733 | 32.8318 | 55.739 | 52.6589 | 5.7014 | 15.4375 | 14.6931 | 4.0391 | 3.1736 | 2.3081 | 16.2477 | 15.4643 | 4.2511 | 3.3401 | 2.4292
System Capability Reinforcement | 2.8747 | -0.95541 | -0.7174 | 0 | 2.3135 | 1.0394 | 2 | 2.2 | 1.103 | 1.02 | 0 | 2.105 | 2.3155 | 1.1609 | 1.0735 | 0
Other | -1.6724 | -1.4928 | -0.91035 | 0 | -2.5237 | 0 | 0 | 0 | 0 | 0 | 0
Sub-Total | 90.6752 | 114.2881 | 178.2286 | 173.8461 | 171.1195 | 105.6689 | 195.9254 | 207.3568 | 170.0931 | 175.509 | 162.9324 | 206.2088 | 218.2402 | 179.0207 | 184.7209 | 171.4842
Total | 564.5368 | 613.4366 | 698.6081 | 714.0407 | 762.7566 | 664.5937 | 1005.1063 | 1027.9915 | 1120.828 | 1071.6538 | 1070.9494 | 1057.8608 | 1081.9472 | 1179.6564 | 1127.9012 | 1127.1598
Less Renewable Generation Facility Assets and Other Non-Rate-Regulated Utility Assets (input as negative)
Total | 564.5368 | 613.4366 | 698.6081 | 714.0407 | 762.7566 | 664.5937 | 1005.1063 | 1027.9915 | 1120.828 | 1071.6538 | 1070.9494 | 1057.8608 | 1081.9472 | 1179.6564 | 1127.9012 | 1127.1598
* The 2023-2027 forecast reflects updated inflation assumptions calculated using the methodology described in Section 2.3 of Exhibit O-1-2
Notes:
1 Please provide a breakdown of the major components of each capital project undertaken in each year. Please ensure that all projects below the materiality threshold are included in the miscellaneous line. Add more projects as required.
2 The applicant should group projects appropriately and avoid presentations that result in classification of significant components of the capital budget in the miscellaneous category.