## OEB Staff IR
| I-01-B2-Staff-059 | Please fill in the shaded cells |  |  |  | As discussed in EB-2019-0082 the information herein cannot be used to determine unitized costs.
1 |  | EB-2016-0160 Application/Proposal |  |  |  |  | EB-2016-0160 DR0 |  | EB-2019-0082 Application/Proposal | [6 empty] | EB-2019-0082 DRO |  |  | EB-2021-0110 Application/Proposal
2 |  | 2014A | 2015A | 2016F | 2017F | 2018F | 2017F | 2018F | 2016A | 2017A | 2018A | 2019F | 2020F | 2021F | 2022F | 2020F | 2021F | 2022F | 2019A | 2020A | 2021A | 2022F | 2023F | 2024F | 2025F | 2026F | 2027F
3 | Transformer Portfolio
4 | # Replacements | 24 | 24 | 19 | 27 | 22 | 27 | 22 | 18 | 15 | 28 | 20 | 9 | 23 | 19 | 6 | 23 | 15 | 24 | 10 | 10 | 19 | 30 | 18 | 27 | 21 | 24
5 | % of Fleet | 3.3% | 3.3% | 2.6% | 3.7% | 3.1% | 3.7% | 3.1% | 2.5% | 2.1% | 3.6% | 2.8% | 1.3% | 3.2% | 2.7% | 0.8% | 3.2% | 2.1% | 3.3% | 1.4% | 1.4% | 2.635% | 4.577% | 2.497% | 3.745% | 2.913% | 3.329%
6 | Capital ($M)2 | 132 | 132 | 104.5 | 148.5 | 121 | 148.5 | 121 | 77.2543 | 75.7212 | 193.6455 | 110.3234 | 50.6384 | 131.8681 | 111.1132 |  |  |  | 94.6 | 69.9 | 67.4
7
8 | Circuit Breaker Portfolio
9 | # Replacements | 83 | 31 | 43 | 66 | 132 | 66 | 132 | 73 | 108 | 155 | 88 | 135 | 105 | 88 | 91 | 204 | 44 | 72 | 67 | 98 | 130 | 88 | 107 | 98 | 146 | 154
10 | % of Fleet | 1.8% | 0.7% | 0.9% | 1.5% | 2.9% | 1.5% | 2.9% | 1.5% | 2.4% | 3.3% | 1.9% | 2.8% | 2.2% | 1.9% | 1.913% | 4.289% | 0.9251% | 1.5% | 1.4% | 2.1% | 2.733% | 1.85% | 2.25% | 2.061% | 3.07% | 3.49%
11 | Capital ($M)2 | 58.1 | 21.7 | 30.1 | 46.2 | 92.4 | 46.2 | 92.4 | 42.4074 | 54.6964 | 77.8895 | 47.4761 | 74.2893 | 58.8784 | 50.3326 |  |  |  | 59.1 | 73 | 55
12
13 | Protection Systems Portfolio
14 | # Replacements | 610 | 266 | 367 | 449 | 528 | 449 | 528 | 627 | 298 | 325 | 453 | 465 | 370 | 503 | 203 | 657 | 252 | 322 | 242 | 137 | 412 | 443 | 278 | 366 | 456 | 554
15 | % of Fleet | 5% | 2.2% | 3% | 3.7% | 4.4% | 3.7% | 4.4% | 5.1% | 2.5% | 2.6% | 3.6% | 3.7% | 3% | 4% | 1.625% | 5.259% | 2.017% | 2.577% | 1.9% | 1% | 3.298% | 3.546% | 2.225% | 2.929% | 3.65% | 4.434%
16 | Capital ($M)2 | 76.25 | 33.25 | 45.875 | 56.125 | 66 | 56.125 | 66 | 57.2825 | 42.7698 | 60.492 | 64.7171 | 67.7601 | 54.941 | 76.1839 |  |  |  | 53.9 | 72.6 | 79.5
17
18 | Conductor Portfolio
19 | Replacements (km) | 93 | 201 | 183 | 192 | 440 | 192 | 440 | 183 | 119 | 51 | 140 | 64 | 483 | 795 | 22 | 298 | 314 | 82 | 81 | 31 | 515 | 19 | 300 | 338 | 235 | 679
20 | % of Fleet | 0.3% | 0.7% | 0.6% | 0.6% | 1.5% | 0.6% | 1.5% | 0.6% | 0.4% | 0.2% | 0.5% | 0.2% | 1.7% | 2.7% | 0.1% | 1% | 1.1% | 0.2818% | 0.2837% | 0.1086% | 1.804% | 0.06655% | 1.051% | 1.184% | 0.8231% | 2.378%
21 | Capital ($M)1 | 40.7 | 58.4 | 76.9 | 67.1 | 143.1 | 67.1 | 143.1 | 68 | 36.5 | 52 | 137.6 | 150.8 | 191.4 | 211.7 | 58.6 | 91.4 | 96.9 | 64.6 | 54.6 | 47.258
22
23 | Wood Pole Portfolio
24 | # Replacements | 897 | 845 | 850 | 850 | 850 | 935 | 850 | 761 | 966 | 735 | 560 | 800 | 800 | 800 | 800 | 800 | 800 | 827 | 796 | 1003 | 1024 | 1076 | 1076 | 1078 | 1082 | 1084
25 | % of Fleet | 2.2% | 2% | 2% | 2% | 2% | 2.2% | 2% | 1.8% | 2.3% | 1.75% | 1.3% | 1.905% | 1.905% | 1.905% | 2% | 2% | 2% | 2.1% | 1.99% | 2.5% | 2.6% | 2.7% | 2.7% | 2.7% | 2.7% | 2.7%
26 | Capital ($M) | 43.6 | 38.5 | 38.3 | 35.3 | 35.3 | 38.8 | 33.9 | 42.8 | 41.2 | 35.3 | 34.8118 | 51.0129 | 52.0335 | 53.0221 | 51 | 52 | 53 | 39.8 | 46.9 | 60 | 52.7 | 56.5 | 57.6 | 58.8 | 60 | 61.1
27
28 | Steel Structure Portfolio
29 | # Renewal | 153 | 371 | 462 | 1250 | 1600 | 1145 | 1600 | 86 | 725 | 1050 | 220 | 260 | 500 | 500 | 260 | 500 | 500 | 245 | 222 | 467 | 487 | 500 | 500 | 500 | 500 | 500
30 | % of Fleet | 0.3% | 0.7% | 0.9% | 2.4% | 3.1% | 2.2% | 3% | 0.2% | 1.396% | 2.021% | 0.42% | 0.5% | 0.9615% | 0.9615% | 0.5% | 1% | 1% | 0.5% | 0.45% | 1% | 0.99% | 1% | 1% | 1% | 1% | 1%
31 | Capital ($M) | 3.8 | 5.1 | 8.8 | 42.5 | 54.4 | 39 | 26.2 | 2.3 | 42.1 | 37.7 | 9.339 | 11.364 | 21.8401 | 22.255 | 11.4 | 21.8 | 22.255 | 11.1 | 8.1 | 16.2 | 22.6 | 23.6 | 24.1 | 24.5 | 25 | 25.4
32
33 | Underground Cable Portfolio
34 | Replacements (km) | 3.1 | 0 | 0 | 0 | 4.7 | 0 | 4.7 | 2.3 | 0 | 0 | 4.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.7 | 0 | 0 | 0 | 0 | 7.2 | 0 | 0
35 | % of Fleet | 1.1% | 0% | 0% | 0% | 1.8% | 0% | 1.8% | 0.9% | 0% | 0% | 1.8% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 1.7% | 0% | 0% | 0% | 0% | 2.6% | 0% | 0%
36 | Capital ($M) | 20.6 | 3.5 | 1.4 | 2.3 | 22.5 | 2.3 | 22.5 | 1.7 | 10.7 | 16.5 | 15 | 7.1 | 32.5 | 33.6 | 7.1 | 32.5 | 33.6 | 14.9 | 7.1 | 3.9 | 27.6 | 41.1 | 27.4 | 6.4 | 1.9 | 6.6
Notes 1 EB-2019-0082 Hydro One's Reply Argument, pp105-109. 2 The capital in-service additions for these asset-types do not reflect a 1:1 ratio to the in-serviced units because additional costs pertaining to the installation may or may not be reflected. This is because the scope of each installation may vary depending on the nature of the integrated investment or failure replacement that is undertaken. A unit cost cannot be derived from these two quantities.