## CCC-17
2019-2023 - FFA Qty vs. Plan Qty
Asset Category |  | Asset Group | Asset Category | Pop. | Health Index Distribution |  | 2019-2023
[5 empty] | Very Poor (< 25%) | Poor (25 - <50%) | 5 Year Flag For Action |  | 2019-2021 | 2022-2023 | 5 Year Plan Total
[7 empty] | Total FFA Qty | % FFA of Pop. | Actual | Plan | Total Plan Qty | % Plan of Pop.
Station Transformers |  | Stations | Station Transformers | 37 | 7 | 5 | 7 | 18.92% | 8 | 3 | 11 | 29.73%
Station Breakers |  |  | Station Breakers | 140 | 13 | 5 | 18 | 12.86% | 7 | 8 | 15 | 10.71%
Station Ganged Switches | MV |  | Station Ganged Switches MV | 29 | 17 | 4 | 21 | 72.41% | 0 | 1 | 1 | 3.448%
Station Ganged Switches | 44 kV |  | Station Ganged Switches 44 kV | 53 | 28 | 6 | 30 | 56.6% | 4 | 0 | 4 | 7.547%
Pole Mounted Transformers | 1-Ph | Distribution Transformers | Pole Mounted Transformers 1-Ph | 976 | 161 | 106 | 233 | 23.87% | 54 | 42 | 96 | 9.836%
Pole Mounted Transformers | 3-Ph |  | Pole Mounted Transformers 3-Ph | 119 | 8 | 7 | 24 | 20.17% | 10 | 1 | 11 | 9.244%
Pad Mounted Transformers | 1-Ph |  | Pad Mounted Transformers 1-Ph | 359 | 47 | 115 | 101 | 28.13% | 4 | 11 | 15 | 4.178%
Pad Mounted Transformers | 3-Ph |  | Pad Mounted Transformers 3-Ph | 237 | 10 | 30 | 38 | 16.03% | 23 | 1 | 24 | 10.13%
Poles |  | Poles | Poles (Wood & Concrete) | 6366 | 652 | 1196 | 718 | 11.28% | 227 | 114 | 341 | 5.357%
Poles | Concrete |  |  | 153 |  |  |  | 0% |  |  |  | 0%
Pad Mounted Switchgear |  | Underground Distribution | Pad Mounted Switchgear | 22 | 0 | 14 | 5 | 22.73% | 1 | 1 | 2 | 9.091%
Vault Transformers |  |  | Vault Transformers | 64 | 25 | 10 | 21 | 32.81% | 1 | 1 | 2 | 3.125%
Vault Switchgear |  |  | Vault Switchgear | 26 | 0 | 10 | 5 | 19.23% | 1 | 2 | 3 | 11.54%
Transformer Vault Structures |  |  | Transformer Vault Structures | 36 | 0 | 12 | 5 | 13.89% | 0 | 0 | 0 | 0%
PILC (km) | 44 kV | UG Primary Cables (km) | 44kV | 21.528 | 0.3 | 0 | 0 | 0% | 0.122 | 0 | 0.122 | 0.0005667%
PILC (km) | 5kV 1-ph |  | 5kV/15kV | 214.3374 | 2.1 | 3.7 | 27.7 | 0.01292% | 10.74 | 1.34 | 12.08 | 0.005636%
|  | Table 1 - Cable Data - Modified | [8 empty] | 2019-2023
|  | Asset Category |  | Population | [6 empty] | FFA
|  | UG Primary Cables (m) | 44kV | 21528.0342 |  |  | m of cable |  |  |  | 0
|  |  | 5/15kV | 214337.374 |  |  | m of cable |  |  |  | 27700
|  | UG Primary Cables - PILC (m) | 44kV | 4128.7358 |  |  | m of cable |  |  |  | 0
|  |  | 5kV | 34483.7442 |  |  | m of cable |  |  |  | 6100
|  | UG Primary Cables - XLPE (m) | 44kV | 17399.2985 |  |  | m of cable |  |  |  | 0
|  |  | 5/15kV | 179853.6297 |  |  | m of cable |  |  |  | 21600
|  | UG Primary Cables - PILC (km) | 44 kV | 4.1287 |  |  | km cable (cct x 3) |  |  |  | 0
|  |  | Non 44 kV 1-Ph | 0.52694 |  |  | km cable (cct x 1) |  |  |  | 0
|  |  | Non 44 kV 3-Ph | 33.9568 |  |  | km cable (cct x 3) |  |  |  | 6.1
|  | UG Primary Cables - XLPE (km) | 44 kV | 17.3993 |  |  | km cable (cct x 3) |  |  |  | 0
|  |  | Non 44 kV 1-Ph | 43.7264 |  |  | km cable (cct x 1) |  |  |  | 10.6
|  |  | Non 44 kV 3-Ph | 136.1272 |  |  | km cable (cct x 3) |  |  |  | 11
Check | 2021 RRR | Units |  | 2018 Pop. | [6 empty] | 2018 FFA | Units
44kV UG 3ph | 7.231 | cct km | 44kV UG 3ph | 21.528 |  |  | 44kV UG 3ph |  |  |  | 0 | cable km
5/15kV UG 1ph | 44.8 | cct km | 5/15kV UG 1ph | 44.2534 |  |  | 5/15kV UG 1ph |  |  |  | 10.6 | cable km
5/15kV UG 3ph | 54.6 | cct km | 5/15kV UG 3ph | 170.084 |  |  | 5/15kV UG 3ph |  |  |  | 17.1 | cable km
| 2021 RRR | Units
44kV UG 3ph | 21.693 | Cable km | `
5/15kV UG 1ph | 44.8 | Cable km
5/15kV UG 3ph | 163.8 | Cable km