{"text_format":"1","workbook":"xlsx","n_sheets":2,"sheets":["2020","2021"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"2020","index":0,"n_rows":36,"n_cols":9,"rows_kept":36,"cut":false,"hidden":false,"merged":[]}
[null,"Residential","General Service <50kW","General Service 50-4999kW","Large User","Streetlight","USL","Total","Rank"]
[1,39586.038427464155,16106.82222801181,41172.815391703618,21906.670360687982,358.13507401254867,141.57585871816977,119272.05734059827,1]
[2,35793.030953633526,15072.622860134996,39058.651906231251,22201.839511340011,67.427470234706647,141.57585871816977,112335.14856029266,4]
[3,38077.401043416139,13215.560144522251,35192.526017321034,19561.435925377955,287.05582589279049,141.57585871816977,106475.55481524832,6]
[4,27718.177817914948,9748.9150468762709,28033.988787070386,15878.824271087276,0,141.57585871816977,81521.48178166704,11]
[5,18268.12869816845,10791.161405594134,28763.7421161987,20583.145325577327,0,141.57585871816977,78547.753404256771,12]
[6,23559.263528755469,13761.891170531433,34208.365196930652,24523.382276585038,0,141.57585871816977,96194.478031520761,9]
[7,29982.222762746336,15501.606100072015,40000.378877119983,26622.123393389695,0,141.57585871816977,112247.90699204619,5]
[8,28621.499078913617,16473.792595988838,42835.699327906746,27192.353899571299,0,141.57585871816977,115264.92076109866,3]
[9,23282.116541480198,15021.047374759977,40127.031838860559,26188.553221463459,0,141.57585871816977,104760.32483528236,8]
[10,19299.454168735439,18590.03800648898,32290.362177501269,17869.172604861888,0,141.57585871816977,88190.602816305734,10]
[11,35525.137929280674,13389.895634319199,35689.23780036698,19712.782323449414,425.56254424724779,141.57585871816977,104884.19209038168,7]
[12,40374.215405911556,15214.853239309026,39688.660560836383,20163.686488913649,469.51429950660827,141.57585871816977,116052.5058531954,2]
[]
["1CP",39586.038427464155,16106.82222801181,41172.815391703618,21906.670360687982,358.13507401254867,141.57585871816977,119272.05734059827]
["4CP",{"$f":"B2+B13+B3+B9","v":144374.78386592286},{"$f":"C2+C13+C3+C9","v":62868.090923444666},162755.82718667798,91464.550260512944,895.07684375386361,566.30343487267908,462924.63251518499]
["12CP",{"$f":"SUM(B2:B13)","v":360086.68635642051},{"$f":"SUM(C2:C13)","v":172888.20580660892},437061.45999804756,262403.96960230498,1607.6952138939018,{"$f":"SUM(G2:G13)","v":1698.9103046180369},1235746.9272818938]
[]
[]
[null,"Residential","General Service <50kW","General Service 50-4999kW","Large User","Streetlight","USL","Total"]
[1,43861.804008178369,17187.829529730432,44242.168298194316,24442.698982375092,469.51429950660827,141.57585871816977,{"$f":"SUM(B21:G21)","v":130345.59097670298}]
[2,39581.531728161688,16625.819584825593,41903.317182450228,24125.23735271789,469.51429950660827,141.57585871816977,{"$f":"SUM(B22:G22)","v":122846.99600638017}]
[3,38077.401043416139,15506.526576294544,39804.390789171288,23697.757495280748,469.51429950660827,141.57585871816977,117697.16606238749]
[4,27942.535564185695,10965.60950400494,29750.662003017311,17272.981402871981,469.51429950660827,141.57585871816977,86542.87863230471]
[5,24860.117985024313,12095.96142078141,31004.693494061077,20733.657091411969,469.51429950660827,141.57585871816977,89305.520149503544]
[6,31067.891330042181,14755.694614915199,36617.905043194718,24523.382276585038,469.51429950660827,141.57585871816977,107575.96342296191]
[7,32660.536267508742,16083.527540078987,40235.873764300304,27428.006628493815,469.51429950660827,141.57585871816977,117019.03435860662]
[8,32401.413354080651,16473.792595988838,42835.699327906746,27192.353899571299,469.51429950660827,141.57585871816977,119514.34933577232]
[9,29435.981489621448,15021.047374759977,40214.117594232834,26639.459794042275,469.51429950660827,141.57585871816977,111921.69641088133]
[10,27348.072558581516,18590.03800648898,34183.914735209823,21565.26407258289,469.51429950660827,141.57585871816977,102298.37953108799]
[11,36359.14401410344,14491.935443493698,39913.129687002394,20734.613234288907,469.51429950660827,141.57585871816977,112109.91253711321]
[12,40374.215405911556,16436.994998649865,42231.489235301371,21272.258489042044,469.51429950660827,141.57585871816977,120926.04828712961]
[]
["1NCP",{"$f":"MAX(B21:B32)","v":43861.804008178369},{"$f":"MAX(C21:C32)","v":18590.03800648898},44242.168298194316,27428.006628493815,469.51429950660827,141.57585871816977,{"$f":"SUM(B34:G34)","v":134733.10709958026}]
["4NCP",{"$f":"LARGE(B21:B32,1)+LARGE(B21:B32,2)+LARGE(B21:B32,3)+LARGE(B21:B32,4)","v":161894.95218566776},{"$f":"LARGE(C21:C32,1)+LARGE(C21:C32,2)+LARGE(C21:C32,3)+LARGE(C21:C32,4)","v":68877.479717033842},171212.67404385266,105783.20259869241,1878.0571980264331,566.30343487267908,{"$f":"SUM(B35:G35)","v":510212.66917814582}]
["12NCP",{"$f":"SUM(B21:B32)","v":403970.6447488158},{"$f":"SUM(C21:C32)","v":184234.77719001251},462937.36115404242,279627.6707192639,5634.1715940792974,1698.9103046180369,1338103.5357108321]

{"sheet":"2021","index":1,"n_rows":36,"n_cols":9,"rows_kept":36,"cut":false,"hidden":false,"merged":[]}
[null,"Residential","General Service <50kW","General Service 50-4999kW","Large User","Streetlight","USL","Total","Rank"]
[1,46007.427268917607,13608.554387797958,36530.453793283858,18888.217638982314,470.9235897122328,141.96373778317124,115647.54041647713,1]
[2,35867.879961646657,15545.260671069931,39752.234301254117,21139.597619534456,0,141.96373778317124,112446.93629128834,2]
[3,39281.780026299071,13555.44251178519,36496.12605482676,19412.638201200356,277.32166949720357,141.96373778317124,109165.27220139175,4]
[4,23768.905594788852,13200.638104702906,32645.328229803024,19715.389853841385,0,141.96373778317124,89472.225520919339,11]
[5,16401.0964976502,12552.541883175543,33144.503060650721,22060.284953610488,0,141.96373778317124,84300.390132870118,12]
[6,21416.809211494321,13407.257216392918,35345.423766342341,19333.771638095885,0,141.96373778317124,89645.22557010864,10]
[7,26030.668793790199,16077.098338315647,39795.002480830211,25441.512386751907,0,141.96373778317124,107486.24573747112,5]
[8,26147.359595352751,15876.503874440816,41065.046813927132,23034.139574277699,0,141.96373778317124,106265.01359578157,7]
[9,21074.900329222732,14887.083913926132,39647.929548271262,26610.416655963258,0,141.96373778317124,102362.29418516655,8]
[10,30108.077734169063,10942.031456253368,32402.130215837722,18461.021739522792,0,141.96373778317124,92055.224883566116,9]
[11,38610.016997684354,12084.23248054672,36458.38184077436,19455.0358356861,470.9235897122328,141.96373778317124,107220.55448218693,6]
[12,36836.671971148229,13839.368228464065,37975.720739051641,20624.481496538643,470.9235897122328,141.96373778317124,109889.12976269798,3]
[]
["1CP",46007.427268917607,13608.554387797958,36530.453793283858,18888.217638982314,470.9235897122328,141.96373778317124,115647.54041647713]
["4CP",{"$f":"B2+B4+B3+B13","v":157993.75922801156},{"$f":"C2+C4+C3+C13","v":56548.625799117144},150754.53488841638,80064.934956255776,1219.1688489216692,567.85495113268496,447148.8786718552]
["12CP",{"$f":"SUM(B2:B13)","v":361551.59398216405},{"$f":"SUM(C2:C13)","v":165576.01306687118},441258.28084485314,254176.50759400532,1690.092438633902,{"$f":"SUM(G2:G13)","v":1703.5648533980545},1225956.0527799258]
[]
[]
[null,"Residential","General Service <50kW","General Service 50-4999kW","Large User","Streetlight","USL","Total"]
[1,46007.427268917607,15255.867838680835,39542.735867489217,20444.093941007472,470.9235897122328,141.96373778317124,{"$f":"SUM(B21:G21)","v":121863.01224359054}]
[2,41732.830909896642,15761.549094147391,40532.99746385988,21139.597619534456,470.9235897122328,141.96373778317124,{"$f":"SUM(B22:G22)","v":119779.86241493377}]
[3,39281.780026299071,15640.050270554857,38918.181202738553,21008.102516604049,470.9235897122328,141.96373778317124,115461.00134369193]
[4,29225.943355623931,13200.638104702906,32965.015035043027,20015.442330042955,470.9235897122328,141.96373778317124,96019.9261529082]
[5,23132.751712563408,12578.808793876238,33144.503060650721,22060.284953610488,470.9235897122328,141.96373778317124,91529.235848196258]
[6,29707.087877580616,15096.888997611384,36748.513652600013,23908.844757195406,470.9235897122328,141.96373778317124,106074.22261248282]
[7,32420.549177626152,16463.765334807915,40192.853731448551,26569.122254381728,470.9235897122328,141.96373778317124,116259.17782575975]
[8,31896.780114231642,21073.79028710732,41695.928940044119,26710.687251941028,470.9235897122328,141.96373778317124,121990.0739208195]
[9,27941.252331147251,14887.083913926132,39647.929548271262,26730.242489708122,470.9235897122328,141.96373778317124,109819.39561054816]
[10,30108.077734169063,12982.45702899041,35192.072281356566,23863.489044767884,470.9235897122328,141.96373778317124,102758.98341677933]
[11,38610.016997684354,13959.801066069296,36995.055475993147,21995.764745819779,470.9235897122328,141.96373778317124,112173.52561306197]
[12,37461.559324854112,16624.318682496454,42502.527725922584,22072.486427165204,470.9235897122328,141.96373778317124,119273.77948793375]
[]
["1NCP",{"$f":"MAX(B21:B32)","v":46007.427268917607},{"$f":"MAX(C21:C32)","v":21073.79028710732},42502.527725922584,26730.242489708122,470.9235897122328,141.96373778317124,{"$f":"SUM(B34:G34)","v":136926.87509915105}]
["4NCP",{"$f":"LARGE(B21:B32,1)+LARGE(B21:B32,2)+LARGE(B21:B32,3)+LARGE(B21:B32,4)","v":165632.05520279767},{"$f":"LARGE(C21:C32,1)+LARGE(C21:C32,2)+LARGE(C21:C32,3)+LARGE(C21:C32,4)","v":69923.423398559069},164924.30786127513,103918.89675322628,1883.6943588489312,567.85495113268496,{"$f":"SUM(B35:G35)","v":506850.23252583976}]
["12NCP",{"$f":"SUM(B21:B32)","v":407526.05683059391},{"$f":"SUM(C21:C32)","v":183525.01941297113},458078.3139854176,276518.1583317786,5651.0830765467917,1703.5648533980545,1333002.1964907062]