## instructions for use
Review of Enbridge Gas' stage 2 analysis of the economics of natural gas and electrified alternatives for customers in the Ontario Panhandle
This spreadsheet is designed to help the user understand the calculations made for the report "Evidence Regarding Stage 2 Analysis and Gas Alternatives for Greenhouses". Users also have the opportunity to change some of the inputs used and test the impacts on the outcomes.
The input sheet is where the sources of the data are provided. Users can change the values used in the analysis. The outcomes appear in the output sheet.
The output sheet displays the output of the analysis using the data from the input sheet.
The formulas sheet details the methodology used in the analysis and the assumptions used.
Abbreviations used
AC = air conditioner
ccASHP = cold climate air source heat pump
EF = energy factor, a measure of water heater efficiency
HPWH = heat pump water heater
HSPF = heating seasonal performance factor, a measure of heat pump efficiency
NPV = net present value
SCOP = seasonal coeffcient of performance, a measure of heat pump efficiency
SEER = seasonal energy efficiency ratio, a measure of air conditioning efficiency

## input
Data Sources
Variables |  | source
heating load
average gas use for space heating (m3) | 1801 | EB-2022-0157 Exhibit JT1.18 subtracting 330 m3 for water heating ( sourced from EB-2021-0002 I.10h.STAFF77)
heat load (m3) | 1710.95 | calculated from avg gas used and assuming 95% efficiency
conversion factor GJ/m3 | 0.038
heat load (GJ) | 65.0161 | calculated from EB-2021-0002 I.10h.STAFF77 gas use
conversion factor GJ/kWh | 0.0036
heat load (kWh) | 18060.0278 | calculated from EB-2021-0002 I.10h.STAFF77 gas use
water heating load
avg gas use for water heating (m3) | 330 | calculated from EB-2021-0002 I.10h.STAFF77 gas use with and without water heating
water heating load (m3) | 267.3 | calculated from EB-2021-0002 I.10h.STAFF78 gas use and water heater efficiency
cooling load
avg kWh use for space cooling | 779 | sourced from EB-2021-0002 I.10h.STAFF77
kWh cooling load | 2551.7785 | calculated from EB-2021-0002 I.10h.STAFF77 and AC efficiency
gas heating systems
gas furnace efficiency (%) | 0.95 | sourced from EB-2021-0002 I.10h.STAFF77
AC efficiency (SEER) | 13 | sourced from EB-2021-0002 I.10h.STAFF77
AC efficiency (SCOP) | 3.2757 | calculated from EB-2021-0002 I.10h.STAFF77 and AC efficiency
upfront cost furnace + AC | 8000 | sourced from EB-2021-0002 I.10h.STAFF77
lifespan (yrs) | 15 | sourced from EB-2021-0002 I.10h.STAFF77
gas water heater efficiency (EF) | 0.81 | sourced from EB-2021-0002 I.10h.STAFF77
gas water heater upfront cost | 2500 | sourced from EB-2021-0002 I.10h.STAFF77
electrified heat pump system
efficiency in zone V (HSPF) | 10 | sourced from EB-2021-0002 I.10h.STAFF77 and Exhibit I.10.EGI.ED.33
efficiency (% in zone V) | 2.9326 | calculated from EB-2021-0002 I.10h.STAFF77 and ASHP efficiency
efficiency SEER | 21 | average of the SEER values for the 1553 heat pump systems in the NRCan database with HSPF (zone IV) between 10 and 11
cooling efficiency (%) | 4.3071 | calculated from SEER value
upfront cost | 11100 | sourced from EB-2021-0002 I.10h.STAFF77
lifespan | 15 | Billimoria, S., Henchen, M., Guccione, L., & Louis-Prescott, L. (2018). The Economics of Electrifying Buildings: How Electric Space and Water Heating Supports Decarbonization of Residential Buildings. Rocky Mountain Institute, http://www.rmi.org/insights/reports/economics-electrifying-buildings/
HPWH (EF) | 3.75 | Home Depot 50 gal hybrid heat pump water heater https://www.homedepot.ca/product/rheem-proterra-50-gallon-189l-10-year-4-5kw-hybrid-high-efficiency-tank-electric-water-heater/1001586346
HPWH total installed cost | 4257 | calculated from Home Depot values for heat pump water heater and installation quote: https://www.homedepot.ca/product/rheem-proterra-50-gallon-189l-10-year-4-5kw-hybrid-high-efficiency-tank-electric-water-heater/1001586346
lifespan (yrs) | 15 | sourced from EB-2021-0002 I.10h.STAFF77
installation date
year of installation
other values
discount rate (for NPV) | 0.04 | sourced from I.ED.14 Attachment 1
discount factor (mid-period) | 0.5 | sourced from I.ED.14 Attachment 1
carbon price beyond 2030 (increase $/tonne/year) | 0
annual inflation rate | 0%
Number of new attachments | adjust on the outputs spreadsheet | sourced from I.ED.14 Attachment 1
NG and electricity Oct 1, 2022 prices |  |  | year | NG variable cost (no c-tax) | NG c-tax | NG total variable cost/m3 | NG annual fixed cost | electricity variable cost/kWh | NG c-tax no increase after 2030 | NG c-tax if increasing 2030-2050
|  |  | 2021 |  | 0.0783
delivery for 300 m3/mo ($/m3) | 0.068466 | Enbridge Gas Union South rate zone | 2022 | 0.4852 | 0.1077 | 0.59289 | 314.3208 | 0.13629 | 0.1077 | 0.1077
transportation ($/m3) | 0 | Enbridge Gas Union South rate zone | 2023 | 0.4852 | 0.14001 | 0.6252 | 314.3208 | 0.13629 | 0.14001 | 0.14001
gas supply charge | 0.32635 | Enbridge Gas Union South rate zone | 2024 | 0.4852 | 0.17233 | 0.65752 | 314.3208 | 0.13629 | 0.17233 | 0.17233
adjustment charges | 0.034561 | Enbridge Gas Union South rate zone | 2025 | 0.4852 | 0.20464 | 0.68984 | 314.3208 | 0.13629 | 0.20464 | 0.20464
fixed customer charge ($/mo) | 23.18 | Enbridge Gas Union South rate zone | 2026 | 0.4852 | 0.23696 | 0.72216 | 314.3208 | 0.13629 | 0.23696 | 0.23696
HST | 13% | Enbridge Gas Union South rate zone | 2027 | 0.4852 | 0.26928 | 0.75447 | 314.3208 | 0.13629 | 0.26928 | 0.26928
total variable cost (no gas expansion surcharge or c-tax) | 0.4852 |  | 2028 | 0.4852 | 0.3016 | 0.78679 | 314.3208 | 0.13629 | 0.3016 | 0.3016
total annual fixed cost | 314.3208 |  | 2029 | 0.4852 | 0.3338 | 0.819 | 314.3208 | 0.13629 | 0.3338 | 0.3338
|  |  | 2030 | 0.4852 | 0.36612 | 0.85132 | 314.3208 | 0.13629 | 0.36612 | 0.36612
|  |  | 2031 | 0.4852 | 0.36612 | 0.85132 | 314.3208 | 0.13629 | 0.36612 | 0.39842
time-averaged TOU rate ($/kWh) | 0.10325 | HydroOne medium density rate | 2032 | 0.4852 | 0.36612 | 0.85132 | 314.3208 | 0.13629 | 0.36612 | 0.43073
electricity distribution charge ($/kWh) | 0.01 | HydroOne medium density rate | 2033 | 0.4852 | 0.36612 | 0.85132 | 314.3208 | 0.13629 | 0.36612 | 0.46303
electricity transmission charge ($/kWh) | 0.0179 | HydroOne medium density rate | 2034 | 0.4852 | 0.36612 | 0.85132 | 314.3208 | 0.13629 | 0.36612 | 0.49534
wholesale market service ($/kWh) | 0.0039 | HydroOne medium density rate | 2035 | 0.4852 | 0.36612 | 0.85132 | 314.3208 | 0.13629 | 0.36612 | 0.52764
HST | 13% | HydroOne medium density rate | 2036 | 0.4852 | 0.36612 | 0.85132 | 314.3208 | 0.13629 | 0.36612 | 0.55995
Ontario Electricity Rebate | 17% | HydroOne medium density rate | 2037 | 0.4852 | 0.36612 | 0.85132 | 314.3208 | 0.13629 | 0.36612 | 0.59225
line loss adjustment factor | 1.076 | HydroOne medium density rate | 2038 | 0.4852 | 0.36612 | 0.85132 | 314.3208 | 0.13629 | 0.36612 | 0.62456
total electricity variable cost ($/kWh) | 0.13629 |  | 2039 | 0.4852 | 0.36612 | 0.85132 | 314.3208 | 0.13629 | 0.36612 | 0.65686
|  |  | 2040 | 0.4852 | 0.36612 | 0.85132 | 314.3208 | 0.13629 | 0.36612 | 0.68917
|  |  | 2041 | 0.4852 | 0.36612 | 0.85132 | 314.3208 | 0.13629 | 0.36612 | 0.72147
|  |  | 2042 | 0.4852 | 0.36612 | 0.85132 | 314.3208 | 0.13629 | 0.36612 | 0.75378
|  |  | 2043 | 0.4852 | 0.36612 | 0.85132 | 314.3208 | 0.13629 | 0.36612 | 0.78608
|  |  | 2044 | 0.4852 | 0.36612 | 0.85132 | 314.3208 | 0.13629 | 0.36612 | 0.81839
|  |  | 2045 | 0.4852 | 0.36612 | 0.85132 | 314.3208 | 0.13629 | 0.36612 | 0.85069
|  |  | 2046 | 0.4852 | 0.36612 | 0.85132 | 314.3208 | 0.13629 | 0.36612 | 0.883
|  |  | 2047 | 0.4852 | 0.36612 | 0.85132 | 314.3208 | 0.13629 | 0.36612 | 0.9153
|  |  | 2048 | 0.4852 | 0.36612 | 0.85132 | 314.3208 | 0.13629 | 0.36612 | 0.9476
|  |  | 2049 | 0.4852 | 0.36612 | 0.85132 | 314.3208 | 0.13629 | 0.36612 | 0.97991
|  |  | 2050 | 0.4852 | 0.36612 | 0.85132 | 314.3208 | 0.13629 | 0.36612 | 1.0122
|  |  | 2051 | 0.4852 | 0.36612 | 0.85132 | 314.3208 | 0.13629 | 0.36612 | 1.0122
|  |  | 2052 | 0.4852 | 0.36612 | 0.85132 | 314.3208 | 0.13629 | 0.36612 | 1.0122
|  |  | 2053 | 0.4852 | 0.36612 | 0.85132 | 314.3208 | 0.13629 | 0.36612 | 1.0122
|  |  | 2054 | 0.4852 | 0.36612 | 0.85132 | 314.3208 | 0.13629 | 0.36612 | 1.0122
|  |  | 2055 | 0.4852 | 0.36612 | 0.85132 | 314.3208 | 0.13629 | 0.36612 | 1.0122
|  |  | 2056 | 0.4852 | 0.36612 | 0.85132 | 314.3208 | 0.13629 | 0.36612 | 1.0122
|  |  | 2057 | 0.4852 | 0.36612 | 0.85132 | 314.3208 | 0.13629 | 0.36612 | 1.0122
|  |  | 2058 | 0.4852 | 0.36612 | 0.85132 | 314.3208 | 0.13629 | 0.36612 | 1.0122
|  |  | 2059 | 0.4852 | 0.36612 | 0.85132 | 314.3208 | 0.13629 | 0.36612 | 1.0122
|  |  | 2060 | 0.4852 | 0.36612 | 0.85132 | 314.3208 | 0.13629 | 0.36612 | 1.0122
|  |  | 2061 | 0.4852 | 0.36612 | 0.85132 | 314.3208 | 0.13629 | 0.36612 | 1.0122
|  |  | 2062 | 0.4852 | 0.36612 | 0.85132 | 314.3208 | 0.13629 | 0.36612 | 1.0122

## outputs
Outputs for the Cost-effectiveness of a ccASHP and HPWH compared to a gas furnace, AC and gas water heater
| 2023 install | 2024 install | 2025 install | 2026 install | 2027 install | 2028 install | 2029 install
Input variables
space heating load (m3) | 1710.95 | 1710.95 | 1710.95 | 1710.95 | 1710.95 | 1710.95 | 1710.95
cooling load (kWh) | 2551.7785 | 2551.7785 | 2551.7785 | 2551.7785 | 2551.7785 | 2551.7785 | 2551.7785
water heating load (m3) | 267.3 | 267.3 | 267.3 | 267.3 | 267.3 | 267.3 | 267.3
water heating load (kWh) | 2821.5 | 2821.5 | 2821.5 | 2821.5 | 2821.5 | 2821.5 | 2821.5
heat pump efficiency (HSPF V, COP for gas heat pump) | 10 | 10 | 10 | 10 | 10 | 10 | 10
gas space heating efficiency (%) | 0.95 | 0.95 | 0.95 | 0.95 | 0.95 | 0.95 | 0.95
heat pump SEER | 21 | 21 | 21 | 21 | 21 | 21 | 21
AC SEER | 13 | 13 | 13 | 13 | 13 | 13 | 13
HPWH or gas HP efficiency (EF) | 3.75 | 3.75 | 3.75 | 3.75 | 3.75 | 3.75 | 3.75
gas water heating efficiency (EF) | 0.81 | 0.81 | 0.81 | 0.81 | 0.81 | 0.81 | 0.81
upfront costs
incremental cost of heat pumps relative to gas systems | 4857 | 4857 | 4857 | 4857 | 4857 | 4857 | 4857
annualized incremental cost of heat pumps | 436.8439 | 436.8439 | 436.8439 | 436.8439 | 436.8439 | 436.8439 | 436.8439
lifetime operational costs
lifetime operational cost of gas furnace system | 26877.927 | 27359.7738 | 27772.751 | 28116.8585 | 28392.0963 | 28598.4645 | 28735.963
lifetime gas fixed cost | 4714.812 | 4714.812 | 4714.812 | 4714.812 | 4714.812 | 4714.812 | 4714.812
lifetime operational cost of heat pumps | 15665.0906 | 15665.0906 | 15665.0906 | 15665.0906 | 15665.0906 | 15665.0906 | 15665.0906
lifetime operations savings with heat pumps
lifetime operational savings with heat pumps | 15927.6484 | 16409.4952 | 16822.4724 | 17166.5798 | 17441.8177 | 17648.1858 | 17785.6844
lifetimes savings with heat pumps (incl. capital and operational costs) | 11070.6484 | 11552.4952 | 11965.4724 | 12309.5798 | 12584.8177 | 12791.1858 | 12928.6844
NPV for operation of ASHP system | 11745.4029 | 11698.8023 | 11589.0592 | 11421.0996 | 11199.564 | 10928.8222 | 10612.987
15-year lifetime NPV including upfront cost | 6792.2153 | 6936.1219 | 7009.5588 | 7017.7339 | 6965.5585 | 6857.6631 | 6698.4109
NPV of savings with heat pumps
20-year NPV (2023-2042 incl) | 8340.9274 | 8074.5891 | 7753.5596 | 7382.4401 | 6965.5585 | 6506.984 | 6010.5403
40-year NPV (2023-2062 incl) | 13457.4501 | 13191.1117 | 12870.0823 | 12498.9628 | 12082.0812 | 11623.5067 | 11127.063
number of new attachments | 593 | 1184 | 1185 | 1184 | 1184 | 1184 | 593 | Total for all homes
20-year NPV ($million) | 4.9462 | 9.5603 | 9.188 | 8.7408 | 8.2472 | 7.7043 | 3.5643 | 48.3868
40-year NPV | 7.9803 | 15.6183 | 15.251 | 14.7988 | 14.3052 | 13.7622 | 6.5983 | 81.7158
Underlying calculations
NG 15-yr operating cost for space heating | 21369.7655 | 21776.9951 | 22126.0199 | 22416.8399 | 22649.4553 | 22823.8659 | 22940.0719
2021
2022
2023 | 1125.9889
2024 | 1184.1936 | 1184.1936
2025 | 1242.3984 | 1242.3984 | 1242.3984
2026 | 1300.6031 | 1300.6031 | 1300.6031 | 1300.6031
2027 | 1358.8078 | 1358.8078 | 1358.8078 | 1358.8078 | 1358.8078
2028 | 1417.0125 | 1417.0125 | 1417.0125 | 1417.0125 | 1417.0125 | 1417.0125
2029 | 1475.0137 | 1475.0137 | 1475.0137 | 1475.0137 | 1475.0137 | 1475.0137 | 1475.0137
2030 | 1533.2184 | 1533.2184 | 1533.2184 | 1533.2184 | 1533.2184 | 1533.2184 | 1533.2184
2031 | 1533.2184 | 1533.2184 | 1533.2184 | 1533.2184 | 1533.2184 | 1533.2184 | 1533.2184
2032 | 1533.2184 | 1533.2184 | 1533.2184 | 1533.2184 | 1533.2184 | 1533.2184 | 1533.2184
2033 | 1533.2184 | 1533.2184 | 1533.2184 | 1533.2184 | 1533.2184 | 1533.2184 | 1533.2184
2034 | 1533.2184 | 1533.2184 | 1533.2184 | 1533.2184 | 1533.2184 | 1533.2184 | 1533.2184
2035 | 1533.2184 | 1533.2184 | 1533.2184 | 1533.2184 | 1533.2184 | 1533.2184 | 1533.2184
2036 | 1533.2184 | 1533.2184 | 1533.2184 | 1533.2184 | 1533.2184 | 1533.2184 | 1533.2184
2037 | 1533.2184 | 1533.2184 | 1533.2184 | 1533.2184 | 1533.2184 | 1533.2184 | 1533.2184
2038 | 1533.2184 | 1533.2184 | 1533.2184 | 1533.2184 | 1533.2184 | 1533.2184 | 1533.2184
2039 | 1533.2184 | 1533.2184 | 1533.2184 | 1533.2184 | 1533.2184 | 1533.2184 | 1533.2184
2040 | 1533.2184 | 1533.2184 | 1533.2184 | 1533.2184 | 1533.2184 | 1533.2184 | 1533.2184
2041 | 1533.2184 | 1533.2184 | 1533.2184 | 1533.2184 | 1533.2184 | 1533.2184 | 1533.2184
2042 | 1533.2184 | 1533.2184 | 1533.2184 | 1533.2184 | 1533.2184 | 1533.2184 | 1533.2184
2043 | 1533.2184 | 1533.2184 | 1533.2184 | 1533.2184 | 1533.2184 | 1533.2184 | 1533.2184
2044 | 1533.2184 | 1533.2184 | 1533.2184 | 1533.2184 | 1533.2184 | 1533.2184 | 1533.2184
2045 | 1533.2184 | 1533.2184 | 1533.2184 | 1533.2184 | 1533.2184 | 1533.2184 | 1533.2184
2046 | 1533.2184 | 1533.2184 | 1533.2184 | 1533.2184 | 1533.2184 | 1533.2184 | 1533.2184
2047 | 1533.2184 | 1533.2184 | 1533.2184 | 1533.2184 | 1533.2184 | 1533.2184 | 1533.2184
2048 | 1533.2184 | 1533.2184 | 1533.2184 | 1533.2184 | 1533.2184 | 1533.2184 | 1533.2184
2049 | 1533.2184 | 1533.2184 | 1533.2184 | 1533.2184 | 1533.2184 | 1533.2184 | 1533.2184
2050 | 1533.2184 | 1533.2184 | 1533.2184 | 1533.2184 | 1533.2184 | 1533.2184 | 1533.2184
2051 | 1533.2184 | 1533.2184 | 1533.2184 | 1533.2184 | 1533.2184 | 1533.2184 | 1533.2184
2052 | 1533.2184 | 1533.2184 | 1533.2184 | 1533.2184 | 1533.2184 | 1533.2184 | 1533.2184
2053 | 1533.2184 | 1533.2184 | 1533.2184 | 1533.2184 | 1533.2184 | 1533.2184 | 1533.2184
2054 | 1533.2184 | 1533.2184 | 1533.2184 | 1533.2184 | 1533.2184 | 1533.2184 | 1533.2184
2055 | 1533.2184 | 1533.2184 | 1533.2184 | 1533.2184 | 1533.2184 | 1533.2184 | 1533.2184
2056 | 1533.2184 | 1533.2184 | 1533.2184 | 1533.2184 | 1533.2184 | 1533.2184 | 1533.2184
2057 | 1533.2184 | 1533.2184 | 1533.2184 | 1533.2184 | 1533.2184 | 1533.2184 | 1533.2184
2058 | 1533.2184 | 1533.2184 | 1533.2184 | 1533.2184 | 1533.2184 | 1533.2184 | 1533.2184
2059 | 1533.2184 | 1533.2184 | 1533.2184 | 1533.2184 | 1533.2184 | 1533.2184 | 1533.2184
2060 | 1533.2184 | 1533.2184 | 1533.2184 | 1533.2184 | 1533.2184 | 1533.2184 | 1533.2184
2061 | 1533.2184 | 1533.2184 | 1533.2184 | 1533.2184 | 1533.2184 | 1533.2184 | 1533.2184
2062 | 1533.2184 | 1533.2184 | 1533.2184 | 1533.2184 | 1533.2184 | 1533.2184 | 1533.2184
NG 15-yr operating cost for water heating | 3915.615 | 3990.2323 | 4054.1846 | 4107.4721 | 4150.0945 | 4182.0521 | 4203.3446
2021
2022
2023 | 206.3167
2024 | 216.9816 | 216.9816
2025 | 227.6466 | 227.6466 | 227.6466
2026 | 238.3115 | 238.3115 | 238.3115 | 238.3115
2027 | 248.9764 | 248.9764 | 248.9764 | 248.9764 | 248.9764
2028 | 259.6414 | 259.6414 | 259.6414 | 259.6414 | 259.6414 | 259.6414
2029 | 270.269 | 270.269 | 270.269 | 270.269 | 270.269 | 270.269 | 270.269
2030 | 280.934 | 280.934 | 280.934 | 280.934 | 280.934 | 280.934 | 280.934
2031 | 280.934 | 280.934 | 280.934 | 280.934 | 280.934 | 280.934 | 280.934
2032 | 280.934 | 280.934 | 280.934 | 280.934 | 280.934 | 280.934 | 280.934
2033 | 280.934 | 280.934 | 280.934 | 280.934 | 280.934 | 280.934 | 280.934
2034 | 280.934 | 280.934 | 280.934 | 280.934 | 280.934 | 280.934 | 280.934
2035 | 280.934 | 280.934 | 280.934 | 280.934 | 280.934 | 280.934 | 280.934
2036 | 280.934 | 280.934 | 280.934 | 280.934 | 280.934 | 280.934 | 280.934
2037 | 280.934 | 280.934 | 280.934 | 280.934 | 280.934 | 280.934 | 280.934
2038 | 280.934 | 280.934 | 280.934 | 280.934 | 280.934 | 280.934 | 280.934
2039 | 280.934 | 280.934 | 280.934 | 280.934 | 280.934 | 280.934 | 280.934
2040 | 280.934 | 280.934 | 280.934 | 280.934 | 280.934 | 280.934 | 280.934
2041 | 280.934 | 280.934 | 280.934 | 280.934 | 280.934 | 280.934 | 280.934
2042 | 280.934 | 280.934 | 280.934 | 280.934 | 280.934 | 280.934 | 280.934
2043 | 280.934 | 280.934 | 280.934 | 280.934 | 280.934 | 280.934 | 280.934
2044 | 280.934 | 280.934 | 280.934 | 280.934 | 280.934 | 280.934 | 280.934
2045 | 280.934 | 280.934 | 280.934 | 280.934 | 280.934 | 280.934 | 280.934
2046 | 280.934 | 280.934 | 280.934 | 280.934 | 280.934 | 280.934 | 280.934
2047 | 280.934 | 280.934 | 280.934 | 280.934 | 280.934 | 280.934 | 280.934
2048 | 280.934 | 280.934 | 280.934 | 280.934 | 280.934 | 280.934 | 280.934
2049 | 280.934 | 280.934 | 280.934 | 280.934 | 280.934 | 280.934 | 280.934
2050 | 280.934 | 280.934 | 280.934 | 280.934 | 280.934 | 280.934 | 280.934
2051 | 280.934 | 280.934 | 280.934 | 280.934 | 280.934 | 280.934 | 280.934
2052 | 280.934 | 280.934 | 280.934 | 280.934 | 280.934 | 280.934 | 280.934
2053 | 280.934 | 280.934 | 280.934 | 280.934 | 280.934 | 280.934 | 280.934
2054 | 280.934 | 280.934 | 280.934 | 280.934 | 280.934 | 280.934 | 280.934
2055 | 280.934 | 280.934 | 280.934 | 280.934 | 280.934 | 280.934 | 280.934
2056 | 280.934 | 280.934 | 280.934 | 280.934 | 280.934 | 280.934 | 280.934
2057 | 280.934 | 280.934 | 280.934 | 280.934 | 280.934 | 280.934 | 280.934
2058 | 280.934 | 280.934 | 280.934 | 280.934 | 280.934 | 280.934 | 280.934
2059 | 280.934 | 280.934 | 280.934 | 280.934 | 280.934 | 280.934 | 280.934
2060 | 280.934 | 280.934 | 280.934 | 280.934 | 280.934 | 280.934 | 280.934
2061 | 280.934 | 280.934 | 280.934 | 280.934 | 280.934 | 280.934 | 280.934
2062 | 280.934 | 280.934 | 280.934 | 280.934 | 280.934 | 280.934 | 280.934
AC cooling efficiency | 3.2757 | 3.2757 | 3.2757 | 3.2757 | 3.2757 | 3.2757 | 3.2757
15-year AC costs | 1592.5465 | 1592.5465 | 1592.5465 | 1592.5465 | 1592.5465 | 1592.5465 | 1592.5465
2021
2022
2023 | 106.1698
2024 | 106.1698 | 106.1698
2025 | 106.1698 | 106.1698 | 106.1698
2026 | 106.1698 | 106.1698 | 106.1698 | 106.1698
2027 | 106.1698 | 106.1698 | 106.1698 | 106.1698 | 106.1698
2028 | 106.1698 | 106.1698 | 106.1698 | 106.1698 | 106.1698 | 106.1698
2029 | 106.1698 | 106.1698 | 106.1698 | 106.1698 | 106.1698 | 106.1698 | 106.1698
2030 | 106.1698 | 106.1698 | 106.1698 | 106.1698 | 106.1698 | 106.1698 | 106.1698
2031 | 106.1698 | 106.1698 | 106.1698 | 106.1698 | 106.1698 | 106.1698 | 106.1698
2032 | 106.1698 | 106.1698 | 106.1698 | 106.1698 | 106.1698 | 106.1698 | 106.1698
2033 | 106.1698 | 106.1698 | 106.1698 | 106.1698 | 106.1698 | 106.1698 | 106.1698
2034 | 106.1698 | 106.1698 | 106.1698 | 106.1698 | 106.1698 | 106.1698 | 106.1698
2035 | 106.1698 | 106.1698 | 106.1698 | 106.1698 | 106.1698 | 106.1698 | 106.1698
2036 | 106.1698 | 106.1698 | 106.1698 | 106.1698 | 106.1698 | 106.1698 | 106.1698
2037 | 106.1698 | 106.1698 | 106.1698 | 106.1698 | 106.1698 | 106.1698 | 106.1698
2038 | 106.1698 | 106.1698 | 106.1698 | 106.1698 | 106.1698 | 106.1698 | 106.1698
2039 | 106.1698 | 106.1698 | 106.1698 | 106.1698 | 106.1698 | 106.1698 | 106.1698
2040 | 106.1698 | 106.1698 | 106.1698 | 106.1698 | 106.1698 | 106.1698 | 106.1698
2041 | 106.1698 | 106.1698 | 106.1698 | 106.1698 | 106.1698 | 106.1698 | 106.1698
2042 | 106.1698 | 106.1698 | 106.1698 | 106.1698 | 106.1698 | 106.1698 | 106.1698
2043 | 106.1698 | 106.1698 | 106.1698 | 106.1698 | 106.1698 | 106.1698 | 106.1698
2044 | 106.1698 | 106.1698 | 106.1698 | 106.1698 | 106.1698 | 106.1698 | 106.1698
2045 | 106.1698 | 106.1698 | 106.1698 | 106.1698 | 106.1698 | 106.1698 | 106.1698
2046 | 106.1698 | 106.1698 | 106.1698 | 106.1698 | 106.1698 | 106.1698 | 106.1698
2047 | 106.1698 | 106.1698 | 106.1698 | 106.1698 | 106.1698 | 106.1698 | 106.1698
2048 | 106.1698 | 106.1698 | 106.1698 | 106.1698 | 106.1698 | 106.1698 | 106.1698
2049 | 106.1698 | 106.1698 | 106.1698 | 106.1698 | 106.1698 | 106.1698 | 106.1698
2050 | 106.1698 | 106.1698 | 106.1698 | 106.1698 | 106.1698 | 106.1698 | 106.1698
2051 | 106.1698 | 106.1698 | 106.1698 | 106.1698 | 106.1698 | 106.1698 | 106.1698
2052 | 106.1698 | 106.1698 | 106.1698 | 106.1698 | 106.1698 | 106.1698 | 106.1698
2053 | 106.1698 | 106.1698 | 106.1698 | 106.1698 | 106.1698 | 106.1698 | 106.1698
2054 | 106.1698 | 106.1698 | 106.1698 | 106.1698 | 106.1698 | 106.1698 | 106.1698
2055 | 106.1698 | 106.1698 | 106.1698 | 106.1698 | 106.1698 | 106.1698 | 106.1698
2056 | 106.1698 | 106.1698 | 106.1698 | 106.1698 | 106.1698 | 106.1698 | 106.1698
2057 | 106.1698 | 106.1698 | 106.1698 | 106.1698 | 106.1698 | 106.1698 | 106.1698
2058 | 106.1698 | 106.1698 | 106.1698 | 106.1698 | 106.1698 | 106.1698 | 106.1698
2059 | 106.1698 | 106.1698 | 106.1698 | 106.1698 | 106.1698 | 106.1698 | 106.1698
2060 | 106.1698 | 106.1698 | 106.1698 | 106.1698 | 106.1698 | 106.1698 | 106.1698
2061 | 106.1698 | 106.1698 | 106.1698 | 106.1698 | 106.1698 | 106.1698 | 106.1698
2062 | 106.1698 | 106.1698 | 106.1698 | 106.1698 | 106.1698 | 106.1698 | 106.1698
15-year ccASHP operating cost for heating | 12601.0127 | 12601.0127 | 12601.0127 | 12601.0127 | 12601.0127 | 12601.0127 | 12601.0127
2021
2022
2023 | 840.0675
2024 | 840.0675 | 840.0675
2025 | 840.0675 | 840.0675 | 840.0675
2026 | 840.0675 | 840.0675 | 840.0675 | 840.0675
2027 | 840.0675 | 840.0675 | 840.0675 | 840.0675 | 840.0675
2028 | 840.0675 | 840.0675 | 840.0675 | 840.0675 | 840.0675 | 840.0675
2029 | 840.0675 | 840.0675 | 840.0675 | 840.0675 | 840.0675 | 840.0675 | 840.0675
2030 | 840.0675 | 840.0675 | 840.0675 | 840.0675 | 840.0675 | 840.0675 | 840.0675
2031 | 840.0675 | 840.0675 | 840.0675 | 840.0675 | 840.0675 | 840.0675 | 840.0675
2032 | 840.0675 | 840.0675 | 840.0675 | 840.0675 | 840.0675 | 840.0675 | 840.0675
2033 | 840.0675 | 840.0675 | 840.0675 | 840.0675 | 840.0675 | 840.0675 | 840.0675
2034 | 840.0675 | 840.0675 | 840.0675 | 840.0675 | 840.0675 | 840.0675 | 840.0675
2035 | 840.0675 | 840.0675 | 840.0675 | 840.0675 | 840.0675 | 840.0675 | 840.0675
2036 | 840.0675 | 840.0675 | 840.0675 | 840.0675 | 840.0675 | 840.0675 | 840.0675
2037 | 840.0675 | 840.0675 | 840.0675 | 840.0675 | 840.0675 | 840.0675 | 840.0675
2038 | 840.0675 | 840.0675 | 840.0675 | 840.0675 | 840.0675 | 840.0675 | 840.0675
2039 | 840.0675 | 840.0675 | 840.0675 | 840.0675 | 840.0675 | 840.0675 | 840.0675
2040 | 840.0675 | 840.0675 | 840.0675 | 840.0675 | 840.0675 | 840.0675 | 840.0675
2041 | 840.0675 | 840.0675 | 840.0675 | 840.0675 | 840.0675 | 840.0675 | 840.0675
2042 | 840.0675 | 840.0675 | 840.0675 | 840.0675 | 840.0675 | 840.0675 | 840.0675
2043 | 840.0675 | 840.0675 | 840.0675 | 840.0675 | 840.0675 | 840.0675 | 840.0675
2044 | 840.0675 | 840.0675 | 840.0675 | 840.0675 | 840.0675 | 840.0675 | 840.0675
2045 | 840.0675 | 840.0675 | 840.0675 | 840.0675 | 840.0675 | 840.0675 | 840.0675
2046 | 840.0675 | 840.0675 | 840.0675 | 840.0675 | 840.0675 | 840.0675 | 840.0675
2047 | 840.0675 | 840.0675 | 840.0675 | 840.0675 | 840.0675 | 840.0675 | 840.0675
2048 | 840.0675 | 840.0675 | 840.0675 | 840.0675 | 840.0675 | 840.0675 | 840.0675
2049 | 840.0675 | 840.0675 | 840.0675 | 840.0675 | 840.0675 | 840.0675 | 840.0675
2050 | 840.0675 | 840.0675 | 840.0675 | 840.0675 | 840.0675 | 840.0675 | 840.0675
2051 | 840.0675 | 840.0675 | 840.0675 | 840.0675 | 840.0675 | 840.0675 | 840.0675
2052 | 840.0675 | 840.0675 | 840.0675 | 840.0675 | 840.0675 | 840.0675 | 840.0675
2053 | 840.0675 | 840.0675 | 840.0675 | 840.0675 | 840.0675 | 840.0675 | 840.0675
2054 | 840.0675 | 840.0675 | 840.0675 | 840.0675 | 840.0675 | 840.0675 | 840.0675
2055 | 840.0675 | 840.0675 | 840.0675 | 840.0675 | 840.0675 | 840.0675 | 840.0675
2056 | 840.0675 | 840.0675 | 840.0675 | 840.0675 | 840.0675 | 840.0675 | 840.0675
2057 | 840.0675 | 840.0675 | 840.0675 | 840.0675 | 840.0675 | 840.0675 | 840.0675
2058 | 840.0675 | 840.0675 | 840.0675 | 840.0675 | 840.0675 | 840.0675 | 840.0675
2059 | 840.0675 | 840.0675 | 840.0675 | 840.0675 | 840.0675 | 840.0675 | 840.0675
2060 | 840.0675 | 840.0675 | 840.0675 | 840.0675 | 840.0675 | 840.0675 | 840.0675
2061 | 840.0675 | 840.0675 | 840.0675 | 840.0675 | 840.0675 | 840.0675 | 840.0675
2062 | 840.0675 | 840.0675 | 840.0675 | 840.0675 | 840.0675 | 840.0675 | 840.0675
cooling efficiency | 4.3071 | 4.3071 | 4.3071 | 4.3071 | 4.3071 | 4.3071 | 4.3071
15-year ccASHP operating cost for cooling | 1211.202 | 1211.202 | 1211.202 | 1211.202 | 1211.202 | 1211.202 | 1211.202
2021
2022
2023 | 80.7468
2024 | 80.7468 | 80.7468
2025 | 80.7468 | 80.7468 | 80.7468
2026 | 80.7468 | 80.7468 | 80.7468 | 80.7468
2027 | 80.7468 | 80.7468 | 80.7468 | 80.7468 | 80.7468
2028 | 80.7468 | 80.7468 | 80.7468 | 80.7468 | 80.7468 | 80.7468
2029 | 80.7468 | 80.7468 | 80.7468 | 80.7468 | 80.7468 | 80.7468 | 80.7468
2030 | 80.7468 | 80.7468 | 80.7468 | 80.7468 | 80.7468 | 80.7468 | 80.7468
2031 | 80.7468 | 80.7468 | 80.7468 | 80.7468 | 80.7468 | 80.7468 | 80.7468
2032 | 80.7468 | 80.7468 | 80.7468 | 80.7468 | 80.7468 | 80.7468 | 80.7468
2033 | 80.7468 | 80.7468 | 80.7468 | 80.7468 | 80.7468 | 80.7468 | 80.7468
2034 | 80.7468 | 80.7468 | 80.7468 | 80.7468 | 80.7468 | 80.7468 | 80.7468
2035 | 80.7468 | 80.7468 | 80.7468 | 80.7468 | 80.7468 | 80.7468 | 80.7468
2036 | 80.7468 | 80.7468 | 80.7468 | 80.7468 | 80.7468 | 80.7468 | 80.7468
2037 | 80.7468 | 80.7468 | 80.7468 | 80.7468 | 80.7468 | 80.7468 | 80.7468
2038 | 80.7468 | 80.7468 | 80.7468 | 80.7468 | 80.7468 | 80.7468 | 80.7468
2039 | 80.7468 | 80.7468 | 80.7468 | 80.7468 | 80.7468 | 80.7468 | 80.7468
2040 | 80.7468 | 80.7468 | 80.7468 | 80.7468 | 80.7468 | 80.7468 | 80.7468
2041 | 80.7468 | 80.7468 | 80.7468 | 80.7468 | 80.7468 | 80.7468 | 80.7468
2042 | 80.7468 | 80.7468 | 80.7468 | 80.7468 | 80.7468 | 80.7468 | 80.7468
2043 | 80.7468 | 80.7468 | 80.7468 | 80.7468 | 80.7468 | 80.7468 | 80.7468
2044 | 80.7468 | 80.7468 | 80.7468 | 80.7468 | 80.7468 | 80.7468 | 80.7468
2045 | 80.7468 | 80.7468 | 80.7468 | 80.7468 | 80.7468 | 80.7468 | 80.7468
2046 | 80.7468 | 80.7468 | 80.7468 | 80.7468 | 80.7468 | 80.7468 | 80.7468
2047 | 80.7468 | 80.7468 | 80.7468 | 80.7468 | 80.7468 | 80.7468 | 80.7468
2048 | 80.7468 | 80.7468 | 80.7468 | 80.7468 | 80.7468 | 80.7468 | 80.7468
2049 | 80.7468 | 80.7468 | 80.7468 | 80.7468 | 80.7468 | 80.7468 | 80.7468
2050 | 80.7468 | 80.7468 | 80.7468 | 80.7468 | 80.7468 | 80.7468 | 80.7468
2051 | 80.7468 | 80.7468 | 80.7468 | 80.7468 | 80.7468 | 80.7468 | 80.7468
2052 | 80.7468 | 80.7468 | 80.7468 | 80.7468 | 80.7468 | 80.7468 | 80.7468
2053 | 80.7468 | 80.7468 | 80.7468 | 80.7468 | 80.7468 | 80.7468 | 80.7468
2054 | 80.7468 | 80.7468 | 80.7468 | 80.7468 | 80.7468 | 80.7468 | 80.7468
2055 | 80.7468 | 80.7468 | 80.7468 | 80.7468 | 80.7468 | 80.7468 | 80.7468
2056 | 80.7468 | 80.7468 | 80.7468 | 80.7468 | 80.7468 | 80.7468 | 80.7468
2057 | 80.7468 | 80.7468 | 80.7468 | 80.7468 | 80.7468 | 80.7468 | 80.7468
2058 | 80.7468 | 80.7468 | 80.7468 | 80.7468 | 80.7468 | 80.7468 | 80.7468
2059 | 80.7468 | 80.7468 | 80.7468 | 80.7468 | 80.7468 | 80.7468 | 80.7468
2060 | 80.7468 | 80.7468 | 80.7468 | 80.7468 | 80.7468 | 80.7468 | 80.7468
2061 | 80.7468 | 80.7468 | 80.7468 | 80.7468 | 80.7468 | 80.7468 | 80.7468
2062 | 80.7468 | 80.7468 | 80.7468 | 80.7468 | 80.7468 | 80.7468 | 80.7468
15-year HPWH water heating cost (+ heating penalty - cooling benefit) | 1852.8759 | 1852.8759 | 1852.8759 | 1852.8759 | 1852.8759 | 1852.8759 | 1852.8759
2021
2022
2023 | 123.5251
2024 | 123.5251 | 123.5251
2025 | 123.5251 | 123.5251 | 123.5251
2026 | 123.5251 | 123.5251 | 123.5251 | 123.5251
2027 | 123.5251 | 123.5251 | 123.5251 | 123.5251 | 123.5251
2028 | 123.5251 | 123.5251 | 123.5251 | 123.5251 | 123.5251 | 123.5251
2029 | 123.5251 | 123.5251 | 123.5251 | 123.5251 | 123.5251 | 123.5251 | 123.5251
2030 | 123.5251 | 123.5251 | 123.5251 | 123.5251 | 123.5251 | 123.5251 | 123.5251
2031 | 123.5251 | 123.5251 | 123.5251 | 123.5251 | 123.5251 | 123.5251 | 123.5251
2032 | 123.5251 | 123.5251 | 123.5251 | 123.5251 | 123.5251 | 123.5251 | 123.5251
2033 | 123.5251 | 123.5251 | 123.5251 | 123.5251 | 123.5251 | 123.5251 | 123.5251
2034 | 123.5251 | 123.5251 | 123.5251 | 123.5251 | 123.5251 | 123.5251 | 123.5251
2035 | 123.5251 | 123.5251 | 123.5251 | 123.5251 | 123.5251 | 123.5251 | 123.5251
2036 | 123.5251 | 123.5251 | 123.5251 | 123.5251 | 123.5251 | 123.5251 | 123.5251
2037 | 123.5251 | 123.5251 | 123.5251 | 123.5251 | 123.5251 | 123.5251 | 123.5251
2038 | 123.5251 | 123.5251 | 123.5251 | 123.5251 | 123.5251 | 123.5251 | 123.5251
2039 | 123.5251 | 123.5251 | 123.5251 | 123.5251 | 123.5251 | 123.5251 | 123.5251
2040 | 123.5251 | 123.5251 | 123.5251 | 123.5251 | 123.5251 | 123.5251 | 123.5251
2041 | 123.5251 | 123.5251 | 123.5251 | 123.5251 | 123.5251 | 123.5251 | 123.5251
2042 | 123.5251 | 123.5251 | 123.5251 | 123.5251 | 123.5251 | 123.5251 | 123.5251
2043 | 123.5251 | 123.5251 | 123.5251 | 123.5251 | 123.5251 | 123.5251 | 123.5251
2044 | 123.5251 | 123.5251 | 123.5251 | 123.5251 | 123.5251 | 123.5251 | 123.5251
2045 | 123.5251 | 123.5251 | 123.5251 | 123.5251 | 123.5251 | 123.5251 | 123.5251
2046 | 123.5251 | 123.5251 | 123.5251 | 123.5251 | 123.5251 | 123.5251 | 123.5251
2047 | 123.5251 | 123.5251 | 123.5251 | 123.5251 | 123.5251 | 123.5251 | 123.5251
2048 | 123.5251 | 123.5251 | 123.5251 | 123.5251 | 123.5251 | 123.5251 | 123.5251
2049 | 123.5251 | 123.5251 | 123.5251 | 123.5251 | 123.5251 | 123.5251 | 123.5251
2050 | 123.5251 | 123.5251 | 123.5251 | 123.5251 | 123.5251 | 123.5251 | 123.5251
2051 | 123.5251 | 123.5251 | 123.5251 | 123.5251 | 123.5251 | 123.5251 | 123.5251
2052 | 123.5251 | 123.5251 | 123.5251 | 123.5251 | 123.5251 | 123.5251 | 123.5251
2053 | 123.5251 | 123.5251 | 123.5251 | 123.5251 | 123.5251 | 123.5251 | 123.5251
2054 | 123.5251 | 123.5251 | 123.5251 | 123.5251 | 123.5251 | 123.5251 | 123.5251
2055 | 123.5251 | 123.5251 | 123.5251 | 123.5251 | 123.5251 | 123.5251 | 123.5251
2056 | 123.5251 | 123.5251 | 123.5251 | 123.5251 | 123.5251 | 123.5251 | 123.5251
2057 | 123.5251 | 123.5251 | 123.5251 | 123.5251 | 123.5251 | 123.5251 | 123.5251
2058 | 123.5251 | 123.5251 | 123.5251 | 123.5251 | 123.5251 | 123.5251 | 123.5251
2059 | 123.5251 | 123.5251 | 123.5251 | 123.5251 | 123.5251 | 123.5251 | 123.5251
2060 | 123.5251 | 123.5251 | 123.5251 | 123.5251 | 123.5251 | 123.5251 | 123.5251
2061 | 123.5251 | 123.5251 | 123.5251 | 123.5251 | 123.5251 | 123.5251 | 123.5251
2062 | 123.5251 | 123.5251 | 123.5251 | 123.5251 | 123.5251 | 123.5251 | 123.5251
15-year operational cost savings with heat pumps | 15927.6484 | 16409.4952 | 16822.4724 | 17166.5798 | 17441.8177 | 17648.1858 | 17785.6844
2021 | 0
2022 | 0
2023 | 708.4568
2024 | 777.3265 | 777.3265
2025 | 846.1961 | 846.1961 | 846.1961
2026 | 915.0658 | 915.0658 | 915.0658 | 915.0658
2027 | 983.9354 | 983.9354 | 983.9354 | 983.9354 | 983.9354
2028 | 1052.8051 | 1052.8051 | 1052.8051 | 1052.8051 | 1052.8051 | 1052.8051
2029 | 1121.4339 | 1121.4339 | 1121.4339 | 1121.4339 | 1121.4339 | 1121.4339 | 1121.4339
2030 | 1190.3036 | 1190.3036 | 1190.3036 | 1190.3036 | 1190.3036 | 1190.3036 | 1190.3036
2031 | 1190.3036 | 1190.3036 | 1190.3036 | 1190.3036 | 1190.3036 | 1190.3036 | 1190.3036
2032 | 1190.3036 | 1190.3036 | 1190.3036 | 1190.3036 | 1190.3036 | 1190.3036 | 1190.3036
2033 | 1190.3036 | 1190.3036 | 1190.3036 | 1190.3036 | 1190.3036 | 1190.3036 | 1190.3036
2034 | 1190.3036 | 1190.3036 | 1190.3036 | 1190.3036 | 1190.3036 | 1190.3036 | 1190.3036
2035 | 1190.3036 | 1190.3036 | 1190.3036 | 1190.3036 | 1190.3036 | 1190.3036 | 1190.3036
2036 | 1190.3036 | 1190.3036 | 1190.3036 | 1190.3036 | 1190.3036 | 1190.3036 | 1190.3036
2037 | 1190.3036 | 1190.3036 | 1190.3036 | 1190.3036 | 1190.3036 | 1190.3036 | 1190.3036
2038 | 1190.3036 | 1190.3036 | 1190.3036 | 1190.3036 | 1190.3036 | 1190.3036 | 1190.3036
2039 | 1190.3036 | 1190.3036 | 1190.3036 | 1190.3036 | 1190.3036 | 1190.3036 | 1190.3036
2040 | 1190.3036 | 1190.3036 | 1190.3036 | 1190.3036 | 1190.3036 | 1190.3036 | 1190.3036
2041 | 1190.3036 | 1190.3036 | 1190.3036 | 1190.3036 | 1190.3036 | 1190.3036 | 1190.3036
2042 | 1190.3036 | 1190.3036 | 1190.3036 | 1190.3036 | 1190.3036 | 1190.3036 | 1190.3036
2043 | 1190.3036 | 1190.3036 | 1190.3036 | 1190.3036 | 1190.3036 | 1190.3036 | 1190.3036
2044 | 1190.3036 | 1190.3036 | 1190.3036 | 1190.3036 | 1190.3036 | 1190.3036 | 1190.3036
2045 | 1190.3036 | 1190.3036 | 1190.3036 | 1190.3036 | 1190.3036 | 1190.3036 | 1190.3036
2046 | 1190.3036 | 1190.3036 | 1190.3036 | 1190.3036 | 1190.3036 | 1190.3036 | 1190.3036
2047 | 1190.3036 | 1190.3036 | 1190.3036 | 1190.3036 | 1190.3036 | 1190.3036 | 1190.3036
2048 | 1190.3036 | 1190.3036 | 1190.3036 | 1190.3036 | 1190.3036 | 1190.3036 | 1190.3036
2049 | 1190.3036 | 1190.3036 | 1190.3036 | 1190.3036 | 1190.3036 | 1190.3036 | 1190.3036
2050 | 1190.3036 | 1190.3036 | 1190.3036 | 1190.3036 | 1190.3036 | 1190.3036 | 1190.3036
2051 | 1190.3036 | 1190.3036 | 1190.3036 | 1190.3036 | 1190.3036 | 1190.3036 | 1190.3036
2052 | 1190.3036 | 1190.3036 | 1190.3036 | 1190.3036 | 1190.3036 | 1190.3036 | 1190.3036
2053 | 1190.3036 | 1190.3036 | 1190.3036 | 1190.3036 | 1190.3036 | 1190.3036 | 1190.3036
2054 | 1190.3036 | 1190.3036 | 1190.3036 | 1190.3036 | 1190.3036 | 1190.3036 | 1190.3036
2055 | 1190.3036 | 1190.3036 | 1190.3036 | 1190.3036 | 1190.3036 | 1190.3036 | 1190.3036
2056 | 1190.3036 | 1190.3036 | 1190.3036 | 1190.3036 | 1190.3036 | 1190.3036 | 1190.3036
2057 | 1190.3036 | 1190.3036 | 1190.3036 | 1190.3036 | 1190.3036 | 1190.3036 | 1190.3036
2058 | 1190.3036 | 1190.3036 | 1190.3036 | 1190.3036 | 1190.3036 | 1190.3036 | 1190.3036
2059 | 1190.3036 | 1190.3036 | 1190.3036 | 1190.3036 | 1190.3036 | 1190.3036 | 1190.3036
2060 | 1190.3036 | 1190.3036 | 1190.3036 | 1190.3036 | 1190.3036 | 1190.3036 | 1190.3036
2061 | 1190.3036 | 1190.3036 | 1190.3036 | 1190.3036 | 1190.3036 | 1190.3036 | 1190.3036
2062 | 1190.3036 | 1190.3036 | 1190.3036 | 1190.3036 | 1190.3036 | 1190.3036 | 1190.3036
15-year NPV of operational savings with heat pumps | 11745.4029 | 11698.8023 | 11589.0592 | 11421.0996 | 11199.564 | 10928.8222 | 10612.987
2021
2022
2023 | 694.699
2024 | 732.9147 | 732.9147
2025 | 767.1631 | 767.1631 | 767.1631
2026 | 797.6927 | 797.6927 | 797.6927 | 797.6927
2027 | 824.7391 | 824.7391 | 824.7391 | 824.7391 | 824.7391
2028 | 848.5249 | 848.5249 | 848.5249 | 848.5249 | 848.5249 | 848.5249
2029 | 869.0745 | 869.0745 | 869.0745 | 869.0745 | 869.0745 | 869.0745 | 869.0745
2030 | 886.9675 | 886.9675 | 886.9675 | 886.9675 | 886.9675 | 886.9675 | 886.9675
2031 | 852.8534 | 852.8534 | 852.8534 | 852.8534 | 852.8534 | 852.8534 | 852.8534
2032 | 820.0513 | 820.0513 | 820.0513 | 820.0513 | 820.0513 | 820.0513 | 820.0513
2033 | 788.5109 | 788.5109 | 788.5109 | 788.5109 | 788.5109 | 788.5109 | 788.5109
2034 | 758.1835 | 758.1835 | 758.1835 | 758.1835 | 758.1835 | 758.1835 | 758.1835
2035 | 729.0226 | 729.0226 | 729.0226 | 729.0226 | 729.0226 | 729.0226 | 729.0226
2036 | 700.9833 | 700.9833 | 700.9833 | 700.9833 | 700.9833 | 700.9833 | 700.9833
2037 | 674.0224 | 674.0224 | 674.0224 | 674.0224 | 674.0224 | 674.0224 | 674.0224
2038 |  | 648.0985 | 648.0985 | 648.0985 | 648.0985 | 648.0985 | 648.0985
2039 |  |  | 623.1716 | 623.1716 | 623.1716 | 623.1716 | 623.1716
2040 |  |  |  | 599.2035 | 599.2035 | 599.2035 | 599.2035
2041 |  |  |  |  | 576.1572 | 576.1572 | 576.1572
2042 | [5 empty] | 553.9973 | 553.9973
2043 | [6 empty] | 532.6897
2044
2045
2046
2047
2048
2049
2050
15-year NPV for heat pump savings including upfront cost | 6792.2153 | 6936.1219 | 7009.5588 | 7017.7339 | 6965.5585 | 6857.6631 | 6698.4109
2021
2022
2023 | 266.3383
2024 | 321.0294 | 321.0294
2025 | 371.1195 | 371.1195 | 371.1195
2026 | 416.8816 | 416.8816 | 416.8816 | 416.8816
2027 | 458.5745 | 458.5745 | 458.5745 | 458.5745 | 458.5745
2028 | 496.4437 | 496.4437 | 496.4437 | 496.4437 | 496.4437 | 496.4437
2029 | 530.5348 | 530.5348 | 530.5348 | 530.5348 | 530.5348 | 530.5348 | 530.5348
2030 | 561.4486 | 561.4486 | 561.4486 | 561.4486 | 561.4486 | 561.4486 | 561.4486
2031 | 539.8544 | 539.8544 | 539.8544 | 539.8544 | 539.8544 | 539.8544 | 539.8544
2032 | 519.0908 | 519.0908 | 519.0908 | 519.0908 | 519.0908 | 519.0908 | 519.0908
2033 | 499.1257 | 499.1257 | 499.1257 | 499.1257 | 499.1257 | 499.1257 | 499.1257
2034 | 479.9286 | 479.9286 | 479.9286 | 479.9286 | 479.9286 | 479.9286 | 479.9286
2035 | 461.4698 | 461.4698 | 461.4698 | 461.4698 | 461.4698 | 461.4698 | 461.4698
2036 | 443.721 | 443.721 | 443.721 | 443.721 | 443.721 | 443.721 | 443.721
2037 | 426.6548 | 426.6548 | 426.6548 | 426.6548 | 426.6548 | 426.6548 | 426.6548
2038 | 410.245 | 410.245 | 410.245 | 410.245 | 410.245 | 410.245 | 410.245
2039 | 394.4663 | 394.4663 | 394.4663 | 394.4663 | 394.4663 | 394.4663 | 394.4663
2040 | 379.2945 | 379.2945 | 379.2945 | 379.2945 | 379.2945 | 379.2945 | 379.2945
2041 | 364.7063 | 364.7063 | 364.7063 | 364.7063 | 364.7063 | 364.7063 | 364.7063
2042 | 350.6791 | 350.6791 | 350.6791 | 350.6791 | 350.6791 | 350.6791 | 350.6791
2043 | 337.1915 | 337.1915 | 337.1915 | 337.1915 | 337.1915 | 337.1915 | 337.1915
2044 | 324.2226 | 324.2226 | 324.2226 | 324.2226 | 324.2226 | 324.2226 | 324.2226
2045 | 311.7525 | 311.7525 | 311.7525 | 311.7525 | 311.7525 | 311.7525 | 311.7525
2046 | 299.762 | 299.762 | 299.762 | 299.762 | 299.762 | 299.762 | 299.762
2047 | 288.2327 | 288.2327 | 288.2327 | 288.2327 | 288.2327 | 288.2327 | 288.2327
2048 | 277.1468 | 277.1468 | 277.1468 | 277.1468 | 277.1468 | 277.1468 | 277.1468
2049 | 266.4873 | 266.4873 | 266.4873 | 266.4873 | 266.4873 | 266.4873 | 266.4873
2050 | 256.2378 | 256.2378 | 256.2378 | 256.2378 | 256.2378 | 256.2378 | 256.2378
2051 | 246.3825 | 246.3825 | 246.3825 | 246.3825 | 246.3825 | 246.3825 | 246.3825
2052 | 236.9062 | 236.9062 | 236.9062 | 236.9062 | 236.9062 | 236.9062 | 236.9062
2053 | 227.7945 | 227.7945 | 227.7945 | 227.7945 | 227.7945 | 227.7945 | 227.7945
2054 | 219.0331 | 219.0331 | 219.0331 | 219.0331 | 219.0331 | 219.0331 | 219.0331
2055 | 210.6088 | 210.6088 | 210.6088 | 210.6088 | 210.6088 | 210.6088 | 210.6088
2056 | 202.5084 | 202.5084 | 202.5084 | 202.5084 | 202.5084 | 202.5084 | 202.5084
2057 | 194.7197 | 194.7197 | 194.7197 | 194.7197 | 194.7197 | 194.7197 | 194.7197
2058 | 187.2304 | 187.2304 | 187.2304 | 187.2304 | 187.2304 | 187.2304 | 187.2304
2059 | 180.0293 | 180.0293 | 180.0293 | 180.0293 | 180.0293 | 180.0293 | 180.0293
2060 | 173.1051 | 173.1051 | 173.1051 | 173.1051 | 173.1051 | 173.1051 | 173.1051
2061 | 166.4472 | 166.4472 | 166.4472 | 166.4472 | 166.4472 | 166.4472 | 166.4472
2062 | 160.0454 | 160.0454 | 160.0454 | 160.0454 | 160.0454 | 160.0454 | 160.0454

## formulas
Formulas used
annual operating costs
heating SCOP is the seasonal heating efficiency
cooling SCOP is the seasonal cooling efficiency
lifetime costs and savings
NPV
(13) net present value of savings with heat pump systems = annual savings/(1+ discount rate)^(year-2022-(mid period discount factor))
(14) net present value of savings with heat pump systems = (annual savings + annualized initial cost)/(1+ discount rate)^(year-2022-(mid period discount factor))
Modeling assumptions
The average efficiency of gas furnaces in existing homes is assumed to be 95%, this was used to determine the average heating load.
The carbon tax rate for after April 1 was used as the annual rate for that calendar year.
For methane gas delivery rates, the average monthly rate for the first 300m3 was used (tiered pricing is used for delivery charges).
It was assumed that most installations are in new buildings where upgrades to electrical panels and ductwork are not required
The carbon tax increases to $170/ton in 2030 then remains steady at that rate
GHGe impacts
(1) 𝑎𝑛𝑛𝑢𝑎𝑙 𝑜𝑝𝑒𝑟𝑎𝑡𝑖𝑜𝑛𝑎𝑙 𝑔𝑎𝑠 𝑠𝑝𝑎𝑐𝑒 ℎ𝑒𝑎𝑡𝑖𝑛𝑔 =(𝐺𝐽 ℎ𝑒𝑎𝑡𝑖𝑛𝑔 𝑙𝑜𝑎𝑑)/(𝑓𝑢𝑟𝑎𝑛𝑐𝑒 𝑒𝑓𝑓𝑖𝑐𝑖𝑒𝑛𝑐𝑦)∗█((𝑔𝑎𝑠 𝑣𝑎𝑟𝑖𝑎𝑏𝑙𝑒 𝑐𝑜𝑠𝑡/𝑚3@))/(0.038 𝐺𝐽/𝑚3)
(7) 𝑡𝑜𝑡𝑎𝑙 15−𝑦𝑒𝑎𝑟 𝑜𝑝𝑒𝑟𝑎𝑡𝑖𝑜𝑛𝑎𝑙 𝑐𝑜𝑠𝑡 𝑓𝑜𝑟 𝑔𝑎𝑠 𝑠𝑦𝑠𝑡𝑒𝑚𝑠 =𝑒𝑞 (1) 𝑓𝑜𝑟 𝑦𝑒𝑎𝑟𝑠 1−15+𝑒𝑞 (2) 𝑓𝑜𝑟 𝑦𝑒𝑎𝑟𝑠 1−15+𝑒𝑞 (3)𝑓𝑜𝑟 𝑦𝑒𝑎𝑟𝑠 1−15+𝑓𝑖𝑥𝑒𝑑 𝑔𝑎𝑠 𝑐ℎ𝑎𝑟𝑔𝑒 𝑓𝑜𝑟 𝑦𝑒𝑎𝑟𝑠 1−15
(4) 𝑎𝑛𝑛𝑢𝑎𝑙 𝑜𝑝𝑒𝑟𝑎𝑡𝑖𝑜𝑛𝑎𝑙 𝐴𝑆𝐻𝑃 𝑠𝑝𝑎𝑐𝑒 ℎ𝑒𝑎𝑡𝑖𝑛𝑔 =(𝐺𝐽 ℎ𝑒𝑎𝑡𝑖𝑛𝑔 𝑙𝑜𝑎𝑑)/(ℎ𝑒𝑎𝑡𝑖𝑛𝑔 𝑆𝐶𝑂𝑃)∗(𝑐𝑜𝑠𝑡 𝑝𝑒𝑟 𝑘𝑊ℎ)/(0.0036 𝐺𝐽/𝑘𝑊ℎ)
(5) 𝑎𝑛𝑛𝑢𝑎𝑙 𝑜𝑝𝑒𝑟𝑎𝑡𝑖𝑜𝑛𝑎𝑙 𝐴𝑆𝐻𝑃 𝑠𝑝𝑎𝑐𝑒 𝑐𝑜𝑜𝑙𝑖𝑛𝑔 =(𝐺𝐽 𝑐𝑜𝑜𝑙𝑖𝑛𝑔 𝑙𝑜𝑎𝑑)/(𝑐𝑜𝑜𝑙𝑖𝑛𝑔 𝑆𝐶𝑂𝑃)∗(𝑐𝑜𝑠𝑡 𝑝𝑒𝑟 𝑘𝑊ℎ)/(0.0036 𝐺𝐽/𝑘𝑊ℎ)
(2) 𝑎𝑛𝑛𝑢𝑎𝑙 𝑜𝑝𝑒𝑟𝑎𝑡𝑖𝑜𝑛𝑎𝑙 𝐴𝐶 𝑠𝑝𝑎𝑐𝑒 𝑐𝑜𝑜𝑙𝑖𝑛𝑔 =(𝐺𝐽 𝑐𝑜𝑜𝑙𝑖𝑛𝑔 𝑙𝑜𝑎𝑑)/(𝐴𝐶 𝑠𝑒𝑎𝑠𝑜𝑛𝑎𝑙 𝑒𝑓𝑓𝑖𝑐𝑖𝑒𝑛𝑐𝑦)∗(𝑒𝑙𝑒𝑡𝑟𝑖𝑐𝑖𝑡𝑦 𝑣𝑎𝑟𝑖𝑎𝑏𝑙𝑒 𝑐𝑜𝑠𝑡 𝑝𝑒𝑟 𝑘𝑊ℎ)/(0.0036 𝐺𝐽/𝑘𝑊ℎ)
(3) 𝑎𝑛𝑛𝑢𝑎𝑙 𝑜𝑝𝑒𝑟𝑎𝑡𝑖𝑜𝑛𝑎𝑙 𝑔𝑎𝑠 𝑤𝑎𝑡𝑒𝑟 ℎ𝑒𝑎𝑡𝑖𝑛𝑔 =(𝐺𝐽 𝑤𝑎𝑡𝑒𝑟 ℎ𝑒𝑎𝑡𝑖𝑛𝑔 𝑙𝑜𝑎𝑑)/( 𝑤𝑎𝑡𝑒𝑟 ℎ𝑒𝑎𝑡𝑖𝑛𝑔 𝑒𝑓𝑓𝑖𝑐𝑖𝑒𝑛𝑐𝑦)∗█((𝑔𝑎𝑠 𝑣𝑎𝑟𝑖𝑎𝑏𝑙𝑒 𝑐𝑜𝑠𝑡 /𝑚3@))/(0.038 𝐺𝐽/𝑚3)
(6) 𝑎𝑛𝑛𝑢𝑎𝑙 𝑜𝑝𝑒𝑟𝑎𝑡𝑖𝑜𝑛𝑎𝑙 𝐻𝑃𝑊𝐻 𝑤𝑎𝑡𝑒𝑟 ℎ𝑒𝑎𝑡𝑖𝑛𝑔 𝑖𝑛𝑐𝑙𝑢𝑑𝑖𝑛𝑔 ℎ𝑒𝑎𝑡𝑖𝑛𝑔 𝑝𝑒𝑛𝑎𝑙𝑡𝑦 =((𝐺𝐽 𝑤𝑎𝑡𝑒𝑟 ℎ𝑒𝑡𝑖𝑛𝑔 𝑙𝑜𝑎𝑑)/(𝐻𝑃𝑊𝐻 𝐶𝑂𝑃)∗(𝑐𝑜𝑠𝑡 𝑝𝑒𝑟 𝑘𝑊ℎ)/(0.0036 𝐺𝐽/𝑘𝑊ℎ ))+1/2 ((𝐺𝐽 𝑤𝑎𝑡𝑒𝑟 ℎ𝑒𝑎𝑡𝑖𝑛𝑔 𝑙𝑜𝑎𝑑)/(𝐴𝑆𝐻𝑃 ℎ𝑒𝑎𝑖𝑛𝑔 𝑆𝐶𝑂𝑃) −(𝐺𝐽 𝑤𝑎𝑡𝑒𝑟 ℎ𝑒𝑎𝑡𝑖𝑛𝑔 𝑙𝑜𝑎𝑑)/(𝐴𝑆𝐻𝑃 𝑐𝑜𝑜𝑙𝑖𝑛𝑔 𝑆𝐶𝑂𝑃))∗(𝑐𝑜𝑠𝑡 𝑝𝑒𝑟 𝑘𝑊𝐻)/(0.0036 𝐺𝐽/𝑘𝑊ℎ)
(8) 𝑡𝑜𝑡𝑎𝑙 15−𝑦𝑒𝑎𝑟 𝑜𝑝𝑒𝑟𝑎𝑡𝑖𝑜𝑛𝑎𝑙 𝑐𝑜𝑠𝑡 𝑓𝑜𝑟 ℎ𝑒𝑎𝑡 𝑝𝑢𝑚𝑝 𝑠𝑦𝑠𝑡𝑒𝑚𝑠 =𝑒𝑞 (4) 𝑓𝑜𝑟 𝑦𝑒𝑎𝑟𝑠 1−15+𝑒𝑞 (5) 𝑓𝑜𝑟 𝑦𝑒𝑎𝑟𝑠 1−15+𝑒𝑞 (36)𝑓𝑜𝑟 𝑦𝑒𝑎𝑟𝑠 1−15
(9) 𝑡𝑜𝑡𝑎𝑙 𝑙𝑖𝑓𝑒𝑡𝑖𝑚𝑒 𝑐𝑜𝑠𝑡𝑓𝑜𝑟 𝑔𝑎𝑠 𝑠𝑦𝑠𝑡𝑒𝑚=𝑢𝑝𝑓𝑟𝑜𝑛𝑡 𝑐𝑜𝑠𝑡 𝑜𝑓 𝑓𝑢𝑟𝑛𝑎𝑐𝑒, 𝐴𝐶 𝑎𝑛𝑑 𝑤𝑎𝑡𝑒𝑟 ℎ𝑒𝑎𝑡𝑒𝑟 +𝑡𝑜𝑡𝑎𝑙 15−𝑦𝑒𝑎𝑟 𝑜𝑝𝑒𝑟𝑎𝑡𝑖𝑜𝑛𝑎𝑙 𝑐𝑜𝑠𝑡
(10) 𝑡𝑜𝑡𝑎𝑙 𝑙𝑖𝑓𝑒𝑡𝑖𝑚𝑒 𝑐𝑜𝑠𝑡𝑓𝑜𝑟 ℎ𝑒𝑎𝑡 𝑝𝑢𝑚𝑝 𝑠𝑦𝑠𝑡𝑒𝑚=𝑢𝑝𝑓𝑟𝑜𝑛𝑡 𝑐𝑜𝑠𝑡𝑜𝑓𝐴𝑆𝐻𝑃, 𝐻𝑃𝑊𝐻 +𝑡𝑜𝑡𝑎𝑙 15−𝑦𝑒𝑎𝑟 𝑜𝑝𝑒𝑟𝑎𝑡𝑖𝑜𝑛𝑎𝑙 𝑐𝑜𝑠𝑡
(11) 𝑡𝑜𝑡𝑎𝑙 𝑙𝑖𝑓𝑒𝑡𝑖𝑚𝑒 𝑠𝑎𝑣𝑖𝑛𝑔𝑠 𝑓𝑜𝑟 ℎ𝑒𝑎𝑡 𝑝𝑢𝑚𝑝 𝑠𝑦𝑠𝑡𝑒𝑚 𝑜𝑣𝑒𝑟 𝑔𝑎𝑠=𝑒𝑞 (10) −𝑒𝑞 (9)
(12) 𝑡𝑜𝑡𝑎𝑙 𝑙𝑖𝑓𝑒𝑡𝑖𝑚𝑒 𝑠𝑎𝑣𝑖𝑛𝑔𝑠 𝑓𝑜𝑟 ℎ𝑒𝑎𝑡 𝑝𝑢𝑚𝑝 𝑠𝑦𝑠𝑡𝑒𝑚 𝑜𝑣𝑒𝑟 𝑔𝑎𝑠 𝑤𝑖𝑡ℎ 𝐺𝑟𝑒𝑒𝑛𝑒𝑟 𝐻𝑜𝑚𝑒𝑠 𝐺𝑟𝑎𝑛𝑡=𝑒𝑞 (10)−𝑒𝑞 (9)−$5000