## Filing Req Checklist
Filing Requirement Checklist
Excerpt from Exhibit 2 - Rate Base
Distribution System Plan Filing Requirements |  |  | References
Distribution System Plan
|  | DSP filed as a stand-alone, self-sufficient element within Exhibit 2 | As filed
General & Administrative Matters
| Ch5, p2 | Use of terminology and formats set out in Ch. 5 | DSP Section 1.1
Investment Categories
| Ch5, pp 2, 3 & 4 | Investment projects and programs grouped into one of four investment categories (i.e. system access, system renewal, system service, general plant) | DSP Section 1.3 DSP Section 5
Distribution System Plan
| Ch5, p4 | If a distributor’s application uses alternative section headings and/or arranges the information in a different order, table provided that cross-references the headings/subheadings used in the application to the section headings/subheadings indicated in Ch. 5 | DSP Section 1.1
| Ch5, p4 & 5 | DSP duration minimum of 10 years, comprising of a historical and forecast period. The historical period is the first five years of the DSP duration, consisting of five historical years, ending with the bridge year. For distributors that have not filed a DSP within the past five years, the historical period is from the test year of a distributor’s last cost or service application to the bridge year. The forecast period is the last five years of the DSP duration, consisting of five forecast years, beginning with the test year. | DSP Section 5 DSP Section 5, Attachment 1
Distribution System Plan Overview
| Ch5, p5 | High-level overview of information filed in DSP which includes capital investment highlights and changes since last DSP; objectives distributor plans to achieve through DSP | DSP Section 1.3
Coordinated Planning with Third Parties
| Ch5, p5 | Demonstration of OEB's expectations related to coordinated planning with third parties where appropriate. Explanation of whether consultations affected distributor's DSP, and if so, how; for consultations that affected DSP - overview of consultation, material used, copy of final deliverable if available | DSP Section 2
| Ch5, p5 | Description of consultation should include: purpose, whether the distributor initiated the consultation or was invited to participate in it, and the other participants in the consultation process | DSP Section 2
| Ch5, p5 & 6 | Identification of any inconsistencies between DSP and any current Regional Plan. If there are any inconsistencies, explanation of the reasons why, particularly where a proposed investment in their DSP is different from the recommended optimal investment identified in the Regional Plan | DSP Section 2.3
| Ch5, p6 & OEB Letter, Jan. 11, 2022 | Telecommunications Entities: | DSP Section 2.4
-see January 11, 2022 letter for further guidance to the regulation that requires distributors to consult with any telecommunications entity that operates within its service area when preparing a capital plan for submission to the OEB, for the purpose of facilitating the provision of telecommunications services, and include information in its capital plan
| Ch5, p6 | REG: | DSP Section 2.5
-confirmation if there are no REG investments in region
-if there REG investments proposed in DSP, demonstration of coordination with IESO, other distributors/transmitters (as applicable), and that investments proposed are consistent with Regional Infrastructure Plan
- IESO letter in relation to REG investments
Performance Measurement for Continuous Improvement
| Ch5, p6 | Distribution System Plan: | Not Applicable - this is the first DSP for the areas formerly served by Orillia Power Distribuiton Corporation and Peterborough Distribution Inc.
Summary of objectives for continuous improvement set out in last DSP and discussion on whether these objectives achieved or not. For objectives not achieved, explanation of how this affects current DSP and if applicable, improvements implemented to achieve the objectives in current DSP
| Ch5, pp 6 & 7 | Service Quality and Reliability: | DSP Section 3
-5 historical years of SQRs; explanations for material changes in service quality and reliability and whether and how DSP addresses these issues
-for reliability, any declining 5 year SAIDI/SAIFI trends explained
-if reliability targets established in last DSP, any under-performance explained
| Ch5, p7 | Completed Appendix 2-G; confirmation that the data is consistent with scorecard, or explanation of any inconsistencies | DSP Section 3, Attachment 1
| Ch5, p7 | Summary of performance for historical period using methods and measures (metrics/targets) identified and how performance has trended over the period. Summary must include historical period data on: | DSP Section 3 provides the historical OPDC and PDI performance on a standalone basis. These results cannot be compared to Hydro One’s 2021 consolidated results.
-all interruptions
-all interruptions excluding loss of supply
-all interruptions excluding major events and loss of supply for: SAIFI, SAIDI
| Ch5, p7 | Summary of major events that occurred since last cost of service | Not applicable - Hydro One does not have detailed outage history for OPDC and PDI.
| Ch5, p7 | For each cause of interruption for last five historical years: number of interruptions that occurred as a result of the cause of interruption, number of customer interruptions that occurred as a result of interruption, number of customer-hours of interruptions that occurred as a result of the cause of interruption | Not applicable - Hydro One does not have detailed outage history for OPDC and PDI. Hydro One’s 2021 consolidated results reflect Hydro One’s entire service territory and would not be informative of OPDC and PDI.
| Ch5, pp7 & 8 | Distributor Specific Reliability Targets: | Not Applicable
-if establishing performance expectations based on something other than historical performance, evidence provided of capital and operational plan and other factors that justify the reliability performance the distributor plans to deliver
-summary of any feedback from customers regarding reliability on distributor's system
-distributors that use SAIDI and SAIFI performance benchmarks that are different than the historical average - evidence provided to support reasonableness of benchmarks
Planning Process
| Ch5, p8 | Overview of planning process that has informed five-year capital expenditure plan; flowchart accompanied by explanatory text may be helpful | DSP Section 4.1
| Ch5, p8 | Summary of important changes in distributor's AM process since last DSP | Not Applicable
| Ch5, p8 & 9 | Process: | DSP Section 4.1
-provide processes used to identify, select, prioritize (including reprioritization over 5 year term), and pace execution of investments
-demonstration that distributor has considered correlation between plan and customer's feedback and needs
-demonstration that distributor has considered potential risks of proceeding/not proceeding with individual capital expenditures
-consideration, where applicable, of assessing the use of non-distribution alternatives, cost-effective implementation of distribution improvements affecting reliability, and meeting customer needs as acceptable costs to customers, other innovative technologies, and consideration of dx funded CDM activities
| Ch5, p9 | Data | DSP Sections 4.1, 4.3, 4.4
-identification, description and summary of data used in processes above to identify, select, prioritize and pace investments over DSP
Overview of Assets Managed
| Ch5, p9 | Overview of service area (e.g. system configuration, urban/rural etc.) to support capital expenditures over forecast period; asset information (e.g. capacity, condition, asset risks etc.) by major asset type that may help explain the specific need of the capital expenditure and demonstration of consideration of economical alternatives | DSP Section 4.2
| Ch5, p9 | Statement as to whether or not distributor has had any transmission or high voltage assets deemed previously by the OEB as distribution assets, and whether or not there are any such assets that the distributor is asking the OEB to deem as distribution assets in the current application | DSP Section 4.2
| Ch5, p9 | Description of whether distributor is a host and/or embedded distributor; identification of any embedded and/or host distributors; partially embedded status identified (including % of total load supplied through host); if host distributor, identification of whether there is a separate embedded class or if any embedded distributors are included in other classes | DSP Section 4.2
Asset Lifestyle Optimization Policies and Practices
| Ch5, p10 | Demonstration that distributor has carried out system O&M activities to sustain as asset to the end of its service life (can include references to the Distribution System Code) | DSP Sections 4.3, 5.4
| Ch5, p10 | Explanation of processes and tools used to forecast, prioritize and optimize system renewal spending and how distributor intends to operate within budget envelopes | DSP Sections 4.1, 4.3
| Ch5, p10 | Demonstration of consideration of potential risks of proceeding/not proceeding with individual capital expenditures | DSP Sections 4.3, 5.5
| Ch5, p10 | Summary of important changes to the distributor's asset life optimization policies and processes since last DSP | Not Applicable
System Capability Assessment for REG
| Ch5, p10 | If a distributor has costs to accommodate and connect renewable generation facilities that will be the responsibility of the distributor under the DSC, refer to Appendix A | DSP Section 4.4
CDM Activities to Address System Needs
| Ch5, p10 | Description of how distributor has taken CDM into consideration in its planning process | DSP Section 4.5
| Ch5, p11 | Any application for CDM funding to address system needs must include a consideration of the projected effects to the distribution system on a long-term basis and the forecast expenditures. | Not Applicable - Hydro One does not have any applications for CDM funding at this time.
| Ch5, p11 | Explanation of proposed activity in the context of the DSP or explanation of any changes to system plans that are pertinent to the activity | Not Applicable - Hydro One does not have any applications for CDM funding at this time.
Capital Expenditure Summary
| Ch5, p11 | Provide capital expenditure plan that sets out proposed expenditures on distribution system and general plant over a five-year planning period, including investment and asset-related operating and maintenance expenditures | DSP Sections 5.1, 5.3, 5.4, and 5.5
| Ch5, p11 | Provide a snapshot of a distributor’s capital expenditures over a 10-year period, including five historical years and five forecast years | DSP Section 5.1, Tables 1 and 2
| Ch5, p11 | The entire cost of individual projects or programs allocated to one of the four investment categories based on the primary driver of the investment | DSP Sections 5.1, 5.3, 5.4, and 5.5 DSP Section 5, Attachment 1
| Ch5, p11 | Completed Appendices 2-AA and 2-AB | DSP Section 5, Attachment 1
| Ch5, p11 | Analysis of distributor's capital expenditure performance for the DSPs historical period - should include explanation of variances by investment category, including actuals v. OEB-approved amounts for the applicant's last OEB-approved CoS or Custom IR application and DSP - explanation of variances that are much higher or lower than the historical trend | DSP Section 5.2 DSP Section 5, Attachment 1
| Ch5, pp12 | Analysis of distributor's capital expenditure performance for the DSPs forecast period; for investments that have a lifecycle >1yr, the proposed accounting treatment, including the treatment of the cost of funds for CWIP | DSP Sections 5.1, 5.3 and 5.4
| Ch5, p12 | Analysis of capital expenditures in DSP forecast period v. historical | DSP Section 5.2
| Ch5, p12 | Description of the impacts of capital expenditures on O&M for each year or statement that the capital plans did not impact O&M costs | DSP Section 5.4
| Ch5, p12 | Statement that there are no expenditures for non-distribution activities in the applicant's budget | DSP Section 5.1
Justifying Capital Expenditures
| Ch5, p12 | Context on how overall capital expenditures over 5 years will achieve distributor's objectives; comment on lumpy investment years and rate impacts of capital investments in long term | DSP Section 5.3 DSP Section 5.5, Investment Summary Documents (ISDs): D-SA-01, D-SA-02, D-SA-03, D-SA-04, D-SR-01, D-SR-04, D-SR-05, D-SR-07, D-SR-08, D-SR-10, D-SR-11, D-SS-03, and D-SS-06
Material Investments
For each project that meets materiality threshold set in Ch 2A or deemed by applicant to be distinct for any other reason, guidelines are:
| Ch5, p13 | General information on the project/program | DSP Section 5.5, ISDs: D-SA-01, D-SA-02, D-SA-03, D-SA-04, D-SR-01, D-SR-04, D-SR-05, D-SR-07, D-SR-08, D-SR-10, D-SR-11, D-SS-03, and D-SS-06
- Need, scope, key project timings (incl. key factors that affect timing), total expenditures (inc. contributions and economic evaluation as per DSC, as applicable), comparative historical expenditures, priority, alternatives considered, cost/benefit of recommended alternative, description of the innovative nature of investment if applicable.
-Where an investment within the five year forecast period involves a Leave to Construct approval, provide summary of the evidence (as available), for that investment consistent with Chapter 4 of the filing requirements
| Ch5, p13 | Evaluation criteria and information requirements for each project/program | DSP Section 5.5, ISDs: D-SA-01, D-SA-02, D-SA-03, D-SA-04, D-SR-01, D-SR-04, D-SR-05, D-SR-07, D-SR-08, D-SR-10, D-SR-11, D-SS-03, and D-SS-06
- Demonstration of need, and may include the need to address safety, cyber security, grid innovation, environmental, statutory/regulatory obligations
- Where investment substantially exceeds materiality - business case justifying expenditure, alternatives (including CDM activities if applicable), benefits for customers, impact on distributor costs
-If a distributor is requesting funding for a CDM activity, additional guidance on evidentiary requirements is provided in the CDM Guidelines
| Ch5, p14 | Explanation of how innovative project is expected to benefit customers, such as improved reliability, enhanced customer services, CDM, efficient use of electricity, load management, greater efficiency through grid optimization, lower rates (long-term or short-term), enhanced customer choice, or any other benefit consistent with the OEB’s mandate | DSP Section 5.5, ISDs: D-SA-01, D-SA-02, D-SA-03, D-SA-04, D-SR-01, D-SR-04, D-SR-05, D-SR-07, D-SR-08, D-SR-10, D-SR-11, D-SS-03, and D-SS-06
Appendix A (if applicable)
| Ch5, Appendix A | Information on the capability of distribution system to accommodate REG, including a summary of the distributor’s load and renewable energy generation connection forecast by feeder/substation (where applicable); and information identifying specific network locations where constraints are expected to emerge due to forecast changes in load and/or connected renewable generation capacity | DSP Section 4.4
| Ch5, Appendix A | In relation to renewable or other distributed energy generation connections, the information that must be considered by a distributor and documented in an application (where applicable), includes: | DSP Section 4.4
applications from renewable generators > 10 kW, number and MW of REG connections for forecast period, information from IESO and any other information about the potential for renewable generation in distributor's service area, capacity of Dx to connect REG, connection constraints