## Cover
Fort Erie Service Territory
Rate Design Model
2009 Electricity Distribution Rate Application
EB - 2008 - 0223

## Contents
CNPI - Fort Erie
Rate Design Model
CNPI – Fort Erie has prepared and included an Excel worksheet model, CNPI_FE_DxRateDesign_20080815.xls, to aid in developing the 2009 electricity distribution rates. The worksheet is provided electronically with this Application and a copy is provided in Exhibit 9, Tab 1, Schedule 1, Appendix A. Briefly, the model functions as follows:
Tab | Description
Revenue Requirement | The revenue requirement for the 2006 Board Approved EDR and the 2009 revenue requirement as determined by this application.
Forecast Data | This is the actual and forecast customer counts, weather normalized energy and demand quantities for the historical, bridge and test years.
Transformer Allowance | This is the actual and weather normalized transformer allowance quantities for the historical, bridge and test years.
Smart Meter Adders | These are the Board Approved smart meter rate adders.
Loss Factor | These are the Board Approved and forecasted loss factors.
Monthly Service Charge Analysis | This worksheet compares the rate design monthly services charges to the floor and ceiling values determined in CNPI – Fort Erie’s 2006 Cost Allocation Informational Filing. The worksheet returns a confirmation that the rate design monthly service charge is within the range suggested by the Board.
Regulatory Asset Recovery | These are the regulatory asset rate riders calculated by class for those accounts that CNPI – Fort Erie has elected in this Application for disposal.
Cost Allocation Review | The worksheet is used to extrapolate the 2009 base revenue requirement and other distribution revenue allocation to classes on the basis of the 2006 Cost Allocation Informational Filing.
Cost Allocation Revenue Distribution | This worksheet allocates the base revenue requirement to the customer classes to achieve cost allocation to the classes consistent with the Cost Allocation Informational Filing and the Report of the Board, Application of Cost Allocation for Electricity Distributors, EB-2007-0667, November 28, 2007. Column L adjusts the Class Revenue to Costs Ratios and Column F adjusts the fixed and variable class ratios.
Dx Rates CA Distribution | This worksheet calculates the 2009 electricity distribution rates on the basis of the class allocation and the fixed and variable splits chosen in the previous tab; Cost Allocation Revenue Distribution.
Other Electricity Charges | This is a listing of Board Approved electricity distribution charges for Retail Transmission, Commodity and Administration. These are used for the bill and rate impact calculations.
Rate Schedules | This tab contains the Board Approved electricity distribution rates from the 2006 EDR, the 2007 IRM, the 2008 IRM, the projected rates using the 2006 EDR allocations and the proposed cost allocation to classes. The tab is intended to allow easy comparison of rates and provides the expected bill rate impact as calculated in the Rate Impact CA Tab discussed in the following.
Rate Impact CA | This worksheet calculates the rate impact of the 2009 electricity distribution rates determined on the basis of proposed distribution of revenues derived from the 2006 Cost Allocation Informational Filing as compared to bills calculated using the Board Approved 2008 electricity distribution rates.
Bill Impact CA | This worksheet calculates the bill impact of the 2009 electricity distribution rates determined on the basis of proposed distribution of revenues derived from the 2006 Cost Allocation Informational Filing as compared to the Board Approved 2008 electricity distribution rates.
2009 EDR Rate Schedule | This tab is a summary of the proposed 2009 electricity distribution rates.
Reconciliation | This worksheet reconciles the proposed electricity rates, the forecasted load and customer growth and the base revenue requirement.
This final section of the model calculates electricity distribution rates that are consistent with the methodology and allocations in the Board Approved 2006 EDR. This has been done to provide a comparison for the proposed allocations which are premised on the CNPI – Fort Erie Cost Allocation Informational Filing.
2006 EDR Revenue Distribution | This is a copy of values found in the Board Approved 2006 EDR, Tab 7-1 Allocation of Base Revenue Requirement. This is used to allocate the 2009 base revenue requirement on the basis of the 2006 EDR allocation for comparison to the final rate design.
Dx Rates 2006 EDR Distribution | This worksheet calculates the 2009 electricity distribution rates on the basis of the Board Approved 2006 EDR allocation to classes. This serves as a reference for further rate design.
Rate Impact 2006 EDR Alloc. | This worksheet calculates the rate impact of the 2009 electricity distribution rates determined on the basis of the distribution of revenues in the Board Approved 2006 EDR as compared to bills calculated using the Board Approved 2008 electricity distribution rates.
Bill Impact 2006 EDR Alloc. | This worksheet calculates the bill impact of the 2009 electricity distribution rates determined on the basis of the distribution of revenues in the Board Approved 2006 EDR as compared bills calculated using the Board Approved 2008 electricity distribution rates.

## Revenue Requirement
CNPI - Fort Erie
Revenue Requirement for 2009 Test Year
| 2006 EDR | 2009 Test Year
Service Revenue Requirement | 8386930 | 9827418
Less:
Revenue Offsets
Specific Service Charges | 303515 | 40000
Late Payment Charges | 55797 | 188000
Other Distribution revenue | 39657 | 311954
Other Income and deductions | 28441 | 35000
Total Revenue Offsets | 427410 | 574954
Base Revenue Requirements | 7959520 | 9252464
Low Voltage Costs to Hydro One | 0 | 0
Base Revenue Requirement Net of LV Costs | 7959520 | 9252464
Transformation Credit (Annualized Amount) | 106151 | 111096.0813
Base Revenue Requirement with Transformation Credit Add Back | 8065671 | 9363560

## Forecast Data
CNPI - Fort Erie Load and Customer Forecast Information
| Data From 2006 EDR Board Approved Model |  |  |  | From Energy Sales |  |  | Normalized Forecast
| 2002 | 2003 | 2004 | 2006 EDR | 2005 | 2006 Year End | 2007 Year End | 2008 Bridge Year | 2009 Test Year
Residential
Number of Customers | 13394 | 13500 | 13717 | 13717 | 13818 | 13919 | 14073 | 14194 | 14315
Kilowatt-hours | 115599918 | 110282589 | 107800295 | 112747738.7915 | 114439113 | 111959084 | 114221401 | 114347231.7397 | 115322010.8746
GS < 50 kW
Number of Customers | 1090 | 1082 | 1150 | 1150 | 1164 | 1168 | 1170 | 1177 | 1184
Kilowatt-hours | 43031578 | 42171824 | 37800776 | 42674414.5478 | 40743120 | 37929541 | 37580115 | 37523968.697 | 37747135.8855
GS > 50 kW
Number of Customers | 123 | 130 | 133 | 133 | 139 | 134 | 141 | 144 | 147
Kilowatt-hours | 124576619 | 160794408 | 137497781 | 145569209.5304 | 140488743 | 133812631 | 142072764 | 144714906.4319 | 147729800.3159
Kilowatts | 303387 | 391333 | 339954 | 356123.4571 | 370913.3276 | 345357 | 383911 | 391050.634 | 399197.5223
Unmetered Scattered Load
Number of Customers | 118 | 120 | 107 | 107 | 109 | 114 | 114 | 116 | 119
Kilowatt-hours | 338832 | 341288 | 342516 | 318025.6998 | 323970 | 331402 | 335072 | 340950.4561 | 349768.1404
Sentinel Light
Number of Connections | 862 | 862 | 862 | 862 | 862 | 961 | 961 | 961 | 961
Kilowatt-hours | 929256 | 922964 | 736996 | 863072 | 859355 | 786169 | 797374 | 797374 | 797374
Kilowatts | 2602.958 | 2585 | 2064 | 2417.3193 | 2573.0541 | 2320 | 2422.9 | 2422.9 | 2422.9
Street Light
Number of Connections | 3020 | 3020 | 3020 | 3020 | 3028 | 3040 | 3065 | 3080 | 3095
Kilowatt-hours | 2452394 | 2213363 | 2351330 | 2339029 | 2432825 | 2522307 | 2189412 | 2200126.9038 | 2210841.8075
Kilowatts | 6869.451 | 6200 | 6586 | 6551.817 | 6839.6875 | 6598 | 6652.7 | 6685.2581 | 6717.8162
Totals
Number of Connections | 18607 | 18714 | 18989 | 18989 | 19120 | 19336 | 19524 | 19672 | 19821
Kilowatt-hours | 286928597 | 316726436 | 286529694 | 304511489.5696 | 299287126 | 287341134 | 297196138 | 299924558.2285 | 304156931.0238
Kilowatts | 312859.409 | 400118 | 348604 | 365092.5934 | 380326.0693 | 354275 | 392986.6 | 400158.7921 | 408338.2384

## Transformation Allowance
CNPI - Fort Erie Transformation Allowance Forecast Information
| 2006 EDR |  | From Energy Sales Data | [5 empty] | Forecasted
Classification | 2006 EDR |  | 2005 Actual |  | 2006 Actual |  | 2007 Actual |  | 2008 Bridge Year |  | 2009 Test Year
| kW | $ | kW | $ | kW | $ | kW | $ | kW | $ | kW | $
General Service 50 to 4,999 kW | 176918 | 106151.19 | 168524.95 | 101114.97 | 168344.4833 | 101006.69 | 179433.5333 | 107660.12 | 183251.2681 | 109950.7609 | 187069.0028 | 112241.4017
Transformation Allowance Rate | $/kW | 0.6

## Smart Meter Adders
CNPI - Fort Erie
Smart Meter Adder
Customer Class | Smart Meter Adder
Residential | 0.27
General Service Less Than 50 kW | 0.27
General Service 50 to 4,999 kW | 0.27

## Loss Factor
CNPI - Fort Erie
Loss Factors
Description | 2006 EDR Board Approved | 2009 EDR Proposed
Supply Facility Loss Factor | 1.0045 | 1.0033
Distribution Loss Factors
Secondary Metered Customer < 5,000 kW | 1.0432 | 1.0357
Primary Metered Customer < 5,000 kW | 1.0328 | 1.0259
Total Loss Factors
Secondary Metered Customer < 5,000 kW | 1.0479 | 1.0391
Primary Metered Customer < 5,000 kW | 1.0374 | 1.0287

## Monthly Service Charge Analysis
CNPI - Fort Erie
Monthly Service Charge Analysis
Customer Class | 2006 Board Approved | 2008 Board Approved | 2009 Proposed | Lower Bound from Cost Allocation Filing | Upper Bound from Cost Allocation Filing | 120 % of Upper Bound | Is the 2006 Board Approved Higher than the Lower Boundary? | Is the 2006 Board Approved Lower than the Upper Boundary? | Is the 2009 Proposed Higher than the Lower Boundary? | Is the 2009 Proposed Lower than the Upper Boundary?
Residential | 19.63 | 19.79 | 20.52 | 3.84 | 18.15 | 21.78 | YES | YES | YES | YES
General Service Less Than 50 kW | 17.16 | 17.29 | 17.78 | 7.63 | 28.3 | 33.96 | YES | YES | YES | YES
General Service 50 to 4,999 kW | 115.34 | 116.25 | 124.01 | 49.9 | 127.13 | 152.556 | YES | YES | YES | YES
Unmetered Scattered Load | 8.49 | 8.56 | 9.7 | 9.11 | 29.19 | 35.028 | NO | YES | YES | YES
Sentinel Lighting | 1.96 | 1.97 | 2.94 | -0.06 | 8.72 | 10.464 | YES | YES | YES | YES
Street Lighting | 1.3 | 1.31 | 1.64 | -0.05 | 12.95 | 15.54 | YES | YES | YES | YES

## Regulatory Asset Recovery
CNPI - Fort Erie
Regulatory Asset Recovery
Customer Class | Rate Rider
| per kWh | per kW
Residential | 0.0002
General Service Less Than 50 kW | 0.0001
General Service 50 to 4,999 kW |  | 0.0391
Unmetered Scattered Load | 0.0003
Sentinel Lighting |  | 0.0574
Street Lighting |  | 0.0445

## Cost Allocation Review
CNPI - Fort Erie
Allocation of the 2009 Revenue Requirement on the Basis of the Cost Allocation Informational Filing
Customer Classes | Cost Allocation - Revenue Requirement | Revenue Requirement Allocation Percentage | Cost Allocation - Miscellaneous Requirement | Miscellaneous Revenue Allocation Percentage | 2009 Service Revenue Requirement Allocation | 2009 Miscellaneous Revenue Offset | 2009 Base Revenue Requirement Calculation | Low Voltage Allocation | 2009 Base Revenue Requirement Less Low Voltage | 2009 Base Revenue Allocation per Class | Transformer Allowance Allocation | 2009 Base Revenue per Class with Transformer Allocation | 2009 Base Revenue with Transformer Allowance Allocation
Residential | 5261045.2395 | 61.95% | 306973.4348 | 71.82% | 6087601.7427 | 412941.5122 | 5674660.2306 | 0 | 5674660.2306 | 61.33% |  | 5674660.2306 | 60.6%
GS <50 kW | 951575.9873 | 11.2% | 55666.3853 | 13.02% | 1101076.9486 | 74882.5752 | 1026194.3734 | 0 | 1026194.3734 | 11.09% |  | 1026194.3734 | 10.96%
GS >50 kW | 1844242.4375 | 21.71% | 50723.2968 | 11.87% | 2133989.1534 | 68233.1189 | 2065756.0345 | 0 | 2065756.0345 | 22.33% | 111096.0813 | 2176852.1157 | 23.25%
Street Lights | 318167.7512 | 3.746% | 3424.9688 | 0.8013% | 368154.7047 | 4607.2775 | 363547.4271 | 0 | 363547.4271 | 3.929% |  | 363547.4271 | 3.883%
Sentinel Lights | 69380.5339 | 0.8169% | 861.444 | 0.2015% | 80280.8263 | 1158.8168 | 79122.0095 | 0 | 79122.0095 | 0.8551% |  | 79122.0095 | 0.845%
Unmetered Scattered Load | 48668.3917 | 0.573% | 9761.1303 | 2.284% | 56314.6243 | 13130.6994 | 43183.9249 | 0 | 43183.9249 | 0.4667% |  | 43183.9249 | 0.4612%
| 8493080.341 | 100% | 427410.66 | 100% | 9827418 | 574954 | 9252464 | 0 | 9252464 | 100% | 111096.0813 | 9363560 | 100%

## Cost Alloc Revenue Distribution
CNPI - Fort Erie
Determination of the 2009 EDR Revenue to Cost Ratios
| 2006 EDR Data |  |  |  | Allowance for Proposed Adjustments to the Fixed and Variable Allocations
Customer Classes | Revenue Allocation to Class | Revenue Allocation to Class Percentage | Allocation to Variable Component | Allocation to Fixed Component | Adjusted Allocation to Variable Component | Adjusted Allocation to Fixed Component | Revenue at 100% Rev/Cost Ratio (less Transformer Allowance) | Allocation of Revenue at 100% Rev/Cost Ratio (less Transformer Allowance) | Proposed Proportion of Revenue | Base Revenue Requirement @ Proposed Proportions | Over /(Under) Contributing | Proposed Revenue/Cost Ratio | Revenue/Cost Ratio from the 2006 Cost Allocation
Residential | 4043487.3493 | 50.13% | 20.09% | 79.91% | 28.45% | 71.55% | 5674660.2306 | 61.33% | 53.03% | 4906211.5606 | -768448.6699 | 86.46% | 82.69%
GS <50 kW | 1179542.045 | 14.62% | 79.92% | 20.08% | 79.5% | 20.5% | 1026194.3734 | 11.09% | 13.28% | 1228727.2192 | 202532.8458 | 119.7% | 129.8%
GS >50 kW | 2742200.0877 | 34% | 93.29% | 6.713% | 92.7% | 7.3% | 2065756.0345 | 22.33% | 32.06% | 2966154.9091 | 900398.8747 | 143.6% | 151.4%
Street Lights | 57530.0012 | 0.7133% | 17.88% | 82.12% | 28.37% | 71.63% | 363547.4271 | 3.929% | 0.919% | 85030.1442 | -278517.283 | 23.39% | 19.16%
Sentinel Lights | 25050.0119 | 0.3106% | 18.86% | 81.14% | 19.3% | 80.7% | 79122.0095 | 0.8551% | 0.454% | 42006.1866 | -37115.8229 | 53.09% | 37.35%
Unmetered Scattered Load | 17861.2119 | 0.2214% | 38.94% | 61.06% | 43.8% | 56.2% | 43183.9249 | 0.4667% | 0.263% | 24333.9803 | -18849.9446 | 56.35% | 56.76%
| 8065670.7071 | 100% |  |  |  |  | 9252464 | 100% | 100% | 9252464 | 1.1278e-10

## Dx Rates CA Distribution
CNPI - Fort Erie
Rates - Base Revenue Requirement - Allocated on the Cost Allocation Informational Filing Distribution of Revenues
| Number of Customers (Connections) | Kwh | kW |  |  | Base Revenue Proposed Allocation |  | Base Rates Revenue Requirement divided by the consumption for the Test Year
| 2009 | 2009 | 2009 | Base Revenue Requirement @ Proposed Proportions | Transformer Allowance Allocation | Variable Component | Fixed Component | Volumetric Rate Type | Rate per kWh | Rate per kW | Fixed Service Charge | With Smart Meter Adder
Class
Residential | 14254.5 | 114834621.3071 |  | 4906211.5606 |  | 1395817.189 | 3510394.3716 | kWh | 0.0122 |  | 20.52 | 20.79
General Service Less Than 50 kW | 1180.5 | 37635552.2912 |  | 1228727.2192 |  | 976838.1393 | 251889.0799 | kWh | 0.026 |  | 17.78 | 18.05
General Service 50 to 4,999 kW | 145.5 | 146222353.3739 | 395124.0782 | 2966154.9091 | 111096.0813 | 2860721.682 | 216529.3084 | kW |  | 7.2401 | 124.01 | 124.28
Unmetered Scattered Load | 117.5 | 345359.2982 |  | 24333.9803 |  | 10658.2834 | 13675.6969 | kWh | 0.0309 |  | 9.7 | 9.7
Sentinel Lighting | 961 | 797374 | 2422.9 | 42006.1866 |  | 8107.194 | 33898.9926 | kW |  | 3.3461 | 2.94 | 2.94
Street Lighting | 3087.5 | 2205484.3556 | 6701.5371 | 85030.1442 |  | 24123.0519 | 60907.0923 | kW |  | 3.5996 | 1.64 | 1.64
Totals | 19746.5 | 302040744.6261 | 404248.5153 | 9252464 | 111096.0813 | 5276265.5396 | 4087294.5417

## Other Electricity Charges
CNPI - Fort Erie
Other Electricity Charges - Board Approved
| Retail Transmission Rate |  |  |  | Commodity Charges - $/kWh |  |  |  |  | Fees
Class | Connection Charge | Unit | Network Charge | Unit | Wholesale Market Service | Rural Rate Protection | Debt Retirement | Cost of Power 1st Block | Cost of Power Balance | Administration Fee
Residential | 0.0045 | kWh | 0.0044 | kWh | 0.0052 | 0.001 | 0 | 0.053 | 0.062 | 0.25
General Service Less Than 50 kW | 0.004 | kWh | 0.004 | kWh | 0.0052 | 0.001 | 0 | 0.053 | 0.062 | 0.25
General Service 50 to 4,999 kW | 1.5973 | kW | 1.6442 | kW | 0.0052 | 0.001 | 0 | 0.053 | 0.062 | 0.25
Unmetered Scattered Load | 0.004 | kWh | 0.004 | kWh | 0.0052 | 0.001 | 0 | 0.053 | 0.062 | 0.25
Sentinel Lighting | 1.2607 | kW | 1.3124 | kW | 0.0052 | 0.001 | 0 | 0.053 | 0.062 | 0.25
Street Lighting | 1.2348 | kW | 1.24 | kW | 0.0052 | 0.001 | 0 | 0.053 | 0.062 | 0.25

## Rate Schedules
Canadian Niagara Power Inc. - Fort Erie
TARIFF OF RATES AND CHARGES
|  | May 1, 2006 | May 1, 2007 | Sept. 1, 2007 | May 1, 2008 | May 1, 2009 | Bill Impact | May 1, 2009 | Bill Impact
|  | Board Approved | Board Approved | Board Approved | Board Approved | 2006 EDR Allocations | 2006 EDR Allocations | 2006 CA Allocations | CA Allocations
Residential | [6 empty] | 2.175% |  | 4.963%
Service Charge | $ | 19.9 | 19.94 | 19.94 | 20.06 | 21.94 |  | 20.79
Service Charge Rate Rider for Storm Damage Cost Recovery - effective until August 31, 2009 | $ |  |  | 2.11 | 2.11 | 2.11 |  | 2.11
Distribution Volumetric Rate | $/kWh | 0.0072 | 0.0072 | 0.0072 | 0.0072 | 0.0081 |  | 0.0122
Distribution Volumetric Rate Rider for Storm Damage Cost Recovery - effective until August 31, 2009 | $/kWh |  |  | 0.0008 | 0.0008 | 0.0008 |  | 0.0008
Rate Rider 1 (if applicable) |  |  |  |  | 0 | 0
Rate Rider 2 (if applicable) |  |  |  |  | 0 | 0
Regulatory Asset Recovery | $/kWh | 0.0043 | 0.0043 | 0.0043 | 0 | 0.0002 |  | 0.0002
Retail Transmission Rate – Network Service Rate | $/kWh | 0.0054 | 0.0054 | 0.0054 | 0.0044 | 0.0044 |  | 0.0044
Retail Transmission Rate – Line and Transformation Connection Service Rate | $/kWh | 0.0047 | 0.0047 | 0.0047 | 0.0045 | 0.0045 |  | 0.0045
Retail Transmission Rate – Network Service Rate (if applicable) | $/kWh |  |  |  | 0 | 0
Retail Transmission Rate – Line and Transformation Connection Service Rate (if applicable) | $/kWh |  |  |  | 0 | 0
Retail Transmission Rate – Network Service Rate (if applicable) | $/kWh |  |  |  | 0 | 0
Retail Transmission Rate – Line and Transformation Connection Service Rate (if applicable) | $/kWh |  |  |  | 0 | 0
Wholesale Market Service Rate | $/kWh | 0.0052 | 0.0052 | 0.0052 | 0.0052 | 0.0052 |  | 0.0052
Rural Rate Protection Charge | $/kWh | 0.001 | 0.001 | 0.001 | 0.001 | 0.001 |  | 0.001
Standard Supply Service – Administrative Charge (if applicable) | $ | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 |  | 0.25
General Service Less Than 50 kW | [6 empty] | 6.198% |  | 3.133%
Service Charge | $ | 17.43 | 17.46 | 17.46 | 17.56 | 19.45 |  | 18.05
Service Charge Rate Rider for Storm Damage Cost Recovery - effective until August 31, 2009 | $ |  |  | 1.85 | 1.85 | 1.85 |  | 1.85
Distribution Volumetric Rate | $/kWh | 0.0221 | 0.0221 | 0.0221 | 0.0222 | 0.0287 |  | 0.026
Distribution Volumetric Rate Rider for Storm Damage Cost Recovery - effective until August 31, 2009 | $/kWh |  |  | 0.0024 | 0.0024 | 0.0024 |  | 0.0024
Rate Rider 1 (if applicable) |  |  |  |  | 0 | 0
Rate Rider 2 (if applicable) |  |  |  |  | 0 | 0
Regulatory Asset Recovery | $/kWh | -0.0012 | -0.0012 | -0.0012 | 0 | 0.0001 |  | 0.0001
Retail Transmission Rate – Network Service Rate | $/kWh | 0.0049 | 0.0049 | 0.0049 | 0.004 | 0.004 |  | 0.004
Retail Transmission Rate – Line and Transformation Connection Service Rate | $/kWh | 0.0042 | 0.0042 | 0.0042 | 0.004 | 0.004 |  | 0.004
Retail Transmission Rate – Network Service Rate (if applicable) | $/kWh |  |  |  | 0 | 0
Retail Transmission Rate – Line and Transformation Connection Service Rate (if applicable) | $/kWh |  |  |  | 0 | 0
Retail Transmission Rate – Network Service Rate (if applicable) | $/kWh |  |  |  | 0 | 0
Retail Transmission Rate – Line and Transformation Connection Service Rate (if applicable) | $/kWh |  |  |  | 0 | 0
Wholesale Market Service Rate | $/kWh | 0.0052 | 0.0052 | 0.0052 | 0.0052 | 0.0052 |  | 0.0052
Rural Rate Protection Charge | $/kWh | 0.001 | 0.001 | 0.001 | 0.001 | 0.001 |  | 0.001
Standard Supply Service – Administrative Charge (if applicable) | $ | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 |  | 0.25
General Service 50 to 4,999 kW | [6 empty] | 0.721% |  | -0.461%
Service Charge | $ | 115.61 | 115.83 | 115.83 | 116.52 | 125.48 |  | 124.28
Service Charge Rate Rider for Storm Damage Cost Recovery - effective until August 31, 2009 | $ |  |  | 12.42 | 12.42 | 12.42 |  | 12.42
Distribution Volumetric Rate | $/kW | 7.1832 | 7.1966 | 7.1966 | 7.2398 | 7.6891 |  | 7.2401
Distribution Volumetric Rate Rider for Storm Damage Cost Recovery - effective until August 31, 2009 | $/kW |  |  | 0.7737 | 0.7737 | 0.7737 |  | 0.7737
Rate Rider 1 (if applicable) |  |  |  |  | 0 | 0
Rate Rider 2 (if applicable) |  |  |  |  | 0 | 0
Regulatory Asset Recovery | $/kW | -1.5227 | -1.5227 | -1.5227 | 0 | 0.0391 |  | 0.0391
Retail Transmission Rate – Network Service Rate | $/kW | 2.015 | 2.015 | 2.015 | 1.6442 | 1.6442 |  | 1.6442
Retail Transmission Rate – Line and Transformation Connection Service Rate | $/kW | 1.6849 | 1.6849 | 1.6849 | 1.5973 | 1.5973 |  | 1.5973
Retail Transmission Rate – Network Service Rate (if applicable) | $/kW |  |  |  | 0 | 0
Retail Transmission Rate – Line and Transformation Connection Service Rate (if applicable) | $/kW |  |  |  | 0 | 0
Retail Transmission Rate – Network Service Rate (if applicable) | $/kW |  |  |  | 0 | 0
Retail Transmission Rate – Line and Transformation Connection Service Rate (if applicable) | $/kW |  |  |  | 0 | 0
Wholesale Market Service Rate | $/kWh | 0.0052 | 0.0052 | 0.0052 | 0.0052 | 0.0052 |  | 0.0052
Rural Rate Protection Charge | $/kWh | 0.001 | 0.001 | 0.001 | 0.001 | 0.001 |  | 0.001
Standard Supply Service – Administrative Charge (if applicable) | $ | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 |  | 0.25
Unmetered Scattered Load | [6 empty] | 1.056% |  | 9.287%
Service Charge | $ | 8.49 | 8.51 | 8.51 | 8.56 | 8.87 |  | 9.7
Service Charge Rate Rider for Storm Damage Cost Recovery - effective until August 31, 2009 | $ |  |  | 0.91 | 0.91 | 0.91 |  | 0.91
Distribution Volumetric Rate | $/kWh | 0.0219 | 0.0219 | 0.0219 | 0.022 | 0.0231 |  | 0.0309
Distribution Volumetric Rate Rider for Storm Damage Cost Recovery - effective until August 31, 2009 | $/kWh |  |  | 0.0024 | 0.0024 | 0.0024 |  | 0.0024
Rate Rider 1 (if applicable) |  |  |  |  | 0 | 0
Rate Rider 2 (if applicable) |  |  |  |  | 0 | 0
Regulatory Asset Recovery | $/kWh | 0.0097 | 0.0097 | 0.0097 | 0 | 0.0003 |  | 0.0003
Retail Transmission Rate – Network Service Rate | $/kWh | 0.0049 | 0.0049 | 0.0049 | 0.004 | 0.004 |  | 0.004
Retail Transmission Rate – Line and Transformation Connection Service Rate | $/kWh | 0.0042 | 0.0042 | 0.0042 | 0.004 | 0.004 |  | 0.004
Retail Transmission Rate – Network Service Rate (if applicable) | $/kWh |  |  |  | 0 | 0
Retail Transmission Rate – Line and Transformation Connection Service Rate (if applicable) | $/kWh |  |  |  | 0 | 0
Retail Transmission Rate – Network Service Rate (if applicable) | $/kWh |  |  |  | 0 | 0
Retail Transmission Rate – Line and Transformation Connection Service Rate (if applicable) | $/kWh |  |  |  | 0 | 0
Wholesale Market Service Rate | $/kWh | 0.0052 | 0.0052 | 0.0052 | 0.0052 | 0.0052 |  | 0.0052
Rural Rate Protection Charge | $/kWh | 0.001 | 0.001 | 0.001 | 0.001 | 0.001 |  | 0.001
Standard Supply Service – Administrative Charge (if applicable) | $ | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 |  | 0.25
Sentinel Lighting | [6 empty] | 0.6208% |  | 9.804%
Service Charge | $ | 1.96 | 1.96 | 1.96 | 1.97 | 2.02 |  | 2.94
Service Charge Rate Rider for Storm Damage Cost Recovery - effective until August 31, 2009 | $ |  |  | 0.21 | 0.21 | 0.21 |  | 0.21
Distribution Volumetric Rate | $/kW | 1.9546 | 1.9583 | 1.9583 | 1.97 | 2.237 |  | 3.3461
Distribution Volumetric Rate Rider for Storm Damage Cost Recovery - effective until August 31, 2009 | $/kW |  |  | 0.2105 | 0.2105 | 0.2105 |  | 0.2105
Rate Rider 1 (if applicable) |  |  |  |  | 0 | 0
Rate Rider 2 (if applicable) |  |  |  |  | 0 | 0
Regulatory Asset Recovery | $/kW | -2.66 | -2.66 | -2.66 | 0 | 0.0574 |  | 0.0574
Retail Transmission Rate – Network Service Rate | $/kW | 1.6083 | 1.6083 | 1.6083 | 1.3124 | 1.3124 |  | 1.3124
Retail Transmission Rate – Line and Transformation Connection Service Rate | $/kW | 1.3298 | 1.3298 | 1.3298 | 1.2607 | 1.2607 |  | 1.2607
Retail Transmission Rate – Network Service Rate (if applicable) | $/kW |  |  |  | 0 | 0
Retail Transmission Rate – Line and Transformation Connection Service Rate (if applicable) | $/kW |  |  |  | 0 | 0
Retail Transmission Rate – Network Service Rate (if applicable) | $/kW |  |  |  | 0 | 0
Retail Transmission Rate – Line and Transformation Connection Service Rate (if applicable) | $/kW |  |  |  | 0 | 0
Wholesale Market Service Rate | $/kWh | 0.0052 | 0.0052 | 0.0052 | 0.0052 | 0.0052 |  | 0.0052
Rural Rate Protection Charge | $/kWh | 0.001 | 0.001 | 0.001 | 0.001 | 0.001 |  | 0.001
Standard Supply Service – Administrative Charge (if applicable) | $ | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 |  | 0.25
Street Lighting | [6 empty] | 6.22% |  | 9.936%
Service Charge | $ | 1.3 | 1.3 | 1.3 | 1.31 | 1.46 |  | 1.64
Service Charge Rate Rider for Storm Damage Cost Recovery - effective until August 31, 2009 | $ |  |  | 0.14 | 0.14 | 0.14 |  | 0.14
Distribution Volumetric Rate | $/kW | 1.57 | 1.5729 | 1.5729 | 1.5823 | 1.7608 |  | 3.5996
Distribution Volumetric Rate Rider for Storm Damage Cost Recovery - effective until August 31, 2009 | $/kW |  |  | 0.1691 | 0.1691 | 0.1691 |  | 0.1691
Rate Rider 1 (if applicable) |  |  |  |  | 0 | 0
Rate Rider 2 (if applicable) |  |  |  |  | 0 | 0
Regulatory Asset Recovery | $/kW | -2.0954 | -2.0954 | -2.0954 | 0 | 0.0445 |  | 0.0445
Retail Transmission Rate – Network Service Rate | $/kW | 1.5196 | 1.5196 | 1.5196 | 1.24 | 1.24 |  | 1.24
Retail Transmission Rate – Line and Transformation Connection Service Rate | $/kW | 1.3025 | 1.3025 | 1.3025 | 1.2348 | 1.2348 |  | 1.2348
Retail Transmission Rate – Network Service Rate (if applicable) | $/kW |  |  |  | 0 | 0
Retail Transmission Rate – Line and Transformation Connection Service Rate (if applicable) | $/kW |  |  |  | 0 | 0
Retail Transmission Rate – Network Service Rate (if applicable) | $/kW |  |  |  | 0 | 0
Retail Transmission Rate – Line and Transformation Connection Service Rate (if applicable) | $/kW |  |  |  | 0 | 0
Wholesale Market Service Rate | $/kWh | 0.0052 | 0.0052 | 0.0052 | 0.0052 | 0.0052 |  | 0.0052
Rural Rate Protection Charge | $/kWh | 0.001 | 0.001 | 0.001 | 0.001 | 0.001 |  | 0.001
Standard Supply Service – Administrative Charge (if applicable) | $ | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 |  | 0.25
Cost of Power 1st 600 | $/kWh |  |  |  | 0.053 | 0.053 |  | 0.053
Balance | $/kWh |  |  |  | 0.062 | 0.062 |  | 0.062
Loss Factor |  |  |  |  | 1.0479 | 1.0391 |  | 1.0391

## Rate Impact CA
CNPI - FORT ERIE 2009 EDR
Rate Impacts May 2009 Compared To May 2008
Distribution Rates Calculated on the Basis of the Cost Allocation Informational Filing
Residential
Consumption | 1000 | kWh | 0 | kW | Loss Factor |  | 1.0391
| May 2008 BILL |  |  | May 2009 BILL |  |  | IMPACT
| Volume | RATE $ | CHARGE $ | Volume | RATE $ | CHARGE $ | $ | % | % of Total Bill
Energy First Tier (kWh) | 600 | 0.053 | 31.8 | 600 | 0.053 | 31.8 | 0 | 0% | 27.27%
Energy Second Tier (kWh) | 447.9 | 0.062 | 27.7698 | 439.1 | 0.062 | 27.2242 | -0.5456 | -1.965% | 23.34%
Sub-Total: Energy |  |  | 59.5698 |  |  | 59.0242 | -0.5456 | -0.9159% | 50.61%
Monthly Service Charge | 1 | 20.06 | 20.06 | 1 | 20.79 | 20.79 | 0.73 | 3.639% | 17.83%
Distribution (kWh) | 1000 | 0.0072 | 7.2 | 1000 | 0.0122 | 12.2 | 5 | 69.44% | 10.46%
Distribution (kW) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0% | 0%
Regulatory Assets (kWh) | 1000 | 0 | 0 | 1000 | 0.0002 | 0.2 | 0.2 | 0% | 0.1715%
Rate Riders | 1000 | 0 | 0 | 1000 | 0 | 0 | 0 | 0% | 0%
Monthly Rate Rider Adjustment Z-Factor | 1 | 2.11 | 2.11 | 1 | 2.11 | 2.11 | 0 | 0% | 1.809%
Volumetric Rate Rider Adjustment Z-Factor | 1000 | 0.0008 | 0.8 | 1000 | 0.0008 | 0.8 | 0 | 0% | 0.686%
Retail Transmission Rate – Network Service Rate | 1047.9 | 0.0044 | 4.6108 | 1039.1 | 0.0044 | 4.572 | -0.03872 | -0.8398% | 3.921%
Retail Transmission Rate – Line and Transformation Connection Service Rate | 1047.9 | 0.0045 | 4.7156 | 1039.1 | 0.0045 | 4.676 | -0.0396 | -0.8398% | 4.01%
Sub-Total: Delivery |  |  | 39.4963 |  |  | 45.348 | 5.8517 | 14.82% | 38.89%
Wholesale Market Service Rate | 1047.9 | 0.0052 | 5.4491 | 1039.1 | 0.0052 | 5.4033 | -0.04576 | -0.8398% | 4.633%
Rural Rate Protection Charge | 1047.9 | 0.001 | 1.0479 | 1039.1 | 0.001 | 1.0391 | -0.0088 | -0.8398% | 0.891%
Regulated Price Plan – Administration Charge | 1 | 0.25 | 0.25 | 1 | 0.25 | 0.25 | 0 | 0% | 0.2144%
Sub-Total: Regulatory |  |  | 6.747 |  |  | 6.6924 | -0.05456 | -0.8087% | 5.739%
Debt Retirement Charge (DRC) | 1000 | 0 | 0 | 1000 | 0 | 0 | 0 | 0% | 0%
Total Bill before Taxes |  |  | 105.8131 |  |  | 111.0646 | 5.2515 | 4.963% | 95.24%
GST | 105.8131 | 5% | 5.2907 | 111.0646 | 5% | 5.5532 | 0.26258 | 4.963% | 4.762%
Total Bill after Taxes |  |  | 111.1037 |  |  | 116.6178 | 5.5141 | 4.963% | 100%
General Service Less Than 50 kW
Consumption | 2000 | kWh | 0 | kW | Loss Factor |  | 1.0391
| May 2008 BILL |  |  | May 2009 BILL |  |  | IMPACT
| Volume | RATE $ | CHARGE $ | Volume | RATE $ | CHARGE $ | $ | % | % of Total Bill
Energy First Tier (kWh) | 750 | 0.053 | 39.75 | 750 | 0.053 | 39.75 | 0 | 0% | 16.55%
Energy Second Tier (kWh) | 1345.8 | 0.062 | 83.4396 | 1328.2 | 0.062 | 82.3484 | -1.0912 | -1.308% | 34.28%
Sub-Total: Energy |  |  | 123.1896 |  |  | 122.0984 | -1.0912 | -0.8858% | 50.83%
Monthly Service Charge | 1 | 17.56 | 17.56 | 1 | 18.05 | 18.05 | 0.49 | 2.79% | 7.515%
Distribution (kWh) | 2000 | 0.0222 | 44.4 | 2000 | 0.026 | 52 | 7.6 | 17.12% | 21.65%
Distribution (kW) | 0 | 0 | 0 | 2000 | 0 | 0 | 0 | 0% | 0%
Regulatory Assets (kWh) | 2000 | 0 | 0 | 2000 | 0.0001 | 0.2 | 0.2 | 0% | 0.08327%
Rate Riders | 2000 | 0 | 0 | 2000 | 0 | 0 | 0 | 0% | 0%
Monthly Rate Rider Adjustment Z-Factor | 1 | 1.85 | 1.85 | 1 | 1.85 | 1.85 | 0 | 0% | 0.7702%
Volumetric Rate Rider Adjustment Z-Factor | 2000 | 0.0024 | 4.8 | 2000 | 0.0024 | 4.8 | 0 | 0% | 1.998%
Retail Transmission Rate – Network Service Rate | 2095.8 | 0.004 | 8.3832 | 2078.2 | 0.004 | 8.3128 | -0.0704 | -0.8398% | 3.461%
Retail Transmission Rate – Line and Transformation Connection Service Rate | 2095.8 | 0.004 | 8.3832 | 2078.2 | 0.004 | 8.3128 | -0.0704 | -0.8398% | 3.461%
Sub-Total: Delivery |  |  | 85.3764 |  |  | 93.5256 | 8.1492 | 9.545% | 38.94%
Wholesale Market Service Rate | 2095.8 | 0.0052 | 10.8982 | 2078.2 | 0.0052 | 10.8066 | -0.09152 | -0.8398% | 4.499%
Rural Rate Protection Charge | 2095.8 | 0.001 | 2.0958 | 2078.2 | 0.001 | 2.0782 | -0.0176 | -0.8398% | 0.8652%
Regulated Price Plan – Administration Charge | 1 | 0.25 | 0.25 | 1 | 0.25 | 0.25 | 0 | 0% | 0.1041%
Sub-Total: Regulatory |  |  | 13.244 |  |  | 13.1348 | -0.10912 | -0.8239% | 5.468%
Debt Retirement Charge (DRC) | 2000 | 0 | 0 | 2000 | 0 | 0 | 0 | 0% | 0%
Total Bill before Taxes |  |  | 221.81 |  |  | 228.7588 | 6.9489 | 3.133% | 95.24%
GST | 221.81 | 5% | 11.0905 | 228.7588 | 5% | 11.4379 | 0.34744 | 3.133% | 4.762%
Total Bill after Taxes |  |  | 232.9005 |  |  | 240.1968 | 7.2963 | 3.133% | 100%
General Service 50 to 4,999 kW
Consumption | 83747 | kWh | 226 | kW | Loss Factor |  | 1.0391
| May 2008 BILL |  |  | May 2009 BILL |  |  | IMPACT
| Volume | RATE $ | CHARGE $ | Volume | RATE $ | CHARGE $ | $ | % | % of Total Bill
Energy First Tier (kWh) | 750 | 0.053 | 39.75 | 750 | 0.053 | 39.75 | 0 | 0% | 0.4378%
Energy Second Tier (kWh) | 87008.4813 | 0.062 | 5394.5258 | 86271.5077 | 0.062 | 5348.8335 | -45.6924 | -0.847% | 58.92%
Sub-Total: Energy |  |  | 5434.2758 |  |  | 5388.5835 | -45.6924 | -0.8408% | 59.36%
Monthly Service Charge | 1 | 116.52 | 116.52 | 1 | 124.28 | 124.28 | 7.76 | 6.66% | 1.369%
Distribution (kWh) | 83747 | 0 | 0 | 83747 | 0 | 0 | 0 | 0% | 0%
Distribution (kW) | 226 | 7.2398 | 1636.1948 | 226 | 7.2401 | 1636.2626 | 0.0678 | 0.004144% | 18.02%
Regulatory Assets (kW) | 226 | 0 | 0 | 226 | 0.0391 | 8.8366 | 8.8366 | 0% | 0.09733%
Rate Riders | 226 | 0 | 0 | 226 | 0 | 0 | 0 | 0% | 0%
Monthly Rate Rider Adjustment Z-Factor | 1 | 12.42 | 12.42 | 1 | 12.42 | 12.42 | 0 | 0% | 0.1368%
Volumetric Rate Rider Adjustment Z-Factor | 226 | 0.7737 | 174.8562 | 226 | 0.7737 | 174.8562 | 0 | 0% | 1.926%
Retail Transmission Rate – Network Service Rate | 236.8254 | 1.6442 | 389.3883 | 234.8366 | 1.6442 | 386.1183 | -3.27 | -0.8398% | 4.253%
Retail Transmission Rate – Line and Transformation Connection Service Rate | 236.8254 | 1.5973 | 378.2812 | 234.8366 | 1.5973 | 375.1045 | -3.1767 | -0.8398% | 4.132%
Sub-Total: Delivery |  |  | 2707.6605 |  |  | 2717.8782 | 10.2177 | 0.3774% | 29.94%
Wholesale Market Service Rate | 87758.4813 | 0.0052 | 456.3441 | 87021.5077 | 0.0052 | 452.5118 | -3.8323 | -0.8398% | 4.984%
Rural Rate Protection Charge | 87758.4813 | 0.001 | 87.7585 | 87021.5077 | 0.001 | 87.0215 | -0.73697 | -0.8398% | 0.9585%
Regulated Price Plan – Administration Charge | 1 | 0.25 | 0.25 | 1 | 0.25 | 0.25 | 0 | 0% | 0.002754%
Sub-Total: Regulatory |  |  | 544.3526 |  |  | 539.7833 | -4.5692 | -0.8394% | 5.946%
Debt Retirement Charge (DRC) | 83747 | 0 | 0 | 83747 | 0 | 0 | 0 | 0% | 0%
Total Bill before Taxes |  |  | 8686.289 |  |  | 8646.2451 | -40.0439 | -0.461% | 95.24%
GST | 8686.289 | 5% | 434.3144 | 8646.2451 | 5% | 432.3123 | -2.0022 | -0.461% | 4.762%
Total Bill after Taxes |  |  | 9120.6034 |  |  | 9078.5573 | -42.0461 | -0.461% | 100%
Unmetered Scattered Load
Consumption | 750 | kWh | 0 | kW | Loss Factor |  | 1.0391
| May 2008 BILL |  |  | May 2009 BILL |  |  | IMPACT
| Volume | RATE $ | CHARGE $ | Volume | RATE $ | CHARGE $ | $ | % | % of Total Bill
Energy First Tier (kWh) | 750 | 0.053 | 39.75 | 750 | 0.053 | 39.75 | 0 | 0% | 42.68%
Energy Second Tier (kWh) | 35.925 | 0.062 | 2.2273 | 29.325 | 0.062 | 1.8181 | -0.4092 | -18.37% | 1.952%
Sub-Total: Energy |  |  | 41.9774 |  |  | 41.5682 | -0.4092 | -0.9748% | 44.63%
Monthly Service Charge | 1 | 8.56 | 8.56 | 1 | 9.7 | 9.7 | 1.14 | 13.32% | 10.42%
Distribution (kWh) | 750 | 0.022 | 16.5 | 750 | 0.0309 | 23.175 | 6.675 | 40.45% | 24.88%
Distribution (kW) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0% | 0%
Regulatory Assets (kWh) | 750 | 0 | 0 | 750 | 0.0003 | 0.225 | 0.225 | 0% | 0.2416%
Rate Riders | 750 | 0 | 0 | 750 | 0 | 0 | 0 | 0% | 0%
Monthly Rate Rider Adjustment Z-Factor | 1 | 0.91 | 0.91 | 1 | 0.91 | 0.91 | 0 | 0% | 0.9771%
Volumetric Rate Rider Adjustment Z-Factor | 750 | 0.0024 | 1.8 | 750 | 0.0024 | 1.8 | 0 | 0% | 1.933%
Retail Transmission Rate – Network Service Rate | 785.925 | 0.004 | 3.1437 | 779.325 | 0.004 | 3.1173 | -0.0264 | -0.8398% | 3.347%
Retail Transmission Rate – Line and Transformation Connection Service Rate | 785.925 | 0.004 | 3.1437 | 779.325 | 0.004 | 3.1173 | -0.0264 | -0.8398% | 3.347%
Sub-Total: Delivery |  |  | 34.0574 |  |  | 42.0446 | 7.9872 | 23.45% | 45.15%
Wholesale Market Service Rate | 785.925 | 0.0052 | 4.0868 | 779.325 | 0.0052 | 4.0525 | -0.03432 | -0.8398% | 4.351%
Rural Rate Protection Charge | 785.925 | 0.001 | 0.78592 | 779.325 | 0.001 | 0.77933 | -0.0066 | -0.8398% | 0.8368%
Regulated Price Plan – Administration Charge | 1 | 0.25 | 0.25 | 1 | 0.25 | 0.25 | 0 | 0% | 0.2684%
Sub-Total: Regulatory |  |  | 5.1227 |  |  | 5.0818 | -0.04092 | -0.7988% | 5.457%
Debt Retirement Charge (DRC) | 750 | 0 | 0 | 750 | 0 | 0 | 0 | 0% | 0%
Total Bill before Taxes |  |  | 81.1575 |  |  | 88.6946 | 7.5371 | 9.287% | 95.24%
GST | 81.1575 | 5% | 4.0579 | 88.6946 | 5% | 4.4347 | 0.37685 | 9.287% | 4.762%
Total Bill after Taxes |  |  | 85.2154 |  |  | 93.1293 | 7.9139 | 9.287% | 100%
Sentinel Lighting
Consumption | 3000 | kWh | 10 | kW | Loss Factor |  | 1.0391
| May 2008 BILL |  |  | May 2009 BILL |  |  | IMPACT
| Volume | RATE $ | CHARGE $ | Volume | RATE $ | CHARGE $ | $ | % | % of Total Bill
Energy First Tier (kWh) | 750 | 0.053 | 39.75 | 750 | 0.053 | 39.75 | 0 | 0% | 11.74%
Energy Second Tier (kWh) | 2393.7 | 0.062 | 148.4094 | 2367.3 | 0.062 | 146.7726 | -1.6368 | -1.103% | 43.34%
Sub-Total: Energy |  |  | 188.1594 |  |  | 186.5226 | -1.6368 | -0.8699% | 55.08%
Monthly Service Charge | 17 | 1.97 | 33.49 | 17 | 2.94 | 49.98 | 16.49 | 49.24% | 14.76%
Distribution (kWh) | 3000 | 0 | 0 | 3000 | 0 | 0 | 0 | 0% | 0%
Distribution (kW) | 10 | 1.97 | 19.7 | 10 | 3.3461 | 33.461 | 13.761 | 69.85% | 9.881%
Regulatory Assets (kWh) | 10 | 0 | 0 | 10 | 0.0574 | 0.574 | 0.574 | 0% | 0.1695%
Rate Riders | 10 | 0 | 0 | 10 | 0 | 0 | 0 | 0% | 0%
Monthly Rate Rider Adjustment Z-Factor | 17 | 0.21 | 3.57 | 17 | 0.21 | 3.57 | 0 | 0% | 1.054%
Volumetric Rate Rider Adjustment Z-Factor | 10 | 0.2105 | 2.105 | 10 | 0.2105 | 2.105 | 0 | 0% | 0.6216%
Retail Transmission Rate – Network Service Rate | 10.479 | 1.3124 | 13.7526 | 10.391 | 1.3124 | 13.6371 | -0.11549 | -0.8398% | 4.027%
Retail Transmission Rate – Line and Transformation Connection Service Rate | 10.479 | 1.2607 | 13.2109 | 10.391 | 1.2607 | 13.0999 | -0.11094 | -0.8398% | 3.868%
Sub-Total: Delivery |  |  | 85.8285 |  |  | 116.4271 | 30.5986 | 35.65% | 34.38%
Wholesale Market Service Rate | 3143.7 | 0.0052 | 16.3472 | 3117.3 | 0.0052 | 16.21 | -0.13728 | -0.8398% | 4.787%
Rural Rate Protection Charge | 3143.7 | 0.001 | 3.1437 | 3117.3 | 0.001 | 3.1173 | -0.0264 | -0.8398% | 0.9205%
Regulated Price Plan – Administration Charge | 1 | 0.25 | 0.25 | 1 | 0.25 | 0.25 | 0 | 0% | 0.07382%
Sub-Total: Regulatory |  |  | 19.7409 |  |  | 19.5773 | -0.16368 | -0.8291% | 5.781%
Debt Retirement Charge (DRC) | 3000 | 0 | 0 | 3000 | 0 | 0 | 0 | 0% | 0%
Total Bill before Taxes |  |  | 293.7289 |  |  | 322.5269 | 28.7981 | 9.804% | 95.24%
GST | 293.7289 | 5% | 14.6864 | 322.5269 | 5% | 16.1263 | 1.4399 | 9.804% | 4.762%
Total Bill after Taxes |  |  | 308.4153 |  |  | 338.6533 | 30.238 | 9.804% | 100%
Street Lighting
Consumption | 172000 | kWh | 491 | kW | Loss Factor |  | 1.0391
| May 2008 BILL |  |  | May 2009 BILL |  |  | IMPACT
| Volume | RATE $ | CHARGE $ | Volume | RATE $ | CHARGE $ | $ | % | % of Total Bill
Energy First Tier (kWh) | 750 | 0.053 | 39.75 | 750 | 0.053 | 39.75 | 0 | 0% | 0.1853%
Energy Second Tier (kWh) | 179488.8 | 0.062 | 11128.3056 | 177975.2 | 0.062 | 11034.4624 | -93.8432 | -0.8433% | 51.44%
Sub-Total: Energy |  |  | 11168.0556 |  |  | 11074.2124 | -93.8432 | -0.8403% | 51.62%
Monthly Service Charge | 2873 | 1.31 | 3763.63 | 2873 | 1.64 | 4711.72 | 948.09 | 25.19% | 21.96%
Distribution (kWh) | 172000 | 0 | 0 | 172000 | 0 | 0 | 0 | 0% | 0%
Distribution (kW) | 491 | 1.5823 | 776.9093 | 491 | 3.5996 | 1767.4036 | 990.4943 | 127.5% | 8.238%
Regulatory Assets (kWh) | 491 | 0 | 0 | 491 | 0.0445 | 21.8495 | 21.8495 | 0% | 0.1018%
Rate Riders | 491 | 0 | 0 | 491 | 0 | 0 | 0 | 0% | 0%
Monthly Rate Rider Adjustment Z-Factor | 2873 | 0.14 | 402.22 | 2873 | 0.14 | 402.22 | 0 | 0% | 1.875%
Volumetric Rate Rider Adjustment Z-Factor | 491 | 0.1691 | 83.0281 | 491 | 0.1691 | 83.0281 | 0 | 0% | 0.387%
Retail Transmission Rate – Network Service Rate | 514.5189 | 1.24 | 638.0034 | 510.1981 | 1.24 | 632.6456 | -5.3578 | -0.8398% | 2.949%
Retail Transmission Rate – Line and Transformation Connection Service Rate | 514.5189 | 1.2348 | 635.3279 | 510.1981 | 1.2348 | 629.9926 | -5.3353 | -0.8398% | 2.937%
Sub-Total: Delivery |  |  | 6299.1188 |  |  | 8248.8595 | 1949.7407 | 30.95% | 38.45%
Wholesale Market Service Rate | 180238.8 | 0.0052 | 937.2418 | 178725.2 | 0.0052 | 929.371 | -7.8707 | -0.8398% | 4.332%
Rural Rate Protection Charge | 180238.8 | 0.001 | 180.2388 | 178725.2 | 0.001 | 178.7252 | -1.5136 | -0.8398% | 0.8331%
Regulated Price Plan – Administration Charge | 1 | 0.25 | 0.25 | 1 | 0.25 | 0.25 | 0 | 0% | 0.001165%
Sub-Total: Regulatory |  |  | 1117.7306 |  |  | 1108.3462 | -9.3843 | -0.8396% | 5.166%
Debt Retirement Charge (DRC) | 172000 | 0 | 0 | 172000 | 0 | 0 | 0 | 0% | 0%
Total Bill before Taxes |  |  | 18584.9049 |  |  | 20431.4181 | 1846.5132 | 9.936% | 95.24%
GST | 18584.9049 | 5% | 929.2452 | 20431.4181 | 5% | 1021.5709 | 92.3257 | 9.936% | 4.762%
Total Bill after Taxes |  |  | 19514.1502 |  |  | 21452.989 | 1938.8388 | 9.936% | 100%

## Bill Impact CA
CNPI - FORT ERIE 2009 EDR
Bill Impacts May 2009 Compared To May 2008
Distribution Rates Calculated on the Basis of the Cost Allocation Informational Filing
Class | Consumption | Consumption | May | May | Difference | Bill Impact | Max | Min
| kWh | kW | 2008 Bill | 2009 Bill | $ | %
Residential | 250 |  | 44.3735 | 46.3477 | 1.9742 | 4.449% | 5.022% | 4.449%
| 500 |  | 65.206 | 68.3879 | 3.1819 | 4.88%
Average Customer | 671 |  | 80.4302 | 84.3823 | 3.9521 | 4.914%
| 1000 |  | 111.1037 | 116.6178 | 5.5141 | 4.963%
| 1250 |  | 134.4119 | 141.1129 | 6.701 | 4.985%
| 1500 |  | 157.7201 | 165.608 | 7.8879 | 5.001%
| 2000 |  | 204.3365 | 214.5982 | 10.2617 | 5.022%
General Service Less Than 50 kW | 1000 |  | 123.228 | 127.1334 | 3.9054 | 3.169% | 3.169% | 3.098%
| 2000 |  | 232.9005 | 240.1968 | 7.2963 | 3.133% |  |  | `
Average Customer | 2657 |  | 304.9553 | 314.4794 | 9.5242 | 3.123%
| 4000 |  | 452.2454 | 466.3236 | 14.0781 | 3.113%
| 6000 |  | 671.5904 | 692.4503 | 20.86 | 3.106%
| 10000 |  | 1110.2803 | 1144.7039 | 34.4236 | 3.1%
| 15000 |  | 1658.6427 | 1710.0209 | 51.3782 | 3.098%
General Service 50 to 4,999 kW | 25000 | 50 | 2603.604 | 2596.5688 | -7.0353 | -0.2702% | -0.2702% | -0.637%
| 40000 | 75 | 4028.7254 | 4012.523 | -16.2023 | -0.4022%
| 40000 | 100 | 4328.2449 | 4312.328 | -15.9169 | -0.3677%
Average Customer | 83747 | 226 | 9120.6034 | 9078.5573 | -42.0461 | -0.461%
| 125000 | 250 | 12503.7722 | 12436.0038 | -67.7684 | -0.542%
| 250000 | 500 | 24878.9824 | 24735.2976 | -143.6847 | -0.5775%
| 1500000 | 2500 | 142640.6936 | 141732.136 | -908.5577 | -0.637%
Unmetered Scattered Load | 200 |  | 30.118 | 33.1228 | 3.0048 | 9.977% | 9.977% | 9.018%
Average Connection | 245 |  | 34.5982 | 38.0097 | 3.4116 | 9.861%
| 300 |  | 40.0739 | 43.9827 | 3.9087 | 9.754%
| 500 |  | 59.9859 | 65.7024 | 5.7165 | 9.53%
| 750 |  | 85.2154 | 93.1293 | 7.9139 | 9.287%
| 900 |  | 101.6347 | 110.8921 | 9.2573 | 9.108%
| 1000 |  | 112.581 | 122.7339 | 10.1529 | 9.018%
Sentinel Lighting | 300 | 1 | 27.2134 | 29.5492 | 2.3358 | 8.583% | 9.804% | 8.583%
| 900 | 3 | 85.2292 | 93.1802 | 7.951 | 9.329%
| 1500 | 5 | 149.6506 | 164.2604 | 14.6097 | 9.763%
| 3000 | 10 | 308.4153 | 338.6533 | 30.238 | 9.804%
| 4500 | 15 | 464.8909 | 509.7387 | 44.8477 | 9.647%
Street Lighting | 3000 | 10 | 289.7977 | 315.2179 | 25.4202 | 8.772% | 9.936% | 8.59%
| 4500 | 15 | 437.3477 | 475.3048 | 37.9571 | 8.679%
| 6000 | 20 | 584.8978 | 635.3918 | 50.4939 | 8.633%
| 30000 | 100 | 2959.4016 | 3213.6038 | 254.2022 | 8.59%
2873 Connections | 172000 | 491 | 19514.1502 | 21452.989 | 1938.8388 | 9.936%

## 2009 EDR Rate Schedule
Canadian Niagara Power Inc. - Fort Erie
TARIFF OF RATES AND CHARGES
Effective May 1, 2009
This schedule supersedes and replaces all previously
approved schedules of Rates, Charges and Loss Factors
EB - 2008 - 0223
Residential
Service Charge | $ | 20.79
Service Charge Rate Rider for Storm Damage Cost Recovery - effective until August 31, 2009 | $ | 2.11
Distribution Volumetric Rate | $/kWh | 0.0122
Distribution Volumetric Rate Rider for Storm Damage Cost Recovery - effective until August 31, 2009 | $/kWh | 0.0008
Regulatory Asset Recovery | $/kWh | 0.0002
Retail Transmission Rate – Network Service Rate | $/kWh | 0.0044
Retail Transmission Rate – Line and Transformation Connection Service Rate | $/kWh | 0.0045
Wholesale Market Service Rate | $/kWh | 0.0052
Rural Rate Protection Charge | $/kWh | 0.001
Standard Supply Service – Administrative Charge (if applicable) | $ | 0.25
General Service Less Than 50 kW
Service Charge | $ | 18.05
Service Charge Rate Rider for Storm Damage Cost Recovery - effective until August 31, 2009 | $ | 1.85
Distribution Volumetric Rate | $/kWh | 0.026
Distribution Volumetric Rate Rider for Storm Damage Cost Recovery - effective until August 31, 2009 | $/kWh | 0.0024
Regulatory Asset Recovery | $/kWh | 0.0001
Retail Transmission Rate – Network Service Rate | $/kWh | 0.004
Retail Transmission Rate – Line and Transformation Connection Service Rate | $/kWh | 0.004
Wholesale Market Service Rate | $/kWh | 0.0052
Rural Rate Protection Charge | $/kWh | 0.001
Standard Supply Service – Administrative Charge (if applicable) | $ | 0.25
General Service 50 to 4,999 kW
Service Charge | $ | 124.28
Service Charge Rate Rider for Storm Damage Cost Recovery - effective until August 31, 2009 | $ | 12.42
Distribution Volumetric Rate | $/kW | 7.2401
Distribution Volumetric Rate Rider for Storm Damage Cost Recovery - effective until August 31, 2009 | $/kW | 0.7737
Regulatory Asset Recovery | $/kW | 0.0391
Retail Transmission Rate – Network Service Rate | $/kW | 1.6442
Retail Transmission Rate – Line and Transformation Connection Service Rate | $/kW | 1.5973
Wholesale Market Service Rate | $/kWh | 0.0052
Rural Rate Protection Charge | $/kWh | 0.001
Standard Supply Service – Administrative Charge (if applicable) | $ | 0.25
Unmetered Scattered Load
Service Charge | $ | 9.7
Service Charge Rate Rider for Storm Damage Cost Recovery - effective until August 31, 2009 | $ | 0.91
Distribution Volumetric Rate | $/kWh | 0.0309
Distribution Volumetric Rate Rider for Storm Damage Cost Recovery - effective until August 31, 2009 | $/kWh | 0.0024
Regulatory Asset Recovery | $/kWh | 0.0003
Retail Transmission Rate – Network Service Rate | $/kWh | 0.004
Retail Transmission Rate – Line and Transformation Connection Service Rate | $/kWh | 0.004
Wholesale Market Service Rate | $/kWh | 0.0052
Rural Rate Protection Charge | $/kWh | 0.001
Standard Supply Service – Administrative Charge (if applicable) | $ | 0.25
Sentinel Lighting
Service Charge | $ | 2.94
Service Charge Rate Rider for Storm Damage Cost Recovery - effective until August 31, 2009 | $ | 0.21
Distribution Volumetric Rate | $/kW | 3.3461
Distribution Volumetric Rate Rider for Storm Damage Cost Recovery - effective until August 31, 2009 | $/kW | 0.2105
Regulatory Asset Recovery | $/kW | 0.0574
Retail Transmission Rate – Network Service Rate | $/kW | 1.3124
Retail Transmission Rate – Line and Transformation Connection Service Rate | $/kW | 1.2607
Wholesale Market Service Rate | $/kWh | 0.0052
Rural Rate Protection Charge | $/kWh | 0.001
Standard Supply Service – Administrative Charge (if applicable) | $ | 0.25
Street Lighting
Service Charge | $ | 1.64
Service Charge Rate Rider for Storm Damage Cost Recovery - effective until August 31, 2009 | $ | 0.14
Distribution Volumetric Rate | $/kW | 3.5996
Distribution Volumetric Rate Rider for Storm Damage Cost Recovery - effective until August 31, 2009 | $/kW | 0.1691
Regulatory Asset Recovery | $/kW | 0.0445
Retail Transmission Rate – Network Service Rate | $/kW | 1.24
Retail Transmission Rate – Line and Transformation Connection Service Rate | $/kW | 1.2348
Wholesale Market Service Rate | $/kWh | 0.0052
Rural Rate Protection Charge | $/kWh | 0.001
Standard Supply Service – Administrative Charge (if applicable) | $ | 0.25

## Reconciliation of 2009 Rates
Canadian Niagara Power - Fort Erie
Reconciliation of 2009 Revenue Requirement and 2009 Proposed Electricity Distribution Rates
|  | 2009 Volumes |  | Proposed 2009 Rates |  | 2009 Revenue
Customer Class | No. of Customers / Connections | kWh | kW | Monthly Service Charge | Volumetric Charge | Monthly Service Charge | Volumetric Charge | Total Class Distribution Revenue | 2009 Base Revenue Requirement
Residential | 14254.5 | 114834621.3071 |  | 20.52 | 0.0122 | 3510028.08 | 1400982.3799 | 4911010.4599 | 4906211.5606
General Service Less Than 50 kW | 1180.5 | 37635552.2912 |  | 17.78 | 0.026 | 251871.48 | 978524.3596 | 1230395.8396 | 1228727.2192
General Service 50 to 4,999 kW | 145.5 | 146222353.3739 | 395124.0782 | 124.01 | 7.2401 | 216521.46 | 2860737.8382 | 3077259.2982 | 3077250.9904
Unmetered Scattered Load | 117.5 | 345359.2982 |  | 9.7 | 0.0309 | 13677 | 10671.6023 | 24348.6023 | 24333.9803
Sentinel Lighting | 961 | 797374 | 2422.9 | 2.94 | 3.3461 | 33904.08 | 8107.2657 | 42011.3457 | 42006.1866
Street Lighting | 3087.5 | 2205484.3556 | 6701.5371 | 1.64 | 3.5996 | 60762 | 24122.853 | 84884.853 | 85030.1442
| 19746.5 | 302040744.6261 | 404248.5153 |  |  | 4086764.1 | 5283146.2987 | 9369910.3987 | 9363560.0813

## 2006 EDR Revenue Distributions
CNPI - Fort Erie 2006 Board Approved EDR Model
Tab 7-1 Allocation Base Revenue Requirement
Customer Classification | Base Rvenue Requirement Allocated
(adjusted for Transformer Credit)
| Overall Allocation to Classes |  | Variable Component |  | Fixed Component
| $ | % | $ | % | $ | %
Residential | 4043487.3493 | 50.13% | 812311.8646 | 20.09% | 3231175.4847 | 79.91%
General Service Less Than 50 kW | 1179542.045 | 14.62% | 942707.5695 | 79.92% | 236834.4756 | 20.08%
General Service 50 to 4,999 kW | 2742200.0877 | 34% | 2558121.1761 | 93.29% | 184078.9115 | 6.713%
Unmetered Scattered Load | 17861.2119 | 0.2214% | 6954.4874 | 38.94% | 10906.7246 | 61.06%
Sentinel Lighting | 25050.0119 | 0.3106% | 4724.8927 | 18.86% | 20325.1192 | 81.14%
Street Lighting | 57530.0012 | 0.7133% | 10286.6527 | 17.88% | 47243.3484 | 82.12%
Totals | 8065670.7071 | 100% | 4335106.643 | 53.75% | 3730564.0641 | 46.25%
Less Transformer Credit | 106151
Base Revenue Requirement | 7959519.7071

## Dx Rates 2006 EDR Distributions
Canadian Niagara Power - Fort Erie
2009 Electricity Distribution Rates Calculated Consistent with the 2006 EDR Methodology
Tab 8-1 Rates - Base Revenue Requirement
| Annualized Data |  |  | Base Revenue Allocation |  |  |  | Base Rates
| Number of Customers (Connections) | Kwh | kW | 2006 EDR |  |  |  | 2009 Base Revenue Requirement divided by the forecasted consumption for the Test Year
| 2009 | 2009 | 2009 | Base Revenue Requirement Allocation to Class | Transformer Allowance Allocation | Variable Component | Fixed Component | Volumetric Rate Type | Rate per kWh | Rate per kW | Fixed Service Charge | With Smart Meter Adder
Class
Residential | 14254.5 | 114834621.3071 |  | 4638451.3443 |  | 931836.4903 | 3706614.854 | kWh | 0.0081 |  | 21.67 | 21.94
General Service Less Than 50 kW | 1180.5 | 37635552.2912 |  | 1353101.3978 |  | 1081418.7891 | 271682.6088 | kWh | 0.0287 |  | 19.18 | 19.45
General Service 50 to 4,999 kW | 145.5 | 146222353.3739 | 395124.0782 | 3145690.9801 | 111096.0813 | 3038164.8609 | 218622.2005 | kW |  | 7.6891 | 125.21 | 125.48
Unmetered Scattered Load | 117.5 | 345359.2982 |  | 20489.3339 |  | 7977.7797 | 12511.5542 | kWh | 0.0231 |  | 8.87 | 8.87
Sentinel Lighting | 961 | 797374 | 2422.9 | 28735.9033 |  | 5420.1196 | 23315.7837 | kW |  | 2.237 | 2.02 | 2.02
Street Lighting | 3087.5 | 2205484.3556 | 6701.5371 | 65995.0405 |  | 11800.2442 | 54194.7963 | kW |  | 1.7608 | 1.46 | 1.46
Totals | 19746.5 | 302040744.6261 | 404248.5153 | 9252464 | 111096.0813 | 5076618.2838 | 4286941.7975

## Rate Impact 2006 EDR Alloc
CNPI - FORT ERIE 2009 EDR
Rate Impacts May 2009 Compared To May 2008
Distribution Rates Calculated Consistent with the 2006 EDR Methodology
As On Tab 8-1 Rates - Base Revenue Requirement
Residential
Consumption | 1000 | kWh | 0 | kW | Loss Factor |  | 1.0391
| May 2008 BILL |  |  | May 2009 BILL |  |  | IMPACT
| Volume | RATE $ | CHARGE $ | Volume | RATE $ | CHARGE $ | $ | % | % of Total Bill
Energy First Tier (kWh) | 600 | 0.053 | 31.8 | 600 | 0.053 | 31.8 | 0 | 0% | 28.01%
Energy Second Tier (kWh) | 447.9 | 0.062 | 27.7698 | 439.1 | 0.062 | 27.2242 | -0.5456 | -1.965% | 23.98%
Sub-Total: Energy |  |  | 59.5698 |  |  | 59.0242 | -0.5456 | -0.9159% | 51.99%
Monthly Service Charge | 1 | 20.06 | 20.06 | 1 | 21.94 | 21.94 | 1.88 | 9.372% | 19.33%
Distribution (kWh) | 1000 | 0.0072 | 7.2 | 1000 | 0.0081 | 8.1 | 0.9 | 12.5% | 7.135%
Distribution (kW) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0% | 0%
Regulatory Assets (kWh) | 1000 | 0 | 0 | 1000 | 0.0002 | 0.2 | 0.2 | 0% | 0.1762%
Rate Riders | 1000 | 0 | 0 | 1000 | 0 | 0 | 0 | 0% | 0%
Monthly Rate Rider Adjustment Z-Factor | 1 | 2.11 | 2.11 | 1 | 2.11 | 2.11 | 0 | 0% | 1.859%
Volumetric Rate Rider Adjustment Z-Factor | 1000 | 0.0008 | 0.8 | 1000 | 0.0008 | 0.8 | 0 | 0% | 0.7047%
Retail Transmission Rate – Network Service Rate | 1047.9 | 0.0044 | 4.6108 | 1039.1 | 0.0044 | 4.572 | -0.03872 | -0.8398% | 4.028%
Retail Transmission Rate – Line and Transformation Connection Service Rate | 1047.9 | 0.0045 | 4.7156 | 1039.1 | 0.0045 | 4.676 | -0.0396 | -0.8398% | 4.119%
Sub-Total: Delivery |  |  | 39.4963 |  |  | 42.398 | 2.9017 | 7.347% | 37.35%
Wholesale Market Service Rate | 1047.9 | 0.0052 | 5.4491 | 1039.1 | 0.0052 | 5.4033 | -0.04576 | -0.8398% | 4.76%
Rural Rate Protection Charge | 1047.9 | 0.001 | 1.0479 | 1039.1 | 0.001 | 1.0391 | -0.0088 | -0.8398% | 0.9153%
Regulated Price Plan – Administration Charge | 1 | 0.25 | 0.25 | 1 | 0.25 | 0.25 | 0 | 0% | 0.2202%
Sub-Total: Regulatory |  |  | 6.747 |  |  | 6.6924 | -0.05456 | -0.8087% | 5.895%
Debt Retirement Charge (DRC) | 1000 | 0 | 0 | 1000 | 0 | 0 | 0 | 0% | 0%
Total Bill before Taxes |  |  | 105.8131 |  |  | 108.1146 | 2.3015 | 2.175% | 95.24%
GST | 105.8131 | 5% | 5.2907 | 108.1146 | 5% | 5.4057 | 0.11508 | 2.175% | 4.762%
Total Bill after Taxes |  |  | 111.1037 |  |  | 113.5203 | 2.4166 | 2.175% | 100%
General Service Less Than 50 kW
Consumption | 2000 | kWh | 0 | kW | Loss Factor |  | 1.0391
| May 2008 BILL |  |  | May 2009 BILL |  |  | IMPACT
| Volume | RATE $ | CHARGE $ | Volume | RATE $ | CHARGE $ | $ | % | % of Total Bill
Energy First Tier (kWh) | 750 | 0.053 | 39.75 | 750 | 0.053 | 39.75 | 0 | 0% | 16.07%
Energy Second Tier (kWh) | 1345.8 | 0.062 | 83.4396 | 1328.2 | 0.062 | 82.3484 | -1.0912 | -1.308% | 33.29%
Sub-Total: Energy |  |  | 123.1896 |  |  | 122.0984 | -1.0912 | -0.8858% | 49.37%
Monthly Service Charge | 1 | 17.56 | 17.56 | 1 | 19.45 | 19.45 | 1.89 | 10.76% | 7.864%
Distribution (kWh) | 2000 | 0.0222 | 44.4 | 2000 | 0.0287 | 57.4 | 13 | 29.28% | 23.21%
Distribution (kW) | 0 | 0 | 0 | 2000 | 0 | 0 | 0 | 0% | 0%
Regulatory Assets (kWh) | 2000 | 0 | 0 | 2000 | 0.0001 | 0.2 | 0.2 | 0% | 0.08086%
Rate Riders | 2000 | 0 | 0 | 2000 | 0 | 0 | 0 | 0% | 0%
Monthly Rate Rider Adjustment Z-Factor | 1 | 1.85 | 1.85 | 1 | 1.85 | 1.85 | 0 | 0% | 0.748%
Volumetric Rate Rider Adjustment Z-Factor | 2000 | 0.0024 | 4.8 | 2000 | 0.0024 | 4.8 | 0 | 0% | 1.941%
Retail Transmission Rate – Network Service Rate | 2095.8 | 0.004 | 8.3832 | 2078.2 | 0.004 | 8.3128 | -0.0704 | -0.8398% | 3.361%
Retail Transmission Rate – Line and Transformation Connection Service Rate | 2095.8 | 0.004 | 8.3832 | 2078.2 | 0.004 | 8.3128 | -0.0704 | -0.8398% | 3.361%
Sub-Total: Delivery |  |  | 85.3764 |  |  | 100.3256 | 14.9492 | 17.51% | 40.56%
Wholesale Market Service Rate | 2095.8 | 0.0052 | 10.8982 | 2078.2 | 0.0052 | 10.8066 | -0.09152 | -0.8398% | 4.369%
Rural Rate Protection Charge | 2095.8 | 0.001 | 2.0958 | 2078.2 | 0.001 | 2.0782 | -0.0176 | -0.8398% | 0.8402%
Regulated Price Plan – Administration Charge | 1 | 0.25 | 0.25 | 1 | 0.25 | 0.25 | 0 | 0% | 0.1011%
Sub-Total: Regulatory |  |  | 13.244 |  |  | 13.1348 | -0.10912 | -0.8239% | 5.311%
Debt Retirement Charge (DRC) | 2000 | 0 | 0 | 2000 | 0 | 0 | 0 | 0% | 0%
Total Bill before Taxes |  |  | 221.81 |  |  | 235.5588 | 13.7489 | 6.198% | 95.24%
GST | 221.81 | 5% | 11.0905 | 235.5588 | 5% | 11.7779 | 0.68744 | 6.198% | 4.762%
Total Bill after Taxes |  |  | 232.9005 |  |  | 247.3368 | 14.4363 | 6.198% | 100%
General Service 50 to 4,999 kW
Consumption | 83747 | kWh | 226 | kW | Loss Factor |  | 1.0391
| May 2008 BILL |  |  | May 2009 BILL |  |  | IMPACT
| Volume | RATE $ | CHARGE $ | Volume | RATE $ | CHARGE $ | $ | % | % of Total Bill
Energy First Tier (kWh) | 750 | 0.053 | 39.75 | 750 | 0.053 | 39.75 | 0 | 0% | 0.4327%
Energy Second Tier (kWh) | 87008.4813 | 0.062 | 5394.5258 | 86271.5077 | 0.062 | 5348.8335 | -45.6924 | -0.847% | 58.23%
Sub-Total: Energy |  |  | 5434.2758 |  |  | 5388.5835 | -45.6924 | -0.8408% | 58.66%
Monthly Service Charge | 1 | 116.52 | 116.52 | 1 | 125.48 | 125.48 | 8.96 | 7.69% | 1.366%
Distribution (kWh) | 83747 | 0 | 0 | 83747 | 0 | 0 | 0 | 0% | 0%
Distribution (kW) | 226 | 7.2398 | 1636.1948 | 226 | 7.6891 | 1737.7366 | 101.5418 | 6.206% | 18.92%
Regulatory Assets (kW) | 226 | 0 | 0 | 226 | 0.0391 | 8.8366 | 8.8366 | 0% | 0.09619%
Rate Riders | 226 | 0 | 0 | 226 | 0 | 0 | 0 | 0% | 0%
Monthly Rate Rider Adjustment Z-Factor | 1 | 12.42 | 12.42 | 1 | 12.42 | 12.42 | 0 | 0% | 0.1352%
Volumetric Rate Rider Adjustment Z-Factor | 226 | 0.7737 | 174.8562 | 226 | 0.7737 | 174.8562 | 0 | 0% | 1.903%
Retail Transmission Rate – Network Service Rate | 236.8254 | 1.6442 | 389.3883 | 234.8366 | 1.6442 | 386.1183 | -3.27 | -0.8398% | 4.203%
Retail Transmission Rate – Line and Transformation Connection Service Rate | 236.8254 | 1.5973 | 378.2812 | 234.8366 | 1.5973 | 375.1045 | -3.1767 | -0.8398% | 4.083%
Sub-Total: Delivery |  |  | 2707.6605 |  |  | 2820.5522 | 112.8917 | 4.169% | 30.7%
Wholesale Market Service Rate | 87758.4813 | 0.0052 | 456.3441 | 87021.5077 | 0.0052 | 452.5118 | -3.8323 | -0.8398% | 4.926%
Rural Rate Protection Charge | 87758.4813 | 0.001 | 87.7585 | 87021.5077 | 0.001 | 87.0215 | -0.73697 | -0.8398% | 0.9473%
Regulated Price Plan – Administration Charge | 1 | 0.25 | 0.25 | 1 | 0.25 | 0.25 | 0 | 0% | 0.002721%
Sub-Total: Regulatory |  |  | 544.3526 |  |  | 539.7833 | -4.5692 | -0.8394% | 5.876%
Debt Retirement Charge (DRC) | 83747 | 0 | 0 | 83747 | 0 | 0 | 0 | 0% | 0%
Total Bill before Taxes |  |  | 8686.289 |  |  | 8748.9191 | 62.6301 | 0.721% | 95.24%
GST | 8686.289 | 5% | 434.3144 | 8748.9191 | 5% | 437.446 | 3.1315 | 0.721% | 4.762%
Total Bill after Taxes |  |  | 9120.6034 |  |  | 9186.365 | 65.7616 | 0.721% | 100%
Unmetered Scattered Load
Consumption | 750 | kWh | 0 | kW | Loss Factor |  | 1.0391
| May 2008 BILL |  |  | May 2009 BILL |  |  | IMPACT
| Volume | RATE $ | CHARGE $ | Volume | RATE $ | CHARGE $ | $ | % | % of Total Bill
Energy First Tier (kWh) | 750 | 0.053 | 39.75 | 750 | 0.053 | 39.75 | 0 | 0% | 46.16%
Energy Second Tier (kWh) | 35.925 | 0.062 | 2.2273 | 29.325 | 0.062 | 1.8181 | -0.4092 | -18.37% | 2.111%
Sub-Total: Energy |  |  | 41.9774 |  |  | 41.5682 | -0.4092 | -0.9748% | 48.27%
Monthly Service Charge | 1 | 8.56 | 8.56 | 1 | 8.87 | 8.87 | 0.31 | 3.621% | 10.3%
Distribution (kWh) | 750 | 0.022 | 16.5 | 750 | 0.0231 | 17.325 | 0.825 | 5% | 20.12%
Distribution (kW) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0% | 0%
Regulatory Assets (kWh) | 750 | 0 | 0 | 750 | 0.0003 | 0.225 | 0.225 | 0% | 0.2613%
Rate Riders | 750 | 0 | 0 | 750 | 0 | 0 | 0 | 0% | 0%
Monthly Rate Rider Adjustment Z-Factor | 1 | 0.91 | 0.91 | 1 | 0.91 | 0.91 | 0 | 0% | 1.057%
Volumetric Rate Rider Adjustment Z-Factor | 750 | 0.0024 | 1.8 | 750 | 0.0024 | 1.8 | 0 | 0% | 2.09%
Retail Transmission Rate – Network Service Rate | 785.925 | 0.004 | 3.1437 | 779.325 | 0.004 | 3.1173 | -0.0264 | -0.8398% | 3.62%
Retail Transmission Rate – Line and Transformation Connection Service Rate | 785.925 | 0.004 | 3.1437 | 779.325 | 0.004 | 3.1173 | -0.0264 | -0.8398% | 3.62%
Sub-Total: Delivery |  |  | 34.0574 |  |  | 35.3646 | 1.3072 | 3.838% | 41.07%
Wholesale Market Service Rate | 785.925 | 0.0052 | 4.0868 | 779.325 | 0.0052 | 4.0525 | -0.03432 | -0.8398% | 4.706%
Rural Rate Protection Charge | 785.925 | 0.001 | 0.78592 | 779.325 | 0.001 | 0.77933 | -0.0066 | -0.8398% | 0.905%
Regulated Price Plan – Administration Charge | 1 | 0.25 | 0.25 | 1 | 0.25 | 0.25 | 0 | 0% | 0.2903%
Sub-Total: Regulatory |  |  | 5.1227 |  |  | 5.0818 | -0.04092 | -0.7988% | 5.901%
Debt Retirement Charge (DRC) | 750 | 0 | 0 | 750 | 0 | 0 | 0 | 0% | 0%
Total Bill before Taxes |  |  | 81.1575 |  |  | 82.0146 | 0.85708 | 1.056% | 95.24%
GST | 81.1575 | 5% | 4.0579 | 82.0146 | 5% | 4.1007 | 0.042854 | 1.056% | 4.762%
Total Bill after Taxes |  |  | 85.2154 |  |  | 86.1153 | 0.89993 | 1.056% | 100%
Sentinel Lighting
Consumption | 3000 | kWh | 10 | kW | Loss Factor |  | 1.0391
| May 2008 BILL |  |  | May 2009 BILL |  |  | IMPACT
| Volume | RATE $ | CHARGE $ | Volume | RATE $ | CHARGE $ | $ | % | % of Total Bill
Energy First Tier (kWh) | 750 | 0.053 | 39.75 | 750 | 0.053 | 39.75 | 0 | 0% | 13.6%
Energy Second Tier (kWh) | 2393.7 | 0.062 | 148.4094 | 2367.3 | 0.062 | 146.7726 | -1.6368 | -1.103% | 50.23%
Sub-Total: Energy |  |  | 188.1594 |  |  | 186.5226 | -1.6368 | -0.8699% | 63.83%
Monthly Service Charge | 10 | 1.97 | 19.7 | 10 | 2.02 | 20.2 | 0.5 | 2.538% | 6.913%
Distribution (kWh) | 3000 | 0 | 0 | 3000 | 0 | 0 | 0 | 0% | 0%
Distribution (kW) | 10 | 1.97 | 19.7 | 10 | 2.237 | 22.37 | 2.67 | 13.55% | 7.655%
Regulatory Assets (kWh) | 10 | 0 | 0 | 10 | 0.0574 | 0.574 | 0.574 | 0% | 0.1964%
Rate Riders | 10 | 0 | 0 | 10 | 0 | 0 | 0 | 0% | 0%
Monthly Rate Rider Adjustment Z-Factor | 1 | 0.21 | 0.21 | 1 | 0.21 | 0.21 | 0 | 0% | 0.07187%
Volumetric Rate Rider Adjustment Z-Factor | 10 | 0.2105 | 2.105 | 10 | 0.2105 | 2.105 | 0 | 0% | 0.7204%
Retail Transmission Rate – Network Service Rate | 10.479 | 1.3124 | 13.7526 | 10.391 | 1.3124 | 13.6371 | -0.11549 | -0.8398% | 4.667%
Retail Transmission Rate – Line and Transformation Connection Service Rate | 10.479 | 1.2607 | 13.2109 | 10.391 | 1.2607 | 13.0999 | -0.11094 | -0.8398% | 4.483%
Sub-Total: Delivery |  |  | 68.6785 |  |  | 72.1961 | 3.5176 | 5.122% | 24.71%
Wholesale Market Service Rate | 3143.7 | 0.0052 | 16.3472 | 3117.3 | 0.0052 | 16.21 | -0.13728 | -0.8398% | 5.547%
Rural Rate Protection Charge | 3143.7 | 0.001 | 3.1437 | 3117.3 | 0.001 | 3.1173 | -0.0264 | -0.8398% | 1.067%
Regulated Price Plan – Administration Charge | 1 | 0.25 | 0.25 | 1 | 0.25 | 0.25 | 0 | 0% | 0.08555%
Sub-Total: Regulatory |  |  | 19.7409 |  |  | 19.5773 | -0.16368 | -0.8291% | 6.7%
Debt Retirement Charge (DRC) | 3000 | 0 | 0 | 3000 | 0 | 0 | 0 | 0% | 0%
Total Bill before Taxes |  |  | 276.5789 |  |  | 278.2959 | 1.7171 | 0.6208% | 95.24%
GST | 276.5789 | 5% | 13.8289 | 278.2959 | 5% | 13.9148 | 0.085854 | 0.6208% | 4.762%
Total Bill after Taxes |  |  | 290.4078 |  |  | 292.2107 | 1.8029 | 0.6208% | 100%
Street Lighting
Consumption | 172000 | kWh | 491 | kW | Loss Factor |  | 1.0391
| May 2008 BILL |  |  | May 2009 BILL |  |  | IMPACT
| Volume | RATE $ | CHARGE $ | Volume | RATE $ | CHARGE $ | $ | % | % of Total Bill
Energy First Tier (kWh) | 750 | 0.053 | 39.75 | 750 | 0.053 | 39.75 | 0 | 0% | 0.2014%
Energy Second Tier (kWh) | 179488.8 | 0.062 | 11128.3056 | 177975.2 | 0.062 | 11034.4624 | -93.8432 | -0.8433% | 55.91%
Sub-Total: Energy |  |  | 11168.0556 |  |  | 11074.2124 | -93.8432 | -0.8403% | 56.12%
Monthly Service Charge | 2500 | 1.31 | 3275 | 3000 | 1.46 | 4380 | 1105 | 33.74% | 22.19%
Distribution (kWh) | 172000 | 0 | 0 | 172000 | 0 | 0 | 0 | 0% | 0%
Distribution (kW) | 491 | 1.5823 | 776.9093 | 491 | 1.7608 | 864.5528 | 87.6435 | 11.28% | 4.381%
Regulatory Assets (kWh) | 491 | 0 | 0 | 491 | 0.0445 | 21.8495 | 21.8495 | 0% | 0.1107%
Rate Riders | 491 | 0 | 0 | 491 | 0 | 0 | 0 | 0% | 0%
Monthly Rate Rider Adjustment Z-Factor | 1 | 0.14 | 0.14 | 1 | 0.14 | 0.14 | 0 | 0% | 0.0007094%
Volumetric Rate Rider Adjustment Z-Factor | 491 | 0.1691 | 83.0281 | 491 | 0.1691 | 83.0281 | 0 | 0% | 0.4207%
Retail Transmission Rate – Network Service Rate | 514.5189 | 1.24 | 638.0034 | 510.1981 | 1.24 | 632.6456 | -5.3578 | -0.8398% | 3.206%
Retail Transmission Rate – Line and Transformation Connection Service Rate | 514.5189 | 1.2348 | 635.3279 | 510.1981 | 1.2348 | 629.9926 | -5.3353 | -0.8398% | 3.192%
Sub-Total: Delivery |  |  | 5408.4088 |  |  | 6612.2087 | 1203.7999 | 22.26% | 33.51%
Wholesale Market Service Rate | 180238.8 | 0.0052 | 937.2418 | 178725.2 | 0.0052 | 929.371 | -7.8707 | -0.8398% | 4.709%
Rural Rate Protection Charge | 180238.8 | 0.001 | 180.2388 | 178725.2 | 0.001 | 178.7252 | -1.5136 | -0.8398% | 0.9056%
Regulated Price Plan – Administration Charge | 1 | 0.25 | 0.25 | 1 | 0.25 | 0.25 | 0 | 0% | 0.001267%
Sub-Total: Regulatory |  |  | 1117.7306 |  |  | 1108.3462 | -9.3843 | -0.8396% | 5.616%
Debt Retirement Charge (DRC) | 172000 | 0 | 0 | 172000 | 0 | 0 | 0 | 0% | 0%
Total Bill before Taxes |  |  | 17694.1949 |  |  | 18794.7673 | 1100.5724 | 6.22% | 95.24%
GST | 17694.1949 | 5% | 884.7097 | 18794.7673 | 5% | 939.7384 | 55.0286 | 6.22% | 4.762%
Total Bill after Taxes |  |  | 18578.9047 |  |  | 19734.5057 | 1155.601 | 6.22% | 100%

## Bill Impact 2006 EDR Alloc
CNPI - FORT ERIE 2009 EDR
Bill Impacts May 2009 Compared To May 2008
Distribution Rates Calculated Consistent with the 2006 EDR Methodology
As On Tab 8-1 Rates - Base Revenue Requirement
Class | Consumption | Consumption | May | May | Difference | Bill Impact | Max | Min
| kWh | kW | 2008 Bill | 2009 Bill | $ | %
Residential | 250 |  | 44.3735 | 46.479 | 2.1054 | 4.745% | 4.745% | 1.399%
| 500 |  | 65.206 | 67.4429 | 2.2369 | 3.43%
Average Customer | 671 |  | 80.4302 | 82.7012 | 2.271 | 2.824%
| 1000 |  | 111.1037 | 113.5203 | 2.4166 | 2.175%
| 1250 |  | 134.4119 | 136.9392 | 2.5272 | 1.88%
| 1500 |  | 157.7201 | 160.358 | 2.6379 | 1.673%
| 2000 |  | 204.3365 | 207.1957 | 2.8592 | 1.399%
General Service Less Than 50 kW | 1000 |  | 123.228 | 131.4384 | 8.2104 | 6.663% | 6.663% | 5.75%
| 2000 |  | 232.9005 | 247.3368 | 14.4363 | 6.198%
Average Customer | 2657 |  | 304.9553 | 323.482 | 18.5267 | 6.075%
| 4000 |  | 452.2454 | 479.1336 | 26.8881 | 5.945%
| 6000 |  | 671.5904 | 710.9303 | 39.34 | 5.858%
| 10000 |  | 1110.2803 | 1174.5239 | 64.2436 | 5.786%
| 15000 |  | 1658.6427 | 1754.0159 | 95.3732 | 5.75%
General Service 50 to 4,999 kW | 25000 | 50 | 2603.604 | 2621.4013 | 17.7972 | 0.6836% | 0.7506% | 0.1902%
| 40000 | 75 | 4028.7254 | 4049.1418 | 20.4164 | 0.5068%
| 40000 | 100 | 4328.2449 | 4360.733 | 32.4881 | 0.7506%
Average Customer | 83747 | 226 | 9120.6034 | 9186.365 | 65.7616 | 0.721%
| 125000 | 250 | 12503.7722 | 12555.1263 | 51.3541 | 0.4107%
| 250000 | 500 | 24878.9824 | 24972.2826 | 93.3003 | 0.375%
| 1500000 | 2500 | 142640.6936 | 142912.021 | 271.3273 | 0.1902%
Unmetered Scattered Load | 200 |  | 30.118 | 30.6133 | 0.49531 | 1.645% | 1.645% | 0.9694%
Average Connection | 245 |  | 34.5982 | 35.1317 | 0.53352 | 1.542%
| 300 |  | 40.0739 | 40.6542 | 0.58022 | 1.448%
| 500 |  | 59.9859 | 60.7359 | 0.75004 | 1.25%
| 750 |  | 85.2154 | 86.1153 | 0.89993 | 1.056%
| 900 |  | 101.6347 | 102.6496 | 1.0148 | 0.9985%
| 1000 |  | 112.581 | 113.6724 | 1.0914 | 0.9694%
Sentinel Lighting | 300 | 1 | 27.2134 | 27.4187 | 0.20524 | 0.7542% | 0.7542% | 0.6947%
| 900 | 3 | 87.5182 | 88.1641 | 0.64588 | 0.738%
| 1500 | 5 | 149.6506 | 150.7096 | 1.059 | 0.7076%
| 3000 | 10 | 308.4153 | 310.5857 | 2.1704 | 0.7037%
| 4500 | 15 | 464.8909 | 468.1204 | 3.2294 | 0.6947%
Street Lighting | 3000 | 10 | 289.7977 | 292.6975 | 2.8998 | 1.001% | 1.001% | 0.9617%
| 4500 | 15 | 437.3477 | 441.6187 | 4.271 | 0.9766%
| 6000 | 20 | 584.8978 | 590.54 | 5.6421 | 0.9646%
| 30000 | 100 | 2959.4016 | 2988.3998 | 28.9982 | 0.9799%
| 168000 | 560 | 16575.1163 | 16734.514 | 159.3977 | 0.9617%