{"text_format":"1","workbook":"xlsx","n_sheets":3,"sheets":["2018","2020","2021"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"2018","index":0,"n_rows":38,"n_cols":11,"rows_kept":38,"cut":false,"hidden":false,"merged":[]}
[]
[null,null,null,null,null,null,2018]
[]
[null,2023,"Residential","GSlt50","GSgt50","Intermediate","Large Use","Street Lights","Sentinel Lights","USL","Total"]
[null,1,46705.807337241393,15644.516943994728,31237.316266929098,12936.489971474815,31247.523278704706,779.77124672421905,96.170008704355681,251.29560078874869,138898.89065456207]
[null,2,46596.516851717832,12391.111031428514,29835.153660566015,13080.911964140123,37881.693442880729,62.381699737937531,7.6936006963484544,251.29560078874869,140106.75785195624]
[null,3,38882.824688099456,13150.306951135208,27149.427487437268,13243.17184865795,34205.212262265952,779.77124672421905,96.170008704355681,251.29560078874869,127758.18009381316]
[null,4,36221.573256654512,12432.284049980597,25386.658317894289,13969.697291142846,33582.299108492225,577.03072257592214,71.165806441223211,251.29560078874869,122492.00415397035]
[null,5,56539.191406997801,15956.814200074648,36438.878799704296,11916.890209762398,32174.770664056414,0,0,251.29560078874869,153277.8408813843]
[null,6,69751.329735728868,17390.749214960579,37237.797061777936,11171.730002336561,36459.182227104335,0,0,251.29560078874869,172262.08384269706]
[null,7,79189.468631006006,19774.475927892072,39348.699596152117,9465.7899728663997,31734.032455893357,0,0,251.29560078874869,179763.76218459869]
[null,8,69796.703670656148,20534.99652976662,37684.709375056154,15245.473730865253,28932.669795724058,0,0,251.29560078874869,172445.84870285701]
[null,9,70543.987627442664,20863.009090838892,42111.580027589145,10801.8882085203,31472.516870449726,0,0,251.29560078874869,176044.27742562949]
[null,10,35064.122868907019,13168.916470990718,28139.146311974102,15262.16666304574,36800.023384549248,0,0,251.29560078874869,128685.67130025558]
[null,11,39121.479929527974,14710.200193445915,27501.299610776827,14646.90933304359,35843.071956304906,693.99640958455495,85.591307746876566,251.29560078874869,132853.8443412194]
[null,12,44830.373854526042,15169.516746109834,27351.812550103703,13712.928906695,35740.857132832913,779.77124672421905,96.170008704355681,251.29560078874869,137932.72604648481]
[]
[null,"1CP",79189.468631006006,19774.475927892072,39348.699596152117,9465.7899728663997,31734.032455893357,0,0,251.29560078874869,179763.76218459869]
[null,"4CP",289281.48966483364,78563.230763458167,156382.78606057534,46684.881914588514,128598.40134917147,0,0,1005.1824031549947,700515.97215578228]
[null,"12CP",633243.3798585058,191186.89735061835,389422.47906596097,155454.04810255097,406073.8525792585,3672.7225720710717,452.96074099751524,3015.5472094649845,1782521.8874794282]
[]
[null,2023,"Residential","GSlt50","GSgt50","Intermediate","Large Use","Street Lights","Sentinel Lights","USL","Total"]
[null,1,50372.80338316167,18392.829761130524,31237.316266929098,15031.052874100133,35651.503189759489,779.77124672421905,96.170008704355681,251.29560078874869,151812.74233129824]
[null,2,46596.516851717832,18180.052414896898,29954.939026816079,15199.319971567267,38640.797922389203,779.77124672421905,96.170008704355681,251.29560078874869,149698.86304360459]
[null,3,39711.31632021517,17409.701519621532,27762.169499571937,15455.488511238307,35192.470446670166,779.77124672421905,96.170008704355681,251.29560078874869,136658.38315353444]
[null,4,41605.754641551182,16691.553058914466,25831.221630555992,15181.302218607472,34660.733228455501,779.77124672421905,96.170008704355681,251.29560078874869,135097.80163430196]
[null,5,56539.191406997801,19890.745152022038,36552.318342995168,14370.38749894224,33773.761914156799,779.77124672421905,96.170008704355681,251.29560078874869,162253.64117133134]
[null,6,76295.517410250861,22425.771864475828,40801.66346449402,16041.064597211107,37785.499433312893,779.77124672421905,96.170008704355681,251.29560078874869,194476.75362596201]
[null,7,81097.285623260104,23690.865563370058,39929.338750124036,16208.489389364227,37795.630362852287,779.77124672421905,96.170008704355681,251.29560078874869,199848.84654518805]
[null,8,76377.559371889729,22209.38727250701,38886.693127555482,16230.378958465775,38101.140371360445,779.77124672421905,96.170008704355681,251.29560078874869,192932.39595799576]
[null,9,73322.249248575448,22438.829137827615,42114.377124399653,15668.555367467477,38053.169255879926,779.77124672421905,96.170008704355681,251.29560078874869,192724.41699036746]
[null,10,39182.002683192601,16714.612421143593,28139.146311974102,15834.452046987768,39206.996243775822,779.77124672421905,96.170008704355681,251.29560078874869,140204.44656329122]
[null,11,42221.486403224379,17179.067351825972,27906.426986469032,15535.972593568051,38880.337561385604,779.77124672421905,96.170008704355681,251.29560078874869,142850.52775269037]
[null,12,48497.213902337076,17710.989332687757,27351.812550103703,14948.505877973375,39672.740247701651,779.77124672421905,96.170008704355681,251.29560078874869,149308.49876702088]
[]
[null,"1NCP",81097.285623260104,23690.865563370058,42114.377124399653,16230.378958465775,39672.740247701651,779.77124672421905,96.170008704355681,251.29560078874869,203932.88437341453]
[null,"4NCP",307092.61165397614,90764.853838180512,161732.07246657318,64314.384992028878,156400.87197525229,3119.0849868968762,384.68003481742272,1005.1824031549947,784813.74235088041]
[null,"12NCP",671818.89724637393,232934.40485042328,396467.42308198829,185704.96990549323,447414.78017769975,9357.2549606906286,1154.0401044522685,3015.5472094649845,1947867.3175365862]

{"sheet":"2020","index":1,"n_rows":38,"n_cols":11,"rows_kept":38,"cut":false,"hidden":false,"merged":[]}
[]
[null,null,null,null,null,null,2020]
[]
[null,2023,"Residential","GSlt50","GSgt50","Intermediate","Large Use","Street Lights","Sentinel Lights","USL","Total"]
[null,1,39154.34320904265,16256.569627273604,28408.525236099489,14787.98421349911,35896.998175062363,777.34260887381436,95.870482241707492,250.60900078656903,135628.2425528793]
[null,2,39994.582539204042,15321.931088030762,28366.248036908448,14278.910109613964,35535.254112481387,777.34260887381436,95.870482241707492,250.60900078656903,134620.74797814069]
[null,3,36190.644770894643,14843.71909421722,26792.560018830634,14017.08064681772,33848.256095646997,287.61676528331128,35.472078429431768,250.60900078656903,126265.95847090654]
[null,4,33500.364220689589,13117.874090951085,22905.612043618083,8760.6632111431372,34718.183584976097,0,0,250.60900078656903,113253.30615216456]
[null,5,65179.924147637925,14044.587793503249,22398.487436535172,9065.5426140687741,35670.352525983697,0,0,250.60900078656903,146609.50351851538]
[null,6,66961.195967571097,20616.447618005815,32205.129666497294,12795.784249048807,31336.174547861283,0,0,250.60900078656903,164165.34104977082]
[null,7,66247.628278237462,22004.288500668303,32788.835915485244,15922.119165062415,36028.700338824397,0,0,250.60900078656903,173242.18119906436]
[null,8,75061.009562724503,20800.312236874393,29600.128760782343,14578.776675124644,36920.709164039843,0,0,250.60900078656903,177211.54540033228]
[null,9,67776.900840967995,21033.201171316021,31713.715606814734,14968.43097055533,33322.951834680862,233.20278266214427,28.761144672512245,250.60900078656903,169327.77335245616]
[null,10,40877.857004259968,13957.130838384626,25326.615667887003,14434.89521617939,30772.664340113017,761.795756696338,93.953072596873341,250.60900078656903,126475.52089690379]
[null,11,40342.169464044397,15029.239822440159,26036.366478457381,15640.778107607706,35152.894113565591,777.34260887381436,95.870482241707492,250.60900078656903,133325.27007801732]
[null,12,44647.573594915193,15887.458213654765,26598.3769761392,15156.334486267539,30268.249225567582,777.34260887381436,95.870482241707492,250.60900078656903,133681.81458844637]
[]
[null,"1CP",75061.009562724503,20800.312236874393,29600.128760782343,14578.776675124644,36920.709164039843,0,0,250.60900078656903,177211.54540033228]
[null,"4CP",276046.7346495011,84454.249526864529,126307.80994957961,58265.11105979119,137608.53588540637,233.20278266214427,28.761144672512245,1002.4360031462761,683946.84100162366]
[null,"12CP",615934.19360018952,202912.76009532,333140.60184405505,164407.29966498853,409471.38805880304,4391.9857401370509,541.66822466564724,3007.3080094388292,1733807.2052375975]
[]
[null,2023,"Residential","GSlt50","GSgt50","Intermediate","Large Use","Street Lights","Sentinel Lights","USL","Total"]
[null,1,46438.606292124045,18958.046143785774,32125.885909340159,15517.909367324479,37761.94537201395,777.34260887381436,95.870482241707492,250.60900078656903,151926.21517649048]
[null,2,41655.544368117713,19001.363015700295,31391.751320625863,15654.283487367933,37135.112020797467,777.34260887381436,95.870482241707492,250.60900078656903,145961.87630451136]
[null,3,40043.552263125777,17520.656383124762,29098.955901147743,14464.533341578801,36803.472977579506,777.34260887381436,95.870482241707492,250.60900078656903,139054.99295845866]
[null,4,38563.346511246462,13117.874090951085,23261.071240386704,13346.220233920127,35285.886822424189,777.34260887381436,95.870482241707492,250.60900078656903,124698.22099083067]
[null,5,65585.855863545425,16704.639023884905,25632.094845344298,13065.352477807537,38771.113388120088,777.34260887381436,95.870482241707492,250.60900078656903,160882.87769060433]
[null,6,76687.595793445187,20735.46383546451,32540.499133260011,16286.315188262814,32957.366686665227,777.34260887381436,95.870482241707492,250.60900078656903,180331.06272899982]
[null,7,81770.068893186719,22465.395828099063,33319.149315977491,16504.687824687808,38060.272406206292,777.34260887381436,95.870482241707492,250.60900078656903,193243.39636005944]
[null,8,78942.879436885123,23108.628451074219,34315.322589156734,17401.74571636058,36967.674971293673,777.34260887381436,95.870482241707492,250.60900078656903,191860.07325667242]
[null,9,72026.647067576167,23032.971981126844,36035.720011346522,16673.875215531705,36328.860115947362,777.34260887381436,95.870482241707492,250.60900078656903,185221.8964834307]
[null,10,45352.973790176118,17395.306934841239,30446.559465784649,15637.265559691876,34570.404249524108,777.34260887381436,95.870482241707492,250.60900078656903,144526.33209192008]
[null,11,45767.441047885004,17714.706786359839,27941.95468900332,16072.77065429564,36806.757956302987,777.34260887381436,95.870482241707492,250.60900078656903,145427.45322574888]
[null,12,48306.229347446155,18176.844218753256,28737.923867600708,15821.030246988201,36462.34758343421,777.34260887381436,95.870482241707492,250.60900078656903,148628.19735612461]
[]
[null,"1NCP",81770.068893186719,23108.628451074219,36035.720011346522,17401.74571636058,38771.113388120088,777.34260887381436,95.870482241707492,250.60900078656903,198211.09855199017]
[null,"4NCP",309427.19119109318,89342.460095764647,136210.69104974077,66866.623944842911,151728.4431871378,3109.3704354952574,383.48192896682997,1002.4360031462761,758070.69783618767]
[null,"12NCP",681140.74067475984,227931.89669316576,364846.88828897418,186445.98931381747,437911.214550309,9328.1113064857727,1150.4457869004898,3007.3080094388292,1911762.5946238516]

{"sheet":"2021","index":2,"n_rows":38,"n_cols":13,"rows_kept":38,"cut":false,"hidden":false,"merged":[]}
[null,null,null,null,null,null,null,null,null,null,null,null,"2023-02-13"]
[null,null,null,null,null,null,2021,null,null,null,null,null,"VECC-49"]
[]
[null,2023,"Residential","GSlt50","GSgt50","Intermediate","Large Use","Street Lights","Sentinel Lights","USL","Total"]
[null,1,47625.59683746544,13034.089602165064,21431.979933981413,12848.01310987613,37192.485535437336,779.7712467242369,96.170008704358125,251.29560078875286,133259.40187514274]
[null,2,46900.017749520572,12943.082272416033,21026.269775641904,13810.919971398762,37283.49961401707,779.7712467242369,96.170008704358125,251.29560078875286,133091.0262392117]
[null,3,40922.452722313239,13727.684220565492,21656.752668495465,14174.47776011918,33643.939701676951,779.7712467242369,96.170008704358125,251.29560078875286,125252.54392938767]
[null,4,35816.894160432843,11621.49915765406,18392.283288426639,13878.408083720662,33513.114096390847,779.7712467242369,96.170008704358125,251.29560078875286,114349.43564284241]
[null,5,55999.779697796264,12581.602711103056,18027.788405611147,14591.477220567749,34500.519398641256,null,null,251.29560078875286,135952.46303450823]
[null,6,74284.078430214911,14904.790089402191,20029.862296638214,14140.553388996501,32064.191908452838,null,null,251.29560078875286,155674.7717144934]
[null,7,79616.100569074857,22241.556668792131,24164.462115676164,13972.642828754817,30572.448763612221,null,null,251.29560078875286,170818.50654669895]
[null,8,70796.257684549913,18286.353606668239,26294.706695118439,13638.311545324656,35327.287083495095,null,null,251.29560078875286,164594.2122159451]
[null,9,59714.586778234283,20211.509489008771,23507.775675620796,12037.593180537046,28428.159569856831,null,null,251.29560078875286,144150.92029404649]
[null,10,36150.456142111922,12457.13752056534,18366.827714056806,13048.965063585974,37525.741298461806,null,null,251.29560078875286,117800.42333957061]
[null,11,44742.854889595248,12569.099753007122,18443.939613640068,13764.906090199491,32195.00859379939,779.7712467242369,96.170008704358125,251.29560078875286,122843.04579645867]
[null,12,43668.273363977358,15467.508686063857,21363.625858474672,12174.600345378696,36160.982150820513,779.7712467242369,96.170008704358125,251.29560078875286,129962.22726093244]
[]
[null,"1CP",79616.100569074857,22241.556668792131,24164.462115676164,13972.642828754817,30572.448763612221,0,0,251.29560078875286,170818.50654669895]
[null,"4CP",284411.02346207394,75644.209853871318,93996.806783053617,53789.100943613026,126392.08732541697,0,0,1005.1824031550115,635238.4107711839]
[null,"12CP",636237.34902528685,180045.91377741136,252706.27404138169,162080.86858845965,408407.37771466211,4678.6274803454216,577.02005222614878,3015.5472094650345,1647748.9778892384]
[]
[null,2023,"Residential","GSlt50","GSgt50","Intermediate","Large Use","Street Lights","Sentinel Lights","USL","Total"]
[null,1,47625.59683746544,16617.155910787435,29103.040835130429,13996.488441467036,39198.416234949727,779.7712467242369,96.170008704358125,251.29560078875286,147667.93511601741]
[null,2,46900.017749520572,17025.945815816671,28722.948802250918,14642.837732374517,38672.794629520162,779.7712467242369,96.170008704358125,251.29560078875286,147091.7815857002]
[null,3,40922.452722313239,17089.529307179968,28647.372759459569,15500.398566860211,38808.85046760134,779.7712467242369,96.170008704358125,251.29560078875286,142095.84067963166]
[null,4,35816.894160432843,15038.277861051578,25595.848592672159,15200.273969018119,39201.967945000863,779.7712467242369,96.170008704358125,251.29560078875286,131980.49938439293]
[null,5,55999.779697796264,17348.400784930978,27196.610420085268,15930.607956248108,38124.452101577743,779.7712467242369,96.170008704358125,251.29560078875286,155727.08781685572]
[null,6,74284.078430214911,21627.467459845953,31876.605632861578,16136.818310923136,38741.648954725701,779.7712467242369,96.170008704358125,251.29560078875286,183793.85564478865]
[null,7,82665.755008563865,23594.969335534723,35160.423143809356,15888.629382547449,38465.000177542199,779.7712467242369,96.170008704358125,251.29560078875286,196902.01390421498]
[null,8,78990.569944521805,22370.964184185199,32461.335066518794,15779.399588318522,39599.966465796875,779.7712467242369,96.170008704358125,251.29560078875286,190329.47210555853]
[null,9,61661.242889938672,21144.467327259546,35067.971514985409,14548.046362453606,38275.399516400154,779.7712467242369,96.170008704358125,251.29560078875286,171824.36446725472]
[null,10,41807.729942562437,16320.665592339739,27241.106539514712,14191.093368704864,39284.675461042607,779.7712467242369,96.170008704358125,251.29560078875286,139972.5077603817]
[null,11,44742.854889595248,16771.873053914365,27106.592471041786,15215.396471037677,39049.602784491028,779.7712467242369,96.170008704358125,251.29560078875286,144013.55652629744]
[null,12,46260.329300351412,17912.632513040055,29655.375770906187,14183.432537727285,39079.366523987417,779.7712467242369,96.170008704358125,251.29560078875286,148218.37350222972]
[]
[null,"1NCP",82665.755008563865,23594.969335534723,35160.423143809356,16136.818310923136,39599.966465796875,779.7712467242369,96.170008704358125,251.29560078875286,198285.16912084533]
[null,"4NCP",297601.64627323928,88737.868306825432,134566.33535817513,63735.455238037212,157285.02610679006,3119.0849868969476,384.6800348174325,1005.1824031550115,746435.27870793641]
[null,"12NCP",657677.30157327675,222862.34914588623,357835.23154923617,181213.42268768052,466502.14126263582,9357.2549606908433,1154.0401044522976,3015.5472094650345,1899617.2884933236]