## Winter Load Forecast
Load Forecast Template
| Region Name: | Chatham-Kent/Lambton/Sarnia
Notes:
| 1 |  | Enter data for the transformer stations supplying your LDC.
| 2 |  | For LDCs directly connected to the transmission facilities (TX connected), load forecasts should factor in the load forecasts of any embedded distributor. Include a list of all embedded distributors
| 3 |  | For LDCs that are embedded in another distributor's system (DX connected), DO NOT include your embedded load in forecasts submitted to the transmitter; instead, submit the embedded load forecasts to the host distributor for inclusion in their submission to the transmitter.
| 4 |  | Provide coincident load forecast aggregated for all your feeders at the DESN level.
| 5 |  | For Historical Data, LDCs are to provide the Net Load, i.e. Gross Peak Load minus any EXISTING Conservation & Demand Management (CDM) and Distributed Generation (DG), available during the time of peak demand.
| 6 |  | For Forecasted Data, LDCs are to only provide the Gross Peak Load (which is the Forecasted Load from their Historical Net Load). IESO will provide Forecasted DG and CDM.
| 7 |  | Provide load forecast in MWs under median/ normal weather condition and include power factor assumptions, if any. Note: The historical peak loads will be adjusted for extreme weather conditions by Hydro One
| 8 |  | Provide load data in the appropriate table i.e. Summer peak vs. Winter peak
| 9 |  | DO NOT double count load transfers
| 10 |  | List all relevant assumptions made in preparing this load forecast
Winter Peak Load
LDC | Transformer Station Name | DESN ID | Bus ID | Feeder(s) | Historical Data (MW) Net Load |  |  | Near Term Forecast (MW) Gross Peak Load Forecast |  |  |  |  | Medium Term Forecast (MW) Gross Peak Load Forecast |  |  |  |  | Power Factor
|  | (e.g. T1/T2) | (e.g. BY) |  | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030
| Modeland TS | T3 / T4 | JQ | M23,M24,M25,M26,M27, M28,M29,M30,M31 | 83 | 76 | 69.7 | 76 | 83.5 | 91 | 98.5 | 106 | 109.5 | 113 | 116.5 | 120 | 123.5
| St. Andrews TS | T3 / T4 | QZ | M11,M12,M13,M14,M15,M16 | 66.5 | 64.7 | 63 | 65 | 65.5 | 66 | 100 | 100.5 | 101 | 101.5 | 102 | 102.5 | 103
LDC Assumptions:
1) St. Andrews TS - new plants coming on line 2024 - no signed contracts
2) Modeland and St. Andrews - assumes 80MW solar farm continues to operate after RESOP contract ends in 2030
3) Modeland and St. Andrews - added roughly 1% growth - does not include CDM efforts
4) Municipal shareholders are predicting 35% growth over next 10 years.
5)

## Summer Load Forecast
Load Forecast Template
Customer Name: | Bluewater Power Distribution Corp
Region Name: | Chatham-Kent/Lambton/Sarnia
Notes:
1 |  | Enter data for the transformer stations supplying your LDC.
2 |  | For LDCs directly connected to the transmission facilities (TX connected), load forecasts should factor in the load forecasts of any embedded distributor. Include a list of all embedded distributors
3 |  | For LDCs that are embedded in another distributor's system (DX connected), DO NOT include your embedded load in forecasts submitted to the transmitter; instead, submit the embedded load forecasts to the host distributor for inclusion in their submission to the transmitter.
4 |  | Provide coincident load forecast aggregated for all your feeders at the DESN level.
5 |  | For Historical Data, LDCs are to provide the Net Load, i.e. Gross Peak Load minus any EXISTING Conservation & Demand Management (CDM) and Distributed Generation (DG), available during the time of peak demand.
6 |  | For Forecasted Data, LDCs are to only provide the Gross Peak Load (which is the Forecasted Load from their Historical Net Load). IESO will provide Forecasted DG and CDM.
7 |  | Provide load forecast in MWs under median/ normal weather condition and include power factor assumptions, if any. Note: The historical peak loads will be adjusted for extreme weather conditions by Hydro One
8 |  | Provide load data in the appropriate table i.e. Summer peak vs. Winter peak
9 |  | DO NOT double count load transfers
10 |  | List all relevant assumptions made in preparing this load forecast
Summer Peak Load
Transformer Station Name | DESN ID | Bus ID | Feeder(s) | Historical Data (MW) Net Load |  |  | Near Term Forecast (MW) Gross Peak Load Forecast |  |  |  |  | Medium Term Forecast (MW) Gross Peak Load Forecast |  |  |  |  | Power Factor
| (e.g. T1/T2) | (e.g. BY) |  | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030
Modeland TS | T3 / T4 | JQ | M23,M24,M25,M26,M27, M28,M29,M30,M31 | 106 | 103 | 111 | 111 | 118.5 | 126 | 133.5 | 141 | 144.5 | 148 | 151.5 | 155 | 158.5
St. Andrews TS | T3 / T4 | QZ | M11,M12,M13,M14,M15,M16 | 68.9 | 66 | 64 | 69 | 69.5 | 70 | 100 | 100.5 | 101 | 101.5 | 102 | 102.5 | 103
LDC Assumptions:
1) St. Andrews TS - new plants coming on line 2024 - no signed contracts
2) Modeland and St. Andrews - assumes 80MW solar farm continues to operate after RESOP contract ends in 2030
3) Modeland and St. Andrews - added roughly 1% growth - does not include CDM efforts
4)
5)