## Summary
Summary of Customer Data and Economic Analysis Results
Project Name | 27.6kV Brooklin N Dev-ICM - C - 20-Yr DCF Model Calculation Results
Project Number
Developer | Brooklin Landowners
Municipality | Whitby
Technician: | TBA | Date Run: | 2023-02-21 | Version: | Review EE
EE Template : | Whitby Only
New Customers and Input Data
Customers, Type |  |  | kWh per Unit | Number of Units or GS load (kW) Added in Each Year
|  |  |  | Year 1- 2023 | Year 2- 2024 | Year 3-2025 | Year 4-2026 | Year 5-2027 | Year 6-2028 | Year 7-2029 | Year 8-2030 | Year 9-2031 | Year 10-2032 | Year 11-2033 | Year 12-2034 | Year 13-2035 | Year 14-2036 | Year 15-2037 | Year 16-2038 | Year 17-2039 | Year 18-2040 | Year 19-2041 | Year 20-2042 | Total
General Service Load |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0
0
Residential |  |  | 750 | 700 | 700 | 700 | 700 | 700 | 700 | 700 | 700 | 700 | 700 | 700 | 700 | 700 | 700 | 700 | 700 |  |  |  |  | 11200
0
0
| Total Residential |  |  | 700 | 700 | 700 | 700 | 700 | 700 | 700 | 700 | 700 | 700 | 700 | 700 | 700 | 700 | 700 | 700 | 0 | 0 | 0 | 0 | 11200
| Average energy added per Res. customer |  |  | 750 | 750 | 750 | 750 | 750 | 750 | 750 | 750 | 750 | 750 | 750 | 750 | 750 | 750 | 750 | 750 | 750 | 750 | 750 | 750 | 750
Data
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Annual O,M, & A
Incremental OM&A, $/Customer |  | 148.3248 | 148.3248
Distribution Rates in effect | [5 empty] | Elexicon Energy Use Only
Monthly, fixed customer charge | [5 empty] | NOTE: Option 2 - EE Different from OTC
| Residential |  |  | 33.41
| General Service < 50kW |  |  | 28.08 |  | N/A
| General Service 50 to 2,999 kW |  |  | 213.88
| General Service 3,000 to 4,999 kW |  |  | 0
| Large User |  |  | 0
Monthly, variable
| Residential, per kWh |  |  | 0
| General Service < 50kW, per kWh |  |  | 0.0208
Monthly Variable, per kW
| General Service 50 to 2,999 kW |  |  | 4.2717
| General Service 3,000 to 4,999 kW |  |  | 0
| Large User |  |  | 0
Summary
Statement of Costs
Project Total Costs
Cost Breakdown: | (Data Inputs)
Eng & Admin | 0 |  | Calculation Results
Connecting (Section A) | 0 |  | Expressed in relation to internal construction costs only….. | [9 empty] | Elexicon's Contribution p/unit
Material (Section A) | 0 |  | Total Cost of Project |  |  |  | 97000000
Other | 97000000 |  | Capital Contribution by Customer |  |  |  | 54187413.9467
Installation (Section B) |  |  | Elexicon's Contribution |  |  |  | 42812586.0533 | [5 empty] | 3822.5523
Inspection | 0 |  | Capital Contribution Recovery Rate (CCRR) (% of Project Total) |  |  |  | 55.86%
Total | 97000000
|  |  | Expansion Deposit | [7 empty] | WHEN THERE IS CAPITAL CONTRIBUTION
|  |  | Elexicon's Contribution |  |  |  | 42812586.0533
|  |  | NPV of Revenue |  |  |  | 38283175.6507
|  |  | Expansion Deposit (the lesser of the 2 above) |  |  |  | 38283175.6507
Developer Opted for Option 2 When Elexicon quote was cheaper
N/A
|  |  | Expansion Deposit | [7 empty] | WHEN THERE IS NO CAPITAL CONTRIBUTION
|  |  | NPV of project cost and NPV of maintenance cost |  |  |  | 88782804.8676
|  |  | Project total Cost |  |  |  | 97000000
|  |  | Expansion Deposit (the lesser of the 2 above) |  |  |  | 88782804.8676
Note on B4: Kevin Sithole: Include Legal Name such as Numbered Corporation where applicable
Note on G7: ksithole: 1. Original = R0 2. Revisions = R1, R2... etc
Note on E65: Kevin Sithole: WHEN THERE IS CAPITAL CONTRIBUTION

## Data Inputs
Table No. | Project name |  | 27.6kV Brooklin N Dev-ICM - C - 20-Yr DCF Model Calculation Results
| Developer name |  | Brooklin Landowners
| Customer connection horizon (max 5) |  | 5 | YELLOW CELLS ONLY ARE FOR DATA INPUT OF ANNUAL CONSTANTS.
| Customer revenue horizon (max 25) |  | 25 | BLUE CELLS ARE USED FOR PROJECT SPECIFIC DATA
1 | Forecasted customer additions (non-cumulative)
|  | Customer Class | Year 1 | Year 2 | Year 3 | Year 4 | Year 5 | Year 6 | Year 7 | Year 8 | Year 9 | Year 10 | Year 11 | Year 12 | Year 13 | Year 14 | Year 15 | Year 16 | Year 17 | Year 18 | Year 19 | Year 20
|  | Residential | 700 | 700 | 700 | 700 | 700 | 700 | 700 | 700 | 700 | 700 | 700 | 700 | 700 | 700 | 700 | 700 | 0 | 0 | 0 | 0
General Service < 50kW
General Service 50 to 2,999 kW
General Service 3,000 to 4,999 kW
Large User
Other class - non-demand
Other class - non-demand
Other class - demand
Other class - demand
2 | Estimate of average energy per added customer (monthly kWh)
|  | Customer Class | Year 1 | Year 2 | Year 3 | Year 4 | Year 5 | Year 6 | Year 7 | Year 8 | Year 9 | Year 10 | Year 11 | Year 12 | Year 13 | Year 14 | Year 15 | Year 16 | Year 17 | Year 18 | Year 19 | Year 20
|  | Residential | 750 | 750 | 750 | 750 | 750 | 750 | 750 | 750 | 750 | 750 | 750 | 750 | 750 | 750 | 750 | 750 | 750 | 750 | 750 | 750
General Service < 50kW
Other class - non-demand
Other class - non-demand
3 | Estimate of average demand per added customer kW
|  | Customer Class | Year 1 | Year 2 | Year 3 | Year 4 | Year 5 | Year 6 | Year 7 | Year 8 | Year 9 | Year 10 | Year 11 | Year 12 | Year 13 | Year 14 | Year 15 | Year 16 | Year 17 | Year 18 | Year 19 | Year 20
General Service 50 to 2,999 kW
|  | General Service 3,000 to 4,999 kW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Large User | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Other class - demand | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Other class - demand | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | Approved wires only rates per rate schedule - monthly fixed charge
|  | Customer Class | Year 1 | Year 2 | Year 3 | Year 4 | Year 5 | Year 6 | Year 7 | Year 8 | Year 9 | Year 10 | Year 11 | Year 12 | Year 13 | Year 14 | Year 15 | Year 16 | Year 17 | Year 18 | Year 19 | Year 20
|  | Residential | 33.41 | 33.41 | 33.41 | 33.41 | 33.41 | 33.41 | 33.41 | 33.41 | 33.41 | 33.41 | 33.41 | 33.41 | 33.41 | 33.41 | 33.41 | 33.41 | 33.41 | 33.41 | 33.41 | 33.41
|  | General Service < 50kW | 28.08 | 28.08 | 28.08 | 28.08 | 28.08 | 28.08 | 28.08 | 28.08 | 28.08 | 28.08 | 28.08 | 28.08 | 28.08 | 28.08 | 28.08 | 28.08 | 28.08 | 28.08 | 28.08 | 28.08
|  | General Service 50 to 4,999 kW | 213.88 | 213.88 | 213.88 | 213.88 | 213.88 | 213.88 | 213.88 | 213.88 | 213.88 | 213.88 | 213.88 | 213.88 | 213.88 | 213.88 | 213.88 | 213.88 | 213.88 | 213.88 | 213.88 | 213.88
|  | xxxx | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Large User | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Other class - non-demand
Other class - non-demand
Other class - demand
Other class - demand
5 | Approved wires only rates per rate schedule - variable charge (per kWh)
|  | Customer Class | Year 1 | Year 2 | Year 3 | Year 4 | Year 5 | Year 6 | Year 7 | Year 8 | Year 9 | Year 10 | Year 11 | Year 12 | Year 13 | Year 14 | Year 15 | Year 16 | Year 17 | Year 18 | Year 19 | Year 20
|  | Residential | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | General Service < 50kW | 0.0208 | 0.0208 | 0.0208 | 0.0208 | 0.0208 | 0.0208 | 0.0208 | 0.0208 | 0.0208 | 0.0208 | 0.0208 | 0.0208 | 0.0208 | 0.0208 | 0.0208 | 0.0208 | 0.0208 | 0.0208 | 0.0208 | 0.0208
Other class - non-demand
Other class - non-demand
6 | Approved wires only rates per rate schedule - demand charge (per kW)
|  | Customer Class | Year 1 | Year 2 | Year 3 | Year 4 | Year 5 | Year 6 | Year 7 | Year 8 | Year 9 | Year 10 | Year 11 | Year 12 | Year 13 | Year 14 | Year 15 | Year 16 | Year 17 | Year 18 | Year 19 | Year 20
|  | General Service 50 to 4,999 kW | 4.2717 | 4.2717 | 4.2717 | 4.2717 | 4.2717 | 4.2717 | 4.2717 | 4.2717 | 4.2717 | 4.2717 | 4.2717 | 4.2717 | 4.2717 | 4.2717 | 4.2717 | 4.2717 | 4.2717 | 4.2717 | 4.2717 | 4.2717
|  | xxxx | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Large User | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Other class - demand
Other class - demand
7 | New facilities and/or reinforcement investments
|  | Capital elements | Year 1 | Year 2 | Year 3 | Year 4 | Year 5 | Year 6 | Year 7 | Year 8 | Year 9 | Year 10 | Year 11 | Year 12 | Year 13 | Year 14 | Year 15 | Year 16 | Year 17 | Year 18 | Year 19 | Year 20 | Total
|  | Eng & Admin | Year 1: 0 | 0
|  | Connecting (Section A) | Year 1: 0 | 0
|  | Material (Section A) | Year 1: 0 | 0
|  | Other | 26600000 | 4693333.3333 | 4693333.3333 | 4693333.3333 | 4693333.3333 | 4693333.3333 | 4693333.3333 | 4693333.3333 | 4693333.3333 | 4693333.3333 | 4693333.3333 | 4693333.3333 | 4693333.3333 | 4693333.3333 | 4693333.3333 | 4693333.3333 |  |  |  |  | 97000000
|  | Installation (Section B) | Year 1: 0 | 0
|  | Inspection | Year 1: 0 | 0
|  | USCIC | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | Year 1: 0 | 0
|  | Total | 26600000 | 4693333.3333 | 4693333.3333 | 4693333.3333 | 4693333.3333 | 4693333.3333 | 4693333.3333 | 4693333.3333 | 4693333.3333 | 4693333.3333 | 4693333.3333 | 4693333.3333 | 4693333.3333 | 4693333.3333 | 4693333.3333 | 4693333.3333 | 0 | 0 | 0 | 0 | 97000000
|  | Assessed value of land | [20 empty] | 0
8 | Customer specific capital
|  | Customer Class | Year 1 | Year 2 | Year 3 | Year 4 | Year 5 | Year 6 | Year 7 | Year 8 | Year 9 | Year 10 | Year 11 | Year 12 | Year 13 | Year 14 | Year 15 | Year 16 | Year 17 | Year 18 | Year 19 | Year 20
|  | Residential | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | General Service < 50kW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | General Service 50 to 2,999 kW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | General Service 3,000 to 4,999 kW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Large User | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Other class - non-demand | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Other class - non-demand | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Other class - demand | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Other class - demand | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Total | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
9 | Incremental overheads (capital) at project level applicable to distribution system expansion
|  | Customer Class | Year 1 | Year 2 | Year 3 | Year 4 | Year 5 | Year 6 | Year 7 | Year 8 | Year 9 | Year 10 | Year 11 | Year 12 | Year 13 | Year 14 | Year 15 | Year 16 | Year 17 | Year 18 | Year 19 | Year 20-25
|  | Residential | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | General Service < 50kW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | General Service 50 to 2,999 kW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | General Service 3,000 to 4,999 kW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Large User | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Other class - non-demand | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Other class - non-demand | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Other class - demand | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Other class - demand | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
10 | Attributable incremental annual operating, maintenance and administration expenditures (per customer addition)
|  | Customer Class | Year 1 | Year 2 | Year 3 | Year 4 | Year 5 | Year 6 | Year 7 | Year 8 | Year 9 | Year 10 | Year 11 | Year 12 | Year 13 | Year 14 | Year 15 | Year 16 | Year 17 | Year 18 | Year 19 | Year 20-25
|  | Residential | 148.3248 | 148.3248 | 148.3248 | 148.3248 | 148.3248 | 148.3248 | 148.3248 | 148.3248 | 148.3248 | 148.3248 | 148.3248 | 148.3248 | 148.3248 | 148.3248 | 148.3248 | 148.3248 | 148.3248 | 148.3248 | 148.3248 | 148.3248
|  | General Service < 50kW | 148.3248 | 148.3248 | 148.3248 | 148.3248 | 148.3248 | 148.3248 | 148.3248 | 148.3248 | 148.3248 | 148.3248 | 148.3248 | 148.3248 | 148.3248 | 148.3248 | 148.3248 | 148.3248 | 148.3248 | 148.3248 | 148.3248 | 148.3248
|  | General Service 50 to 2,999 kW | 148.3248 | 148.3248 | 148.3248 | 148.3248 | 148.3248 | 148.3248 | 148.3248 | 148.3248 | 148.3248 | 148.3248 | 148.3248 | 148.3248 | 148.3248 | 148.3248 | 148.3248 | 148.3248 | 148.3248 | 148.3248 | 148.3248 | 148.3248
|  | General Service 3,000 to 4,999 kW | 148.3248 | 148.3248 | 148.3248 | 148.3248 | 148.3248 | 148.3248 | 148.3248 | 148.3248 | 148.3248 | 148.3248 | 148.3248 | 148.3248 | 148.3248 | 148.3248 | 148.3248 | 148.3248 | 148.3248 | 148.3248 | 148.3248 | 148.3248
|  | Large User | 148.3248 | 148.3248 | 148.3248 | 148.3248 | 148.3248 | 148.3248 | 148.3248 | 148.3248 | 148.3248 | 148.3248 | 148.3248 | 148.3248 | 148.3248 | 148.3248 | 148.3248 | 148.3248 | 148.3248 | 148.3248 | 148.3248 | 148.3248
Other class - non-demand
Other class - non-demand
Other class - demand
Other class - demand
11 | Discount rate data
|  | Incremental after-tax cost of capital | Year 1 | Year 2 | Year 3 | Year 4 | Year 5 | Year 6 | Year 7 | Year 8 | Year 9 | Year 10 | Year 11 | Year 12 | Year 13 | Year 14 | Year 15 | Year 16 | Year 17 | Year 18 | Year 19 | Year 20-25
|  | Borrowing rate | 2.69% | 2.69% | 2.69% | 2.69% | 2.69% | 2.69% | 2.69% | 2.69% | 2.69% | 2.69% | 2.69% | 2.69% | 2.69% | 2.69% | 2.69% | 2.69% | 2.69% | 2.69% | 2.69% | 2.69%
|  | Rate of return on common equity | 9.66% | 9.66% | 9.66% | 9.66% | 9.66% | 9.66% | 9.66% | 9.66% | 9.66% | 9.66% | 9.66% | 9.66% | 9.66% | 9.66% | 9.66% | 9.66% | 9.66% | 9.66% | 9.66% | 9.66%
|  | Total debt outstanding (%) | 64.68% | 64.68% | 64.68% | 64.68% | 64.68% | 64.68% | 64.68% | 64.68% | 64.68% | 64.68% | 64.68% | 64.68% | 64.68% | 64.68% | 64.68% | 64.68% | 64.68% | 64.68% | 64.68% | 64.68%
|  | Total common equity (%) | 35.32% | 35.32% | 35.32% | 35.32% | 35.32% | 35.32% | 35.32% | 35.32% | 35.32% | 35.32% | 35.32% | 35.32% | 35.32% | 35.32% | 35.32% | 35.32% | 35.32% | 35.32% | 35.32% | 35.32%
|  | Marginal income tax rate | 26.5% | 26.5% | 26.5% | 26.5% | 26.5% | 26.5% | 26.5% | 26.5% | 26.5% | 26.5% | 26.5% | 26.5% | 26.5% | 26.5% | 26.5% | 26.5% | 26.5% | 26.5% | 26.5% | 26.5%
|  | Incremental after-tax weighted average cost of capital | 4.691% | 4.691% | 4.691% | 4.691% | 4.691% | 4.691% | 4.691% | 4.691% | 4.691% | 4.691% | 4.691% | 4.691% | 4.691% | 4.691% | 4.691% | 4.691% | 4.691% | 4.691% | 4.691% | 4.691%
12 | Tax rate data
|  | Type of tax | Year 1 | Year 2 | Year 3 | Year 4 | Year 5 | Year 6 | Year 7 | Year 8 | Year 9 | Year 10 | Year 11 | Year 12 | Year 13 | Year 14 | Year 15 | Year 16 | Year 17 | Year 18 | Year 19 | Year 20-25
|  | Municipal tax rate | [19 empty] | 0% | bar: Year 1 to Year 19
|  | Marginal income tax rate | 26.5% | 26.5% | 26.5% | 26.5% | 26.5% | 26.5% | 26.5% | 26.5% | 26.5% | 26.5% | 26.5% | 26.5% | 26.5% | 26.5% | 26.5% | 26.5% | 26.5% | 26.5% | 26.5% | 26.5%
|  | Federal capital tax rate | [19 empty] | 0% | bar: Year 1 to Year 19
|  | Provincial capital tax rate | [19 empty] | 0% | bar: Year 1 to Year 19
|  | Capital cost allowance rate | [19 empty] | 8% | bar: Year 1 to Year 19
|  | Taxable capital employed in Canada | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Capital Deduction (Federal purposes) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Base for Federal capital tax | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Note on C3: For customer connection periods greater than 5 years an explanation of the extension of the period will be provided to the Board.
Note on C4: A maximum customer revenue horizon of twenty five years, calculated from the in service date of the new customers.
Note on C5: Customer connections are assumed to occur evenly throughout the year.
Note on D42: Darlene Cameron: now included in monthly fixed charge above
Note on C53: For certain projects Capital Expenditures may be staged and can occur in any year of the five year Connection Horizon
Note on C88: ksithole: See Tab: "NEW om&a Calc"
Note on D100: Based on the prospective capital mix, debt and preference share cost rates, and the latest approved rate of return on common equity.
Note on D101: ksithole: Get from Ajay
Note on E101: Kevin Sithole: borrowing rate 2.69% x 73.5% = after tax cost of capital 2021 Fin States - Note 3
Note on D102: ksithole: See "COST OF CAPITAL - OEB..." , folder
Note on E102: Kevin Sithole: Deemed rate
Note on D103: ksithole: see Tab "Debt Equity Ratio"
Note on D104: ksithole: see Tab "Debt Equity Ratio"
Note on D111: ksithole: no change as of Jun 23, 2015
Note on D112: ksithole: Eliminated - see "OTHER" Folder "File : "Taxable Capital Employed in Canada Tips"
Note on D113: ksithole: Eliminated - see "OTHER" Folder "File : "Provincial Capital Tax...")
Note on D114: ksithole: See "OTHER" Folder "File :" Capital Cost Allowance & Rates" class 47
Note on D115: ksithole: CRA eliminated

## NPV Calculation
Discount rate |  |  | 0.046908 | 0.046908 | 0.046908 | 0.046908 | 0.046908 | 0.046908 | 0.046908 | 0.046908 | 0.046908 | 0.046908 | 0.046908 | 0.046908 | 0.046908 | 0.046908 | 0.046908 | 0.046908 | 0.046908 | 0.046908 | 0.046908 | 0.046908 | 0.046908 | 0.046908 | 0.046908 | 0.046908 | 0.046908
Present value factor - end of year |  |  | 0.95519 | 0.9124 | 0.87151 | 0.83247 | 0.79517 | 0.75954 | 0.72551 | 0.693 | 0.66195 | 0.63229 | 0.60396 | 0.5769 | 0.55105 | 0.52636 | 0.50277 | 0.48025 | 0.45873 | 0.43818 | 0.41854 | 0.39979 | 0.38188 | 0.36477 | 0.34842 | 0.33281 | 0.3179
Present value factor - mid-year |  |  | 0.97734 | 0.93355 | 0.89172 | 0.85177 | 0.8136 | 0.77715 | 0.74233 | 0.70907 | 0.6773 | 0.64695 | 0.61796 | 0.59027 | 0.56382 | 0.53856 | 0.51443 | 0.49138 | 0.46936 | 0.44833 | 0.42825 | 0.40906 | 0.39073 | 0.37322 | 0.3565 | 0.34053 | 0.32527
|  |  | YEAR 1 | YEAR 2 | YEAR 3 | YEAR 4 | YEAR 5 | YEAR 6 | YEAR 7 | YEAR 8 | YEAR 9 | YEAR 10 | YEAR 11 | YEAR 12 | YEAR 13 | YEAR 14 | YEAR 15 | YEAR 16 | YEAR 17 | YEAR 18 | YEAR 19 | YEAR 20 | YEAR 21 | YEAR 22 | YEAR 23 | YEAR 24 | YEAR 25
|  | Total | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25
OPERATIONS
Customers
| Residential | 11200 | 350 | 1050 | 1750 | 2450 | 3150 | 3850 | 4550 | 5250 | 5950 | 6650 | 7350 | 8050 | 8750 | 9450 | 10150 | 10850 | 11200 | 11200 | 11200 | 11200 | 11200 | 11200 | 11200 | 11200 | 11200
| General Service < 50kW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| General Service 50 to 2,999 kW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| General Service 3,000 to 4,999 kW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Large User | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Other class - non-demand | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Other class - non-demand | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Other class - demand | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Other class - demand | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Total Customers | 11200 | 350 | 1050 | 1750 | 2450 | 3150 | 3850 | 4550 | 5250 | 5950 | 6650 | 7350 | 8050 | 8750 | 9450 | 10150 | 10850 | 11200 | 11200 | 11200 | 11200 | 11200 | 11200 | 11200 | 11200 | 11200
Customer revenue - fixed charge rate
| Residential | 76335168 | 140322 | 420966 | 701610 | 982254 | 1262898 | 1543542 | 1824186 | 2104830 | 2385474 | 2666118 | 2946762 | 3227406 | 3508050 | 3788694 | 4069338 | 4349982 | 4490304 | 4490304 | 4490304 | 4490304 | 4490304 | 4490304 | 4490304 | 4490304 | 4490304
| General Service < 50kW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| General Service 50 to 2,999 kW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| General Service 3,000 to 4,999 kW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Large User | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Other class - non-demand | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Other class - non-demand | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Other class - demand | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Other class - demand | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Total fixed charge revenue | 76335168 | 140322 | 420966 | 701610 | 982254 | 1262898 | 1543542 | 1824186 | 2104830 | 2385474 | 2666118 | 2946762 | 3227406 | 3508050 | 3788694 | 4069338 | 4349982 | 4490304 | 4490304 | 4490304 | 4490304 | 4490304 | 4490304 | 4490304 | 4490304 | 4490304
Customer revenue - variable charge rate
| Residential | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| General Service < 50kW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| General Service 50 to 2,999 kW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| General Service 3,000 to 4,999 kW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Large User | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Other class - non-demand | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Other class - non-demand | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Other class - demand | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Other class - demand | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Total variable charge revenue | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Customer revenue - total |  | 76335168 | 140322 | 420966 | 701610 | 982254 | 1262898 | 1543542 | 1824186 | 2104830 | 2385474 | 2666118 | 2946762 | 3227406 | 3508050 | 3788694 | 4069338 | 4349982 | 4490304 | 4490304 | 4490304 | 4490304 | 4490304 | 4490304 | 4490304 | 4490304 | 4490304
| Present Value Of Forecast Revenue | 38283175.6507 | 137142.3035 | 392992.8093 | 625639.6692 | 836654.4896 | 1027493.8128 | 1199563.6653 | 1354147.9934 | 1492471.8081 | 1615681.5402 | 1724845.0401 | 1820981.0455 | 1905040.9396 | 1977908.751 | 2040439.0406 | 2093389.5473 | 2137494.1552 | 2107569.0854 | 2013137.9923 | 1922972.688 | 1836803.7542 | 1754496.4819 | 1675871.2589 | 1600793.376 | 1529083.2211 | 1460561.1821
Revenue received for each of the years 6 - 25 are the same as year 5
Incremental OM&A
| Residential | 28241040.3805 | 51913.6772 | 155741.0315 | 259568.3859 | 363395.7402 | 467223.0945 | 571050.4489 | 674877.8032 | 778705.1576 | 882532.5119 | 986359.8662 | 1090187.2206 | 1194014.5749 | 1297841.9293 | 1401669.2836 | 1505496.6379 | 1609323.9923 | 1661237.6694 | 1661237.6694 | 1661237.6694 | 1661237.6694 | 1661237.6694 | 1661237.6694 | 1661237.6694 | 1661237.6694 | 1661237.6694
| General Service < 50kW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| General Service 50 to 2,999 kW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| General Service 3,000 to 4,999 kW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Large User | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Other class - non-demand | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Other class - non-demand | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Other class - demand | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Other class - demand | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total Incremental OM&A |  | 28241040.3805 | 51913.6772 | 155741.0315 | 259568.3859 | 363395.7402 | 467223.0945 | 571050.4489 | 674877.8032 | 778705.1576 | 882532.5119 | 986359.8662 | 1090187.2206 | 1194014.5749 | 1297841.9293 | 1401669.2836 | 1505496.6379 | 1609323.9923 | 1661237.6694 | 1661237.6694 | 1661237.6694 | 1661237.6694 | 1661237.6694 | 1661237.6694 | 1661237.6694 | 1661237.6694 | 1661237.6694
Current year customer additions are divided by two in order to recognize level activities throughout the year.
CAPITAL COSTS
New facilities and/or reinforcement investments |  | 97000000 | 26600000 | 4693333.3333 | 4693333.3333 | 4693333.3333 | 4693333.3333 | 4693333.3333 | 4693333.3333 | 4693333.3333 | 4693333.3333 | 4693333.3333 | 4693333.3333 | 4693333.3333 | 4693333.3333 | 4693333.3333 | 4693333.3333 | 4693333.3333 | 0 | 0 | 0 | 0
Customer specific capital
| Residential | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| General Service < 50kW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| General Service 50 to 2,999 kW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| General Service 3,000 to 4,999 kW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Large User | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Other class - non-demand | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Other class - non-demand | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Other class - demand | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Other class - demand | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Total customer specific capital (exclude land) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Incremental Overheads at project level
| Residential | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| General Service < 50kW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| General Service 50 to 2,999 kW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| General Service 3,000 to 4,999 kW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Large User | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Other class - non-demand | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Other class - non-demand | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Other class - demand | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Other class - demand | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Total incremental overheads | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Land and land rights | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Annual Total Capital Costs |  | 97000000 | 26600000 | 4693333.3333 | 4693333.3333 | 4693333.3333 | 4693333.3333 | 4693333.3333 | 4693333.3333 | 4693333.3333 | 4693333.3333 | 4693333.3333 | 4693333.3333 | 4693333.3333 | 4693333.3333 | 4693333.3333 | 4693333.3333 | 4693333.3333 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Annual Capital Costs excluding land |  | 97000000 | 26600000 | 4693333.3333 | 4693333.3333 | 4693333.3333 | 4693333.3333 | 4693333.3333 | 4693333.3333 | 4693333.3333 | 4693333.3333 | 4693333.3333 | 4693333.3333 | 4693333.3333 | 4693333.3333 | 4693333.3333 | 4693333.3333 | 4693333.3333 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
There is assumption made here that there are no up front capital costs in the first year, that Costs in the first year are incurred evenly during the year.
Present Value Of Annual Capital Costs |  | 74619520.2667 | 25997244 | 4381461.3333 | 4185139.2 | 3997640.5333 | 3818496 | 3647424 | 3484002.1333 | 3327901.8667 | 3178794.6667 | 3036352 | 2900292.2667 | 2770333.8667 | 2646195.2 | 2527641.6 | 2414391.4667 | 2306210.1333 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Present Value Of CCA Tax Shield
Opening undepreciated capital cost |  |  | 26600000 | -26483917.3888 | -19859603.9977 | -13765235.6779 | -8158416.8236 | -3000143.4778 | 1933201.3338 | 6471878.5604 | 10647461.6089 | 14488998.0135 | 18023211.5058 | 21274687.9187 | 24266046.2185 | 27018095.8544 | 29549981.5193 | 31879316.3311 | 34022304.358 | 31300520.0093 | 28796478.4086 | 26492760.1359 | 24373339.325 | 22423472.179 | 20629594.4047 | 18979226.8523 | 17460888.7041
| Less: Contributed Capital |  | YEAR 1 1: -54187413.9467
| Less: Capital cost allowance | 26748568.4455 | -1103496.5579 | -1930980.0578 | -1401034.9865 | -913485.5209 | -464940.0126 | -240011.4782 | 154656.1067 | 517750.2848 | 851796.9287 | 1159119.8411 | 1441856.9205 | 1701975.0335 | 1941283.6975 | 2161447.6683 | 2363998.5215 | 2550345.3065 | 2721784.3486 | 2504041.6007 | 2303718.2727 | 2119420.8109 | 1949867.146 | 1793877.7743 | 1650367.5524 | 1518338.1482 | 1396871.0963
Closing undepreciated capital cost |  |  | -26483917.3888 | -19859603.9977 | -13765235.6779 | -8158416.8236 | -3000143.4778 | 1933201.3338 | 6471878.5604 | 10647461.6089 | 14488998.0135 | 18023211.5058 | 21274687.9187 | 24266046.2185 | 27018095.8544 | 29549981.5193 | 31879316.3311 | 34022304.358 | 31300520.0093 | 28796478.4086 | 26492760.1359 | 24373339.325 | 22423472.179 | 20629594.4047 | 18979226.8523 | 17460888.7041 | 16064017.6078
| CCA Annual Income Tax Savings |  | -292426.5878 | -511709.7153 | -371274.2714 | -242073.663 | -123209.1033 | -63603.0417 | 40983.8683 | 137203.8255 | 225726.1861 | 307166.7579 | 382092.0839 | 451023.3839 | 514440.1798 | 572783.6321 | 626459.6082 | 675841.5062 | 721272.8524 | 663571.0242 | 610485.3423 | 561646.5149 | 516714.7937 | 475377.6102 | 437347.4014 | 402359.6093 | 370170.8405
Present Value of CCA Tax Shield |  | 2703986.3984 | -285800.2014 | -477706.6047 | -331072.6933 | -206191.084 | -100242.9265 | -49429.1039 | 30423.5549 | 97287.1165 | 152884.3459 | 198721.534 | 236117.6242 | 266225.5728 | 290051.6622 | 308478.3529 | 322269.6163 | 332094.9993 | 338536.626 | 297498.7973 | 261440.3478 | 229747.1234 | 201895.9713 | 177420.4317 | 155914.3486 | 137015.5177 | 120405.4693
Present Value of Operating Cash Flow
Present Value of Net Operating Cash
| Customer revenue - total | 76335168 | 140322 | 420966 | 701610 | 982254 | 1262898 | 1543542 | 1824186 | 2104830 | 2385474 | 2666118 | 2946762 | 3227406 | 3508050 | 3788694 | 4069338 | 4349982 | 4490304 | 4490304 | 4490304 | 4490304 | 4490304 | 4490304 | 4490304 | 4490304 | 4490304
| Less Total Incremental OM&A | -28241040.3805 | -51913.6772 | -155741.0315 | -259568.3859 | -363395.7402 | -467223.0945 | -571050.4489 | -674877.8032 | -778705.1576 | -882532.5119 | -986359.8662 | -1090187.2206 | -1194014.5749 | -1297841.9293 | -1401669.2836 | -1505496.6379 | -1609323.9923 | -1661237.6694 | -1661237.6694 | -1661237.6694 | -1661237.6694 | -1661237.6694 | -1661237.6694 | -1661237.6694 | -1661237.6694 | -1661237.6694
| Net (Wires) Operating Cash before Income Tax | 48094127.6195 | 88408.3228 | 265224.9685 | 442041.6141 | 618858.2598 | 795674.9055 | 972491.5511 | 1149308.1968 | 1326124.8424 | 1502941.4881 | 1679758.1338 | 1856574.7794 | 2033391.4251 | 2210208.0707 | 2387024.7164 | 2563841.3621 | 2740658.0077 | 2829066.3306 | 2829066.3306 | 2829066.3306 | 2829066.3306 | 2829066.3306 | 2829066.3306 | 2829066.3306 | 2829066.3306 | 2829066.3306
Present value of Net Operating Cash |  | 24119891.0498 | 86404.9902 | 247600.7693 | 394177.3482 | 527124.9 | 647361.1031 | 755771.809 | 853165.9537 | 940315.342 | 1017942.2699 | 1086719.5246 | 1147288.9507 | 1200249.9565 | 1246159.5144 | 1285556.0313 | 1318916.9119 | 1346704.5318 | 1327850.5729 | 1268355.308 | 1211547.6561 | 1157257.8732 | 1105401.0873 | 1055864.1359 | 1008562.1468 | 963381.9575 | 920210.4053
Present Value Of Forecast Revenue |  | 38283175.6507 | 137142.3035 | 392992.8093 | 625639.6692 | 836654.4896 | 1027493.8128 | 1199563.6653 | 1354147.9934 | 1492471.8081 | 1615681.5402 | 1724845.0401 | 1820981.0455 | 1905040.9396 | 1977908.751 | 2040439.0406 | 2093389.5473 | 2137494.1552 | 2107569.0854 | 2013137.9923 | 1922972.688 | 1836803.7542 | 1754496.4819 | 1675871.2589 | 1600793.376 | 1529083.2211 | 1460561.1821
PV of Projected OM&A costs |  | -14163284.601 | -50737.3132 | -145392.04 | -231462.321 | -309529.5896 | -380132.7097 | -443791.8563 | -500982.0397 | -552156.4661 | -597739.2703 | -638125.5155 | -673692.0948 | -704790.9831 | -731749.2366 | -754883.0094 | -774472.6355 | -790789.6233 | -779718.5125 | -744782.6843 | -711425.0319 | -679545.8811 | -649095.3946 | -620007.123 | -592231.2292 | -565701.2636 | -540350.7767
Present Value of Taxes
| Income Taxes | 12744943.8192 | 23428.2055 | 70284.6166 | 117141.0277 | 163997.4388 | 210853.8499 | 257710.261 | 304566.6721 | 351423.0832 | 398279.4943 | 445135.9054 | 491992.3165 | 538848.7276 | 585705.1387 | 632561.5498 | 679417.9609 | 726274.372 | 749702.5776 | 749702.5776 | 749702.5776 | 749702.5776 | 749702.5776 | 749702.5776 | 749702.5776 | 749702.5776 | 749702.5776
| Provincial Capital Taxes | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Federal Capital Taxes | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Annual Municipal Taxes | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total Taxes |  | 12744943.8192 | 23428.2055 | 70284.6166 | 117141.0277 | 163997.4388 | 210853.8499 | 257710.261 | 304566.6721 | 351423.0832 | 398279.4943 | 445135.9054 | 491992.3165 | 538848.7276 | 585705.1387 | 632561.5498 | 679417.9609 | 726274.372 | 749702.5776 | 749702.5776 | 749702.5776 | 749702.5776 | 749702.5776 | 749702.5776 | 749702.5776 | 749702.5776 | 749702.5776
PV of Taxes |  | 6391771.1282 | 22897.3224 | 65614.2039 | 104456.9973 | 139688.0985 | 171550.6923 | 200279.5294 | 226088.9777 | 249183.5656 | 269754.7015 | 287980.674 | 304031.5719 | 318066.2385 | 330232.2713 | 340672.3483 | 349512.9817 | 356876.7009 | 351880.4018 | 336114.1566 | 321060.1289 | 306673.3364 | 292931.2881 | 279803.996 | 267268.9689 | 255296.2187 | 243855.7574
PV of Municipal TaxesTaxes |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Net Present Value Summary
1. | PV of Operating Cash Flow | bar: YEAR 1 1
| a) PV of Net Operating Cash Flow | 24119891.0498 | bar: YEAR 1 1
| b) PV of Taxes | -6391771.1282 | bar: YEAR 1 1
| PV of Operating Cash Flow | 17728119.9216 | bar: YEAR 1 1
2. | PV of Capital | -74619520.2667 | bar: YEAR 1 1
3. | PV of CCA Tax Shield | 2703986.3984 | bar: YEAR 1 1
NET PRESENT VALUE |  | -54187413.9467 | bar: YEAR 1 1
Capital Contribution required from Customer
Note on B41: Discounted using mid-year rate
Note on A45: Current year customer additions are divided by two in order to recognize level activities throughout the year.
Note on A60: Up-front capital expenditures will be discounted at the beginning of the project year and capital expended throughout the year will be mid-year discounted.
Note on A62: For certain projects Capital Expenditures may be staged and can occur in any year of the five year Connection Horizon
Note on A74: Estimate of incremental overheads applicable to distribution system expansion
Note on B85: Assumed to be equal to the assessed value for purposes of "Payments in lieu"
Note on A89: Discounted using mid-year rate
Note on C99: Discounting is based on mid-point present value factor as it is assumed that taxes are paid evenly throughout the year via tax installments.
Note on A108: Discounted using mid-year rate

## xxTaxable Capital
Taxable Capital
| 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | Eliminated | Eliminated
Capital Stock | 64302002 | 64302002 | 64302002 | 64302002 | 64302002 | 64302002 | 64302002 | 64302000 | 64302000
Contributed Surplus | 22765 | 22765 | 22765 | 22765 | 22765 | 22765 | 22765 | 23000 | 23000
Loans and Advances | 73076863 | 71750893 | 63636021 | 48233296 | 77055615 | 79109663 | 93082220 | 92607000 | 116541000
| 137401630 | 136075660 | 127960788 | 112558063 | 141380382 | 143434430 | 157406987 | 156932000 | 180866000
Loans and Advances Calculation (See row 7)
Long term debt | 43588000 | 43588000 | 43588000 | 43588000 | 72448551 | 70073071 | 88562734 | 85909000 | 111627000
Due to Veridian Corporation | 14500000 | 14500000 | 14500000 | 0 | 0 | 4587366 | 377217 | 1465000 | 0
Customer deposits | 6906863 | 5580893 | 4303488 | 4427265 | 4607064 | 4648411 | 4392175 | 5233000 | 4914000
Due to Veridian Energy | 8082000 | 8082000 | 1244533 | 218031 | 0 | -199185 | -249906 | 0 | 0
| 73076863 | 71750893 | 63636021 | 48233296 | 77055615 | 79109663 | 93082220 | 92607000 | 116541000 | 0 | 0
Note on I7: Lori Filion: See Line 16 below.
Note on J7: Lori Filion: See Line 16 below.

## Debt Equity Ratio
Debt/Equity Ratio - as per audited financial statements
[18 empty] | VERIDIAN | ELEXICON | ELEXICON | ELEXICON
| 2001 | 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021
Debt(excluding regulatory liabilities)
Long Term Debt | 43688000 | 43588000 | 43588000 | 43588000 | 58088000 | 43588000 | 72448551 | 70073071 | 88562734 | 85909000 | 111627000 | 121986000 | 116872000 | 132407000 | 130821000 | 139442000 | 137928000 | 146384000 | 191535000 | 224971000 | 268287000
Employee Future Benefits | 557215 | 564157 | 570214 | 580160 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Customer Deposits | 6175594 | 6099673 | 6906863 | 5580893 | 4303488 | 4427265 | 4607064 | 4648411 | 4392175 | 5233000 | 4914000 | 5029000 | 4829000 | 4581000 | 0 | 5270038 | 4901533.56 | 6173097.06 | 6601000 | 9111000 | 11301000
| 50420809 | 50251830 | 51065077 | 49749053 | 62391488 | 48015265 | 77055615 | 74721482 | 92954909 | 91142000 | 116541000 | 127015000 | 121701000 | 136988000 | 130821000 | 144712038 | 142829533.56 | 152557097.06 | 198136000 | 234082000 | 279588000
Equity
Capital Stock | 65302002 | 64302002 | 64302002 | 64302002 | 64302002 | 64302002 | 64302002 | 64302002 | 64302002 | 64302000 | 64302000 | 64302000 | 69302000 | 69302000 | 69302000 | 69302000 | 69302000 | 69302000 | 98796000 | 98796000 | 98796000
Contributed Capital | 22765 | 22765 | 22765 | 22765 | 22765 | 22765 | 22765 | 22765 | 22765 | 23000 | 23000 | 23000 | 23000 | 23000 | 23000 | 23000 | 23000 | 23000 | 23000 | 23000 | 23000
Deficit/Retained Earnings | -4371516 | -2337094 | -2013735 | 585779 | 6737197 | 14294950 | 7278288 | 6527077 | 6964809 | 9684000 | 11699000 | 17178000 | 23872000 | 25365000 | 28683000 | 35087000 | 41122000 | 47060000 | 45400000 | 48188000 | 53861000
| 60953251 | 61987673 | 62311032 | 64910546 | 71061964 | 78619717 | 71603055 | 70851844 | 71289576 | 74009000 | 76024000 | 81503000 | 93197000 | 94690000 | 98008000 | 104412000 | 110447000 | 116385000 | 144219000 | 147007000 | 152680000
Debt | 45.27% | 44.77% | 45.04% | 43.39% | 46.75% | 37.92% | 51.83% | 51.33% | 56.6% | 55.19% | 60.52% | 60.91% | 56.63% | 59.13% | 57.17% | 58.09% | 56.39% | 56.72% | 57.87% | 61.42% | 64.68%
Equity | 54.73% | 55.23% | 54.96% | 56.61% | 53.25% | 62.08% | 48.17% | 48.67% | 43.4% | 44.81% | 39.48% | 39.09% | 43.37% | 40.87% | 42.83% | 41.91% | 43.61% | 43.28% | 42.13% | 38.58% | 35.32%
Note on F6: Lori Filion: Discussed with Andrew: Should include 43,588,000 that was moved to short term and the 14,500,000 (Note 7) owed to Corporate.
Note on H6: lfilion: See Note 8 - includes portion moved to short-term
Note on N6: ksithole: See FS Bal.S note 11 does not include current portion
Note on O6: ksithole: See FS Bal.S note 12
Note on P6: ksithole: See FS Bal.S note 13
Note on Q6: ksithole: See FS Bal.S note 12
Note on R6: ksithole: See FS Bal.S note 13
Note on S6: ksithole: See FS Bal.S note 13
Note on T6: ksithole: See FS Bal.S note 13 &9
Note on U6: ksithole: See FS Bal.S
Note on V6: ksithole: See FS Bal.S
Note on F7: Lori Filion: Discussed with Andrew: Should remove Employee Future Benefits of 707,102.
Note on P8: dcameron: customer deposits moved to current liabilities for IFRS reporting 30.000.2335.005.00
Note on Q8: dcameron: customer deposits moved to current liabilities for IFRS reporting 30.000.2335.005.00
Note on R8: dcameron: customer deposits moved to current liabilities for IFRS reporting 30.000.2335.005.00
Note on S8: dcameron: customer deposits moved to current liabilities for IFRS reporting 30.000.2335.005.00
Note on T8: dcameron: customer deposits moved to current liabilities for IFRS reporting 30.000.2335.005.00
Note on U8: Note 12 Developer Obligations KS: this from: 30.000.2320.010.00 & 30.000.2320.012.00
Note on V8: Note 12 Developer Obligations KS: this from: 30.000.2320.010.00 & 30.000.2320.012.00 Note:11
Note on U11: Kevin Sithole: on the balance sheet
Note on V11: Kevin Sithole: on the balance sheet
Note on U12: Kevin Sithole: on the balance sheet
Note on V12: Kevin Sithole: on the balance sheet
Note on U13: Kevin Sithole: on the balance sheet
Note on V13: Kevin Sithole: on the balance sheet

## New OM&A Calc
OM&A COST/CUSTOMER CALCULATION
Customer Count |  | Veridian | 122868 | Whitby | 43000 | Elexicon | 167653 | Elexicon | 169489 | Elexicon | 171564
Description | OEB | 2018 | 2018/Cust | 2018 | 2018/Cust | 2019 | 2019/Cust | 2020 | 2020/Cust | 2021 | 2021/Cust
Operations Supervision & Engineering | 5005 | 1073635 |  | 356221.48 |  | 2183238.3733 |  | 2168377.36 |  | 2072693.28
Load Dispatching | 5010 | 1030970 |  | 478661.11 |  | 1409568.5733 |  | 1159017.78 |  | 1219497.92
Station Buildings & Fixtures | 5012 | 391107 |  | 100502.05 |  | 347602.08 |  | 443259.58 |  | 438859.33
Distribution Station Equipment | 5016/5017 | 186294 |  | 94675.49 |  | 204509.93 |  | 275311.95 |  | 185733.87
Overhead Lines | 5020/5025 | 1264942 |  | 24643.61 |  | 1144478.98 |  | 1338088.15 |  | 1395414.35
Overhead Subtransmission Feeders | 5030 | 19390 |  | 8104.23 |  | 27623.0533 |  | 46405.98 |  | 41760.21
Overhead Transformers | 5035 | 178995 |  | 4529.86 |  | 22206.7867 |  | 33793.43 |  | 47985.3
Underground Lines and Feeders | 5040/5045 | 1161969 |  | 308370.53 |  | 2071293.52 |  | 1590857.59 |  | 1530897.37
Underground Subtransmission Feeders | 5050 | 22 |  | 0 |  | 669.3067 |  | 2648.89 |  | 4466.85
Underground Transformers | 5055 | 222150 |  | 10560.9 |  | 105165.84 |  | 55608.76 |  | 101469.53
Customer Premises | 5070/5075 | 660446 |  | 652082.87 |  | 1188310.51 |  | 1189871.32 |  | 1564823.78
Metering | 5065/5175 | 837374 |  | 235639.28 |  | 1322500.16 |  | 1199004.71 |  | 1328532.01
Miscellaneous | 5085/5090 5095/5096 | 552346 |  | 910652.97 |  | 1150677.81 |  | 948083.63 |  | 1205980.55
Less: Misc. 5090 5095 5096 | 5090/5095 5096 | 0 |  | -9223.93 |  | 0 |  | 0 |  | 0
Total Operations |  | 7579640 | 61.6893 | 3175420.45 | 73.847 | 11177844.9233 | 66.6725 | 10450329.13 | 61.6579 | 11138114.35 | 64.921
Supervision and Direction | 5105 | 554883 |  | 197684.6 |  | 738935.4667 |  | 639128.29 |  | 592489.3
Station Building Maintenance | 5110 | 656 |  | 0 |  | 65451.7867 |  | 10773.79 |  | 4035.42
Station Equipment Maintenance | 5114 | 344262 |  | 452896.7 |  | 441755.9467 |  | 411068.89 |  | 632480.68
Poles, Towers & Fixtures | 5120 | 94565 |  | 104412.64 |  | 204692.5067 |  | 110168.03 |  | 92072.59
Overhead Lines | 5125 | 329713 |  | 443313.52 |  | 298191.0533 |  | 199275.53 |  | 271725
Overhead Services | 5130 | 52453 |  | 35023.12 |  | 59455.96 |  | 61015.67 |  | 70304.46
Tree Trimming | 5135 | 1139496 |  | 121138.13 |  | 1194598.7733 |  | 1034939.97 |  | 1320894.26
Underground Lines | 5145/5150 | 317801 |  | 163186.19 |  | 756939.57 |  | 533437.22 |  | 438596.68
Underground Services | 5155 | 246521 |  | 425879.13 |  | 543130.8933 |  | 307726.11 |  | 275018.07
Transformer Maintenance | 5160 | 90812 |  | 199870.12 |  | 229634.2133 |  | 93552.34 |  | 35121.62
Total Maintenance |  | 3171162 | 25.8095 | 2143404.15 | 49.8466 | 4532786.17 | 27.0367 | 3401085.84 | 20.0667 | 3732738.08 | 21.7571
Cash Over/Short | 5325 | 0 | [7 empty] | 1428818.64
Energy Services - Billing & Settlement | 5310/5315 5340 | 5109552 |  | 2080808.2 |  | 7003665.98 |  | 7053178.94 |  | 0
Bad Debt Expense | 5335 | -316969 |  | 83867.51 |  | 1498586.0267 |  | 3246300.37 |  | 8067217.52
| 5320 | 1033366 |  | 249637.38 |  | 1335391.08 |  | 891387.61 |  | 1080306.01
Less: Belleville Front Counter | 5320 | 0 |  | 0 |  | 0 |  | 0 |  | 0
Total Other Costs |  | 5825949 | 47.4163 | 2414313.09 | 56.1468 | 9837643.0867 | 58.6786 | 11190866.92 | 66.0271 | 10576342.17 | 61.6466
Total OM&A |  | 16576751 |  | 7733137.69 |  | 25548274.18 |  | 25042281.89 |  | 25447194.6
$/Customer |  | 134.9151 |  | 179.8404 |  | 152.3878 |  | 147.7517 |  | 148.3248
182.22
Note on D2: Darlene Cameron: get from Ajay
Note on F2: Darlene Cameron: get from Ajay
Note on H2: Kevin S: Number from year book
Note on J2: Kevin S: Number from year book
Note on L2: Kevin S: Number from year book From Cindy Perrin (regulatory)
Note on A35: ksithole: There is no more Belleville Fornt counter - no figure required