## Life
PEER ANALYSIS
|  | EGD | UGL | AltaGas | FortisBC | ATCO Gas | Centra Gas | IntraGaz | PNG | Gazifere | Recommend
LOCAL STORAGE PLANT
442 | STRUCTURES AND IMPROVEMENTS |  | 2050-200-SC |  |  |  |  | 40-R4 |  |  | 40-S5
443.01 | HOLDER - STORAGE TANK |  | 2050-200-SC | [5 empty] | 40-SQ |  | 45-R4
443.02 | HOLDER EQUIPMENT |  | 2050-200-SC | [7 empty] | 55-R4
UNDERGROUND STORAGE PLANT
451 | LAND RIGHTS INTANGIBLE | 65-R4 | 45-L4 |  |  |  |  | 40-SQ |  |  | 55-R4
452 | STRUCTURES AND IMPROVEMENTS | 40-R2.5 | 2040-200-SC |  |  |  |  | 40-R4 |  |  | 40-R3
453 | WELLS | 50-R2 | 45-L4 |  |  |  |  | 40-R4 |  |  | 45-R2.5
454 | WELL EQUIPMENT | 55-R2.5 | [5 empty] | 30-R3 |  |  | 40-R2
455 | FIELD LINES | 60-R4 | [5 empty] | 40-R4 |  |  | 55-R3
456 | COMPRESSOR EQUIPMENT | 45-R3 | 40-R3 |  |  |  |  | 30-R3 |  |  | 40-R4
457 | REGULATING AND MEASURING EQUIPMENT | 35-R4 | 35-R3 | [7 empty] | 35-R3
TRANSMISSION PLANT
461 | LAND RIGHTS INTANGIBLE |  | 60-R4 | 70-R3 |  |  | 75-R4 |  | 75-R4 |  | 60-R4
462 | COMPRESSOR STRUCTURES AND IMPROVEMENTS |  | 55-S4 |  | 30-S4 |  | 50-R5 |  | 30-R4 |  | 50-S4
463 | MEASURING AND REGULATING STRUCTURES AND IMPROVEMENTS | [9 empty] | 55-S4
464 | EQUIPMENT | [9 empty] | 50-S4
465 | MAINS |  | 60-R4 | 70-R3 | 65-R4 |  | 65-R4 |  | 65-R4 |  | 60-R4
466 | COMPRESSOR EQUIPMENT |  | 35-S3 |  | 37-R4 |  |  |  | 35-R3 |  | 30-R4
467 | MEASURING AND REGULATING EQUIPMENT |  | 45-S1 | 42-R3 | 37-R1.5 |  | 50-S2.5 |  | 35-S2.5 |  | 40-R4
DISTRIBUTION PLANT
471 | LAND RIGHTS INTANGIBLE | 75-R4 | 60-L2 | 65-R4 |  | 75-SQ | 75-R4 |  | 75-R4 |  | 60-R4
472 | STRUCTURES AND IMPROVEMENTS | 50-R1 | 40-R0.5 |  | 38-R1.5 | 60-R3 | 45-R1.5 |  | 30-R3 |  | 40-S0.5
473 | SERVICES | 45-S1 | 50-R1.5 (Metal)/55-R3 (Plastic) | 55-R3 | 47-R2 | 57-R2.5 | 55-R2.5 |  | 50-R4 | 53-R3.5 | 45-S1 Metal / 55-S3 Plastic
474 | REGULATORS |  | 20-SQ | 35-S3 | 20-S0 | [5 empty] | 25-SQ
475 | MAINS - ENVISION | 25-SQ | [8 empty] | 25-SQ
475.21 | MAINS - COATED & WRAPPED | 70-R3 | 55-R4 | 65-R2 | 65-R2.5 | 66-R2.5 | 65-R4 |  | 65-R4 | 80-R3 | 55-R3
475.3 | MAINS - PLASTIC | 70-R4 | 60-L2 | 65-R2 | 65-R2.5 | 66-R2.5 | 65-R4 |  | 65-R4 | 80-R3 | 60-R4
476 | COMPANY NGV COMPRESSOR STATIONS | 17-S2.5 | [8 empty] | 17-S2.5
477 | MEASURING AND REGULATING EQUIPMENT | 42-R1.5 | 50-S1 | 42-R2.5 | 33-R2 | 45-R1.5 | 35-R2 |  | 35-R4 | 30-R4 | 40-R2
477.01 | CUSTOMER M&R EQUIPMENT | [9 empty] | 35-R3
478 | METERS | 15-S2.5 | 25-L1.5 | 25-R3 | 18-R4 | 18-R3 | 26-S1.5 |  | 20-R4 | 18-R0.5 | 15-S2.5
GENERAL PLANT
482 | STRUCTURES AND IMPROVEMENTS |  | 2045-200-SC | 75-R2 |  | 44-R2.5 | 45-R3 |  | 30-R3 |  | 40-R1.5
483 | OFFICE FURNITURE AND EQUIPMENT | 15-SQ | 15-SQ | 15-SQ | 20-SQ | 20-SQ | 15-SQ | 7-SQ | 15-SQ | 15-SQ | 15-SQ
484 | TRANSPORTATION EQUIPMENT | 12-L1.5 | 8-L1.5 | 7-L1.5 | 7-L1 | 12-L2.5 | 10-R5 | 6-L3 | 8-L3 | 13-R4 | 12-L2.5
485 | HEAVY WORK EQUIPMENT | 18-L1 | 13-L2 | 10-L1 | 13-L0.5 | 13-L2 | 20-R5 |  | 18-R3 | 15-S3 | 17-L1.5
486 | TOOLS AND WORK EQUIPMENT | 15-SQ | 15-SQ | 20-SQ | 20-SQ | 15-SQ | 15-SQ | 10-SQ | 20-SQ | 10-SQ | 15-SQ
487.7 | RENTAL - REFUEL APPL | 20-SQ |  |  |  | 24-R3 |  |  |  |  | 15-SQ
487.8 | RENTAL - NGV STATIONS | 20-SQ |  |  |  | 20-R5 |  |  |  |  | 20-SQ
488 | COMMUNICATION STRUCTURES AND EQUIPMENT | 10-SQ | 15-SQ | 5-SQ | 15-SQ | 23-R1 |  |  | 14-SQ | 7-S4 | 10-SQ
490 | COMPUTER EQUIPMENT | 5-SQ | 4-SQ | 3-5-SQ | 4-SQ | 6-SQ | 5-SQ | 5-SQ | 5-SQ | 4-SQ | 4-SQ
490.3 | COMPUTER EQUIPMENT - WAMS | 10-SQ | [8 empty] | 10-SQ
491.01 | SOFTWARE ACQUIRED INTANGIBLES | 4-SQ | 10-SQ | 3-SQ | 5-8-SQ | 3-10-SQ | 5-SQ |  |  | 4-SQ | 4-SQ
491.02 | SOFTWARE DEVELOPED INTANGIBLES | 5-SQ |  | 10-SQ | 5-8-SQ |  |  |  |  | 4-SQ | 4-SQ
491.03 | CIS ACQUIRED SOFTWARE | 10-SQ | [7 empty] | 7-SQ | 10-SQ
491.04 | WAMS | 10-SQ | [8 empty] | 10-SQ
TOTAL GENERAL PLANT

## Net Salvage
PEER ANALYSIS
|  | EGD | UGL | AltaGas | FortisBC | ATCO Gas (Requested) | CentraGas | PNG (Requested) | Gazifere (requested) | Recommended
LOCAL STORAGE PLANT
442 | STRUCTURES AND IMPROVEMENTS |  | -0.4% |  | -10% |  |  |  |  | 0%
443.01 | HOLDER - STORAGE TANK |  | -0.4% |  | -20% |  |  |  |  | 0%
443.02 | HOLDER EQUIPMENT |  | -0.4% |  | -20% |  |  |  |  | 0%
UNDERGROUND STORAGE PLANT
451 | LAND RIGHTS INTANGIBLE | [8 empty] | 0%
452 | STRUCTURES AND IMPROVEMENTS |  | -10% | [6 empty] | -15%
453 | WELLS | -6% | -20% | [6 empty] | -50%
454 | WELL EQUIPMENT | [8 empty] | 0%
455 | FIELD LINES | -7% | [7 empty] | -15%
456 | COMPRESSOR EQUIPMENT | -2% | -10% | [6 empty] | -10%
457 | REGULATING AND MEASURING EQUIPMENT | -7% | -10% | [6 empty] | -20%
TRANSMISSION PLANT
461 | LAND RIGHTS INTANGIBLE
462 | COMPRESSOR STRUCTURES AND IMPROVEMENTS |  | -5% |  | -3% |  |  | -3% |  | -10%
463 | MEASURING AND REGULATING STRUCTURES AND IMPROVEMENTS |  | -5% |  | -15% |  |  |  |  | -10%
464 | EQUIPMENT |  | -5% | [6 empty] | -10%
465 | MAINS |  | -15% | -30% | -20% |  |  | -20% |  | -25%
466 | COMPRESSOR EQUIPMENT |  | -5% |  | -3% |  |  | -2% |  | -10%
467 | MEASURING AND REGULATING EQUIPMENT |  | -10% | -75% | -5% |  |  | -7% |  | -25%
DISTRIBUTION PLANT
471 | LAND RIGHTS INTANGIBLE
472 | STRUCTURES AND IMPROVEMENTS | -40% |  |  | -15% | -65% |  | -10% |  | -5%
473 | SERVICES | -34% | -35% | -100% | -70% | -125% |  | -60% | -125% | -50%
474 | REGULATORS |  |  | 0% | -20%
475 | MAINS - ENVISION
475.21 | MAINS - COATED & WRAPPED | -34% | -40% | -75% | -25% | -70% |  | -25% | -90% | -80%
475.3 | MAINS - PLASTIC | -41% | -75% | -75% | -25% | -70% |  | -25% | -90% | -80%
476 | COMPANY NGV COMPRESSOR STATIONS
477 | MEASURING AND REGULATING EQUIPMENT | -3% | -40% | -15% | -12% | -30% |  | -7% | -10% | -15%
477.01 | CUSTOMER M&R EQUIPMENT
478 | METERS | 5% |  | 0% |  | 10% |  | 1% |  | 0%
GENERAL PLANT
482 | STRUCTURES AND IMPROVEMENTS |  | 20% |  | -4% | -15% |  |  |  | 10%
483 | OFFICE FURNITURE AND EQUIPMENT
484 | TRANSPORTATION EQUIPMENT | 5% |  | 20% | 15% | 15% | 10% | 15% |  | 10%
485 | HEAVY WORK EQUIPMENT | 25% |  | 15% | 5% | 20% | 20% | 10% |  | 15%
486 | TOOLS AND WORK EQUIPMENT
487.7 | RENTAL - REFUEL APPL |  |  |  |  | -4%
487.8 | RENTAL - NGV STATIONS |  |  |  |  | -4%
488 | COMMUNICATION STRUCTURES AND EQUIPMENT |  |  |  |  | -3%
490 | COMPUTER EQUIPMENT
490.3 | COMPUTER EQUIPMENT - WAMS
491.01 | SOFTWARE ACQUIRED INTANGIBLES
491.02 | SOFTWARE DEVELOPED INTANGIBLES
491.03 | CIS ACQUIRED SOFTWARE
491.04 | WAMS