## JT1.25 b)
Notes | Reference | Annualized Cost Figures – Diversified Scenario |  |  |  |  | Annualized Cost Figures – Electrification Scenario
|  |  | 2020 | 2030 | 2040 | 2050 |  | 2020 | 2030 | 2040 | 2050
|  | Electricity |  |  |  |  | Electricity
Sum of all electricity demand for each sector: Buildings, Industry, and Transport. Note that the baseline demand from the IESO (135 TWh) is added to each year. | JT1.28 Attachment 2 and Attachment 3 | Annual energy demand (MWh) | 135244358 | 184307691 | 230414479 | 280575136 | Annual energy demand (MWh) | 135244357.77 | 205968834.6577 | 327948470.6179 | 413415012.2996
The model does not output capital costs on an annualized basis. | For total study period energy cost ($/MWh), see JT1.25, Table 1 (for Diversified scenario) and Table 2 (for Electrification scenario) | Annual avg. energy price ($/MWh) |  |  |  |  | Annual avg. energy price ($/MWh)
Total NPV of energy cost over study period (from LCOE calculation) | March 24th Deliverable | Annual energy cost ($) | 164279875764 |  |  |  | Annual energy cost ($) | 179317364883
Provided via Referenced Material | See JT1.28 Attachment 5, "Hourly Peak Demand" tab. For the annual capacity demand, see "Winter Peak" value. | Annual capacity demand (MW) |  |  |  |  | Annual capacity demand (MW)
The model does not output capital costs on an annualized basis. |  | Capacity cost ($/MW, annualized) |  |  |  |  | Capacity cost ($/MW, annualized)
The model does not output capital costs on an annualized basis. |  | Annual capacity cost ($) |  |  |  |  | Annual capacity cost ($)
Provided in JT1.25 | See JT1.25, Table 1 (for Diversified scenario) and Table 2 (for Electrification scenario) | Transmission & distribution cost ($/MW, annualized) | 0 | 2592.7154 | 2592.7154 | 2592.7154 | Transmission & distribution cost ($/MW, annualized) | 0 | 2592.7154 | 2592.7154 | 2592.7154
Preliminary cost used to calculate "Transmission & distribution ($/MW)" figure provided in JT1.25 | See JT1.25, Table 1 (for Diversified scenario) and Table 2 (for Electrification scenario) | Annual transmission and distribution cost ($, annualized) | 0 | 29790216.0473 | 57769981.1888 | 81192611.2068 | Annual transmission and distribution cost ($, annualized) | 0 | 45083419.1043 | 128706133.7649 | 166934878.0772
The model does not output capital costs on an annualized basis. For the non-annualized values, see JT1.28 Attachment 8 (for Electrification scenario) and Attachment 9 (for Diversified scenario), "Total Energy System Cost" tab. |  | Annual electricity costs ($) |  |  |  |  | Annual electricity costs ($)
|  | Fossil gas |  |  |  |  | Fossil gas
Provided via Referenced Material | See JT1.28 Attachment 5, "Hourly Demand" tab for total methane demand. For fossil gas proportion of that demand, see JT1.28 Attachment 6 (for Electrification scenario) and 7 (for Diversification scenario), tab "Supply Energy". | Annual demand (PJ) |  |  |  |  | Annual demand (PJ)
Provided in JT1.25 and replicated here | See JT1.25, Table 1 (for Diversified scenario) and Table 2 (for Electrification scenario) | Annual avg. commodity price ($/PJ) | 2265500.7949 | 3579756.2268 | 4213036.566 | 4213036.566 | Annual avg. commodity price ($/PJ) | 2265500.7949 | 3579756.2268 | 4213036.566 | 4213036.566
This is the annual fuel cost, or proxy for commodity cost (as identified in JT1.25 part A) for all methane imports, scaled to represent fossil gas for end users. | See JT1.28 Attachment 8 (for Electrification scenario) and 9 (for Diversification scenario), tab "Dispatch Import Costs". | Annual commodity cost ($) | 2295420929.1632 | 3030612168.264 | 1880536716.2407 | 0 | Annual commodity cost ($) | 2295420904.7329 | 3088096332.0057 | 1413965232.333 | 0
Total capacity supply (TJ/hr) is located in JT1.28 Attachment 6 (for Electrification scenario) and Attachment 7 (for Diversified scenario), tab "Supply Capacity". |  | Annual capacity demand (PJ/hr) |  |  |  |  | Annual capacity demand (PJ/hr)
Provided in JT1.25 | Note that this is not $/PJ/hr because the model does not use a capacity cost. We have provided the annual value instead as a proxy value on a best efforts basis. There are no new methane pipelines built, and existing methane pipelines only have a variable O&M cost in dollars per unit energy. See JT1.25, Table 1 (for Diversified scenario) and Table 2 (for Electrification scenario) | Transmission & distribution cost ($/PJ/hr, annualized) | 838089.6285 | 838091.7971 | 838091.7971 | 838091.7971 | Transmission & distribution cost ($/PJ/hr, annualized) | 838089.6285 | 838086.9513 | 838091.7971 | 838091.7971
Annual transmission and distribution costs ($, annualized) used to calculate the cost component of the "Transmission & distribution ($/MW)" figures provided in JT1.25 part a), scaled to represent only fossil gas. | See JT1.25, Table 1 (for Diversified scenario) and Table 2 (for Electrification scenario) | Annual transmission and distribution costs ($, annualized) | 775556548.9 | 650634544.5038 | 348860388.5658 | 0 | Annual transmission and distribution costs ($, annualized) | 775556540.7665 | 663023559.0369 | 265069140.1859 | 0
Sum of commodity, fossil gas storage costs, and T&D costs | Fossil gas storage costs can be found in JT1.28 Attachment 8 (for Electrification scenario) and 9 (for Diversification scenario), tab "SupplyTechCosts - Gas". | Annual fossil gas costs ($) | 4660957386.5832 | 10267050266.1401 | 5762624500.5718 | 0 | Annual fossil gas costs ($) | 4660957336.9626 | 15116516537.2347 | 6195278649.5218 | 0
|  | Fossil gas with CCS |  |  |  |  | Fossil gas with CCS
Provided via Referenced Material | See JT1.28 Attachment 5, "Hourly Demand" tab for total methane demand. For fossil gas with CCS proportion of that demand, see JT1.28 Attachment 6 (for Electrification scenario) and 7 (for Diversification scenario), tab "Supply Energy". | Annual demand (PJ) |  |  |  |  | Annual demand (PJ)
Provided in JT1.25 and replicated here | See JT1.25, Table 1 (for Diversified scenario) and Table 2 (for Electrification scenario) | Annual avg. commodity price ($/PJ) | 2265500.7949 | 3579756.2268 | 4213036.566 | 4213036.566 | Annual avg. commodity price ($/PJ) | 2265500.7949 | 3579756.2268 | 4213036.566 | 4213036.566
Annual avg. commodity price multiplied by volume |  | Annual commodity cost ($) | 0 | 171398728.1399 | 483825119.2369 | 566886243.9004 | Annual commodity cost ($) | 0 | 0 | 271488076.3116 | 436021155.8141
Provided in JT1.25 | Avg CCS Process Costs, See JT1.25, Table 1 (for Diversified scenario) and Table 2 (for Electrification scenario) | Annual avg. CCS costs ($/PJ) | 527381.9444 | 527381.9444 | 527381.9444 | 527381.9444 | Annual avg. CCS costs ($/PJ) | 527381.9444 | 527381.9444 | 527381.9444 | 527381.9444
Avg CCS costs multiplied by PJs of NG with CCS |  | Annual CCS costs ($) | 0 | 25251047.5 | 60564542.5 | 70962016.3284 | Annual CCS costs ($) | 0 | 0 | 33984492.5 | 54580510.1311
Provided in Referenced Material | Total capacity supply (TJ/hr) is located in JT1.28 Attachment 6 (for Electrification scenario) and Attachment 7 (for Diversified scenario), tab "Supply Capacity". | Annual capacity demand (PJ/hr) |  |  |  |  | Annual capacity demand (PJ/hr)
Provided in JT1.25 | Note that this is not $/PJ/hr because the model does not use a capacity cost. We have provided the annual value instead as a proxy value on a best efforts basis. There are no new methane pipelines built, and existing methane pipelines only have a variable O&M cost in dollars per unit energy.See JT1.25, Table 1 (for Diversified scenario) and Table 2 (for Electrification scenario) | Transmission & distribution cost ($/PJ/hr, annualized) | 838089.6285 | 838091.7971 | 838091.7971 | 838091.7971 | Transmission & distribution cost ($/PJ/hr, annualized) | 838089.6285 | 838086.9513 | 838091.7971 | 838091.7971
Average T&D costs multiplied by the dispatch (PJs) of fossil gas with CCs |  | Annual transmission and distribution costs ($, annualized) | 0 | 40127835.2452 | 96246461.9791 | 112769662.3237 | Annual transmission and distribution costs ($, annualized) | 0 | 0 | 54006635.4052 | 86736905.3954
Sum of commodity, CCS, and T&D costs |  | Annual fossil gas with CCS costs ($) | 0 | 266956029.3535 | 714544333.5225 | 837214392.609 | Annual fossil gas with CCS costs ($) | 0 | 0 | 435702288.4222 | 699756018.6424
|  | RNG |  |  |  |  | RNG
See JT1.28 Attachment 5, "Hourly Demand" tab for total methane demand. For RNG proportion of that demand, see JT1.28 Attachment 6 (for Electrification scenario) and 7 (for Diversification scenario), tab "Supply Energy". |  | Annual demand (PJ) |  |  |  |  | Annual demand (PJ)
Provided in JT1.25 | See JT1.25, Table 1 (for Diversified scenario) and Table 2 (for Electrification scenario) | Annual avg. commodity price ($/PJ) | N/A | 23546424.2346 | 22261852.1287 | 21786704.4523 | Annual avg. commodity price ($/PJ) | N/A | N/A | 22593348.5543 | 21657590.0694
Provided in JT1.25 | See JT1.25, Table 1 (for Diversified scenario) and Table 2 (for Electrification scenario) | Annual commodity cost ($) | 0 | 1042635665.106 | 2035623758.6494 | 3717683247.734 | Annual commodity cost ($) | 0 | 0 | 1333911298.6465 | 1567143217.4211
Provided in Referenced Material | Total capacity supply (TJ/hr) is located in JT1.28 Attachment 6 (for Electrification scenario) and Attachment 7 (for Diversified scenario), tab "Supply Capacity". | Annual capacity demand (PJ/hr) |  |  |  |  | Annual capacity demand (PJ/hr)
Provided in JT1.25 | Note that this is not $/PJ/hr because the model does not use a capacity cost. We have provided the annual value instead as a proxy value on a best efforts basis. There are no new methane pipelines built, and existing methane pipelines only have a variable O&M cost in dollars per unit energy. See JT1.25, Table 1 (for Diversified scenario) and Table 2 (for Electrification scenario) | Transmission & distribution cost ($/PJ/hr, annualized) | 838089.6285 | 838091.7971 | 838091.7971 | 838091.7971 | Transmission & distribution cost ($/PJ/hr, annualized) | 838089.6285 | 838086.9513 | 838091.7971 | 838091.7971
Average T&D costs multiplied by PJs of RNG |  | Annual transmission and distribution costs ($, annualized) | 0 | 37110704.7756 | 76635113.9269 | 143011984.2574 | Annual transmission and distribution costs ($, annualized) | 0 | 0 | 49480939.7009 | 60644322.4383
Sum of commodity and T&D costs |  | Annual RNG costs ($) | 0 | 1052141433.5374 | 2134681507.4931 | 3912518246.2667 | Annual RNG costs ($) | 0 | 0 | 1380046185.4572 | 1661248068.7615
|  | Green Hydrogen |  |  |  |  | Green Hydrogen
Provided in Referenced Material | See JT1.28 Attachment 5, "Hourly Demand" tab for total hydrogen demand. For green hydrogen proportion of that demand, see JT1.28 Attachment 6 (for Electrification scenario) and 7 (for Diversification scenario), tab "Supply Energy". | Annual demand (PJ) |  |  |  |  | Annual demand (PJ)
Provided in JT1.25 | See JT1.25, Table 1 (for Diversified scenario) and Table 2 (for Electrification scenario) | Annual avg. commodity price ($/PJ) [1] | N/A | N/A | 17845808.3624 | 16696804.3183 | Annual avg. commodity price ($/PJ) [1] | N/A | N/A | N/A | 17228717.8456
Provided in JT1.25 | See JT1.25, Table 1 (for Diversified scenario) and Table 2 (for Electrification scenario) | Annual commodity cost ($) | 0 | 0 | 3245046506.5286 | 8536052691.0777 | Annual commodity cost ($) | 0 | 0 | 0 | 1852490151.8037
Provided in Referenced Material | Total capacity supply (TJ/hr) is located in JT1.28 Attachment 6 (for Electrification scenario) and Attachment 7 (for Diversified scenario), tab "Supply Capacity". | Annual capacity demand (PJ/hr) |  |  |  |  | Annual capacity demand (PJ/hr)
Provided in JT1.25 | Note that this is not $/PJ/hr to be consistent with fossil gas (see note above). See JT1.25, Table 1 (for Diversified scenario) and Table 2 (for Electrification scenario) | Transmission & distribution cost ($/PJ/hr, annualized) | N/A | 2051771.1493 | 2062762.6789 | 2064908.6363 | Transmission & distribution cost ($/PJ/hr, annualized) | N/A | 2030545.8931 | 2030605.9027 | 2031369.5194
Average T&D costs multiplied by PJs of green hydrogen (electrolysers) |  | Annual transmission and distribution costs ($, annualized) | 0 | 0 | 375088686.8762 | 1055661226.2706 | Annual transmission and distribution costs ($, annualized) | 0 | 0 | 0 | 218419737.5011
Sum of commodity and T&D costs |  | Annual green hydrogen costs ($) | 0 | 0 | 3620135193.4048 | 9591713917.3483 | Annual green hydrogen costs ($) | 0 | 0 | 0 | 2070909889.3048
|  | Blue Hydrogen |  |  |  |  | Blue Hydrogen
See JT1.28 Attachment 5, "Hourly Demand" tab for total hydrogen demand. For blue hydrogen proportion of that demand, see JT1.28 Attachment 6 (for Electrification scenario) and 7 (for Diversification scenario), tab "Supply Energy". |  | Annual demand (PJ) |  |  |  |  | Annual demand (PJ)
Provided in JT1.25 | See JT1.25, Table 1 (for Diversified scenario) and Table 2 (for Electrification scenario) | Annual avg. commodity price ($/PJ)[2] | N/A | 13671878.6218 | 7363186.5374 | 5353326.1635 | Annual avg. commodity price ($/PJ)[2] | N/A | 14196877.7849 | 8525289.7858 | 5834028.4519
Provided in JT1.25 | See JT1.25, Table 1 (for Diversified scenario) and Table 2 (for Electrification scenario) | Annual commodity cost ($) | 0 | 2131518048.0879 | 2168565453.8834 | 1546403911.3004 | Annual commodity cost ($) | 0 | 847981546.3342 | 1313597070.273 | 898921077.7426
Provided in Referenced Material | Total capacity supply (TJ/hr) is located in JT1.28 Attachment 6 (for Electrification scenario) and Attachment 7 (for Diversified scenario), tab "Supply Capacity". | Annual capacity demand (PJ/hr) |  |  |  |  | Annual capacity demand (PJ/hr)
Provided in JT1.25 | Note that this is not $/PJ/hr to be consistent with fossil gas (see note above). See JT1.25, Table 1 (for Diversified scenario) and Table 2 (for Electrification scenario) | Transmission & distribution cost ($/PJ/hr, annualized) | N/A | 2051771.1493 | 2062762.6789 | 2064908.6363 | Transmission & distribution cost ($/PJ/hr, annualized) | N/A | 2030545.8931 | 2030605.9027 | 2031369.5194
Average T&D costs multiplied by PJs of blue hydrogen (electrolysers) |  | Annual transmission and distribution costs ($, annualized) | 0 | 319881953.0405 | 607513589.7055 | 596485753.7376 | Annual transmission and distribution costs ($, annualized) | 0 | 121284797.4318 | 312880621.2671 | 312998281.1551
Sum of commodity and T&D costs |  | Annual blue hydrogen costs ($) | 0 | 2451400001.1284 | 2776079043.5889 | 2142889665.038 | Annual blue hydrogen costs ($) | 0 | 969266343.7659 | 1626477691.5402 | 1211919358.8977
[1] Including the electrolysis process, CCS process, and transportation to Ontario if that is applicable and not included in the transmission and distribution row below.
[2] Including the SMR process, CCS process, and transportation to Ontario if that is applicable and not included in the transmission and distribution row below.
For all of these figures, Guidehouse has provided the best available proxy for each requested value; some of these able to be provided from model inputs, while others are derived from model outputs.
Importantly, the implied values presented in this undertaking are after-the-fact ad hoc transformations of interim model outputs, and caution should be used in interpreting them or comparing them to other industry values. As discussed in EB-2022-0200, Technical Conference Volume 1, pp 178-182., these values are not direct outputs of Guidehouse’s analysis and may not align with other industry values, given methodology differences (e.g., financing taxes, government subsidiaries, etc. are not included); thus, these values likely have limited usefulness in comparison with other sources for such costs.

## Elec Average T&D
Source | JT1.28-Attachment-8-Pathway Costs Electrification Scenario
InfraTechCapacity Costs (all Regions, Electricity Transmission Lines)
Year Range: | 2020-2030 | 2020-2030 | 2020-2030 | 2020-2030 | 2020-2030 | 2020-2030 | 2020-2030 | 2020-2030 | 2020-2030 | 2020-2030 | 2020-2030 | 2030-2040 | 2030-2040 | 2030-2040 | 2030-2040 | 2030-2040 | 2030-2040 | 2030-2040 | 2030-2040 | 2030-2040 | 2030-2040 | 2040-2050 | 2040-2050 | 2040-2050 | 2040-2050 | 2040-2050 | 2040-2050 | 2040-2050 | 2040-2050 | 2040-2050 | 2040-2050
Year | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Electrification | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1594089926.1913 | 20881875 | 20881875 | 20881875 | 20881875 | 20881875 | 20881875 | 20881875 | 20881875 | 20881875 | 1308623611.2666 | 42892500 | 42892500 | 42892500 | 42892500 | 42892500 | 42892500 | 42892500 | 42892500 | 42892500 | 134575619.3123
Diversified | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1272932661.9933 | 20881875 | 20881875 | 20881875 | 20881875 | 20881875 | 20881875 | 20881875 | 20881875 | 20881875 | 696551166.5568 | 42892500 | 42892500 | 42892500 | 42892500 | 42892500 | 42892500 | 42892500 | 42892500 | 42892500 | 24993750
$ | 2020 | 2030 | 2040 | 2050
Electrification | 0 | 159408992.6191 | 149656048.6267 | 52060811.9312
Diversified | 0 | 127293266.1993 | 88448804.1557 | 41102625
Supply Capacity (GW) | 2020 | 2030 | 2040 | 2050
Electrification | 39.8615 | 59.2398 | 104.0755 | 147.6236 | JT1.28-Attachment-6-LCP Results ON Electrification Scenario.xlsx
Diversified | 39.8615 | 51.5266 | 82.9822 | 129.2896 | JT1.28-Attachment-7-LCP Results ON Diversified Scenario.xlsx
Cost per MW
Electrification | 0 | 2690.9086 | 1437.9571 | 352.6591 |  | MW/GW | 1000
Diversified | 0 | 2470.4366 | 1065.8771 | 317.9113
Electricity Average Cost - Transmission & Distribution Costs
Tab | InfraCap Granular Total
Electrification | JT1.28-Attachment-6-LCP Results ON Electrification Scenario.xlsx | [9 empty] | Incremental Capacity (MW) | 2020 | 2030 | 2040 | 2050 |  |  | Lifetime | 70
ScenarioName | known_modeled | var_type | InfraTechnology | SubRegion1 | SubRegion2 | GENtoDISFuel | SimYr | InfraCapacity |  |  | Electricity Transmission Line | 0 | 17388.4952 | 49641.4431 | 64386.1175
LCP_Inputs_ON_Electric_2023_04_03 | modeled | Capacity-Intraconnection | Electricity Transmission Line | ON | ON | Electricity | 2020 | 0
LCP_Inputs_ON_Electric_2023_04_03 | modeled | Capacity-Intraconnection | Electricity Transmission Line | ON | ON | Electricity | 2030 | 17388.4952 |  |  | Total Cost ($CAD) | 2020 | 2030 | 2040 | 2050
LCP_Inputs_ON_Electric_2023_04_03 | modeled | Capacity-Intraconnection | Electricity Transmission Line | ON | ON | Electricity | 2040 | 49641.4431 |  |  | ON | 0 | 946751801.1913 | 919849861.2666 | 38228744.3123
LCP_Inputs_ON_Electric_2023_04_03 | modeled | Capacity-Intraconnection | Electricity Transmission Line | ON | ON | Electricity | 2050 | 64386.1175
LCP_Inputs_ON_Electric_2023_04_03 | known | Capacity-Intraconnection | Electricity Transmission Line | ON | ON | Electricity | 2020 | 23000 |  |  | Number of Years | 31 | 21 | 11 | 1
LCP_Inputs_ON_Electric_2023_04_03 | known | Capacity-Intraconnection | Electricity Transmission Line | ON | ON | Electricity | 2030 | 23000 |  |  | Incremental annualized CONE | 0 | 45083419.1043 | 83622714.6606 | 38228744.3123
LCP_Inputs_ON_Electric_2023_04_03 | known | Capacity-Intraconnection | Electricity Transmission Line | ON | ON | Electricity | 2040 | 23000 |  |  | Annualized CONE | 0 | 45083419.1043 | 128706133.7649 | 166934878.0772
LCP_Inputs_ON_Electric_2023_04_03 | known | Capacity-Intraconnection | Electricity Transmission Line | ON | ON | Electricity | 2050 | 23000 |  |  | $/MW | 0 | 2592.7154 | 2592.7154 | 2592.7154
Tab | InfraTechCapacity Costs
Electrification | JT1.28-Attachment-8-Pathway Costs Electrification Scenario.xlsx
Year Range: | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
ON | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 946751801.1913 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 919849861.2666 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 38228744.3123
Tab | InfraCap Granular Total
Diversified | JT1.28-Attachment-7-LCP Results ON Diversified Scenario.xlsx | [9 empty] | Incremental Capacity (MW) | 2020 | 2030 | 2040 | 2050
LCP_Inputs_ON_Diverse_2023_04_03 | modeled | Capacity-Intraconnection | Electricity Transmission Line | ON | ON | Electricity | 2020 | 0 |  |  | Electricity Transmission Line | 0 | 11489.9677 | 22281.6516 | 31315.6667
LCP_Inputs_ON_Diverse_2023_04_03 | modeled | Capacity-Intraconnection | Electricity Transmission Line | ON | ON | Electricity | 2030 | 11489.9677
LCP_Inputs_ON_Diverse_2023_04_03 | modeled | Capacity-Intraconnection | Electricity Transmission Line | ON | ON | Electricity | 2040 | 22281.6516 |  |  | Total Cost ($CAD) | 2020 | 2030 | 2040 | 2050
LCP_Inputs_ON_Diverse_2023_04_03 | modeled | Capacity-Intraconnection | Electricity Transmission Line | ON | ON | Electricity | 2050 | 31315.6667 |  |  | ON | 0 | 625594536.9933 | 307777416.5568 | 23422630.0179
LCP_Inputs_ON_Diverse_2023_04_03 | known | Capacity-Intraconnection | Electricity Transmission Line | ON | ON | Electricity | 2020 | 23000
LCP_Inputs_ON_Diverse_2023_04_03 | known | Capacity-Intraconnection | Electricity Transmission Line | ON | ON | Electricity | 2030 | 23000 |  |  | Number of Years | 31 | 21 | 11 | 1
LCP_Inputs_ON_Diverse_2023_04_03 | known | Capacity-Intraconnection | Electricity Transmission Line | ON | ON | Electricity | 2040 | 23000 |  |  | Incremental annualized CONE | 0 | 29790216.0473 | 27979765.1415 | 23422630.0179
LCP_Inputs_ON_Diverse_2023_04_03 | known | Capacity-Intraconnection | Electricity Transmission Line | ON | ON | Electricity | 2050 | 23000 |  |  | Annualized CONE | 0 | 29790216.0473 | 57769981.1888 | 81192611.2068
[11 empty] | $/MW | 0 | 2592.7154 | 2592.7154 | 2592.7154
Tab | InfraTechCapacity Costs
Diversified | JT1.28-Attachment-9-Pathway Costs Diversified Scenario.xlsx
Year Range: | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
ON | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 625594536.9933 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 307777416.5568 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 23422630.0179

## Fossil Gas, RNG & Hydrogen
| Electrification Scenario | [5 empty] | Diversified Scenario
Description | Fossil Gas - T&D Costs | 2020 | 2030 | 2040 | 2050 | Source | Fossil Gas - T&D Costs | 2020 | 2030 | 2040 | 2050 | Source
See Pipeline Costs tab | Annual CH4 Pipeline total O&M costs ($/yr) | 775556540.7665 | 661976965.2959 | 367923131.7518 | 147381227.8336 | JT1.28-Attachment-8-Pathway Costs Electrification Scenario | Annual CH4 Pipeline total O&M costs ($/yr) | 775556548.9 | 727112349.4526 | 520847193.3407 | 255781646.581 | JT1.28-Attachment-9-Pathway Costs Diversified Scenario.xlsx
Sum of methane supply for ON (RNG, CH4 Pipeline,CH4 + CCS) | Annual methane sent through CH4 pipeline in ON-ON (PJ/yr) | 925.3862 | 791.1155 | 439.757 | 175.8533 | JT1.28-Attachment-6-LCP Results ON Electrification Scenario.xlsx | Annual methane sent through CH4 pipeline in ON-ON (PJ/yr) | 925.3862 | 868.4885 | 622.5356 | 305.1953 | JT1.28-Attachment-7-LCP Results ON Diversified Scenario
Tab: supply_dis_annual, filtered to O/CCGT CH4 New and Existing, for methane only in ON | Annual methane used in power generation (PJ) | 0 | 1.2488 | 0.75598 | 0 | JT1.28-Attachment-6-LCP Results ON Electrification Scenario.xlsx | Annual methane used in power generation (PJ) | 0 | 0.9077 | 1.0676 | 0 | JT1.28-Attachment-7-LCP Results ON Diversified Scenario
CH4 Pipeline total costs / total methane volume sent through pipeline in ON-ON | Transmission & distribution ($/PJ/hr) | 838089.6285 | 838086.9513 | 838091.7971 | 838091.7971 | Note that this is not $/PJ/hr because the model does not use a capacity cost. We have provided the annual value instead as a proxy value on a best efforts basis. There are no new methane pipelines built, and existing methane pipelines only have a variable O&M cost in dollars per unit energy. | Transmission & distribution ($/PJ/hr) | 838089.6285 | 838091.7971 | 838091.7971 | 838091.7971
| Hydrogen - T&D Costs | 2020 | 2030 | 2040 | 2050 | Source | Hydrogen - T&D Costs | 2020 | 2030 | 2040 | 2050
InfraTechCapacity Costs ON-ON | H2 Pipeline (retrofit and new) total CAPEX costs ($) | 0 | 23605582.0234 | 23665859.9788 | 2255881.1706 | JT1.28-Attachment-8-Pathway Costs Electrification Scenario | H2 Pipeline (retrofit and new) total CAPEX costs ($) | 0 | 124755358.4872 | 203691450.5117 | 21541693.4645 | JT1.28-Attachment-9-Pathway Costs Diversified Scenario.xlsx
InfraTech Dispatch (to) ON-ON | H2 Pipeline (retrofit and new) annual O&M costs ($) | 0 | 110846468.6684 | 305168522.8171 | 511715728.5138 | JT1.28-Attachment-8-Pathway Costs Electrification Scenario | H2 Pipeline (retrofit and new) annual O&M costs ($) |  | 291122573.1747 | 941970860.5585 | 1704303201.4629 | JT1.28-Attachment-9-Pathway Costs Diversified Scenario.xlsx
Total Hydrogen Supply (Domestic + Imports) | Total Hydrogen Supply (PJ) | 0 | 59.7301 | 156.3914 | 266.1413 | JT1.28-Attachment-6-LCP Results ON Electrification Scenario.xlsx | Total Hydrogen Supply (PJ) | 0 | 155.9053 | 493.2824 | 853.8041 | JT1.28-Attachment-7-LCP Results ON Diversified Scenario
| H2 Pipeline (retrofit and new) annual CAPEX costs ($) | 0 | 1124075.3344 | 2151441.8163 | 2255881.1706 |  | H2 Pipeline (retrofit and new) annual CAPEX costs ($) | 0 | 5940731.3565 | 18517404.592 | 21541693.4645
| H2 Pipeline (retrofit and new) cumulative annual CAPEX costs ($) | 0 | 1124075.3344 | 3275517.1507 | 5531398.3213 |  | H2 Pipeline (retrofit and new) cumulative annual CAPEX costs ($) | 0 | 5940731.3565 | 24458135.9485 | 45999829.413
| Total Hydrogen used in power generation (PJ) | 0 | 4.5871 | 4.4938 | 11.5115 | JT1.28-Attachment-7-LCP Results ON Electrification Scenario, tab: IndirectDmd converted to PJs | Total Hydrogen used in power generation (PJ) | 0 | 11.1214 | 24.7704 | 6.1622 | JT1.28-Attachment-7-LCP Results ON Diversified Scenario, tab: IndirectDmd converted to PJs
| Transmission & distribution ($/PJ/hr) | N/A | 2030545.8931 | 2030605.9027 | 2031369.5194 | Note that this is not $/PJ/hr to be consistent with fossil gas (see note above). | Transmission & distribution ($/PJ/hr) | N/A | 2051771.1493 | 2062762.6789 | 2064908.6363
FuelTypeCosts
| UPStoGENFuel ($CAD/MWh) | 2020 | 2030 | 2040 | 2050 | Source | UPStoGENFuel ($CAD/MWh) | 2020 | 2030 | 2040 | 2050
| Methane WC | 8.1558 | 12.8871 | 15.1669 | 15.1669 | JT1.28-Attachment-5-LCP_Inputs | Methane WC | 8.1558 | 12.8871 | 15.1669 | 15.1669 | JT1.28-Attachment-5-LCP_Inputs
| Methane NY | 8.1558 | 12.8871 | 15.1669 | 15.1669 | JT1.28-Attachment-5-LCP_Inputs | Methane NY | 8.1558 | 12.8871 | 15.1669 | 15.1669 | JT1.28-Attachment-5-LCP_Inputs
| $CAD/PJ | 2265500.7949 | 3579756.2268 | 4213036.566 | 4213036.566 |  | $CAD/PJ | 2265500.7949 | 3579756.2268 | 4213036.566 | 4213036.566
| FuelTypeCosts | [5 empty] | FuelTypeCosts
| UPStoGENFuel ($CAD/MWh) | 2020 | 2030 | 2040 | 2050 |  | UPStoGENFuel ($CAD/MWh) | 2020 | 2030 | 2040 | 2050
| CH4 + CCS Fuel | 8.1558 | 12.8871 | 15.1669 | 15.1669 | JT1.28-Attachment-5-LCP_Inputs | CH4 + CCS Fuel | 8.1558 | 12.8871 | 15.1669 | 15.1669 | JT1.28-Attachment-5-LCP_Inputs
3.6 PJ/TWh | $CAD/PJ | 2265500.7949 | 3579756.2268 | 4213036.566 | 4213036.566 |  | $CAD/PJ | 2265500.7949 | 3579756.2268 | 4213036.566 | 4213036.566
10^6 MWh per TWh
| CCS process ($/PJ) | Value | Unit | Source
|  | 95 | $/tCO2e
| Emissions Rate | 0.019985 | tCO2e/MWh | This includes the combustion emissions based on a 95% capture rate, as well as upstream emissions from methane transmission.
| Emissions Rate | 19985 | tCO2e/TWh
| Emissions Rate | 5551.3889 | tCO2e/PJ
| Cost ($/PJ) | 527381.9444 | $/PJ
| RNG – Average Commodity Cost | 2020 | 2030 | 2040 | 2050 |  | RNG – Average Commodity Cost | 2020 | 2030 | 2040 | 2050
Cost of RNG (million $CAD) / # of Years | Cost of RNG (million $CAD) | 0 | 0 | 1333.9113 | 1567.1432 | Intervenor Requests 2022-03-24_Submission - Updated 2023-04-05.xlsx | Cost of RNG (million $CAD) | 0 | 1042.6357 | 2035.6238 | 3717.6832 | Intervenor Requests 2022-03-24_Submission - Updated 2023-04-05.xlsx
Annual RNG Production (PJ/Year) | PJ/yr | 0 | 0 | 59.04 | 72.36 |  | PJ/yr | 0 | 44.28 | 91.44 | 170.64
Cost * 10 ^6 / PJ | Cost ($/PJ) | N/A | N/A | 22593348.5543 | 21657590.0694 |  | Cost ($/PJ) | N/A | 23546424.2346 | 22261852.1287 | 21786704.4523
| Green Hydrogen – Average Commodity Cost | 2020 | 2030 | 2040 | 2050 |  | Green Hydrogen – Average Commodity Cost | 2020 | 2030 | 2040 | 2050
Total Cost of Green H2 / # of Years | Annual Costs of Green Hydrogen ($CAD) | 0 | 0 | 0 | 1852490151.8037 | Intervenor Requests 2022-03-24_Submission - Updated 2023-04-05.xlsx | Annual Costs of Green Hydrogen ($CAD) | 0 | 0 | 3245046506.5286 | 8536052691.0777 | Intervenor Requests 2022-03-24_Submission - Updated 2023-04-05.xlsx
Annual supply of H2 in PJ / yr | PJ/yr |  |  |  | 107.5234 |  | PJ/yr | 0 | 0 | 181.838 | 511.2387
Cost / PJ | Cost ($/PJ) | N/A | N/A | N/A | 17228717.8456 | Note that is higher than in the Diversified scenario due to higher electricity costs in the Electrification scenario | Cost ($/PJ) | N/A | N/A | 17845808.3624 | 16696804.3183
| Blue Hydrogen – Average Commodity Cost | 2020 | 2030 | 2040 | 2050 |  | Blue Hydrogen – Average Commodity Cost | 2020 | 2030 | 2040 | 2050
Total Cost of Blue H2 / # of Years | Annual Costs of Blue Hydrogen ($CAD) | 0 | 847981546.3342 | 1313597070.273 | 898921077.7426 | Intervenor Requests 2022-03-24_Submission - Updated 2023-04-05.xlsx | Annual Costs of Blue Hydrogen ($CAD) | 0 | 2131518048.0879 | 2168565453.8834 | 1546403911.3004 | Intervenor Requests 2022-03-24_Submission - Updated 2023-04-05.xlsx
Annual supply of H2 in PJ / yr | PJ/yr | 0 | 59.7301 | 154.0824 | 154.0824 |  | PJ/yr | 0 | 155.9053 | 294.5145 | 288.8679
Cost / PJ | Cost ($/PJ) | N/A | 14196877.7849 | 8525289.7858 | 5834028.4519 | Note that is higher than in the Diversified scenario due to higher emissions costs in the Electrification scenario | Cost ($/PJ) | N/A | 13671878.6218 | 7363186.5374 | 5353326.1635

## OCCGT Dispatch Volumes
Electricity Requirements for Hydrogen Fired Gas Turbines
Diversified scenario - supply_disp_annual |  |  |  |  | Electrification scenario - supply_disp_annual
Source: | JT1.28-Attachment-7-LCP Results ON Diversified Scenario |  |  |  | Source: | JT1.28-Attachment-6-LCP Results ON Electrification Scenario.xlsx
2030 | Fall | O/CCGT - H2 New |  | -1251502.9688 | 2030 | Fall | O/CCGT - H2 New |  | -535258.3473
2030 | Spring | O/CCGT - H2 New |  | -195188.1082 | 2030 | Spring | O/CCGT - H2 New |  | 0
2030 | Summer | O/CCGT - H2 New |  | -1642597.6465 | 2030 | Summer | O/CCGT - H2 New |  | -647418.621
2030 | Winter | O/CCGT - H2 New |  | 0 | 2030 | Winter | O/CCGT - H2 New |  | 0
2030 | Winter Peak | O/CCGT - H2 New |  | 0 | 2030 | Winter Peak | O/CCGT - H2 New |  | -91508.7706
2040 | Fall | O/CCGT - H2 New |  | -1183896.7463 | 2040 | Fall | O/CCGT - H2 New |  | 0
2040 | Spring | O/CCGT - H2 New |  | 0 | 2040 | Spring | O/CCGT - H2 New |  | 0
2040 | Summer | O/CCGT - H2 New |  | -5520301.3822 | 2040 | Summer | O/CCGT - H2 New |  | -109618.9365
2040 | Winter | O/CCGT - H2 New |  | 0 | 2040 | Winter | O/CCGT - H2 New |  | 0
2040 | Winter Peak | O/CCGT - H2 New |  | -176465.1453 | 2040 | Winter Peak | O/CCGT - H2 New |  | -1138664.1232
2050 | Fall | O/CCGT - H2 New |  | 0 | 2050 | Fall | O/CCGT - H2 New |  | -509293.1196
2050 | Spring | O/CCGT - H2 New |  | 0 | 2050 | Spring | O/CCGT - H2 New |  | 0
2050 | Summer | O/CCGT - H2 New |  | -949189.6237 | 2050 | Summer | O/CCGT - H2 New |  | -772819.052
2050 | Winter | O/CCGT - H2 New |  | 0 | 2050 | Winter | O/CCGT - H2 New |  | 0
2050 | Winter Peak | O/CCGT - H2 New |  | -762528.2942 | 2050 | Winter Peak | O/CCGT - H2 New |  | -1915539.1919
| 2030 | 2040 | 2050 |  |  | 2030 | 2040 | 2050
O/CCGT - H2 New (MWh) | 3089288.7235 | 6880663.2738 | 1711717.9178 |  | O/CCGT - H2 New (MWh) | 1274185.7389 | 1248283.0597 | 3197651.3635
O/CCGT - H2 New (PJ) | 11.1214 | 24.7704 | 6.1622 |  | O/CCGT - H2 New (PJ) | 4.5871 | 4.4938 | 11.5115
Electricity Requirements for Methane Fired Gas Turbines
Diversified scenario - supply_disp_annual |  |  |  |  | Electrification scenario - supply_disp_annual
Source: | JT1.28-Attachment-7-LCP Results ON Diversified Scenario |  |  |  | Source: | JT1.28-Attachment-6-LCP Results ON Electrification Scenario.xlsx
2030 | Winter Peak | O/CCGT - CH4 Existing |  | -239807.0461 | 2030 | Winter Peak | O/CCGT - CH4 Existing |  | -333746.0222
2030 | Winter Peak | O/CCGT - CH4 New |  | -12331.5603 | 2030 | Winter Peak | O/CCGT - CH4 New |  | -13139.8029
2040 | Fall | O/CCGT - CH4 Existing |  | 0 | 2040 | Fall | O/CCGT - CH4 Existing |  | 0
2040 | Fall | O/CCGT - CH4 New |  | 0 | 2040 | Fall | O/CCGT - CH4 New |  | 0
2040 | Spring | O/CCGT - CH4 Existing |  | 0 | 2040 | Spring | O/CCGT - CH4 Existing |  | 0
2040 | Spring | O/CCGT - CH4 New |  | 0 | 2040 | Spring | O/CCGT - CH4 New |  | 0
2040 | Summer | O/CCGT - CH4 Existing |  | 0 | 2040 | Summer | O/CCGT - CH4 Existing |  | 0
2040 | Summer | O/CCGT - CH4 New |  | 0 | 2040 | Summer | O/CCGT - CH4 New |  | 0
2040 | Winter | O/CCGT - CH4 Existing |  | 0 | 2040 | Winter | O/CCGT - CH4 Existing |  | 0
2040 | Winter | O/CCGT - CH4 New |  | 0 | 2040 | Winter | O/CCGT - CH4 New |  | 0
2040 | Winter Peak | O/CCGT - CH4 Existing |  | -205135.0476 | 2040 | Winter Peak | O/CCGT - CH4 Existing |  | -155396.3651
2040 | Winter Peak | O/CCGT - CH4 New |  | -91428.5714 | 2040 | Winter Peak | O/CCGT - CH4 New |  | -54599.0417
2050 | Fall | O/CCGT - CH4 Existing |  | 0 | 2050 | Fall | O/CCGT - CH4 Existing |  | 0
2050 | Fall | O/CCGT - CH4 New |  | 0 | 2050 | Fall | O/CCGT - CH4 New |  | 0
2050 | Spring | O/CCGT - CH4 Existing |  | 0 | 2050 | Spring | O/CCGT - CH4 Existing |  | 0
2050 | Spring | O/CCGT - CH4 New |  | 0 | 2050 | Spring | O/CCGT - CH4 New |  | 0
2050 | Summer | O/CCGT - CH4 Existing |  | 0 | 2050 | Summer | O/CCGT - CH4 Existing |  | 0
2050 | Summer | O/CCGT - CH4 New |  | 0 | 2050 | Summer | O/CCGT - CH4 New |  | 0
2050 | Winter | O/CCGT - CH4 Existing |  | 0 | 2050 | Winter | O/CCGT - CH4 Existing |  | 0
2050 | Winter | O/CCGT - CH4 New |  | 0 | 2050 | Winter | O/CCGT - CH4 New |  | 0
2050 | Winter Peak | O/CCGT - CH4 Existing |  | 0 | 2050 | Winter Peak | O/CCGT - CH4 Existing |  | 0
2050 | Winter Peak | O/CCGT - CH4 New |  | 0 | 2050 | Winter Peak | O/CCGT - CH4 New |  | 0
| 2030 | 2040 | 2050 |  |  | 2030 | 2040 | 2050
O/CCGT - CH4 (MWh) | 252138.6065 | 296563.619 | 0 |  | O/CCGT - CH4 (MWh) | 346885.8251 | 209995.4068 | 0
O/CCGT - CH4 (PJ) | 0.9077 | 1.0676 | 0 |  | O/CCGT - CH4 (PJ) | 1.2488 | 0.75598 | 0

## Pipeline Costs
Electrification | [5 empty] | Diversified
CAD/yr | 2020 | 2030 | 2040 | 2050 |  | CAD/yr | 2020 | 2030 | 2040 | 2050
CH4 Pipeline | 775556540.7665 | 661976965.2959 | 367923131.7518 | 147381227.8336 |  | CH4 Pipeline | 775556548.9 | 727112349.4526 | 520847193.3407 | 255781646.581 | Annual CH4 Pipeline costs for ON only (Infratech Dispatch Costs to only)
Hydrogen | 0 | 110846468.6684 | 305168522.8171 | 511715728.5138 |  | H2 Pipeline | 0 | 291122573.1747 | 941970860.5585 | 1704303201.4629 | Annual H2 Pipeline costs for retrofit + new (costs to) for all regions (note that only ON has any costs)
Pathways Costs:
Source for Electrification Scenario: | JT1.28-Attachment-8-Pathway Costs Electrification Scenario
Source for Diversified Scenario: | JT1.28-Attachment-9-Pathway Costs Diversified Scenario.xlsx
Electrification CH4 Pipeline
Year: | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Year Range: | 2020-2030 | 2020-2030 | 2020-2030 | 2020-2030 | 2020-2030 | 2020-2030 | 2020-2030 | 2020-2030 | 2020-2030 | 2020-2030 | 2020-2030 | 2030-2040 | 2030-2040 | 2030-2040 | 2030-2040 | 2030-2040 | 2030-2040 | 2030-2040 | 2030-2040 | 2030-2040 | 2030-2040 | 2040-2050 | 2040-2050 | 2040-2050 | 2040-2050 | 2040-2050 | 2040-2050 | 2040-2050 | 2040-2050 | 2040-2050 | 2040-2050
InfraTechDispatch (to) - ON | 775556540.7665 | 775556540.7665 | 775556540.7665 | 775556540.7665 | 775556540.7665 | 775556540.7665 | 775556540.7665 | 775556540.7665 | 775556540.7665 | 775556540.7665 | 661976965.2959 | 661976965.2959 | 661976965.2959 | 661976965.2959 | 661976965.2959 | 661976965.2959 | 661976965.2959 | 661976965.2959 | 661976965.2959 | 661976965.2959 | 367923131.7518 | 367923131.7518 | 367923131.7518 | 367923131.7518 | 367923131.7518 | 367923131.7518 | 367923131.7518 | 367923131.7518 | 367923131.7518 | 367923131.7518 | 147381227.8336
InfraTechDispatch (from) - ON | 775556540.7665 | 775556540.7665 | 775556540.7665 | 775556540.7665 | 775556540.7665 | 775556540.7665 | 775556540.7665 | 775556540.7665 | 775556540.7665 | 775556540.7665 | 661976965.2959 | 661976965.2959 | 661976965.2959 | 661976965.2959 | 661976965.2959 | 661976965.2959 | 661976965.2959 | 661976965.2959 | 661976965.2959 | 661976965.2959 | 367923131.7518 | 367923131.7518 | 367923131.7518 | 367923131.7518 | 367923131.7518 | 367923131.7518 | 367923131.7518 | 367923131.7518 | 367923131.7518 | 367923131.7518 | 147381227.8336
Diversified CH4 Pipeline
Year Range: | 2020-2030 | 2020-2030 | 2020-2030 | 2020-2030 | 2020-2030 | 2020-2030 | 2020-2030 | 2020-2030 | 2020-2030 | 2020-2030 | 2020-2030 | 2030-2040 | 2030-2040 | 2030-2040 | 2030-2040 | 2030-2040 | 2030-2040 | 2030-2040 | 2030-2040 | 2030-2040 | 2030-2040 | 2040-2050 | 2040-2050 | 2040-2050 | 2040-2050 | 2040-2050 | 2040-2050 | 2040-2050 | 2040-2050 | 2040-2050 | 2040-2050
InfraTechDispatch (to) - ON | 775556548.9 | 775556548.9 | 775556548.9 | 775556548.9 | 775556548.9 | 775556548.9 | 775556548.9 | 775556548.9 | 775556548.9 | 775556548.9 | 727112349.4526 | 727112349.4526 | 727112349.4526 | 727112349.4526 | 727112349.4526 | 727112349.4526 | 727112349.4526 | 727112349.4526 | 727112349.4526 | 727112349.4526 | 520847193.3407 | 520847193.3407 | 520847193.3407 | 520847193.3407 | 520847193.3407 | 520847193.3407 | 520847193.3407 | 520847193.3407 | 520847193.3407 | 520847193.3407 | 255781646.581
InfraTechDispatch (from) - ON | 775556548.9 | 775556548.9 | 775556548.9 | 775556548.9 | 775556548.9 | 775556548.9 | 775556548.9 | 775556548.9 | 775556548.9 | 775556548.9 | 727112349.4526 | 727112349.4526 | 727112349.4526 | 727112349.4526 | 727112349.4526 | 727112349.4526 | 727112349.4526 | 727112349.4526 | 727112349.4526 | 727112349.4526 | 520847193.3407 | 520847193.3407 | 520847193.3407 | 520847193.3407 | 520847193.3407 | 520847193.3407 | 520847193.3407 | 520847193.3407 | 520847193.3407 | 520847193.3407 | 255781646.581
Electrification H2 Pipeline (Hydrogen, Total)
Year Range: | 2020-2030 | 2020-2030 | 2020-2030 | 2020-2030 | 2020-2030 | 2020-2030 | 2020-2030 | 2020-2030 | 2020-2030 | 2020-2030 | 2020-2030 | 2030-2040 | 2030-2040 | 2030-2040 | 2030-2040 | 2030-2040 | 2030-2040 | 2030-2040 | 2030-2040 | 2030-2040 | 2030-2040 | 2040-2050 | 2040-2050 | 2040-2050 | 2040-2050 | 2040-2050 | 2040-2050 | 2040-2050 | 2040-2050 | 2040-2050 | 2040-2050
InfraTechDispatch (to) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 110846468.6684 | 110846468.6684 | 110846468.6684 | 110846468.6684 | 110846468.6684 | 110846468.6684 | 110846468.6684 | 110846468.6684 | 110846468.6684 | 110846468.6684 | 305168522.8171 | 305168522.8171 | 305168522.8171 | 305168522.8171 | 305168522.8171 | 305168522.8171 | 305168522.8171 | 305168522.8171 | 305168522.8171 | 305168522.8171 | 511715728.5138
InfraTechDispatch (from) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 110846468.6684 | 110846468.6684 | 110846468.6684 | 110846468.6684 | 110846468.6684 | 110846468.6684 | 110846468.6684 | 110846468.6684 | 110846468.6684 | 110846468.6684 | 305168522.8171 | 305168522.8171 | 305168522.8171 | 305168522.8171 | 305168522.8171 | 305168522.8171 | 305168522.8171 | 305168522.8171 | 305168522.8171 | 305168522.8171 | 511715728.5138
Diversified H2 Pipeline (Hydrogen, Total)
Year Range: | 2020-2030 | 2020-2030 | 2020-2030 | 2020-2030 | 2020-2030 | 2020-2030 | 2020-2030 | 2020-2030 | 2020-2030 | 2020-2030 | 2020-2030 | 2030-2040 | 2030-2040 | 2030-2040 | 2030-2040 | 2030-2040 | 2030-2040 | 2030-2040 | 2030-2040 | 2030-2040 | 2030-2040 | 2040-2050 | 2040-2050 | 2040-2050 | 2040-2050 | 2040-2050 | 2040-2050 | 2040-2050 | 2040-2050 | 2040-2050 | 2040-2050
InfraTechDispatch (to) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 291122573.1747 | 291122573.1747 | 291122573.1747 | 291122573.1747 | 291122573.1747 | 291122573.1747 | 291122573.1747 | 291122573.1747 | 291122573.1747 | 291122573.1747 | 941970860.5585 | 941970860.5585 | 941970860.5585 | 941970860.5585 | 941970860.5585 | 941970860.5585 | 941970860.5585 | 941970860.5585 | 941970860.5585 | 941970860.5585 | 1704303201.4629
InfraTechDispatch (from) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 291122573.1747 | 291122573.1747 | 291122573.1747 | 291122573.1747 | 291122573.1747 | 291122573.1747 | 291122573.1747 | 291122573.1747 | 291122573.1747 | 291122573.1747 | 941970860.5585 | 941970860.5585 | 941970860.5585 | 941970860.5585 | 941970860.5585 | 941970860.5585 | 941970860.5585 | 941970860.5585 | 941970860.5585 | 941970860.5585 | 1704303201.4629

## Fossil Gas Calcs for Part b
Fossil gas - annual commodity cost
Diversified Scenario - Annual commodity cost ($)
CH4 Imports | 2020 | 2030 | 2040 | 2050
Annual Cost ($CAD) | 2295420929.1632 | 3034155621.3219 | 1885359992.3132 | 0 | Sum all "FuelCost" rows for CH4 Imports from Pathway Costs
Annual Cost Scaled | 2295420929.1632 | 3030612168.264 | 1880536716.2407 | 0 | Scale for NG volumes (not including NG for power generation).
Year Range: | 2020-2030 | 2020-2030 | 2020-2030 | 2020-2030 | 2020-2030 | 2020-2030 | 2020-2030 | 2020-2030 | 2020-2030 | 2020-2030 | 2020-2030 | 2030-2040 | 2030-2040 | 2030-2040 | 2030-2040 | 2030-2040 | 2030-2040 | 2030-2040 | 2030-2040 | 2030-2040 | 2030-2040 | 2040-2050 | 2040-2050 | 2040-2050 | 2040-2050 | 2040-2050 | 2040-2050 | 2040-2050 | 2040-2050 | 2040-2050 | 2040-2050
Row Labels | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
CH4 Import - NY 2020 | 407790143.0843 | 407790143.0843 | 407790143.0843 | 407790143.0843 | 407790143.0843 | 407790143.0843 | 407790143.0843 | 407790143.0843 | 407790143.0843 | 407790143.0843 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CH4 Import - NY 2030 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 644356120.8267 | 644356120.8267 | 644356120.8267 | 644356120.8267 | 644356120.8267 | 644356120.8267 | 644356120.8267 | 644356120.8267 | 644356120.8267 | 644356120.8267 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CH4 Import - NY 2040 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 758346581.876 | 758346581.876 | 758346581.876 | 758346581.876 | 758346581.876 | 758346581.876 | 758346581.876 | 758346581.876 | 758346581.876 | 758346581.876 | 0
CH4 Import - NY 2050 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CH4 Import - WC 2020 | 1887630786.0789 | 1887630786.0789 | 1887630786.0789 | 1887630786.0789 | 1887630786.0789 | 1887630786.0789 | 1887630786.0789 | 1887630786.0789 | 1887630786.0789 | 1887630786.0789 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CH4 Import - WC 2030 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2389799500.4952 | 2389799500.4952 | 2389799500.4952 | 2389799500.4952 | 2389799500.4952 | 2389799500.4952 | 2389799500.4952 | 2389799500.4952 | 2389799500.4952 | 2389799500.4952 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CH4 Import - WC 2040 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1127013410.4372 | 1127013410.4372 | 1127013410.4372 | 1127013410.4372 | 1127013410.4372 | 1127013410.4372 | 1127013410.4372 | 1127013410.4372 | 1127013410.4372 | 1127013410.4372 | 0
CH4 Import - WC 2050 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total | 2295420929.1632 | 2295420929.1632 | 2295420929.1632 | 2295420929.1632 | 2295420929.1632 | 2295420929.1632 | 2295420929.1632 | 2295420929.1632 | 2295420929.1632 | 2295420929.1632 | 3034155621.3219 | 3034155621.3219 | 3034155621.3219 | 3034155621.3219 | 3034155621.3219 | 3034155621.3219 | 3034155621.3219 | 3034155621.3219 | 3034155621.3219 | 3034155621.3219 | 1885359992.3132 | 1885359992.3132 | 1885359992.3132 | 1885359992.3132 | 1885359992.3132 | 1885359992.3132 | 1885359992.3132 | 1885359992.3132 | 1885359992.3132 | 1885359992.3132 | 0
Electrification Scenario - Annual commodity cost ($)
CH4 Imports | 2020 | 2030 | 2040 | 2050
Annual Cost ($CAD) | 2295420904.7329 | 3092970943.5464 | 1417344973.5472 | 0 | Sum all "FuelCost" rows for CH4 Imports from Pathway Costs
Annual Cost Scaled | 2295420904.7329 | 3088096332.0057 | 1413965232.333 | 0 | Scale for NG volumes (not including NG for power generation).
Year Range: | 2020-2030 | 2020-2030 | 2020-2030 | 2020-2030 | 2020-2030 | 2020-2030 | 2020-2030 | 2020-2030 | 2020-2030 | 2020-2030 | 2020-2030 | 2030-2040 | 2030-2040 | 2030-2040 | 2030-2040 | 2030-2040 | 2030-2040 | 2030-2040 | 2030-2040 | 2030-2040 | 2030-2040 | 2040-2050 | 2040-2050 | 2040-2050 | 2040-2050 | 2040-2050 | 2040-2050 | 2040-2050 | 2040-2050 | 2040-2050 | 2040-2050
Row Labels | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
CH4 Import - NY 2020 | 407790143.0843 | 407790143.0843 | 407790143.0843 | 407790143.0843 | 407790143.0843 | 407790143.0843 | 407790143.0843 | 407790143.0843 | 407790143.0843 | 407790143.0843 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CH4 Import - NY 2030 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 644356120.8267 | 644356120.8267 | 644356120.8267 | 644356120.8267 | 644356120.8267 | 644356120.8267 | 644356120.8267 | 644356120.8267 | 644356120.8267 | 644356120.8267 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CH4 Import - NY 2040 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 758346581.876 | 758346581.876 | 758346581.876 | 758346581.876 | 758346581.876 | 758346581.876 | 758346581.876 | 758346581.876 | 758346581.876 | 758346581.876 | 0
CH4 Import - NY 2050 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CH4 Import - WC 2020 | 1887630761.6486 | 1887630761.6486 | 1887630761.6486 | 1887630761.6486 | 1887630761.6486 | 1887630761.6486 | 1887630761.6486 | 1887630761.6486 | 1887630761.6486 | 1887630761.6486 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CH4 Import - WC 2030 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2448614822.7197 | 2448614822.7197 | 2448614822.7197 | 2448614822.7197 | 2448614822.7197 | 2448614822.7197 | 2448614822.7197 | 2448614822.7197 | 2448614822.7197 | 2448614822.7197 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CH4 Import - WC 2040 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 658998391.6712 | 658998391.6712 | 658998391.6712 | 658998391.6712 | 658998391.6712 | 658998391.6712 | 658998391.6712 | 658998391.6712 | 658998391.6712 | 658998391.6712 | 0
CH4 Import - WC 2050 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total | 2295420904.7329 | 2295420904.7329 | 2295420904.7329 | 2295420904.7329 | 2295420904.7329 | 2295420904.7329 | 2295420904.7329 | 2295420904.7329 | 2295420904.7329 | 2295420904.7329 | 3092970943.5464 | 3092970943.5464 | 3092970943.5464 | 3092970943.5464 | 3092970943.5464 | 3092970943.5464 | 3092970943.5464 | 3092970943.5464 | 3092970943.5464 | 3092970943.5464 | 1417344973.5472 | 1417344973.5472 | 1417344973.5472 | 1417344973.5472 | 1417344973.5472 | 1417344973.5472 | 1417344973.5472 | 1417344973.5472 | 1417344973.5472 | 1417344973.5472 | 0
Fossil gas with CCS
Diversified Scenario - Annual commodity cost ($)
CH4 Imports | 2020 | 2030 | 2040 | 2050
Annual Cost ($CAD) | 0 | 171398728.1399 | 483825119.2369 | 566886243.9004 | Sum "FuelCost" rows for CH4+CCS from Pathway Costs
Annual Cost Scaled | 0 | 171398728.1399 | 483825119.2369 | 566886243.9004 | No scaling needed since CH4+CCS has it's own fuel costs
| 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
CH4 + CCS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 226828319.2962 | 226828194.1083 | 226828194.1083 | 226828194.1083 | 226828194.1083 | 226828194.1083 | 226828194.1083 | 226828194.1083 | 226828194.1083 | 226828194.1083 | 618297871.5433 | 618297871.5433 | 618297871.5433 | 618297871.5433 | 618297871.5433 | 618297871.5433 | 618297871.5433 | 618297871.5433 | 618297871.5433 | 618297871.5433 | 724444731.2574
CONE | [10 empty] | 125.1879 | [9 empty] | 0 | [9 empty] | 0.97206
EmissionsCost | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 36250644.3017 | 36250644.3017 | 36250644.3017 | 36250644.3017 | 36250644.3017 | 36250644.3017 | 36250644.3017 | 36250644.3017 | 36250644.3017 | 36250644.3017 | 88472420.6398 | 88472420.6398 | 88472420.6398 | 88472420.6398 | 88472420.6398 | 88472420.6398 | 88472420.6398 | 88472420.6398 | 88472420.6398 | 88472420.6398 | 103661005.2499
Flex Adder | [10 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
FOM | [10 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
FuelCost | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 171398728.1399 | 171398728.1399 | 171398728.1399 | 171398728.1399 | 171398728.1399 | 171398728.1399 | 171398728.1399 | 171398728.1399 | 171398728.1399 | 171398728.1399 | 483825119.2369 | 483825119.2369 | 483825119.2369 | 483825119.2369 | 483825119.2369 | 483825119.2369 | 483825119.2369 | 483825119.2369 | 483825119.2369 | 483825119.2369 | 566886243.9004
VOM | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 19178821.6667 | 19178821.6667 | 19178821.6667 | 19178821.6667 | 19178821.6667 | 19178821.6667 | 19178821.6667 | 19178821.6667 | 19178821.6667 | 19178821.6667 | 46000331.6667 | 46000331.6667 | 46000331.6667 | 46000331.6667 | 46000331.6667 | 46000331.6667 | 46000331.6667 | 46000331.6667 | 46000331.6667 | 46000331.6667 | 53897481.135
Electrification Scenario - Annual commodity cost ($)
CH4 Imports | 2020 | 2030 | 2040 | 2050
Annual Cost ($CAD) | 0 | 0 | 271488076.3116 | 436021155.8141 | Sum all "FuelCost" rows for CH4 Imports from Pathway Costs
Annual Cost Scaled | 0 | 0 | 271488076.3116 | 436021155.8141 | No scaling needed since CH4+CCS has it's own fuel costs
| 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
CH4 + CCS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 381695662.0079 | 381695653.017 | 381695653.017 | 381695653.017 | 381695653.017 | 381695653.017 | 381695653.017 | 381695653.017 | 381695653.017 | 381695653.017 | 613019117.4083
CONE | [10 empty] | 0 | [9 empty] | 8.9909 | [9 empty] | 4.1613
EmissionsCost | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 84395478.3721 | 84395478.3721 | 84395478.3721 | 84395478.3721 | 84395478.3721 | 84395478.3721 | 84395478.3721 | 84395478.3721 | 84395478.3721 | 84395478.3721 | 135542652.6469
Flex Adder | [10 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
FOM | [10 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
FuelCost | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 271488076.3116 | 271488076.3116 | 271488076.3116 | 271488076.3116 | 271488076.3116 | 271488076.3116 | 271488076.3116 | 271488076.3116 | 271488076.3116 | 271488076.3116 | 436021155.8141
VOM | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 25812098.3333 | 25812098.3333 | 25812098.3333 | 25812098.3333 | 25812098.3333 | 25812098.3333 | 25812098.3333 | 25812098.3333 | 25812098.3333 | 25812098.3333 | 41455304.7861
Fossil gas - annual costs
Diversified Scenario - Annual cost ($)
| 2020 | 2030 | 2040 | 2050
Annual CH4 Cost ($CAD) | 3884709419.8882 | 9627659429.4429 | 5427649551.5609 | 0 | Sum all rows for CH4 Imports from Pathway Costs
Annual CH4 Cost Scaled | 3884709419.8882 | 9616415721.6363 | 5413764112.006 | 0 | Scale this for NG volumes (not including NG for power generation)
Annual Gas Storage Costs | 691417.795 | 0 | 0 | 0 | Gas storage costs for CH4 Salt Cavern Storage
Annual CH4 Pipeline Costs | 775556548.9 | 650634544.5038 | 348860388.5658 | 0 | CH4 Pipeline Costs
Total | 4660957386.5832 | 10267050266.1401 | 5762624500.5718 | 0
Diversified Scenario - All CH4 Costs
Year Range: | 2020-2030 | 2020-2030 | 2020-2030 | 2020-2030 | 2020-2030 | 2020-2030 | 2020-2030 | 2020-2030 | 2020-2030 | 2020-2030 | 2020-2030 | 2030-2040 | 2030-2040 | 2030-2040 | 2030-2040 | 2030-2040 | 2030-2040 | 2030-2040 | 2030-2040 | 2030-2040 | 2030-2040 | 2040-2050 | 2040-2050 | 2040-2050 | 2040-2050 | 2040-2050 | 2040-2050 | 2040-2050 | 2040-2050 | 2040-2050 | 2040-2050
Row Labels | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
CH4 Import - NY 2020 | 690133208.2715 | 690133208.2715 | 690133208.2715 | 690133208.2715 | 690133208.2715 | 690133208.2715 | 690133208.2715 | 690133208.2715 | 690133208.2715 | 690133208.2715 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CH4 Import - NY 2030 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2044602207.9427 | 2044602207.9427 | 2044602207.9427 | 2044602207.9427 | 2044602207.9427 | 2044602207.9427 | 2044602207.9427 | 2044602207.9427 | 2044602207.9427 | 2044602207.9427 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CH4 Import - NY 2040 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2183158389.8186 | 2183158389.8186 | 2183158389.8186 | 2183158389.8186 | 2183158389.8186 | 2183158389.8186 | 2183158389.8186 | 2183158389.8186 | 2183158389.8186 | 2183158389.8186 | 0
CH4 Import - NY 2050 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CH4 Import - WC 2020 | 3194576211.6167 | 3194576211.6167 | 3194576211.6167 | 3194576211.6167 | 3194576211.6167 | 3194576211.6167 | 3194576211.6167 | 3194576211.6167 | 3194576211.6167 | 3194576211.6167 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CH4 Import - WC 2030 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7583057221.5002 | 7583057221.5002 | 7583057221.5002 | 7583057221.5002 | 7583057221.5002 | 7583057221.5002 | 7583057221.5002 | 7583057221.5002 | 7583057221.5002 | 7583057221.5002 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CH4 Import - WC 2040 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3244491161.7423 | 3244491161.7423 | 3244491161.7423 | 3244491161.7423 | 3244491161.7423 | 3244491161.7423 | 3244491161.7423 | 3244491161.7423 | 3244491161.7423 | 3244491161.7423 | 0
CH4 Import - WC 2050 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total | 3884709419.8882 | 3884709419.8882 | 3884709419.8882 | 3884709419.8882 | 3884709419.8882 | 3884709419.8882 | 3884709419.8882 | 3884709419.8882 | 3884709419.8882 | 3884709419.8882 | 9627659429.4429 | 9627659429.4429 | 9627659429.4429 | 9627659429.4429 | 9627659429.4429 | 9627659429.4429 | 9627659429.4429 | 9627659429.4429 | 9627659429.4429 | 9627659429.4429 | 5427649551.5609 | 5427649551.5609 | 5427649551.5609 | 5427649551.5609 | 5427649551.5609 | 5427649551.5609 | 5427649551.5609 | 5427649551.5609 | 5427649551.5609 | 5427649551.5609 | 0
Diversified Scenario - Gas Storage Costs
CH4 Salt Cavern Storage - ON | 691417.795 | 691417.795 | 691417.795 | 691417.795 | 691417.795 | 691417.795 | 691417.795 | 691417.795 | 691417.795 | 691417.795 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Electrification Scenario - Annual cost ($)
| 2020 | 2030 | 2040 | 2050
Annual CH4 Cost ($CAD) | 3884709378.543 | 14474987268.5691 | 5944384237.9848 | 0 | Sum all rows for CH4 Imports from Pathway Costs
Annual CH4 Cost Scaled | 3884709378.543 | 14452174270.5555 | 5930209509.3359 | 0 | Scale this for NG volumes (not including NG for power generation)
Annual Gas Storage Costs | 691417.653 | 1318707.6423 | 0 | 0 | Gas storage costs for CH4 Salt Cavern Storage
Annual CH4 Pipeline Costs | 775556540.7665 | 663023559.0369 | 265069140.1859 | 0 | CH4 Pipeline Costs
Total | 4660957336.9626 | 15116516537.2347 | 6195278649.5218 | 0
Electrification Scenario - All CH4 Costs
Year Range: | 2020-2030 | 2020-2030 | 2020-2030 | 2020-2030 | 2020-2030 | 2020-2030 | 2020-2030 | 2020-2030 | 2020-2030 | 2020-2030 | 2020-2030 | 2030-2040 | 2030-2040 | 2030-2040 | 2030-2040 | 2030-2040 | 2030-2040 | 2030-2040 | 2030-2040 | 2030-2040 | 2030-2040 | 2040-2050 | 2040-2050 | 2040-2050 | 2040-2050 | 2040-2050 | 2040-2050 | 2040-2050 | 2040-2050 | 2040-2050 | 2040-2050
Row Labels | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
CH4 Import - NY 2020 | 690133208.2715 | 690133208.2715 | 690133208.2715 | 690133208.2715 | 690133208.2715 | 690133208.2715 | 690133208.2715 | 690133208.2715 | 690133208.2715 | 690133208.2715 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CH4 Import - NY 2030 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3015562323.6139 | 3015562323.6139 | 3015562323.6139 | 3015562323.6139 | 3015562323.6139 | 3015562323.6139 | 3015562323.6139 | 3015562323.6139 | 3015562323.6139 | 3015562323.6139 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CH4 Import - NY 2040 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3180526655.3784 | 3180526655.3784 | 3180526655.3784 | 3180526655.3784 | 3180526655.3784 | 3180526655.3784 | 3180526655.3784 | 3180526655.3784 | 3180526655.3784 | 3180526655.3784 | 0
CH4 Import - NY 2050 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CH4 Import - WC 2020 | 3194576170.2715 | 3194576170.2715 | 3194576170.2715 | 3194576170.2715 | 3194576170.2715 | 3194576170.2715 | 3194576170.2715 | 3194576170.2715 | 3194576170.2715 | 3194576170.2715 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CH4 Import - WC 2030 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 11459424944.9552 | 11459424944.9552 | 11459424944.9552 | 11459424944.9552 | 11459424944.9552 | 11459424944.9552 | 11459424944.9552 | 11459424944.9552 | 11459424944.9552 | 11459424944.9552 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CH4 Import - WC 2040 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2763857582.6064 | 2763857582.6064 | 2763857582.6064 | 2763857582.6064 | 2763857582.6064 | 2763857582.6064 | 2763857582.6064 | 2763857582.6064 | 2763857582.6064 | 2763857582.6064 | 0
CH4 Import - WC 2050 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total | 3884709378.543 | 3884709378.543 | 3884709378.543 | 3884709378.543 | 3884709378.543 | 3884709378.543 | 3884709378.543 | 3884709378.543 | 3884709378.543 | 3884709378.543 | 14474987268.5691 | 14474987268.5691 | 14474987268.5691 | 14474987268.5691 | 14474987268.5691 | 14474987268.5691 | 14474987268.5691 | 14474987268.5691 | 14474987268.5691 | 14474987268.5691 | 5944384237.9848 | 5944384237.9848 | 5944384237.9848 | 5944384237.9848 | 5944384237.9848 | 5944384237.9848 | 5944384237.9848 | 5944384237.9848 | 5944384237.9848 | 5944384237.9848 | 0
Electrification Scenario - Gas Storage Costs
CH4 Salt Cavern Storage - ON | 691417.653 | 691417.653 | 691417.653 | 691417.653 | 691417.653 | 691417.653 | 691417.653 | 691417.653 | 691417.653 | 691417.653 | 1318707.6423 | 1318707.6423 | 1318707.6423 | 1318707.6423 | 1318707.6423 | 1318707.6423 | 1318707.6423 | 1318707.6423 | 1318707.6423 | 1318707.6423 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Fossil gas with CCS - annual costs
Diversified Scenario - Annual cost ($)
| 2020 | 2030 | 2040 | 2050
Annual CH4+CCS Cost ($CAD) | 0 | 226828194.1083 | 618297871.5433 | 724444730.2853 | Sum all rows for SupplyTechCosts tab CH4+CCS from Pathway Costs
Annual CH4 Pipeline Costs | 0 | 40127835.2452 | 96246461.9791 | 112769662.3237 | CH4 Pipeline Costs scaled for CH4+CCS
Total | 0 | 266956029.3535 | 714544333.5225 | 837214392.609
Diversified Scenario - CH4 + CCS Costs
Year Range: | 2020-2030 | 2020-2030 | 2020-2030 | 2020-2030 | 2020-2030 | 2020-2030 | 2020-2030 | 2020-2030 | 2020-2030 | 2020-2030 | 2020-2030 | 2030-2040 | 2030-2040 | 2030-2040 | 2030-2040 | 2030-2040 | 2030-2040 | 2030-2040 | 2030-2040 | 2030-2040 | 2030-2040 | 2040-2050 | 2040-2050 | 2040-2050 | 2040-2050 | 2040-2050 | 2040-2050 | 2040-2050 | 2040-2050 | 2040-2050 | 2040-2050
Row Labels | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
EmissionsCost | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 36250644.3017 | 36250644.3017 | 36250644.3017 | 36250644.3017 | 36250644.3017 | 36250644.3017 | 36250644.3017 | 36250644.3017 | 36250644.3017 | 36250644.3017 | 88472420.6398 | 88472420.6398 | 88472420.6398 | 88472420.6398 | 88472420.6398 | 88472420.6398 | 88472420.6398 | 88472420.6398 | 88472420.6398 | 88472420.6398 | 103661005.2499
FOM | [10 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
FuelCost | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 171398728.1399 | 171398728.1399 | 171398728.1399 | 171398728.1399 | 171398728.1399 | 171398728.1399 | 171398728.1399 | 171398728.1399 | 171398728.1399 | 171398728.1399 | 483825119.2369 | 483825119.2369 | 483825119.2369 | 483825119.2369 | 483825119.2369 | 483825119.2369 | 483825119.2369 | 483825119.2369 | 483825119.2369 | 483825119.2369 | 566886243.9004
VOM | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 19178821.6667 | 19178821.6667 | 19178821.6667 | 19178821.6667 | 19178821.6667 | 19178821.6667 | 19178821.6667 | 19178821.6667 | 19178821.6667 | 19178821.6667 | 46000331.6667 | 46000331.6667 | 46000331.6667 | 46000331.6667 | 46000331.6667 | 46000331.6667 | 46000331.6667 | 46000331.6667 | 46000331.6667 | 46000331.6667 | 53897481.135
Total | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 226828194.1083 | 226828194.1083 | 226828194.1083 | 226828194.1083 | 226828194.1083 | 226828194.1083 | 226828194.1083 | 226828194.1083 | 226828194.1083 | 226828194.1083 | 618297871.5433 | 618297871.5433 | 618297871.5433 | 618297871.5433 | 618297871.5433 | 618297871.5433 | 618297871.5433 | 618297871.5433 | 618297871.5433 | 618297871.5433 | 724444730.2853
Electrification Scenario - Annual cost ($)
| 2020 | 2030 | 2040 | 2050
Annual CH4+CCS Cost ($CAD) | 0 | 0 | 381695653.017 | 613019113.247 | Sum all rows for SupplyTechCosts tab CH4+CCS from Pathway Costs
Annual CH4 Pipeline Costs | 0 | 0 | 54006635.4052 | 86736905.3954 | CH4 Pipeline Costs scaled for CH4+CCS
Total | 0 | 0 | 435702288.4222 | 699756018.6424
Electrification Scenario - CH4 + CCS Costs
Year Range: | 2020-2030 | 2020-2030 | 2020-2030 | 2020-2030 | 2020-2030 | 2020-2030 | 2020-2030 | 2020-2030 | 2020-2030 | 2020-2030 | 2020-2030 | 2030-2040 | 2030-2040 | 2030-2040 | 2030-2040 | 2030-2040 | 2030-2040 | 2030-2040 | 2030-2040 | 2030-2040 | 2030-2040 | 2040-2050 | 2040-2050 | 2040-2050 | 2040-2050 | 2040-2050 | 2040-2050 | 2040-2050 | 2040-2050 | 2040-2050 | 2040-2050
Row Labels | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
EmissionsCost | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 84395478.3721 | 84395478.3721 | 84395478.3721 | 84395478.3721 | 84395478.3721 | 84395478.3721 | 84395478.3721 | 84395478.3721 | 84395478.3721 | 84395478.3721 | 135542652.6469
FOM | [10 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
FuelCost | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 271488076.3116 | 271488076.3116 | 271488076.3116 | 271488076.3116 | 271488076.3116 | 271488076.3116 | 271488076.3116 | 271488076.3116 | 271488076.3116 | 271488076.3116 | 436021155.8141
VOM | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 25812098.3333 | 25812098.3333 | 25812098.3333 | 25812098.3333 | 25812098.3333 | 25812098.3333 | 25812098.3333 | 25812098.3333 | 25812098.3333 | 25812098.3333 | 41455304.7861
Total | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 381695653.017 | 381695653.017 | 381695653.017 | 381695653.017 | 381695653.017 | 381695653.017 | 381695653.017 | 381695653.017 | 381695653.017 | 381695653.017 | 613019113.247
RNG - annual costs
Diversified Scenario - Annual cost ($)
| 2020 | 2030 | 2040 | 2050
Annual Anaerobic Digestion Cost ($CAD) | 0 | 1015030728.7618 | 2058046393.5662 | 3769506262.0093 | Sum all rows for SupplyTechCosts tab Anaerobic Digestion from Pathway Costs
Annual CH4 Pipeline Costs | 0 | 37110704.7756 | 76635113.9269 | 143011984.2574 | CH4 Pipeline Costs Scaled for RNG
Total | 0 | 1052141433.5374 | 2134681507.4931 | 3912518246.2667
Diversified Scenario - Anaerobic Digestion Costs
Year Range: | 2020-2030 | 2020-2030 | 2020-2030 | 2020-2030 | 2020-2030 | 2020-2030 | 2020-2030 | 2020-2030 | 2020-2030 | 2020-2030 | 2020-2030 | 2030-2040 | 2030-2040 | 2030-2040 | 2030-2040 | 2030-2040 | 2030-2040 | 2030-2040 | 2030-2040 | 2030-2040 | 2030-2040 | 2040-2050 | 2040-2050 | 2040-2050 | 2040-2050 | 2040-2050 | 2040-2050 | 2040-2050 | 2040-2050 | 2040-2050 | 2040-2050
Row Labels | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
CONE | [10 empty] | 527003330.2087 | [9 empty] | 294003793.5853 | [9 empty] | 44886075.3565
Lifetime | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 24 | 23 | 22 | 21 | 20 | 19 | 18 | 17 | 16 | 15 | 14 | 13 | 12 | 11 | 10 | 9 | 8 | 7 | 6 | 5 | 4 | 3 | 2 | 1
CAPEX/yr | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 25095396.6766 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 26727617.5987 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 44886075.3565
Annualized CONE | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 25095396.6766 | 25095396.6766 | 25095396.6766 | 25095396.6766 | 25095396.6766 | 25095396.6766 | 25095396.6766 | 25095396.6766 | 25095396.6766 | 25095396.6766 | 51823014.2753 | 51823014.2753 | 51823014.2753 | 51823014.2753 | 51823014.2753 | 51823014.2753 | 51823014.2753 | 51823014.2753 | 51823014.2753 | 51823014.2753 | 96709089.6318
EmissionsCost | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1840449.9197 | 1840449.9197 | 1840449.9197 | 1840449.9197 | 1840449.9197 | 1840449.9197 | 1840449.9197 | 1840449.9197 | 1840449.9197 | 1840449.9197 | 3867281.1607 | 3867281.1607 | 3867281.1607 | 3867281.1607 | 3867281.1607 | 3867281.1607 | 3867281.1607 | 3867281.1607 | 3867281.1607 | 3867281.1607 | 7216894.7644
Flex Adder | [10 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
FOM | [10 empty] | 125864882.1654 | 125864882.1654 | 125864882.1654 | 125864882.1654 | 125864882.1654 | 125864882.1654 | 125864882.1654 | 125864882.1654 | 125864882.1654 | 125864882.1654 | 259916098.1302 | 259916098.1302 | 259916098.1302 | 259916098.1302 | 259916098.1302 | 259916098.1302 | 259916098.1302 | 259916098.1302 | 259916098.1302 | 259916098.1302 | 485040277.6131
FuelCost | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
VOM | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 862230000 | 862230000 | 862230000 | 862230000 | 862230000 | 862230000 | 862230000 | 862230000 | 862230000 | 862230000 | 1742440000 | 1742440000 | 1742440000 | 1742440000 | 1742440000 | 1742440000 | 1742440000 | 1742440000 | 1742440000 | 1742440000 | 3180540000
Total | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1015030728.7618 | 1015030728.7618 | 1015030728.7618 | 1015030728.7618 | 1015030728.7618 | 1015030728.7618 | 1015030728.7618 | 1015030728.7618 | 1015030728.7618 | 1015030728.7618 | 2058046393.5662 | 2058046393.5662 | 2058046393.5662 | 2058046393.5662 | 2058046393.5662 | 2058046393.5662 | 2058046393.5662 | 2058046393.5662 | 2058046393.5662 | 2058046393.5662 | 3769506262.0093
Electrification Scenario - Annual cost ($)
| 2020 | 2030 | 2040 | 2050
Annual Anaerobic Digestion Cost ($CAD) | 0 | 0 | 1330565245.7563 | 1600603746.3233 | Sum all rows for SupplyTechCosts tab Anaerobic Digestion from Pathway Costs
Annual CH4 Pipeline Costs | 0 | 0 | 49480939.7009 | 60644322.4383 | CH4 Pipeline Costs Scaled for RNG
Total | 0 | 0 | 1380046185.4572 | 1661248068.7615
Electrification Scenario - Anaerobic Digestion Costs
Year Range: | 2020-2030 | 2020-2030 | 2020-2030 | 2020-2030 | 2020-2030 | 2020-2030 | 2020-2030 | 2020-2030 | 2020-2030 | 2020-2030 | 2020-2030 | 2030-2040 | 2030-2040 | 2030-2040 | 2030-2040 | 2030-2040 | 2030-2040 | 2030-2040 | 2030-2040 | 2030-2040 | 2030-2040 | 2040-2050 | 2040-2050 | 2040-2050 | 2040-2050 | 2040-2050 | 2040-2050 | 2040-2050 | 2040-2050 | 2040-2050 | 2040-2050
Row Labels | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
CONE | [10 empty] | 0 | [9 empty] | 368065817.9235 | [9 empty] | 7549021.7645
Lifetime | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 24 | 23 | 22 | 21 | 20 | 19 | 18 | 17 | 16 | 15 | 14 | 13 | 12 | 11 | 10 | 9 | 8 | 7 | 6 | 5 | 4 | 3 | 2 | 1
CAPEX/yr | [10 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 33460528.9021 | [9 empty] | 7549021.7645
Annualized CONE | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 33460528.9021 | 33460528.9021 | 33460528.9021 | 33460528.9021 | 33460528.9021 | 33460528.9021 | 33460528.9021 | 33460528.9021 | 33460528.9021 | 33460528.9021 | 41009550.6666
EmissionsCost | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4244873.9669 | 4244873.9669 | 4244873.9669 | 4244873.9669 | 4244873.9669 | 4244873.9669 | 4244873.9669 | 4244873.9669 | 4244873.9669 | 4244873.9669 | 5202558.9473
FOM | [10 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 167819842.8872 | 167819842.8872 | 167819842.8872 | 167819842.8872 | 167819842.8872 | 167819842.8872 | 167819842.8872 | 167819842.8872 | 167819842.8872 | 167819842.8872 | 205681636.7093
FuelCost | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
VOM | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1125040000 | 1125040000 | 1125040000 | 1125040000 | 1125040000 | 1125040000 | 1125040000 | 1125040000 | 1125040000 | 1125040000 | 1348710000
Total | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1330565245.7563 | 1330565245.7563 | 1330565245.7563 | 1330565245.7563 | 1330565245.7563 | 1330565245.7563 | 1330565245.7563 | 1330565245.7563 | 1330565245.7563 | 1330565245.7563 | 1600603746.3233
Scaling factors for CH4 Pipeline
Diversified | [10 empty] | Electrification
Imports (PJs) | 2020 | 2030 | 2040 | 2050 | Scale | 2020 | 2030 | 2040 | 2050 |  | Imports (PJs) | 2020 | 2030 | 2040 | 2050 | Scale | 2020 | 2030 | 2040 | 2050
NG for end users | 925.3862 | 776.3285 | 416.2556 | 0 | NG for end users | 100% | 73.86% | 43.41% | 0% |  | NG for end users | 925.3862 | 791.1155 | 316.277 | 0 | NG for end users | 100% | 90.01% | 52.3% | 0%
NG Feedstock for SMR | 0 | 225.9497 | 426.8327 | 418.6491 | NG Feedstock for SMR | 0% | 21.5% | 44.51% | 75.68% |  | NG Feedstock for SMR | 0 | 86.5654 | 223.3078 | 223.3078 | NG Feedstock for SMR | 0% | 9.849% | 36.92% | 68.33%
CH4 + CCS | 0 | 47.88 | 114.84 | 134.5553 | CH4 + CCS | 0% | 4.555% | 11.98% | 24.32% |  | CH4 + CCS | 0 | 0 | 64.44 | 103.4933 | CH4 + CCS | 0% | 0% | 10.66% | 31.67%
NG for power generation | 0 | 0.9077 | 1.0676 | 0 | NG for power generation | 0% | 0.08636% | 0.1113% | 0% |  | NG for power generation | 0 | 1.2488 | 0.75598 | 0 | NG for power generation | 0% | 0.1421% | 0.125% | 0%
Total | 925.3862 | 1051.0659 | 958.9959 | 553.2043 | [6 empty] | Total | 925.3862 | 878.9297 | 604.7808 | 326.8011
Scaling factors for CH4 Imports
Diversified | [10 empty] | Electrification
Imports (PJs) | 2020 | 2030 | 2040 | 2050 | Scale | 2020 | 2030 | 2040 | 2050 |  | Imports (PJs) | 2020 | 2030 | 2040 | 2050 | Scale | 2020 | 2030 | 2040 | 2050
NG for end users | 925.3862 | 776.3285 | 416.2556 | 0 | NG for end users | 100% | 99.88% | 99.74% | 0% |  | NG for end users | 925.3862 | 791.1155 | 316.277 | 0 | NG for end users | 100% | 99.84% | 99.76% | 0%
NG for power generation | 0 | 0.9077 | 1.0676 | 0 | NG for power generation | 0% | 0.1168% | 0.2558% | 0% |  | NG for power generation | 0 | 1.2488 | 0.75598 | 0 | NG for power generation | 0% | 0.1576% | 0.2385% | 0%
Total | 925.3862 | 777.2362 | 417.3232 | 0 | [6 empty] | Total | 925.3862 | 792.3643 | 317.033 | 0