## Sheet1
Asset Class | Total Population | Very Good | Good | Fair | Poor | Very Poor | Number of asset with HI extrapolated (already included in columns D-H) | Insufficent Data | Average HI | Average DAI
Station Power Transformers | 13 | 4 | 3 | 4 | 2 | 0 | 0 | 0 | 72.99% | 94.23%
Station Power Tranformer Tap Changers | 13 | 4 | 2 | 6 | 1 | 0 | 0 | 0 | 71.15% | 100%
Station Lightning Arresters | 26 | 18 | 1 | 1 | 1 | 0 | 0 | 5 | 93.75% | 92.79%
Station Service Transformers | 12 | 9 | 3 | 0 | 0 | 0 | 0 | 0 | 90.42% | 100%
Station Switches | 38 | 30 | 6 | 0 | 0 | 2 | 0 | 0 | 90.4% | 91.39%
Station Power Fuses | 9 | 6 | 2 | 1 | 0 | 0 | 0 | 0 | 90% | 85%
Station Reclosers | 30 | 23 | 7 | 0 | 0 | 0 | 0 | 0 | 88.5% | 100%
Station Facilities | 10 | 5 | 3 | 1 | 1 | 0 | 0 | 0 | 79% | 96%
Station Ground Grids | 10 | 7 | 0 | 0 | 0 | 3 | 0 | 0 | 70% | 100%
Distribution SCADA Mate Switches | 6 | 3 | 3 | 0 | 0 | 0 | 0 | 0 | 77.5% | 100%
Distribution Motorized 44kV Switches | 36 | 4 | 16 | 15 | 1 | 0 | 0 | 0 | 88.89% | 100%
Distribution Capacitors | 9 | 3 | 6 |  |  |  | 0 | 0 | 79.17% | 100%
Distribution Line Reclosers | 27 | 0 | 8 | 7 | 12 | 0 | 0 | 0 | 57.58% | 100%
Distribution Padmount Switchgear | 67 | 50 | 9 | 8 | 0 | 0 | 0 | 0 | 87% | 100%
Distribution Polemount Transformers | 2176 | 256 | 644 | 1147 | 123 | 7 | 97 | 0 | 68.8% | 98.45%
Distribution Padmount Transformers | 1478 | 517 | 635 | 189 | 1 | 0 | 137 | 0 | 83.12% | 96.91%
Distribution Wood Poles | 10044 | 3131 | 2771 | 2054 | 1946 | 142 | 2704 | 0 | 70.24% | 100%