## Sheet1
| PRE-PANDEMIC | DURING PANDEMIC (Watay & EWT) | POST-PANDEMIC (Watay Group 2 - incl. 10% trailing loss) | POST-PANDEMIC (Watay Group 2 - NO trailing loss)
ASSEMBLY | ACTUAL | ACTUAL | ACTUAL | ACTUAL
Manhours | 728853.12 | 956081 | 64402 | 70842
Weight | 38120416.9 | 28172209 | 2943894 | 2943894
Assembly (kg per manhour) | 52.3019 | 29.4663 | 45.7113 | 41.94
ERECTION | ACTUAL | ACTUAL | ACTUAL | ACTUAL
Manhours | 235973.51 | 440683 | 28966 | 31863
Weight (kg) | 38120416.6382 | 27373838 | 2992766 | 2992766
Erection (kg per manhour) | 161.5453 | 62.1168 | 104.4748 | 104.4748
STRINGING | ACTUAL | ACTUAL | ACTUAL | ACTUAL
Stringing Hours | 654414.95 | 468795 | 94543 | 103863
Line length (m) | 1120512.229 | 913230 | 303409.354 | 303409.354
conductor length (m) | 12376879.937 | 5434530 | 1880562 | 1880562
Stringing (meters per manhour) | 18.9129 | 11.5926 | 19.8911 | 18.1062
| 55.0 Units Per Hour | 32.7 Units Per Hour | 41.6 Units Per Hour | 31.0 Units Per Hour
| Budget Gain | Budget Loss | Budget Gain | Budget Gain
Total Actual Hours (from above) | 1619241.58 | 1865559 | 187911 | 206568
Total Actual Units (from above) | 88617713.4752 | 60980577 | 7817222 | 7817222
Actual Units per Hour (units ÷ hours) | 54.7279 | 32.6876 | 41.6007 | 37.8433
Total Budgeted Hours (from table on page 48) | 2160288 | 1420889 | 252304 | 252304
Total Actual Units (from table on page 48) | 88620356 | 60980685 | 7817222 | 7817222
Budgeted Units per Hour (units ÷ hours) | 41.0225 | 42.9173 | 30.9833 | 30.9833
Actual Hours versus Budget Hours | Budget Gain | Budget Loss | Budget Gain | Budget Gain
| 55 units per hour actual vs. 41 units per hour Budgeted (25% budget gain) | 33 units per hour actual vs. 43 units per hour Budgeted (31% budget loss) | 42 units per hour actual vs. 31 units per hour Budgeted (26% budget gain) | 42 units per hour actual vs. 31 units per hour Budgeted (18% budget gain)
| 0.25045 | -0.31295 | 0.25522 | 0.18127