## GS Classes
| GS 50-999 kW | [6 empty] | GS 1,000 - 4,9999 kW | [6 empty] | Large Use
| Hours Used (Energy and Demand Relationship) | Power Factors | Hours Used - % Change | Power Factors - % Change | Forecast kWh | Forecast kW | Forecast kVA | Hours Used (Energy and Demand Relationship) | Power Factors | Hours Used - % Change | Power Factors - % Change | Forecast kWh | Forecast kW | Forecast kVA | Hours Used (Energy and Demand Relationship) | Power Factors | Hours Used - % Change | Power Factors - % Change | Forecast kWh | Forecast kW | Forecast kVA
2018-01-01 | 473.0466 | 94.12% | 0.7895% | 0.4573% |  |  |  | 541.0716 | 93.84% | 1.489% | 0.6466% |  |  |  | 494.4665 | 93.45% | -1.203% | 0.1006%
2018-02-01 | 431.5474 | 93.72% | 2.042% | 0.06234% |  |  |  | 485.0392 | 93.75% | 0.54% | 0.7169% |  |  |  | 439.3387 | 93.19% | -1.082% | -0.3423%
2018-03-01 | 477.0371 | 93.38% | 1.052% | -0.07799% |  |  |  | 542.9561 | 93.42% | 0.5552% | 0.2236% |  |  |  | 485.4727 | 93.07% | -0.3712% | -0.5067%
2018-04-01 | 441.6061 | 92.86% | 2.965% | 0.7776% |  |  |  | 508.3132 | 93.44% | 2.827% | 0.7534% |  |  |  | 470.3162 | 92.97% | 2.426% | 0.198%
2018-05-01 | 423.1884 | 90.82% | 0.5782% | 0.009203% |  |  |  | 488.451 | 92.37% | -2.062% | 0.06104% |  |  |  | 451.987 | 92.78% | -2.302% | 0.2197%
2018-06-01 | 404.4745 | 90.51% | -5.031% | 0.1835% |  |  |  | 476.663 | 92.22% | -3.669% | 0.1154% |  |  |  | 441.9235 | 92.8% | -2.89% | 0.3355%
2018-07-01 | 460.3651 | 90.48% | 0.6365% | 0.336% |  |  |  | 511.5516 | 92.25% | 0.2722% | 0.2434% |  |  |  | 458.3216 | 92.89% | -0.965% | 0.4131%
2018-08-01 | 468.4302 | 90.48% | 3.211% | 0.4232% |  |  |  | 522.0014 | 92.14% | 1.515% | 0.03881% |  |  |  | 469.8535 | 93.13% | -0.01441% | 0.8633%
2018-09-01 | 412.0584 | 90.66% | -0.4041% | 0.3407% |  |  |  | 472.6817 | 92.45% | -0.2854% | 0.3363% |  |  |  | 432.6249 | 92.9% | -1.662% | 0.5221%
2018-10-01 | 425.561 | 91.62% | 3.981% | 0.6269% |  |  |  | 492.4463 | 92.75% | -1.292% | 0.2912% |  |  |  | 457.4068 | 93.17% | -2.652% | 0.699%
2018-11-01 | 455.5427 | 93.4% | 2.212% | 0.6004% |  |  |  | 520.0094 | 93.4% | -0.07349% | 0.277% |  |  |  | 475.8224 | 93.42% | 0.7592% | 0.3735%
2018-12-01 | 474.1403 | 93.62% | 1.368% | -0.4098% |  |  |  | 524.3233 | 93.36% | 1.191% | -0.279% |  |  |  | 480.9214 | 93.21% | 0.3433% | -0.1657%
2019-01-01 | 470.0836 | 94.21% | -0.6264% | 0.09117% |  |  |  | 532.8093 | 93.89% | -1.527% | 0.05691% |  |  |  | 468.2632 | 93.71% | -5.299% | 0.2803%
2019-02-01 | 430.2557 | 94.1% | -0.2993% | 0.409% |  |  |  | 487.44 | 93.78% | 0.495% | 0.02868% |  |  |  | 450.8403 | 93.78% | 2.618% | 0.6275%
2019-03-01 | 471.4819 | 93.72% | -1.165% | 0.3722% |  |  |  | 538.7274 | 93.56% | -0.7788% | 0.1478% |  |  |  | 479.8333 | 93.79% | -1.162% | 0.781%
2019-04-01 | 443.3178 | 92.73% | 0.3876% | -0.1415% |  |  |  | 508.37 | 93.13% | 0.01118% | -0.3269% |  |  |  | 457.8257 | 93.39% | -2.656% | 0.4515%
2019-05-01 | 441.8547 | 91.46% | 4.411% | 0.7032% |  |  |  | 512.9528 | 92.82% | 5.016% | 0.488% |  |  |  | 458.0471 | 93.33% | 1.341% | 0.594%
2019-06-01 | 423.668 | 90.44% | 4.745% | -0.08326% |  |  |  | 491.5425 | 92.27% | 3.122% | 0.05503% |  |  |  | 429.924 | 93.37% | -2.715% | 0.6098%
2019-07-01 | 473.6504 | 90.48% | 2.886% | 0.00077% |  |  |  | 514.9815 | 92.24% | 0.6705% | -0.01217% |  |  |  | 462.7896 | 93.29% | 0.9749% | 0.4338%
2019-08-01 | 458.1632 | 90.38% | -2.192% | -0.1058% |  |  |  | 518.4853 | 92.09% | -0.6736% | -0.04733% |  |  |  | 456.5399 | 93.24% | -2.834% | 0.1226%
2019-09-01 | 416.8703 | 90.51% | 1.168% | -0.1665% |  |  |  | 486.9747 | 92.29% | 3.024% | -0.1678% |  |  |  | 435.4884 | 93.26% | 0.6619% | 0.3875%
2019-10-01 | 421.3945 | 91.39% | -0.9791% | -0.2526% |  |  |  | 484.2428 | 92.55% | -1.666% | -0.2095% |  |  |  | 446.5668 | 93.26% | -2.37% | 0.1026%
2019-11-01 | 448.1667 | 93.6% | -1.619% | 0.2183% |  |  |  | 516.3798 | 93.47% | -0.698% | 0.07606% |  |  |  | 468.4038 | 93.42% | -1.559% | 0.001574%
2019-12-01 | 465.6372 | 93.84% | -1.793% | 0.2375% |  |  |  | 513.0413 | 93.67% | -2.152% | 0.3229% |  |  |  | 467.5535 | 93.76% | -2.78% | 0.5925%
2020-01-01 | 476.5425 | 93.86% | 1.374% | -0.3702% |  |  |  | 536.1003 | 93.6% | 0.6177% | -0.3175% |  |  |  | 479.291 | 93.46% | 2.355% | -0.2657%
2020-02-01 | 445.0779 | 93.83% | 3.445% | -0.2871% |  |  |  | 500.5078 | 93.72% | 2.681% | -0.06627% |  |  |  | 464.9621 | 93.36% | 3.132% | -0.4426%
2020-03-01 | 464.2611 | 93.32% | -1.532% | -0.4352% |  |  |  | 512.4831 | 93.35% | -4.872% | -0.2231% |  |  |  | 466.9356 | 93.57% | -2.688% | -0.2346%
2020-04-01 | 455.3503 | 92.26% | 2.714% | -0.514% |  |  |  | 527.0644 | 92.99% | 3.677% | -0.1485% |  |  |  | 462.9403 | 93.16% | 1.117% | -0.2486%
2020-05-01 | 422.8055 | 90.91% | -4.311% | -0.595% |  |  |  | 477.7092 | 92.54% | -6.871% | -0.301% |  |  |  | 442.3477 | 93.17% | -3.427% | -0.1778%
2020-06-01 | 419.2994 | 90.37% | -1.031% | -0.07714% |  |  |  | 492.2197 | 92.26% | 0.1378% | -0.0169% |  |  |  | 448.0615 | 93.38% | 4.219% | 0.01188%
2020-07-01 | 477.1692 | 90.67% | 0.7429% | 0.2148% |  |  |  | 527.7131 | 92.15% | 2.472% | -0.09541% |  |  |  | 488.9175 | 93.28% | 5.646% | -0.01036%
2020-08-01 | 455.7003 | 90.46% | -0.5376% | 0.08874% |  |  |  | 521.235 | 92.13% | 0.5303% | 0.04178% |  |  |  | 481.0808 | 93.06% | 5.375% | -0.1977%
2020-09-01 | 410.6681 | 90.49% | -1.488% | -0.02286% |  |  |  | 495.4757 | 92.37% | 1.746% | 0.08223% |  |  |  | 462.6697 | 93.07% | 6.242% | -0.2006%
2020-10-01 | 440.3174 | 91.43% | 4.491% | 0.05101% |  |  |  | 520.6428 | 92.68% | 7.517% | 0.1432% |  |  |  | 477.8404 | 93.27% | 7.003% | 0.003942%
2020-11-01 | 441.2748 | 92.75% | -1.538% | -0.9128% |  |  |  | 515.2216 | 92.84% | -0.2243% | -0.6754% |  |  |  | 472.0328 | 93.07% | 0.7747% | -0.3705%
2020-12-01 | 475.3402 | 93.48% | 2.084% | -0.3781% |  |  |  | 537.854 | 93.34% | 4.836% | -0.3506% |  |  |  | 494.5845 | 92.35% | 5.781% | -1.51%
2021-01-01 | 483.1123 | 93.63% | 1.379% | -0.2494% |  |  |  | 547.1541 | 93.45% | 2.062% | -0.1597% |  |  |  | 496.3508 | 92.91% | 3.559% | -0.589%
2021-02-01 | 445.9577 | 93.75% | 0.1977% | -0.08225% |  |  |  | 503.3358 | 93.69% | 0.565% | -0.03352% |  |  |  | 419.0473 | 93.13% | -9.875% | -0.2543%
2021-03-01 | 471.1513 | 93% | 1.484% | -0.335% |  |  |  | 542.7831 | 93.21% | 5.912% | -0.145% |  |  |  | 434.7471 | 93.1% | -6.894% | -0.5044%
2021-04-01 | 439.8948 | 92.19% | -3.394% | -0.0681% |  |  |  | 519.3322 | 92.94% | -1.467% | -0.06087% |  |  |  | 417.5846 | 92.88% | -9.797% | -0.306%
2021-05-01 | 421.55 | 90.56% | -0.297% | -0.3869% |  |  |  | 495.4787 | 92.59% | 3.72% | 0.05045% |  |  |  | 404.7452 | 93% | -8.501% | -0.1813%
2021-06-01 | 432.3598 | 90.64% | 3.115% | 0.3071% |  |  |  | 493.4898 | 92.4% | 0.258% | 0.1522% |  |  |  | 412.3207 | 92.79% | -7.977% | -0.6361%
2021-07-01 | 446.8146 | 90.55% | -6.361% | -0.1349% |  |  |  | 518.2906 | 92.3% | -1.786% | 0.1582% |  |  |  | 439.2731 | 92.78% | -10.15% | -0.5404%
2021-08-01 | 478.9577 | 90.38% | 5.104% | -0.08521% |  |  |  | 519.8825 | 92.24% | -0.2595% | 0.1239% |  |  |  | 456.6887 | 92.95% | -5.07% | -0.1096%
2021-09-01 | 417.1847 | 91.03% | 1.587% | 0.5935% |  |  |  | 508.0864 | 92.23% | 2.545% | -0.1542% |  |  |  | 452.8879 | 92.69% | -2.114% | -0.406%
2021-10-01 | 448.032 | 91.34% | 1.752% | -0.1055% |  |  |  | 516.9687 | 92.59% | -0.7057% | -0.0972% |  |  |  | 442.7021 | 92.99% | -7.354% | -0.3006%
2021-11-01 | 454.6394 | 92.99% | 3.029% | 0.2549% |  |  |  | 524.4086 | 93.2% | 1.783% | 0.3832% |  |  |  | 439.8631 | 93.17% | -6.815% | 0.1028%
2021-12-01 | 472.7337 | 93.61% | -0.5484% | 0.1338% |  |  |  | 533.372 | 93.38% | -0.8333% | 0.04625% |  |  |  | 450.158 | 93.39% | -8.983% | 1.126%
2022-01-01 | 482.2354 | 94.13% | -0.1815% | 0.5423% |  |  |  | 554.1875 | 93.43% | 1.285% | -0.01851% |  |  |  | 472.7118 | 93.67% | -4.763% | 0.8177%
2022-02-01 | 444.4964 | 94.03% | -0.3277% | 0.3004% |  |  |  | 507.9687 | 93.63% | 0.9204% | -0.05576% |  |  |  | 433.8574 | 93.24% | 3.534% | 0.1186%
2022-03-01 | 477.1688 | 93.65% | 1.277% | 0.6945% |  |  |  | 549.889 | 93.49% | 1.309% | 0.3011% |  |  |  | 458.0514 | 93.33% | 5.36% | 0.2418%
2022-04-01 | 443.5627 | 92.95% | 0.8338% | 0.8202% |  |  |  | 525.3126 | 93.16% | 1.152% | 0.242% |  |  |  | 439.0121 | 92.94% | 5.131% | 0.0701%
2022-05-01 | 417.4016 | 91.18% | -0.9841% | 0.6774% |  |  |  | 494.8848 | 92.61% | -0.1199% | 0.02044% |  |  |  | 430.1493 | 92.79% | 6.277% | -0.2168%
2022-06-01 | 416.5581 | 90.96% | -3.655% | 0.353% |  |  |  | 478.8199 | 92.6% | -2.973% | 0.2181% |  |  |  | 431.8079 | 92.48% | 4.726% | -0.3355%
2022-07-01 | 452.3583 | 91.09% | 1.241% | 0.6005% |  |  |  | 504.3052 | 92.63% | -2.698% | 0.3586% |  |  |  | 463.2482 | 91.97% | 5.458% | -0.8699%
2022-08-01 | 455.5173 | 91.23% | -4.894% | 0.932% |  |  |  | 514.3695 | 92.57% | -1.06% | 0.3569% |  |  |  | 486.9667 | 92.56% | 6.63% | -0.4201%
2022-09-01 | 431.3217 | 91.24% | 3.389% | 0.2355% |  |  |  | 489.0983 | 92.74% | -3.737% | 0.559% |  |  |  | 450.2585 | 92.61% | -0.5806% | -0.0931%
2022-10-01 | 449.5345 | 92.32% | 0.3354% | 1.076% |  |  |  | 507.1735 | 92.91% | -1.895% | 0.3403% |  |  |  | 456.3772 | 92.57% | 3.089% | -0.4439%
2022-11-01 | 438.8151 | 93.23% | -3.481% | 0.2618% |  |  |  | 506.9143 | 93.43% | -3.336% | 0.2524% |  |  |  | 440.2817 | 93.28% | 0.09518% | 0.1212%
2022-12-01 | 467.1826 | 88.17% | -1.174% | -5.811% |  |  |  | 514.8889 | 93.43% | -3.465% | 0.04842% |  |  |  | 448.3342 | 93.45% | -0.4051% | 0.06429%
2023-01-01 | 484.8725 | 94.22% | 0.5468% | 0.09426% | 882156814.9716 | 1819358.1902 | 1930903.8074 | 558.5399 | 93.47% | 0.7854% | 0.04156% | 377378761.8268 | 675652.2811 | 722864.2544 | 467.6532 | 93.73% | -1.07% | 0.06877% | 156530224.7846 | 334714.3024 | 357087.9068
2023-02-01 | 448.993 | 94.11% | 1.012% | 0.08047% | 789247116.5242 | 1757816.0748 | 1867841.0172 | 513.253 | 93.74% | 1.04% | 0.118% | 323071473.6763 | 629458.5319 | 671468.0743 | 432.4066 | 93.18% | -0.3344% | -0.05863% | 132463625.0474 | 306340.435 | 328751.8368
2023-03-01 | 478.2351 | 93.69% | 0.2235% | 0.04368% | 834892389.0315 | 1745778.2419 | 1863350.384 | 552.2276 | 93.55% | 0.4253% | 0.0609% | 362406607.5895 | 656263.1631 | 701499.6998 | 452.7803 | 93.29% | -1.151% | -0.04457% | 152941484.2141 | 337783.0005 | 362092.74
2023-04-01 | 446.6737 | 93.11% | 0.7014% | 0.1748% | 730764748.9803 | 1636014.8966 | 1757030.1797 | 531.8263 | 93.25% | 1.24% | 0.09182% | 330718680.1147 | 621854.6343 | 666888.9972 | 435.6947 | 92.97% | -0.7557% | 0.03299% | 133857649.5538 | 307228.101 | 330451.8199
2023-05-01 | 416.8981 | 91.25% | -0.1206% | 0.08159% | 771257091.6876 | 1849989.4472 | 2027396.4076 | 494.5718 | 92.67% | -0.06326% | 0.0638% | 357930734.719 | 723718.4795 | 781003.7782 | 424.4605 | 92.84% | -1.323% | 0.04755% | 149897769.7371 | 353148.9078 | 380388.3609
2023-06-01 | 415.0115 | 91.09% | -0.3713% | 0.1366% | 798627278.2627 | 1924349.8015 | 2112638.6481 | 475.8285 | 92.7% | -0.6248% | 0.1048% | 361264688.2433 | 759233.0509 | 819040.9686 | 427.8028 | 92.47% | -0.9275% | -0.002861% | 150889788.5656 | 352708.7528 | 381415.1822
2023-07-01 | 451.5844 | 91.28% | -0.1711% | 0.2034% | 892252538.4048 | 1975826.6391 | 2164627.0926 | 503.227 | 92.75% | -0.2138% | 0.1305% | 402440917.4997 | 799720.4755 | 862230.6837 | 464.1372 | 91.86% | 0.1919% | -0.1148% | 165472874.3121 | 356517.1666 | 388091.6121
2023-08-01 | 456.1469 | 91.46% | 0.1382% | 0.2506% | 883915256.7881 | 1937786.5694 | 2118827.8833 | 514.4224 | 92.67% | 0.01028% | 0.1028% | 399261150.8784 | 776134.8577 | 837532.7002 | 490.9473 | 92.61% | 0.8174% | 0.05168% | 166267351.6777 | 338666.4019 | 365682.1081
2023-09-01 | 434.9891 | 91.42% | 0.8503% | 0.1961% | 774098816.4477 | 1779582.2068 | 1946619.4488 | 492.3186 | 92.86% | 0.6584% | 0.1311% | 359267273.8242 | 729745.4097 | 785836.1677 | 452.5514 | 92.65% | 0.5092% | 0.04199% | 146560691.9129 | 323854.2394 | 349559.0308
2023-10-01 | 458.147 | 92.58% | 1.916% | 0.2792% | 756075047.0217 | 1650289.1294 | 1782610.0438 | 509.1603 | 93% | 0.3917% | 0.0936% | 355682754.0594 | 698567.3538 | 751176.3829 | 454.2935 | 92.58% | -0.4566% | 0.01219% | 145385744.863 | 320026.0173 | 345661.9365
2023-11-01 | 437.5893 | 93.31% | -0.2793% | 0.08453% | 770357698.1593 | 1760458.3634 | 1886722.7609 | 504.3304 | 93.49% | -0.5097% | 0.06263% | 338009348.4403 | 670214.1584 | 716881.7062 | 434.3422 | 93.32% | -1.349% | 0.0457% | 139478729.8201 | 321126.361 | 344098.9545
2023-12-01 | 467.1229 | 87.07% | -0.01277% | -1.245% | 829417297.2553 | 1775586.7641 | 2039234.1432 | 514.4529 | 93.39% | -0.08467% | -0.04239% | 365945216.9024 | 711328.8415 | 761708.1301 | 442.9159 | 93.47% | -1.209% | 0.02128% | 146379280.3837 | 330490.0312 | 353591.7104
2024-01-01 | 487.524 | 94.31% | 0.5468% | 0.09426% | 884054651.3727 | 1813355.9837 | 1922721.2728 | 562.9265 | 93.51% | 0.7854% | 0.04156% | 376687440.7011 | 669159.2452 | 715620.0754 | 462.6488 | 93.8% | -1.07% | 0.06877% | 154130299.6475 | 333147.547 | 355172.1638
2024-02-01 | 453.5351 | 94.19% | 1.012% | 0.08047% | 818980636 | 1805771.3402 | 1917255.0373 | 518.5922 | 93.85% | 1.04% | 0.118% | 340204051.026 | 656014.549 | 698971.5217 | 430.9606 | 93.13% | -0.3344% | -0.05863% | 137034539.593 | 317974.625 | 341437.3665
2024-03-01 | 479.3037 | 93.73% | 0.2235% | 0.04368% | 825736713.789 | 1722783.7611 | 1838004.4123 | 554.5761 | 93.61% | 0.4253% | 0.0609% | 363295975.3768 | 655087.7319 | 699817.0619 | 447.5698 | 93.24% | -1.151% | -0.04457% | 146916197.8106 | 328253.1502 | 352033.9588
2024-04-01 | 449.8065 | 93.28% | 0.7014% | 0.1748% | 736117582.1442 | 1636520.7284 | 1754505.6912 | 538.4208 | 93.33% | 1.24% | 0.09182% | 331180060.2016 | 615095.1713 | 659034.8902 | 432.4023 | 93% | -0.7557% | 0.03299% | 132761555.8273 | 307032.5052 | 330132.5167
2024-05-01 | 416.3952 | 91.32% | -0.1206% | 0.08159% | 768886274.8101 | 1846529.9952 | 2021955.4245 | 494.2589 | 92.72% | -0.06326% | 0.0638% | 358780961.4175 | 725896.7669 | 782855.0001 | 418.847 | 92.88% | -1.323% | 0.04755% | 146223269.0705 | 349109.0482 | 375858.1645
2024-06-01 | 413.4706 | 91.21% | -0.3713% | 0.1366% | 788376471.3003 | 1906729.2322 | 2090437.4725 | 472.8557 | 92.79% | -0.6248% | 0.1048% | 361624084.3768 | 764766.3273 | 824146.7888 | 423.8349 | 92.47% | -0.9275% | -0.002861% | 144458163.5353 | 340835.9661 | 368586.6345
2024-07-01 | 450.8119 | 91.46% | -0.1711% | 0.2034% | 896620377.511 | 1988901.5183 | 2174527.959 | 502.1511 | 92.87% | -0.2138% | 0.1305% | 402728187.3173 | 802006.0403 | 863567.8701 | 465.0279 | 91.76% | 0.1919% | -0.1148% | 163978128.9045 | 352619.9619 | 384290.2389
2024-08-01 | 456.7773 | 91.68% | 0.1382% | 0.2506% | 876768923.7895 | 1919466.9815 | 2093550.5279 | 514.4753 | 92.76% | 0.01028% | 0.1028% | 399044403.7908 | 775633.8057 | 836132.422 | 494.9604 | 92.66% | 0.8174% | 0.05168% | 160689786.2319 | 324651.8211 | 350368.5036
2024-09-01 | 438.6876 | 91.6% | 0.8503% | 0.1961% | 770320165.9631 | 1755965.041 | 1917026.7828 | 495.5602 | 92.98% | 0.6584% | 0.1311% | 358189992.3751 | 722798.1813 | 777335.874 | 454.856 | 92.69% | 0.5092% | 0.04199% | 141962781.3202 | 312104.921 | 336735.7608
2024-10-01 | 466.9246 | 92.84% | 1.916% | 0.2792% | 755783409.7378 | 1618641.3427 | 1743556.5906 | 511.1549 | 93.08% | 0.3917% | 0.0936% | 354385672.539 | 693303.8762 | 744819.376 | 452.2193 | 92.59% | -0.4566% | 0.01219% | 141879857.6888 | 313741.2366 | 338832.4219
2024-11-01 | 436.3669 | 93.39% | -0.2793% | 0.08453% | 762296077.256 | 1746915.4367 | 1870627.2849 | 501.7596 | 93.55% | -0.5097% | 0.06263% | 335620361.5158 | 668886.7459 | 715014.0421 | 428.4828 | 93.37% | -1.349% | 0.0457% | 133061353.5924 | 310540.7231 | 332604.03
2024-12-01 | 467.0633 | 85.99% | -0.01277% | -1.245% | 828542293.4957 | 1773940.0446 | 2063037.5745 | 514.0174 | 93.35% | -0.08467% | -0.04239% | 363276081.4561 | 706738.9336 | 757114.1124 | 437.5631 | 93.49% | -1.209% | 0.02128% | 142304213.8932 | 325219.904 | 347879.1828
2025-01-01 | 490.1901 | 94.4% | 0.5468% | 0.09426% | 879412506.5665 | 1794023.5242 | 1900431.5334 | 567.3475 | 93.55% | 0.7854% | 0.04156% | 373194570.9752 | 657788.3984 | 703167.4728 | 457.6978 | 93.86% | -1.07% | 0.06877% | 148562196.3447 | 324585.7462 | 345806.5178
2025-02-01 | 458.1231 | 94.26% | 1.012% | 0.08047% | 782534665.2133 | 1708131.897 | 1812129.3281 | 523.987 | 93.97% | 1.04% | 0.118% | 316696193.1434 | 604397.0169 | 643214.889 | 429.5195 | 93.07% | -0.3344% | -0.05863% | 122717276.6696 | 285708.3005 | 306970.1617
2025-03-01 | 480.3748 | 93.77% | 0.2235% | 0.04368% | 821012480.2707 | 1709108.1071 | 1822617.9529 | 556.9346 | 93.67% | 0.4253% | 0.0609% | 358155637.0916 | 643083.8897 | 686575.4791 | 442.4193 | 93.2% | -1.151% | -0.04457% | 140915534.8831 | 318511.2889 | 341738.6622
2025-04-01 | 452.9612 | 93.44% | 0.7014% | 0.1748% | 731349756.5812 | 1614596.8317 | 1727979.835 | 545.0971 | 93.42% | 1.24% | 0.09182% | 325245821.1082 | 596675.0113 | 638712.4068 | 429.1348 | 93.03% | -0.7557% | 0.03299% | 126582051.8487 | 294970.3989 | 317058.2928
2025-05-01 | 415.893 | 91.4% | -0.1206% | 0.08159% | 760401639.9226 | 1828359.0284 | 2000425.9497 | 493.9463 | 92.78% | -0.06326% | 0.0638% | 352687665.935 | 714020.2805 | 769555.6125 | 413.3077 | 92.93% | -1.323% | 0.04755% | 138695640.5394 | 335574.8049 | 361115.1931
2025-06-01 | 411.9354 | 91.34% | -0.3713% | 0.1366% | 787299345.8284 | 1911220.3101 | 2092501.9186 | 469.9014 | 92.89% | -0.6248% | 0.1048% | 354767628.6408 | 754983.0725 | 812752.5117 | 419.9037 | 92.47% | -0.9275% | -0.002861% | 139313279.1984 | 331774.331 | 358797.4731
2025-07-01 | 450.0406 | 91.65% | -0.1711% | 0.2034% | 891818680.0302 | 1981640.4988 | 2162190.971 | 501.0775 | 92.99% | -0.2138% | 0.1305% | 395950307.1103 | 790197.8118 | 849744.2555 | 465.9204 | 91.65% | 0.1919% | -0.1148% | 157547512.6919 | 338142.5713 | 368935.9357
2025-08-01 | 457.4086 | 91.91% | 0.1382% | 0.2506% | 868218332.1548 | 1898124.2395 | 2065097.209 | 514.5281 | 92.86% | 0.01028% | 0.1028% | 392058417.4581 | 761976.6403 | 820566.4254 | 499.0063 | 92.71% | 0.8174% | 0.05168% | 152927772.6395 | 306464.6377 | 330569.8198
2025-09-01 | 442.4177 | 91.78% | 0.8503% | 0.1961% | 769172519.7848 | 1738566.4908 | 1894318.1986 | 498.823 | 93.11% | 0.6584% | 0.1311% | 350729357.5643 | 703113.7858 | 755176.1948 | 457.1722 | 92.72% | 0.5092% | 0.04199% | 136659263.6228 | 298922.9297 | 322378.1049
2025-10-01 | 475.8703 | 93.09% | 1.916% | 0.2792% | 750952181.0056 | 1578060.6765 | 1695111.3263 | 513.1573 | 93.17% | 0.3917% | 0.0936% | 347106090.8894 | 676412.6212 | 725993.5103 | 450.1547 | 92.61% | -0.4566% | 0.01219% | 135317514.6602 | 300602.2808 | 324603.1361
2025-11-01 | 435.1479 | 93.47% | -0.2793% | 0.08453% | 753736642.0989 | 1732138.81 | 1853237.6991 | 499.202 | 93.61% | -0.5097% | 0.06263% | 327994263.7546 | 657037.1731 | 701907.6933 | 422.7024 | 93.41% | -1.349% | 0.0457% | 125160877.9146 | 296096.908 | 316989.1311
2025-12-01 | 467.0037 | 84.92% | -0.01277% | -1.245% | 827475200.7494 | 1771881.5535 | 2086632.141 | 513.5821 | 93.31% | -0.08467% | -0.04239% | 355825521.4245 | 692830.7848 | 742529.3977 | 432.2749 | 93.51% | -1.209% | 0.02128% | 136973735.7515 | 316867.1794 | 338872.3973
2026-01-01 | 492.8707 | 94.49% | 0.5468% | 0.09426% | 870895706.2831 | 1766986.31 | 1870028.0124 | 571.8032 | 93.59% | 0.7854% | 0.04156% | 365872739.2957 | 639857.838 | 683715.7562 | 452.7999 | 93.93% | -1.07% | 0.06877% | 144383107.461 | 318867.3506 | 339480.7967
2026-02-01 | 462.7575 | 94.34% | 1.012% | 0.08047% | 777670342.4612 | 1680513.6676 | 1781396.0729 | 529.4379 | 94.08% | 1.04% | 0.118% | 308703367.0366 | 583077.5419 | 619794.6988 | 428.0831 | 93.02% | -0.3344% | -0.05863% | 119372317.2551 | 278853.1171 | 299780.6034
2026-03-01 | 481.4483 | 93.81% | 0.2235% | 0.04368% | 819943454.8205 | 1703076.982 | 1815393.2578 | 559.3031 | 93.72% | 0.4253% | 0.0609% | 351091262.1164 | 627729.9057 | 669775.221 | 437.328 | 93.16% | -1.151% | -0.04457% | 139357557.8754 | 318656.8193 | 342047.272
2026-04-01 | 456.1381 | 93.6% | 0.7014% | 0.1748% | 726519738.4493 | 1592762.5946 | 1701637.0203 | 551.8562 | 93.5% | 1.24% | 0.09182% | 317920291.5825 | 576092.6847 | 616114.2811 | 425.8919 | 93.06% | -0.7557% | 0.03299% | 123589932.0179 | 290190.8263 | 311817.938
2026-05-01 | 415.3913 | 91.47% | -0.1206% | 0.08159% | 751857191.7051 | 1809997.4859 | 1978721.8947 | 493.6338 | 92.84% | -0.06326% | 0.0638% | 345643073.5825 | 700201.3381 | 754180.6645 | 407.8416 | 92.97% | -1.323% | 0.04755% | 134589343.6605 | 330003.9443 | 354951.5492
2026-06-01 | 410.4059 | 91.46% | -0.3713% | 0.1366% | 786168278.3376 | 1915586.9446 | 2094420.7767 | 466.9657 | 92.99% | -0.6248% | 0.1048% | 347461243.5887 | 744083.0606 | 800180.2289 | 416.0091 | 92.47% | -0.9275% | -0.002861% | 137602942.9438 | 330769.0984 | 357720.6
2026-07-01 | 449.2707 | 91.84% | -0.1711% | 0.2034% | 886967819.2659 | 1974239.322 | 2149742.4941 | 500.0061 | 93.11% | -0.2138% | 0.1305% | 388946799.0261 | 777884.0505 | 835412.2895 | 466.8145 | 91.55% | 0.1919% | -0.1148% | 154728759.9054 | 331456.6042 | 362056.5712
2026-08-01 | 458.0408 | 92.14% | 0.1382% | 0.2506% | 863349673.1084 | 1884875.193 | 2045556.7206 | 514.581 | 92.96% | 0.01028% | 0.1028% | 385086102.3308 | 748348.8412 | 805063.1112 | 503.0852 | 92.76% | 0.8174% | 0.05168% | 150117209.8811 | 298393.2029 | 321697.2694
2026-09-01 | 446.1794 | 91.96% | 0.8503% | 0.1961% | 764265214.6007 | 1712910.1583 | 1862711.1895 | 502.1074 | 93.23% | 0.6584% | 0.1311% | 343513532.7096 | 684143.5459 | 733839.2403 | 459.5003 | 92.76% | 0.5092% | 0.04199% | 133695947.869 | 290959.4287 | 313658.0421
2026-10-01 | 484.9874 | 93.35% | 1.916% | 0.2792% | 742318745.5537 | 1530593.9178 | 1639546.0528 | 515.1676 | 93.26% | 0.3917% | 0.0936% | 340217427.9953 | 660401.4529 | 708145.9154 | 448.0994 | 92.62% | -0.4566% | 0.01219% | 131252158.6463 | 292908.5929 | 316256.6283
2026-11-01 | 433.9324 | 93.54% | -0.2793% | 0.08453% | 752510658.8156 | 1734165.6764 | 1853839.243 | 496.6574 | 93.67% | -0.5097% | 0.06263% | 320879972.9831 | 646079.1241 | 689769.2833 | 417 | 93.45% | -1.349% | 0.0457% | 123500977.967 | 296165.3979 | 316917.6071
2026-12-01 | 466.9441 | 83.86% | -0.01277% | -1.245% | 822521530.9104 | 1761499.0758 | 2100567.4472 | 513.1473 | 93.27% | -0.08467% | -0.04239% | 349041777.083 | 680198.0193 | 729299.6252 | 427.0507 | 93.53% | -1.209% | 0.02128% | 134212684.1707 | 314278.1007 | 336032.0258
2027-01-01 | 495.5659 | 94.58% | 0.5468% | 0.09426% | 862182812.9379 | 1739794.4303 | 1839516.5372 | 576.2939 | 93.62% | 0.7854% | 0.04156% | 359215957.0007 | 623320.7906 | 665768.4914 | 447.9544 | 93.99% | -1.07% | 0.06877% | 136707529.7367 | 305181.8072 | 324687.2454
2027-02-01 | 467.4388 | 94.41% | 1.012% | 0.08047% | 772598084.4662 | 1652832.462 | 1750644.3666 | 534.9455 | 94.19% | 1.04% | 0.118% | 301309635.3237 | 563252.9129 | 598015.934 | 426.6516 | 92.96% | -0.3344% | -0.05863% | 112868820.0064 | 264545.6312 | 284566.2172
2027-03-01 | 482.5241 | 93.85% | 0.2235% | 0.04368% | 818610093.2808 | 1696516.4353 | 1807610.4345 | 561.6817 | 93.78% | 0.4253% | 0.0609% | 344688403.9144 | 613672.1733 | 654377.3914 | 432.2954 | 93.12% | -1.151% | -0.04457% | 134302164.5041 | 310672.2305 | 333625.3008
2027-04-01 | 459.3373 | 93.77% | 0.7014% | 0.1748% | 721422359.8498 | 1570572.1205 | 1675000.9774 | 558.699 | 93.59% | 1.24% | 0.09182% | 311296612.1335 | 557181.2515 | 595342.4113 | 422.6736 | 93.09% | -0.7557% | 0.03299% | 117229408.4624 | 277352.0886 | 297924.0696
2027-05-01 | 414.8902 | 91.55% | -0.1206% | 0.08159% | 746749422.7014 | 1799872.2722 | 1966048.6619 | 493.3216 | 92.9% | -0.06326% | 0.0638% | 339387454.6154 | 687963.9245 | 740527.3751 | 402.4479 | 93.02% | -1.323% | 0.04755% | 128295852.4476 | 318788.7538 | 342725.5391
2027-06-01 | 408.8822 | 91.59% | -0.3713% | 0.1366% | 781022850.9656 | 1910141.6919 | 2085617.2432 | 464.0482 | 93.09% | -0.6248% | 0.1048% | 340980053.7218 | 734794.4064 | 789364.3949 | 412.1505 | 92.46% | -0.9275% | -0.002861% | 131279831.4772 | 318523.9976 | 344487.6097
2027-07-01 | 448.5021 | 92.02% | -0.1711% | 0.2034% | 878085716.0094 | 1957818.7215 | 2127534.3666 | 498.9371 | 93.24% | -0.2138% | 0.1305% | 382838348.6416 | 767307.8234 | 822979.841 | 467.7104 | 91.44% | 0.1919% | -0.1148% | 147197152.3006 | 314718.572 | 344168.2303
2027-08-01 | 458.6738 | 92.38% | 0.1382% | 0.2506% | 861891857.3381 | 1879095.4185 | 2034186.7664 | 514.6339 | 93.05% | 0.01028% | 0.1028% | 379051200.9114 | 736545.3504 | 791551.3249 | 507.1975 | 92.8% | 0.8174% | 0.05168% | 145158427.3051 | 286197.0365 | 308389.2264
2027-09-01 | 449.9731 | 92.14% | 0.8503% | 0.1961% | 759047436.6872 | 1686872.8816 | 1830807.1791 | 505.4134 | 93.35% | 0.6584% | 0.1311% | 337245872.0965 | 667267.4132 | 714800.1438 | 461.8402 | 92.8% | 0.5092% | 0.04199% | 127428900.6796 | 275915.5418 | 297315.6979
2027-10-01 | 494.2792 | 93.62% | 1.916% | 0.2792% | 733361804.079 | 1483699.6105 | 1584888.5515 | 517.1857 | 93.35% | 0.3917% | 0.0936% | 334329624.5063 | 646440.1445 | 692527.0658 | 446.0535 | 92.63% | -0.4566% | 0.01219% | 123778484.1279 | 277496.9514 | 299580.0055
2027-11-01 | 432.7202 | 93.62% | -0.2793% | 0.08453% | 750969079.3163 | 1735460.9755 | 1853657.057 | 494.1258 | 93.72% | -0.5097% | 0.06263% | 314754665.2058 | 636993.0225 | 679643.0778 | 411.3746 | 93.49% | -1.349% | 0.0457% | 118548063.9623 | 288175.4863 | 308226.9706
2027-12-01 | 466.8845 | 82.81% | -0.01277% | -1.245% | 817239176.429 | 1750409.9225 | 2113669.0256 | 512.7128 | 93.23% | -0.08467% | -0.04239% | 343301071.5244 | 669577.6988 | 718217.1303 | 421.8896 | 93.55% | -1.209% | 0.02128% | 128054388.7099 | 303525.8092 | 324466.4439
2028-01-01 | 498.2759 | 94.67% | 0.5468% | 0.09426% | 857600219.7651 | 1721135.2454 | 1818074.1477 | 580.8199 | 93.66% | 0.7854% | 0.04156% | 354146718.1691 | 609735.897 | 650987.9045 | 443.1607 | 94.06% | -1.07% | 0.06877% | 130725534.6937 | 294984.4801 | 313622.4799
2028-02-01 | 472.1675 | 94.49% | 1.012% | 0.08047% | 799754474.8835 | 1693793.9621 | 1792587.3698 | 540.5104 | 94.3% | 1.04% | 0.118% | 314638111.1263 | 582112.9104 | 617311.4142 | 425.2249 | 92.91% | -0.3344% | -0.05863% | 115388987.0533 | 271359.9184 | 292067.456
2028-03-01 | 483.6024 | 93.9% | 0.2235% | 0.04368% | 814116600.5676 | 1683442.1124 | 1792896.7702 | 564.0704 | 93.84% | 0.4253% | 0.0609% | 339653157.3077 | 602146.7869 | 641696.731 | 427.3206 | 93.08% | -1.151% | -0.04457% | 128329094.4654 | 300311.0323 | 322642.414
2028-04-01 | 462.5589 | 93.93% | 0.7014% | 0.1748% | 709500732.9152 | 1533860.2358 | 1632992.8117 | 565.6267 | 93.68% | 1.24% | 0.09182% | 305949596.442 | 540903.7255 | 577419.8546 | 419.4796 | 93.13% | -0.7557% | 0.03299% | 108650571.96 | 259012.7635 | 278132.6997
2028-05-01 | 414.3898 | 91.62% | -0.1206% | 0.08159% | 749807381.051 | 1809425.389 | 1974872.4208 | 493.0095 | 92.96% | -0.06326% | 0.0638% | 334376026.455 | 678234.4037 | 729588.9758 | 397.1254 | 93.06% | -1.323% | 0.04755% | 124882550.1843 | 314466.2586 | 337917.7936
2028-06-01 | 407.364 | 91.71% | -0.3713% | 0.1366% | 776648026.931 | 1906520.9309 | 2078823.2167 | 461.149 | 93.18% | -0.6248% | 0.1048% | 335656088.1397 | 727868.9852 | 781106.4044 | 408.3278 | 92.46% | -0.9275% | -0.002861% | 125260561.0154 | 306764.7399 | 331779.322
2028-07-01 | 447.7348 | 92.21% | -0.1711% | 0.2034% | 870075700.2842 | 1943283.8189 | 2107452.5487 | 497.8704 | 93.36% | -0.2138% | 0.1305% | 377832369.3492 | 758897.0777 | 812897.9524 | 468.608 | 91.34% | 0.1919% | -0.1148% | 139955009.693 | 298661.158 | 326983.4717
2028-08-01 | 459.3077 | 92.61% | 0.1382% | 0.2506% | 861391421.5202 | 1875412.4052 | 2025125.0167 | 514.6868 | 93.15% | 0.01028% | 0.1028% | 374052079.2791 | 726756.7244 | 780229.5558 | 511.3434 | 92.85% | 0.8174% | 0.05168% | 140471599.2459 | 274710.8678 | 295859.5026
2028-09-01 | 453.7991 | 92.32% | 0.8503% | 0.1961% | 751114117.6314 | 1655168.8721 | 1792882.6816 | 508.7411 | 93.47% | 0.6584% | 0.1311% | 331916039.0465 | 652426.2145 | 697986.6823 | 464.1921 | 92.84% | 0.5092% | 0.04199% | 120131332.6544 | 258796.5959 | 278751.9533
2028-10-01 | 503.749 | 93.88% | 1.916% | 0.2792% | 732978357.3407 | 1455046.8863 | 1549954.1182 | 519.2118 | 93.43% | 0.3917% | 0.0936% | 329299141.9334 | 634228.9359 | 678809.9247 | 444.0169 | 92.64% | -0.4566% | 0.01219% | 119083421.9348 | 268195.6697 | 289503.2567
2028-11-01 | 431.5115 | 93.7% | -0.2793% | 0.08453% | 746879199.4457 | 1730844.4016 | 1847164.6799 | 491.607 | 93.78% | -0.5097% | 0.06263% | 309376637.4742 | 629316.9332 | 671032.757 | 405.825 | 93.54% | -1.349% | 0.0457% | 112514598.9333 | 277249.0675 | 296404.8115
2028-12-01 | 466.8249 | 81.78% | -0.01277% | -1.245% | 805804781.707 | 1726139.4325 | 2110649.3865 | 512.2787 | 93.19% | -0.08467% | -0.04239% | 338220787.7805 | 660228.0749 | 708488.6843 | 416.7909 | 93.57% | -1.209% | 0.02128% | 119515979.7129 | 286752.8445 | 306471.0889
2029-01-01 | 501.0007 | 94.76% | 0.5468% | 0.09426% | 860412655.5818 | 1717388.0783 | 1812407.5802 | 585.3814 | 93.7% | 0.7854% | 0.04156% | 348438599.8408 | 595233.4819 | 635240.2945 | 438.4184 | 94.12% | -1.07% | 0.06877% | 128047085.4216 | 292065.9805 | 310306.1766
2029-02-01 | 476.944 | 94.56% | 1.012% | 0.08047% | 763244029.2703 | 1600280.1269 | 1692257.3879 | 546.1332 | 94.41% | 1.04% | 0.118% | 288622998.7826 | 528484.5782 | 559779.7202 | 423.8029 | 92.86% | -0.3344% | -0.05863% | 101242378.0128 | 238890.2399 | 257270.8583
2029-03-01 | 484.683 | 93.94% | 0.2235% | 0.04368% | 805733919.7789 | 1662393.4691 | 1769706.5209 | 566.4692 | 93.89% | 0.4253% | 0.0609% | 333918402.9492 | 589473.1542 | 627808.3436 | 422.4031 | 93.04% | -1.151% | -0.04457% | 121813380.6327 | 288381.8256 | 309964.3072
2029-04-01 | 465.8031 | 94.09% | 0.7014% | 0.1748% | 708536707.4657 | 1521107.6498 | 1616589.4417 | 572.6403 | 93.76% | 1.24% | 0.09182% | 299901224.3086 | 523716.5696 | 558559.5319 | 416.3097 | 93.16% | -0.7557% | 0.03299% | 104606028.591 | 251269.7133 | 269729.0762
2029-05-01 | 413.8899 | 91.7% | -0.1206% | 0.08159% | 745145460.7036 | 1800346.9458 | 1963361.9047 | 492.6977 | 93.02% | -0.06326% | 0.0638% | 328641272.0965 | 667024.1971 | 717072.4399 | 391.8734 | 93.1% | -1.323% | 0.04755% | 119643593.3516 | 305311.8514 | 327924.7536
2029-06-01 | 405.8515 | 91.84% | -0.3713% | 0.1366% | 768232713.1333 | 1892891.0675 | 2061145.0642 | 458.268 | 93.28% | -0.6248% | 0.1048% | 329607716.0063 | 719246.6934 | 771045.7563 | 404.5405 | 92.46% | -0.9275% | -0.002861% | 118662503.6464 | 293326.6581 | 317254.534
2029-07-01 | 446.9688 | 92.4% | -0.1711% | 0.2034% | 869137177.9923 | 1944514.3496 | 2104506.0869 | 496.8059 | 93.48% | -0.2138% | 0.1305% | 372097614.9907 | 748979.8465 | 801229.3676 | 469.5073 | 91.23% | 0.1919% | -0.1148% | 135992809.8603 | 289650.0283 | 317482.1263
2029-08-01 | 459.9425 | 92.84% | 0.1382% | 0.2506% | 856728054.017 | 1862684.9967 | 2006353.8698 | 514.7397 | 93.24% | 0.01028% | 0.1028% | 368317324.9207 | 715540.9669 | 767399.6442 | 515.5232 | 92.9% | 0.8174% | 0.05168% | 135232642.4132 | 262321.1358 | 282370.0188
2029-09-01 | 457.6576 | 92.5% | 0.8503% | 0.1961% | 742698019.5952 | 1622824.658 | 1754407.4855 | 512.0908 | 93.6% | 0.6584% | 0.1311% | 325867666.9131 | 636347.4745 | 679893.7938 | 466.5559 | 92.88% | 0.5092% | 0.04199% | 113533275.2854 | 243343.3421 | 261997.1169
2029-10-01 | 513.4002 | 94.14% | 1.916% | 0.2792% | 732039381.2515 | 1425865.0446 | 1514639.8735 | 521.2458 | 93.52% | 0.3917% | 0.0936% | 323564387.5749 | 620752.0525 | 663764.4576 | 441.9897 | 92.65% | -0.4566% | 0.01219% | 115121222.1021 | 260461.3251 | 281120.1799
2029-11-01 | 430.3061 | 93.78% | -0.2793% | 0.08453% | 742187589.7475 | 1724789.9688 | 1839148.7539 | 489.1012 | 93.84% | -0.5097% | 0.06263% | 303328265.3408 | 620174.9031 | 660870.8126 | 400.3503 | 93.58% | -1.349% | 0.0457% | 107193298.5643 | 267748.7806 | 286117.3598
2029-12-01 | 466.7653 | 80.76% | -0.01277% | -1.245% | 801141136.2689 | 1716368.4005 | 2125170.2993 | 511.845 | 93.15% | -0.08467% | -0.04239% | 332486033.422 | 649583.4742 | 697361.6321 | 411.7538 | 93.59% | -1.209% | 0.02128% | 114277022.8801 | 277537.2476 | 296558.6984

## Street Lighting
Street Lighting
| Hours Used (Energy and Demand Relationship) | Power Factors | Forecast kWh | Forecast kW | Forecast kVA
2023-01-01 | 453.9659 | 90% | 13183485.2548 | 29040.6931 | 32267.4368
2023-02-01 | 379.3141 | 90% | 11000901.6978 | 29002.0923 | 32224.547
2023-03-01 | 391.875 | 90% | 11350068.4354 | 28963.4914 | 32181.6572
2023-04-01 | 317.8003 | 90% | 9192339.9328 | 28924.8906 | 32138.7673
2023-05-01 | 267.1626 | 90% | 7717334.9737 | 28886.2898 | 32095.8775
2023-06-01 | 247.5132 | 90% | 7140184.434 | 28847.6889 | 32052.9877
2023-07-01 | 272.468 | 90% | 7849555.2936 | 28809.0881 | 32010.0979
2023-08-01 | 296.0341 | 90% | 8517044.9353 | 28770.4873 | 31967.2081
2023-09-01 | 324.9644 | 90% | 9336839.7647 | 28731.8864 | 31924.3183
2023-10-01 | 390.7412 | 90% | 11211648.423 | 28693.2856 | 31881.4284
2023-11-01 | 439.7843 | 90% | 12601880.261 | 28654.6848 | 31838.5386
2023-12-01 | 457.977 | 90% | 13105509.3959 | 28616.0839 | 31795.6488
2024-01-01 | 461.9388 | 90% | 13201047.488 | 28577.4831 | 31752.759
2024-02-01 | 399.7692 | 90% | 11408967.4712 | 28538.8823 | 31709.8692
2024-03-01 | 398.7745 | 90% | 11365184.9465 | 28500.2814 | 31666.9794
2024-04-01 | 323.4026 | 90% | 9204581.3293 | 28461.6806 | 31624.0896
2024-05-01 | 271.878 | 90% | 7727610.9725 | 28423.0798 | 31581.1997
2024-06-01 | 251.8873 | 90% | 7149690.8746 | 28384.4789 | 31538.3099
2024-07-01 | 277.2892 | 90% | 7860005.031 | 28345.8781 | 31495.4201
2024-08-01 | 301.2788 | 90% | 8528382.0121 | 28307.2773 | 31452.5303
2024-09-01 | 330.7288 | 90% | 9349266.6955 | 28268.6764 | 31409.6405
2024-10-01 | 397.6812 | 90% | 11226568.9885 | 28230.0756 | 31366.7507
2024-11-01 | 447.6051 | 90% | 12618649.1002 | 28191.4748 | 31323.8609
2024-12-01 | 466.1317 | 90% | 13122946.4615 | 28152.8739 | 31280.971
2025-01-01 | 470.1743 | 90% | 13218609.7211 | 28114.2731 | 31238.0812
2025-02-01 | 392.8742 | 90% | 11030207.9019 | 28075.6723 | 31195.1914
2025-03-01 | 405.9019 | 90% | 11380301.4576 | 28037.0714 | 31152.3016
2025-04-01 | 329.1902 | 90% | 9216822.7258 | 27998.4706 | 31109.4118
2025-05-01 | 276.7498 | 90% | 7737886.9714 | 27959.8698 | 31066.522
2025-06-01 | 256.4066 | 90% | 7159197.3152 | 27921.2689 | 31023.6322
2025-07-01 | 282.2705 | 90% | 7870454.7685 | 27882.6681 | 30980.7423
2025-08-01 | 306.698 | 90% | 8539719.0889 | 27844.0673 | 30937.8525
2025-09-01 | 336.6854 | 90% | 9361693.6264 | 27805.4664 | 30894.9627
2025-10-01 | 404.8527 | 90% | 11241489.5539 | 27766.8656 | 30852.0729
2025-11-01 | 455.6873 | 90% | 12635417.9393 | 27728.2648 | 30809.1831
2025-12-01 | 474.5592 | 90% | 13140383.527 | 27689.6639 | 30766.2933
2026-01-01 | 478.6858 | 90% | 13236171.9542 | 27651.0631 | 30723.4034
2026-02-01 | 399.9955 | 90% | 11044861.004 | 27612.4623 | 30680.5136
2026-03-01 | 413.2688 | 90% | 11395417.9687 | 27573.8614 | 30637.6238
2026-04-01 | 335.1726 | 90% | 9229064.1223 | 27535.2606 | 30594.734
2026-05-01 | 281.7856 | 90% | 7748162.9702 | 27496.6598 | 30551.8442
2026-06-01 | 261.0783 | 90% | 7168703.7558 | 27458.0589 | 30508.9544
2026-07-01 | 287.4201 | 90% | 7880904.5059 | 27419.4581 | 30466.0646
2026-08-01 | 312.3005 | 90% | 8551056.1656 | 27380.8573 | 30423.1747
2026-09-01 | 342.8437 | 90% | 9374120.5573 | 27342.2564 | 30380.2849
2026-10-01 | 412.2675 | 90% | 11256410.1194 | 27303.6556 | 30337.3951
2026-11-01 | 464.0441 | 90% | 12652186.7785 | 27265.0548 | 30294.5053
2026-12-01 | 483.2734 | 90% | 13157820.5926 | 27226.4539 | 30251.6155
2027-01-01 | 487.4873 | 90% | 13253734.1873 | 27187.8531 | 30208.7257
2027-02-01 | 407.3598 | 90% | 11059514.106 | 27149.2523 | 30165.8359
2027-03-01 | 420.8875 | 90% | 11410534.4798 | 27110.6514 | 30122.946
2027-04-01 | 341.3596 | 90% | 9241305.5188 | 27072.0506 | 30080.0562
2027-05-01 | 286.994 | 90% | 7758438.9691 | 27033.4498 | 30037.1664
2027-06-01 | 265.9104 | 90% | 7178210.1964 | 26994.8489 | 29994.2766
2027-07-01 | 292.7468 | 90% | 7891354.2434 | 26956.2481 | 29951.3868
2027-08-01 | 318.0959 | 90% | 8562393.2424 | 26917.6473 | 29908.497
2027-09-01 | 349.2143 | 90% | 9386547.4882 | 26879.0464 | 29865.6072
2027-10-01 | 419.9383 | 90% | 11271330.6848 | 26840.4456 | 29822.7173
2027-11-01 | 472.6897 | 90% | 12668955.6177 | 26801.8448 | 29779.8275
2027-12-01 | 492.2893 | 90% | 13175257.6582 | 26763.2439 | 29736.9377
2028-01-01 | 496.594 | 90% | 13271296.4205 | 26724.6431 | 29694.0479
2028-02-01 | 429.8005 | 90% | 11469673.1798 | 26686.0423 | 29651.1581
2028-03-01 | 428.771 | 90% | 11425650.9909 | 26647.4414 | 29608.2683
2028-04-01 | 347.7621 | 90% | 9253546.9153 | 26608.8406 | 29565.3784
2028-05-01 | 292.3841 | 90% | 7768714.968 | 26570.2398 | 29522.4886
2028-06-01 | 270.9111 | 90% | 7187716.6369 | 26531.6389 | 29479.5988
2028-07-01 | 298.2596 | 90% | 7901803.9808 | 26493.0381 | 29436.709
2028-08-01 | 324.0942 | 90% | 8573730.3192 | 26454.4373 | 29393.8192
2028-09-01 | 355.8083 | 90% | 9398974.4191 | 26415.8364 | 29350.9294
2028-10-01 | 427.8785 | 90% | 11286251.2502 | 26377.2356 | 29308.0396
2028-11-01 | 481.6394 | 90% | 12685724.4568 | 26338.6348 | 29265.1497
2028-12-01 | 501.6227 | 90% | 13192694.7238 | 26300.0339 | 29222.2599
2029-01-01 | 506.0218 | 90% | 13288858.6536 | 26261.4331 | 29179.3701
2029-02-01 | 422.8689 | 90% | 11088820.3102 | 26222.8323 | 29136.4803
2029-03-01 | 436.9335 | 90% | 11440767.5021 | 26184.2314 | 29093.5905
2029-04-01 | 354.3915 | 90% | 9265788.3118 | 26145.6306 | 29050.7007
2029-05-01 | 297.9654 | 90% | 7778990.9668 | 26107.0298 | 29007.8109
2029-06-01 | 276.0896 | 90% | 7197223.0775 | 26068.4289 | 28964.921
2029-07-01 | 303.9687 | 90% | 7912253.7183 | 26029.8281 | 28922.0312
2029-08-01 | 330.3063 | 90% | 8585067.3959 | 25991.2273 | 28879.1414
2029-09-01 | 362.6377 | 90% | 9411401.35 | 25952.6264 | 28836.2516
2029-10-01 | 436.1025 | 90% | 11301171.8157 | 25914.0256 | 28793.3618
2029-11-01 | 490.9096 | 90% | 12702493.296 | 25875.4248 | 28750.472
2029-12-01 | 511.2909 | 90% | 13210131.7893 | 25836.8239 | 28707.5822