## 2B-AMPCO-38
QUESTION:
RESPONSE:
Referenced Figure from Exhibit 2B, Section D2 | Total number of deficiencies per asset types | 2020 | 2021 | 2022 | 2023
Figure 15: Asset Condition Assessment of Overhead Assets as of 2022 | SCADA-Mate Switches | 99 | 98 | 127 | 75
| Overhead Gang-Operated Switches | 23 | 32 | 42 | 30
| Wood Poles | 170 | 213 | 512 | 195
Figure 19: Underground Assets Age Demographic as of 2022 | Primary Cable | 240 | 243 | 229 | 256
| Cable Chamber | 120 | 44 | 54 | 151
| Secondary Cable | 517 | 388 | 304 | 276
| UG Switch | 129 | 87 | 61 | 111
| UG transformer | 788 | 745 | 568 | 586
Figure 20: Asset Condition Assessment of Underground Assets as of 2022 | UG Vaults | 6 | 12 | 21 | 25
| Ug Transformers | Included above
UG Switches
Cable Chambers
Figure 25: Asset Condition Assessment of Secondary Network Assets | Network Vaults | 38 | 101 | 151 | 163
| Network Protectors | 66 | 126 | 187 | 219
| Network Transformers | 55 | 87 | 53 | 156
Figure 29: Asset Condition Assessment of Station Assets | Station Power Transformers | 40 | 21 | 24 | 21
| Airblast Circuit Breakers (MS & TS) | 0 | 5 | 0 | 3
| Air Magnetic Circuit Breakers (MS & TS) | 2 | 6 | 2 | 7
| Vacuum Circuit Breakers (MS & TS) | 4 | 16 | 6 | 14
| SF6 Circuit Breakers (TS) | 3 | 3 | 4 | 4
| KSO Circuit Breakers (TS) | 0 | 0 | 0 | 1
| 4kV Oil Circuit Breakers (MS) | 2 | 0 | 0 | 1