## a) Total Failures
Asset Class | 2018 | 2019 | 2020
4kV Oil Circuit Breakers (MS) |  | 9 | 1
Air Magnetic Circuit Breakers (MS & TS) |  | 12 | 1
Airblast Circuit Breakers (MS & TS) |  | 7
KSO Circuit Breakers (TS) | 4
Network Transformers | 27 | 26 | 37
SCADA-Mate Switches | 14 | 22 | 23
SF6 Circuit Breakers (TS) | 5 | 3 | 3
Station Power Transformers | 3 | 13 | 14
Underground Switch | 42 | 60 | 108
Underground Transformer | 200 | 473 | 660
Vacuum Circuit Breakers (MS & TS) | 1 | 14 | 2
Wood Poles | 59 | 59 | 136
Underground Vault | 5 | 7 | 2
Network Vault | 4 | 57 | 7
Cable Chamber | 7 | 19 | 12
Overhead Gang-Operated Switches
Network Protectors

## b) Past Useful Life
Asset Class | 2020
4kV Oil Circuit Breakers (MS) | 100%
Air Magnetic Circuit Breakers (MS & TS) | 50%
Airblast Circuit Breakers (MS & TS) | 0%
Cable Chamber | 8.696%
KSO Circuit Breakers (TS) | 0%
Network Transformers | 38.71%
Network Vault | 6.25%
SCADA-Mate Switches | 0%
SF6 Circuit Breakers (TS) | 0%
Station Power Transformers | 0%
Underground Switch | 11.59%
Underground Transformer | 26.15%
Underground Vault | 0%
Vacuum Circuit Breakers (MS & TS) | 0%
Wood Poles | 60.26%

## c) Health Index
Asset Class | 2020
4kV Oil Circuit Breakers (MS) | 0.2809%
Air Magnetic Circuit Breakers (MS & TS) | 5%
Airblast Circuit Breakers (MS & TS) | 0%
Cable Chamber | 0%
KSO Circuit Breakers (TS) | 0%
Network Transformers | 23.86%
Network Vault | 7.937%
SCADA-Mate Switches | 66.67%
SF6 Circuit Breakers (TS) | 75%
Station Power Transformers | 0%
Underground Switch | 100%
Underground Transformer | 45.28%
Underground Vault | 0.2809%
Vacuum Circuit Breakers (MS & TS) | 0.2809%
Wood Poles | 3.866%