## Home
Survey
Unit Cost Benchmarking Study

## Confidentiality Statement
Confidentiality Statement
This document is confidential and intended for the sole use of the client to whom it is addressed. The information and methodologies outlined herein are proprietary and their expression in this document is copyrighted, with all rights reserved to UMS Group Inc. Copying or distributing this material without prior written permission is strictly prohibited.

## Survey
Benchmarking Questions
Contact Information
Company Name
Toronto Hydro
Name of Respondent | Title / Position |  |  | Email Address |  |  | Contact Number
Unit Costs
Question 1 | Asset Category / Capital |  | Unit of Measure | Actual (3-YR Period) |  | Unit Cost | Percent of Cost Assigned to Labor | Percent of Labor Outsourced | In-House Purchase of Equipment (Yes/No) | Comments
Please enter number of units and total cost over the past 3 years, the percent of these costs attributable to labor, of this labor the percent outsourced, and whether or not the equipment was purchased in-house. |  |  |  | No. of Units | Cost
| Wood Poles Installed / Replaced |  | Each | 6051 | 50328844.58 | 8317.4425 | 76.42% | 76.05% | Yes
| UG Cable Installed / Replaced |  | Meter / Feet | 741042 | 96965193.4 | 130.8498 | 69.82% | 76.19% | Yes
| Pole Top Transformers Installed / Replaced |  | Each | 2020 | 37755366.42 | 18690.7755 | 67.88% | 69.28% | Yes
| Padmount Transformers Installed / Replaced |  | Each | 1022 | 38194904.74 | 37372.7052 | 56.37% | 63.92% | Yes | UG Transformer class
| Vault Transformers Installed / Replaced |  | Each | 1022 | 38194904.74 | 37372.7052 | 56.37% | 63.92% | Yes | UG Transformer class
| Network Transformers / Protectors Installed / Replaced |  | Each | 199 | 25402193.21 | 127649.2121 | 49.1% | 63.46% | Yes
| Breakers Installed / Replaced |  | Each | 89 | 3380516.88 | 37983.3357 | 63.66% | 31.7% | Yes | Combined indoor and outdoor breakers; low volume of indoor breaker work occurred in last 3 years
| Cable Chambers / Manholes Installed / Replaced |  | Each | 78 | 10639915.59 | 136409.1742 | 93.88% | 91.87% | See comment | Civil work (e.g. concrete pour) performed by contractors, chamber lid replacements will be In-House Purchase of Equipment
| Maintenance Programs / OM&A |  | Unit of Measure | Actual (3-YR Period) |  | Unit Cost | Percent of Cost Assigned to Labor | Percent of Labor Outsourced | In-House Purchase of Equipment (Yes/No) | Comments
|  |  |  | No. of Units | Cost
| Vegetation Management (Inspected / Trimmed) |  | Kilometer / Mile | 4195 | 9124475.17 | 2175.0835 | ~ 100% | External/Contractor
| Pole Test and Treat |  | Each | 43204 | 746600 | 17.2808 | ~ 100% | External/Contractor
| Overhead Line Patrol & IR Scanning |  | Kilometer / Mile | 20053 | 456314 | 22.7554 | ~100% | External/Contractor |  | Combined OH Line Patrol and IR Scanning to align with view from 2017
| Substation Maintenance (Inspection, Test) |  | Total MVA | 7853 | 13448037.34 | 1712.4713 | Mix | Internal/External |  | 3 year cost only, however Major Station Maintenance on 4 year cycle
| Building Vault, Network and Submersible Inspections |  | Each | 18633 | 4801112 | 257.6671 | ~100% | External/Contractor |  | Combined Building Vault, Network and Submersible Inspections to align with view from 2017
Accounting
Question 1 | Method | Answer | Comments
Which of the following methods do you use to determine unit rates for your asset categories and / or maintenance programs? | Divide total spent by number of units.
Average individual costs of separate work orders
Other (please specify in comments)
Question 2 | Method | Answer | Comments
In addition to Direct Labor and Material, which of the following costs are included in your unit costs for In-House work? | Design and permitting costs |  | Project design and directly related permit requirement for project is included as part of the costs.
| Project management and supervisory costs |  | These costs are applied either charged directly to projects or through EAR - (Engineering Admin Reclass) capex which captures work required to deliver/execute our capital project/program.
| Other project-related costs (e.g. fleet and warehouse) |  | Yes, vehicle time is charged to projects and a portion of warehousing costs are included in material costs once issued.
| Other labor-related costs (e.g. training, conferences, and meetings) |  | Only to the extent that conferences/meetings are required for execution of our capital program then it is captured in EAR capex and allocated to the projects. Training is not part of capital costs.
| Employee-related costs (e.g. vacation, sick time, insurance, and pension) |  | Employee rates includes all applicable costs (salary, benefit, pension, bonus) but only portion of the costs that employee timesheets to projects is capitalized. If the employee timesheets to vacation or sick time these costs are expensed (OPEX).
| Administrative and general costs |  | These costs are not capitalized.
| AFUDC / CWIP |  | Interest costs are part of the unit costs. CWIP (construction work in progress) which is essentially spend that has not been ISA'd or capitalized is not considered for unit cost calculation.
Other (please specify in comments)
Question 3 | Method | Answer | Comments
In addition to contractor costs, which of the following costs are included in your unit costs for contracted work? | Contractor management / supervision costs (please indicate in comments if these costs include overheads per question 2) |  | These costs are applied through EAR- (Engineering Admin Reclass) capex which captures work required to deliver/execute our capital project/program.
| Permitting and design costs |  | To the extent that the contractor is executing the design and incurring costs for permits directly related to the project being executed.
Other (please specify in comments)
Question 4 | Answer (Yes / No) |  | Comments
Do you "net out" customer contributions from your unit costs? | No |  | For Financial Statement reporting, gross costs are reported separately. However, from a unit cost perspective it is on a gross basis. Thus the actual asset and the related customer contribution for the asset are recognized separately (2 distinct assets).
Local Factors
Question 1 | Factor | Answer | Comments
Which of the following factors impact the cost of you performing inspections and replacement work? | Excessive travel time (over 30 mins) |  | Higher impact for Toronto Hydro compared to neighbouring utilities.
| Road restrictions which limit working hours |  | Higher impact for Toronto Hydro compared to neighbouring utilities. Road moratoriums are also imposed by government agencies.
High water table
Working next to energized lines (requiring dedicated observer, gloves, etc.)
| Requirements to perform work off hours (i.e. night / weekend) |  | Higher impact for Toronto Hydro compared to neighbouring utilities.
| Changed standards requiring rebuilds rather than like-for-like (i.e. clearances) |  | Higher impact for Toronto Hydro compared to neighbouring utilities.
| Excessive switching requirements (i.e. to isolate on dual radial construction) |  | Higher impact for Toronto Hydro compared to neighbouring utilities.
Shoring requirements for UG work
| Limitations on tree trimming (e.g. unusually tight clearances) |  | Higher impact for Toronto Hydro compared to neighbouring utilities.
Prior use of lead cables
High fault currents (impacting equipment sourcing)
| Paid duty for police presence on public roads |  | Higher impact for Toronto Hydro compared to neighbouring utilities.
Extensive use of submersible transformers
| Environmental regulations |  | Higher Impact for Toronto Hydro compared to neighbouring utilities.
Insufficient IT Enablement
Union Work Rules
| City consent requirements (i.e. customer notification, restoration, progressive clean-up, etc.) |  | Higher Impact for Toronto Hydro compared to neighbouring utilties.
Other (please specify in comments)

## options (hidden)
Select | Select | Select
1 | High | High (> 90%)
2 | Medium | Medium (80% - 90%)
3 | Low | Low (< 80%)
4