## 2025-2029 Forecast Units
CIR Parent Program | Segment | Asset Type | Unit of Measure | 2025-2029 Total Forecast (as filed)
Generation Protection, Monitoring and Control | Antenna Installation | SCADA RTU | each | 882 | File Number: | EB-2023-0195
Generation Protection, Monitoring and Control | New Installations | SCADA RTU | each | 429 | Schedule: | JT1.13
Metering |  | Residential & Small C&I | Units | 580296 | Page: | 1
Metering |  | Large Customer & Interval | Units | 76
Metering |  | Suite Metering | Units | 10781 | Date: | 2024-04-22
Metering |  | Samp./Meter Repl. | Units | 65155
Load Demand |  | Load Transfers – Bus | MVA | 236.29
Load Demand |  | Feeder Transfers | # | 56
Load Demand |  | Cable Upgrades | # | 23
Load Demand |  | Network Equipment Upgrades | # | 5
Load Demand |  | Civil Enhancements | # areas targeted | 8
Customer Connections | Generation Connections | Renewable | MW | 67
Customer Connections | Generation Connections | Energy Storage | MW | 29.4421
Customer Connections | Generation Connections | Non-Renewable | MW | 14.76
Area Conversion | Box Construction Conversion | Poles | Units | 2665
Area Conversion | Rear Lot Conversion | No. of Customers Converted | Rear Lot Customers Converted | 1643
Network System Renewal | Network Unit Renewal | Network Units | Units | 130
Network System Renewal | Network Vault Renewal | Vault Rebuilds | Units | 27
Network System Renewal | Network Vault Renewal | Roof Rebuilds | Units | 8
Network System Renewal | Network Vault Renewal | Vault Decommission | Units | 3
Network Circuit Reconfiguration | Network Circuit Reconfiguration | Reconfiguration | Units | 3
Overhead Renewal | Overhead System Renewal | Poles | Units | 8337
Overhead Renewal | Overhead System Renewal | Transformers | Units | 4847
Overhead Renewal | Overhead System Renewal | OH Switches | Units | 511
Overhead Renewal | Overhead System Renewal | Conductors (Primary) | conductor km | 253
Stations Renewal | Stations TS | TS Switchgear | Units | 7
Stations Renewal | Stations TS | TS Breakers (Outdoor) | Units | 12
Stations Renewal | Stations TS | TS Switch (Outdoor) | Units | 63
Stations Renewal | Stations MS | MS Switchgear | Units | 12
Stations Renewal | Stations MS | Power Transformer | Units | 15
Stations Renewal | Stations MS | MS Primary Supply | Units | 1
Stations Renewal | Stations Control & Monitoring | RTU Renewal TS | Units | 19
Stations Renewal | Stations Control & Monitoring | RTU Renewal MS | Units | 14
Stations Renewal | Stations Control & Monitoring | Relay Renewal (incl Pilot-wire Protection Renewal) | Units/Locations | 251
Stations Renewal | Stations Ancillary and Battery | Battery units | Units | 55
Stations Renewal | Stations Ancillary and Battery | Charger units | Units | 8
Stations Renewal | Stations Ancillary and Battery | Sump Pump Installations | Units | 3
Stations Renewal | Stations Ancillary and Battery | SST | Units | 3
Stations Renewal | Stations Ancillary and Battery | AC Panels | Units | 5
Underground Renewal - Horseshoe | Underground Circuit Renewal - Horseshoe | Total Cable | circuit length-km | 340
Underground Renewal - Horseshoe | Underground Circuit Renewal - Horseshoe | Transformers | Units | 2478
Underground Renewal - Horseshoe | Underground Circuit Renewal - Horseshoe | UG Switches | Units | 116
Underground Renewal - Downtown | Underground Cable Renewal | PILC Cable | circuit length-km | 34.9
Underground Renewal - Downtown | Underground Cable Renewal | AILC Cable | circuit length-km | 9.3
Underground Renewal - Downtown | Underground Cable Renewal | Fiber Optic Cable | circuit length-km | 5
Underground Renewal - Downtown | Cable Chamber Renewal | Cable Chamber | Units | 46
Underground Renewal - Downtown | Cable Chamber Renewal | Cable Chamber Roof | Units | 128
Underground Renewal - Downtown | Cable Chamber Renewal | Cable Chamber Lid | Units | 2800
Underground Renewal - Downtown | Underground Residential Distribution Renewal | URD Submersible Switches | Units | 4
Underground Renewal - Downtown | Underground Residential Distribution Renewal | URD Transformers | Units | 17
Underground Renewal - Downtown | Underground Residential Distribution Renewal | URD Vault Roof | Units | 4
Underground Renewal - Downtown | Underground Residential Distribution Renewal | FCIs | Units | 375
Underground Renewal - Downtown | Underground Switchgear Renewal | Underground Switches | Units | 20
Reactive and Corrective Capital |  | Transformers | Units | 2700
Reactive and Corrective Capital |  | Pole | Units | 1970
Reactive and Corrective Capital |  | Switches | Units | 2125
Reactive and Corrective Capital |  | Switchgear | Units | 225
Non-Wires Solutions | Energy Storage (ESS) | Battery Energy Storage System | Units | 9
Network Condition and Monitoring | Network Condition and Monitoring | Commissioned Vaults | Units | 222
System Enhancements | Contingency Enhancement | SCADA Switches | Units | 300
System Enhancements | Contingency Enhancement | Reclosers | Units | 220
System Enhancements | Contingency Enhancement | Undersized circuit replaced | circuit length-km | 70
System Enhancements | Downtown Contingency | # of Station Ties | Units | 1
IT-OT Systems | Core Backend Infrastructure Assets (Capacity) | Unix Virtual Servers | Units | 650
IT-OT Systems | Core Backend Infrastructure Assets (Capacity) | Linux x86 Virtual Servers | Units | 400
IT-OT Systems | Core Backend Infrastructure Assets (Capacity) | Windows Virtual Servers | Units | 3100
IT-OT Systems | Endpoint Assets | Personal Computing Devices | Units | 2500
IT-OT Systems | Endpoint Assets | Printers & Plotters | Units | 130
IT-OT Systems | IT Hardware - Cybersecurity Systems and Controls | OEB CSF Controls & Compliance | Units | 600
IT-OT Systems | IT Hardware - Cybersecurity Systems and Controls | Asset Security: Systems/Applications | Units | 1800
IT-OT Systems | IT Hardware - Cybersecurity Systems and Controls | Asset Security: Endpoints | Units | 33000
IT-OT Systems | Communication Infrastructure | Cellular SCADA Telecom Infrastructure Upgrade | Units | 2
IT-OT Systems | Communication Infrastructure | Cellular SCADA Endpoint Deployment | Units | 1250
IT-OT Systems | Communication Infrastructure | P25 Voice Radio SUA Upgrade Cycle | Units | 1
Facilities |  | Ontario Building Code Compliance | Work Program | 8 Stations
Facilities |  | Video Management System Upgrades | Work Program | 16 Stations
Fleet and Equipment |  | LD - Pickup Trucks | Units | 39
Fleet and Equipment |  | HD - Cubevan (2020 sprinter & 2020 Command unit) | Units | 27
Fleet and Equipment |  | HD - Large Digger Derrick | Units | 7
Fleet and Equipment |  | HD - Single Bucket | Units | 16
Fleet and Equipment |  | LD - SUV's | Units | 24
Fleet and Equipment |  | HD - Double Bucket | Units | 6
Fleet and Equipment |  | HD - Van with Aerial | Units | 3
Fleet and Equipment |  | HD - Small Crane truck | Units | 1
Fleet and Equipment |  | HD - Large Crane truck | Units | 5
Fleet and Equipment |  | HD - Dump Truck | Units | 4
Fleet and Equipment |  | LD - Passenger Minivan | Units | 6
Fleet and Equipment |  | LD - Cargo Minivans | Units | 14
Fleet and Equipment |  | LD - Fullsize Van | Units | 14
Fleet and Equipment |  | LD - Cars | Units | 8