**EB-2021-0243/EB-2022-0235**

**ONTARIO ENERGY BOARD**

**IN THE MATTER OF** the *Ontario Energy Board Act*, 1998

S.O. 1998, c. 15, Schedule B, as amended;

**AND IN THE MATTER OF** a Generic Hearing on Uniform

Transmission Rates Related Issues

**JOINT SUBMISSION OF:**

Niagara-on-the-Lake Hydro Inc.

Canadian Niagara Power Inc.

Entegrus Powerlines Inc.

Halton Hills Hydro Inc.

**Proposed Draft Detailed Issues List**

The following are the proposed detailed issues list for Issue 4. These build on the issues list proposed by OEB staff.

4.1 Should double peak billing customer mitigation measures be implemented for both transmission-connected customers and distribution-connected customers?[[1]](#footnote-1)

4.2 Should double peak billing customer mitigation measures be implemented for both planned transmission outages and unplanned transmission outages?[[2]](#footnote-2)

4.3 Should transmission charges be on a per delivery point basis, whereby the customer’s charges would be calculated separately for each delivery point, or on an aggregate per customer basis, whereby the transmission charges would be calculated on the customer’s aggregate demand for all delivery points for a given time interval?[[3]](#footnote-3)

4.4 Should the definition of the transmission charge determinants, used to establish UTRs and bill transmission charges, be revised to exclude the impact of planned transmission outages on customers with multiple delivery points?[[4]](#footnote-4)

4.5 Should double peak billing impact be refunded to customers and then tracked in a deferral account by the transmitter, to be later brought forward by the transmitter for disposition in its next rebasing application?[[5]](#footnote-5)

4.6 Are their other options or variations on the options above that should be considered?

1. Ibid, page 5 [↑](#footnote-ref-1)
2. Ibad, page 4 [↑](#footnote-ref-2)
3. HONI Background Report on Issues 4 and 5/6, April 2, 2024 / Issue 4 / pages 7 and 8 [↑](#footnote-ref-3)
4. Ibid., page 9 [↑](#footnote-ref-4)
5. Ibid., page 11 [↑](#footnote-ref-5)