## M2-CCMBC-3-1
|  |  | NOT weighted |  |  | Weighted by sqft |  |  | Table 2-2 2024 to 2029 Expected CDM Cumulative Savings (Electricity Consumption) by Commercial Building Type
Table 2-1 Potential Electricity Consumption Savings from CDM/Operation Optimization |  |  | Median EUI (kWh/ft2) Toronto buildings | Top Quartile EUI (kWh/ft2) Toronto buildings | sqft % share (buildings in Ontario)** | Median EUI (kWh/ft2) Toronto Buildings | Top Quartile EUI (kWh/ft2) Toronto Buildings | Annual Savings |  | Expected kWh Savings from Operation & Management Optimization
Commercial Building Types | kWh Savings | Data Source for EUI | [6 empty] | Commercial Building Types | 2024 | 2025 | 2026 | 2027 | 2028 | 2029
Multi-Residential (Condo/Apartment) | -23.08% | EWRB data - top-quartile targets, see Appendix A, Figure A8, kWh savings = Top quartile/Median -1 | [5 empty] | -23% x 50% /6 = -1.9% per year | Multi-Residential (Condo/Apartment) | -1.923% | -3.846% | -5.769% | -7.692% | -9.615% | -11.54%
Retail | -30.88% | EWRB data - top-quartile targets, see Appendix A, Figure A12, kWh savings = Top quartile/Median -1 | 20.4 | 14.1 | 15.88% | 3.2391 | 2.2388 | -31% x 50% /6 = -2.6% per year | Retail | -2.574% | -5.147% | -7.721% | -10.29% | -12.87% | -15.44%
Education | -24.2% | BPS data, top-quartile targets, see Appendix A, Figure A4, kWh savings = Top quartile/Median -1 | 4.9 | 3.7 | 12.81% | 0.62763 | 0.47393 | -24% x 50% /6 = -2.0% per year | Education* | -2.016% | -4.033% | -6.049% | -8.066% | -10.08% | -12.1%
Offices | -15.82% | EWRB data - top-quartile targets, see Appendix A, Figure A2, kWh savings = Top quartile/Median -1 | 14.85 | 12.5 | 43.24% | 6.4209 | 5.4048 | -16% x 50% /6 = -1.3% per year | Offices | -1.319% | -2.637% | -3.956% | -5.275% | -6.594% | -7.912%
Hospitals | -14.71% | BPS data, Top-quartile targets, see Appendix A, Figure A6, kWh savings = Top quartile/Median -1 | 24.7 | 21.8 | 7.516% | 1.8565 | 1.6385 | -15% x 50% /6 = -1.2% per year | Hospitals | -1.226% | -2.452% | -3.677% | -4.903% | -6.129% | -7.355%
Lodging | -38.3% | EWRB data, top-quartile targets, see Appendix A, Figure A10, kWh savings = Top quartile/Median -1 | 9.4 | 5.8 | 4.734% | 0.44503 | 0.27459 | -38% x 50% /6 = -3.2% per year | Lodging | -3.191% | -6.383% | -9.574% | -12.77% | -15.96% | -19.15%
Warehouses | -34.03% | EWRB data, top-quartile targets, see Appendix A, Figure A14, kWh savings = Top quartile/Median -1 | 7.2 | 4.75 | 4.047% | 0.29141 | 0.19225 | -34% x 50% /6 = -2.8% per year | Warehouses | -2.836% | -5.671% | -8.507% | -11.34% | -14.18% | -17.01%
[6 empty] | Potential Savings for commercial sector (weighted by kWh share by building type) | -20.63% | -21% x 50% /6 = -1.7% per year | Average* Commercial Sector CDM savings (Annual) | -1.719% | -1.719% | -1.719% | -1.719% | -1.719% | -1.719%
[9 empty] | Average* Commercial Sector CDM savings (Cumulative) | -1.719% | -3.439% | 5.158% | 6.878% | 8.597% | 10.32%
|  |  | ** Data source of sqft (or commercial floor space) by building type: NRCAN data | [5 empty] | * Weighted by kWh share by building type
https://oee.nrcan.gc.ca/corporate/statistics/neud/dpa/menus/trends/comprehensive/trends_com_on.cfm
Tables 4 to 23

## Derive Tables 3-5 3-6 3-7
SOURCE: THESL_3_T01_S02 - OEB Appendix 2-IB - Load_Forecast_Analysis_20240402.XLSX
STEP A - ORIGINAL FIGURES from Toronto Hydro Evidence
Weather corrected kWh | Toronto Hydro Original Figures
| Actual | Bridge | Forecast
Rate Class | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029
Residential | 4821243887.8479 | 4844831653.7019 | 4854325531.7023 | 4898252483.6655 | 4953291539.9986 | 5031104116.7353 | 5082273884.9959
CSMUR | 325741866.5524 | 336386377.3956 | 341855435.8117 | 348726395.3949 | 355027390.1547 | 361653182.7643 | 365438177.4019
GS < 50 kW | 2389020510.706 | 2349753700.1199 | 2361358051.8485 | 2385394366.4851 | 2407992243.8006 | 2438740084.8262 | 2438678482.0347
GS 50-999 kW | 9544666922.9721 | 9529407711.5455 | 9463360431.8566 | 9441088041.8357 | 9422833420.4574 | 9433820768.4983 | 9391367514.7128
GS 1000-4999 kW | 4232770555.7276 | 4071987161.3958 | 4003003653.9327 | 3979295922.7442 | 3959146844.6377 | 3961643011.0021 | 3881004361.1074
Large User | 1770744373.6118 | 1651006373.0771 | 1572179422.7009 | 1562410517.6788 | 1513102972.6343 | 1473456387.3684 | 1412958802.4489
Street Lighting Connections | 117771219.0747 | 118298491.948 | 118212158.4913 | 118551502.3565 | 118890846.2218 | 119603593.839 | 119569533.9524
Unmetered Scattered Load Connections | 42090115.8865 | 42205431.2725 | 42090115.8865 | 42090115.8865 | 42090115.8865 | 42205431.2725 | 42090115.8865
TOTAL Toronto Hydro | 23244049452.379 | 22943876900.4563 | 22756384802.2304 | 22775809346.0472 | 22772375373.7916 | 22862226576.3061 | 22733380872.5406
Weather corrected kW | Toronto Hydro Original Figures
| Actual | Bridge | Forecast
Rate Class | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029
Residential
CSMUR** | 992014.7226 | 1024431.5304 | 1041087.0083 | 1062011.8379 | 1081200.8959 | 1101379.0937 | 1112905.9215
GS < 50 kW** | 8553988.2271 | 8413391.7634 | 8454941.6319 | 8541004.6655 | 8621917.3138 | 8732011.2494 | 8731790.678
GS 50-999 kW** | 23570445.3539 | 23450565.5394 | 23208058.5084 | 23066939.022 | 22936011.0324 | 22876540.1144 | 22687107.9341
GS 1000-4999 kW | 9133534.7986 | 8793611.5283 | 8630976.227 | 8557350.7663 | 8490997.553 | 8473655.885 | 8277467.0849
Large User | 4338191.7932 | 4117090.0958 | 3965274.5261 | 3970922.8667 | 3875599.7679 | 3802516.2394 | 3671843.1922
Street Lighting Connections | 383743.6901 | 374579.8224 | 363522.1495 | 354445.8474 | 345448.4908 | 336528.4935 | 327684.311
Unmetered Scattered Load Connections
** These figures estimated based on Toronto Hydro THESL_3_T01_S02 - OEB Appendix 2-IB - Load_Forecast_Analysis_20240402.XLSX and
JT4.25_THESL_TC_underdakingResp_App A- 2025 NCP and CP_Application Update_20240418.XLSX NCP table
** They are used to estimate impact on Toronto Hydro's winter and summer peaks (i.e. they are not billing peaks)
STEP B - Summing all GS classes with commercial customers
Weather corrected kWh | Toronto Hydro Original Figures
| Actual | Bridge | Forecast
Rate Class | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029
CSMUR | 325741866.5524 | 336386377.3956 | 341855435.8117 | 348726395.3949 | 355027390.1547 | 361653182.7643 | 365438177.4019
1. GS <50kW | 2389020510.706 | 2349753700.1199 | 2361358051.8485 | 2385394366.4851 | 2407992243.8006 | 2438740084.8262 | 2438678482.0347
2. GS 50-999 kW | 9544666922.9721 | 9529407711.5455 | 9463360431.8566 | 9441088041.8357 | 9422833420.4574 | 9433820768.4983 | 9391367514.7128
3. GS 1000-4999 kW | 4232770555.7276 | 4071987161.3958 | 4003003653.9327 | 3979295922.7442 | 3959146844.6377 | 3961643011.0021 | 3881004361.1074
4. Large User | 1770744373.6118 | 1651006373.0771 | 1572179422.7009 | 1562410517.6788 | 1513102972.6343 | 1473456387.3684 | 1412958802.4489
TOTAL GS (1+2+3+4) | 17937202363.0175 | 17602154946.1384 | 17399901560.3386 | 17368188848.7437 | 17303075481.53 | 17307660251.695 | 17124009160.3039
TOTAL | 23244049452.379 | 22943876900.4563 | 22756384802.2304 | 22775809346.0472 | 22772375373.7916 | 22862226576.3061 | 22733380872.5406
Weather corrected kW | Toronto Hydro Original Figures
| Actual | Bridge | Forecast
Rate Class | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029
CSMUR | 992014.7226 | 1024431.5304 | 1041087.0083 | 1062011.8379 | 1081200.8959 | 1101379.0937 | 1112905.9215
1. GS <50kW | 8553988.2271 | 8413391.7634 | 8454941.6319 | 8541004.6655 | 8621917.3138 | 8732011.2494 | 8731790.678
2. GS 50-999 kW | 23570445.3539 | 23450565.5394 | 23208058.5084 | 23066939.022 | 22936011.0324 | 22876540.1144 | 22687107.9341
3. GS 1000-4999 kW | 9133534.7986 | 8793611.5283 | 8630976.227 | 8557350.7663 | 8490997.553 | 8473655.885 | 8277467.0849
4. Large User | 4338191.7932 | 4117090.0958 | 3965274.5261 | 3970922.8667 | 3875599.7679 | 3802516.2394 | 3671843.1922
TOTAL GS (1+2+3+4) | 45596160.1728 | 44774658.9268 | 44259250.8934 | 44136217.3205 | 43924525.6672 | 43884723.4882 | 43368208.8893
TOTAL
STEP C- Estimated Cumulative commercial CDM impact included in Toronto Hydro Evidence
from Tab 2. Annual Savings
Weather corrected kWh
| Actual | Bridge | Forecast
Rate Class | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029
CSMUR | 0 | 0 | 0 | 0 | 0 | 0 | 0
1. GS <50kW
2. GS 50-999 kW
3. GS 1000-4999 kW
4. Large User
TOTAL GS (1+2+3+4) |  | 283144767.4357 | 566289534.8713 | 849434302.307 | 1132579069.7426 | 1415723837.1783 | 1698868604.614
TOTAL
Weather corrected kW
| Actual | Bridge | Forecast
Rate Class | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029
CSMUR | 0 | 0 | 0 | 0 | 0 | 0 | 0
1. GS <50kW
2. GS 50-999 kW
3. GS 1000-4999 kW
4. Large User
TOTAL GS (1+2+3+4) |  | 704636.4598 | 1409272.9197 | 2113909.3795 | 2818545.8394 | 3523182.2992 | 4227818.759
STEP D- TORONTO HYDRO LOAD FORECAST AFTER ESTIMATED Cumulative commercial CDM impact HAS BEEN REMOVED
from Tab 2. Annual Savings
Weather corrected kWh
| Actual | Bridge | Forecast
Rate Class | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029
CSMUR | 325741866.5524 | 336386377.3956 | 341855435.8117 | 348726395.3949 | 355027390.1547 | 361653182.7643 | 365438177.4019
1. GS <50kW
2. GS 50-999 kW
3. GS 1000-4999 kW
4. Large User
TOTAL GS (1+2+3+4) | 17937202363.0175 | 17885299713.574 | 17966191095.2099 | 18217623151.0507 | 18435654551.2726 | 18723384088.8733 | 18822877764.9178
TOTAL
Weather corrected kW
| Actual | Bridge | Forecast
Rate Class | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029
CSMUR | 992014.7226 | 1024431.5304 | 1041087.0083 | 1062011.8379 | 1081200.8959 | 1101379.0937 | 1112905.9215
1. GS <50kW
2. GS 50-999 kW
3. GS 1000-4999 kW
4. Large User
TOTAL GS (1+2+3+4) | 45596160.1728 | 45479295.3867 | 45668523.8131 | 46250126.7 | 46743071.5065 | 47407905.7874 | 47596027.6483
STEP E- Add Cumulative impact of commercial CDM activities estimated by Enerlife to table above (shown in Step D)
from M2-CCMBC-3-1
|  | 2024 | 2025 | 2026 | 2027 | 2028 | 2029
Mult-Residential (condo/apartment) | annual | -1.923% | -1.923% | -1.923% | -1.923% | -1.923% | -1.923%
Average Commercial | annual | -1.719% | -1.719% | -1.719% | -1.719% | -1.719% | -1.719%
For total GS* |  | -1.62% | -1.62% | -1.62% | -1.62% | -1.62% | -1.62%
* From TransformTO Technical Report Part 2 The Pathway to Net Zero (issued December 2021, page 93, Figure 35), commercial sector kWh represents |  | 2024: 94.2%; 2025: of businesses in Toronto (i.e. 94% commercial, 6% others such as industrial)
Mult-Residential (condo/apartment) | kWh | -6264266.6645 | -12733235.4605 | -19307378.4569 | -26013655.2914 | -32841105.1021 | -39795974.0014
For total GS* | kWh | -290531021.1232 | -580221368.7993 | -871221923.8997 | -1166294954.2082 | -1464899465.294 | -1768164366.2596
Mult-Residential (condo/apartment) | kW | -19077.2062 | -38777.8126 | -58798.7166 | -79222.0211 | -100014.3461 | -121194.7132
For total GS* | kW | -738526.4829 | -1475160.0928 | -2214858.6583 | -2963977.5156 | -3721080.6591 | -4488952.2034
Weather corrected kWh
| Actual | 2024: Bridge; 2025: Forecast
Rate Class | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029
CSMUR | 325741866.5524 | 330122110.7312 | 329122200.3512 | 329419016.938 | 329013734.8633 | 328812077.6622 | 325642203.4005
1. GS <50kW
2. GS 50-999 kW
3. GS 1000-4999 kW
4. Large User
TOTAL GS (1+2+3+4) | 17937202363.0175 | 17594768692.4508 | 17385969726.4106 | 17346401227.151 | 17269359597.0645 | 17258484623.5793 | 17054713398.6582
TOTAL
Weather corrected kW
| Actual | 2024: Bridge; 2025: Forecast
Rate Class | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029
CSMUR** | 992014.7226 | 1005354.3242 | 1002309.1957 | 1003213.1214 | 1001978.8748 | 1001364.7477 | 991711.2083
1. GS <50kW
2. GS 50-999 kW
3. GS 1000-4999 kW
4. Large User
TOTAL GS (1+2+3+4) | 45596160.1728 | 44740768.9038 | 44193363.7203 | 44035268.0417 | 43779093.9909 | 43686825.1282 | 43107075.445
** They are used to estimate impact on Toronto Hydro's winter and summer peaks (i.e. they are not billing peaks)
STEP F- Allocate total GS figures into rate classes using original rate class break down in Step A
Table 3-5 Alternative Load Forecast Scenario 1 - 2024 to 2029 Weather Corrected kWh Forecast by Rate Class
Weather Corrected kWh per year | Actual | 2024: Bridge Year; 2025: Forecast
Rate Class | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029
Residential | 4821243887.8479 | 4844831653.7019 | 4854325531.7023 | 4898252483.6655 | 4953291539.9986 | 5031104116.7353 | 5082273884.9959
CSMUR | 325741866.5524 | 330122110.7312 | 329122200.3512 | 329419016.938 | 329013734.8633 | 328812077.6622 | 325642203.4005
GS < 50 kW | 2389020510.706 | 2348767691.4758 | 2359467348.7254 | 2382401995.1872 | 2403300153.7515 | 2431810980.9648 | 2428809877.0113
GS 50-999 kW | 9544666922.9721 | 9525408961.2184 | 9455783264.51 | 9429244616.1642 | 9404472571.0649 | 9407016795.2821 | 9353363449.2668
GS 1000-4999 kW | 4232770555.7276 | 4070278465.4845 | 3999798510.3905 | 3974304072.7289 | 3951432254.3766 | 3950386938.2226 | 3865299093.1042
Large User | 1770744373.6118 | 1650313574.2721 | 1570920602.7848 | 1560450543.0707 | 1510154617.8714 | 1469269909.1099 | 1407240979.276
Street Lighting Connections | 117771219.0747 | 118298491.948 | 118212158.4913 | 118551502.3565 | 118890846.2218 | 119603593.839 | 119569533.9524
Unmetered Scattered Load Connections | 42090115.8865 | 42205431.2725 | 42090115.8865 | 42090115.8865 | 42090115.8865 | 42205431.2725 | 42090115.8865
TOTAL Toronto Hydro | 23244049452.379 | 22930226380.1043 | 22729719732.8419 | 22734714345.9975 | 22712645834.0346 | 22780209843.0883 | 22624289136.8935
Table 3-6 - Alternative Load Forecast Scenario 1 - 2024 to 2029 Weather Corrected kW Forecast by Rate Class
Weather Corrected Billing* kW per year | Actual | 2024: Bridge Year; 2025: Forecast
Rate Class | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029
Residential
CSMUR | - | bar: 2024 to 2029
GS < 50 kW** | - | 8407023.6515 | 8442355.0609 | 8521469.5011 | 8593370.6223 | 8692634.205 | 8679213.8566
GS 50-999 kW | 23570445.3539 | 23432815.7625 | 23173509.4969 | 23014179.8369 | 22860071.1678 | 22773378.2528 | 22550501.8167
GS 1000-4999 kW | 9133534.7986 | 8786955.6273 | 8618127.5995 | 8537778.2148 | 8462884.3295 | 8435443.8953 | 8227625.8868
Large User | 4338191.7932 | 4113973.8626 | 3959371.5629 | 3961840.4889 | 3862767.8713 | 3785368.7751 | 3649733.8849
Street Lighting Connections | 383743.6901 | 374579.8224 | 363522.1495 | 354445.8474 | 345448.4908 | 336528.4935 | 327684.311
Unmetered Scattered Load Connections** | - | bar: 2024 to 2029
** They are used to estimate impact on Toronto Hydro's winter and summer peaks (i.e. they are not billing peaks)
STEP G- Estimate impact of Load Forecast Scenario 1 on Toronto Hydro System Peaks
Starting with Table 3-4
Table 3-4 TH Winter and Summer Peaks (CP) by rate class - growth rate based on kWh and kW tables
| 2025 | 2026 | 2027 | 2028 | 2029 | 2025 | 2026 | 2027 | 2028 | 2029
| Winter Peak | Winter Peak | Winter Peak | Winter Peak | Winter Peak | Summer Peak | Summer Peak | Summer Peak | Summer Peak | Summer Peak
Coincident Peak (kW) | January | January | January | January | January | August | August | August | August | August
RES | 849762.9708 | 857452.504 | 867087.2415 | 880708.546 | 889665.954 | 913273.969 | 921538.2153 | 931893.0498 | 946532.406 | 956159.2877
CSMUR | 67409.0168 | 68763.8721 | 70006.3384 | 71312.8502 | 72059.1972 | 48766.2917 | 49746.4464 | 50645.2946 | 51590.4758 | 52130.4121
GS<50 | 507558.4505 | 512724.899 | 517582.1647 | 524191.2118 | 524177.9707 | 638780.0922 | 645282.2486 | 651395.2877 | 659713.005 | 659696.3406
GS50-999 | 1503929.4428 | 1494784.6127 | 1486300.2124 | 1482446.3759 | 1470170.7849 | 1551589.6474 | 1542155.0135 | 1533401.7387 | 1529425.7724 | 1516761.1624
GS1-5MW | 517675.4552 | 513259.4896 | 509279.7046 | 508239.5724 | 496472.4069 | 615797.8649 | 610544.8784 | 605810.748 | 604573.4648 | 590575.9005
Large User | 227103.9581 | 227427.4566 | 221967.9978 | 217782.2703 | 210298.2068 | 255328.5971 | 255692.3003 | 249554.3361 | 244848.4035 | 236434.2153
SL | 28110.8936 | 27409.03 | 26713.2712 | 26023.4946 | 25339.5806 | 0 | 0 | 0 | 0 | 0
USL | 5474.0432 | 5474.0432 | 5474.0432 | 5489.0406 | 5474.0432 | 4436.7178 | 4436.7178 | 4436.7178 | 4448.8732 | 4436.7178
Total | 3707024.2311 | 3707295.9073 | 3704410.9738 | 3716193.3618 | 3693658.1442 | 4027973.1801 | 4029395.8203 | 4027137.1727 | 4041132.4006 | 4016194.0364
Estimate system peak impact by percentage differences between figures in Step F and Step A
Table 3-7 Winter and Summer Peaks (CP) by rate class - based on Alternative Forecast Scenario 1 - with Enerlife CDM Impact ONLY in Multi-Res and Commercial Sectors
| 2025 | 2026 | 2027 | 2028 | 2029 | 2025 | 2026 | 2027 | 2028 | 2029
| Winter Peak | Winter Peak | Winter Peak | Winter Peak | Winter Peak | Summer Peak | Summer Peak | Summer Peak | Summer Peak | Summer Peak
Coincident Peak (kW) | January | January | January | January | January | August | August | August | August | August
RES | 849762.9708 | 857452.504 | 867087.2415 | 880708.546 | 889665.954 | 913273.969 | 921538.2153 | 931893.0498 | 946532.406 | 956159.2877
CSMUR | 64898.2044 | 64956.7324 | 64876.8165 | 64837.0526 | 64211.9986 | 46949.8728 | 46992.2142 | 46934.4 | 46905.6332 | 46453.445
GS<50 | 506802.8663 | 511552.1839 | 515868.4788 | 521827.3692 | 521021.7325 | 637829.163 | 643806.3456 | 649238.5539 | 656738.0262 | 655724.1042
GS50-999 | 1501690.5965 | 1491365.7101 | 1481379.1546 | 1475761.2772 | 1461318.4304 | 1549279.851 | 1538627.7643 | 1528324.7304 | 1522528.8199 | 1507628.2727
GS1-5MW | 516904.8101 | 512085.5518 | 507593.5076 | 505947.6638 | 493482.9924 | 614881.1485 | 609148.4274 | 603804.9421 | 601847.138 | 587019.8597
Large User | 226765.8765 | 226907.2798 | 221233.074 | 216800.1802 | 209031.9361 | 254948.4985 | 255107.4755 | 248728.0755 | 243744.2585 | 235010.5716
SL | 28110.8936 | 27409.03 | 26713.2712 | 26023.4946 | 25339.5806 | 0 | 0 | 0 | 0 | 0
USL | 5474.0432 | 5474.0432 | 5474.0432 | 5489.0406 | 5474.0432 | 4436.7178 | 4436.7178 | 4436.7178 | 4448.8732 | 4436.7178
Total | 3700410.2615 | 3697203.0352 | 3690225.5875 | 3697394.6241 | 3669546.6677 | 4021599.2207 | 4019657.1601 | 4013360.4694 | 4022745.155 | 3992432.2586

## 1 Annual Electrification impact
Table 2-3 Electrification progression steps and their impact on electricity and natural gas usage for different commercial building types.
|  | Building Category | Large Office |  |  | Small Office |  |  | K-12 School |  |  | Hospital
|  |  | Usage | CDM Savings* | Electrification Impact** | Usage | CDM Savings* | Electrification Impact** | Usage | CDM Savings* | Electrification Impact** | Usage | CDM Savings* | Electrification Impact**
| Electricity Consumption (kWh per year) | Original Consumption | 17273294.171 | - | - | 3267564.09 | - | - | 339615.35 | - | - | 33619916 | - | -
|  | With Operational & Management Optimization (CDM) | 14509567.1036 | -16% | - | 2707741.8 | -17.13% | - | 258107.666 | -24% | - | 28576928.6 | -15% | -
|  | With 1st-Stage Heat Recovery | 14926877.4417 | - | 2.876% | 2788376.3625 | - | 2.978% | 259398.2043 | - | 0.5% | - | - | -
|  | With Final-stage Heat Recovery + Electrification | 15113765.0491 | - | 4.164% | 3191460.6269 | - | 17.86% | 382680 | - | 48.26% | 34092275.8198 | - | 19.3%
| Summer Peak Electricity Demand (kW) | Original Summer Peak | 3139 | - | - | 809.4 | - | - | 57 | - | - | 6955 | - | -
|  | With Operational & Management Optimization (CDM) | 2668.15 | -15% | - | 667.8 | -17.49% | - | 48.45 | -15% | - | 6259.5 | -10% | -
|  | With 1st-Stage Heat Recovery | 2668.15 | - | 0% | 671.8 | - | 0.599% | 49.45 | - | 2.064% | - | - | -
|  | With Final-stage Heat Recovery + Electrification | 2668.15 | - | 0% | 671.8 | - | 0.599% | 49.45 | - | 2.064% | 6991.8615 | - | 11.7%
| Winter Peak Electricity Demand (kW) | Original Winter Peak | 3036 | - | - | 666.9 | - | - | 100.9 | - | - | 7031 | - | -
|  | With Operational & Management Optimization (CDM) | 2580.6 | -15% | - | 565.8 | -15.16% | - | 85.765 | -15% | - | 6327.9 | -10% | -
|  | With 1st-Stage Heat Recovery | 2791.4 | - | 8.169% | 604.9488 | - | 6.919% | 86.765 | - | 1.166% | - | - | -
|  | With Final-stage Heat Recovery + Electrification | 2825.4 | - | 9.486% | 853.7968 | - | 50.9% | 115.114 | - | 34.22% | 7068.2643 | - | 11.7%
| Annual Natural Gas Usage (m 3) | Original Consumption | 559374.2363 | - | - | 154158.3108 | - | - | 28463 | - | - | 3958427.3673 | - | -
|  | With Operational & Management Optimization (CDM) | 389883.8427 | -30.3% | - | 107448.3426 | -30.3% | - | 19070.21 | -33% | - | 3166741.8938 | -20% | -
|  | With 1st-Stage Heat Recovery | 259619.1186 | - | -33.41% | 77652.0201 | - | -27.73% | 16718.4348 | - | -12.33% | - | - | -
|  | With Final-stage Heat Recovery + Electrification | 223921.2895 | - | -42.57% | 3335.4614 | - | -96.9% | 8992.2452 | - | -52.85% | 1662539.4943 | - | -47.5%
* Percentage change from Original Consumption/Demand
** Percentage change from Consumption/Demand post Operational & Management Optimization
Estimate Impact of electrification for multi-res and average commercial sectors based on figures in Table 2-3
|  | 2024 | 2025 | 2026 | 2027 | 2028 | 2029
Mult-Residential (condo/apartment)* | annual kWh | 0.3573% | 0.3573% | 0.3573% | 0.3573% | 0.3573% | 0.3573%
| Cumulative kWh | 0.3573% | 0.7146% | 1.072% | 1.429% | 1.786% | 2.144%
* use small office as proxy, assuming 2% penetration per year | Annual summer kW | 0.01198% | 0.01198% | 0.01198% | 0.01198% | 0.01198% | 0.01198%
| Cumulative summer kW | 0.01198% | 0.02396% | 0.03594% | 0.04792% | 0.0599% | 0.07188%
| Annual winter kW | 1.018% | 1.018% | 1.018% | 1.018% | 1.018% | 1.018%
| Cumulative winter kW | 1.018% | 2.036% | 3.054% | 4.072% | 5.09% | 6.108%
| annual NG usage reduction | -1.938% | -1.938% | -1.938% | -1.938% | -1.938% | -1.938%
| Cumulative NG usage reduction | -1.938% | -3.876% | -5.814% | -7.752% | -9.69% | -11.63%
WEIGHTING by kWh | bar: 2024
Office | annual kWh | 2024: 7.942%
| summer kW | 2024: 0.2159%
| winter kW | 2024: 21.77%
| annual NG usage | 2024: -50.28%
Education | annual kWh | 2024: 3.402%
| summer kW | 2024: 0.1455%
| winter kW | 2024: 2.412%
| annual NG usage | 2024: -3.725%
Hospitals | annual kWh | 2024: 4.024%
| summer kW | 2024: 2.439%
| winter kW | 2024: 2.439%
| annual NG usage | 2024: -9.903%
Average Commercial** ## | annual kWh | 0.2895% | 0.2895% | 0.2895% | 0.2895% | 0.2895% | 0.2895%
** weighted by kWh (see M2-CCMBC-3-1), assuming 2% penetration per year | Cumulative kWh | 0.2895% | 0.579% | 0.8685% | 1.158% | 1.448% | 1.737%
| Annual summer kW | 0.05276% | 0.05276% | 0.05276% | 0.05276% | 0.05276% | 0.05276%
| Cumulative summer kW | 0.05276% | 0.1055% | 0.1583% | 0.2111% | 0.2638% | 0.3166%
| Annual winter kW | 0.5016% | 0.5016% | 0.5016% | 0.5016% | 0.5016% | 0.5016%
| Cumulative winter kW | 0.5016% | 1.003% | 1.505% | 2.006% | 2.508% | 3.009%
| annual NG usage reduction | -1.204% | -1.204% | -1.204% | -1.204% | -1.204% | -1.204%
| Cumulative NG usage reduction | -1.204% | -2.408% | -3.612% | -4.816% | -6.02% | -7.224%
* From TransformTO Technical Report Part 2 The Pathway to Net Zero (issued December 2021, page 93, Figure 35), commercial sector kWh represents | 94.2% | 2024: of businesses in Toronto (i.e. 94% commercial, 6% others such as industrial)

## Derive Tables 3-8 3-9 3-10
STEP A- Start with Tables 3-5, 3-6 and 3.7
Table 3-5 Alternative Load Forecast Scenario 1 - 2024 to 2029 Weather Corrected kWh Forecast by Rate Class
Weather Corrected kWh per year | Actual | Bridge Year | Forecast
Rate Class | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029
Residential | 4821243887.8479 | 4844831653.7019 | 4854325531.7023 | 4898252483.6655 | 4953291539.9986 | 5031104116.7353 | 5082273884.9959
CSMUR | 325741866.5524 | 330122110.7312 | 329122200.3512 | 329419016.938 | 329013734.8633 | 328812077.6622 | 325642203.4005
GS < 50 kW | 2389020510.706 | 2348767691.4758 | 2359467348.7254 | 2382401995.1872 | 2403300153.7515 | 2431810980.9648 | 2428809877.0113
GS 50-999 kW | 9544666922.9721 | 9525408961.2184 | 9455783264.51 | 9429244616.1642 | 9404472571.0649 | 9407016795.2821 | 9353363449.2668
GS 1000-4999 kW | 4232770555.7276 | 4070278465.4845 | 3999798510.3905 | 3974304072.7289 | 3951432254.3766 | 3950386938.2226 | 3865299093.1042
Large User | 1770744373.6118 | 1650313574.2721 | 1570920602.7848 | 1560450543.0707 | 1510154617.8714 | 1469269909.1099 | 1407240979.276
Street Lighting Connections | 117771219.0747 | 118298491.948 | 118212158.4913 | 118551502.3565 | 118890846.2218 | 119603593.839 | 119569533.9524
Unmetered Scattered Load Connections | 42090115.8865 | 42205431.2725 | 42090115.8865 | 42090115.8865 | 42090115.8865 | 42205431.2725 | 42090115.8865
TOTAL Toronto Hydro | 23244049452.379 | 22930226380.1043 | 22729719732.8419 | 22734714345.9975 | 22712645834.0346 | 22780209843.0883 | 22624289136.8935
Table 3-6 - Alternative Load Forecast Scenario 1 - 2024 to 2029 Weather Corrected kW Forecast by Rate Class
Weather Corrected Billing* kW per year | Actual | Bridge Year | Forecast
Rate Class | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029
Residential
CSMUR** | 992014.7226 | 1005354.3242 | 1002309.1957 | 1003213.1214 | 1001978.8748 | 1001364.7477 | 991711.2083
GS < 50 kW** | 8553988.2271 | 8407023.6515 | 8442355.0609 | 8521469.5011 | 8593370.6223 | 8692634.205 | 8679213.8566
GS 50-999 kW | 23570445.3539 | 23432815.7625 | 23173509.4969 | 23014179.8369 | 22860071.1678 | 22773378.2528 | 22550501.8167
GS 1000-4999 kW | 9133534.7986 | 8786955.6273 | 8618127.5995 | 8537778.2148 | 8462884.3295 | 8435443.8953 | 8227625.8868
Large User | 4338191.7932 | 4113973.8626 | 3959371.5629 | 3961840.4889 | 3862767.8713 | 3785368.7751 | 3649733.8849
Street Lighting Connections | 383743.6901 | 374579.8224 | 363522.1495 | 354445.8474 | 345448.4908 | 336528.4935 | 327684.311
Unmetered Scattered Load Connections** | - | - | - | - | - | - | -
** They are used to estimate impact on Toronto Hydro's winter and summer peaks (i.e. they are not billing peaks)
Table 3-7 Winter and Summer Peaks (CP) by rate class - based on Alternative Forecast Scenario 1 - with Enerlife CDM Impact ONLY in Multi-Res and Commercial Sectors
| 2025 | 2026 | 2027 | 2028 | 2029 | 2025 | 2026 | 2027 | 2028 | 2029
| Winter Peak | Winter Peak | Winter Peak | Winter Peak | Winter Peak | Summer Peak | Summer Peak | Summer Peak | Summer Peak | Summer Peak
Coincident Peak (kW) | January | January | January | January | January | August | August | August | August | August
RES | 849762.9708 | 857452.504 | 867087.2415 | 880708.546 | 889665.954 | 913273.969 | 921538.2153 | 931893.0498 | 946532.406 | 956159.2877
CSMUR | 64898.2044 | 64956.7324 | 64876.8165 | 64837.0526 | 64211.9986 | 46949.8728 | 46992.2142 | 46934.4 | 46905.6332 | 46453.445
GS<50 | 506802.8663 | 511552.1839 | 515868.4788 | 521827.3692 | 521021.7325 | 637829.163 | 643806.3456 | 649238.5539 | 656738.0262 | 655724.1042
GS50-999 | 1501690.5965 | 1491365.7101 | 1481379.1546 | 1475761.2772 | 1461318.4304 | 1549279.851 | 1538627.7643 | 1528324.7304 | 1522528.8199 | 1507628.2727
GS1-5MW | 516904.8101 | 512085.5518 | 507593.5076 | 505947.6638 | 493482.9924 | 614881.1485 | 609148.4274 | 603804.9421 | 601847.138 | 587019.8597
Large User | 226765.8765 | 226907.2798 | 221233.074 | 216800.1802 | 209031.9361 | 254948.4985 | 255107.4755 | 248728.0755 | 243744.2585 | 235010.5716
SL | 28110.8936 | 27409.03 | 26713.2712 | 26023.4946 | 25339.5806 | 0 | 0 | 0 | 0 | 0
USL | 5474.0432 | 5474.0432 | 5474.0432 | 5489.0406 | 5474.0432 | 4436.7178 | 4436.7178 | 4436.7178 | 4448.8732 | 4436.7178
Total | 3700410.2615 | 3697203.0352 | 3690225.5875 | 3697394.6241 | 3669546.6677 | 4021599.2207 | 4019657.1601 | 4013360.4694 | 4022745.155 | 3992432.2586
STEP B- Cumulative electrification impact on kWh and billing kW
kWh
Weather Corrected kWh per year | January: Actual; January: Bridge Year; January: Forecast
Rate Class | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029
Residential
CSMUR |  | 1163829.3841 | 2343308.758 | 3519215.5942 | 4696182.9139 | 5871702.2183 | 7046501.0303
GS < 50 kW |  | 6916513.8296 | 13716490.7021 | 20547444.4235 | 27444796.8211 | 34402652.0073 | 41443049.6119
GS 50-999 kW |  | 27633007.1158 | 55210260.0184 | 82585937.8018 | 109884782.8718 | 137111909.7662 | 164346402.5086
GS 1000-4999 kW |  | 12254401.3144 | 24038367.6599 | 35618285.7012 | 47124394.1499 | 58564285.8175 | 70001151.1639
Large User |  | 5126526.9151 | 9904391.5707 | 14452403.6224 | 18970103.5389 | 23342190.4476 | 27595910.9997
Street Lighting Connections
Unmetered Scattered Load Connections
TOTAL Toronto Hydro | bar: January to August
kW
Weather Corrected Billing* kW per year | January: Actual; January: Bridge Year; January: Forecast
Rate Class | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029
Residential
CSMUR |  | 2749.4548 | 5535.8815 | 8313.8684 | 11094.3605 | 13871.4319 | 16646.8011
GS < 50 kW** |  | 23708.1202 | 47008.9153 | 70407.6345 | 94025.6262 | 117842.8981 | 141935.2876
GS 50-999 kW |  | 65327.5333 | 130273.6143 | 194501.0055 | 258286.8007 | 321645.4704 | 384763.8631
GS 1000-4999 kW |  | 25314.3838 | 49668.1933 | 73554.0813 | 97217.274 | 120672.8918 | 144052.4561
Large User |  | 12023.6748 | 23425.9101 | 34399.6517 | 45380.2362 | 56086.2324 | 66577.7102
Street Lighting Connections |  | 374579.8224 | 363522.1495 | 354445.8474 | 345448.4908 | 336528.4935 | 327684.311
Unmetered Scattered Load Connections** | bar: January to August
** They are used to estimate impact on Toronto Hydro's winter and summer peaks (i.e. they are not billing peaks)
STEP C- Add Cumulative electrification impact on kWh and billing kW (step B) to Alternative Load Forecast scenario 1
Table 3-8 - Alternative Load Forecast Scenario 2 - 2024 to 2029 Weather Corrected kWh Forecast by Rate Class
Weather Corrected kWh per year | January: Actual; January: Bridge Year; January: Forecast
Rate Class | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029
Residential | 4821243887.8479 | 4844831653.7019 | 4854325531.7023 | 4898252483.6655 | 4953291539.9986 | 5031104116.7353 | 5082273884.9959
CSMUR | 325741866.5524 | 331285940.1152 | 331465509.1091 | 332938232.5322 | 333709917.7771 | 334683779.8805 | 332688704.4308
GS < 50 kW | 2389020510.706 | 2355684205.3054 | 2373183839.4275 | 2402949439.6108 | 2430744950.5727 | 2466213632.9721 | 2470252926.6231
GS 50-999 kW | 9544666922.9721 | 9553041968.3342 | 9510993524.5284 | 9511830553.966 | 9514357353.9368 | 9544128705.0483 | 9517709851.7754
GS 1000-4999 kW | 4232770555.7276 | 4082532866.7989 | 4023836878.0505 | 4009922358.4301 | 3998556648.5265 | 4008951224.0401 | 3935300244.2681
Large User | 1770744373.6118 | 1655440101.1872 | 1580824994.3555 | 1574902946.6932 | 1529124721.4103 | 1492612099.5574 | 1434836890.2757
Street Lighting Connections | 117771219.0747 | 118298491.948 | 118212158.4913 | 118551502.3565 | 118890846.2218 | 119603593.839 | 119569533.9524
Unmetered Scattered Load Connections | 42090115.8865 | 42205431.2725 | 42090115.8865 | 42090115.8865 | 42090115.8865 | 42205431.2725 | 42090115.8865
TOTAL Toronto Hydro | 23244049452.379 | 22983320658.6633 | 22834932551.551 | 22891437633.1407 | 22920766094.3302 | 23039502583.3453 | 22934722152.2078
Table 3-9 - Alternative Load Forecast Scenario 2 - 2024 to 2029 Weather Corrected kW Forecast by Rate Class (REVISED)
Weather Corrected Billing* kW per year | January: Actual; January: Bridge Year; January: Forecast
Rate Class | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029
Residential**
CSMUR** | bar: January to August
GS < 50 kW** | bar: January to August
GS 50-999 kW | 23570445.3539 | 23498143.2958 | 23303783.1112 | 23208680.8424 | 23118357.9686 | 23095023.7232 | 22935265.6798
GS 1000-4999 kW | 9133534.7986 | 8812270.011 | 8667795.7928 | 8611332.2961 | 8560101.6035 | 8556116.7871 | 8371678.3429
Large User | 4338191.7932 | 4125997.5373 | 3982797.473 | 3996240.1407 | 3908148.1075 | 3841455.0075 | 3716311.5951
Street Lighting Connections | 383743.6901 | 374579.8224 | 363522.1495 | 354445.8474 | 345448.4908 | 336528.4935 | 327684.311
Unmetered Scattered Load Connections** | bar: January to August
* Billing kW per year = 12 x average monthly peak
** Billing kW not available for rate classes that are not demand billed
STEP D- Estimate impact of Load Forecast Scenario 2 on Toronto Hydro System Peaks
Start with Table 3-7 Winter and Summer Peaks (CP) by rate class - based on Alternative Forecast Scenario 1 - with Enerlife CDM Impact ONLY in Multi-Res and Commercial Sectors
| 2025 | 2026 | 2027 | 2028 | 2029 | 2025 | 2026 | 2027 | 2028 | 2029
| Winter Peak | Winter Peak | Winter Peak | Winter Peak | Winter Peak | Summer Peak | Summer Peak | Summer Peak | Summer Peak | Summer Peak
Coincident Peak (kW) | January | January | January | January | January | August | August | August | August | August
RES | 849762.9708 | 857452.504 | 867087.2415 | 880708.546 | 889665.954 | 913273.969 | 921538.2153 | 931893.0498 | 946532.406 | 956159.2877
CSMUR | 64898.2044 | 64956.7324 | 64876.8165 | 64837.0526 | 64211.9986 | 46949.8728 | 46992.2142 | 46934.4 | 46905.6332 | 46453.445
GS<50 | 506802.8663 | 511552.1839 | 515868.4788 | 521827.3692 | 521021.7325 | 637829.163 | 643806.3456 | 649238.5539 | 656738.0262 | 655724.1042
GS50-999 | 1501690.5965 | 1491365.7101 | 1481379.1546 | 1475761.2772 | 1461318.4304 | 1549279.851 | 1538627.7643 | 1528324.7304 | 1522528.8199 | 1507628.2727
GS1-5MW | 516904.8101 | 512085.5518 | 507593.5076 | 505947.6638 | 493482.9924 | 614881.1485 | 609148.4274 | 603804.9421 | 601847.138 | 587019.8597
Large User | 226765.8765 | 226907.2798 | 221233.074 | 216800.1802 | 209031.9361 | 254948.4985 | 255107.4755 | 248728.0755 | 243744.2585 | 235010.5716
SL | 28110.8936 | 27409.03 | 26713.2712 | 26023.4946 | 25339.5806 | 0 | 0 | 0 | 0 | 0
USL | 5474.0432 | 5474.0432 | 5474.0432 | 5489.0406 | 5474.0432 | 4436.7178 | 4436.7178 | 4436.7178 | 4448.8732 | 4436.7178
Total | 3700410.2615 | 3697203.0352 | 3690225.5875 | 3697394.6241 | 3669546.6677 | 4021599.2207 | 4019657.1601 | 4013360.4694 | 4022745.155 | 3992432.2586
Apply impact of electrification from Tab "1 Annual Electrification impact"
Table 3-10 Winter and Summer Peaks (CP) by rate class - based on Alternative Forecast Scenario 2 - with Enerlife CDM Impact + Electrification Impact in Multi-Res and Commercial Sectors
| 2025 | 2026 | 2027 | 2028 | 2029 | 2025 | 2026 | 2027 | 2028 | 2029
| Winter Peak | Winter Peak | Winter Peak | Winter Peak | Winter Peak | Summer Peak | Summer Peak | Summer Peak | Summer Peak | Summer Peak
Coincident Peak (kW) | January | January | January | January | January | August | August | August | August | August
RES | 849762.9708 | 857452.504 | 867087.2415 | 880708.546 | 889665.954 | 913273.969 | 921538.2153 | 931893.0498 | 946532.406 | 956159.2877
CSMUR | 66219.5531 | 66940.543 | 67518.6431 | 68137.3118 | 68134.1307 | 46961.1216 | 47009.1027 | 46956.8903 | 46933.7288 | 46486.8347
GS<50 | 511886.6546 | 519249.3276 | 526217.9315 | 534913.6205 | 536700.9898 | 638502.2327 | 644825.4112 | 650608.7728 | 658470.5844 | 657799.9641
GS50-999 | 1516754.1993 | 1513805.7595 | 1511098.8682 | 1512770.0356 | 1505294.3077 | 1550914.7296 | 1541063.2213 | 1531550.2618 | 1526545.4438 | 1512401.0499
GS1-5MW | 522089.932 | 519790.7209 | 517776.9463 | 518635.688 | 508333.5185 | 615530.0022 | 610112.6338 | 605079.2732 | 603434.887 | 588878.219
Large User | 229040.5868 | 230321.4729 | 225671.4945 | 222237.0388 | 215322.3945 | 255217.5331 | 255511.279 | 249253.0164 | 244387.2867 | 235754.5567
SL | 28110.8936 | 27409.03 | 26713.2712 | 26023.4946 | 25339.5806 | 0 | 0 | 0 | 0 | 0
USL | 5474.0432 | 5474.0432 | 5474.0432 | 5489.0406 | 5474.0432 | 4436.7178 | 4436.7178 | 4436.7178 | 4448.8732 | 4436.7178
Total | 3729338.8336 | 3740443.4012 | 3747558.4395 | 3768914.7759 | 3754264.919 | 4024836.3061 | 4024496.5811 | 4019777.982 | 4030753.2098 | 4001916.63