## Derive Table 3-4
Estimate Toronto Hydro Co-incident peaks by rate class 2026-2029
Starting with JT4.25 2025 weather normalized CPs by rate class
Coincident Peak (kW) | January | February | March | April | May | June | July | August | September | October | November | December
RES | 849762.9708 | 831536.7467 | 815145.987 | 467175.945 | 627171.5145 | 977604.7485 | 863112.0886 | 913273.969 | 674386.7098 | 452300.1628 | 693175.3203 | 727025.5587
CSMUR | 67409.0168 | 66456.5365 | 70670.8477 | 38786.5089 | 45871.8966 | 53578.2224 | 50311.7278 | 48766.2917 | 46035.5223 | 42660.9791 | 59397.3067 | 56731.0777
GS<50 | 507558.4505 | 449085.8277 | 440151.5762 | 480434.5488 | 441601.0155 | 578219.9348 | 617160.1897 | 638780.0922 | 597639.3684 | 595129.6991 | 450865.446 | 527688.9753
GS50-999 | 1503929.4428 | 1413432.1149 | 1391571.6518 | 1283941.523 | 1179082.2311 | 1445271.5311 | 1564130.3948 | 1551589.6474 | 1452189.9989 | 1467619.4778 | 1243185.1298 | 1338678.1014
GS1-5MW | 517675.4552 | 465689.2853 | 491243.8341 | 479831.1795 | 481922.462 | 531729.3751 | 601224.067 | 615797.8649 | 601164.6191 | 592834.1733 | 486937.6385 | 559179.2452
Large User | 227103.9581 | 192232.5694 | 208196.2917 | 237387.2557 | 231291.1967 | 214986.3758 | 245332.9974 | 255328.5971 | 265093.8849 | 257302.8826 | 215893.7983 | 231527.5528
Streetlights | 28110.8936 | 26710.9759 | 27792.4782 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 29365.3969 | 28189.0207
USL | 5474.0432 | 5624.3414 | 5609.6641 | 4533.0495 | 4581.8234 | 4827.5708 | 4403.7755 | 4436.7178 | 4537.5074 | 4428.7987 | 5407.2047 | 5511.1638
Total | 3707024.2311 | 3450768.3978 | 3450382.3309 | 2992090.0103 | 3011522.1398 | 3806217.7586 | 3945675.2407 | 4027973.1801 | 3641047.6107 | 3412276.1733 | 3184227.2413 | 3474530.6957
| WINTER PEAK | [6 empty] | SUMMER PEAK
Apply 2026 to 2029 annual growth from the 2 tables below to 2025 winter and summer CP by rate class
Toronto Hydro THESL_3_T01_S02 - OEB Appendix 2-IB - Load_Forecast_Analysis_20240402.XLSX
Weather corrected kWh | January: Toronto Hydro Original Figures
| Actual | Bridge | Forecast
Rate Class | January: 2023; February: 2024; March: 2025; April: 2026; May: 2027; June: 2028; July: 2029
Residential | January: 4821243887.8479; February: 4844831653.7019; March: 4854325531.7023; April: 4898252483.6655; May: 4953291539.9986; June: 5031104116.7353; July: 5082273884.9959
CSMUR | January: 325741866.5524; February: 336386377.3956; March: 341855435.8117; April: 348726395.3949; May: 355027390.1547; June: 361653182.7643; July: 365438177.4019
GS < 50 kW | January: 2389020510.706; February: 2349753700.1199; March: 2361358051.8485; April: 2385394366.4851; May: 2407992243.8006; June: 2438740084.8262; July: 2438678482.0347
GS 50-999 kW | January: 9544666922.9721; February: 9529407711.5455; March: 9463360431.8566; April: 9441088041.8357; May: 9422833420.4574; June: 9433820768.4983; July: 9391367514.7128
GS 1000-4999 kW | January: 4232770555.7276; February: 4071987161.3958; March: 4003003653.9327; April: 3979295922.7442; May: 3959146844.6377; June: 3961643011.0021; July: 3881004361.1074
Large User | January: 1770744373.6118; February: 1651006373.0771; March: 1572179422.7009; April: 1562410517.6788; May: 1513102972.6343; June: 1473456387.3684; July: 1412958802.4489
Street Lighting Connections | January: 117771219.0747; February: 118298491.948; March: 118212158.4913; April: 118551502.3565; May: 118890846.2218; June: 119603593.839; July: 119569533.9524
Unmetered Scattered Load Connections | January: 42090115.8865; February: 42205431.2725; March: 42090115.8865; April: 42090115.8865; May: 42090115.8865; June: 42205431.2725; July: 42090115.8865
TOTAL Toronto Hydro | January: 23244049452.379; February: 22943876900.4563; March: 22756384802.2304; April: 22775809346.0472; May: 22772375373.7916; June: 22862226576.3061; July: 22733380872.5406
Weather corrected kW | January: Toronto Hydro Original Figures
| Actual | Bridge | Forecast
Rate Class | January: 2023; February: 2024; March: 2025; April: 2026; May: 2027; June: 2028; July: 2029
Residential
CSMUR**
GS < 50 kW**
GS 50-999 kW** | January: 23570445.3539; February: 23450565.5394; March: 23208058.5084; April: 23066939.022; May: 22936011.0324; June: 22876540.1144; July: 22687107.9341
GS 1000-4999 kW | January: 9133534.7986; February: 8793611.5283; March: 8630976.227; April: 8557350.7663; May: 8490997.553; June: 8473655.885; July: 8277467.0849
Large User | January: 4338191.7932; February: 4117090.0958; March: 3965274.5261; April: 3970922.8667; May: 3875599.7679; June: 3802516.2394; July: 3671843.1922
Street Lighting Connections | January: 383743.6901; February: 374579.8224; March: 363522.1495; April: 354445.8474; May: 345448.4908; June: 336528.4935; July: 327684.311
Unmetered Scattered Load Connections
Table 3-4 TH Winter and Summer Peaks (CP) by rate class - growth rate based on kWh and kW tables
| 2025 | 2026 | 2027 | 2028 | 2029 | 2025 | 2026 | 2027 | 2028 | 2029
| Winter Peak | Winter Peak | Winter Peak | Winter Peak | Winter Peak | Summer Peak | Summer Peak | Summer Peak | Summer Peak | Summer Peak
Coincident Peak (kW) | January | January | January | January | January | August | August | August | August | August
RES | 849762.9708 | 857452.504 | 867087.2415 | 880708.546 | 889665.954 | 913273.969 | 921538.2153 | 931893.0498 | 946532.406 | 956159.2877
CSMUR | 67409.0168 | 68763.8721 | 70006.3384 | 71312.8502 | 72059.1972 | 48766.2917 | 49746.4464 | 50645.2946 | 51590.4758 | 52130.4121
GS<50 | 507558.4505 | 512724.899 | 517582.1647 | 524191.2118 | 524177.9707 | 638780.0922 | 645282.2486 | 651395.2877 | 659713.005 | 659696.3406
GS50-999 | 1503929.4428 | 1494784.6127 | 1486300.2124 | 1482446.3759 | 1470170.7849 | 1551589.6474 | 1542155.0135 | 1533401.7387 | 1529425.7724 | 1516761.1624
GS1-5MW | 517675.4552 | 513259.4896 | 509279.7046 | 508239.5724 | 496472.4069 | 615797.8649 | 610544.8784 | 605810.748 | 604573.4648 | 590575.9005
Large User | 227103.9581 | 227427.4566 | 221967.9978 | 217782.2703 | 210298.2068 | 255328.5971 | 255692.3003 | 249554.3361 | 244848.4035 | 236434.2153
SL | 28110.8936 | 27409.03 | 26713.2712 | 26023.4946 | 25339.5806 | 0 | 0 | 0 | 0 | 0
USL | 5474.0432 | 5474.0432 | 5474.0432 | 5489.0406 | 5474.0432 | 4436.7178 | 4436.7178 | 4436.7178 | 4448.8732 | 4436.7178
Total | 3707024.2311 | 3707295.9073 | 3704410.9738 | 3716193.3618 | 3693658.1442 | 4027973.1801 | 4029395.8203 | 4027137.1727 | 4041132.4006 | 4016194.0364