## Sheet5
| Worker and Public Safety, Environmental Protection, Cybersecurity | Sustaining End of Life Asset Replacement | Sustaining Vegetation Management | Reliability and Resilience improvements | General Plant Investments to Support Productivity and Efficiency | A cost-effective, long term approach to energy transition | Customer/Stakeholder Preferences | Cost Effectiveness
Service Connections | •work is completed within O.Reg 22/04 requirements •coordination with nearby asset replacement reduces mobilization and emissions | •service connections reviewed for possibility of required nearby asset replacement to minimize mobilization costs. | Sustaining VM allows API to complete Service Connection work efficiently. | N/A | General Plant investments allow API to complete Service connection work efficiently. | Where grid constraint is identfied, NWS will be considered to facilitate connection. | Service connections are completed in response to customer requests | Work is completed in coordination with other requirements, where possible, to minimize mobilization costs.
Small Lines/Stations Capital | •Proactive replacement approach is safer than reactive replacement. •Proactive replacement can avoid/minimize oil leak risks. •work is completed within O.Reg 22/04 requirements | •Projects identified based on inspection results- failure/performance risk of each asset. | Sustaining VM allows API to complete Small Lines/Stations replacement work efficiently. | •Replacing deteriorated assets prior to failure allows API to reduce or eliminate the outage impact of an unplanned outage. | General Plant investments allow API to complete Small Lines/Stations replacement work efficiently. | N/A | •Proactive approach minimizes outage duration, frequency •Proactive approach minimizes replacement costs | Proactive replacement can be associated with lower costs, ex: due to planned work during regular hours.
Smart Meter Replacement | •Program will be conducted in line with all applicable health and safety requirements •Newer smart metering assets will improve risk mitigation against Cyber Security threats. | Program supports the replacement of Smart Meters and associated infrastructure reaching end of life. | N/A | API's smart metering network supports its outage identification and management. | General Plan investments support API's imlementation of the SM replacement program. | N/A | •Proactive replacement enables billing accuracy. •Program aims to avoid cost premiums for reactive replacements and stabilize costs over time. | •Proactive replacement approach promotes cost-effective replacements. •API's long-term goal is to create a chronologically diverse reverification batch size that stabilizes annual costs •Proactive approach allows API to optimize use of internal resources.
Wawa #2 DS | Rebuild will mitigate existing oil containment risks and improve working clearance and associated worker safety. | Wawa #2 DS is one of API's oldest stations, assessed as fair-poor condition. Transformer is in poor condition. | N/A | •Aged transformer presents reliability risk; failure would leave Wawa without backup. •Current station design requires total de-energization of the station for switching or equipment failures. | General Plant investments such as SCADA will enable future efficiencies in the use and operation of the DS. | The incremental costs for a 50% transformer capacity increase are nearly immaterial today, but could avoid costly replacements and upgrades in the long term. | •API's proposal is consistent with customer feedback on this project •Project supports cost-effecitveness and reliability improvements. | •"Right Sizing" today will help avoid costly upgrades in the future to address load growth. •New station design will allow API to operate the DS in a more cost-efficient manner.
Goulais TS Refurbishment & Voltage Conversion | •Goulais TS refurbishment will improve overall worker safety and safe working clearances. •Voltage conversion will eliminate API's requirement for a 12.5/25kV autotransformer and associated foundations and switching equipment. | TS Refurbishment is a result of HOSSM's end-of-life asset replacement program. | API's VM Program will support the efficient completion of Voltage Conversion work | Investment will support improved voltage reliability and stability | General Plant investments support API's ability to complete the Voltage Conversion project work. | •HOSSM will upgrade the supply at Goulais TS to 25kV (above like-for-like), which will accommodate long term growth forecasts. •Investments will enable more DER connections and EV charging infrastructure. | •API's proposal is consistent with customer feedback on this project •Investment supports reliability, power quality, connection of new customers, and cost-effectiveness | •API has chosen a balanced approach, the "medium" scenario of voltage conversion. •The voltage conversion plan will result in avoided costs for dual-voltage HOSSM transformer, and API owned station. •Investments in Goulais TS will limit future investments due to long term growth.
Distribution and Subtransmission Line Rebuilds | •Program designed to avoid unplanned outages, which can pose significant worker and public safety risk. •Proactive replacement of poles, wires and hardware ensures that API’s is progressively being brought up to current and safe standards. •Each project is thoroughly reviewed to identify any issues related to the natural environment or areas of cultural significance. •Subtransmission pole replacement avoid costlier reactive replacements and reduce reduce wildfire risk. | •Avg. Replacment of 500 poles per year designed to ensure long term stability of pole replacement program. | Sustaining VM Allows API to complete line rebuilds efficiently. | • Reliability and resilience are supported through replacement of older, deteriorated assets with new assets, which inherently are less likely to fail. •Proactive asset replacement minimizes outage impact and duration as unplanned outages can take significantly longer to restore. •Reliability and resilience are further supported through the updating of assets to today's higher standards. | General Plant investments permit API to complete its Line Rebuilds programs efficiently | N/A | •Proactive approach minimizes outage duration, frequency •Proactive approach minimizes replacement costs •Lifespan optimization reduces risk of early writeoffs •Updating assets to today's standard supports resiliency and reliability •Customers supported API's proposed replacement pace in Customer Survey (vs. 10% increase or decrease). | •Proactive approach minimizes replacement costs •Lifespan optimization reduces risk of early writeoffs. •Lifespan optimization supports long-term program cost stability and avoids higher future costs. •Planned approach allows API to optimize use of internal resources. •Planned, proactive approach allows API to minimize costly "one-off" replacements. •Planned proactive approach has been historically successful at avoiding unplanned pole failures, which can be significantly more costly to address.
Protection, Automation, Reliability | •Work will be conducted in line with all applicable safety, cybersecurity and environmental policies and requirements. •Investments that reduce future unplanned outages inherently support improved safety. •Reliability improvements resulting in a reduction of outage frequency would reduce the emissions associated with vehicles responding to after-hours outage events. | Where applicable, API will combined Protection, Automation and Reliability work with replacement work due to asset age/condition. | Sustaining VM allows API to complete its Protection, Automation and Reliability programs efficiently. | Projects have been selected to address the highest opportunities for reliability improvements. | General Plant investments permit API to complete its Protection, Automation, Reliability programs efficiently | •Many projects have a positive impact on power quality and accommodation of REG/DER projects. •Projects involving distribution automation enable API to connect more DERs employ DERs as Non Wires Solutions for future distribution needs. | API consulted with customers specifically on the Distribution Automation component of this Program. API's proposal is in line with customer preference, which supported "full implementation" | •Many projects will have a positive impact on system losses and enable future cost savings. •Incorporation of advanced SCADA-capable equipment will support operational and asset management efficiences.
Vegetation Management | •Vegetation management work is conducted within applicable safety and environmental requirements • proactive VM work enhances worker and public safety. •API's processes are conducted in line with wildfire mitigation requirements | VM Allows API to complete its asset replacement programs efficiently. | API's Vegetation Management program enables API to keep vegetation near powerlines under adequate control, mitigating the impact of unplanned outages and allowing API efficient access to maintain and operate its distribution assets. | •VM program has contributed to steady improvements in the number and duration of outages. •Tree caused outages will continue to be the #1 outage source in API's territory •VM activities help avoid outages during some extreme weather events, and enable crews to restore power when outages do occur. •VM practices are designed to mitigate Wildfire risks. | General Plant investments support API's VMP. | N/A | •API's proposed approach to Hazard Tree Removal is consistent with direct customer feedback. •API conducts significant VM customer engagement. When landowners decline permission to apply herbicide, API complies. •Program supports cost efficiency and outage reductions as outlines in surrounding sections. | •API's VMP is designed with optimal cycle durations that ensure control is maximized, avoiding long term cost increases. •Despite increasing challenges as a result of reduced ability to apply herbicide as well as inflationary increases, API has incorporated cost efficiency targets into its 2025 budget based on improved herbicide use and application of mechanical clearing.