## Cover
DRAFT
OEB Vulnerability Assessment & System Hardening
Vulnerability Assessment Toolkit Model
2024-12-06
Private and confidential
DISCLAIMER
Guidehouse Inc. (Guidehouse) has provided the information in this publication for informational purposes only. The information has been obtained from sources believed to be reliable; however, Guidehouse does not make any express or implied warranty or representation concerning such information. Any market forecasts or predictions contained in the publication reflect Guidehouse’s current expectations based on market data and trend analysis. Market predictions and expectations are inherently uncertain and actual results may differ materially from those contained in the publication. Guidehouse and its subsidiaries and affiliates hereby disclaim liability for any loss or damage caused by errors or omissions in this publication.
CONTACTS
| Donald Lau | Zubin Panchal
| Manager, Electricity Distribution | Senior Advisor, Electricity Distribution
| Donald.Lau@oeb.ca | Zubin.Panchal@oeb.ca

## Table of Contents
DRAFT
Ontario Energy Board Vulnerability Assessment Toolkit - Table of Contents
Guidehouse, December 2024
Disclaimer
Contents
This file contains the following pages:
|  | Color | Tab Name | Description/Purpose
|  |  | Table of Contents | Contains a model overview and tab descriptions.
|  | Tab Link | User Guide | The User Guide outlines the step-by-step methodology to employ the Vulnerability Assessment Toolkit model to analyze asset class and location vulnerability to climate perils. The example of reviewing the vulnerability of Class 3 poles in County 1 to high wind probabilities is provided as an illustrative example.
|  | Tab Link | 1. LDC Asset Summary | Summarizes asset counts by analysis location. Locations with no assets of a specific class will have no vulnerability for that class regardless of climate projections. For locations and class combinations with higher vulnerability, an LDC may review its asset counts to understand the pervasiveness of the resiliency challenge.
|  | Tab Link | 2. Asset Class Failure Threshold | Characterizes the expected resilience of LDC assets identified in the Asset Summary to specific climate perils. Sub classes may be included to better estimate failure thresholds across a variety of perils. The total annual probability of failure is the summation across climate perils. LDCs may leverage design standards to quickly review vulnerability or refine failure thresholds with additional condition data of field equipment.
|  | Tab Link | 3. Climate Peril Probability | Projects the annual probability of specific events (relevant to assets in the Asset Summary) occurring at targeted grid locations through time. Climate perils and severity thresholds are linked to specific asset failure modes and thresholds. For example, wind gusts may be evaluated at 80, 100, and 120 kph as these relate to different class pole failures.
|  | Tab Link | 4. VA Heatmap | Categorizes vulnerability for each asset class in user-specified time intervals at a specified location by user-defined vulnerability bins. The annual probability of failures are summed across applicable climate perils based on asset class failure thresholds.
Key
LDC Input
Calculated Value
The Vulnerability Assessment (VA) Toolkit is designed to support LDCs as an option for streamlining the identification of vulnerable asset classes and locations. The toolkit illustrates a generic assessment methodology option compliant with OEB expectations for evaluation of resiliency risk, resulting in a heatmap that supports narrowing assets for further review.
The toolkit combines climate data, design standards, and asset location summaries. Inputs may be developed by LDCs using a variety of sources including the LDCs internal data, CSA guidelines, publicly available climate data, and proprietary climate data. The OEB does not specify a data source expectation. LDCs may leverage data commensurate with their planning granularity and needs.
While this toolkit is a fully functioning model that may be used by LDCs, the onus remains on the LDCs to ensure accuracy of the data and results. The prepopulated values are illustrative only and should not be used for vulnerability assessments. LDCs must provide their own climate peril probabilities, asset class failure thresholds, and asset summaries to operate the model.
This deliverable was prepared by Guidehouse Inc. for the use and benefit of, and pursuant to a client relationship exclusively with the OEB ("Client"). The work presented in this deliverable represents Guidehouse’s professional judgement based on the information available at the time this report was prepared. Any third party relying on the information in this deliverable does so entirely at their own risk and shall have no right of recourse against the Vendor. Accordingly, Guidehouse disclaims any contractual or other responsibility to others based on their access to or use of the deliverable.

## User Guide
DRAFT - Example Data Illustrative
Ontario Energy Board Vulnerability Assessment Toolkit - User Guide
Guidehouse, December 2024
3. Climate Peril Probability
2. Asset Class Failure
Thresholds
4. Vulnerability Assessment Heatmap
The User Guide outlines the step-by-step methodology to employ the Vulnerability Assessment Toolkit model to analyze asset class and location vulnerability to climate perils. The example of reviewing the vulnerability of Class 3 poles in County 1 to high wind probabilities is provided as an illustrative example. NOTE: The examples used throughout this model do not represent input data, unit basis, or sub classes from any specific data source and should be updated to reflect the source used by the LDC.
1. LDC Asset Summary
Step 1: Users should populate the Asset Summary with their installed asset base by location. Asset sub classes may be utilized to add granularity to failure thresholds. Additionally the counts of each asset class or sub class should be included as available. If actual counts are not available, populating with a "1" will ensure correct model calculations. Locations and classes for inclusion are based on user discretion. Generally, locations should be chosen based on likelihood of varying climate conditions and asset classes and sub classes based on variations in the expected weather event resilience of those technologies.
Example: The LDC populates the summary of their poles in County 1 by Class. Based on the counts, the LDC is interested in the vulnerability of their most populous sub class, Class 3 poles, as it may represent greater risk.
Step 2: Users set up the Asset Class Failure Modes & Thresholds table to include the asset classes and sub classes identified in the Asset Summary process. Leveraging CSA guidelines, OEM design standards, or other engineering resources, asset classes and sub classes are assigned to climate perils, and severity thresholds that pose a threat to the equipment are determined. The unit basis of the climate peril identified should be included and referenced in the development of climate peril probabilities.
Example: The LDC populates the provided table with the asset class and sub classes from Step 1. Wind (1 min gusts measured in kph) is determined to be the primary climate peril applicable to utility poles. Severity thresholds for wind are researched based on manufacturer specifications and populate the remainder of the table. The 150 Class 3 poles in County 1 are designed to withstand 80 kph gusts.
Step 3: Users set up the Climate Peril Probability Model with the climate perils and severity thresholds identified in Step 2 as relevant to the asset summary at locations identified in Step 1. Leveraging Environment Canada data, CSA working documents, proprietary climate data, or other sources, the annual probability of occurrence is developed for a specific climate peril, severity threshold, location, and time period. Data for climate projections is highly variable, therefore, forecast time periods are discretionary and may be adjusted to match best available data.
Example: The LDC populates the provided table with the climate perils and thresholds from Step 2 for each location from Step 1. The annual frequency of wind gusts in County 1 at different thresholds is researched and populated in 5-year increments based on available data. As we know from Step 2, the 150 Class 3 poles in County 1 are designed to withstand 80 kph gusts; which has a 0.8% annual probability of occurrence in 2025 but increases to a 1.6% annual probability of occurrence by 2050.
Step 4: The Vulnerability Assessment Heatmap will automatically populate after Step 3 is complete. Users may toggle the Location field to view each specified location in Step 1 individually to reveal differences in vulnerability based on the Asset Summary and Climate Peril Probability model. Additionally, users may designate cutoff points for vulnerability categories ranging from Low to High (annual probabilities above the "High" field with be labeled "Very High"). The Annual Probability Bins represent the low end of a probability range considered to be in the category. The resulting heatmap may be used to identify areas of system vulnerability for further research and/or prioritize asset classes and locations for investment review.
Example: The LDC sets the Location field to County 1 and the Annual Probability Bins at 1%, 5%, and 10% (representing the risk of a 1/100-, 1/20-, and 1/10-year event respectively). The resulting analysis of Class 3 poles in County 1 shows Low vulnerability (less than 1% per year in this example) until 2035 when the vulnerability becomes Medium (between 1% and 5% per year in this example). The LDC may choose to focus research effort and investment on hardening other locations or asset classes with greater risk and revisit Class 3 poles in County 1 when developing a future DSP.

## 1. LDC Asset Summary
DRAFT - Example Data Illustrative | DRAFT - Example Data Illustrative
LDC Asset Summary
Guidehouse, December 2024
|  | Location | Asset Class | Sub Class | Count | Unit Basis
| County 1PoleClass 5 | County 1 | Pole | Class 5 | 100 | pole
| County 1PoleClass 4 | County 1 | Pole | Class 4 | 50 | pole
| County 1PoleClass 3 | County 1 | Pole | Class 3 | 150 | pole
| County 1PoleClass 2 | County 1 | Pole | Class 2 | 30 | pole
| County 1Overhead ConductorCovered | County 1 | Overhead Conductor | Covered | 5000 | meter
| County 1Overhead ConductorUncovered | County 1 | Overhead Conductor | Uncovered | 3000 | meter
| County 2PoleClass 5 | County 2 | Pole | Class 5 | 20 | pole
| County 2PoleClass 4 | County 2 | Pole | Class 4 | 10 | pole
| County 2PoleClass 3 | County 2 | Pole | Class 3 | 0 | pole
| County 2PoleClass 2 | County 2 | Pole | Class 2 | 0 | pole
| County 2Overhead ConductorCovered | County 2 | Overhead Conductor | Covered | 1000 | meter
| County 2Overhead ConductorUncovered | County 2 | Overhead Conductor | Uncovered | 600 | meter
Users should populate the Asset Summary with their installed asset base by location. Asset sub classes may be utilized to add granularity to failure thresholds. Additionally the counts of each asset class or sub class should be included as available. If actual counts are not available, populating with a "1" will ensure correct model calculations. Locations and classes for inclusion are based on user discretion. Generally, locations should be chosen based on likelihood of varying climate conditions and asset classes and sub classes based on variations in the expected weather event resilience of those technologies.

## 2. Asset Class Failure Thresh
DRAFT - Example Data Illustrative
Asset Class Failure Modes & Thresholds
Guidehouse, December 2024
| Asset Class | Sub Class | Climate Peril | Severity Threshold | Unit Basis
| Pole | Class 5 | Wind | 60 | kph (1 min gusts)
| Pole | Class 4 | Wind | 70 | kph (1 min gusts)
| Pole | Class 3 | Wind | 80 | kph (1 min gusts)
| Pole | Class 2 | Wind | 90 | kph (1 min gusts)
| Overhead Conductor | Covered | Wind | 80 | kph (1 min gusts)
| Overhead Conductor | Uncovered | Wind | 60 | kph (1 min gusts)
| Pole | Class 5 | Snow/Ice | N/A | cm ice accumulation
| Pole | Class 4 | Snow/Ice | N/A | cm ice accumulation
| Pole | Class 3 | Snow/Ice | N/A | cm ice accumulation
| Pole | Class 2 | Snow/Ice | N/A | cm ice accumulation
| Overhead Conductor | Covered | Snow/Ice | 2 | cm ice accumulation
| Overhead Conductor | Uncovered | Snow/Ice | 1.5 | cm ice accumulation
Users set up the Asset Class Failure Modes & Thresholds table to include the asset classes and sub classes identified in the Asset Summary process. Leveraging CSA guidelines, OEM design standards, or other engineering resources, asset classes and sub classes are assigned to climate perils, and severity thresholds that pose a threat to the equipment are determined. The unit basis of the climate peril identified should be included and referenced in the development of climate peril probabilities.

## 3. Climate Peril Probability
DRAFT - Example Data Illustrative
Climate Peril Probability Model
Guidehouse, December 2024
|  | Climate Peril | Severity Threshold | Unit Basis | Location | Annual Event Probability Forecast
[6 empty] | 2025 | 2030 | 2035 | 2040 | 2045 | 2050
| County 1Wind100 | Wind | 100 | kph (1 min gusts) | County 1 | 0.001 | 0.00115 | 0.0013225 | 0.0015209 | 0.001749 | 0.0020114
| County 1Wind90 | Wind | 90 | kph (1 min gusts) | County 1 | 0.003 | 0.00345 | 0.0039675 | 0.0045626 | 0.005247 | 0.0060341
| County 1Wind80 | Wind | 80 | kph (1 min gusts) | County 1 | 0.008 | 0.0092 | 0.01058 | 0.012167 | 0.013992 | 0.016091
| County 1Wind70 | Wind | 70 | kph (1 min gusts) | County 1 | 0.03 | 0.0345 | 0.039675 | 0.045626 | 0.05247 | 0.060341
| County 1Wind60 | Wind | 60 | kph (1 min gusts) | County 1 | 0.08 | 0.092 | 0.1058 | 0.12167 | 0.13992 | 0.16091
| County 2Wind100 | Wind | 100 | kph (1 min gusts) | County 2 | 0.0005 | 0.000575 | 0.00066125 | 0.00076044 | 0.0008745 | 0.0010057
| County 2Wind90 | Wind | 90 | kph (1 min gusts) | County 2 | 0.0015 | 0.001725 | 0.0019837 | 0.0022813 | 0.0026235 | 0.003017
| County 2Wind80 | Wind | 80 | kph (1 min gusts) | County 2 | 0.004 | 0.0046 | 0.00529 | 0.0060835 | 0.006996 | 0.0080454
| County 2Wind70 | Wind | 70 | kph (1 min gusts) | County 2 | 0.015 | 0.01725 | 0.019837 | 0.022813 | 0.026235 | 0.03017
| County 2Wind60 | Wind | 60 | kph (1 min gusts) | County 2 | 0.04 | 0.046 | 0.0529 | 0.060835 | 0.06996 | 0.080454
| County 1Snow/Ice2.5 | Snow/Ice | 2.5 | cm ice accumulation | County 1 | 0.01 | 0.0115 | 0.013225 | 0.015209 | 0.01749 | 0.020114
| County 1Snow/Ice2 | Snow/Ice | 2 | cm ice accumulation | County 1 | 0.02 | 0.023 | 0.02645 | 0.030417 | 0.03498 | 0.040227
| County 1Snow/Ice1.5 | Snow/Ice | 1.5 | cm ice accumulation | County 1 | 0.03 | 0.0345 | 0.039675 | 0.045626 | 0.05247 | 0.060341
| County 1Snow/Ice1 | Snow/Ice | 1 | cm ice accumulation | County 1 | 0.05 | 0.0575 | 0.066125 | 0.076044 | 0.08745 | 0.10057
| County 1Snow/Ice0.5 | Snow/Ice | 0.5 | cm ice accumulation | County 1 | 0.1 | 0.115 | 0.13225 | 0.15209 | 0.1749 | 0.20114
| County 2Snow/Ice2.5 | Snow/Ice | 2.5 | cm ice accumulation | County 2 | 0.005 | 0.00575 | 0.0066125 | 0.0076044 | 0.008745 | 0.010057
| County 2Snow/Ice2 | Snow/Ice | 2 | cm ice accumulation | County 2 | 0.01 | 0.0115 | 0.013225 | 0.015209 | 0.01749 | 0.020114
| County 2Snow/Ice1.5 | Snow/Ice | 1.5 | cm ice accumulation | County 2 | 0.015 | 0.01725 | 0.019837 | 0.022813 | 0.026235 | 0.03017
| County 2Snow/Ice1 | Snow/Ice | 1 | cm ice accumulation | County 2 | 0.025 | 0.02875 | 0.033062 | 0.038022 | 0.043725 | 0.050284
| County 2Snow/Ice0.5 | Snow/Ice | 0.5 | cm ice accumulation | County 2 | 0.05 | 0.0575 | 0.066125 | 0.076044 | 0.08745 | 0.10057
Users set up the Climate Peril Probability Model with the climate perils and severity thresholds identified in Step 2 as relevant to the asset summary at locations identified in Step 1. Leveraging Environment Canada data, CSA working documents, proprietary climate data, or other sources, the annual probability of occurrence is developed for a specific climate peril, severity threshold, location, and time period. Data for climate projections is highly variable, therefore, forecast time periods are discretionary and may be adjusted to match best available data.

## 4. VA Heatmap
DRAFT - Example Data Illustrative
Vulnerability Heatmap
Guidehouse, December 2024
|  | Location |  | County 1 | [5 empty] | Legend
[10 empty] | Bin Option | Definition
|  |  |  | Low | Medium | High | Very High |  |  | 0.01 | 1-in-100 year event
|  | Annual Probability Bin |  | 0.01 | 0.05 | 0.1 | >0.1 |  |  | 0.02 | 1-in-50 year event
[10 empty] | 0.05 | 1-in-20 year event
|  |  |  | Asset Vulnerability Heatmap | [5 empty] | 0.1 | 1-in-10 year event
|  | Asset Class | Sub Class | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | 0.2 | 1-in-5 year event
| County 1PoleClass 5 | Pole | Class 5 | High | High | Very High | Very High | Very High | Very High
| County 1PoleClass 4 | Pole | Class 4 | Medium | Medium | Medium | Medium | High | High
| County 1PoleClass 3 | Pole | Class 3 | Low | Low | Medium | Medium | Medium | Medium
| County 1PoleClass 2 | Pole | Class 2 | Low | Low | Low | Low | Low | Low
| County 1Overhead ConductorCovered | Overhead Conductor | Covered | Medium | Medium | Medium | Medium | Medium | High
| County 1Overhead ConductorUncovered | Overhead Conductor | Uncovered | Very High | Very High | Very High | Very High | Very High | Very High
County 1
County 1
County 1
County 1
County 1
County 1
County 1
County 1
County 1
County 1
County 1
County 1
County 1
County 1
County 1
The Vulnerability Assessment Heatmap will automatically populate after Step 3 is complete. Users may toggle the Location field to view each user-specified location in Step 1 individually to reveal differences in vulnerability based on the Asset Summary and Climate Peril Probability model. Additionally, users may designate cutoff points for vulnerability categories ranging from Low to High (annual probabilities above the "High" field with be labeled "Very High"). The Annual Probability Bins represent the low end of a probability range considered to be in the category. The resulting heatmap may be used to identify areas of system vulnerability for further research and/or prioritize asset classes and locations for investment review.

## Intermediate Calculations
DRAFT - Example Data Illustrative
SUPPORTING CALCULATIONS DO NOT CHANGE
Guidehouse, December 2024
[6 empty] | Annual Event Probability Forecast | [8 empty] | Total Annual Probability Across Perils
|  | Asset Class | Sub Class | Climate Peril | Severity Threshold | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 |  | Asset Class | Sub Class | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | All Asset List | Unique Asset List | Class List | Sub Class List | All Location List | Unique Asset List
County 1PoleClass 5 | County 1Wind60 | Pole | Class 5 | Wind | 60 | 0.08 | 0.092 | 0.1058 | 0.12167 | 0.13992 | 0.16091 | County 1PoleClass 5 | Pole | Class 5 | 8% | 9.2% | 10.58% | 12.17% | 13.99% | 16.09% | Pole-Class 5 | Pole-Class 5 | Pole | Class 5 | County 1 | County 1
County 1PoleClass 4 | County 1Wind70 | Pole | Class 4 | Wind | 70 | 0.03 | 0.0345 | 0.039675 | 0.045626 | 0.05247 | 0.060341 | County 1PoleClass 4 | Pole | Class 4 | 3% | 3.45% | 3.967% | 4.563% | 5.247% | 6.034% | Pole-Class 4 | Pole-Class 4 | Pole | Class 4 | County 1 | County 2
County 1PoleClass 3 | County 1Wind80 | Pole | Class 3 | Wind | 80 | 0.008 | 0.0092 | 0.01058 | 0.012167 | 0.013992 | 0.016091 | County 1PoleClass 3 | Pole | Class 3 | 0.8% | 0.92% | 1.058% | 1.217% | 1.399% | 1.609% | Pole-Class 3 | Pole-Class 3 | Pole | Class 3 | County 1
County 1PoleClass 2 | County 1Wind90 | Pole | Class 2 | Wind | 90 | 0.003 | 0.00345 | 0.0039675 | 0.0045626 | 0.005247 | 0.0060341 | County 1PoleClass 2 | Pole | Class 2 | 0.3% | 0.345% | 0.3967% | 0.4563% | 0.5247% | 0.6034% | Pole-Class 2 | Pole-Class 2 | Pole | Class 2 | County 1
County 1Overhead ConductorCovered | County 1Wind80 | Overhead Conductor | Covered | Wind | 80 | 0.008 | 0.0092 | 0.01058 | 0.012167 | 0.013992 | 0.016091 | County 1Overhead ConductorCovered | Overhead Conductor | Covered | 2.8% | 3.22% | 3.703% | 4.258% | 4.897% | 5.632% | Overhead Conductor-Covered | Overhead Conductor-Covered | Overhead Conductor | Covered | County 1
County 1Overhead ConductorUncovered | County 1Wind60 | Overhead Conductor | Uncovered | Wind | 60 | 0.08 | 0.092 | 0.1058 | 0.12167 | 0.13992 | 0.16091 | County 1Overhead ConductorUncovered | Overhead Conductor | Uncovered | 11% | 12.65% | 14.55% | 16.73% | 19.24% | 22.12% | Overhead Conductor-Uncovered | Overhead Conductor-Uncovered | Overhead Conductor | Uncovered | County 1
County 1PoleClass 5 | County 1Snow/IceN/A | Pole | Class 5 | Snow/Ice | N/A | 0 | 0 | 0 | 0 | 0 | 0 | County 1 |  |  | 0% | 0% | 0% | 0% | 0% | 0% | Pole-Class 5 | - |  |  | County 2
County 1PoleClass 4 | County 1Snow/IceN/A | Pole | Class 4 | Snow/Ice | N/A | 0 | 0 | 0 | 0 | 0 | 0 | County 1 |  |  | 0% | 0% | 0% | 0% | 0% | 0% | Pole-Class 4 |  |  |  | County 2
County 1PoleClass 3 | County 1Snow/IceN/A | Pole | Class 3 | Snow/Ice | N/A | 0 | 0 | 0 | 0 | 0 | 0 | County 1 |  |  | 0% | 0% | 0% | 0% | 0% | 0% | Pole-Class 3 |  |  |  | County 2
County 1PoleClass 2 | County 1Snow/IceN/A | Pole | Class 2 | Snow/Ice | N/A | 0 | 0 | 0 | 0 | 0 | 0 | County 1 |  |  | 0% | 0% | 0% | 0% | 0% | 0% | Pole-Class 2 |  |  |  | County 2
County 1Overhead ConductorCovered | County 1Snow/Ice2 | Overhead Conductor | Covered | Snow/Ice | 2 | 0.02 | 0.023 | 0.02645 | 0.030417 | 0.03498 | 0.040227 | County 1 |  |  | 0% | 0% | 0% | 0% | 0% | 0% | Overhead Conductor-Covered |  |  |  | County 2
County 1Overhead ConductorUncovered | County 1Snow/Ice1.5 | Overhead Conductor | Uncovered | Snow/Ice | 1.5 | 0.03 | 0.0345 | 0.039675 | 0.045626 | 0.05247 | 0.060341 | County 1 |  |  | 0% | 0% | 0% | 0% | 0% | 0% | Overhead Conductor-Uncovered |  |  |  | County 2
County 100 | County 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | County 1 |  |  | 0% | 0% | 0% | 0% | 0% | 0% | -
County 100 | County 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | County 1 |  |  | 0% | 0% | 0% | 0% | 0% | 0% | -
County 100 | County 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | County 1 |  |  | 0% | 0% | 0% | 0% | 0% | 0% | -
County 100 | County 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | County 1 |  |  | 0% | 0% | 0% | 0% | 0% | 0% | -
County 100 | County 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | County 1 |  |  | 0% | 0% | 0% | 0% | 0% | 0% | -
County 100 | County 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | County 1 |  |  | 0% | 0% | 0% | 0% | 0% | 0% | -
County 100 | County 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | County 1 |  |  | 0% | 0% | 0% | 0% | 0% | 0% | -
County 100 | County 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | County 1 |  |  | 0% | 0% | 0% | 0% | 0% | 0% | -
County 100 | County 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | County 1 |  |  | 0% | 0% | 0% | 0% | 0% | 0% | -
County 100 | County 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | County 1 |  |  | 0% | 0% | 0% | 0% | 0% | 0% | -
County 100 | County 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | County 1 |  |  | 0% | 0% | 0% | 0% | 0% | 0% | -
County 100 | County 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | County 1 |  |  | 0% | 0% | 0% | 0% | 0% | 0% | -
County 100 | County 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | County 1 |  |  | 0% | 0% | 0% | 0% | 0% | 0% | -
County 100 | County 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | County 1 |  |  | 0% | 0% | 0% | 0% | 0% | 0% | -
County 100 | County 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | County 1 |  |  | 0% | 0% | 0% | 0% | 0% | 0% | -
County 100 | County 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | County 1 |  |  | 0% | 0% | 0% | 0% | 0% | 0% | -
County 100 | County 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | County 1 |  |  | 0% | 0% | 0% | 0% | 0% | 0% | -
County 100 | County 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | County 1 |  |  | 0% | 0% | 0% | 0% | 0% | 0% | -
County 100 | County 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | County 1 |  |  | 0% | 0% | 0% | 0% | 0% | 0% | -
County 100 | County 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | County 1 |  |  | 0% | 0% | 0% | 0% | 0% | 0% | -
County 100 | County 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | County 1 |  |  | 0% | 0% | 0% | 0% | 0% | 0% | -
County 100 | County 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | County 1 |  |  | 0% | 0% | 0% | 0% | 0% | 0% | -
County 100 | County 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | County 1 |  |  | 0% | 0% | 0% | 0% | 0% | 0% | -
County 100 | County 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | County 1 |  |  | 0% | 0% | 0% | 0% | 0% | 0% | -
County 100 | County 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | County 1 |  |  | 0% | 0% | 0% | 0% | 0% | 0% | -
County 100 | County 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | County 1 |  |  | 0% | 0% | 0% | 0% | 0% | 0% | -
County 100 | County 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | County 1 |  |  | 0% | 0% | 0% | 0% | 0% | 0% | -
County 100 | County 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | County 1 |  |  | 0% | 0% | 0% | 0% | 0% | 0% | -
County 100 | County 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | County 1 |  |  | 0% | 0% | 0% | 0% | 0% | 0% | -
County 100 | County 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | County 1 |  |  | 0% | 0% | 0% | 0% | 0% | 0% | -
County 100 | County 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | County 1 |  |  | 0% | 0% | 0% | 0% | 0% | 0% | -
County 100 | County 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | County 1 |  |  | 0% | 0% | 0% | 0% | 0% | 0% | -
County 100 | County 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | County 1 |  |  | 0% | 0% | 0% | 0% | 0% | 0% | -
County 100 | County 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | County 1 |  |  | 0% | 0% | 0% | 0% | 0% | 0% | -
County 100 | County 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | County 1 |  |  | 0% | 0% | 0% | 0% | 0% | 0% | -
County 100 | County 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | County 1 |  |  | 0% | 0% | 0% | 0% | 0% | 0% | -
County 100 | County 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | County 1 |  |  | 0% | 0% | 0% | 0% | 0% | 0% | -
County 100 | County 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | County 1 |  |  | 0% | 0% | 0% | 0% | 0% | 0% | -
County 100 | County 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | County 1 |  |  | 0% | 0% | 0% | 0% | 0% | 0% | -
County 100 | County 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | County 1 |  |  | 0% | 0% | 0% | 0% | 0% | 0% | -
County 100 | County 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | County 1 |  |  | 0% | 0% | 0% | 0% | 0% | 0% | -
County 100 | County 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | County 1 |  |  | 0% | 0% | 0% | 0% | 0% | 0% | -
County 100 | County 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | County 1 |  |  | 0% | 0% | 0% | 0% | 0% | 0% | -
County 100 | County 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | County 1 |  |  | 0% | 0% | 0% | 0% | 0% | 0% | -
County 100 | County 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | County 1 |  |  | 0% | 0% | 0% | 0% | 0% | 0% | -
County 100 | County 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | County 1 |  |  | 0% | 0% | 0% | 0% | 0% | 0% | -
County 100 | County 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | County 1 |  |  | 0% | 0% | 0% | 0% | 0% | 0% | -
County 100 | County 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | County 1 |  |  | 0% | 0% | 0% | 0% | 0% | 0% | -
County 100 | County 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | County 1 |  |  | 0% | 0% | 0% | 0% | 0% | 0% | -
County 100 | County 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | County 1 |  |  | 0% | 0% | 0% | 0% | 0% | 0% | -
County 100 | County 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | County 1 |  |  | 0% | 0% | 0% | 0% | 0% | 0% | -
County 100 | County 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | County 1 |  |  | 0% | 0% | 0% | 0% | 0% | 0% | -
County 100 | County 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | County 1 |  |  | 0% | 0% | 0% | 0% | 0% | 0% | -
County 100 | County 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | County 1 |  |  | 0% | 0% | 0% | 0% | 0% | 0% | -
County 100 | County 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | County 1 |  |  | 0% | 0% | 0% | 0% | 0% | 0% | -
County 100 | County 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | County 1 |  |  | 0% | 0% | 0% | 0% | 0% | 0% | -
County 100 | County 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | County 1 |  |  | 0% | 0% | 0% | 0% | 0% | 0% | -
County 100 | County 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | County 1 |  |  | 0% | 0% | 0% | 0% | 0% | 0% | -
County 100 | County 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | County 1 |  |  | 0% | 0% | 0% | 0% | 0% | 0% | -
County 100 | County 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | County 1 |  |  | 0% | 0% | 0% | 0% | 0% | 0% | -
County 100 | County 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | County 1 |  |  | 0% | 0% | 0% | 0% | 0% | 0% | -
County 100 | County 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | County 1 |  |  | 0% | 0% | 0% | 0% | 0% | 0% | -
County 100 | County 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | County 1 |  |  | 0% | 0% | 0% | 0% | 0% | 0% | -
County 100 | County 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | County 1 |  |  | 0% | 0% | 0% | 0% | 0% | 0% | -
County 100 | County 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | County 1 |  |  | 0% | 0% | 0% | 0% | 0% | 0% | -
County 100 | County 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | County 1 |  |  | 0% | 0% | 0% | 0% | 0% | 0% | -
County 100 | County 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | County 1 |  |  | 0% | 0% | 0% | 0% | 0% | 0% | -
County 100 | County 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | County 1 |  |  | 0% | 0% | 0% | 0% | 0% | 0% | -
County 100 | County 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | County 1 |  |  | 0% | 0% | 0% | 0% | 0% | 0% | -
County 100 | County 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | County 1 |  |  | 0% | 0% | 0% | 0% | 0% | 0% | -
County 100 | County 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | County 1 |  |  | 0% | 0% | 0% | 0% | 0% | 0% | -
County 100 | County 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | County 1 |  |  | 0% | 0% | 0% | 0% | 0% | 0% | -
County 100 | County 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | County 1 |  |  | 0% | 0% | 0% | 0% | 0% | 0% | -
County 100 | County 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | County 1 |  |  | 0% | 0% | 0% | 0% | 0% | 0% | -
County 100 | County 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | County 1 |  |  | 0% | 0% | 0% | 0% | 0% | 0% | -
County 100 | County 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | County 1 |  |  | 0% | 0% | 0% | 0% | 0% | 0% | -
County 100 | County 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | County 1 |  |  | 0% | 0% | 0% | 0% | 0% | 0% | -
County 100 | County 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | County 1 |  |  | 0% | 0% | 0% | 0% | 0% | 0% | -
County 100 | County 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | County 1 |  |  | 0% | 0% | 0% | 0% | 0% | 0% | -
County 100 | County 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | County 1 |  |  | 0% | 0% | 0% | 0% | 0% | 0% | -
County 100 | County 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | County 1 |  |  | 0% | 0% | 0% | 0% | 0% | 0% | -