## Summer and Winter Load Forecast
Load Forecast Template
| Customer Name: | Lakefront Utilities |  |  | Legend: | Green cells to be filled in by LDC
Region Name:
Please consider the following factors in developing your load forecast:
| 1 | Load Aggregation | Enter data for the transformer stations supplying your LDC at LV Bus level.
| 2 | Seasonal Peak | Provide load data in the appropriate table i.e. Summer peak (Jun 1-Sep 30) vs. Winter peak (Jan 1 - Mar 31 or Nov 1 - Dec. 31 of same year).
| 3 | Historical Demand | Provide your historical net coincident peak demand for the most recent three (3) years at the time of station peak. [Note: since the historical peak demand includes contributions from distributed generation (DG) and conservation and demand management (CDM) savings at a point in time, it represents net peak demand as opposed to gross peak demand].
| 4 | Tx Connected LDC | For LDCs directly connected to the transmission facilities (i.e., TX connected), load forecasts should factor in the load forecasts of any embedded distributor. Include a list of all embedded distributors.
| 5 | Embedded LDC | For LDCs that are embedded in another distributor's system (i.e., DX connected), DO NOT include your embedded load in forecasts submitted to the transmitter; instead, submit the embedded load forecasts to the host distributor for inclusion in their submission to the transmitter.
| 6 | Weather Correction | Provide load forecast in MWs, without adjustments for weather, and include power factor assumptions, if any. Note: The weather correction factors will be determined and applied by Hydro One.
| 7 | Coincident Load | Provide coincident peak load forecast aggregated for all your feeders at the LV Bus level.
| 8 | Load Transfer | DO NOT double count load transfers. LDCs should identify and account for any material load transfers between transformer stations.
| 9 | Forecast DG & CDM | For Forecasted Data, LDCs are to only provide the Gross Load Forecast (which is the Forecast from their Historical Net Peak Load). IESO will provide Forecasted (incremental) DG and CDM.
| 10 | Forecast Assumptions | List all relevant assumptions made in preparing this load forecast.
Summer Peak Load
LDC | Circuit | Transformer Station Name | Connection Tx / Dx | Upstream LDC | DESN ID | Bus ID | Feeder(s) | Type | Historical Data (MW) |  |  | Forecast Starting Point | Near Term Forecast (MW) |  |  |  |  | Medium Term Forecast (MW)
[5 empty] | (e.g. T1/T2) | (e.g. BY) |  |  | 2021 | 2022 | 2023 |  | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033
Lakefront Utilities - Cobourg | M2 + M4 | Port Hope TS | [5 empty] | Gross Load
DG
CDM
[8 empty] | Net Load | 41.577 | 41.003 | 35.835 | 35.835 | 36.713 | 38.01 | 38.391 | 38.774 | 39.162 | 39.554 | 39.949 | 40.349 | 40.752 | 41.16
Lakefront Utilities - Colborne | M16 | Port Hope TS | [5 empty] | Gross Load
DG
CDM
[8 empty] | Net Load | 3.66 | 3.658 | 3.717 | 3.717 | 3.754 | 4.041 | 4.082 | 4.122 | 4.164 | 4.205 | 4.247 | 4.29 | 4.333 | 4.376
Gross Load
DG
CDM
Net Load
Winter Peak Load
LDC | Circuit | Transformer Station Name | Connection Tx / Dx | Upstream LDC | DESN ID | Bus ID | Feeder(s) | Type | Historical Data (MW) |  |  | Forecast Starting Point | Near Term Forecast (MW) 2024: Near Term Forecast (MW); Medium Term Forecast (MW) 2029: Medium Term Forecast (MW)
[5 empty] | (e.g. T1/T2) | (e.g. BY) |  |  | 2021 | 2022 | 2023 |  | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033
Lakefront Utilities - Cobourg | M2 + M4 | Port Hope TS | [5 empty] | Gross Load
DG
CDM
[8 empty] | Net Load | 39.401 | 37.145 | 37.388 | 37.388 | 38.282 | 39.595 | 39.991 | 40.391 | 40.794 | 41.202 | 41.614 | 42.031 | 42.451 | 42.875
Lakefront Utilities - Colborne | M16 | Port Hope TS | [5 empty] | Gross Load
DG
CDM
[8 empty] | Net Load | 4.029 | 4.307 | 3.873 | 3.873 | 3.912 | 4.201 | 4.243 | 4.285 | 4.328 | 4.371 | 4.415 | 4.459 | 4.504 | 4.549
Gross Load
DG
CDM
Net Load
Forecast Assumptions:
The following are some key inputs that the LDC will account for in their gross demand forecast:
· Existing customer demand
· New customer loads that have a commitment to connect with the LDC
· Embedded LDC(s) feeder forecasts
· Planned system reconfigurations
· Input from Municipal Energy Plans and/or Community Energy Plans (see Note 1 below)
· This forecast is only for Normal growth. High and Low growth scenarios will be evaluated as part of the Sensitivity Analysis where the Technical Working Group (TWG) can determine a “+/- fixed percentage” to apply to the normal growth net demand forecast.
Notes:
Note 1: LDCs will incorporate input from municipal and/or community energy plans into their gross demand forecast for regional planning purposes where available and can be translated into the impact on peak demand. The OEB Regional Planning Process Advisory Group (RPPAG) has developed a guidance document that identifies the information LDCs should request from municipalities related to these plans for use by LDCs in preparing a more accurate demand forecast. If the LDC(s) cannot reconcile the forecast information from the municipal/community energy plan, this should be identified and documented as appropriate.