## App.2-BA_Fixed Asset Cont_26-30
[12 empty] | File Number: | EB-2024-0115
[12 empty] | Exhibit: | 2
[12 empty] | Tab: | 2
[12 empty] | Schedule: | 1
[12 empty] | Attachment: | B
[12 empty] | Date: | ORIGINAL
Appendix 2-BA
Fixed Asset Continuity Schedule 1
Notes:
1 | Tables in the format outlined above covering all fixed asset accounts should be submitted for the Test Year, Bridge Year and all relevant historical years. At a minimum , the applicant must provide data for the earlier of: 1) all historical years back to its last rebasing; or 2) at least three years of historical actuals, in addition to Bridge Year and Test Year forecasts. If this is the first application where the applicant is rebasing under MIFRS, contact OEB staff for further guidance on the appropriate fixed asset continuity schedules to complete (i.e. applicable years and accounting standard for each schedule).
2 | The "CCA Class" for fixed assets should generally agree with the CCA Class used for tax purposes in Tax Returns. Fixed Assets sub-components may be used where the underlying asset components are classified under multiple CCA Classes for tax purposes. If an applicant uses any different classes from those shown in the table, an explanation should be provided. (also see note 3).
3 | The table may need to be customized for a utility's asset categories or for any new asset accounts announced or authorized by the OEB.
4 | The additions in column (E) must not include construction work in progress (CWIP).
5 | Effective on the date of IFRS adoption, customer contributions will no longer be recorded in Account 1995 Contributions & Grants, but will be recorded in Account 2440, Deferred Revenues. Amortization of deferred revenue will be removed from the depreciation expense shown on this fixed asset continuity schedule as it should be included as income in Appendix 2-H Other Revenues.
6 | The applicant must ensure that all asset disposals have been clearly identified in the Chapter 2 Appendices for all historic, bridge and test years. Where a distributor for general financial reporting purposes under IFRS has accounted for the amount of gain or loss on the retirement of assets in a pool of like assets as a charge or credit to income, for reporting and rate application filings, the distributor shall reclassify such gains and losses as depreciation expense, and disclose the amount separately.
7 | This account includes the amount recorded under finance leases for plant leased from others and used by the utility in its utility operations.
8 | The applicant must establish the continuity of historical cost for gross assets and accumulated depreciation by asset class by ensuring that the opening balance in the year agrees to the closing balance in the prior year.
|  |  |  | Accounting Standard | MIFRS
|  |  |  | Test Year | 2026 |  | FALSE
|  |  | Cost | [6 empty] | Accumulated Depreciation
CCA Class 2 | OEB Account 3 | Description 3 | Opening Balance 8 | Additions 4 | Disposals 6 | Closing Balance |  |  | Opening Balance 8 | Additions | Disposals 6 | Closing Balance | Net Book Value
| 1609 | Capital Contributions Paid | 80639928.86 | 7696835.95 | 0 | 88336764.81 |  |  | -11549069.61 | -1986630.25 | 0 | -13535699.86 | 74801064.95 | Hydro Ottawa Limited1609
12 | 1611 | Computer Software (Formally known as Account 1925) | 102758252.34 | 9693868.14 | 0 | 112452120.48 |  |  | -76714912.27 | -9154212.9 | 0 | -85869125.17 | 26582995.31 | Hydro Ottawa Limited1611
CEC | 1612 | Land Rights (Formally known as Account 1906) | 3288910.89 | 0 | 0 | 3288910.89 |  |  | -781355.31 | -79124.23 | 0 | -860479.54 | 2428431.35 | Hydro Ottawa Limited1612
N/A | 1805 | Land | 17630335.8 | 0 | 0 | 17630335.8 |  |  | 0 | 0 | 0 | 0 | 17630335.8 | Hydro Ottawa Limited1805
47 | 1808 | Buildings | 74900465.33 | 4317323.28 | 0 | 79217788.61 |  |  | -16116757.52 | -1819377.69 | 0 | -17936135.21 | 61281653.4 | Hydro Ottawa Limited1808
13 | 1810 | Leasehold Improvements | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | Hydro Ottawa Limited1810
47 | 1815 | Transformer Station Equipment >50 kV | 165969213.29 | 23541133.89 | -125472 | 189384875.18 |  |  | -43678244.69 | -5368264.89 | 33930 | -49012579.58 | 140372295.6 | Hydro Ottawa Limited1815
47 | 1820 | Distribution Station Equipment <50 kV | 150842691.95 | 10399692.91 | -105269 | 161137115.86 |  |  | -46273751.37 | -4472660.28 | 71076 | -50675335.65 | 110461780.21 | Hydro Ottawa Limited1820
47 | 1825 | Storage Battery Equipment | 0 | 2400000 | 0 | 2400000 |  |  | 0 | -60000 | 0 | -60000 | 2340000 | Hydro Ottawa Limited1825
47 | 1830 | Poles, Towers & Fixtures | 208783700.55 | 23816187.41 | -127943 | 232471944.96 |  |  | -40635799.86 | -5262795.15 | 20837 | -45877758.01 | 186594186.95 | Hydro Ottawa Limited1830
47 | 1835 | Overhead Conductors & Devices | 189332047.98 | 26080617.26 | -6881 | 215405784.24 |  |  | -39158496.68 | -5043475.12 | 2438 | -44199533.8 | 171206250.44 | Hydro Ottawa Limited1835
47 | 1840 | Underground Conduit | 495971132.38 | 57584025.4 | -10000 | 553545157.78 |  |  | -79412326.64 | -13523260.01 | 304 | -92935282.65 | 460609875.13 | Hydro Ottawa Limited1840
47 | 1845 | Underground Conductors & Devices | 299007498.93 | 26312313.55 | -260241 | 325059571.48 |  |  | -68467969.28 | -9433750.18 | 112720 | -77788999.46 | 247270572.02 | Hydro Ottawa Limited1845
47 | 1850 | Line Transformers | 158645540.54 | 15023099.8 | -767496 | 172901144.34 |  |  | -36184826.29 | -5007587.82 | 192465 | -40999949.11 | 131901195.23 | Hydro Ottawa Limited1850
47 | 1855 | Services (Overhead & Underground) | 107784374.28 | 6741623.62 | -16077 | 114509920.9 |  |  | -22547934.85 | -2672890.85 | 910 | -25219915.7 | 89290005.2 | Hydro Ottawa Limited1855
47 | 1860 | Meters | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | Hydro Ottawa Limited1860
47 | 1860 | Meters (Smart Meters) | 77471882.93 | 16459453.77 | -1761044 | 92170292.7 |  |  | -43537223.9 | -3940751.17 | 1298564 | -46179411.07 | 45990881.63 | Hydro Ottawa Limited1860
N/A | 1905 | Land | 19740204.71 | 0 | 0 | 19740204.71 |  |  | 0 | 0 | 0 | 0 | 19740204.71 | Hydro Ottawa Limited1905
47 | 1908 | Buildings & Fixtures | 76240287.37 | 1711240.49 | 0 | 77951527.86 |  |  | -15428523.15 | -2432767.17 | 0 | -17861290.32 | 60090237.54 | Hydro Ottawa Limited1908
13 | 1910 | Leasehold Improvements | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | Hydro Ottawa Limited1910
8 | 1915 | Office Furniture & Equipment (10 years) | 4864786.75 | 0 | 0 | 4864786.75 |  |  | -3248525.76 | -422032.65 | 0 | -3670558.41 | 1194228.34 | Hydro Ottawa Limited1915
8 | 1915 | Office Furniture & Equipment (5 years) | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | Hydro Ottawa Limited1915
10 | 1920 | Computer Equipment - Hardware | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | Hydro Ottawa Limited1920
45 | 1920 | Computer Equip.-Hardware(Post Mar. 22/04) | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | Hydro Ottawa Limited1920
50 | 1920 | Computer Equip.-Hardware(Post Mar. 19/07) | 34035335.37 | 1904174.94 | 0 | 35939510.31 |  |  | -14691194.47 | -3795741.65 | 0 | -18486936.12 | 17452574.19 | Hydro Ottawa Limited1920
10 | 1930 | Transportation Equipment | 33924458.61 | 10779042.6 | -482383 | 44221118.21 |  |  | -16025657.26 | -2327292.75 | 405385 | -17947565.01 | 26273553.2 | Hydro Ottawa Limited1930
8 | 1935 | Stores Equipment | 696752.47 | 0 | 0 | 696752.47 |  |  | -423101.52 | -69648.23 | 0 | -492749.75 | 204002.72 | Hydro Ottawa Limited1935
8 | 1940 | Tools, Shop & Garage Equipment | 7418807.12 | 827669.34 | 0 | 8246476.46 |  |  | -4746668.04 | -552268.22 | 0 | -5298936.26 | 2947540.2 | Hydro Ottawa Limited1940
8 | 1945 | Measurement & Testing Equipment | 209466.99 | 150000 | 0 | 359466.99 |  |  | -209313.76 | -7602.43 | 0 | -216916.19 | 142550.8 | Hydro Ottawa Limited1945
8 | 1950 | Power Operated Equipment | 1420620.16 | 1319520.65 | -39310 | 2700830.81 |  |  | -767963.32 | -96690.34 | 24890 | -839763.66 | 1861067.15 | Hydro Ottawa Limited1950
8 | 1955 | Communications Equipment | 15793769.46 | 1802158.74 | 0 | 17595928.2 |  |  | -12321944.44 | -756633.21 | 0 | -13078577.65 | 4517350.55 | Hydro Ottawa Limited1955
8 | 1955 | Communication Equipment (Smart Meters) | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | Hydro Ottawa Limited1955
8 | 1960 | Miscellaneous Equipment | 200717.7 | 252298.8 | 0 | 453016.5 |  |  | -194852.03 | -15158.68 | 0 | -210010.71 | 243005.79 | Hydro Ottawa Limited1960
47 | 1970 | Load Management Controls Customer Premises | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | Hydro Ottawa Limited1970
47 | 1975 | Load Management Controls Utility Premises | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | Hydro Ottawa Limited1975
47 | 1980 | System Supervisor Equipment | 26831202.09 | 4326820.56 | -42867 | 31115155.65 |  |  | -13273293.3 | -1575179.49 | 2567 | -14845905.79 | 16269249.86 | Hydro Ottawa Limited1980
47 | 1985 | Miscellaneous Fixed Assets | 900 | 0 | 0 | 900 |  |  | -900 | 0 | 0 | -900 | 0 | Hydro Ottawa Limited1985
47 | 1990 | Other Tangible Property | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | Hydro Ottawa Limited1990
47 | 1995 | Contributions & Grants | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | Hydro Ottawa Limited1995
47 | 2440 | Deferred Revenue5 | -410830952.98 | -50499399.96 | 0 | -461330352.94 |  |  | 58290334.01 | 12261903.32 | 0 | 70552237.33 | -390778115.61 | Hydro Ottawa Limited2440
| 2005 | Property Under Finance Lease7 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | Hydro Ottawa Limited2005
|  | Sub-Total | 1943572331.87 | 202639701.14 | -3744983 | 2142467050.01 |  |  | -548100271.31 | -67613892.04 | 2166086 | -613548077.35 | 1528918972.66
|  | Less Socialized Renewable Energy Generation Investments (input as negative) |  |  |  | 0 | [5 empty] | 0 | 0
|  | Less Other Non Rate-Regulated Utility Assets (input as negative) | -12203859.9 | 0 | 0 | -12203859.9 |  |  | 2720661.33 | 408417.99 | 0 | 3129079.32 | -9074780.58
|  | Total PP&E for Rate Base Purposes | 1931368471.97 | 202639701.14 | -3744983 | 2130263190.11 |  |  | -545379609.98 | -67205474.05 | 2166086 | -610418998.03 | 1519844192.08
|  | Construction Work In Progress | 75573902 | 55531743 |  | 131105645 | [5 empty] | 0 | 131105645
|  | Total PP&E | 2006942373.97 | 258171444.14 | -3744983 | 2261368835.11 |  | 0 | -545379609.98 | -67205474.05 | 2166086 | -610418998.03 | 1650949837.08
Depreciation Expense adj. from gain or loss on the retirement of assets (pool of like assets), if applicable6
|  | Total | [7 empty] | -67205474.05
Less: Fully Allocated Depreciation
10 |  | Transportation | [6 empty] | Transportation
8 |  | Stores Equipment | [6 empty] | Stores Equipment
47 |  | Deferred Revenue | [6 empty] | Deferred Revenue
[9 empty] | Net Depreciation |  | -67205474.05
|  |  |  | Accounting Standard | MIFRS
|  |  |  | Year | 2027 |  | FALSE
|  |  | Cost | [6 empty] | Accumulated Depreciation
CCA Class 2 | OEB Account 3 | Description 3 | Opening Balance 8 | Additions 4 | Disposals 6 | Closing Balance |  |  | Opening Balance 8 | Additions | Disposals 6 | Closing Balance | Net Book Value
| 1609 | Capital Contributions Paid | 88336764.81 | 7642093.9 | 0 | 95978858.71 |  |  | -13535699.86 | -2178717.94 | 0 | -15714417.8 | 80264440.91 | Hydro Ottawa Limited1609
12 | 1611 | Computer Software (Formally known as Account 1925) | 112452120.48 | 10587530.99 | 0 | 123039651.47 |  |  | -85869125.17 | -10595589.57 | 0 | -96464714.74 | 26574936.73 | Hydro Ottawa Limited1611
CEC | 1612 | Land Rights (Formally known as Account 1906) | 3288910.89 | 0 | 0 | 3288910.89 |  |  | -860479.54 | -79124.24 | 0 | -939603.78 | 2349307.11 | Hydro Ottawa Limited1612
N/A | 1805 | Land | 17630335.8 | 205840.08 | 0 | 17836175.88 |  |  | 0 | 0 | 0 | 0 | 17836175.88 | Hydro Ottawa Limited1805
47 | 1808 | Buildings | 79217788.61 | 19476896.99 | 0 | 98694685.6 |  |  | -17936135.21 | -2002411.33 | 0 | -19938546.54 | 78756139.06 | Hydro Ottawa Limited1808
13 | 1810 | Leasehold Improvements | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | Hydro Ottawa Limited1810
47 | 1815 | Transformer Station Equipment >50 kV | 189384875.18 | 69510477.15 | -125472 | 258769880.33 |  |  | -49012579.58 | -6598439.06 | 33930 | -55577088.64 | 203192791.69 | Hydro Ottawa Limited1815
47 | 1820 | Distribution Station Equipment <50 kV | 161137115.86 | 17962656.88 | -105269 | 178994503.74 |  |  | -50675335.65 | -4719177.87 | 71076 | -55323437.52 | 123671066.22 | Hydro Ottawa Limited1820
47 | 1825 | Storage Battery Equipment | 2400000 | 4620080.92 | 0 | 7020080.92 |  |  | -60000 | -235502.02 | 0 | -295502.02 | 6724578.9 | Hydro Ottawa Limited1825
47 | 1830 | Poles, Towers & Fixtures | 232471944.96 | 28420624.36 | -127943 | 260764626.32 |  |  | -45877758.01 | -5843204.17 | 20837 | -51700125.18 | 209064501.14 | Hydro Ottawa Limited1830
47 | 1835 | Overhead Conductors & Devices | 215405784.24 | 31954959.54 | -6881 | 247353862.78 |  |  | -44199533.8 | -5733331.16 | 2438 | -49930426.96 | 197423435.82 | Hydro Ottawa Limited1835
47 | 1840 | Underground Conduit | 553545157.78 | 72101867.24 | -10000 | 625637025.02 |  |  | -92935282.65 | -15141282.13 | 304 | -108076260.78 | 517560764.24 | Hydro Ottawa Limited1840
47 | 1845 | Underground Conductors & Devices | 325059571.48 | 31329877.42 | -260241 | 356129207.9 |  |  | -77788999.46 | -10240417.3 | 112720 | -87916696.76 | 268212511.14 | Hydro Ottawa Limited1845
47 | 1850 | Line Transformers | 172901144.34 | 14567125.61 | -767496 | 186700773.95 |  |  | -40999949.11 | -5391675.18 | 192465 | -46199159.29 | 140501614.66 | Hydro Ottawa Limited1850
47 | 1855 | Services (Overhead & Underground) | 114509920.9 | 7381253.32 | -16077 | 121875097.22 |  |  | -25219915.7 | -2820681.82 | 910 | -28039687.52 | 93835409.7 | Hydro Ottawa Limited1855
47 | 1860 | Meters | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | Hydro Ottawa Limited1860
47 | 1860 | Meters (Smart Meters) | 92170292.7 | 19206813.36 | -4140688 | 107236418.06 |  |  | -46179411.07 | -4826867.26 | 3209606 | -47796672.33 | 59439745.73 | Hydro Ottawa Limited1860
N/A | 1905 | Land | 19740204.71 | 0 | 0 | 19740204.71 |  |  | 0 | 0 | 0 | 0 | 19740204.71 | Hydro Ottawa Limited1905
47 | 1908 | Buildings & Fixtures | 77951527.86 | 2468082.51 | 0 | 80419610.37 |  |  | -17861290.32 | -2478708.22 | 0 | -20339998.54 | 60079611.83 | Hydro Ottawa Limited1908
13 | 1910 | Leasehold Improvements | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | Hydro Ottawa Limited1910
8 | 1915 | Office Furniture & Equipment (10 years) | 4864786.75 | 0 | 0 | 4864786.75 |  |  | -3670558.41 | -414554.48 | 0 | -4085112.89 | 779673.86 | Hydro Ottawa Limited1915
8 | 1915 | Office Furniture & Equipment (5 years) | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | Hydro Ottawa Limited1915
10 | 1920 | Computer Equipment - Hardware | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | Hydro Ottawa Limited1920
45 | 1920 | Computer Equip.-Hardware(Post Mar. 22/04) | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | Hydro Ottawa Limited1920
50 | 1920 | Computer Equip.-Hardware(Post Mar. 19/07) | 35939510.31 | 1183014.54 | 0 | 37122524.85 |  |  | -18486936.12 | -3590213.23 | 0 | -22077149.35 | 15045375.5 | Hydro Ottawa Limited1920
10 | 1930 | Transportation Equipment | 44221118.21 | 11822439.04 | -482383 | 55561174.25 |  |  | -17947565.01 | -3500772.84 | 405385 | -21042952.85 | 34518221.4 | Hydro Ottawa Limited1930
8 | 1935 | Stores Equipment | 696752.47 | 0 | 0 | 696752.47 |  |  | -492749.75 | -69648.25 | 0 | -562398 | 134354.47 | Hydro Ottawa Limited1935
8 | 1940 | Tools, Shop & Garage Equipment | 8246476.46 | 845073.53 | 0 | 9091549.99 |  |  | -5298936.26 | -568744.89 | 0 | -5867681.15 | 3223868.84 | Hydro Ottawa Limited1940
8 | 1945 | Measurement & Testing Equipment | 359466.99 | 0 | 0 | 359466.99 |  |  | -216916.19 | -15050.8 | 0 | -231966.99 | 127500 | Hydro Ottawa Limited1945
8 | 1950 | Power Operated Equipment | 2700830.81 | 2384045.07 | -39310 | 5045565.88 |  |  | -839763.66 | -279923.19 | 24890 | -1094796.85 | 3950769.03 | Hydro Ottawa Limited1950
8 | 1955 | Communications Equipment | 17595928.2 | 2193938.39 | 0 | 19789866.59 |  |  | -13078577.65 | -636232.58 | 0 | -13714810.23 | 6075056.36 | Hydro Ottawa Limited1955
8 | 1955 | Communication Equipment (Smart Meters) | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | Hydro Ottawa Limited1955
8 | 1960 | Miscellaneous Equipment | 453016.5 | 110649 | 0 | 563665.5 |  |  | -210010.71 | -32268.42 | 0 | -242279.13 | 321386.37 | Hydro Ottawa Limited1960
47 | 1970 | Load Management Controls Customer Premises | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | Hydro Ottawa Limited1970
47 | 1975 | Load Management Controls Utility Premises | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | Hydro Ottawa Limited1975
47 | 1980 | System Supervisor Equipment | 31115155.65 | 4174448.93 | -42867 | 35246737.58 |  |  | -14845905.79 | -1812351.47 | 2567 | -16655690.26 | 18591047.32 | Hydro Ottawa Limited1980
47 | 1985 | Miscellaneous Fixed Assets | 900 | 0 | 0 | 900 |  |  | -900 | 0 | 0 | -900 | 0 | Hydro Ottawa Limited1985
47 | 1990 | Other Tangible Property | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | Hydro Ottawa Limited1990
47 | 1995 | Contributions & Grants | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | Hydro Ottawa Limited1995
47 | 2440 | Deferred Revenue5 | -461330352.94 | -82461302.7 | 0 | -543791655.64 |  |  | 70552237.33 | 14004515.43 | 0 | 84556752.76 | -459234902.88 | Hydro Ottawa Limited2440
| 2005 | Property Under Finance Lease7 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | Hydro Ottawa Limited2005
|  | Sub-Total | 2142467050.01 | 277688486.07 | -6124627 | 2414030909.08 |  |  | -613548077.35 | -75800373.99 | 4077128 | -685271323.34 | 1728759585.74
|  | Less Socialized Renewable Energy Generation Investments (input as negative) | 0 |  |  | 0 |  |  | 0 |  |  | 0 | 0
|  | Less Other Non Rate-Regulated Utility Assets (input as negative) | -12203859.9 | 0 | 0 | -12203859.9 |  |  | 3129079.32 | 408418 | 0 | 3537497.32 | -8666362.58
|  | Total PP&E for Rate Base Purposes | 2130263190.11 | 277688486.07 | -6124627 | 2401827049.18 |  |  | -610418998.03 | -75391955.99 | 4077128 | -681733826.02 | 1720093223.16
|  | Construction Work In Progress | 131105645 | -17298741 |  | 113806904 | [5 empty] | 0 | 113806904
|  | Total PP&E | 2261368835.11 | 260389745.07 | -6124627 | 2515633953.18 |  | 0 | -610418998.03 | -75391955.99 | 4077128 | -681733826.02 | 1833900127.16
Depreciation Expense adj. from gain or loss on the retirement of assets (pool of like assets), if applicable6
|  | Total | [7 empty] | -75391955.99
Less: Fully Allocated Depreciation
10 |  | Transportation | [6 empty] | Transportation
8 |  | Stores Equipment | [6 empty] | Stores Equipment
47 |  | Deferred Revenue | [6 empty] | Deferred Revenue
[9 empty] | Net Depreciation |  | -75391955.99
|  |  |  | Accounting Standard | MIFRS
|  |  |  | Year | 2028 |  | FALSE
|  |  | Cost | [6 empty] | Accumulated Depreciation
CCA Class 2 | OEB Account 3 | Description 3 | Opening Balance 8 | Additions 4 | Disposals 6 | Closing Balance |  |  | Opening Balance 8 | Additions | Disposals 6 | Closing Balance | Net Book Value
| 1609 | Capital Contributions Paid | 95978858.71 | 10608150.89 | 0 | 106587009.6 |  |  | -15714417.8 | -2421081.68 | 0 | -18135499.48 | 88451510.12 | Hydro Ottawa Limited1609
12 | 1611 | Computer Software (Formally known as Account 1925) | 123039651.47 | 11698011.9 | 0 | 134737663.37 |  |  | -96464714.74 | -9025276.3 | 0 | -105489991.04 | 29247672.33 | Hydro Ottawa Limited1611
CEC | 1612 | Land Rights (Formally known as Account 1906) | 3288910.89 | 0 | 0 | 3288910.89 |  |  | -939603.78 | -79338.25 | 0 | -1018942.03 | 2269968.86 | Hydro Ottawa Limited1612
N/A | 1805 | Land | 17836175.88 | 5739473.1 | 0 | 23575648.98 |  |  | 0 | 0 | 0 | 0 | 23575648.98 | Hydro Ottawa Limited1805
47 | 1808 | Buildings | 98694685.6 | 13142131.75 | 0 | 111836817.35 |  |  | -19938546.54 | -2286216.67 | 0 | -22224763.21 | 89612054.14 | Hydro Ottawa Limited1808
13 | 1810 | Leasehold Improvements | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | Hydro Ottawa Limited1810
47 | 1815 | Transformer Station Equipment >50 kV | 258769880.33 | 65783900.67 | -125472 | 324428309 |  |  | -55577088.64 | -8653888.23 | 33930 | -64197046.87 | 260231262.13 | Hydro Ottawa Limited1815
47 | 1820 | Distribution Station Equipment <50 kV | 178994503.74 | 12516458.19 | -105269 | 191405692.93 |  |  | -55323437.52 | -5237020.32 | 71076 | -60489381.84 | 130916311.09 | Hydro Ottawa Limited1820
47 | 1825 | Storage Battery Equipment | 7020080.92 | 7906479.83 | 0 | 14926560.75 |  |  | -295502.02 | -548666.05 | 0 | -844168.07 | 14082392.68 | Hydro Ottawa Limited1825
47 | 1830 | Poles, Towers & Fixtures | 260764626.32 | 23705237.6 | -127943 | 284341920.92 |  |  | -51700125.18 | -6434374.28 | 20837 | -58113662.46 | 226228258.46 | Hydro Ottawa Limited1830
47 | 1835 | Overhead Conductors & Devices | 247353862.78 | 26885000.56 | -6881 | 274231982.34 |  |  | -49930426.96 | -6442549.61 | 2438 | -56370538.57 | 217861443.77 | Hydro Ottawa Limited1835
47 | 1840 | Underground Conduit | 625637025.02 | 66283085.74 | -10000 | 691910110.76 |  |  | -108076260.78 | -16886411.18 | 304 | -124962367.96 | 566947742.8 | Hydro Ottawa Limited1840
47 | 1845 | Underground Conductors & Devices | 356129207.9 | 33525821.73 | -260241 | 389394788.63 |  |  | -87916696.76 | -11171847.39 | 112720 | -98975824.15 | 290418964.48 | Hydro Ottawa Limited1845
47 | 1850 | Line Transformers | 186700773.95 | 14611617.1 | -767496 | 200544895.05 |  |  | -46199159.29 | -5782475.74 | 192465 | -51789170.03 | 148755725.02 | Hydro Ottawa Limited1850
47 | 1855 | Services (Overhead & Underground) | 121875097.22 | 7313535.39 | -16077 | 129172555.61 |  |  | -28039687.52 | -2980728.54 | 910 | -31019506.06 | 98153049.55 | Hydro Ottawa Limited1855
47 | 1860 | Meters | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | Hydro Ottawa Limited1860
47 | 1860 | Meters (Smart Meters) | 107236418.06 | 21158892.14 | -4616668 | 123778642.2 |  |  | -47796672.33 | -6025056.36 | 3724971 | -50096757.69 | 73681884.51 | Hydro Ottawa Limited1860
N/A | 1905 | Land | 19740204.71 | 0 | 0 | 19740204.71 |  |  | 0 | 0 | 0 | 0 | 19740204.71 | Hydro Ottawa Limited1905
47 | 1908 | Buildings & Fixtures | 80419610.37 | 3192375.63 | 0 | 83611986 |  |  | -20339998.54 | -2579833.48 | 0 | -22919832.02 | 60692153.98 | Hydro Ottawa Limited1908
13 | 1910 | Leasehold Improvements | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | Hydro Ottawa Limited1910
8 | 1915 | Office Furniture & Equipment (10 years) | 4864786.75 | 0 | 0 | 4864786.75 |  |  | -4085112.89 | -400293.22 | 0 | -4485406.11 | 379380.64 | Hydro Ottawa Limited1915
8 | 1915 | Office Furniture & Equipment (5 years) | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | Hydro Ottawa Limited1915
10 | 1920 | Computer Equipment - Hardware | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | Hydro Ottawa Limited1920
45 | 1920 | Computer Equip.-Hardware(Post Mar. 22/04) | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | Hydro Ottawa Limited1920
50 | 1920 | Computer Equip.-Hardware(Post Mar. 19/07) | 37122524.85 | 1823512.42 | 0 | 38946037.27 |  |  | -22077149.35 | -3448145.5 | 0 | -25525294.85 | 13420742.42 | Hydro Ottawa Limited1920
10 | 1930 | Transportation Equipment | 55561174.25 | 10679523.39 | -482383 | 65758314.64 |  |  | -21042952.85 | -4417901.48 | 405385 | -25055469.33 | 40702845.31 | Hydro Ottawa Limited1930
8 | 1935 | Stores Equipment | 696752.47 | 0 | 0 | 696752.47 |  |  | -562398 | -69839.05 | 0 | -632237.05 | 64515.42 | Hydro Ottawa Limited1935
8 | 1940 | Tools, Shop & Garage Equipment | 9091549.99 | 864206.48 | 0 | 9955756.47 |  |  | -5867681.15 | -593943.18 | 0 | -6461624.33 | 3494132.14 | Hydro Ottawa Limited1940
8 | 1945 | Measurement & Testing Equipment | 359466.99 | 0 | 0 | 359466.99 |  |  | -231966.99 | -15000 | 0 | -246966.99 | 112500 | Hydro Ottawa Limited1945
8 | 1950 | Power Operated Equipment | 5045565.88 | 458953.6 | -39310 | 5465209.48 |  |  | -1094796.85 | -389222.93 | 24890 | -1459129.78 | 4006079.7 | Hydro Ottawa Limited1950
8 | 1955 | Communications Equipment | 19789866.59 | 6428417.25 | 0 | 26218283.84 |  |  | -13714810.23 | -756524.67 | 0 | -14471334.9 | 11746948.94 | Hydro Ottawa Limited1955
8 | 1955 | Communication Equipment (Smart Meters) | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | Hydro Ottawa Limited1955
8 | 1960 | Miscellaneous Equipment | 563665.5 | 20118 | 0 | 583783.5 |  |  | -242279.13 | -38126.03 | 0 | -280405.16 | 303378.34 | Hydro Ottawa Limited1960
47 | 1970 | Load Management Controls Customer Premises | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | Hydro Ottawa Limited1970
47 | 1975 | Load Management Controls Utility Premises | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | Hydro Ottawa Limited1975
47 | 1980 | System Supervisor Equipment | 35246737.58 | 3023858.35 | -42867 | 38227728.93 |  |  | -16655690.26 | -2004148.7 | 2567 | -18657271.96 | 19570456.97 | Hydro Ottawa Limited1980
47 | 1985 | Miscellaneous Fixed Assets | 900 | 0 | 0 | 900 |  |  | -900 | 0 | 0 | -900 | 0 | Hydro Ottawa Limited1985
47 | 1990 | Other Tangible Property | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | Hydro Ottawa Limited1990
47 | 1995 | Contributions & Grants | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | Hydro Ottawa Limited1995
47 | 2440 | Deferred Revenue5 | -543791655.64 | -58050984.47 | 0 | -601842640.11 |  |  | 84556752.76 | 16051919.03 | 0 | 100608671.79 | -501233968.32 | Hydro Ottawa Limited2440
| 2005 | Property Under Finance Lease7 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | Hydro Ottawa Limited2005
|  | Sub-Total | 2414030909.08 | 289317777.24 | -6600607 | 2696748079.32 |  |  | -685271323.34 | -82635989.81 | 4592493 | -763314820.15 | 1933433259.17
|  | Less Socialized Renewable Energy Generation Investments (input as negative) |  |  |  | 0 | [5 empty] | 0 | 0
|  | Less Other Non Rate-Regulated Utility Assets (input as negative) | -12203859.9 | 0 | 0 | -12203859.9 |  |  | 3537497.32 | 379683.23 | 0 | 3917180.55 | -8286679.35
|  | Total PP&E for Rate Base Purposes | 2401827049.18 | 289317777.24 | -6600607 | 2684544219.42 |  |  | -681733826.02 | -82256306.58 | 4592493 | -759397639.6 | 1925146579.82
|  | Construction Work In Progress | 113806904 | -71786174 |  | 42020730 | [5 empty] | 0 | 42020730
|  | Total PP&E | 2515633953.18 | 217531603.24 | -6600607 | 2726564949.42 |  | 0 | -681733826.02 | -82256306.58 | 4592493 | -759397639.6 | 1967167309.82
Depreciation Expense adj. from gain or loss on the retirement of assets (pool of like assets), if applicable6
|  | Total | [7 empty] | -82256306.58
Less: Fully Allocated Depreciation
10 |  | Transportation | [6 empty] | Transportation
8 |  | Stores Equipment | [6 empty] | Stores Equipment
47 |  | Deferred Revenue | [6 empty] | Deferred Revenue
[9 empty] | Net Depreciation |  | -82256306.58
|  |  |  | Accounting Standard | MIFRS
|  |  |  | Year | 2029 |  | FALSE
|  |  | Cost | [6 empty] | Accumulated Depreciation
CCA Class 2 | OEB Account 3 | Description 3 | Opening Balance 8 | Additions 4 | Disposals 6 | Closing Balance |  |  | Opening Balance 8 | Additions | Disposals 6 | Closing Balance | Net Book Value
| 1609 | Capital Contributions Paid | 106587009.6 | 17014576.76 | 0 | 123601586.36 |  |  | -18135499.48 | -2496459.94 | 0 | -20631959.42 | 102969626.94 | Hydro Ottawa Limited1609
12 | 1611 | Computer Software (Formally known as Account 1925) | 134737663.37 | 8442272.66 | 0 | 143179936.03 |  |  | -105489991.04 | -9737194.76 | 0 | -115227185.8 | 27952750.23 | Hydro Ottawa Limited1611
CEC | 1612 | Land Rights (Formally known as Account 1906) | 3288910.89 | 0 | 0 | 3288910.89 |  |  | -1018942.03 | -79124.22 | 0 | -1098066.25 | 2190844.64 | Hydro Ottawa Limited1612
N/A | 1805 | Land | 23575648.98 | 607613.06 | 0 | 24183262.04 |  |  | 0 | 0 | 0 | 0 | 24183262.04 | Hydro Ottawa Limited1805
47 | 1808 | Buildings | 111836817.35 | 1699991.81 | 0 | 113536809.16 |  |  | -22224763.21 | -2359489.7 | 0 | -24584252.91 | 88952556.25 | Hydro Ottawa Limited1808
13 | 1810 | Leasehold Improvements | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | Hydro Ottawa Limited1810
47 | 1815 | Transformer Station Equipment >50 kV | 324428309 | 913760.94 | -125472 | 325216597.94 |  |  | -64197046.87 | -9046795.77 | 33930 | -73209912.64 | 252006685.3 | Hydro Ottawa Limited1815
47 | 1820 | Distribution Station Equipment <50 kV | 191405692.93 | 407909.76 | -105269 | 191708333.69 |  |  | -60489381.84 | -5247155.77 | 71076 | -65665461.61 | 126042872.08 | Hydro Ottawa Limited1820
47 | 1825 | Storage Battery Equipment | 14926560.75 | 9441356.65 | 0 | 24367917.4 |  |  | -844168.07 | -982361.96 | 0 | -1826530.03 | 22541387.37 | Hydro Ottawa Limited1825
47 | 1830 | Poles, Towers & Fixtures | 284341920.92 | 20634089.31 | -127943 | 304848067.23 |  |  | -58113662.46 | -6915039.61 | 20837 | -65007865.07 | 239840202.16 | Hydro Ottawa Limited1830
47 | 1835 | Overhead Conductors & Devices | 274231982.34 | 25033211.08 | -6881 | 299258312.42 |  |  | -56370538.57 | -7046071.66 | 2438 | -63414172.23 | 235844140.19 | Hydro Ottawa Limited1835
47 | 1840 | Underground Conduit | 691910110.76 | 63690776.1 | -10000 | 755590886.86 |  |  | -124962367.96 | -18459437.03 | 304 | -143421500.99 | 612169385.87 | Hydro Ottawa Limited1840
47 | 1845 | Underground Conductors & Devices | 389394788.63 | 31085638.89 | -260241 | 420220186.52 |  |  | -98975824.15 | -12039565.66 | 112720 | -110902669.81 | 309317516.71 | Hydro Ottawa Limited1845
47 | 1850 | Line Transformers | 200544895.05 | 15441674.14 | -767496 | 215219073.19 |  |  | -51789170.03 | -6169465.11 | 192465 | -57766170.14 | 157452903.05 | Hydro Ottawa Limited1850
47 | 1855 | Services (Overhead & Underground) | 129172555.61 | 7375682.52 | -16077 | 136532161.13 |  |  | -31019506.06 | -3129460.06 | 910 | -34148056.12 | 102384105.01 | Hydro Ottawa Limited1855
47 | 1860 | Meters | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | Hydro Ottawa Limited1860
47 | 1860 | Meters (Smart Meters) | 123778642.2 | 24553849.54 | -5568500 | 142763991.74 |  |  | -50096757.69 | -7356245.68 | 4664294 | -52788709.37 | 89975282.37 | Hydro Ottawa Limited1860
N/A | 1905 | Land | 19740204.71 | 0 | 0 | 19740204.71 |  |  | 0 | 0 | 0 | 0 | 19740204.71 | Hydro Ottawa Limited1905
47 | 1908 | Buildings & Fixtures | 83611986 | 4345991.21 | 0 | 87957977.21 |  |  | -22919832.02 | -2707270.26 | 0 | -25627102.28 | 62330874.93 | Hydro Ottawa Limited1908
13 | 1910 | Leasehold Improvements | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | Hydro Ottawa Limited1910
8 | 1915 | Office Furniture & Equipment (10 years) | 4864786.75 | 0 | 0 | 4864786.75 |  |  | -4485406.11 | -174935.13 | 0 | -4660341.24 | 204445.51 | Hydro Ottawa Limited1915
8 | 1915 | Office Furniture & Equipment (5 years) | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | Hydro Ottawa Limited1915
10 | 1920 | Computer Equipment - Hardware | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | Hydro Ottawa Limited1920
45 | 1920 | Computer Equip.-Hardware(Post Mar. 22/04) | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | Hydro Ottawa Limited1920
50 | 1920 | Computer Equip.-Hardware(Post Mar. 19/07) | 38946037.27 | 3399951.57 | 0 | 42345988.84 |  |  | -25525294.85 | -3283548.98 | 0 | -28808843.83 | 13537145.01 | Hydro Ottawa Limited1920
10 | 1930 | Transportation Equipment | 65758314.64 | 3014122.25 | -482383 | 68290053.89 |  |  | -25055469.33 | -4873242.96 | 405385 | -29523327.29 | 38766726.6 | Hydro Ottawa Limited1930
8 | 1935 | Stores Equipment | 696752.47 | 0 | 0 | 696752.47 |  |  | -632237.05 | -41394.89 | 0 | -673631.94 | 23120.53 | Hydro Ottawa Limited1935
8 | 1940 | Tools, Shop & Garage Equipment | 9955756.47 | 882328.51 | 0 | 10838084.98 |  |  | -6461624.33 | -636503.84 | 0 | -7098128.17 | 3739956.81 | Hydro Ottawa Limited1940
8 | 1945 | Measurement & Testing Equipment | 359466.99 | 0 | 0 | 359466.99 |  |  | -246966.99 | -15000 | 0 | -261966.99 | 97500 | Hydro Ottawa Limited1945
8 | 1950 | Power Operated Equipment | 5465209.48 | 0 | -39310 | 5425899.48 |  |  | -1459129.78 | -384508.29 | 24890 | -1818748.07 | 3607151.41 | Hydro Ottawa Limited1950
8 | 1955 | Communications Equipment | 26218283.84 | 4169135.42 | 0 | 30387419.26 |  |  | -14471334.9 | -1009930.1 | 0 | -15481265 | 14906154.26 | Hydro Ottawa Limited1955
8 | 1955 | Communication Equipment (Smart Meters) | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | Hydro Ottawa Limited1955
8 | 1960 | Miscellaneous Equipment | 583783.5 | 0 | 0 | 583783.5 |  |  | -280405.16 | -38879.08 | 0 | -319284.24 | 264499.26 | Hydro Ottawa Limited1960
47 | 1970 | Load Management Controls Customer Premises | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | Hydro Ottawa Limited1970
47 | 1975 | Load Management Controls Utility Premises | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | Hydro Ottawa Limited1975
47 | 1980 | System Supervisor Equipment | 38227728.93 | 1868649.37 | -42867 | 40053511.3 |  |  | -18657271.96 | -1996401.82 | 2567 | -20651106.78 | 19402404.52 | Hydro Ottawa Limited1980
47 | 1985 | Miscellaneous Fixed Assets | 900 | 0 | 0 | 900 |  |  | -900 | 0 | 0 | -900 | 0 | Hydro Ottawa Limited1985
47 | 1990 | Other Tangible Property | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | Hydro Ottawa Limited1990
47 | 1995 | Contributions & Grants | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | Hydro Ottawa Limited1995
47 | 2440 | Deferred Revenue5 | -601842640.11 | -47452459.19 | 0 | -649295099.3 |  |  | 100608671.79 | 17533135.89 | 0 | 118141807.68 | -531153291.62 | Hydro Ottawa Limited2440
| 2005 | Property Under Finance Lease7 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | Hydro Ottawa Limited2005
|  | Sub-Total | 2696748079.32 | 196570122.36 | -7552439 | 2885765762.68 |  |  | -763314820.15 | -88692346.39 | 5531816 | -846475350.54 | 2039290412.14
|  | Less Socialized Renewable Energy Generation Investments (input as negative) |  |  |  | 0 | [5 empty] | 0 | 0
|  | Less Other Non Rate-Regulated Utility Assets (input as negative) | -12203859.9 | 0 | 0 | -12203859.9 |  |  | 3917180.55 | 328068.84 | 0 | 4245249.39 | -7958610.51
|  | Total PP&E for Rate Base Purposes | 2684544219.42 | 196570122.36 | -7552439 | 2873561902.78 |  |  | -759397639.6 | -88364277.55 | 5531816 | -842230101.15 | 2031331801.63
|  | Construction Work In Progress | 42020730 | 38908001 |  | 80928731 | [5 empty] | 0 | 80928731
|  | Total PP&E | 2726564949.42 | 235478123.36 | -7552439 | 2954490633.78 |  | 0 | -759397639.6 | -88364277.55 | 5531816 | -842230101.15 | 2112260532.63
Depreciation Expense adj. from gain or loss on the retirement of assets (pool of like assets), if applicable6
|  | Total | [7 empty] | -88364277.55
Less: Fully Allocated Depreciation
10 |  | Transportation | [6 empty] | Transportation
8 |  | Stores Equipment | [6 empty] | Stores Equipment
47 |  | Deferred Revenue | [6 empty] | Deferred Revenue
[9 empty] | Net Depreciation |  | -88364277.55
|  |  |  | Accounting Standard | MIFRS
|  |  |  | Year | 2030 |  | FALSE
|  |  | Cost | [6 empty] | Accumulated Depreciation
CCA Class 2 | OEB Account 3 | Description 3 | Opening Balance 8 | Additions 4 | Disposals 6 | Closing Balance |  |  | Opening Balance 8 | Additions | Disposals 6 | Closing Balance | Net Book Value
| 1609 | Capital Contributions Paid | 123601586.36 | 1024147.55 | 0 | 124625733.91 |  |  | -20631959.42 | -2845118.66 | 0 | -23477078.08 | 101148655.83 | Hydro Ottawa Limited1609
12 | 1611 | Computer Software (Formally known as Account 1925) | 143179936.03 | 5737186.62 | 0 | 148917122.65 |  |  | -115227185.8 | -10019834.22 | 0 | -125247020.02 | 23670102.63 | Hydro Ottawa Limited1611
CEC | 1612 | Land Rights (Formally known as Account 1906) | 3288910.89 | 0 | 0 | 3288910.89 |  |  | -1098066.25 | -79124.24 | 0 | -1177190.49 | 2111720.4 | Hydro Ottawa Limited1612
N/A | 1805 | Land | 24183262.04 | 1216801.95 | 0 | 25400063.99 |  |  | 0 | 0 | 0 | 0 | 25400063.99 | Hydro Ottawa Limited1805
47 | 1808 | Buildings | 113536809.16 | 1473559.7 | 0 | 115010368.86 |  |  | -24584252.91 | -2347801.16 | 0 | -26932054.07 | 88078314.79 | Hydro Ottawa Limited1808
13 | 1810 | Leasehold Improvements | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | Hydro Ottawa Limited1810
47 | 1815 | Transformer Station Equipment >50 kV | 325216597.94 | 936405.62 | -125472 | 326027531.56 |  |  | -73209912.64 | -9064651.03 | 33930 | -82240633.67 | 243786897.89 | Hydro Ottawa Limited1815
47 | 1820 | Distribution Station Equipment <50 kV | 191708333.69 | 10258442.76 | -105269 | 201861507.45 |  |  | -65665461.61 | -5155794.12 | 71076 | -70750179.73 | 131111327.72 | Hydro Ottawa Limited1820
47 | 1825 | Storage Battery Equipment | 24367917.4 | 16751623.27 | 0 | 41119540.67 |  |  | -1826530.03 | -1637186.45 | 0 | -3463716.48 | 37655824.19 | Hydro Ottawa Limited1825
47 | 1830 | Poles, Towers & Fixtures | 304848067.23 | 22417666.8 | -127943 | 327137791.03 |  |  | -65007865.07 | -7393392.45 | 20837 | -72380420.52 | 254757370.51 | Hydro Ottawa Limited1830
47 | 1835 | Overhead Conductors & Devices | 299258312.42 | 25772718.72 | -6881 | 325024150.14 |  |  | -63414172.23 | -7637335.87 | 2438 | -71049070.1 | 253975080.04 | Hydro Ottawa Limited1835
47 | 1840 | Underground Conduit | 755590886.86 | 78994392.52 | -10000 | 834575279.38 |  |  | -143421500.99 | -20210778.55 | 304 | -163631975.54 | 670943303.84 | Hydro Ottawa Limited1840
47 | 1845 | Underground Conductors & Devices | 420220186.52 | 40169463.42 | -260241 | 460129408.94 |  |  | -110902669.81 | -13019257.48 | 112720 | -123809207.29 | 336320201.65 | Hydro Ottawa Limited1845
47 | 1850 | Line Transformers | 215219073.19 | 16988443.38 | -767496 | 231440020.57 |  |  | -57766170.14 | -6604582.02 | 192465 | -64178287.16 | 167261733.41 | Hydro Ottawa Limited1850
47 | 1855 | Services (Overhead & Underground) | 136532161.13 | 7821776.96 | -16077 | 144337861.09 |  |  | -34148056.12 | -3291073.04 | 910 | -37438219.16 | 106899641.93 | Hydro Ottawa Limited1855
47 | 1860 | Meters | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | Hydro Ottawa Limited1860
47 | 1860 | Meters (Smart Meters) | 142763991.74 | 26524984.66 | -6520461 | 162768515.4 |  |  | -52788709.37 | -8843730.96 | 5648865 | -55983575.33 | 106784940.07 | Hydro Ottawa Limited1860
N/A | 1905 | Land | 19740204.71 | 0 | 0 | 19740204.71 |  |  | 0 | 0 | 0 | 0 | 19740204.71 | Hydro Ottawa Limited1905
47 | 1908 | Buildings & Fixtures | 87957977.21 | 7902179.81 | 0 | 95860157.02 |  |  | -25627102.28 | -2857900.47 | 0 | -28485002.75 | 67375154.27 | Hydro Ottawa Limited1908
13 | 1910 | Leasehold Improvements | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | Hydro Ottawa Limited1910
8 | 1915 | Office Furniture & Equipment (10 years) | 4864786.75 | 0 | 0 | 4864786.75 |  |  | -4660341.24 | -49800.03 | 0 | -4710141.27 | 154645.48 | Hydro Ottawa Limited1915
8 | 1915 | Office Furniture & Equipment (5 years) | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | Hydro Ottawa Limited1915
10 | 1920 | Computer Equipment - Hardware | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | Hydro Ottawa Limited1920
45 | 1920 | Computer Equip.-Hardware(Post Mar. 22/04) | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | Hydro Ottawa Limited1920
50 | 1920 | Computer Equip.-Hardware(Post Mar. 19/07) | 42345988.84 | 2731030.97 | 0 | 45077019.81 |  |  | -28808843.83 | -3346692.65 | 0 | -32155536.48 | 12921483.33 | Hydro Ottawa Limited1920
10 | 1930 | Transportation Equipment | 68290053.89 | 134931.36 | -482383 | 67942602.25 |  |  | -29523327.29 | -4929308.84 | 405385 | -34047251.13 | 33895351.12 | Hydro Ottawa Limited1930
8 | 1935 | Stores Equipment | 696752.47 | 0 | 0 | 696752.47 |  |  | -673631.94 | -13602.16 | 0 | -687234.1 | 9518.37 | Hydro Ottawa Limited1935
8 | 1940 | Tools, Shop & Garage Equipment | 10838084.98 | 901271.9 | 0 | 11739356.88 |  |  | -7098128.17 | -681171.53 | 0 | -7779299.7 | 3960057.18 | Hydro Ottawa Limited1940
8 | 1945 | Measurement & Testing Equipment | 359466.99 | 0 | 0 | 359466.99 |  |  | -261966.99 | -15000 | 0 | -276966.99 | 82500 | Hydro Ottawa Limited1945
8 | 1950 | Power Operated Equipment | 5425899.48 | 0 | -39310 | 5386589.48 |  |  | -1818748.07 | -375582.02 | 24890 | -2169440.09 | 3217149.39 | Hydro Ottawa Limited1950
8 | 1955 | Communications Equipment | 30387419.26 | 2247654.19 | 0 | 32635073.45 |  |  | -15481265 | -1215691.02 | 0 | -16696956.02 | 15938117.43 | Hydro Ottawa Limited1955
8 | 1955 | Communication Equipment (Smart Meters) | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | Hydro Ottawa Limited1955
8 | 1960 | Miscellaneous Equipment | 583783.5 | 301770 | 0 | 885553.5 |  |  | -319284.24 | -53697.38 | 0 | -372981.62 | 512571.88 | Hydro Ottawa Limited1960
47 | 1970 | Load Management Controls Customer Premises | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | Hydro Ottawa Limited1970
47 | 1975 | Load Management Controls Utility Premises | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | Hydro Ottawa Limited1975
47 | 1980 | System Supervisor Equipment | 40053511.3 | 2371584.29 | -42867 | 42382228.59 |  |  | -20651106.78 | -2116465.23 | 2567 | -22765005.01 | 19617223.58 | Hydro Ottawa Limited1980
47 | 1985 | Miscellaneous Fixed Assets | 900 | 0 | 0 | 900 |  |  | -900 | 0 | 0 | -900 | 0 | Hydro Ottawa Limited1985
47 | 1990 | Other Tangible Property | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | Hydro Ottawa Limited1990
47 | 1995 | Contributions & Grants | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | Hydro Ottawa Limited1995
47 | 2440 | Deferred Revenue5 | -649295099.3 | -59746798.91 | 0 | -709041898.21 |  |  | 118141807.68 | 19082913.3 | 0 | 137224720.98 | -571817177.23 | Hydro Ottawa Limited2440
| 2005 | Property Under Finance Lease7 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | Hydro Ottawa Limited2005
|  | Sub-Total | 2885765762.68 | 212931237.54 | -8504400 | 3090192600.22 |  |  | -846475350.54 | -94721658.28 | 6516387 | -934680621.82 | 2155511978.4
|  | Less Socialized Renewable Energy Generation Investments (input as negative) |  |  |  | 0 | [5 empty] | 0 | 0
|  | Less Other Non Rate-Regulated Utility Assets (input as negative) | -12203859.9 | 0 | 0 | -12203859.9 |  |  | 4245249.39 | 311184 | 0 | 4556433.39 | -7647426.51
|  | Total PP&E for Rate Base Purposes | 2873561902.78 | 212931237.54 | -8504400 | 3077988740.32 |  |  | -842230101.15 | -94410474.28 | 6516387 | -930124188.43 | 2147864551.89
|  | Construction Work In Progress | 80928731 | 10768995 |  | 91697726 | [5 empty] | 0 | 91697726
|  | Total PP&E | 2954490633.78 | 223700232.54 | -8504400 | 3169686466.32 |  | 0 | -842230101.15 | -94410474.28 | 6516387 | -930124188.43 | 2239562277.89
Depreciation Expense adj. from gain or loss on the retirement of assets (pool of like assets), if applicable6
|  | Total | [7 empty] | -94410474.28
Less: Fully Allocated Depreciation
10 |  | Transportation | [6 empty] | Transportation
8 |  | Stores Equipment | [6 empty] | Stores Equipment
47 |  | Deferred Revenue | [6 empty] | Deferred Revenue
[9 empty] | Net Depreciation |  | -94410474.28
|  |  |  | Accounting Standard | CGAAP
|  |  |  | Year | 2026 |  | FALSE
|  |  | Cost | [6 empty] | Accumulated Depreciation
CCA Class 2 | OEB Account 3 | Description 3 | Opening Balance 8 | Additions 4 | Disposals 6 | Closing Balance | RRR DATA |  | Opening Balance 8 | Additions | Disposals 6 | Closing Balance | Net Book Value
| 1609 | Capital Contributions Paid | 124625733.91 |  |  | 124625733.91 | 0 |  | -23477078.08 |  |  | -23477078.08 | 101148655.83 | Hydro Ottawa Limited1609
12 | 1611 | Computer Software (Formally known as Account 1925) | 148917122.65 |  |  | 148917122.65 | 0 |  | -125247020.02 |  |  | -125247020.02 | 23670102.63 | Hydro Ottawa Limited1611
CEC | 1612 | Land Rights (Formally known as Account 1906) | 3288910.89 |  |  | 3288910.89 | 0 |  | -1177190.49 |  |  | -1177190.49 | 2111720.4 | Hydro Ottawa Limited1612
N/A | 1805 | Land | 25400063.99 |  |  | 25400063.99 | 0 |  | 0 |  |  | 0 | 25400063.99 | Hydro Ottawa Limited1805
47 | 1808 | Buildings | 115010368.86 |  |  | 115010368.86 | 0 |  | -26932054.07 |  |  | -26932054.07 | 88078314.79 | Hydro Ottawa Limited1808
13 | 1810 | Leasehold Improvements | 0 |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | Hydro Ottawa Limited1810
47 | 1815 | Transformer Station Equipment >50 kV | 326027531.56 |  |  | 326027531.56 | 0 |  | -82240633.67 |  |  | -82240633.67 | 243786897.89 | Hydro Ottawa Limited1815
47 | 1820 | Distribution Station Equipment <50 kV | 201861507.45 |  |  | 201861507.45 | 0 |  | -70750179.73 |  |  | -70750179.73 | 131111327.72 | Hydro Ottawa Limited1820
47 | 1825 | Storage Battery Equipment | 41119540.67 |  |  | 41119540.67 | 0 |  | -3463716.48 |  |  | -3463716.48 | 37655824.19 | Hydro Ottawa Limited1825
47 | 1830 | Poles, Towers & Fixtures | 327137791.03 |  |  | 327137791.03 | 0 |  | -72380420.52 |  |  | -72380420.52 | 254757370.51 | Hydro Ottawa Limited1830
47 | 1835 | Overhead Conductors & Devices | 325024150.14 |  |  | 325024150.14 | 0 |  | -71049070.1 |  |  | -71049070.1 | 253975080.04 | Hydro Ottawa Limited1835
47 | 1840 | Underground Conduit | 834575279.38 |  |  | 834575279.38 | 0 |  | -163631975.54 |  |  | -163631975.54 | 670943303.84 | Hydro Ottawa Limited1840
47 | 1845 | Underground Conductors & Devices | 460129408.94 |  |  | 460129408.94 | 0 |  | -123809207.29 |  |  | -123809207.29 | 336320201.65 | Hydro Ottawa Limited1845
47 | 1850 | Line Transformers | 231440020.57 |  |  | 231440020.57 | 0 |  | -64178287.16 |  |  | -64178287.16 | 167261733.41 | Hydro Ottawa Limited1850
47 | 1855 | Services (Overhead & Underground) | 144337861.09 |  |  | 144337861.09 | 0 |  | -37438219.16 |  |  | -37438219.16 | 106899641.93 | Hydro Ottawa Limited1855
47 | 1860 | Meters | 0 |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | Hydro Ottawa Limited1860
47 | 1860 | Meters (Smart Meters) | 162768515.4 |  |  | 162768515.4 | 0 |  | -55983575.33 |  |  | -55983575.33 | 106784940.07 | Hydro Ottawa Limited1860
N/A | 1905 | Land | 19740204.71 |  |  | 19740204.71 | 0 |  | 0 |  |  | 0 | 19740204.71 | Hydro Ottawa Limited1905
47 | 1908 | Buildings & Fixtures | 95860157.02 |  |  | 95860157.02 | 0 |  | -28485002.75 |  |  | -28485002.75 | 67375154.27 | Hydro Ottawa Limited1908
13 | 1910 | Leasehold Improvements | 0 |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | Hydro Ottawa Limited1910
8 | 1915 | Office Furniture & Equipment (10 years) | 4864786.75 |  |  | 4864786.75 | 0 |  | -4710141.27 |  |  | -4710141.27 | 154645.48 | Hydro Ottawa Limited1915
8 | 1915 | Office Furniture & Equipment (5 years) | 0 |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | Hydro Ottawa Limited1915
10 | 1920 | Computer Equipment - Hardware | 0 |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | Hydro Ottawa Limited1920
45 | 1920 | Computer Equip.-Hardware(Post Mar. 22/04) | 0 |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | Hydro Ottawa Limited1920
50 | 1920 | Computer Equip.-Hardware(Post Mar. 19/07) | 45077019.81 |  |  | 45077019.81 | 0 |  | -32155536.48 |  |  | -32155536.48 | 12921483.33 | Hydro Ottawa Limited1920
10 | 1930 | Transportation Equipment | 67942602.25 |  |  | 67942602.25 | 0 |  | -34047251.13 |  |  | -34047251.13 | 33895351.12 | Hydro Ottawa Limited1930
8 | 1935 | Stores Equipment | 696752.47 |  |  | 696752.47 | 0 |  | -687234.1 |  |  | -687234.1 | 9518.37 | Hydro Ottawa Limited1935
8 | 1940 | Tools, Shop & Garage Equipment | 11739356.88 |  |  | 11739356.88 | 0 |  | -7779299.7 |  |  | -7779299.7 | 3960057.18 | Hydro Ottawa Limited1940
8 | 1945 | Measurement & Testing Equipment | 359466.99 |  |  | 359466.99 | 0 |  | -276966.99 |  |  | -276966.99 | 82500 | Hydro Ottawa Limited1945
8 | 1950 | Power Operated Equipment | 5386589.48 |  |  | 5386589.48 | 0 |  | -2169440.09 |  |  | -2169440.09 | 3217149.39 | Hydro Ottawa Limited1950
8 | 1955 | Communications Equipment | 32635073.45 |  |  | 32635073.45 | 0 |  | -16696956.02 |  |  | -16696956.02 | 15938117.43 | Hydro Ottawa Limited1955
8 | 1955 | Communication Equipment (Smart Meters) | 0 |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | Hydro Ottawa Limited1955
8 | 1960 | Miscellaneous Equipment | 885553.5 |  |  | 885553.5 | 0 |  | -372981.62 |  |  | -372981.62 | 512571.88 | Hydro Ottawa Limited1960
47 | 1970 | Load Management Controls Customer Premises | 0 |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | Hydro Ottawa Limited1970
47 | 1975 | Load Management Controls Utility Premises | 0 |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | Hydro Ottawa Limited1975
47 | 1980 | System Supervisor Equipment | 42382228.59 |  |  | 42382228.59 | 0 |  | -22765005.01 |  |  | -22765005.01 | 19617223.58 | Hydro Ottawa Limited1980
47 | 1985 | Miscellaneous Fixed Assets | 900 |  |  | 900 | 0 |  | -900 |  |  | -900 | 0 | Hydro Ottawa Limited1985
47 | 1990 | Other Tangible Property | 0 |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | Hydro Ottawa Limited1990
47 | 1995 | Contributions & Grants | 0 |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | Hydro Ottawa Limited1995
47 | 2440 | Deferred Revenue5 | -709041898.21 |  |  | -709041898.21 | 0 |  | 137224720.98 |  |  | 137224720.98 | -571817177.23 | Hydro Ottawa Limited2440
| 2005 | Property Under Finance Lease7 | 0 |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | Hydro Ottawa Limited2005
|  | Sub-Total | 3090192600.22 | 0 | 0 | 3090192600.22 | 0 |  | -934680621.82 | 0 | 0 | -934680621.82 | 2155511978.4
|  | Less Socialized Renewable Energy Generation Investments (input as negative) |  |  |  | 0 | [5 empty] | 0 | 0
|  | Less Other Non Rate-Regulated Utility Assets (input as negative) |  |  |  | 0 | [5 empty] | 0 | 0
|  | Total PP&E for Rate Base Purposes | 3090192600.22 | 0 | 0 | 3090192600.22 |  |  | -934680621.82 | 0 | 0 | -934680621.82 | 2155511978.4
|  | Construction Work In Progress |  |  |  | 0 | 0 |  |  |  |  | 0 | 0
|  | Total PP&E | 3090192600.22 | 0 | 0 | 3090192600.22 | 0 | 0 | -934680621.82 | 0 | 0 | -934680621.82 | 2155511978.4
Depreciation Expense adj. from gain or loss on the retirement of assets (pool of like assets), if applicable6
|  | Total | [7 empty] | 0
Less: Fully Allocated Depreciation
10 |  | Transportation | [6 empty] | Transportation
8 |  | Stores Equipment | [6 empty] | Stores Equipment
47 |  | Deferred Revenue | [6 empty] | Deferred Revenue
[9 empty] | Net Depreciation |  | 0
|  |  |  | Accounting Standard | CGAAP
|  |  |  | Year | 2027 |  | FALSE
|  |  | Cost | [6 empty] | Accumulated Depreciation
CCA Class 2 | OEB Account 3 | Description 3 | Opening Balance 8 | Additions 4 | Disposals 6 | Closing Balance | RRR DATA |  | Opening Balance 8 | Additions | Disposals 6 | Closing Balance | Net Book Value
| 1609 | Capital Contributions Paid | 124625733.91 |  |  | 124625733.91 | 0 |  | -23477078.08 |  |  | -23477078.08 | 101148655.83 | Hydro Ottawa Limited1609
12 | 1611 | Computer Software (Formally known as Account 1925) | 148917122.65 |  |  | 148917122.65 | 0 |  | -125247020.02 |  |  | -125247020.02 | 23670102.63 | Hydro Ottawa Limited1611
CEC | 1612 | Land Rights (Formally known as Account 1906) | 3288910.89 |  |  | 3288910.89 | 0 |  | -1177190.49 |  |  | -1177190.49 | 2111720.4 | Hydro Ottawa Limited1612
N/A | 1805 | Land | 25400063.99 |  |  | 25400063.99 | 0 |  | 0 |  |  | 0 | 25400063.99 | Hydro Ottawa Limited1805
47 | 1808 | Buildings | 115010368.86 |  |  | 115010368.86 | 0 |  | -26932054.07 |  |  | -26932054.07 | 88078314.79 | Hydro Ottawa Limited1808
13 | 1810 | Leasehold Improvements | 0 |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | Hydro Ottawa Limited1810
47 | 1815 | Transformer Station Equipment >50 kV | 326027531.56 |  |  | 326027531.56 | 0 |  | -82240633.67 |  |  | -82240633.67 | 243786897.89 | Hydro Ottawa Limited1815
47 | 1820 | Distribution Station Equipment <50 kV | 201861507.45 |  |  | 201861507.45 | 0 |  | -70750179.73 |  |  | -70750179.73 | 131111327.72 | Hydro Ottawa Limited1820
47 | 1825 | Storage Battery Equipment | 41119540.67 |  |  | 41119540.67 | 0 |  | -3463716.48 |  |  | -3463716.48 | 37655824.19 | Hydro Ottawa Limited1825
47 | 1830 | Poles, Towers & Fixtures | 327137791.03 |  |  | 327137791.03 | 0 |  | -72380420.52 |  |  | -72380420.52 | 254757370.51 | Hydro Ottawa Limited1830
47 | 1835 | Overhead Conductors & Devices | 325024150.14 |  |  | 325024150.14 | 0 |  | -71049070.1 |  |  | -71049070.1 | 253975080.04 | Hydro Ottawa Limited1835
47 | 1840 | Underground Conduit | 834575279.38 |  |  | 834575279.38 | 0 |  | -163631975.54 |  |  | -163631975.54 | 670943303.84 | Hydro Ottawa Limited1840
47 | 1845 | Underground Conductors & Devices | 460129408.94 |  |  | 460129408.94 | 0 |  | -123809207.29 |  |  | -123809207.29 | 336320201.65 | Hydro Ottawa Limited1845
47 | 1850 | Line Transformers | 231440020.57 |  |  | 231440020.57 | 0 |  | -64178287.16 |  |  | -64178287.16 | 167261733.41 | Hydro Ottawa Limited1850
47 | 1855 | Services (Overhead & Underground) | 144337861.09 |  |  | 144337861.09 | 0 |  | -37438219.16 |  |  | -37438219.16 | 106899641.93 | Hydro Ottawa Limited1855
47 | 1860 | Meters | 0 |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | Hydro Ottawa Limited1860
47 | 1860 | Meters (Smart Meters) | 162768515.4 |  |  | 162768515.4 | 0 |  | -55983575.33 |  |  | -55983575.33 | 106784940.07 | Hydro Ottawa Limited1860
N/A | 1905 | Land | 19740204.71 |  |  | 19740204.71 | 0 |  | 0 |  |  | 0 | 19740204.71 | Hydro Ottawa Limited1905
47 | 1908 | Buildings & Fixtures | 95860157.02 |  |  | 95860157.02 | 0 |  | -28485002.75 |  |  | -28485002.75 | 67375154.27 | Hydro Ottawa Limited1908
13 | 1910 | Leasehold Improvements | 0 |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | Hydro Ottawa Limited1910
8 | 1915 | Office Furniture & Equipment (10 years) | 4864786.75 |  |  | 4864786.75 | 0 |  | -4710141.27 |  |  | -4710141.27 | 154645.48 | Hydro Ottawa Limited1915
8 | 1915 | Office Furniture & Equipment (5 years) | 0 |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | Hydro Ottawa Limited1915
10 | 1920 | Computer Equipment - Hardware | 0 |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | Hydro Ottawa Limited1920
45 | 1920 | Computer Equip.-Hardware(Post Mar. 22/04) | 0 |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | Hydro Ottawa Limited1920
50 | 1920 | Computer Equip.-Hardware(Post Mar. 19/07) | 45077019.81 |  |  | 45077019.81 | 0 |  | -32155536.48 |  |  | -32155536.48 | 12921483.33 | Hydro Ottawa Limited1920
10 | 1930 | Transportation Equipment | 67942602.25 |  |  | 67942602.25 | 0 |  | -34047251.13 |  |  | -34047251.13 | 33895351.12 | Hydro Ottawa Limited1930
8 | 1935 | Stores Equipment | 696752.47 |  |  | 696752.47 | 0 |  | -687234.1 |  |  | -687234.1 | 9518.37 | Hydro Ottawa Limited1935
8 | 1940 | Tools, Shop & Garage Equipment | 11739356.88 |  |  | 11739356.88 | 0 |  | -7779299.7 |  |  | -7779299.7 | 3960057.18 | Hydro Ottawa Limited1940
8 | 1945 | Measurement & Testing Equipment | 359466.99 |  |  | 359466.99 | 0 |  | -276966.99 |  |  | -276966.99 | 82500 | Hydro Ottawa Limited1945
8 | 1950 | Power Operated Equipment | 5386589.48 |  |  | 5386589.48 | 0 |  | -2169440.09 |  |  | -2169440.09 | 3217149.39 | Hydro Ottawa Limited1950
8 | 1955 | Communications Equipment | 32635073.45 |  |  | 32635073.45 | 0 |  | -16696956.02 |  |  | -16696956.02 | 15938117.43 | Hydro Ottawa Limited1955
8 | 1955 | Communication Equipment (Smart Meters) | 0 |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | Hydro Ottawa Limited1955
8 | 1960 | Miscellaneous Equipment | 885553.5 |  |  | 885553.5 | 0 |  | -372981.62 |  |  | -372981.62 | 512571.88 | Hydro Ottawa Limited1960
47 | 1970 | Load Management Controls Customer Premises | 0 |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | Hydro Ottawa Limited1970
47 | 1975 | Load Management Controls Utility Premises | 0 |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | Hydro Ottawa Limited1975
47 | 1980 | System Supervisor Equipment | 42382228.59 |  |  | 42382228.59 | 0 |  | -22765005.01 |  |  | -22765005.01 | 19617223.58 | Hydro Ottawa Limited1980
47 | 1985 | Miscellaneous Fixed Assets | 900 |  |  | 900 | 0 |  | -900 |  |  | -900 | 0 | Hydro Ottawa Limited1985
47 | 1990 | Other Tangible Property | 0 |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | Hydro Ottawa Limited1990
47 | 1995 | Contributions & Grants | 0 |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | Hydro Ottawa Limited1995
47 | 2440 | Deferred Revenue5 | -709041898.21 |  |  | -709041898.21 | 0 |  | 137224720.98 |  |  | 137224720.98 | -571817177.23 | Hydro Ottawa Limited2440
| 2005 | Property Under Finance Lease7 | 0 |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | Hydro Ottawa Limited2005
|  | Sub-Total | 3090192600.22 | 0 | 0 | 3090192600.22 | 0 |  | -934680621.82 | 0 | 0 | -934680621.82 | 2155511978.4
|  | Less Socialized Renewable Energy Generation Investments (input as negative) |  |  |  | 0 | [5 empty] | 0 | 0
|  | Less Other Non Rate-Regulated Utility Assets (input as negative) |  |  |  | 0 | [5 empty] | 0 | 0
|  | Total PP&E for Rate Base Purposes | 3090192600.22 | 0 | 0 | 3090192600.22 |  |  | -934680621.82 | 0 | 0 | -934680621.82 | 2155511978.4
|  | Construction Work In Progress |  |  |  | 0 | 0 |  |  |  |  | 0 | 0
|  | Total PP&E | 3090192600.22 | 0 | 0 | 3090192600.22 | 0 | 0 | -934680621.82 | 0 | 0 | -934680621.82 | 2155511978.4
Depreciation Expense adj. from gain or loss on the retirement of assets (pool of like assets), if applicable6
|  | Total | [7 empty] | 0
Less: Fully Allocated Depreciation
10 |  | Transportation | [6 empty] | Transportation
8 |  | Stores Equipment | [6 empty] | Stores Equipment
47 |  | Deferred Revenue | [6 empty] | Deferred Revenue
[9 empty] | Net Depreciation |  | 0
|  |  |  | Accounting Standard | CGAAP
|  |  |  | Year | 2028 |  | FALSE
|  |  | Cost | [6 empty] | Accumulated Depreciation
CCA Class 2 | OEB Account 3 | Description 3 | Opening Balance 8 | Additions 4 | Disposals 6 | Closing Balance | RRR DATA |  | Opening Balance 8 | Additions | Disposals 6 | Closing Balance | Net Book Value
| 1609 | Capital Contributions Paid | 124625733.91 |  |  | 124625733.91 | 0 |  | -23477078.08 |  |  | -23477078.08 | 101148655.83 | Hydro Ottawa Limited1609
12 | 1611 | Computer Software (Formally known as Account 1925) | 148917122.65 |  |  | 148917122.65 | 0 |  | -125247020.02 |  |  | -125247020.02 | 23670102.63 | Hydro Ottawa Limited1611
CEC | 1612 | Land Rights (Formally known as Account 1906) | 3288910.89 |  |  | 3288910.89 | 0 |  | -1177190.49 |  |  | -1177190.49 | 2111720.4 | Hydro Ottawa Limited1612
N/A | 1805 | Land | 25400063.99 |  |  | 25400063.99 | 0 |  | 0 |  |  | 0 | 25400063.99 | Hydro Ottawa Limited1805
47 | 1808 | Buildings | 115010368.86 |  |  | 115010368.86 | 0 |  | -26932054.07 |  |  | -26932054.07 | 88078314.79 | Hydro Ottawa Limited1808
13 | 1810 | Leasehold Improvements | 0 |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | Hydro Ottawa Limited1810
47 | 1815 | Transformer Station Equipment >50 kV | 326027531.56 |  |  | 326027531.56 | 0 |  | -82240633.67 |  |  | -82240633.67 | 243786897.89 | Hydro Ottawa Limited1815
47 | 1820 | Distribution Station Equipment <50 kV | 201861507.45 |  |  | 201861507.45 | 0 |  | -70750179.73 |  |  | -70750179.73 | 131111327.72 | Hydro Ottawa Limited1820
47 | 1825 | Storage Battery Equipment | 41119540.67 |  |  | 41119540.67 | 0 |  | -3463716.48 |  |  | -3463716.48 | 37655824.19 | Hydro Ottawa Limited1825
47 | 1830 | Poles, Towers & Fixtures | 327137791.03 |  |  | 327137791.03 | 0 |  | -72380420.52 |  |  | -72380420.52 | 254757370.51 | Hydro Ottawa Limited1830
47 | 1835 | Overhead Conductors & Devices | 325024150.14 |  |  | 325024150.14 | 0 |  | -71049070.1 |  |  | -71049070.1 | 253975080.04 | Hydro Ottawa Limited1835
47 | 1840 | Underground Conduit | 834575279.38 |  |  | 834575279.38 | 0 |  | -163631975.54 |  |  | -163631975.54 | 670943303.84 | Hydro Ottawa Limited1840
47 | 1845 | Underground Conductors & Devices | 460129408.94 |  |  | 460129408.94 | 0 |  | -123809207.29 |  |  | -123809207.29 | 336320201.65 | Hydro Ottawa Limited1845
47 | 1850 | Line Transformers | 231440020.57 |  |  | 231440020.57 | 0 |  | -64178287.16 |  |  | -64178287.16 | 167261733.41 | Hydro Ottawa Limited1850
47 | 1855 | Services (Overhead & Underground) | 144337861.09 |  |  | 144337861.09 | 0 |  | -37438219.16 |  |  | -37438219.16 | 106899641.93 | Hydro Ottawa Limited1855
47 | 1860 | Meters | 0 |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | Hydro Ottawa Limited1860
47 | 1860 | Meters (Smart Meters) | 162768515.4 |  |  | 162768515.4 | 0 |  | -55983575.33 |  |  | -55983575.33 | 106784940.07 | Hydro Ottawa Limited1860
N/A | 1905 | Land | 19740204.71 |  |  | 19740204.71 | 0 |  | 0 |  |  | 0 | 19740204.71 | Hydro Ottawa Limited1905
47 | 1908 | Buildings & Fixtures | 95860157.02 |  |  | 95860157.02 | 0 |  | -28485002.75 |  |  | -28485002.75 | 67375154.27 | Hydro Ottawa Limited1908
13 | 1910 | Leasehold Improvements | 0 |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | Hydro Ottawa Limited1910
8 | 1915 | Office Furniture & Equipment (10 years) | 4864786.75 |  |  | 4864786.75 | 0 |  | -4710141.27 |  |  | -4710141.27 | 154645.48 | Hydro Ottawa Limited1915
8 | 1915 | Office Furniture & Equipment (5 years) | 0 |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | Hydro Ottawa Limited1915
10 | 1920 | Computer Equipment - Hardware | 0 |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | Hydro Ottawa Limited1920
45 | 1920 | Computer Equip.-Hardware(Post Mar. 22/04) | 0 |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | Hydro Ottawa Limited1920
50 | 1920 | Computer Equip.-Hardware(Post Mar. 19/07) | 45077019.81 |  |  | 45077019.81 | 0 |  | -32155536.48 |  |  | -32155536.48 | 12921483.33 | Hydro Ottawa Limited1920
10 | 1930 | Transportation Equipment | 67942602.25 |  |  | 67942602.25 | 0 |  | -34047251.13 |  |  | -34047251.13 | 33895351.12 | Hydro Ottawa Limited1930
8 | 1935 | Stores Equipment | 696752.47 |  |  | 696752.47 | 0 |  | -687234.1 |  |  | -687234.1 | 9518.37 | Hydro Ottawa Limited1935
8 | 1940 | Tools, Shop & Garage Equipment | 11739356.88 |  |  | 11739356.88 | 0 |  | -7779299.7 |  |  | -7779299.7 | 3960057.18 | Hydro Ottawa Limited1940
8 | 1945 | Measurement & Testing Equipment | 359466.99 |  |  | 359466.99 | 0 |  | -276966.99 |  |  | -276966.99 | 82500 | Hydro Ottawa Limited1945
8 | 1950 | Power Operated Equipment | 5386589.48 |  |  | 5386589.48 | 0 |  | -2169440.09 |  |  | -2169440.09 | 3217149.39 | Hydro Ottawa Limited1950
8 | 1955 | Communications Equipment | 32635073.45 |  |  | 32635073.45 | 0 |  | -16696956.02 |  |  | -16696956.02 | 15938117.43 | Hydro Ottawa Limited1955
8 | 1955 | Communication Equipment (Smart Meters) | 0 |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | Hydro Ottawa Limited1955
8 | 1960 | Miscellaneous Equipment | 885553.5 |  |  | 885553.5 | 0 |  | -372981.62 |  |  | -372981.62 | 512571.88 | Hydro Ottawa Limited1960
47 | 1970 | Load Management Controls Customer Premises | 0 |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | Hydro Ottawa Limited1970
47 | 1975 | Load Management Controls Utility Premises | 0 |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | Hydro Ottawa Limited1975
47 | 1980 | System Supervisor Equipment | 42382228.59 |  |  | 42382228.59 | 0 |  | -22765005.01 |  |  | -22765005.01 | 19617223.58 | Hydro Ottawa Limited1980
47 | 1985 | Miscellaneous Fixed Assets | 900 |  |  | 900 | 0 |  | -900 |  |  | -900 | 0 | Hydro Ottawa Limited1985
47 | 1990 | Other Tangible Property | 0 |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | Hydro Ottawa Limited1990
47 | 1995 | Contributions & Grants | 0 |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | Hydro Ottawa Limited1995
47 | 2440 | Deferred Revenue5 | -709041898.21 |  |  | -709041898.21 | 0 |  | 137224720.98 |  |  | 137224720.98 | -571817177.23 | Hydro Ottawa Limited2440
| 2005 | Property Under Finance Lease7 | 0 |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | Hydro Ottawa Limited2005
|  | Sub-Total | 3090192600.22 | 0 | 0 | 3090192600.22 | 0 |  | -934680621.82 | 0 | 0 | -934680621.82 | 2155511978.4
|  | Less Socialized Renewable Energy Generation Investments (input as negative) |  |  |  | 0 | [5 empty] | 0 | 0
|  | Less Other Non Rate-Regulated Utility Assets (input as negative) |  |  |  | 0 | [5 empty] | 0 | 0
|  | Total PP&E for Rate Base Purposes | 3090192600.22 | 0 | 0 | 3090192600.22 |  |  | -934680621.82 | 0 | 0 | -934680621.82 | 2155511978.4
|  | Construction Work In Progress |  |  |  | 0 | 0 |  |  |  |  | 0 | 0
|  | Total PP&E | 3090192600.22 | 0 | 0 | 3090192600.22 | 0 | 0 | -934680621.82 | 0 | 0 | -934680621.82 | 2155511978.4
Depreciation Expense adj. from gain or loss on the retirement of assets (pool of like assets), if applicable6
|  | Total | [7 empty] | 0
Less: Fully Allocated Depreciation
10 |  | Transportation | [6 empty] | Transportation
8 |  | Stores Equipment | [6 empty] | Stores Equipment
47 |  | Deferred Revenue | [6 empty] | Deferred Revenue
[9 empty] | Net Depreciation |  | 0
|  |  |  | Accounting Standard | CGAAP
|  |  |  | Year | 2029 |  | FALSE
|  |  | Cost | [6 empty] | Accumulated Depreciation
CCA Class 2 | OEB Account 3 | Description 3 | Opening Balance 8 | Additions 4 | Disposals 6 | Closing Balance | RRR DATA |  | Opening Balance 8 | Additions | Disposals 6 | Closing Balance | Net Book Value
| 1609 | Capital Contributions Paid | 124625733.91 |  |  | 124625733.91 | 0 |  | -23477078.08 |  |  | -23477078.08 | 101148655.83 | Hydro Ottawa Limited1609
12 | 1611 | Computer Software (Formally known as Account 1925) | 148917122.65 |  |  | 148917122.65 | 0 |  | -125247020.02 |  |  | -125247020.02 | 23670102.63 | Hydro Ottawa Limited1611
CEC | 1612 | Land Rights (Formally known as Account 1906) | 3288910.89 |  |  | 3288910.89 | 0 |  | -1177190.49 |  |  | -1177190.49 | 2111720.4 | Hydro Ottawa Limited1612
N/A | 1805 | Land | 25400063.99 |  |  | 25400063.99 | 0 |  | 0 |  |  | 0 | 25400063.99 | Hydro Ottawa Limited1805
47 | 1808 | Buildings | 115010368.86 |  |  | 115010368.86 | 0 |  | -26932054.07 |  |  | -26932054.07 | 88078314.79 | Hydro Ottawa Limited1808
13 | 1810 | Leasehold Improvements | 0 |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | Hydro Ottawa Limited1810
47 | 1815 | Transformer Station Equipment >50 kV | 326027531.56 |  |  | 326027531.56 | 0 |  | -82240633.67 |  |  | -82240633.67 | 243786897.89 | Hydro Ottawa Limited1815
47 | 1820 | Distribution Station Equipment <50 kV | 201861507.45 |  |  | 201861507.45 | 0 |  | -70750179.73 |  |  | -70750179.73 | 131111327.72 | Hydro Ottawa Limited1820
47 | 1825 | Storage Battery Equipment | 41119540.67 |  |  | 41119540.67 | 0 |  | -3463716.48 |  |  | -3463716.48 | 37655824.19 | Hydro Ottawa Limited1825
47 | 1830 | Poles, Towers & Fixtures | 327137791.03 |  |  | 327137791.03 | 0 |  | -72380420.52 |  |  | -72380420.52 | 254757370.51 | Hydro Ottawa Limited1830
47 | 1835 | Overhead Conductors & Devices | 325024150.14 |  |  | 325024150.14 | 0 |  | -71049070.1 |  |  | -71049070.1 | 253975080.04 | Hydro Ottawa Limited1835
47 | 1840 | Underground Conduit | 834575279.38 |  |  | 834575279.38 | 0 |  | -163631975.54 |  |  | -163631975.54 | 670943303.84 | Hydro Ottawa Limited1840
47 | 1845 | Underground Conductors & Devices | 460129408.94 |  |  | 460129408.94 | 0 |  | -123809207.29 |  |  | -123809207.29 | 336320201.65 | Hydro Ottawa Limited1845
47 | 1850 | Line Transformers | 231440020.57 |  |  | 231440020.57 | 0 |  | -64178287.16 |  |  | -64178287.16 | 167261733.41 | Hydro Ottawa Limited1850
47 | 1855 | Services (Overhead & Underground) | 144337861.09 |  |  | 144337861.09 | 0 |  | -37438219.16 |  |  | -37438219.16 | 106899641.93 | Hydro Ottawa Limited1855
47 | 1860 | Meters | 0 |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | Hydro Ottawa Limited1860
47 | 1860 | Meters (Smart Meters) | 162768515.4 |  |  | 162768515.4 | 0 |  | -55983575.33 |  |  | -55983575.33 | 106784940.07 | Hydro Ottawa Limited1860
N/A | 1905 | Land | 19740204.71 |  |  | 19740204.71 | 0 |  | 0 |  |  | 0 | 19740204.71 | Hydro Ottawa Limited1905
47 | 1908 | Buildings & Fixtures | 95860157.02 |  |  | 95860157.02 | 0 |  | -28485002.75 |  |  | -28485002.75 | 67375154.27 | Hydro Ottawa Limited1908
13 | 1910 | Leasehold Improvements | 0 |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | Hydro Ottawa Limited1910
8 | 1915 | Office Furniture & Equipment (10 years) | 4864786.75 |  |  | 4864786.75 | 0 |  | -4710141.27 |  |  | -4710141.27 | 154645.48 | Hydro Ottawa Limited1915
8 | 1915 | Office Furniture & Equipment (5 years) | 0 |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | Hydro Ottawa Limited1915
10 | 1920 | Computer Equipment - Hardware | 0 |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | Hydro Ottawa Limited1920
45 | 1920 | Computer Equip.-Hardware(Post Mar. 22/04) | 0 |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | Hydro Ottawa Limited1920
50 | 1920 | Computer Equip.-Hardware(Post Mar. 19/07) | 45077019.81 |  |  | 45077019.81 | 0 |  | -32155536.48 |  |  | -32155536.48 | 12921483.33 | Hydro Ottawa Limited1920
10 | 1930 | Transportation Equipment | 67942602.25 |  |  | 67942602.25 | 0 |  | -34047251.13 |  |  | -34047251.13 | 33895351.12 | Hydro Ottawa Limited1930
8 | 1935 | Stores Equipment | 696752.47 |  |  | 696752.47 | 0 |  | -687234.1 |  |  | -687234.1 | 9518.37 | Hydro Ottawa Limited1935
8 | 1940 | Tools, Shop & Garage Equipment | 11739356.88 |  |  | 11739356.88 | 0 |  | -7779299.7 |  |  | -7779299.7 | 3960057.18 | Hydro Ottawa Limited1940
8 | 1945 | Measurement & Testing Equipment | 359466.99 |  |  | 359466.99 | 0 |  | -276966.99 |  |  | -276966.99 | 82500 | Hydro Ottawa Limited1945
8 | 1950 | Power Operated Equipment | 5386589.48 |  |  | 5386589.48 | 0 |  | -2169440.09 |  |  | -2169440.09 | 3217149.39 | Hydro Ottawa Limited1950
8 | 1955 | Communications Equipment | 32635073.45 |  |  | 32635073.45 | 0 |  | -16696956.02 |  |  | -16696956.02 | 15938117.43 | Hydro Ottawa Limited1955
8 | 1955 | Communication Equipment (Smart Meters) | 0 |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | Hydro Ottawa Limited1955
8 | 1960 | Miscellaneous Equipment | 885553.5 |  |  | 885553.5 | 0 |  | -372981.62 |  |  | -372981.62 | 512571.88 | Hydro Ottawa Limited1960
47 | 1970 | Load Management Controls Customer Premises | 0 |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | Hydro Ottawa Limited1970
47 | 1975 | Load Management Controls Utility Premises | 0 |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | Hydro Ottawa Limited1975
47 | 1980 | System Supervisor Equipment | 42382228.59 |  |  | 42382228.59 | 0 |  | -22765005.01 |  |  | -22765005.01 | 19617223.58 | Hydro Ottawa Limited1980
47 | 1985 | Miscellaneous Fixed Assets | 900 |  |  | 900 | 0 |  | -900 |  |  | -900 | 0 | Hydro Ottawa Limited1985
47 | 1990 | Other Tangible Property | 0 |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | Hydro Ottawa Limited1990
47 | 1995 | Contributions & Grants | 0 |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | Hydro Ottawa Limited1995
47 | 2440 | Deferred Revenue5 | -709041898.21 |  |  | -709041898.21 | 0 |  | 137224720.98 |  |  | 137224720.98 | -571817177.23 | Hydro Ottawa Limited2440
| 2005 | Property Under Finance Lease7 | 0 |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | Hydro Ottawa Limited2005
|  | Sub-Total | 3090192600.22 | 0 | 0 | 3090192600.22 | 0 |  | -934680621.82 | 0 | 0 | -934680621.82 | 2155511978.4
|  | Less Socialized Renewable Energy Generation Investments (input as negative) |  |  |  | 0 | [5 empty] | 0 | 0
|  | Less Other Non Rate-Regulated Utility Assets (input as negative) |  |  |  | 0 | [5 empty] | 0 | 0
|  | Total PP&E for Rate Base Purposes | 3090192600.22 | 0 | 0 | 3090192600.22 |  |  | -934680621.82 | 0 | 0 | -934680621.82 | 2155511978.4
|  | Construction Work In Progress |  |  |  | 0 | 0 |  |  |  |  | 0 | 0
|  | Total PP&E | 3090192600.22 | 0 | 0 | 3090192600.22 | 0 | 0 | -934680621.82 | 0 | 0 | -934680621.82 | 2155511978.4
Depreciation Expense adj. from gain or loss on the retirement of assets (pool of like assets), if applicable6
|  | Total | [7 empty] | 0
Less: Fully Allocated Depreciation
10 |  | Transportation | [6 empty] | Transportation
8 |  | Stores Equipment | [6 empty] | Stores Equipment
47 |  | Deferred Revenue | [6 empty] | Deferred Revenue
[9 empty] | Net Depreciation |  | 0
|  |  |  | Accounting Standard | CGAAP
|  |  |  | Year | 2030 |  | FALSE
|  |  | Cost | [6 empty] | Accumulated Depreciation
CCA Class 2 | OEB Account 3 | Description 3 | Opening Balance 8 | Additions 4 | Disposals 6 | Closing Balance | RRR DATA |  | Opening Balance 8 | Additions | Disposals 6 | Closing Balance | Net Book Value
| 1609 | Capital Contributions Paid | 124625733.91 |  |  | 124625733.91 | 0 |  | -23477078.08 |  |  | -23477078.08 | 101148655.83 | Hydro Ottawa Limited1609
12 | 1611 | Computer Software (Formally known as Account 1925) | 148917122.65 |  |  | 148917122.65 | 0 |  | -125247020.02 |  |  | -125247020.02 | 23670102.63 | Hydro Ottawa Limited1611
CEC | 1612 | Land Rights (Formally known as Account 1906) | 3288910.89 |  |  | 3288910.89 | 0 |  | -1177190.49 |  |  | -1177190.49 | 2111720.4 | Hydro Ottawa Limited1612
N/A | 1805 | Land | 25400063.99 |  |  | 25400063.99 | 0 |  | 0 |  |  | 0 | 25400063.99 | Hydro Ottawa Limited1805
47 | 1808 | Buildings | 115010368.86 |  |  | 115010368.86 | 0 |  | -26932054.07 |  |  | -26932054.07 | 88078314.79 | Hydro Ottawa Limited1808
13 | 1810 | Leasehold Improvements | 0 |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | Hydro Ottawa Limited1810
47 | 1815 | Transformer Station Equipment >50 kV | 326027531.56 |  |  | 326027531.56 | 0 |  | -82240633.67 |  |  | -82240633.67 | 243786897.89 | Hydro Ottawa Limited1815
47 | 1820 | Distribution Station Equipment <50 kV | 201861507.45 |  |  | 201861507.45 | 0 |  | -70750179.73 |  |  | -70750179.73 | 131111327.72 | Hydro Ottawa Limited1820
47 | 1825 | Storage Battery Equipment | 41119540.67 |  |  | 41119540.67 | 0 |  | -3463716.48 |  |  | -3463716.48 | 37655824.19 | Hydro Ottawa Limited1825
47 | 1830 | Poles, Towers & Fixtures | 327137791.03 |  |  | 327137791.03 | 0 |  | -72380420.52 |  |  | -72380420.52 | 254757370.51 | Hydro Ottawa Limited1830
47 | 1835 | Overhead Conductors & Devices | 325024150.14 |  |  | 325024150.14 | 0 |  | -71049070.1 |  |  | -71049070.1 | 253975080.04 | Hydro Ottawa Limited1835
47 | 1840 | Underground Conduit | 834575279.38 |  |  | 834575279.38 | 0 |  | -163631975.54 |  |  | -163631975.54 | 670943303.84 | Hydro Ottawa Limited1840
47 | 1845 | Underground Conductors & Devices | 460129408.94 |  |  | 460129408.94 | 0 |  | -123809207.29 |  |  | -123809207.29 | 336320201.65 | Hydro Ottawa Limited1845
47 | 1850 | Line Transformers | 231440020.57 |  |  | 231440020.57 | 0 |  | -64178287.16 |  |  | -64178287.16 | 167261733.41 | Hydro Ottawa Limited1850
47 | 1855 | Services (Overhead & Underground) | 144337861.09 |  |  | 144337861.09 | 0 |  | -37438219.16 |  |  | -37438219.16 | 106899641.93 | Hydro Ottawa Limited1855
47 | 1860 | Meters | 0 |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | Hydro Ottawa Limited1860
47 | 1860 | Meters (Smart Meters) | 162768515.4 |  |  | 162768515.4 | 0 |  | -55983575.33 |  |  | -55983575.33 | 106784940.07 | Hydro Ottawa Limited1860
N/A | 1905 | Land | 19740204.71 |  |  | 19740204.71 | 0 |  | 0 |  |  | 0 | 19740204.71 | Hydro Ottawa Limited1905
47 | 1908 | Buildings & Fixtures | 95860157.02 |  |  | 95860157.02 | 0 |  | -28485002.75 |  |  | -28485002.75 | 67375154.27 | Hydro Ottawa Limited1908
13 | 1910 | Leasehold Improvements | 0 |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | Hydro Ottawa Limited1910
8 | 1915 | Office Furniture & Equipment (10 years) | 4864786.75 |  |  | 4864786.75 | 0 |  | -4710141.27 |  |  | -4710141.27 | 154645.48 | Hydro Ottawa Limited1915
8 | 1915 | Office Furniture & Equipment (5 years) | 0 |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | Hydro Ottawa Limited1915
10 | 1920 | Computer Equipment - Hardware | 0 |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | Hydro Ottawa Limited1920
45 | 1920 | Computer Equip.-Hardware(Post Mar. 22/04) | 0 |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | Hydro Ottawa Limited1920
50 | 1920 | Computer Equip.-Hardware(Post Mar. 19/07) | 45077019.81 |  |  | 45077019.81 | 0 |  | -32155536.48 |  |  | -32155536.48 | 12921483.33 | Hydro Ottawa Limited1920
10 | 1930 | Transportation Equipment | 67942602.25 |  |  | 67942602.25 | 0 |  | -34047251.13 |  |  | -34047251.13 | 33895351.12 | Hydro Ottawa Limited1930
8 | 1935 | Stores Equipment | 696752.47 |  |  | 696752.47 | 0 |  | -687234.1 |  |  | -687234.1 | 9518.37 | Hydro Ottawa Limited1935
8 | 1940 | Tools, Shop & Garage Equipment | 11739356.88 |  |  | 11739356.88 | 0 |  | -7779299.7 |  |  | -7779299.7 | 3960057.18 | Hydro Ottawa Limited1940
8 | 1945 | Measurement & Testing Equipment | 359466.99 |  |  | 359466.99 | 0 |  | -276966.99 |  |  | -276966.99 | 82500 | Hydro Ottawa Limited1945
8 | 1950 | Power Operated Equipment | 5386589.48 |  |  | 5386589.48 | 0 |  | -2169440.09 |  |  | -2169440.09 | 3217149.39 | Hydro Ottawa Limited1950
8 | 1955 | Communications Equipment | 32635073.45 |  |  | 32635073.45 | 0 |  | -16696956.02 |  |  | -16696956.02 | 15938117.43 | Hydro Ottawa Limited1955
8 | 1955 | Communication Equipment (Smart Meters) | 0 |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | Hydro Ottawa Limited1955
8 | 1960 | Miscellaneous Equipment | 885553.5 |  |  | 885553.5 | 0 |  | -372981.62 |  |  | -372981.62 | 512571.88 | Hydro Ottawa Limited1960
47 | 1970 | Load Management Controls Customer Premises | 0 |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | Hydro Ottawa Limited1970
47 | 1975 | Load Management Controls Utility Premises | 0 |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | Hydro Ottawa Limited1975
47 | 1980 | System Supervisor Equipment | 42382228.59 |  |  | 42382228.59 | 0 |  | -22765005.01 |  |  | -22765005.01 | 19617223.58 | Hydro Ottawa Limited1980
47 | 1985 | Miscellaneous Fixed Assets | 900 |  |  | 900 | 0 |  | -900 |  |  | -900 | 0 | Hydro Ottawa Limited1985
47 | 1990 | Other Tangible Property | 0 |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | Hydro Ottawa Limited1990
47 | 1995 | Contributions & Grants | 0 |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | Hydro Ottawa Limited1995
47 | 2440 | Deferred Revenue5 | -709041898.21 |  |  | -709041898.21 | 0 |  | 137224720.98 |  |  | 137224720.98 | -571817177.23 | Hydro Ottawa Limited2440
| 2005 | Property Under Finance Lease7 | 0 |  |  | 0 | 0 |  | 0 |  |  | 0 | 0 | Hydro Ottawa Limited2005
|  | Sub-Total | 3090192600.22 | 0 | 0 | 3090192600.22 | 0 |  | -934680621.82 | 0 | 0 | -934680621.82 | 2155511978.4
|  | Less Socialized Renewable Energy Generation Investments (input as negative) |  |  |  | 0 | [5 empty] | 0 | 0
|  | Less Other Non Rate-Regulated Utility Assets (input as negative) |  |  |  | 0 | [5 empty] | 0 | 0
|  | Total PP&E for Rate Base Purposes | 3090192600.22 | 0 | 0 | 3090192600.22 |  |  | -934680621.82 | 0 | 0 | -934680621.82 | 2155511978.4
|  | Construction Work In Progress |  |  |  | 0 | 0 |  |  |  |  | 0 | 0
|  | Total PP&E | 3090192600.22 | 0 | 0 | 3090192600.22 | 0 | 0 | -934680621.82 | 0 | 0 | -934680621.82 | 2155511978.4
Depreciation Expense adj. from gain or loss on the retirement of assets (pool of like assets), if applicable6
|  | Total | [7 empty] | 0
Less: Fully Allocated Depreciation
10 |  | Transportation | [6 empty] | Transportation
8 |  | Stores Equipment | [6 empty] | Stores Equipment
47 |  | Deferred Revenue | [6 empty] | Deferred Revenue
[9 empty] | Net Depreciation |  | 0