Filed: 2008-11-14

EB-2008-0298

AMPCO Interrogatories to IESO
Page 1 of 2

AMPCO Interrogatories to the Independent Electricity System Operator (IESO)
Lennox Generating Station Reliability Must-Run Agreement

EB-2008-0298

Preamble

In the IESO’s letter of intervention of October 24th, the IESO indicated that it would be “responding to relevant interrogatories or enquiries from the Ontario Energy Board (the “Board”), Board Staff and other parties”. It is pursuant to this statement that AMPCO seeks additional information from the IESO.

Interrogatory # 1

In relation to the IESO’s 18 Month Outlook issued September 23, 2008:

a. Table 5.2 provides an update on the committed and contracted generation resources anticipated over the next 18 months. Please provide an update of Table 5.2 or confirm that it represents current information available to the IESO. 

b. Regarding Table 5.2, please explain why the 240 MW of capacity for the Portlands Energy Centre Combined Cycle Operation and the 570 MW of capacity for the St. Clair Energy Centre are shown only as planned and not firm.

c. Please summarize the dispatchable and non-dispatchable generation expected to enter and exit service prior to September 30th 2009.

d. Please indicate whether the following statement is still reflective of the IESO’s expectations: “The new interconnection between Hawthorne transformer station (TS) in Ontario and Outaouais station in Québec is scheduled for service by spring 2009. The new interconnection is designed for an ultimate capacity of 1,250 MW but for the period of this Outlook the import and export capability will be limited to up to 750 MW and 1,000 MW respectively.” (P. 30)

e. The Outlook contains the following statement: “Recent studies performed by the IESO indicate a continued need for four Lennox units for local area reliability at least for the first part of this Outlook period.” (p. 30).  Please provide the studies referred to in this statement. What is meant by the phrase “first part”?
Interrogatory # 2


In the IESO’s 18 Month Outlook Demand Forecast issued September 22, 2008, Table 1 provides an update on the peak and energy demand forecast over the next 18 months.

a. Please provide an update of Table 1 or confirm that Table 1 represents current information available to the IESO.

b. Please comment on which demand scenario – with or without planned conservation – the IESO considers most appropriate for consideration of the need for future Lennox generation.
Interrogatory # 3

Please provide the 2006 and 2007 audit reports the IESO commissioned or performed on the Lennox RMR contracts.

