Filed: 2008-11-14

EB-2008-0298

AMPCO Interrogatories to OPA 

Page 1 of 1

AMPCO Interrogatories to the Ontario Power Authority (OPA)
Lennox Generating Station Reliability Must-Run Agreement

EB-2008-0298

Preable
In the OPA’s letter of intervention of October 27th, the OPA agreed with the Board’s statement in Procedural Order No. 1 that “The Board is particularly interested in the view of the Ontario Power Authority and the IESO on this issue”. It is pursuant to this statement that AMPCO seeks additional information from the OPA.
Interrogatory # 1

Please summarize the load curtailment programs in place now or planned to be in place by September 2009, including information on the effective capacity of each program, the history of use of each existing program starting in 2005 and the fixed and variable costs of each program. 


Interrogatory # 2
As noted in Procedural Order No. 1, the IPSP (Exhibit D, Tab 8, Schedule 1, Attachment 1) identifies a need for Lennox generation. Regarding this exhibit:

a. Please indicate the annual production forecast for Lennox as reflected in the IPSP for the years 2007-2014.

b. What was the date that the demand and supply forecasts underpinning Exhibit D, Tab 8, Schedule 1, Attachment 1 were finalized?

c. The exhibit provides a comparison of Lennox vs. other gas-fired options. What consideration has the OPA given to non-gas-fired alternatives to Lennox? For example, please indicate any consideration the OPA has made of the option of contracting with Quebec for capacity to avoid the need to continue contracting for Lennox capacity and energy.
