## Table A
Table-A - 2024 Asset Condition Count and Percentage
|  | Asset Condition Count | [5 empty] | Asset Condition Percentage
Asset System | Asset Class | Very Poor | Poor | Fair | Good | Very Good | Grand Total | Very Poor | Poor | Fair | Good | Very Good
Overhead | OH Distribution Transformer | 1091 | 1548 | 4127 | 4117 | 4335 | 15218 | 7% | 10% | 27% | 27% | 28%
Overhead | OH Switch | 12 | 59 | 16 | 737 | 2759 | 3583 | 0% | 2% | 0% | 21% | 77%
Overhead | Pole | 1331 | 3344 | 7494 | 14970 | 19497 | 46636 | 3% | 7% | 16% | 32% | 42%
Overhead | Recloser |  |  |  | 36 | 7 | 43 |  |  |  | 84% | 16%
Overhead Total | Total | 2434 | 4951 | 11637 | 19860 | 26598 | 65480 | 4% | 8% | 18% | 30% | 41%
Stations | Station Battery | 3 | 20 | 27 | 14 | 6 | 70 | 4% | 29% | 39% | 20% | 9%
Stations | Station Outdoor Recloser | 5 | 3 |  | 23 | 15 | 46 | 11% | 7% |  | 50% | 33%
Stations | Station Switchgear | 1 | 129 | 285 | 286 | 356 | 1057 | 0% | 12% | 27% | 27% | 34%
Stations | Station Transformer |  | 3 | 72 | 78 | 17 | 170 |  | 2% | 42% | 46% | 10%
Stations Total | Total | 9 | 155 | 384 | 401 | 394 | 1343 | 1% | 12% | 29% | 30% | 29%
Underground | Cable Chamber | 3 | 66 | 558 | 1213 | 2064 | 3904 | 0% | 2% | 14% | 31% | 53%
Underground | UG Distribution Transformer | 1 | 38 | 3323 | 10586 | 4927 | 18875 | 0% | 0% | 18% | 56% | 26%
Underground | UG Switchgear | 1 | 9 | 30 | 71 | 450 | 561 | 0% | 2% | 5% | 13% | 80%
Underground | Underground Cable (EPR) |  | 6 | 15 | 92 | 2573 | 2686 |  | 0% | 1% | 3% | 96%
Underground | Underground Cable (PILC) |  | 25 | 2668 | 3009 | 1717 | 7419 |  | 0% | 36% | 41% | 23%
Underground | Underground Cable (XLPE) |  | 429 | 22811 | 20409 | 12766 | 56415 |  | 1% | 40% | 36% | 23%
Underground | Underground Switchgear Primary Pedestal |  | 1 | 1 | 1 | 15 | 18 |  | 6% | 6% | 6% | 83%
Underground | Vault Distribution Transformer | 590 | 1044 | 1068 | 1156 | 653 | 4511 | 13% | 23% | 24% | 26% | 14%
Underground | Vault Switchgear | 9 |  | 4 | 68 | 90 | 171 | 5% |  | 2% | 40% | 53%
Underground Total | Total | 604 | 1618 | 30478 | 36605 | 25255 | 94560 | 1% | 2% | 32% | 39% | 27%