## 00 Cover
Benefit-Cost Analysis Data Filing Submission Template
All electricity distributors must complete both the Summary tab and the Annual Values tab to accompany their filing submission. Values in the Summary tab should be linked to the Annual Values tab or other additional tabs included by the electricity distributor using formulas.
Electricity distributors are strongly encouraged to include additional tabs providing the upstream calculations that deliver the Annual Values tab and Summary tab outputs.
Ontario Energy Board

## 01 Summary
General Information
Electricity Distributor Name | Hydro Ottawa Limited
Project or Program Name | Non-Wires Customer Solutions Program
Description of NWS(s) (<150 words) | A portfolio of multiple customer facing programs to support demand reduction during peak hours
Year for Net Present Value | 2026
Constant Dollar Year (i.e., nominal values deflated to this year) | 2024
Distribution Service Test
DST Benefits
(Add more rows as required)
Benefit | Benefit Type | NPV
| Distribution Capacity (Deferral or Avoidance Benefit) | 23075708.84
| Reliability (Net Avoided Outage Costs) | 0
| Resilience (Critical Load Benefits) | 0
| Innovation & Market | 0
| Planning Value | 0
Total DST Benefit |  | 23075708.84
DST Costs
(Add more rows as required)
Cost | Cost Type | NPV
DER Incentive (NPV) | DER Acquisition Cost | 14409080.96
NWS O&M (NPV) | DER Operations, Maintenance, and Administrative (OM&A) Costs | 654887.9276
NWS Ancillary Services Costs | Distribution System Ancillary Services Costs | 0
Quantifiable NWS risks | Risks (Distribution System) | 0
Total DST Cost |  | 15063968.89
NPV Net DST Benefit | 8011739.951
Energy System Test
EST Benefits
(Add more rows as required)
Benefit | Benefit Type | NPV
Capacity (NPV) | Avoided Generation Capacity Costs | 66989028.87
Summer On-Peak Energy (NPV) | Avoided Energy Costs | 6133563.759
Winter On-Peak Energy (NPV) | Avoided Energy Costs | 3747364.786
Transmission Capacity (NPV) | Transmission Capacity | 8313606.771
Total EST Benefit |  | 85183564.18
EST Costs
(Add more rows as required)
Cost | Cost Type | NPV
IESO Incentive costs (NPV) | DER Acquisition Cost | 33332299.5
Total EST Cost |  | 33332299.5
NPV Net EST Benefit | 51851264.68

## 02 Annual Values - Updated
| Distribution Service Impacts (kW-year) | Distribution Service Benefits (NPV$) | Distribution Service Costs (NPV$) = incentive costs ($/kW) X max capacity during peak (kW)
Calendar Year | NWS Capacity | Max of NWS production (kW) X MADC ($/kW) | Commercial Retrofit Incentive Adder Program | Residential Demand Response Program | Commercial Demand Response (HVAC) Program | Residential Solar and Battery Storage Adder Program | Commercial Solar Adder Program | Commercial Battery Storage Program | TOTAL distribution incentive costs | Net Distribution System Benefits | Energy System Avoided Generation Capacity Benefits | Energy System Summer On-Peak Energy Benefits | Energy System Winter On-Peak Energy Benefits | Transmission Avoided Capacity Benefits | TOTAL Energy System Benefits | Energy System Costs | Net Energy System Benefits
NPV |  | 23075708.84 | 2504502.826 | 201569.5617 | 10918.4805 | 5634990.92 | 1691357.699 | 4365741.477 | 14409080.96 | 8666627.878 | 66989028.87 | 6133563.759 | 3747364.786 | 8313606.771 | 85183564.18 | 33332299.5 | 33656729.36
2026 | 4837.0025 | 297408.9045 | 70404.0464 | 9175.994 | 2082.7864 | 46747.2307 | 0 | 0 | 128410.0576 | 168998.8469 | 469496.0878 | 105020.2422 | 73155.7065 | 107472.3757 | 755144.4122 | 747558.0197 | -278061.932
2027 | 10272.9396 | 631644.0253 | 140808.0928 | 12297.2401 | 4165.5727 | 93494.4615 | 0 | 0 | 250765.3671 | 380878.6582 | 1424657.467 | 427769.5124 | 296887.1914 | 293342.6997 | 2442656.871 | 1417716.039 | 6941.4276
2028 | 12733.3755 | 782926.8803 | 211212.1392 | 18357.8551 | 6248.3591 | 140241.6922 | 18805.6248 | 0 | 394865.6704 | 388061.2098 | 1822860.473 | 416295.7605 | 350462.6204 | 333444.3107 | 2923063.165 | 2151456.764 | -328596.2912
2029 | 19872.656 | 1221894.11 | 211212.1392 | 6823.3255 | 0 | 138410.131 | 37611.2497 | 301172.8651 | 695229.7104 | 526664.4001 | 2524343.11 | 565896.4651 | 360762.3774 | 432781.1988 | 3883783.152 | 2112213.435 | 412129.6748
2030 | 20851.4283 | 1282075.1 | 211212.1392 | 7028.6706 | 0 | 173012.6637 | 56417.2265 | 301172.8651 | 748843.5651 | 533231.5354 | 2965294.775 | 512007.5645 | 343091.804 | 470940.5305 | 4291334.674 | 2219364.737 | 745930.038
2031 | 21621.8383 | 1329444.684 | 211212.1392 | 7239.8828 | 0 | 207615.1964 | 75222.8513 | 301172.8651 | 802462.9349 | 526981.7487 | 3763763.504 | 503517.5157 | 321257.6519 | 505638.7974 | 5094177.47 | 2323986.846 | 1439776.659
2032 | 23928.353 | 1471263.511 | 211212.1392 | 7456.9619 | 0 | 242217.7292 | 94028.4762 | 301172.8651 | 856088.1716 | 615175.3399 | 4461113.274 | 403156.4163 | 302556.0569 | 547286.438 | 5714112.185 | 2428683.955 | 2032429.319
2033 | 24918.6469 | 1532152.921 | 211212.1392 | 7679.9081 | 0 | 276820.2619 | 112834.101 | 301172.8651 | 909719.2753 | 622433.6459 | 4802910.039 | 390925.1462 | 259977.0178 | 590987.2629 | 6044799.465 | 2533456.063 | 2269453.975
2034 | 33449.0649 | 2056655.908 | 211212.1392 | 19642.7289 | 0 | 313473.3125 | 131640.0779 | 345527.7977 | 1021496.056 | 1035159.852 | 5287082.189 | 324937.2806 | 194366.0869 | 662500.5015 | 6468886.058 | 2606183.683 | 2680898.506
2035 | 35418.4636 | 2177746.752 | 211212.1392 | 19883.2761 | 0 | 346024.9754 | 150445.7027 | 380855.3747 | 1108421.468 | 1069325.284 | 5571948.711 | 291679.4021 | 194169.1098 | 709037.3952 | 6766834.618 | 2735955.122 | 2835993.589
2036 | 35211.3066 | 2165009.461 | 211212.1392 | 20123.8233 | 0 | 514219.1862 | 169251.3275 | 416748.2533 | 1331554.729 | 833454.7316 | 5654826.648 | 349845.2753 | 242387.6667 | 735574.4648 | 6982634.055 | 2848297.39 | 2806529.258
2037 | 37845.0619 | 2326949.063 | 211212.1392 | 20376.1044 | 0 | 560966.4169 | 188056.9524 | 478982.313 | 1459593.926 | 867355.1367 | 5945839.88 | 338269.0561 | 258086.57 | 775892.3391 | 7318087.845 | 2953444.498 | 2992395.381
2038 | 39214.5289 | 2411152.385 | 211212.1392 | 20634.2526 | 0 | 607713.6476 | 206862.9292 | 427075.4708 | 1473498.439 | 937653.9458 | 6464276.309 | 460418.0801 | 289906.1669 | 827728.3604 | 8042328.916 | 3058666.607 | 3405609.701
2039 | 40719.7217 | 2503700.971 | 211212.1392 | 20904.1348 | 0 | 654460.8784 | 225668.554 | 566204.9864 | 1678450.693 | 825250.2786 | 6773727.806 | 560695.3192 | 371144.6766 | 867352.5609 | 8572920.363 | 3164038.716 | 3609689.09
2040 | 41772.6598 | 2568442.137 | 211212.1392 | 21179.884 | 0 | 701208.1091 | 244474.1789 | 566204.9864 | 1744279.298 | 824162.8396 | 7190067.818 | 531094.5799 | 383754.9833 | 903718.7419 | 9008636.123 | 3258189.861 | 3931877.957
2041 | 42799.9993 | 2631609.337 | 211212.1392 | 21461.5001 | 0 | 747955.3399 | 251996.4992 | 566204.9864 | 1798830.465 | 832778.8723 | 7565428.53 | 715492.975 | 392939.0398 | 936533.7688 | 9610394.314 | 3354070.058 | 4211358.473
2042 | 42505.0784 | 2613475.771 | 211212.1392 | 21754.8503 | 0 | 794702.5706 | 251996.4992 | 566204.9864 | 1845871.046 | 767604.7252 | 7786112.815 | 703522.6565 | 401285.6734 | 946691.9703 | 9837613.115 | 3424845.706 | 4361267.109
2043 | 44447.8154 | 2732927.289 | 211212.1392 | 22054.0675 | 0 | 841449.8014 | 251996.4992 | 566204.9864 | 1892917.494 | 840009.7954 | 8390600.723 | 849233.3785 | 476827.4995 | 973949.0809 | 10690610.68 | 3495696.355 | 4894904.368
2044 | 45432.6802 | 2793482.887 | 211212.1392 | 22365.0187 | 0 | 888197.0321 | 251996.4992 | 566204.9864 | 1939975.676 | 853507.2113 | 9067485.293 | 943611.4395 | 387775.7493 | 1012368.673 | 11411241.16 | 3566697.003 | 5500788.29
2045 | 46756.2246 | 2874862.599 | 211212.1392 | 22681.837 | 0 | 934944.2628 | 251996.4992 | 566204.9864 | 1987039.725 | 887822.8742 | 9590834.215 | 825665.3769 | 400833.8298 | 1028752.547 | 11846085.97 | 3569334.691 | 6021499.524
2046 | 47319.7136 | 2909509.397 | 211212.1392 | 23010.3892 | 0 | 981691.4936 | 251996.4992 | 566204.9864 | 2034115.508 | 875393.8896 | 10283662.82 | 640963.0447 | 345568.2477 | 1064070.848 | 12334264.96 | 3694519.434 | 6589143.385
2047 | 47929.7412 | 2947017.678 | 211212.1392 | 23350.6754 | 0 | 1028438.724 | 251996.4992 | 566204.9864 | 2081203.025 | 865814.6538 | 10899714.24 | 657767.1075 | 260375.7932 | 1091967.485 | 12909824.63 | 3780373.949 | 7119340.295
2048 | 47997.3298 | 2951173.443 | 211212.1392 | 23696.8286 | 0 | 1075185.955 | 251996.4992 | 566204.9864 | 2128296.408 | 822877.0349 | 11291060.46 | 644314.5759 | 230619.9936 | 1098931.29 | 13264926.32 | 3851824.598 | 7439235.861
2049 | 50952.0236 | 3132846.338 | 211212.1392 | 24054.7159 | 0 | 1121933.186 | 251996.4992 | 566204.9864 | 2175401.526 | 957444.8114 | 12049524.6 | 516647.8298 | 201131.5445 | 1145540.755 | 13912844.73 | 3923425.246 | 8126099.355
2050 | 50904.1765 | 3129904.404 | 211212.1392 | 24424.3371 | 0 | 1168680.065 | 251996.4992 | 566204.9864 | 2222518.026 | 907386.3777 | 12528014.35 | 578794.2629 | 169298.944 | 1166668.489 | 14442776.04 | 3995175.895 | 8532838.453

## Program Assumptions
General Assumptions | Description | Value | Unit | Value | Unit
Average distribution capacity | Cost per 100 MVA using historical actuals | 78600000 | $/100 MVA | 61.4862 | $/kW-year
Distributor incentive | Currently estimated distributor incentive for Commercial Retrofit Incentive Adder Program, Residential Solar and Battery Storage Adder Program, Commercial Solar Adder Program | 450 | $/kW | 35.202 | $/kW-year
Distributor incentive | Currently estimated distributor incentive for Residential Demand Response Program, Commercial Demand Response (HVAC) Program | 75 | $/kW | 5.867 | $/kW-year
Distributor incentive | Currently estimated distributor incentive for Commercial Battery Storage Program | 385 | $/kW | 30.1173 | $/kW-year
| DST NPV | 8011739.951
| EST NPV | 51851264.68
Program Assumptions | Description | Value | Unit | Value | Unit
Commercial Retrofit Incentive Adder Program | Distributor incentive | 450 | $/kW | 35.202 | $/kW-year
| IESO program incentive (Regional Retrofit Adder) | 3600 | $/kW | 281.6162 | $/kW-year
Residential Demand Response Program | Distributor incentive | 75 | $/device | 75 | $/kW
| IESO program incentive (Peak Perks) | 75 | $/device | 75 | $/kW
| Assumption | 1 | kW/device
Commercial Demand Response (HVAC) Program | Distributor incentive | 75 | $/kW | 595 | $/MW-day
Residential Solar and Battery Storage Adder Program | Distributor incentive | 450 | $/kW | 225 | $/kWh
| IESO program incentive - Solar (Home Renovation Savings Program) | 1000 | $/kW
| IESO program incentive - BESS (Home Renovation Savings Program) | 300 | $/kWh | 600 | $/kW
| Assumption (BESS) | 2 | kWh/kW | 46.936 | $/kW-year
Commercial Solar Adder Program | Distributor incentive | 450 | $/kW | 35.202 | $/kW-year
| IESO program incentive (Retrofit Program) | 860 | $/kW | 67.275 | $/kW-year
Commercial Battery Storage Program | Distributor incentive | 385 | $/kW | 30.1173 | $/kW-year
EST Assumptions | Description | Value | Unit | Value | Unit
Transmission | Avoided / Deferred Capacity source: https://www.ieso.ca/-/media/Files/IESO/Document-Library/engage/derps/derps-20220930-final-report-volume-2.pdf Table C-2: Summary of Developed Avoided Costs by Scenario (Average Annual Values – $2021) | 40.9749 | $/kW | 112.26 | $/MW-day
| Converted value from $/MW-day to $/kW-year |  |  | 40.9749 | $/kW-year
| Avoided Generation (average, source APO Avoided Costs Table Tab) |  |  | 320.6923 | $/kW-year
General Assumptions | Description | Value
Analysis Term | Years | 25
Discount rate | 4% Discount Rate, 2% inflation | 6%
Debt/Equity ratio | HOL annual scorecard 2024 | 1.94
ROE | HOL annual scorecard 2024 | 8.34%

## DST_kW - Updated
Maximum capacity (nameplate) | [10 empty] | Estimated Incentive Costs
Row Labels | Commercial Retrofit Incentive Adder Program | Residential Demand Response Program - Summer | Residential Demand Response Program - Winter | Commercial Demand Response (HVAC) Program | Residential Solar and Battery Storage Adder Program | Commercial Solar Adder Program | Commercial Battery Storage Program | Max output of simultaneous NWCPS operation during peak hours | Annual avoided distribution cost | Annual foregone ROE | Commercial Retrofit Incentive Adder Program | Residential Demand Response Program - Summer | Residential Demand Response Program - Winter | Commercial Demand Response (HVAC) Program | Residential Solar and Battery Storage Adder Program | Commercial Solar Adder Program | Commercial Battery Storage Program | Total
[9 empty] | 23075709.02 | 992017.5938
2026 | 2000 | 1564 | 500 | 355 | 1327.97 | 0 | 0 | 4837 | 297408.7519 | 12785.5103 | 900000 | 117300 | 37500 | 26625 | 597586.5 | 0 | 0 | 1679011.5
2027 | 4000 | 2096 | 1400 | 710 | 2655.94 | 0 | 0 | 10272.94 | 631644.0487 | 27154.1823 | 900000 | 39900 | 67500 | 53250 | 597586.5 | 0 | 0 | 1658236.5
2028 | 6000 | 3129 | 2600 | 1065 | 3983.91 | 534.22 | 0 | 12733.38 | 782927.1559 | 33657.7963 | 900000 | 77475 | 90000 | 79875 | 597586.5 | 240399 | 0 | 1985335.5
2029 | 6000 | 1163 | 0 | 0 | 3931.88 | 1068.44 | 10000 | 19872.66 | 1221894.358 | 52528.8605 | [6 empty] | 301172.8651 | 301172.8651
2030 | 6000 | 1198 | 0 | 0 | 4914.85 | 1602.67 | 10000 | 20851.43 | 1282075.206 | 55116.0166 | [6 empty] | 301172.8651 | 301172.8651
2031 | 6000 | 1234 | 0 | 0 | 5897.82 | 2136.89 | 10000 | 21621.84 | 1329444.79 | 57152.4203
2032 | 6000 | 1271 | 0 | 0 | 6880.79 | 2671.11 | 10000 | 23928.35 | 1471263.326 | 63249.1554
2033 | 6000 | 1309 | 0 | 0 | 7863.76 | 3205.33 | 10000 | 24918.65 | 1532153.11 | 65866.7884
2034 | 6000 | 3348 | 2600 | 0 | 8904.98 | 3739.56 | 11472.74 | 33449.06 | 2056655.61 | 88414.9886
2035 | 6000 | 3389 | 2600 | 0 | 9829.69 | 4273.78 | 12645.74 | 35418.46 | 2177746.533 | 93620.6499
2036 | 6000 | 3430 | 2600 | 0 | 14607.66 | 4808 | 13837.51 | 35211.31 | 2165009.667 | 93073.096
2037 | 6000 | 3473 | 2600 | 0 | 15935.63 | 5342.22 | 15903.9 | 37845.06 | 2326948.948 | 100034.8156
2038 | 6000 | 3517 | 2600 | 0 | 17263.6 | 5876.45 | 14180.41 | 39214.53 | 2411152.455 | 103654.6983
2039 | 6000 | 3563 | 2600 | 0 | 18591.57 | 6410.67 | 18800 | 40719.72 | 2503700.869 | 107633.326
2040 | 6000 | 3610 | 2600 | 0 | 19919.54 | 6944.89 | 18800 | 41772.66 | 2568442.149 | 110416.5336
2041 | 6000 | 3658 | 2600 | 0 | 21247.51 | 7158.58 | 18800 | 42800 | 2631609.382 | 113132.0734
2042 | 6000 | 3708 | 2600 | 0 | 22575.48 | 7158.58 | 18800 | 42505.08 | 2613475.872 | 112352.5194
2043 | 6000 | 3759 | 2600 | 0 | 23903.45 | 7158.58 | 18800 | 44447.82 | 2732927.573 | 117487.7111
2044 | 6000 | 3812 | 2600 | 0 | 25231.42 | 7158.58 | 18800 | 45432.68 | 2793482.872 | 120090.9647
2045 | 6000 | 3866 | 2600 | 0 | 26559.39 | 7158.58 | 18800 | 46756.22 | 2874862.318 | 123589.4419
2046 | 6000 | 3922 | 2600 | 0 | 27887.36 | 7158.58 | 18800 | 47319.71 | 2909509.177 | 125078.8997
2047 | 6000 | 3980 | 2600 | 0 | 29215.33 | 7158.58 | 18800 | 47929.74 | 2947017.604 | 126691.3754
2048 | 6000 | 4039 | 2600 | 0 | 30543.3 | 7158.58 | 18800 | 47997.33 | 2951173.457 | 126870.0342
2049 | 6000 | 4100 | 2600 | 0 | 31871.27 | 7158.58 | 18800 | 50952.02 | 3132846.118 | 134680.0857
2050 | 6000 | 4163 | 2600 | 0 | 33199.23 | 7158.58 | 18800 | 50904.18 | 3129904.619 | 134553.6315

## EST_SummerPeak_kW - Updated
Average kW Capacity by Program: IESO Summer On-Peak Hours | [9 empty] | Total Annual Energy by Program: IESO Summer On-Peak Hours | [7 empty] | Total Avoided Energy Benefits IESO Summer On-Peak Hours
Row Labels | Commercial Retrofit Incentive Adder Program | Residential Demand Response Program | Commercial Demand Response (HVAC) Program | Residential Solar and Battery Storage Adder Program | Commercial Solar Adder Program | Commercial Battery Storage Program | Average of Station Net Delta (Before-After) | Avoided Capacity Costs 2024 $/kW-year | Avoided Transmission Capacity costs | Commercial Retrofit Incentive Adder Program | Residential Demand Response Program | Commercial Demand Response (HVAC) Program | Residential Solar and Battery Storage Adder Program | Commercial Solar Adder Program | Commercial Battery Storage Program | Sum of Station Net Delta (Before-After) | Sum of Annual kWh Produced | Avoided Energy Costs $/year
[8 empty] | 66989028.87 | 8313606.771 | [8 empty] | 6133563.759
2026 | 1931.8182 | 66.9481 | 5.1867 | 618.9302 | 0 | 0 | 2622.8832 | 469496.0878 | 107472.3757 | 1190000 | 41240 | 3195 | 381261.0339 | 0 | 0 | 1615696.0339 | 1615696.034 | 105020.2422
2027 | 5795.4545 | 97.3636 | 13.8312 | 1252.4334 | 0 | 0 | 7159.0827 | 1424657.467 | 293342.6997 | 3570000 | 59976 | 8520 | 771498.9733 | 0 | 0 | 4409994.9733 | 4409994.973 | 427769.5124
2028 | 5793.1034 | 158.2693 | 17.4877 | 1843.4708 | 325.4388 | 0 | 8137.77 | 1822860.473 | 333444.3107 | 3528000 | 96386 | 10650 | 1122673.7068 | 198192.2043 | 0 | 4955901.9111 | 4955901.911 | 416295.7605
2029 | 5790.6977 | 50.2292 | 0 | 2511.4548 | 663.827 | 1545.8963 | 10562.1051 | 2524343.11 | 432781.1988 | 3486000 | 30238 | 0 | 1511895.8147 | 399623.8627 | 930629.5711 | 6358387.2485 | 6358387.249 | 565896.4651
2030 | 5790.6977 | 45.7708 | 0 | 3150.9052 | 999.5188 | 1506.4982 | 11493.3906 | 2965294.775 | 470940.5305 | 3486000 | 27554 | 0 | 1896844.9132 | 601710.2978 | 906911.9306 | 6919021.1416 | 6919021.142 | 512007.5645
2031 | 5793.1034 | 46.6043 | 0 | 3705.8765 | 1305.4418 | 1489.1822 | 12340.2082 | 3763763.504 | 505638.7974 | 3528000 | 28382 | 0 | 2256878.8089 | 795014.0612 | 906911.9306 | 7515186.8008 | 7515186.801 | 503517.5157
2032 | 5795.4545 | 57.7727 | 0 | 4376.6711 | 1652.4344 | 1474.2938 | 13356.6266 | 4461113.274 | 547286.438 | 3570000 | 35588 | 0 | 2696029.3879 | 1017899.6071 | 908164.9709 | 8227681.9659 | 8227681.966 | 403156.4163
2033 | 5795.4545 | 55.25 | 0 | 5001.2007 | 1982.6323 | 1588.6157 | 14423.1533 | 4802910.039 | 590987.2629 | 3570000 | 34034 | 0 | 3080739.6526 | 1221301.4888 | 978587.2722 | 8884662.4136 | 8884662.414 | 390925.1462
2034 | 5793.1034 | 57.5501 | 0 | 5543.5516 | 2278.0713 | 2496.1707 | 16168.4471 | 5287082.189 | 662500.5015 | 3528000 | 35048 | 0 | 3376022.9032 | 1387345.4301 | 1520167.9266 | 9846584.2599 | 9846584.26 | 324937.2806
2035 | 5790.6977 | 59.99 | 0 | 6278.6371 | 2655.3081 | 2519.5557 | 17304.1885 | 5571948.711 | 709037.3952 | 3486000 | 36114 | 0 | 3779739.5368 | 1598495.4508 | 1516772.5162 | 10417121.5038 | 10417121.5 | 291679.4021
2036 | 5793.1034 | 54.0066 | 0 | 6794.107 | 2937.2441 | 2373.3696 | 17951.8306 | 5654826.648 | 735574.4648 | 3528000 | 32890 | 0 | 4137611.1497 | 1788781.6377 | 1445382.0654 | 10932664.8529 | 10932664.85 | 349845.2753
2037 | 5795.4545 | 66.9545 | 0 | 7419.5656 | 3267.1428 | 2386.6783 | 18935.7958 | 5945839.88 | 775892.3391 | 3570000 | 41244 | 0 | 4570452.4069 | 2012559.9669 | 1470193.8361 | 11664450.2099 | 11664450.21 | 338269.0561
2038 | 5795.4545 | 64.0292 | 0 | 8128.1034 | 3635.3557 | 2577.9205 | 20200.8635 | 6464276.309 | 827728.3604 | 3570000 | 39442 | 0 | 5006911.7204 | 2239379.1356 | 1587999.0378 | 12443731.8939 | 12443731.89 | 460418.0801
2039 | 5795.4545 | 65.9708 | 0 | 8752.1013 | 3965.2646 | 2589.1082 | 21167.8994 | 6773727.806 | 867352.5609 | 3570000 | 40638 | 0 | 5391294.3921 | 2442602.9777 | 1594890.6576 | 13039426.0273 | 13039426.03 | 560695.3192
2040 | 5790.6977 | 69.5349 | 0 | 9417.9557 | 4314.8756 | 2462.3589 | 22055.4228 | 7190067.818 | 903718.7419 | 3486000 | 41860 | 0 | 5669609.3052 | 2597555.1075 | 1482340.086 | 13277364.4987 | 13277364.5 | 531094.5799
2041 | 5790.6977 | 63.3455 | 0 | 10082.8965 | 4464.5172 | 2454.8227 | 22856.2795 | 7565428.53 | 936533.7688 | 3486000 | 38134 | 0 | 6069903.7221 | 2687639.33 | 1477803.2357 | 13759480.2878 | 13759480.29 | 715492.975
2042 | 5793.1034 | 64.5057 | 0 | 10499.9835 | 4373.2301 | 2373.3696 | 23104.1923 | 7786112.815 | 946691.9703 | 3528000 | 39284 | 0 | 6394489.9586 | 2663297.105 | 1445382.0654 | 14070453.1291 | 14070453.13 | 703522.6565
2043 | 5795.4545 | 79.9545 | 0 | 11129.3484 | 4377.9714 | 2386.6783 | 23769.4071 | 8390600.723 | 973949.0809 | 3570000 | 49252 | 0 | 6855678.6104 | 2696830.3557 | 1470193.8361 | 14641954.8022 | 14641954.8 | 849233.3785
2044 | 5795.4545 | 76.4805 | 0 | 11877.8517 | 4427.8788 | 2529.3788 | 24707.0444 | 9067485.293 | 1012368.673 | 3570000 | 47112 | 0 | 7316756.6749 | 2727573.3251 | 1558097.3473 | 15219539.3473 | 15219539.35 | 943611.4395
2045 | 5793.1034 | 79.665 | 0 | 12319.0035 | 4360.8794 | 2554.2445 | 25106.8959 | 9590834.215 | 1028752.547 | 3528000 | 48516 | 0 | 7502273.1183 | 2655775.5376 | 1555534.917 | 15290099.5729 | 15290099.57 | 825665.3769
2046 | 5790.6977 | 83.01 | 0 | 13185.1379 | 4447.641 | 2462.3589 | 25968.8455 | 10283662.82 | 1064070.848 | 3486000 | 49972 | 0 | 7937453.0273 | 2677479.8801 | 1482340.086 | 15633244.9933 | 15633244.99 | 640963.0447
2047 | 5790.6977 | 75.6478 | 0 | 13863.9828 | 4464.5172 | 2454.8227 | 26649.6681 | 10899714.24 | 1091967.485 | 3486000 | 45540 | 0 | 8346117.6179 | 2687639.33 | 1477803.2357 | 16043100.1836 | 16043100.18 | 657767.1075
2048 | 5795.4545 | 76.1315 | 0 | 14220.8341 | 4377.9714 | 2349.2296 | 26819.621 | 11291060.46 | 1098931.29 | 3570000 | 46897 | 0 | 8760033.78 | 2696830.3557 | 1447125.4256 | 16520886.5612 | 16520886.56 | 644314.5759
2049 | 5795.4545 | 88.6364 | 0 | 15005.7294 | 4428.5243 | 2638.789 | 27957.1336 | 12049524.6 | 1145540.755 | 3570000 | 54600 | 0 | 9243529.33 | 2727970.9471 | 1625494.0481 | 17221594.3252 | 17221594.33 | 516647.8298
2050 | 5795.4545 | 91.2955 | 0 | 15628.7523 | 4427.8788 | 2529.3788 | 28472.7599 | 12528014.35 | 1166668.489 | 3570000 | 56238 | 0 | 9627311.4144 | 2727573.3251 | 1558097.3473 | 17539220.0867 | 17539220.09 | 578794.2629

## EST_WinterPeak_kW - Updated
kW Sum IESO Winter On-Peak Hours
Benefits of Avoided Winter Peak kWh
Row Labels | Commercial Retrofit Incentive Adder Program | Residential Demand Response Program | Commercial Demand Response (HVAC) Program | Residential Solar and Battery Storage Adder Program | Commercial Solar Adder Program | Commercial Battery Storage Program | Sum of Station Net Delta (Before-After) | 3747364.786
2026 | 1162000 | 0 | 0 | 77927.2291 | 0 | 0 | 1239927.2291 | 73155.7065
2027 | 3402000 | 6000 | 0 | 148954.1127 | 0 | 0 | 3576954.1127 | 296887.1914
2028 | 3444000 | 46200 | 0 | 226375.9929 | 29953.7841 | 0 | 3982529.777 | 350462.6204
2029 | 3402000 | 0 | 0 | 328631.464 | 66867.2457 | 0 | 3797498.7097 | 360762.3774
2030 | 3444000 | 0 | 0 | 402112.4897 | 97471.464 | 0 | 3943583.9537 | 343091.804
2031 | 3486000 | 0 | 0 | 459469.4293 | 121083.1266 | 0 | 4066552.5558 | 321257.6519
2032 | 3444000 | 0 | 0 | 546466.1456 | 154746.1745 | 0 | 4144603.5192 | 302556.0569
2033 | 3444000 | 0 | 0 | 579757.684 | 169009.9256 | 410.0975 | 4193177.7071 | 259977.0178
2034 | 3444000 | 3000 | 0 | 700140.4411 | 219134.3052 | 42988.9346 | 4417411.0666 | 194366.0869
2035 | 3360000 | 0 | 0 | 821578.66 | 267468.9826 | 76116.5925 | 4515560.6928 | 194169.1098
2036 | 3528000 | 28200 | 0 | 872085.3242 | 286043.1141 | 157587.1285 | 4946687.0758 | 242387.6667
2037 | 3486000 | 38400 | 0 | 925459.4581 | 310039.2887 | 198655.2549 | 5060520.9796 | 258086.57
2038 | 3486000 | 55200 | 0 | 980716.6077 | 325806.7618 | 183203.7647 | 5176895.8375 | 289906.1669
2039 | 3444000 | 63000 | 0 | 1002053.9665 | 338019.8511 | 219395.413 | 5227389.811 | 371144.6766
2040 | 3402000 | 72600 | 0 | 1203337.4432 | 427909.9462 | 328582.25 | 5643455.6366 | 383754.9833
2041 | 3444000 | 78000 | 0 | 1266539.5889 | 435372.5393 | 334008.0535 | 5778515.2909 | 392939.0398
2042 | 3486000 | 96000 | 0 | 1284544.7825 | 405628.4739 | 376651.4892 | 5901259.9032 | 401285.6734
2043 | 3402000 | 109200 | 0 | 1386059.5124 | 415452.6468 | 511500.3918 | 6113173.0708 | 476827.4995
2044 | 3486000 | 111600 | 0 | 1382271.8019 | 380525.641 | 483774.165 | 6155170.6237 | 387775.7493
2045 | 3444000 | 117600 | 0 | 1540369.8094 | 419485.67 | 663120.3729 | 6465061.7706 | 400833.8298
2046 | 3360000 | 135600 | 0 | 1704320.7354 | 448010.5459 | 655147.0956 | 6645543.2245 | 345568.2477
2047 | 3444000 | 137400 | 0 | 1743391.5231 | 435372.5393 | 747235.1558 | 6851994.5588 | 260375.7932
2048 | 3528000 | 154200 | 0 | 1800445.1842 | 424663.0687 | 726588.0306 | 6988484.6539 | 230619.9936
2049 | 3486000 | 171600 | 0 | 1777104.0163 | 396891.8734 | 657370.3587 | 6935570.5016 | 201131.5445
2050 | 3444000 | 171000 | 0 | 1772270.4899 | 377455.5004 | 602242.9529 | 6771957.7609 | 169298.944

## EST_Costs - Updated
Max of Annual kW Capacity by Flexibility Solution (Name Plate Capacity) | [10 empty] | Cost of Name Plate Capacity in $/year
| Commercial Retrofit Incentive Adder Program | Residential Demand Response Program - Summer | Residential Demand Response Program - Winter | Commercial Demand Response (HVAC) Program | Residential Solar and Battery Storage Adder Program - Solar | Residential Solar and Battery Storage Adder Program - BESS | Commercial Solar Adder Program | Commercial Battery Storage Program | Max of Station Net Delta (Before-After) | Program | Commercial Retrofit Incentive Adder Program | Residential Demand Response Program | Commercial Demand Response (HVAC) Program | Residential Solar and Battery Storage Adder Program - Solar | Residential Solar and Battery Storage Adder Program - BESS | Commercial Solar Adder Program | Commercial Battery Storage Program | Total Costs
[10 empty] | NPV | 20036022.61 | 1590701.146 | 0 | 8221218.941 | 362599.2268 | 3121757.583 | 0 | 33332299.5
2026 | 2000 | 1564 | 500 | 355 | 954.4334 | 60 | 0 | 0 | 4837.0025 | 2026 | 563232.3711 | 117300 |  | 64209.4867 | 2816.1619 | 0 |  | 747558.0197
2027 | 4000 | 2096 | 1000 | 710 | 1908.8668 | 120 | 0 | 0 | 10272.9396 | 2027 | 1126464.742 | 157200 |  | 128418.9735 | 5632.3237 | 0 |  | 1417716.039
2028 | 6000 | 3129 | 2000 | 1065 | 2751.4392 | 180 | 498.4491 | 0 | 12733.3755 | 2028 | 1689697.113 | 234675 |  | 185103.0111 | 8448.4856 | 33533.1542 |  | 2151456.764
2029 | 6000 | 1163 | 0 | 0 | 3787.2953 | 240 | 1029.1563 | 8661.0602 | 19872.656 | 2029 | 1689697.113 | 87225 |  | 254790.2057 | 11264.6474 | 69236.4689 |  | 2112213.435
2030 | 6000 | 1198 | 0 | 0 | 4772.1671 | 300 | 1556.1414 | 8661.0602 | 20851.4283 | 2030 | 1689697.113 | 89850 |  | 321047.4337 | 14080.8093 | 104689.3806 |  | 2219364.737
2031 | 6000 | 1234 | 0 | 0 | 5726.6005 | 360 | 2074.8553 | 8661.0602 | 21621.8383 | 2031 | 1689697.113 | 92550 |  | 385256.9205 | 16896.9711 | 139585.8407 |  | 2323986.846
2032 | 6000 | 1271 | 0 | 0 | 6681.0339 | 420 | 2593.5691 | 8891.7002 | 23928.353 | 2032 | 1689697.113 | 95325 |  | 449466.4072 | 19713.133 | 174482.3009 |  | 2428683.955
2033 | 6000 | 1309 | 0 | 0 | 7635.4673 | 480 | 3112.2829 | 8661.0602 | 24918.6469 | 2033 | 1689697.113 | 98175 |  | 513675.894 | 22529.2948 | 209378.7611 |  | 2533456.063
2034 | 6000 | 1348 | 0 | 0 | 8254.3176 | 540 | 3489.1439 | 16575.9202 | 33449.0649 | 2034 | 1689697.113 | 101100 |  | 555309.0334 | 25345.4567 | 234732.0793 |  | 2606183.683
2035 | 6000 | 1389 | 0 | 0 | 9468.2382 | 600 | 4116.6253 | 16866.2403 | 35418.4636 | 2035 | 1689697.113 | 104175 |  | 636975.5143 | 28161.6186 | 276945.8758 |  | 2735955.122
2036 | 6000 | 1430 | 0 | 0 | 10498.7676 | 660 | 4668.4243 | 16575.9202 | 35211.3066 | 2036 | 1689697.113 | 107250 |  | 706304.3542 | 30977.7804 | 314068.1417 |  | 2848297.39
2037 | 6000 | 1473 | 0 | 0 | 11453.201 | 720 | 5187.1381 | 17064.9003 | 37845.0619 | 2037 | 1689697.113 | 110475 |  | 770513.8409 | 33793.9423 | 348964.6019 |  | 2953444.498
2038 | 6000 | 1517 | 0 | 0 | 12407.6344 | 780 | 5705.8519 | 16575.9202 | 39214.5289 | 2038 | 1689697.113 | 113775 |  | 834723.3277 | 36610.1041 | 383861.0621 |  | 3058666.607
2039 | 6000 | 1563 | 0 | 0 | 13362.0678 | 840 | 6224.5658 | 16866.2403 | 40719.7217 | 2039 | 1689697.113 | 117225 |  | 898932.8144 | 39426.266 | 418757.5222 |  | 3164038.716
2040 | 6000 | 1610 | 0 | 0 | 14202.3573 | 900 | 6689.5161 | 16575.9202 | 41772.6598 | 2040 | 1689697.113 | 120750 |  | 955463.2715 | 42242.4278 | 450037.0482 |  | 3258189.861
2041 | 6000 | 1658 | 0 | 0 | 15270.9347 | 960 | 6950.7651 | 16866.2403 | 42799.9993 | 2041 | 1689697.113 | 124350 |  | 1027351.788 | 45058.5897 | 467612.5665 |  | 3354070.058
2042 | 6000 | 1708 | 0 | 0 | 16225.3681 | 1020 | 6950.7651 | 16575.9202 | 42505.0784 | 2042 | 1689697.113 | 128100 |  | 1091561.275 | 47874.7516 | 467612.5665 |  | 3424845.706
2043 | 6000 | 1759 | 0 | 0 | 17179.8015 | 1080 | 6950.7651 | 17064.9003 | 44447.8154 | 2043 | 1689697.113 | 131925 |  | 1155770.761 | 50690.9134 | 467612.5665 |  | 3495696.355
2044 | 6000 | 1812 | 0 | 0 | 18134.2349 | 1140 | 6950.7651 | 16575.9202 | 45432.6802 | 2044 | 1689697.113 | 135900 |  | 1219980.248 | 53507.0753 | 467612.5665 |  | 3566697.003
2045 | 6000 | 1866 | 0 | 0 | 18342.928 | 1200 | 6679.2184 | 16866.2403 | 46756.2246 | 2045 | 1689697.113 | 139950 |  | 1234020.074 | 56323.2371 | 449344.2661 |  | 3569334.691
2046 | 6000 | 1922 | 0 | 0 | 19883.3002 | 1260 | 6895.3474 | 16575.9202 | 47319.7136 | 2046 | 1689697.113 | 144150 |  | 1337648.58 | 59139.399 | 463884.3419 |  | 3694519.434
2047 | 6000 | 1980 | 0 | 0 | 20997.5352 | 1320 | 6950.7651 | 16866.2403 | 47929.7412 | 2047 | 1689697.113 | 148500 |  | 1412608.708 | 61955.5608 | 467612.5665 |  | 3780373.949
2048 | 6000 | 2039 | 0 | 0 | 21951.9686 | 1380 | 6950.7651 | 16575.9202 | 47997.3298 | 2048 | 1689697.113 | 152925 |  | 1476818.195 | 64771.7227 | 467612.5665 |  | 3851824.598
2049 | 6000 | 2100 | 0 | 0 | 22906.402 | 1440 | 6950.7651 | 16866.2403 | 50952.0236 | 2049 | 1689697.113 | 157500 |  | 1541027.682 | 67587.8845 | 467612.5665 |  | 3923425.246
2050 | 6000 | 2163 | 0 | 0 | 23860.8354 | 1500 | 6950.7651 | 16575.9202 | 50904.1765 | 2050 | 1689697.113 | 162225 |  | 1605237.169 | 70404.0464 | 467612.5665 |  | 3995175.895

## APO Tables A and B
Table A: Avoided Energy Costs
The IESO’s avoided energy cost analysis considers the energy cost savings from a reduction in demand. These avoided energy costs are considered benefits, and can be compared to the cost of other measures that would reduce demand. The change in simulated total system dispatch costs associated with the change in electricity consumption due to the Energy Efficiency measures being considered are used to estimate the avoided energy costs. To understand the impact of avoided energy, the hourly profile of the measures being considered is compared to the hourly profile of simulated total system dispatch costs. The avoided energy costs change as demand and supply changes. The methodology can be summarized as follows: 1. A Capacity Expansion model is run for both the with and without Energy Efficiency cases to determine the least-cost, incremental, non-emitting resource portfolio build-out to meet future needs. 2. These results are then used in a Production Cost model to simulate the least-cost, hourly, economic dispatch of the Ontario system over the study period for the two cases. 3. Avoided energy costs are developed from the delta between the hourly system energy costs for the with and the without Energy Efficiency cases.
Table A1: Time-of-Use Definitions
Avoided energy costs are grouped into eight Time-of-Use (TOU) periods to reflect the diurnal and seasonal fluctuations. Time-of-use periods are Hour Starting to Hour Ending (e.g. 0700 – 1100 is a 4-hour period, starting at 7am and ending at 11am).
Table A2: Time-of-Use Seasons
Season | Months Included
Winter | December – March
Summer | June – September
Shoulder | April, May, October & November
Table A3: Time-of-Use Period Definitions
| Winter | Summer | Shoulder
| (December – March) | (June – September) | (April, May, October, November)
On-Peak | 0700 – 1100 | 1100 – 1700 weekdays | None
| and | (522 hours)
1700 – 2000 weekdays
(602 Hours)
Mid-Peak | 1100 – 1700 and | 0700 – 1100 and | 0700 – 2200 weekdays
| 2000 – 2200 weekdays | 1700 – 2200 weekdays | (1,305 hours)
| (688 hours) | (783 hours)
Off-Peak | 0000 – 0700 and | 0000 – 0700 and | 0000 – 0700 and
| 2200 – 0000 weekdays; | 2200 – 0000 weekdays; | 2200 – 0000 weekdays;
| All hours weekends and holidays | All hours weekends and holidays | All hours weekends and holidays
| (1,614 hours) | (1,623 hours) | (1,623 hours)
Note: Number of hours represent the daily hours for the various periods
Table B: Avoided Capacity Costs
The avoided capacity costs reflect the cost of capacity in years where there is a capacity deficit. Avoided capacity costs for each year are generated based on the specific years annual system capacity needs as being either summer peaking or dual peaking (i.e., both summer and winter peaking). The avoided capacity costs provided for the year will be applied to a summer peak capacity reduction in the summer peak years, and the average of summer and winter peak capacity reduction for dual-peaking years. In this context, summer and/or dual-peak refers to system peak capacity needs (i.e in what season is capacity needed) rather than which season has higher demand. In the early study years (2025 to 2027), estimating the avoided capacity costs through the methodology described above (i.e. the Capacity Expansion model determines the least-cost, incremental, non-emitting resource portfolio build-out to meet future needs) was challenging due to the minimum lead time to build capacity (three years). This would have resulted in no new capacity being avoided before 2028, via the Capacity Expansion model. Therefore, the IESO applied the Capacity Auction Reference Price as the avoided capacity value for the years 2025 to 2027, since peak reductions from Energy Efficiency could allow the IESO to avoid the need to acquire incremental capacity through the Capacity Auction.

## APO Avoided Costs Table 1
Table 1: 2025 APO Marginal Energy Costs and Capacity Costs (2024 Dollars)
| Avoided Energy Cost by Season and Time-of-Use Period (2024$/MWh) | [8 empty] | Avoided Capacity Costs (2024$/kW-yr)
Year | [9 empty] | Generation
| Winter On Peak | Winter Mid-Peak | Winter Off-Peak | Summer On Peak | Summer Mid-Peak | Summer Off-Peak | Shoulder Mid-Peak | Shoulder Off Peak | Annual | Annual | System Need
2025 | 77.6937 | 67.8533 | 53.9909 | 79.1678 | 80.8471 | 54.4041 | 66.958 | 36.172 | 61.5262 | 156 | Summer Peak | Note: The 2025 update includes 2026 and beyond. The 2025 number used here is from the 2024 update and is included for completeness with the analysis.
2026 | 59 | 51 | 42 | 65 | 58 | 34 | 45 | 33 | 44 | 179 | Summer
2027 | 83 | 73 | 61 | 97 | 89 | 55 | 56 | 42 | 63 | 199 | Summer
2028 | 88 | 72 | 58 | 84 | 77 | 48 | 60 | 43 | 60 | 224 | Summer
2029 | 95 | 82 | 68 | 89 | 83 | 52 | 62 | 45 | 65 | 239 | Summer
2030 | 87 | 76 | 65 | 74 | 69 | 47 | 57 | 44 | 60 | 258 | Summer
2031 | 79 | 70 | 61 | 67 | 63 | 45 | 47 | 39 | 54 | 305 | Summer
2032 | 73 | 67 | 60 | 49 | 47 | 36 | 38 | 31 | 46 | 334 | Summer
2033 | 62 | 56 | 50 | 44 | 43 | 32 | 33 | 28 | 40 | 333 | Summer
2034 | 44 | 42 | 38 | 33 | 33 | 26 | 33 | 28 | 33 | 327 | Summer
2035 | 43 | 42 | 36 | 28 | 27 | 22 | 23 | 21 | 28 | 322 | Summer
2036 | 49 | 46 | 41 | 32 | 32 | 26 | 23 | 21 | 32 | 315 | Summer
2037 | 51 | 47 | 43 | 29 | 29 | 24 | 28 | 25 | 33 | 314 | Summer
2038 | 56 | 52 | 47 | 37 | 37 | 31 | 28 | 23 | 36 | 320 | Summer
2039 | 71 | 69 | 61 | 43 | 43 | 34 | 31 | 27 | 44 | 320 | Winter
2040 | 68 | 65 | 54 | 40 | 40 | 31 | 33 | 28 | 42 | 326 | Summer
2041 | 68 | 66 | 54 | 52 | 51 | 39 | 33 | 27 | 45 | 331 | Summer
2042 | 68 | 66 | 55 | 50 | 49 | 38 | 33 | 29 | 45 | 337 | Summer
2043 | 78 | 77 | 71 | 58 | 56 | 45 | 42 | 33 | 54 | 353 | Winter
2044 | 63 | 62 | 57 | 62 | 60 | 50 | 37 | 27 | 49 | 367 | Winter
2045 | 62 | 60 | 48 | 54 | 53 | 42 | 35 | 26 | 44 | 382 | Summer
2046 | 52 | 51 | 41 | 41 | 38 | 28 | 31 | 24 | 35 | 396 | Summer
2047 | 38 | 37 | 31 | 41 | 38 | 27 | 26 | 21 | 30 | 409 | Summer
2048 | 33 | 32 | 26 | 39 | 35 | 26 | 21 | 18 | 26 | 421 | Summer
2049 | 29 | 29 | 24 | 30 | 28 | 22 | 19 | 16 | 23 | 431 | Summer
2050 | 25 | 25 | 20 | 33 | 30 | 22 | 17 | 15 | 21 | 440 | Summer

## 99 LookUps (hidden)
DST Benefit Types
Distribution Capacity (Deferral or Avoidance Benefit)
Reliability (Net Avoided Outage Costs)
Resilience (Critical Load Benefits)
Innovation & Market
Transformation
Planning Value
DST Cost Types
DER Acquisition Cost
DER Operations, Maintenance, and Administrative (OM&A) Costs
Distribution System Ancillary Services Costs
Risks (Distribution System)
EST Benefit Types
DST Benefits
Transmission Capacity
Avoided Energy Costs
Avoided Generation Capacity Costs
Reliability (Net Avoided Outage Costs)
Resilience (Critical Load Benefits)
Planning Value
Innovation & Market Transformation
EST Cost Types
DST Costs
DER Acquisition Cost
DER (OM&A) Costs
Energy System Ancillary Costs
Risks (Energy System)

## Estimated Customer Incentives
Program | $/kW | $/Device
Commercial Retrofit Incentive Adder Program | 450 | N/A
Residential Demand Response Program | N/A | 75
Commercial Demand Response (HVAC) Program | 75 | N/A
Residential Solar and Battery Storage Adder Program | 450 | N/A
Commercial Solar Adder Program | 450 | N/A
Commercial Battery Storage Program | 385 | N/A

## Simplified Results Table
BCA Result for NWCSP |  | BCA Result for NWCSP
Total DST Benefit | 23075708.84 | Total DST Benefit | 23075.7088
Total DST Cost | 15063968.89 | Total DST Cost | 15063.9689
NPV Net DST Benefit | 8011739.951 | NPV Net DST Benefit | 8011.74
Total MW (2028) | 12.7334 | Total MW (2028) | 12.7334
Total EST Benefit | 85183564.18 | Total EST Benefit | 85183.5642
Total EST Cost | 33332299.5 | Total EST Cost | 33332.2995
NPV Net EST Benefit | 51851264.68 | NPV Net EST Benefit | 51851.2647
Rounded to $'000s

## NWCSP - Costs by Year
Test Years - Cost ($)
| 2026 | 2027 | 2028 | 2029 | 2030 | Total
Capital | 0 | 0 | 0 | 0 | 0 | 0
OM&A | 245000 | 245000 | 245000 | 0 | 0 | 735000
Customer Incentives (Other Revenue) | 1679011.5 | 1658236.5 | 1985335.5 | 301172.8651 | 301172.8651 | 5924929.23
Total Spend | 1924011.5 | 1903236.5 | 2230335.5 | 301172.8651 | 301172.8651 | 6659929.23
NPV of OM&A | 654887.9276

## DST Benefts & Costs
Category | Commercial Retrofit Incentive Adder Program | Residential Demand Response Program | Commercial Demand Response (HVAC) Program | Residential Solar and Battery Storage Adder Program | Commercial Solar Adder Program | Commercial Battery Storage Program
DST Benefits
Quantitative ($) | 23075708.84
Explanation | - Marginal Avoided Distribution Capacity (Avoided and Deferred Capacity)
Qualitative | -Reliability -Resiliency -Innovation and Market Transformation - Planning Value
DST Costs
Customer Incentives | 2700000 | 429675 | 159750 | 1792759.5 | 240399 | 602345.7302
OM&A | 735000
Explanation | -Customer Incentives -Labour and Administration -Marketing | -Customer Incentives -Labour and Administration -Marketing | -Customer Incentives -Labour and Administration -Payments to Aggregators | -Customer Incentives -Labour and Administration -Marketing | -Customer Incentives -Labour and Administration -Marketing | -Customer Incentives -Labour and Administration
Rounded $'000s
Category | Commercial Retrofit Incentive Adder Program | Residential Demand Response Program | Commercial Demand Response (HVAC) Program | Residential Solar and Battery Storage Adder Program | Commercial Solar Adder Program | Commercial Battery Storage Program
DST Benefits
Quantitative ($) | 23075.7088
Explanation | Marginal Avoided Distribution Capacity (Avoided and Deferred Capacity)
Qualitative | Reliability Resiliency Innovation and Market Transformation Planning Value
DST Costs
Customer Incentives | 2700 | 429.675 | 159.75 | 1792.7595 | 240.399 | 602.3457
OM&A | 735
Explanation | -Customer Incentives -Labour and Administration -Marketing | -Customer Incentives -Labour and Administration -Marketing | -Customer Incentives -Labour and Administration -Payments to Aggregators | -Customer Incentives -Labour and Administration -Marketing | -Customer Incentives -Labour and Administration -Marketing | -Customer Incentives -Labour and Administration

## EST Benefits and Costs
Category | Commercial Retrofit Incentive Adder Program | Residential Demand Response Program | Commercial Demand Response (HVAC) Program | Residential Solar and Battery Storage Adder Program | Commercial Solar Adder Program | Commercial Battery Storage Program
EST Benefits
Quantitative ($) | 85183564.18
Explanation | -Avoided Transmission Capacity -Avoided Generation Capacity -Avoided Energy |  |  |  |  | N/A
EST Costs
Quantitative ($) | 20036022.61 | 1590701.146 | 0 | 8221218.941 | 3121757.583 | 0
Explanation | -Customer Incentives | -Customer Incentives | N/A | -Customer Incentives | -Customer Incentives | N/A
Rounded $'000s
Category | Commercial Retrofit Incentive Adder Program | Residential Demand Response Program | Commercial Demand Response (HVAC) Program | Residential Solar and Battery Storage Adder Program | Commercial Solar Adder Program | Commercial Battery Storage Program
EST Benefits
Quantitative ($) | 85183.5642
Explanation | Avoided Transmission Capacity Avoided Generation Capacity Avoided Energy |  |  |  |  | N/A
EST Costs
Quantitative ($) | 20036.0226 | 1590.7011 | 0 | 8221.2189 | 3121.7576 | 0
Explanation | -Customer Incentives | -Customer Incentives | N/A | -Customer Incentives | -Customer Incentives | N/A

## Approach to Cost Recovery
| 2026 | 2027 | 2028 | 2029 | 2030
Estimated DST Benefits | 297408.9045 | 631644.0253 | 782926.8803 | 1221894.11 | 1282075.1
Estimated DST Costs | 128410.0576 | 250765.3671 | 394865.6704 | 695229.7104 | 748843.5651
Estimated Net DST Benefits | 168998.8469 | 380878.6582 | 388061.2098 | 526664.4001 | 533231.5354
Estimated Net DST Benefits (Capped at value of estimated DST Costs) | 128410.0576 | 250765.3671 | 388061.2098 | 526664.4001 | 533231.5354
NPV of estimated Net DST Benefits | 1485774.679
SSM (50%/50%) | 742887.3396
Rounded ($'000s)
| 2026 | 2027 | 2028 | 2029 | 2030
Estimated DST Benefits | 297.4089 | 631.644 | 782.9269 | 1221.8941 | 1282.0751
Estimated DST Costs | 128.4101 | 250.7654 | 394.8657 | 695.2297 | 748.8436
Estimated Net DST Benefits | 168.9988 | 380.8787 | 388.0612 | 526.6644 | 533.2315
Estimated Net DST Benefits (Capped at value of estimated DST Costs) | 128.4101 | 250.7654 | 388.0612 | 526.6644 | 533.2315
NPV of estimated Net DST Benefits | 1485.7747
SSM (50%/50%) | 742.8873