## 2025 Full Project List
Project Code | Project List | Planning Portfolio | Project Name | 2025 Project Cost | HOL Value (Initial)
AIP003933 | 2025 Approved List | Pole Renewal | Storm Hardening | 1501563 | -2271
AIP003778 | 2025 Approved List | Vault Renewal | Vault Renewal 2025 | 506000 | -461
AIP003519 | 2025 Approved List | Station Battery Renewal | Station Battery Renewal | 84169 | -158
AIP004042 | 2025 Approved List | UG Switchgear Renewal | SC7717 Replacement | 166759 | 72
AIP004041 | 2025 Approved List | UG Switchgear Renewal | SC21 Replacement | 259861 | 84
AIP004031 | 2025 Approved List | Pole Renewal | Broadview Ave. Pole Renewal | 205000 | -31
AIP003149 | 2025 Approved List | UG Switchgear Renewal | SC14 UG SWG Renewal | 118028 | 731
AIP004040 | 2025 Approved List | UG Switchgear Renewal | SC81 Replacement | 167814 | 570
AIP003974 | 2025 Approved List | Pole Renewal | Dagmar Phase 1 | 612994 | 1274
AIP003396 | 2025 Approved List | Pole Renewal | Centretown Pole Ren. 1.8-Percy | 882816 | 279
AIP003464 | 2025 Approved List | Cable Replacement | Fortune Cable Renewal - P1.2 | 5200202 | -4280
AIP003900 | 2025 Approved List | Dist. System Reliability | LTM04 Loop | 2674880 | 15589
AIP003491 | 2025 Approved List | Cable Replacement | Fortune Cable Renewal - P1.1 | 3254905 | -2736
AIP003728 | 2025 Approved List | Stations Transformer Renewal | Longfields T2 XFMR Renewal | 1002967 | 3490
AIP003716 | 2025 Approved List | Distribution Capacity Upgrades | RHS-CBN Tie (Barnsdale) Ph2 | 264710 | 14184
AIP003467 | 2025 Approved List | Stations Capacity Upgrades | Piperville MTS | 21428606 | 21399
AIP004027 | 2025 Approved List | Distribution Capacity Upgrades | Bells Corners New Feeder | 1129375 | 38864
AIP003076 | 2025 Approved List | Stations Capacity Upgrades | Riverdale Switchgear Upgrade | 8947915 | 35608
AIP004033 | 2025 Approved List | Distribution Capacity Upgrades | Piperville MTS Egress | 2979991 | 56482
AIP004029 | 2025 Approved List | Dist. System Reliability | FAL02 CBN05 tie | 144467 | 62948
AIP003853 | 2025 Approved List | Stations Capacity Upgrades | Mer Bleue Station | 6979131 | 74934
AIP004039 | 2025 Approved List | Stations Capacity Upgrades | Greenbank MTS Capacity Upgrade | 1922248 | 75171
AIP001962 | 2025 Approved List | Dist. System Reliability | Worst Feeder Betterment 13-20 | 1002489 | 81660
AIP003969 | 2025 Approved List | Distribution Capacity Upgrades | Westboro Capacity - Hinchey Ext | 2003498 | 136422
AIP002164 | 2025 Approved List | Stations Capacity Upgrades | New Kanata North MTS | 1415033 | 182867
AIP002336 | 2025 Deferrals | Cable Replacement | Kakulu Rd Trunk (S51-S62) | 2968847 | 220
AIP003026 | 2025 Deferrals | UG Switchgear Renewal | S39 SG Replacement | 213040 | 304
AIP003367 | 2025 Deferrals | UG Switchgear Renewal | SC76/SC81 PMH to VISTA | 214200 | 197
AIP003639 | 2025 Deferrals | Pole Renewal | Riverdale-Echo Pole Renewal | 1000334 | 52
AIP003714 | 2025 Deferrals | UG Switchgear Renewal | SW99 UG SWG Renewal | 120761 | 456
AIP003897 | 2025 Deferrals | Pole Renewal | Baseline Ave Pole Renewal | 489600 | 56064
AIP003916 | 2025 Deferrals | Pole Renewal | Fisher PR OH Normandy Pole Renewal | 1400412 | 122
AIP003955 | 2025 Deferrals | Pole Renewal | Fisher PR - OH Falaise (S) | 674572 | -116
AIP003979 | 2025 Deferrals | Pole Renewal | Dagmar Phase 5 | 163234 | -72
AIP003981 | 2025 Deferrals | Pole Renewal | Dagmar Phase 7 | 171643 | 231
AIP004026 | 2025 Deferrals | Distribution Enhancements | TFXF5 to MWDF2 Tie | 4397310 | 6940
AIP004030 | 2025 Deferrals | Pole Renewal | Woodward Dr. Pole Renewal | 725000 | 24
AIP001765 | 2025 Deferrals | Pole Renewal | 55C2A - Woodroffe north of Richmond | 875541 | -210
AIP002008 | 2025 Deferrals | Stations Transformer Renewal | TFX Repl - 13/4kV Hillcrest T1&T2 - Including CS/CB and P&C | 1048877 | 13549
AIP002012 | 2025 Deferrals | Stations Transformer Renewal | TXF Repl - 13/4kV Clifton T1&T2 - Including CS/CB and P&C | 1048877 | 20267
AIP002055 | 2025 Deferrals | Line Extensions | Barnsdale (Greenbank to Prince of Wales) 28kV Tie | 960000 | 937
AIP002064 | 2025 Deferrals | System Voltage Conversion | Hearts Desire Volt. Conversion | 1346400 | -262
AIP002080 | 2025 Deferrals | Stations Switchgear Renewal | Hinchey Existing Swg Replacement | 2053094 | 113663
AIP002083 | 2025 Deferrals | Stations Switchgear Renewal | Riverdale US Switchgear Replacement | 1656121 | 4219
AIP002098 | 2025 Deferrals | Stations Capacity Upgrades | TFX NEW - Richmond North DS (Island) | 1324897 | -1960
AIP002345 | 2025 Deferrals | Station Major Rebuild | Vaughan UG Station Rebuild | 312120 | -1477
AIP002346 | 2025 Deferrals | Stations Transformer Renewal | Nepean AB Transformer Replacement | 1171659 | 16385
AIP003024 | 2025 Deferrals | UG Switchgear Renewal | S58 SG Replacement | 539000 | 1185
AIP003031 | 2025 Deferrals | Cable Replacement | BRDF1 Cable Renewal | 1900566 | 2659
AIP003038 | 2025 Deferrals | Pole Renewal | Fallowfield Pole Replacement | 1352521 | 2629
AIP003041 | 2025 Deferrals | Line Extensions | HWY7 BECK/JGK Tie | 1476291 | 18829
AIP003043 | 2025 Deferrals | Line Extensions | MWDF5 Egress | 755972 | 1798
AIP003062 | 2025 Deferrals | Dist. System Reliability | Thomas Dolan Tie | 1527844 | -112
AIP003077 | 2025 Deferrals | Distribution Enhancements | Motorize Vector Switches | 134351 | 2552
AIP003100 | 2025 Deferrals | Stations Capacity Upgrades | Janet King Relocation/Upgrade | 15300000 | 63621
AIP003101 | 2025 Deferrals | Line Extensions | FAL03 Jockvale Line Extension | 225233 | 79349
AIP003218 | 2025 Deferrals | Dist. System Reliability | TFXF2 Extension - Maple Grove to Hazeldean | 1269693 | 1221
AIP003228 | 2025 Deferrals | Cable Replacement | Manotick Island Cable Replacement | 682088 | -348
AIP003244 | 2025 Deferrals | System Voltage Conversion | Glen Cairn Trunk Civil-CF PH1 | 825111 | 50
AIP003245 | 2025 Deferrals | System Voltage Conversion | Glen Cairn Trunk Civil-CF PH2 | 197312 | 621
AIP003246 | 2025 Deferrals | System Voltage Conversion | Glen Cairn Trunk Civil-CF PH3 | 450132 | 391
AIP003249 | 2025 Deferrals | Line Extensions | Palladium Drive Trunk Upgrade - Electrics | 656129 | -597
AIP003356 | 2025 Deferrals | Dist. System Reliability | TK-TS Reliability (Ties)-P2 | 1064000 | 827
AIP003366 | 2025 Deferrals | Dist. System Reliability | BLKF5 Reliability Impr. | 264912 | 69
AIP003393 | 2025 Deferrals | Cable Replacement | Blackburn 4F8 - Phase 4B | 1122758 | -1022
AIP003410 | 2025 Deferrals | UG Switchgear Renewal | SW117 UG SWG Renewal | 158677 | 729
AIP003421 | 2025 Deferrals | Distribution Enhancements | 412 Ded. Backup LTs (Reliability) | 121227 | 184
AIP003449 | 2025 Deferrals | Dist. System Reliability | Dist. Prot Upg. - Bayswater UJ | 651053 | 481
AIP003452 | 2025 Deferrals | Dist. System Reliability | Dist. Prot. Upgrade - Bronson SB | 591432 | 260
AIP003453 | 2025 Deferrals | Pole Renewal | Tweedsmuir Pole Renewal | 265173 | 711
AIP003458 | 2025 Deferrals | Station Major Rebuild | Shillington AD Station Renewal | 510000 | -8162
AIP003462 | 2025 Deferrals | Station Major Rebuild | Rideau Heights DS T1 Renewal | 688569 | 774
AIP003463 | 2025 Deferrals | Station P&C Renewal | Manordale DPU & RTU Repl. | 150000 | 9434
AIP003468 | 2025 Deferrals | System Voltage Conversion | Navan Rd 8-28kV Conversion Ph1 | 1020000 | 2140
AIP003474 | 2025 Deferrals | Pole Renewal | Britannia Bay Pole Renewal-P4 | 348701 | 850
AIP003482 | 2025 Deferrals | System Voltage Conversion | SK 4-13kV Conv. Phase 8 | 250000 | -228
AIP003505 | 2025 Deferrals | System Voltage Conversion | TW15 New Feeder Cap. Upg. | 1530000 | -1393
AIP003511 | 2025 Deferrals | Cable Replacement | Bilberry Cable Renewal - P1.2 | 4464798 | 9184
AIP003512 | 2025 Deferrals | Cable Replacement | Bilberry Cable Renewal - P2.1 | 911370 | -830
AIP003513 | 2025 Deferrals | Cable Replacement | Sunview Cable Renewal - P3 | 1315800 | -1198
AIP003515 | 2025 Deferrals | Cable Replacement | Bilberry Cable Renewal - P2.3 | 3869054 | 4483
AIP003516 | 2025 Deferrals | Cable Replacement | Bilberry Cable Renewal - P3.3 | 4424825 | -3723
AIP003518 | 2025 Deferrals | UG Switchgear Renewal | UG SWG Renewal 2021-2025 | 604770 | -551
AIP003538 | 2025 Deferrals | Pole Renewal | Bay Street Pole Renewal - P2 | 629214 | 577
AIP003559 | 2025 Deferrals | Stations Transformer Renewal | Eastview UT XFMR Renewal | 43146 | 4968
AIP003584 | 2025 Deferrals | Distribution Capacity Upgrades | LTM02 Capacity Upg - Rideau/Ramsayville | 1500000 | -1365
AIP003587 | 2025 Deferrals | Dist. System Reliability | Henderson UN Contingency Supply | 297669 | -271
AIP003667 | 2025 Deferrals | Station P&C Renewal | Centrepointe RTU & Electromagnetic Relays | 369342 | 11983
AIP003669 | 2025 Deferrals | Station Decommission | Fisher VC P1-UG (Mrly/Lex/Grf) | 494700 | 24
AIP003684 | 2025 Deferrals | Distribution Capacity Upgrades | SB New Fdr Capac + Reconfig | 696262 | 5067
AIP003691 | 2025 Deferrals | Distribution Capacity Upgrades | Centretown 417 - Feeder Cap. | 2631600 | 14954
AIP003705 | 2025 Deferrals | Distribution Enhancements | TR09 Fusing & Trunk Loop (WFB) | 110000 | -100
AIP003709 | 2025 Deferrals | Dist. System Reliability | Augusta Ded. Backup Reconfig. | 56775 | 368
AIP003713 | 2025 Deferrals | UG Switchgear Renewal | SW164 UG SWG Renewal | 123371 | 594
AIP003719 | 2025 Deferrals | System Voltage Conversion | Navan Rd 8-28kV Conversion Ph2 | 835335 | 3358
AIP003720 | 2025 Deferrals | UG Switchgear Renewal | S540 UG SWG Renewal | 121731 | 1794
AIP003722 | 2025 Deferrals | Station Decommission | Fisher VC P1-PoW Highrise Conv | 779091 | -652
AIP003725 | 2025 Deferrals | Pole Renewal | Fisher VC P1-PoW (Dynes-Mdwld) | 622454 | -326
AIP003746 | 2025 Deferrals | Distribution Capacity Upgrades | Kanata MTS Egress Upgrades | 2465000 | 4300
AIP003747 | 2025 Deferrals | Station P&C Renewal | Rideau Heights RTU & DPU Replacement | 235786 | 16937
AIP003753 | 2025 Deferrals | Distribution Capacity Upgrades | Bilberry New Feeder 1 Capacity | 6956572 | -4290
AIP003755 | 2025 Deferrals | Distribution Capacity Upgrades | Bilberry New Feeder 2 Capacity | 2702225 | 3664
AIP003765 | 2025 Deferrals | Station Decommission | Fisher VC P2 - Dynes | 561000 | 2522
AIP003881 | 2025 Deferrals | Pole Renewal | Braemar St Pole Renewal | 104040 | -14
AIP003884 | 2025 Deferrals | Pole Renewal | McArthur Ave Phase 1 Pole Renewal | 1910530 | -683
AIP003890 | 2025 Deferrals | Pole Renewal | Triole St Pole Renewal | 198900 | -54
AIP003891 | 2025 Deferrals | Pole Renewal | Michael St Pole Renewal | 173400 | -11
AIP003892 | 2025 Deferrals | Pole Renewal | John Aselford Dr Pole Renewal | 187680 | -92
AIP003896 | 2025 Deferrals | Pole Renewal | Old Second Line Rd Pole Renewal | 1638843 | 808
AIP003898 | 2025 Deferrals | Pole Renewal | Ramsayville RD Pole Renewal | 374799 | 216
AIP003902 | 2025 Deferrals | Distribution Enhancements | Close loop at VE65 | 56100 | 44
AIP003903 | 2025 Deferrals | Pole Renewal | Britannia Rd Pole Renewal | 102000 | 152
AIP003904 | 2025 Deferrals | Pole Renewal | Prince Albert St Pole Renewal | 271320 | 237
AIP003906 | 2025 Deferrals | Pole Renewal | Columbus Ave Pole Renewal | 204000 | 287
AIP003910 | 2025 Deferrals | Pole Renewal | McArthur Ave Phase 2 Pole Renewal | 1695000 | -28
AIP003911 | 2025 Deferrals | Pole Renewal | Carling Pole Renewal Phase 1 - Bayshore to Holly Acres | 775200 | 0
AIP003913 | 2025 Deferrals | Pole Renewal | Carling Pole Renewal Phase 3 - Rocky Point Rd to Moodie | 656880 | 552
AIP003914 | 2025 Deferrals | Pole Renewal | Carling Pole Renewal Phase 4 - James Cummings Ave | 400860 | -250
AIP003915 | 2025 Deferrals | Pole Renewal | Carling Pole Renewal Phase 2 - Holly Acres to Rocky Point Rd | 861900 | 376
AIP003922 | 2025 Deferrals | Dist. System Reliability | Slater B1/B2 Bus Reconfiguration | 51000 | 2289
AIP003947 | 2025 Deferrals | Pole Renewal | Cummings Ave Pole Renewal | 372055 | 366
AIP003957 | 2025 Deferrals | Distribution Enhancements | RHS/TFX SCADA Mates | 300348 | -80
AIP003963 | 2025 Deferrals | Station Decommission | Fisher VC P3 - Carillon Housing Coop UG | 536213 | -480
AIP003964 | 2025 Deferrals | Station Decommission | Fisher VC P3 - POW Meadowlands to Fisher OH | 613118 | -349
AIP003966 | 2025 Deferrals | Station Decommission | Fisher VC - Energize Fisher (S) | 255000 | 2938
AIP003968 | 2025 Deferrals | Station Decommission | Fisher VC P3 - AppleBy UG | 1166187 | -851
AIP003982 | 2025 Deferrals | Pole Renewal | Dagmar Phase 8 | 119966 | -101
AIP003983 | 2025 Deferrals | Pole Renewal | Dagmar Phase 9 | 512460 | 87
AIP003984 | 2025 Deferrals | Pole Renewal | Dagmar Phase 10 | 229955 | -209
AIP003986 | 2025 Deferrals | Station Decommission | Dagmar Phase 12 | 131505 | -120
AIP003987 | 2025 Deferrals | Station Decommission | Dagmar Phase 13 | 89496 | -81
AIP003988 | 2025 Deferrals | Pole Renewal | Dagmar Phase 14 | 104993 | -96
AIP003989 | 2025 Deferrals | Pole Renewal | Dagmar Phase 15 | 141883 | -129
AIP003993 | 2025 Deferrals | Station Decommission | Dagmar Phase 19 | 175000 | -159
AIP003994 | 2025 Deferrals | Station Decommission | Dagmar Phase 20 | 200000 | -182
AIP003995 | 2025 Deferrals | Station Decommission | Dagmar Phase 21 | 116568 | -106
AIP003996 | 2025 Deferrals | Station Decommission | Dagmar Phase 22 | 100000 | -91
AIP004006 | 2025 Deferrals | Station Decommission | Fisher VC P3 - Kochar UG | 102000 | 127

## Tab "Project Under Review" 2023 (hidden)
#REF! | Status | Check 2-SEC-42 Submitted | Check Opt V4.1
|  | #REF! | #REF!
| Not provided in 2-SEC-42 | #REF! | #REF!
| Not provided in 2-SEC-42 | #REF! | #REF!
| In Last Optimization - Opt V4.1 | #REF! | #REF!
| Submitted in 2-SEC-42 | #REF! | #REF!
|  | #REF! | #REF!
|  | #REF! | #REF!
|  | #REF! | #REF!
|  | #REF! | #REF!
|  | #REF! | #REF!
|  | #REF! | #REF!
|  | #REF! | #REF!
| In Last Optimization - Opt V4.1 | #REF! | #REF!
| In Last Optimization - Opt V4.1 | #REF! | #REF!
|  | #REF! | #REF!
|  | #REF! | #REF!
| Not provided in 2-SEC-42 | #REF! | #REF!
| Not provided in 2-SEC-42 | #REF! | #REF!
| Not provided in 2-SEC-42 | #REF! | #REF!
| Not provided in 2-SEC-42 | #REF! | #REF!
| Not provided in 2-SEC-42 | #REF! | #REF!
| Not provided in 2-SEC-42 | #REF! | #REF!
| Not provided in 2-SEC-42 | #REF! | #REF!
|  | #REF! | #REF!
| In Last Optimization - Opt V4.1 | #REF! | #REF!
|  | #REF! | #REF!
|  | #REF! | #REF!
|  | #REF! | #REF!
|  | #REF! | #REF!
|  | #REF! | #REF!
| Submitted in 2-SEC-42 | #REF! | #REF!
|  | #REF! | #REF!
|  | #REF! | #REF!
|  | #REF! | #REF!
| Submitted in 2-SEC-42 | #REF! | #REF!
| Not provided in 2-SEC-42 | #REF! | #REF!
| Not provided in 2-SEC-42 | #REF! | #REF!
| Not provided in 2-SEC-42 | #REF! | #REF!
| Not provided in 2-SEC-42 | #REF! | #REF!
| Not provided in 2-SEC-42 | #REF! | #REF!
| Not provided in 2-SEC-42 | #REF! | #REF!
| Not provided in 2-SEC-42 | #REF! | #REF!
| Not provided in 2-SEC-42 | #REF! | #REF!
| Not provided in 2-SEC-42 | #REF! | #REF!
| Not provided in 2-SEC-42 | #REF! | #REF!
| Not provided in 2-SEC-42 | #REF! | #REF!
|  | #REF! | #REF!
|  | #REF! | #REF!
|  | #REF! | #REF!
|  | #REF! | #REF!
|  | #REF! | #REF!
|  | #REF! | #REF!
| In Last Optimization - Opt V4.1 | #REF! | #REF!
|  | #REF! | #REF!
| In Last Optimization - Opt V4.1 | #REF! | #REF!
|  | #REF! | #REF!
|  | #REF! | #REF!
| Submitted in 2-SEC-42 | #REF! | #REF!
|  | #REF! | #REF!
|  | #REF! | #REF!
| In Last Optimization - Opt V4.1 | #REF! | #REF!
| Not provided in 2-SEC-42 | #REF! | #REF!
| Not provided in 2-SEC-42 | #REF! | #REF!
| Not provided in 2-SEC-42 | #REF! | #REF!
| Not provided in 2-SEC-42 | #REF! | #REF!
| Not provided in 2-SEC-42 | #REF! | #REF!
| Not provided in 2-SEC-42 | #REF! | #REF!
| Not provided in 2-SEC-42 | #REF! | #REF!
| Not provided in 2-SEC-42 | #REF! | #REF!
| In Last Optimization - Opt V4.1 | #REF! | #REF!
|  | #REF! | #REF!
|  | #REF! | #REF!
|  | #REF! | #REF!
|  | #REF! | #REF!
|  | #REF! | #REF!
|  | #REF! | #REF!
|  | #REF! | #REF!
| Submitted in 2-SEC-42 | #REF! | #REF!
|  | #REF! | #REF!
|  | #REF! | #REF!
|  | #REF! | #REF!
|  | #REF! | #REF!
|  | #REF! | #REF!
|  | #REF! | #REF!
|  | #REF! | #REF!
|  | #REF! | #REF!
|  | #REF! | #REF!
|  | #REF! | #REF!
|  | #REF! | #REF!
| In Last Optimization - Opt V4.1 | #REF! | #REF!
| Submitted in 2-SEC-42 | #REF! | #REF!
|  | #REF! | #REF!
|  | #REF! | #REF!
| In Last Optimization - Opt V4.1 | #REF! | #REF!
|  | #REF! | #REF!
| In Last Optimization - Opt V4.1 | #REF! | #REF!
|  | #REF! | #REF!
|  | #REF! | #REF!
|  | #REF! | #REF!
|  | #REF! | #REF!
|  | #REF! | #REF!
| Not provided in 2-SEC-42 | #REF! | #REF!
| Not provided in 2-SEC-42 | #REF! | #REF!
| Not provided in 2-SEC-42 | #REF! | #REF!
| Not provided in 2-SEC-42 | #REF! | #REF!
| Not provided in 2-SEC-42 | #REF! | #REF!
| Not provided in 2-SEC-42 | #REF! | #REF!
|  | #REF! | #REF!
| In Last Optimization - Opt V4.1 | #REF! | #REF!
|  | #REF! | #REF!
|  | #REF! | #REF!
|  | #REF! | #REF!
|  | #REF! | #REF!
|  | #REF! | #REF!
|  | #REF! | #REF!
|  | #REF! | #REF!
| In Last Optimization - Opt V4.1 | #REF! | #REF!
|  | #REF! | #REF!
|  | #REF! | #REF!
|  | #REF! | #REF!
|  | #REF! | #REF!
|  | #REF! | #REF!
| Submitted in 2-SEC-42 | #REF! | #REF!
|  | #REF! | #REF!
|  | #REF! | #REF!
|  | #REF! | #REF!
|  | #REF! | #REF!
|  | #REF! | #REF!
|  | #REF! | #REF!
|  | #REF! | #REF!
|  | #REF! | #REF!
| In Last Optimization - Opt V4.1 | #REF! | #REF!
| Submitted in 2-SEC-42 | #REF! | #REF!
| Submitted in 2-SEC-42 | #REF! | #REF!
|  | #REF! | #REF!
|  | #REF! | #REF!
|  | #REF! | #REF!
|  | #REF! | #REF!
|  | #REF! | #REF!
|  | #REF! | #REF!
|  | #REF! | #REF!
| In Last Optimization - Opt V4.1 | #REF! | #REF!
|  | #REF! | #REF!
|  | #REF! | #REF!
|  | #REF! | #REF!
|  | #REF! | #REF!
|  | #REF! | #REF!
|  | #REF! | #REF!
|  | #REF! | #REF!
|  | #REF! | #REF!
|  | #REF! | #REF!
|  | #REF! | #REF!
| In Last Optimization - Opt V4.1 | #REF! | #REF!
|  | #REF! | #REF!
|  | #REF! | #REF!
|  | #REF! | #REF!
|  | #REF! | #REF!
| Submitted in 2-SEC-42 | #REF! | #REF!
|  | #REF! | #REF!
| In Last Optimization - Opt V4.1 | #REF! | #REF!
|  | #REF! | #REF!
|  | #REF! | #REF!
|  | #REF! | #REF!
|  | #REF! | #REF!
|  | #REF! | #REF!
|  | #REF! | #REF!
| Submitted in 2-SEC-42 | #REF! | #REF!
| In Last Optimization - Opt V4.1 | #REF! | #REF!
| In Last Optimization - Opt V4.1 | #REF! | #REF!
|  | #REF! | #REF!
|  | #REF! | #REF!
|  | #REF! | #REF!
|  | #REF! | #REF!
|  | #REF! | #REF!
|  | #REF! | #REF!
|  | #REF! | #REF!
|  | #REF! | #REF!
|  | #REF! | #REF!
|  | #REF! | #REF!
|  | #REF! | #REF!
|  | #REF! | #REF!