## Table A
Table B - 2030 Overhead Asset Condition Count and Percentage
|  |  | Asset Condition Count | [5 empty] | Asset Condition Percentage
Alternative | Asset System | Asset Class | Very Poor | Poor | Fair | Good | Very Good | Grand Total | Very Poor | Poor | Fair | Good | Very Good
Cost Containment | Overhead | OH Distribution Transformer | 1122 | 2290 | 5174 | 3487 | 3145 | 15218 | 7.373% | 15.05% | 34% | 22.91% | 20.67%
| Overhead | OH Switch | 0 | 0 | 35 | 2568 | 980 | 3583 | 0% | 0% | 0.9768% | 71.67% | 27.35%
| Overhead | Pole | 721 | 3916 | 10573 | 15049 | 16377 | 46636 | 1.546% | 8.397% | 22.67% | 32.27% | 35.12%
| Overhead Total | Total | 1843 | 6206 | 15782 | 21104 | 20502 | 65437 | 2.816% | 9.484% | 24.12% | 32.25% | 31.33%
Short Term Risk Mitigation | Overhead | OH Distribution Transformer | 1047 | 2290 | 5174 | 3487 | 3220 | 15218 | 6.88% | 15.05% | 34% | 22.91% | 21.16%
| Overhead | OH Switch | 0 | 0 | 0 | 2493 | 1090 | 3583 | 0% | 0% | 0% | 69.58% | 30.42%
| Overhead | Pole | 346 | 3916 | 10573 | 15049 | 16752 | 46636 | 0.7419% | 8.397% | 22.67% | 32.27% | 35.92%
| Overhead Total | Total | 1393 | 6206 | 15747 | 21029 | 21062 | 65437 | 2.129% | 9.484% | 24.06% | 32.14% | 32.19%
Long Term Risk Mitigation | Overhead | OH Distribution Transformer | 947 | 2290 | 5174 | 3487 | 3320 | 15218 | 6.223% | 15.05% | 34% | 22.91% | 21.82%
| Overhead | OH Switch | 0 | 0 | 0 | 2373 | 1210 | 3583 | 0% | 0% | 0% | 66.23% | 33.77%
| Overhead | Pole | 0 | 3762 | 10573 | 15049 | 17252 | 46636 | 0% | 8.067% | 22.67% | 32.27% | 36.99%
| Overhead Total | Total | 947 | 6052 | 15747 | 20909 | 21782 | 65437 | 1.447% | 9.249% | 24.06% | 31.95% | 33.29%
Table C - 2030 Underground Asset Condition Count and Percentage
|  |  | Asset Condition Count | [5 empty] | Asset Condition Percentage
Alternative | Asset System | Asset Class | Very Poor | Poor | Fair | Good | Very Good | Grand Total | Very Poor | Poor | Fair | Good | Very Good
Cost Containment | Underground | Cable Chamber | 0 | 99 | 874 | 1459 | 1472 | 3904 | 0% | 2.536% | 22.39% | 37.37% | 37.7%
| Underground | UG Distribution Transformer | 0 | 73 | 9721 | 8075 | 1006 | 18875 | 0% | 0.3868% | 51.5% | 42.78% | 5.33%
| Underground | UG Switchgear | 0 | 13 | 39 | 209 | 300 | 561 | 0% | 2.317% | 6.952% | 37.25% | 53.48%
| Underground | Underground Cable (XLPE) | 0 | 3664 | 30885 | 16142 | 5724 | 56415 | 0% | 6.495% | 54.75% | 28.61% | 10.15%
| Underground | Underground Cable (PILC) | 0 | 32 | 3299 | 3220 | 868 | 7419 | 0% | 0.05672% | 5.848% | 5.708% | 1.539%
| Underground | Underground Cable (EPR) | 0 | 0 | 26 | 63 | 2597 | 2686 | 0% | 0% | 0.04609% | 0.1117% | 4.603%
| Underground | Vault Distribution Transformer | 1183 | 744 | 1058 | 1058 | 468 | 4511 | 26.22% | 16.49% | 23.45% | 23.45% | 10.37%
| Underground | Underground Switchgear Primary Pedestal | 1 | 0 | 2 | 3 | 12 | 18 | 5.556% | 0% | 11.11% | 16.67% | 66.67%
| Underground | Vault Switchgear | 9 | 0 | 23 | 133 | 6 | 171 | 5.263% | 0% | 13.45% | 77.78% | 3.509%
| Underground Total | Total | 1193 | 4625 | 45927 | 30362 | 12453 | 94560 | 1.262% | 4.891% | 48.57% | 32.11% | 13.17%
Short Term Risk Mitigation | Underground | Cable Chamber | 0 | 84 | 874 | 1459 | 1487 | 3904 | 0% | 2.152% | 22.39% | 37.37% | 38.09%
| Underground | UG Distribution Transformer | 0 | 0 | 9609 | 8075 | 1191 | 18875 | 0% | 0% | 50.91% | 42.78% | 6.31%
| Underground | UG Switchgear | 0 | 0 | 37 | 209 | 315 | 561 | 0% | 0% | 6.595% | 37.25% | 56.15%
| Underground | Underground Cable (XLPE) | 0 | 3499 | 30749 | 16013 | 6154 | 56415 | 0% | 6.202% | 54.51% | 28.38% | 10.91%
| Underground | Underground Cable (PILC) | 0 | 32 | 3299 | 3220 | 868 | 7419 | 0% | 0.4313% | 44.47% | 43.4% | 11.7%
| Underground | Underground Cable (EPR) | 0 | 0 | 26 | 63 | 2597 | 2686 | 0% | 0% | 0.968% | 2.345% | 96.69%
| Underground | Underground Switchgear Primary Pedestal | 1 | 0 | 2 | 3 | 12 | 18 | 5.556% | 0% | 11.11% | 16.67% | 66.67%
| Underground | Vault Distribution Transformer | 1138 | 744 | 1058 | 1058 | 513 | 4511 | 25.23% | 16.49% | 23.45% | 23.45% | 11.37%
| Underground | Vault Switchgear | 0 | 0 | 23 | 133 | 15 | 171 | 0% | 0% | 13.45% | 77.78% | 8.772%
| Underground Total | Total | 1139 | 4359 | 45677 | 30233 | 13152 | 94560 | 1.205% | 4.61% | 48.3% | 31.97% | 13.91%
Long Term Risk Mitigation | Underground | Cable Chamber | 0 | 54 | 874 | 1459 | 1517 | 3904 | 0% | 1.383% | 22.39% | 37.37% | 38.86%
| Underground | UG Distribution Transformer | 0 | 0 | 9359 | 8075 | 1441 | 18875 | 0% | 0% | 49.58% | 42.78% | 7.634%
| Underground | UG Switchgear | 0 | 0 | 2 | 209 | 350 | 561 | 0% | 0% | 0.3565% | 37.25% | 62.39%
| Underground | Underground Cable (XLPE) | 0 | 3275 | 30518 | 15881 | 6741 | 56415 | 0% | 5.805% | 54.1% | 28.15% | 11.95%
| Underground | Underground Cable (PILC) | 0 | 32 | 3299 | 3220 | 868 | 7419 | 0% | 0.4313% | 44.47% | 43.4% | 11.7%
| Underground | Underground Cable (EPR) | 0 | 0 | 26 | 63 | 2597 | 2686 | 0% | 0% | 0.968% | 2.345% | 96.69%
| Underground | Vault Distribution Transformer | 1108 | 744 | 1058 | 1058 | 543 | 4511 | 24.56% | 16.49% | 23.45% | 23.45% | 12.04%
| Underground | Underground Switchgear Primary Pedestal | 1 | 0 | 2 | 3 | 12 | 18 | 5.556% | 0% | 11.11% | 16.67% | 66.67%
| Underground | Vault Switchgear | 0 | 0 | 23 | 133 | 15 | 171 | 0% | 0% | 13.45% | 77.78% | 8.772%
| Underground Total | Total | 1109 | 4105 | 45161 | 30101 | 14084 | 94560 | 1.173% | 4.341% | 47.76% | 31.83% | 14.89%
Table D - 2030 Station Asset Condition Count and Percentage
|  |  | Asset Condition Count | [6 empty] | Asset Condition Percentage
Alternative | Asset System | Asset Class | Very Poor | Poor | Fair | Good | Very Good | Decommisioned | Grand Total | Very Poor | Poor | Fair | Good | Very Good | Decommisioned
Cost Containment | Stations | Station Battery | 18 | 28 | 16 | 1 | 5 | 2 | 70 | 25.71% | 40% | 22.86% | 1.429% | 7.143% | 2.857%
| Stations | Station Switchgear | 15 | 157 | 298 | 319 | 242 | 26 | 1057 | 1.419% | 14.85% | 28.19% | 30.18% | 22.89% | 2.46%
| Stations | Station Transformer | 0 | 12 | 90 | 55 | 8 | 5 | 170 | 0% | 7.059% | 52.94% | 32.35% | 4.706% | 2.941%
| Stations Total | Total | 33 | 197 | 404 | 375 | 255 | 33 | 1297 | 2.544% | 15.19% | 31.15% | 28.91% | 19.66% | 2.544%
Short Term Risk Mitigation | Stations | Station Battery | 13 | 27 | 16 | 1 | 10 | 3 | 70 | 18.57% | 38.57% | 22.86% | 1.429% | 14.29% | 4.286%
| Stations | Station Switchgear | 15 | 130 | 289 | 316 | 269 | 38 | 1057 | 1.419% | 12.3% | 27.34% | 29.9% | 25.45% | 3.595%
| Stations | Station Transformer | 0 | 11 | 87 | 54 | 8 | 10 | 170 | 0% | 6.471% | 51.18% | 31.76% | 4.706% | 5.882%
| Stations Total | Total | 28 | 168 | 392 | 371 | 287 | 51 | 1297 | 2.159% | 12.95% | 30.22% | 28.6% | 22.13% | 3.932%
Long Term Risk Mitigation | Stations | Station Battery | 3 | 26 | 16 | 1 | 19 | 5 | 70 | 4.286% | 37.14% | 22.86% | 1.429% | 27.14% | 7.143%
| Stations | Station Switchgear | 15 | 96 | 270 | 304 | 313 | 59 | 1057 | 1.419% | 9.082% | 25.54% | 28.76% | 29.61% | 5.582%
| Stations | Station Transformer | 0 | 8 | 87 | 54 | 8 | 13 | 170 | 0% | 4.706% | 51.18% | 31.76% | 4.706% | 7.647%
| Stations Total | Total | 18 | 130 | 373 | 359 | 340 | 77 | 1297 | 1.388% | 10.02% | 28.76% | 27.68% | 26.21% | 5.937%