## Appendix 2BB
Appendix 2-BB
Service Life Comparison
|  | Asset Details |  |  | Useful Life |  |  | USoA Account Number | Account Description | Depreciation Study Rates |  | Outside Range of Min, Max TUL? |  | Alectra Existing Rates |  | Change
Parent* | # | Category¦ Component ¦ Type |  |  | MIN UL | TUL | MAX UL |  |  | Years | Rate | Below Min TUL | Above Max TUL | Years | Rate | Years | Rate
OH | 1 | Fully Dressed Wood Poles | Overall |  | 35 | 45 | 75 | 1830 | Poles, Towers and Fixtures (Wood) | 45 | 2.222% | No | No | 44 | 2.273% | 1 | -0.05051%
|  |  | Cross Arm | Wood | 20 | 40 | 55
|  |  |  | Steel | 30 | 70 | 95
| 2 | Fully Dressed Concrete Poles | Overall |  | 50 | 60 | 80 | 1830 | Poles, Towers and Fixtures (Concrete) | 60 | 1.667% | No | No | 51 | 1.961% | 9 | -0.2941%
|  |  | Cross Arm | Wood | 20 | 40 | 55
|  |  |  | Steel | 30 | 70 | 95
| 3 | Fully Dressed Steel Poles | Overall |  | 60 | 60 | 80
|  |  | Cross Arm | Wood | 20 | 40 | 55
|  |  |  | Steel | 30 | 70 | 95
|  | Composite Poles | Overall |  | 60 | 60 | 80 | 1830 | Poles, Towers and Fixtures (Composite) | 70 | 1.429% | No | No
|  |  | Cross Arm | Wood | 20 | 40 | 55
|  |  |  | Steel | 30 | 70 | 95
| 4 | OH Line Switch |  |  | 30 | 45 | 55 | 1835 | Overhead Conductors and Devices (Switches & Capacitors) | 35 | 2.857% | No | No | 38 | 2.632% | -3 | 0.2256%
| 5 | OH Line Switch Motor |  |  | 15 | 25 | 25
| 6 | OH Line Switch RTU |  |  | 15 | 20 | 20
| 7 | OH Integral Switches |  |  | 35 | 45 | 60
| 8 | OH Conductors |  |  | 50 | 60 | 75
[8 empty] | 1835 | Overhead Conductors and Devices (Primary) | 50 | 2% | No | No | 45 | 2.222% | 5 | -0.2222%
[8 empty] | 1855 | Services (Secondary/Services O/H) | 50 | 2% | No | No | 48 | 2.083% | 2 | -0.08333%
| 9 | OH Transformers & Voltage Regulators |  |  | 30 | 40 | 60 | 1850 | Line Transformers (OH Transformers) | 45 | 2.222% | No | No | 41 | 2.439% | 4 | -0.2168%
| 10 | OH Shunt Capacitor Banks |  |  | 25 | 30 | 40
| 11 | Reclosers |  |  | 25 | 40 | 55
TS & MS | 12 | Power Transformers | Overall |  | 30 | 45 | 60 | 1815 | Transformer Station Equipment - Normally Primary Above 50 kV (Power Transformers) | 45 | 2.222% | No | No | 40 | 2.5% | 5 | -0.2778%
[8 empty] | 1820 | Distribution Station Equipment - Normally Primary Below 50 kV (Power Transformers) | 45 | 2.222% | No | No | 40 | 2.5% | 5 | -0.2778%
|  |  | Bushing |  | 10 | 20 | 30
|  |  | Tap Changer |  | 20 | 30 | 60 | 1815 | Transformer Station Equipment - Normally Primary Above 50 kV (Tap Changer) | 45 | 2.222% | No | No | 25 | 4% | 20 | -1.778%
|  |  | Tap Changer |  | 20 | 30 | 60 | 1820 | Distribution Station Equipment - Normally Primary Below 50 kV (Tap Changer) | 45 | 2.222% | No | No | 25 | 4% | 20 | -1.778%
| 13 | Station Service Transformer |  |  | 30 | 45 | 55
| 14 | Station Grounding Transformer |  |  | 30 | 40 | 40
| 15 | Station DC System | Overall |  | 10 | 20 | 30 | 1815 | Transformer Station Equipment - Normally Primary Above 50 kV (DC Systems/Battery) | 15 | 6.667% | No | No | 27 | 3.704% | -12 | 2.963%
[8 empty] | 1820 | Distribution Station Equipment - Normally Primary Below 50 kV (DC Systems/Battery) | 15 | 6.667% | No | No | 36 | 2.778% | -21 | 3.889%
[8 empty] | 1815 | Transformer Station Equipment - Normally Primary Above 50 kV (Capacitor Banks) | 30 | 3.333% | No | No | 30 | 3.333% | 0 | 0%
[8 empty] | 1820 | Distribution Station Equipment - Normally Primary Below 50 kV (Capacitor Banks) | 30 | 3.333% | No | No | 30 | 3.333% | 0 | 0%
|  |  | Battery Bank |  | 10 | 15 | 15
|  |  | Charger |  | 20 | 20 | 30
| 16 | Station Metal Clad Switchgear | Overall |  | 30 | 40 | 60 | 1815 | Transformer Station Equipment - Normally Primary Above 50 kV (Switchgear) | 40 | 2.5% | No | No | 27 | 3.704% | 13 | -1.204%
[8 empty] | 1820 | Distribution Station Equipment - Normally Primary Below 50 kV (Switchgear) | 40 | 2.5% | No | No | 36 | 2.778% | 4 | -0.2778%
|  |  | Removable Breaker |  | 25 | 40 | 60
| 17 | Station Independent Breakers |  |  | 35 | 45 | 65
| 18 | Station Switch |  |  | 30 | 50 | 60
| 19 | Electromechanical Relays |  |  | 25 | 35 | 50 | 1815 | Transformer Station Equipment - Normally Primary Above 50 kV (Relays - SS/Electromechanical) | 30 | 3.333% | No | No | 27 | 3.704% | 3 | -0.3704%
[8 empty] | 1820 | Distribution Station Equipment - Normally Primary Below 50 kV (Relays - SS/Electromechanical) | 30 | 3.333% | No | No | 36 | 2.778% | -6 | 0.5556%
| 20 | Solid State Relays |  |  | 10 | 30 | 45
| 21 | Digital & Numeric Relays |  |  | 15 | 20 | 20 | 1815 | Transformer Station Equipment - Normally Primary Above 50 kV (Relays - Microprocessor) | 15 | 6.667% | No | No | 27 | 3.704% | -12 | 2.963%
[8 empty] | 1820 | Distribution Station Equipment - Normally Primary Below 50 kV (Relays - Microprocessor) | 15 | 6.667% | No | No | 36 | 2.778% | -21 | 3.889%
| 22 | Rigid Busbars |  |  | 30 | 55 | 60
| 23 | Steel Structure |  |  | 35 | 50 | 90 | 1815 | Transformer Station Equipment - Normally Primary Above 50 kV (Support Steel Structure and Grounding System) | 50 | 2% | No | No | 40 | 2.5% | 10 | -0.5%
[8 empty] | 1820 | Distribution Station Equipment - Normally Primary Below 50 kV (Support Steel Structure and Grounding System) | 50 | 2% | No | No | 40 | 2.5% | 10 | -0.5%
UG | 24 | Primary Paper Insulated Lead Covered (PILC) Cables |  |  | 60 | 65 | 75 | 1845 | Underground conductors and Devices (Primary - PILC) | 70 | 1.429% | No | No | 70 | 1.429% | 0 | 0%
| 25 | Primary Ethylene-Propylene Rubber (EPR) Cables |  |  | 20 | 25 | 25
| 26 | Primary Non-Tree Retardant (TR) Cross Linked Polyethylene (XLPE) Cables Direct Buried |  |  | 20 | 25 | 30 | 1845 | Underground conductors and Devices (Primary - XLPE Non-TR) | 40 | 2.5% | No | Yes | 45 | 2.222% | -5 | 0.2778%
| 27 | Primary Non-TR XLPE Cables in Duct |  |  | 20 | 25 | 30 | 1845 | Underground conductors and Devices (Primary - XLPE-TR) | 45 | 2.222% | No | Yes | 38 | 2.632% | 7 | -0.4094%
[8 empty] | 1845 | Underground conductors and Devices (Cable Injections) | 20 | 5% | No | No | 24 | 4.167% | -4 | 0.8333%
| 30 | Secondary PILC Cables |  |  | 70 | 75 | 80
| 31 | Secondary Cables Direct Buried |  |  | 25 | 35 | 40 | 1845 | Underground conductors and Devices (Secondary - Direct Buried) | 30 | 3.333% | No | No | 31 | 3.226% | -1 | 0.1075%
| 32 | Secondary Cables in Duct |  |  | 35 | 40 | 60 | 1845 | Underground conductors and Devices (Secondary - In Duct/Services) | 40 | 2.5% | No | No | 37 | 2.703% | 3 | -0.2027%
| 33 | Network Tranformers | Overall |  | 20 | 35 | 50
|  |  | Protector |  | 20 | 35 | 40
| 34 | Pad-Mounted Transformers |  |  | 25 | 40 | 45 | 1850 | Line Transformers (UG Transformers - Padmount) | 30 | 3.333% | No | No | 32 | 3.125% | -2 | 0.2083%
| 35 | Submersible/Vault Transformers |  |  | 25 | 35 | 45 | 1850 | Line Transformers (UG Transformers - Vault) | 40 | 2.5% | No | No | 32 | 3.125% | 8 | -0.625%
| 36 | UG Foundation |  |  | 35 | 55 | 70
| 37 | UG Vaults | Overall |  | 40 | 60 | 80
|  |  | Roof |  | 20 | 30 | 45
| 38 | UG Vault Switches |  |  | 20 | 35 | 50
| 39 | Pad-Mounted Switchgear |  |  | 20 | 30 | 45 | 1845 | Underground conductors and Devices (Air Insulated) | 35 | 2.857% | No | No | 39 | 2.564% | -4 | 0.293%
[8 empty] | 1845 | Underground conductors and Devices (Solid Dielectric) | 45 | 2.222% | No | No | 42 | 2.381% | 3 | -0.1587%
[8 empty] | 1845 | Underground conductors and Devices (Oil/SF6) | 30 | 3.333% | No | No | 42 | 2.381% | -12 | 0.9524%
| 40 | Ducts |  |  | 30 | 50 | 85
| 41 | Concrete Encased Duct Banks |  |  | 35 | 55 | 80 | 1840 | Underground Conduit (Concrete) | 60 | 1.667% | No | No | 52 | 1.923% | 8 | -0.2564%
| 42 | Cable Chambers |  |  | 50 | 60 | 80
S | 43 | Remote SCADA |  |  | 15 | 20 | 30 | 1980 | System Supervisory Equipment (Communication Devices) | 15 | 6.667% | No | No | 15 | 6.667% | 0 | 0%
Table F-2 from Kinetrics Report1
|  | Asset Details |  |  | Useful Life Range |  |  | USoA Account Number | USoA Account Description | Depreciation Study Rates |  | Outside Range of Min, Max TUL? |  | Alectra Existing Rates |  | Change
| # | Category¦ Component ¦ Type | [7 empty] | Years | Rate | Below Min Range | Above Max Range | Years | Rate | Years | Rate
| 1 | Office Equipment |  |  | 5 | 15 |  | 1915 | Office Furniture and Equipment | 15 | 6.667% | No | No | 10 | 10% | 5 | -3.333%
| 2 | Vehicles | Trucks & Buckets |  | 5 | 15 |  | 1930 | Transportation Equipment (Single/Double Bucket Trucks) | 15 | 6.667% | No | No | 11 | 9.091% | 4 | -2.424%
|  |  | Trailers |  | 5 | 20 |  | 1930 | Transportation Equipment (Trailers) | 15 | 6.667% | No | No | 14 | 7.143% | 1 | -0.4762%
|  |  | Vans |  | 5 | 10 |  | 1930 | Transportation Equipment (Automobiles) | 7 | 14.29% | No | No | 7 | 14.29% | 0 | 0%
[8 empty] | 1930 | Transportation Equipment (Light Trucks) | 7 | 14.29% | No | No | 8 | 12.5% | -1 | 1.786%
| 3 | Administrative Buildings |  |  | 50 | 75 |  | 1908 | Buildings and Fixtures (Non-distribution) | 60 | 1.667% | No | No | 60 | 1.667% | 0 | 0%
| 4 | Leasehold Improvements |  |  | Lease dependent |  |  | 1910 | Leasehold Improvements
| 5 | Station Buildings | Station Buildings |  | 50 | 75 |  | 1808 | Buildings and Fixtures (MS/TS) | 60 | 1.667% | No | No | 60 | 1.667% | 0 | 0%
|  |  | Parking |  | 25 | 30 |  | 1808 | Buildings and Fixtures (MS/TS Improvements) | 25 | 4% | No | No | 25 | 4% | 0 | 0%
|  |  | Fence |  | 25 | 60
|  |  | Roof |  | 20 | 30 |  | 1908 | Buildings and Fixtures (Non-distribution Improvements) | 25 | 4% | No | No | 27 | 3.704% | -2 | 0.2963%
| 6 | Computer Equipment | Hardware |  | 3 | 5 |  | 1920 | Computer Equipment - Hardware (Desktop/Laptop) | 4 | 25% | No | No | 4 | 25% | 0 | 0%
[8 empty] | 1920 | Computer Equipment - Hardware (Enterprise) | 5 | 20% | No | No | 5 | 20% | 0 | 0%
[8 empty] | 1920 | Computer Equipment - Hardware (Network, Etc.) | 5 | 20% | No | No | 5 | 20% | 0 | 0%
[8 empty] | 1920 | Computer Equipment - Hardware (Printers) | 6 | 16.67% | No | Yes | 5 | 20% | 1 | -3.333%
|  |  | Software |  | 2 | 5 |  | 1611 | Computer Software (Minor) | 4 | 25% | No | No | 4 | 25% | 0 | 0%
[8 empty] | 1611 | Computer Software (Networks etc.) | 5 | 20% | No | No | 5 | 20% | 0 | 0%
[8 empty] | 1611 | Computer Software (Enterprise Systems) | 10 | 10% | No | Yes | 10 | 10% | 0 | 0%
[8 empty] | 1611 | Computer Software (ERP&CIS) | 15 | 6.667% | No | Yes | 10 | 10% | 5 | -3.333%
| 7 | Equipment | Power Operated |  | 5 | 10
|  |  | Stores |  | 5 | 10 |  | 1935 | Stores Equipment | 10 | 10% | No | No | 10 | 10% | 0 | 0%
|  |  | Tools, Shop, Garage Equipment |  | 5 | 10
[8 empty] | 1940 | Tools, Shop and Garage Equipment | 10 | 10% | No | No | 10 | 10% | 0 | 0%
|  |  | Measurement & Testing Equipment |  | 5 | 10 |  | 1945 | Measurement and Testing Equipment | 10 | 10% | No | No | 10 | 10% | 0 | 0%
| 8 | Communication | Towers |  | 60 | 70
|  |  | Wireless |  | 2 | 10 |  | 1920 | Computer Equipment - Hardware (Switches & Routers) | 6 | 16.67% | No | No | 6 | 16.67% | 0 | 0%
[8 empty] | 1955 | Communication Equipment (AMI 2.0) | 10 | 10% | No | No | 10 | 10% | 0 | 0%
[8 empty] | 1955 | Communication Equipment | 10 | 10% | No | No | 8 | 12.5% | 2 | -2.5%
| 9 | Residential Energy Meters |  |  | 25 | 35
| 10 | Industrial/Commercial Energy Meters |  |  | 25 | 35 |  | 1860 | Meters (Polyphase) | 25 | 4% | No | No | 25 | 4% | 0 | 0%
[8 empty] | 1860 | Meters (Primary Metering Units) | 35 | 2.857% | No | No | 35 | 2.857% | 0 | 0%
| 11 | Wholesale Energy Meters |  |  | 15 | 30 |  | 1820 | Distribution Station Equipment - Normally Primary Below 50 kV (Wholesale Meters) | 25 | 4% | No | No | 25 | 4% | 0 | 0%
| 12 | Current & Potential Transformer (CT & PT) |  |  | 35 | 50 |  | 1860 | Meters (Auxilliary Equipment)) | 40 | 2.5% | No | No | 25 | 4% | 15 | -1.5%
| 13 | Smart Meters |  |  | 5 | 15 |  | 1860 | Meters (Single Phase - Residential) | 15 | 6.667% | No | No | 15 | 6.667% | 0 | 0%
[8 empty] | 1860 | Meters (Interval) | 15 | 6.667% | No | No | 16 | 6.25% | -1 | 0.4167%
[8 empty] | 1860 | Meters (Commercial/Large User) | 15 | 6.667% | No | No | 14 | 7.143% | 1 | -0.4762%
[8 empty] | 1860 | Meters (Suite) | 15 | 6.667% | No | No | 15 | 6.667% | 0 | 0%
| 14 | Repeaters - Smart Metering |  |  | 10 | 15
| 15 | Data Collectors - Smart Metering |  |  | 15 | 20
* TS & MS = Transformer and Municipal Stations UG = Underground Systems S = Monitoring and Control Systems
Note 1: | Tables F-1 and F-2 above are to be used as a reference in order to complete columns J, K, L and N.
See pages 17-19 of Kinetrics Report