## ACA
2-AMPCO-35
Alectra Asset Condition Assessment - Health Index
Ref: Ex 2A Appendix E; Figure 5.3.2-20
| 2018 | [7 empty] | 2023
Distribution Assets | Total # Assets | # Very Good | # Good | # Fair | # Poor | # Very Poor | # Unknown | Data Gaps (L, M, H) | Total # Assets | # Very Good | # Good | # Fair | # Poor | # Very Poor | # Unknown | Data Gaps (L, M, H)
Pad-mounted Transformer | [11 empty] | 3645 | 2062 | 5539
Pole-mounted Transformer | [11 empty] | 880 | 285 | 785
Vault Transformer | [11 empty] | 451 | 260 | 723
Pad-mounted Switchgear | [11 empty] | 195 | 70 | 259
Overhead Switch | [9 empty] | 2993 | 71 | 48 | 14 | 66
Overhead Conductor | [11 empty] | 108 | 99 | 344
Wood Pole | [9 empty] | 75318 | 14023 | 6230 | 3611 | 6080
Concrete pole | [9 empty] | 25324 | 1941 | 1259 | 285 | 301
UG Primary XLPE Cable | [11 empty] | 584 | 1843 | 3371
UG Primary PILC Cable | [11 empty] | 10 | 19 | 20
U/G Primary EPR Cable
Switchgear | [9 empty] | 2702 | 218 | 195 | 70 | 259
Station Assets
Station Power Transformer | [11 empty] | 13 | 10 | 2
Station Switchgear | [11 empty] | 66 | 39
Station Circuit Breaker | [11 empty] | 130 | 110 | 4