## ACA
2-AMPCO-35
Alectra Asset Condition Assessment - Health Index
Ref: Ex 2A Appendix E; Figure 5.3.2-20
| 2018 | [7 empty] | 2023
Distribution Assets | Total # Assets | # Very Good | # Good | # Fair | # Poor | # Very Poor | # Unknown | Data Gaps (L, M, H) | Total # Assets | # Very Good | # Good | # Fair | # Poor | # Very Poor | # Unknown | Data Gaps (L, M, H)
Pad-mounted Transformer | 79487 | 52302 | 14734 | 10751 | 11 | 1689 | 0 | LOW | 83885 | 47317 | 25532 | 3635 | 2062 | 5339 | 0 | LOW
Pole-mounted Transformer | 32123 | 18076 | 11126 | 1906 | 511 | 504 | 0 | LOW | 31807 | 27395 | 2462 | 880 | 285 | 785 | 0 | LOW
Vault Transformer | 13345 | 9805 | 371 | 2886 | 103 | 180 | 0 | LOW | 12670 | 10657 | 579 | 451 | 260 | 723 | 0 | LOW
Pad-mounted Switchgear | 3389 | 2325 | 307 | 171 | 303 | 283 | 0 | LOW | 3444 | 2702 | 218 | 195 | 70 | 259 | 0 | LOW
Overhead Switch | 3889 | 3403 | 93 | 63 | 75 | 255 | 0 | LOW | 3192 | 2993 | 71 | 48 | 14 | 66 | 0 | LOW
Overhead Conductor | 16400 | 15877 | 65 | 78 | 157 | 223 | 0 | LOW | 18464 | 17808 | 105 | 108 | 99 | 344 | 0 | LOW
Wood Pole | 105569 | 39224 | 40252 | 17546 | 3664 | 4883 | 0 | MEDIUM | 105262 | 75318 | 14023 | 6230 | 3611 | 6080 | 0 | LOW
Concrete pole | 25340 | 13055 | 9616 | 1377 | 835 | 457 | 0 | LOW | 29110 | 25324 | 1941 | 1259 | 285 | 301 | 0 | LOW
UG Primary XLPE Cable | 21639 | 16078 | 1450 | 955 | 760 | 2396 | 0 | LOW | 23106 | 16950 | 458 | 584 | 1843 | 3271 | 0 | LOW
UG Primary PILC Cable | 411 | 381 | 9 | 4 | 6 | 11 | 0 | LOW | 474 | 394 | 31 | 10 | 19 | 20 | 0 | LOW
U/G Primary EPR Cable | 91 | 91 | 0 | 0 | 0 | 0 | 0 | LOW | 114 | 114 | 0 | 0 | 0 | 0 | 0 | LOW
Switchgear | See values in Row 9, 'Pad-mounted Switchgear', Cells B9-J9 | [7 empty] | See values in Row 9, 'Pad-mounted Switchgear', Cells L9-T9
Station Assets
Station Power Transformer | 295 | 206 | 53 | 2 | 34 | 0 | 0 | LOW | 289 | 171 | 93 | 13 | 10 | 2 | 0 | LOW
Station Switchgear | 356 | 49 | 190 | 81 | 36 | 0 | 0 | LOW | 365 | 75 | 185 | 66 | 39 | 0 | 0 | LOW
Station Circuit Breaker | 1267 | 603 | 245 | 13 | 355 | 51 | 0 | LOW | 1277 | 608 | 425 | 130 | 110 | 4 | 0 | LOW